## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-08 00:00:00 | 2.4514 | 158.8157 | 2.8186 | 174.5143 | 3.2271 | 184.3857 | 3.18 | 197.2571 | 20.74 | 878 | 43.576 | 4.1814
2019-04-08 00:15:00 | 1.9413 | 167.918 | 2.2393 | 184.5267 | 2.7793 | 179.0467 | 2.7313 | 201.3333 | 20.6393 | 878 | 43.7333 | 3.4273
2019-04-08 00:30:00 | 2.138 | 164.902 | 2.46 | 181.2 | 2.904 | 179.84 | 3.058 | 212.5 | 20.5773 | 878 | 43.832 | 4.3947
2019-04-08 00:45:00 | 1.846 | 171.3847 | 2.1307 | 188.3333 | 2.6107 | 181.9067 | 3.258 | 209.6333 | 20.4827 | 877.6667 | 44.0353 | 3.8573
2019-04-08 01:00:00 | 1.184 | 177.778 | 1.366 | 195.36 | 2.142 | 163.3 | 1.96 | 187.98 | 20.402 | 877 | 43.936 | 2.3347
2019-04-08 01:15:00 | 0.51733 | 154.9793 | 0.602 | 170.3067 | 1.0287 | 161.4067 | 0.58533 | 173.66 | 20.4607 | 877 | 43.1533 | 0.966
2019-04-08 01:30:00 | 0.072 | 77.18 | 0.09 | 84.8 | 0.136 | 131.98 | 0.336 | 90.702 | 20.616 | 877 | 42.402 | 0.15067
2019-04-08 01:45:00 | 1.188 | 5.512 | 1.3793 | 6.0493 | 1.5733 | 23.7427 | 1.244 | 29.3567 | 20.2173 | 877 | 43.8007 | 0
2019-04-08 02:00:00 | 2.452 | 0.638 | 2.826 | 0.688 | 2.724 | 10.616 | 1.92 | 14.678 | 19.196 | 877 | 47.462 | 0
2019-04-08 02:15:00 | 3.952 | 83.47 | 4.55 | 91.7227 | 4.8867 | 16.056 | 4.5333 | 22.7753 | 18.708 | 877 | 49.0327 | 1.6493
2019-04-08 02:30:00 | 4.188 | 132.458 | 4.822 | 145.55 | 5.54 | 11.22 | 5.718 | 22.376 | 18.406 | 877 | 50.122 | 7.05
2019-04-08 02:45:00 | 3.9 | 288.174 | 4.486 | 316.67 | 5.26 | 11.4187 | 5.702 | 18.2427 | 18.142 | 877 | 50.8793 | 12.706
2019-04-08 03:00:00 | 3.58 | 304.568 | 4.122 | 334.68 | 5.442 | 6.402 | 5.438 | 11.288 | 17.836 | 877 | 51.7 | 17.7213
2019-04-08 03:15:00 | 4.092 | 251.34 | 4.718 | 276.2 | 6.4953 | 5.6967 | 6.7233 | 18.788 | 17.728 | 876.0667 | 51.8133 | 21.6513
2019-04-08 03:30:00 | 4.706 | 44.576 | 5.414 | 48.984 | 6.742 | 2.682 | 7.266 | 23.546 | 17.906 | 876 | 51.344 | 18.314
2019-04-08 03:45:00 | 4.0527 | 81.256 | 4.666 | 89.2827 | 6.378 | 7.298 | 6.5913 | 11.3793 | 17.9167 | 876 | 51.636 | 15.8813
2019-04-08 04:00:00 | 3.892 | 136.744 | 4.48 | 150.266 | 6.03 | 10.856 | 6.194 | 15.878 | 17.616 | 876 | 52.334 | 13.9547
2019-04-08 04:15:00 | 4.252 | 283.284 | 4.8907 | 311.3007 | 6.2727 | 99.6653 | 6.3113 | 12.5127 | 17.312 | 876 | 53.3207 | 14.594
2019-04-08 04:30:00 | 4.176 | 129.942 | 4.804 | 142.79 | 5.7 | 145.668 | 5.762 | 12.9 | 17.34 | 876 | 52.82 | 15.186
2019-04-08 04:45:00 | 4.208 | 85.3007 | 4.8373 | 93.7367 | 6.6747 | 6.5493 | 6.6887 | 8.6133 | 17.14 | 875.7333 | 53.448 | 16.13
2019-04-08 05:00:00 | 4.436 | 294.828 | 5.108 | 323.98 | 7.166 | 11.356 | 7.034 | 13.672 | 17.044 | 875 | 53.944 | 16.0807
2019-04-08 05:15:00 | 4.332 | 23.132 | 4.98 | 25.42 | 6.5713 | 18.4413 | 6.9367 | 14.3933 | 17.14 | 875 | 53.8587 | 16.4767
2019-04-08 05:30:00 | 4.794 | 188.676 | 5.52 | 207.34 | 6.67 | 12.186 | 7.25 | 13.35 | 17.004 | 875 | 54.278 | 17.1447
2019-04-08 05:45:00 | 4.79 | 109.0053 | 5.5187 | 119.7867 | 7.4567 | 12.3367 | 7.782 | 21.4353 | 16.5227 | 875 | 56.1433 | 19.5313
2019-04-08 06:00:00 | 4.852 | 313.442 | 5.578 | 344.44 | 7.354 | 12.072 | 7.648 | 15.488 | 16.276 | 875 | 57.164 | 18.994
2019-04-08 06:15:00 | 4.7587 | 238.1113 | 5.4767 | 261.6613 | 7.1353 | 11.7027 | 7.248 | 16.288 | 16.5453 | 875 | 56.2907 | 16.504
2019-04-08 06:30:00 | 4.6147 | 4.046 | 5.3053 | 4.4473 | 7.3067 | 14.7093 | 7.4013 | 16.6287 | 16.4013 | 875 | 57.06 | 14.884
2019-04-08 06:45:00 | 4.7773 | 211.864 | 5.4933 | 232.816 | 7.2447 | 11.3367 | 7.2553 | 10.8473 | 16.3247 | 875 | 57.432 | 17.1693
2019-04-08 07:00:00 | 4.648 | 2.146 | 5.346 | 2.354 | 7.328 | 14.646 | 7.762 | 16.762 | 16.41 | 875 | 56.818 | 20.1707
2019-04-08 07:15:00 | 4.7827 | 298.0353 | 5.502 | 327.51 | 7.3307 | 16.9153 | 7.7047 | 23.402 | 16.1727 | 875 | 57.7367 | 22.9373
2019-04-08 07:30:00 | 4.684 | 302.994 | 5.384 | 332.96 | 6.808 | 9.578 | 7.502 | 14.86 | 16.088 | 875 | 58.33 | 21.644
2019-04-08 07:45:00 | 4.5347 | 24.5127 | 5.2213 | 26.9387 | 7.0053 | 11.2113 | 7.7033 | 24.9187 | 15.964 | 875.2667 | 59.6633 | 23.9673
2019-04-08 08:00:00 | 4.844 | 29.268 | 5.578 | 32.164 | 7.226 | 6.564 | 8.186 | 8.168 | 16.014 | 876 | 59.778 | 26.2427
2019-04-08 08:15:00 | 4.6 | 186.6533 | 5.2993 | 205.1173 | 7.466 | 7.9347 | 8.534 | 18.0267 | 16.4633 | 876 | 58.7953 | 26.016
2019-04-08 08:30:00 | 4.404 | 9.864 | 5.074 | 10.834 | 7.38 | 10.424 | 8.46 | 16.086 | 16.8 | 876 | 58.068 | 25.9467
2019-04-08 08:45:00 | 4.532 | 42.468 | 5.214 | 46.6593 | 7.2147 | 21.7373 | 7.884 | 12.3033 | 16.8553 | 876 | 57.724 | 26.81
2019-04-08 09:00:00 | 4.6507 | 190.7873 | 5.3527 | 209.6533 | 6.9207 | 199.9853 | 7.7753 | 17.8167 | 16.6393 | 876 | 58.6347 | 25.6153
2019-04-08 09:15:00 | 4.664 | 232.104 | 5.3753 | 255.0507 | 7.416 | 30.02 | 8.2747 | 15.8073 | 16.8867 | 876 | 58.14 | 25.8347
2019-04-08 09:30:00 | 4.54 | 22.272 | 5.23 | 24.472 | 7.404 | 6.504 | 8.366 | 14.774 | 17.266 | 876.6 | 57.442 | 28.4213
2019-04-08 09:45:00 | 4.804 | 266.504 | 5.5227 | 292.864 | 7.7653 | 1.87 | 8.7633 | 15.22 | 17.51 | 877 | 56.9867 | 30.8427
2019-04-08 10:00:00 | 5.252 | 304.85 | 6.048 | 335 | 8.276 | 2.072 | 9.35 | 12.442 | 17.688 | 877 | 56.454 | 29.4213
2019-04-08 10:15:00 | 5.0147 | 239.226 | 5.772 | 262.8773 | 7.6373 | 7.7973 | 8.7033 | 3.4767 | 17.9707 | 877 | 55.2233 | 29.9693
2019-04-08 10:30:00 | 4.81 | 188.55 | 5.538 | 207.196 | 8.234 | 2.16 | 9.226 | 9.34 | 18.418 | 877 | 54.11 | 28.7253
2019-04-08 10:45:00 | 4.738 | 105.0953 | 5.4473 | 115.4867 | 8.5487 | 11.004 | 9.4287 | 21.2213 | 19.1393 | 877 | 52.3767 | 26.4707
2019-04-08 11:00:00 | 4.898 | 124.352 | 5.634 | 136.65 | 8.998 | 13.378 | 9.282 | 23.608 | 19.372 | 877 | 52.02 | 25.7153
2019-04-08 11:15:00 | 4.8807 | 101.8987 | 5.6167 | 111.97 | 8.6193 | 15.298 | 8.9593 | 24.7413 | 19.836 | 877.9333 | 51.204 | 27.122
2019-04-08 11:30:00 | 4.502 | 311.87 | 5.178 | 342.7 | 8.112 | 9.78 | 8.414 | 16.388 | 20.526 | 878 | 49.38 | 26.4153
2019-04-08 11:45:00 | 4.846 | 223.2127 | 5.582 | 245.2867 | 7.8587 | 4.9747 | 8.1193 | 15.9787 | 21.4207 | 878 | 46.2653 | 22.83
2019-04-08 12:00:00 | 5.12 | 201.79 | 5.89 | 221.74 | 7.998 | 7.926 | 7.848 | 13.444 | 21.74 | 878 | 43.99 | 20.9727
2019-04-08 12:15:00 | 4.916 | 45.7967 | 5.6553 | 50.324 | 7.4407 | 14.274 | 7.4347 | 240.2493 | 21.7 | 878 | 43.2807 | 15.706
2019-04-08 12:30:00 | 4.9187 | 7.0427 | 5.6647 | 7.7353 | 7.638 | 8.746 | 7.4313 | 7.882 | 22.7873 | 878 | 41.5193 | 9.6587
2019-04-08 12:45:00 | 4.4693 | 11.652 | 5.144 | 12.7973 | 6.696 | 15.008 | 6.5113 | 11.316 | 23.1893 | 878 | 40.0547 | 6.1307
2019-04-08 13:00:00 | 3.9 | 31.576 | 4.498 | 34.686 | 5.76 | 13.324 | 5.56 | 19.31 | 23.102 | 877.4 | 40.524 | 2.3673
2019-04-08 13:15:00 | 3.6693 | 297.566 | 4.22 | 326.9833 | 5.5067 | 25.7367 | 4.728 | 13.922 | 24.666 | 877 | 36.8493 | 1.0527
2019-04-08 13:30:00 | 3.112 | 130.608 | 3.586 | 143.516 | 4.9 | 10.558 | 4.31 | 10.478 | 25.386 | 877 | 35.368 | 0.35333
2019-04-08 13:45:00 | 2.7013 | 214.484 | 3.1127 | 235.6973 | 3.9933 | 24.026 | 3.578 | 26.6793 | 25.2047 | 877 | 35.2693 | 0
2019-04-08 14:00:00 | 2.356 | 3.752 | 2.71 | 4.112 | 2.994 | 25.362 | 2.84 | 220.228 | 25.014 | 877 | 34.324 | 0
2019-04-08 14:15:00 | 1.82 | 10.5733 | 2.102 | 11.616 | 2.13 | 11.722 | 1.9093 | 258.0373 | 25.2207 | 877 | 33.532 | 0
2019-04-08 14:30:00 | 1.564 | 19.958 | 1.806 | 21.936 | 2.07 | 5.812 | 1.806 | 202.236 | 25.54 | 877 | 33.07 | 0
2019-04-08 14:45:00 | 1.716 | 20.5793 | 1.9713 | 22.6113 | 2.78 | 10.386 | 2.424 | 39.0107 | 25.4467 | 876.7333 | 34.584 | 0
2019-04-08 15:00:00 | 1.084 | 110.51 | 1.252 | 121.44 | 1.644 | 30.504 | 1.448 | 48.78 | 25.346 | 876 | 34.8 | 0
2019-04-08 15:15:00 | 1.4307 | 105.182 | 1.6507 | 115.5733 | 1.7227 | 41.2467 | 1.7733 | 37.48 | 26.03 | 876 | 33.5467 | 0
2019-04-08 15:30:00 | 1.384 | 147.286 | 1.604 | 161.84 | 1.662 | 120.348 | 1.546 | 116.1 | 26.184 | 876 | 32.518 | 0
2019-04-08 15:45:00 | 1.48 | 114.7393 | 1.712 | 126.08 | 1.714 | 61.96 | 1.4833 | 282.7267 | 26.6627 | 876 | 31.814 | 0
2019-04-08 16:00:00 | 1.536 | 164.516 | 1.78 | 180.78 | 1.818 | 144.36 | 1.894 | 149.22 | 26.972 | 876 | 31.376 | 0
2019-04-08 16:15:00 | 2.0493 | 164.3653 | 2.3587 | 180.62 | 2.8007 | 186.12 | 2.698 | 179.98 | 27.1413 | 876 | 31.68 | 0
2019-04-08 16:30:00 | 1.64 | 159.534 | 1.898 | 175.3 | 2.086 | 203.22 | 2.288 | 248 | 26.078 | 876 | 33.702 | 0
2019-04-08 16:45:00 | 1.176 | 167.9193 | 1.3567 | 184.5267 | 1.7487 | 206.0067 | 1.8587 | 221.8133 | 26.1673 | 876 | 34.0313 | 0
2019-04-08 17:00:00 | 1.792 | 105.256 | 2.066 | 115.66 | 2.334 | 154.64 | 2.252 | 156.54 | 26.252 | 875.4 | 33.918 | 0
2019-04-08 17:15:00 | 1.4267 | 115.3867 | 1.6487 | 126.7933 | 2.022 | 137.7067 | 2.1173 | 172.9933 | 25.892 | 875 | 34.75 | 0
2019-04-08 17:30:00 | 1.654 | 180.35 | 1.9 | 198.18 | 2.27 | 177.96 | 2.436 | 195.76 | 25.94 | 875 | 34.528 | 0
2019-04-08 17:45:00 | 0.854 | 197.646 | 0.98667 | 217.1933 | 1.258 | 233.2267 | 1.6707 | 235.9467 | 26.0453 | 875 | 34.4827 | 0
2019-04-08 18:00:00 | 2.38 | 166.046 | 2.74 | 182.46 | 3.21 | 211 | 3.384 | 220.96 | 25.72 | 875 | 35.528 | 0
2019-04-08 18:15:00 | 2.2507 | 151.9127 | 2.592 | 166.9267 | 3.1193 | 220.9467 | 3.3333 | 228.12 | 25.284 | 875 | 36.424 | 0
2019-04-08 18:30:00 | 1.77 | 186.184 | 2.044 | 204.6 | 2.586 | 222.52 | 2.766 | 221.28 | 25.1 | 875 | 36.664 | 0
2019-04-08 18:45:00 | 1.6073 | 181.8187 | 1.8467 | 199.8 | 2.3073 | 226.4133 | 2.63 | 226.44 | 24.932 | 875 | 36.708 | 0
2019-04-08 19:00:00 | 2.518 | 183.368 | 2.894 | 201.5 | 3.39 | 213.5 | 3.566 | 216.08 | 24.696 | 875 | 37.14 | 0.636
2019-04-08 19:15:00 | 2.3047 | 176.0813 | 2.6593 | 193.4867 | 3.11 | 211.42 | 3.4553 | 219.0267 | 24.4867 | 875 | 37.5507 | 0.57867
2019-04-08 19:30:00 | 1.748 | 181.296 | 2.012 | 199.22 | 2.532 | 202.44 | 3.022 | 216.26 | 24.39 | 875 | 37.8 | 0
2019-04-08 19:45:00 | 1.4953 | 195.154 | 1.728 | 214.4533 | 2.3873 | 217.6067 | 2.6907 | 220.2067 | 24.3087 | 875 | 38.2633 | 0
2019-04-08 20:00:00 | 1.088 | 261.66 | 1.254 | 287.54 | 2.086 | 234.72 | 2.226 | 222.02 | 24.154 | 875 | 39.03 | 0
2019-04-08 20:15:00 | 0.87467 | 267.6187 | 1.0127 | 294.0867 | 1.6153 | 226.5733 | 1.7407 | 232.0733 | 24.0687 | 875 | 39.51 | 0
2019-04-08 20:30:00 | 0.916 | 274.88 | 1.052 | 302.06 | 1.608 | 282.34 | 1.72 | 291.44 | 24.01 | 875.6 | 39.468 | 0
2019-04-08 20:45:00 | 0.98133 | 290.4227 | 1.1293 | 319.14 | 1.86 | 327.66 | 2.1293 | 316.5867 | 23.89 | 876 | 39.596 | 0
2019-04-08 21:00:00 | 1.016 | 299.84 | 1.18 | 329.5 | 2.006 | 322.1 | 2.1 | 325.3 | 23.682 | 876 | 40.26 | 0
2019-04-08 21:15:00 | 1.1613 | 306.3013 | 1.3453 | 336.5933 | 2.0793 | 239.1853 | 2.0493 | 332.2333 | 23.6927 | 876 | 40.628 | 0
2019-04-08 21:30:00 | 1.706 | 143.5 | 1.972 | 157.688 | 2.244 | 10.124 | 2.318 | 143.784 | 23.596 | 876 | 41.312 | 0
2019-04-08 21:45:00 | 1.518 | 191.3693 | 1.756 | 210.2933 | 2.192 | 9.8893 | 2.2767 | 8.5053 | 23.468 | 876.9333 | 41.7493 | 0
2019-04-08 22:00:00 | 2.06 | 188.796 | 2.38 | 207.472 | 2.978 | 26.1 | 2.34 | 21.726 | 23.284 | 877 | 41.894 | 0
2019-04-08 22:15:00 | 2.4613 | 308.8487 | 2.836 | 339.3867 | 3.682 | 9.7893 | 3.9307 | 25.7173 | 23.0727 | 877 | 42.716 | 1.4073
2019-04-08 22:30:00 | 2.412 | 292.524 | 2.78 | 321.46 | 4.406 | 16.388 | 5.038 | 24.264 | 22.522 | 877 | 45.016 | 3.2753
2019-04-08 22:45:00 | 2.676 | 301.7187 | 3.0827 | 331.5533 | 4.938 | 21.3333 | 5.3553 | 21.7707 | 22.058 | 877 | 46.592 | 5.8413
2019-04-08 23:00:00 | 2.92 | 267.926 | 3.36 | 294.42 | 5.392 | 9.68 | 5.864 | 16.834 | 21.866 | 877 | 47.27 | 6.9893
2019-04-08 23:15:00 | 2.7253 | 223.966 | 3.1347 | 246.108 | 4.84 | 6.6387 | 5.22 | 13.1793 | 21.6847 | 877 | 47.6953 | 12.2507
2019-04-08 23:30:00 | 6.98 | 25.1 | 8.038 | 27.582 | 12.062 | 12.24 | 12.054 | 12.55 | 21.408 | 877 | 49.002 | 37.1507
2019-04-08 23:45:00 | 12.6853 | 19.7867 | 14.6007 | 21.7393 | 22.0967 | 7.2613 | 21.786 | 26.4927 | 20.3067 | 877.9333 | 53.8847 | 47.314