## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-10 00:00:00 | 6.13 | 250.3957 | 7.0543 | 275.1571 | 10.7586 | 14.7114 | 10.4243 | 25.2857 | 16.6886 | 885 | 52.8162 | 45.3179
2019-04-10 00:15:00 | 6.12 | 135.1827 | 7.0407 | 148.5533 | 10.4893 | 28.41 | 10.218 | 19.524 | 16.5567 | 885 | 53.2087 | 46.0373
2019-04-10 00:30:00 | 6.186 | 278.074 | 7.12 | 305.58 | 10.896 | 13.556 | 10.894 | 11.536 | 16.418 | 885 | 53.544 | 47.5387
2019-04-10 00:45:00 | 6.562 | 63.51 | 7.5547 | 69.7867 | 11.428 | 14.8787 | 10.998 | 241.572 | 16.3487 | 885 | 53.8093 | 45.1733
2019-04-10 01:00:00 | 6.212 | 116.016 | 7.15 | 127.48 | 10.714 | 15.134 | 10.562 | 21.538 | 16.436 | 885 | 53.472 | 45.9253
2019-04-10 01:15:00 | 5.9 | 277.5733 | 6.7853 | 305.02 | 10.0833 | 16.816 | 9.7093 | 24.3313 | 16.3927 | 884.7333 | 53.3547 | 42.8627
2019-04-10 01:30:00 | 5.5827 | 172.4773 | 6.4227 | 189.532 | 9.38 | 21.2187 | 8.9167 | 33.8733 | 16.3527 | 884.6 | 53.5607 | 45.07
2019-04-10 01:45:00 | 5.9053 | 39.464 | 6.8013 | 43.3573 | 9.292 | 21.6507 | 8.898 | 20.1187 | 16.3687 | 885 | 53.6247 | 45.2507
2019-04-10 02:00:00 | 5.99 | 90.466 | 6.89 | 99.412 | 10.614 | 21.198 | 10.332 | 14.224 | 16.19 | 884.4 | 54.338 | 44.6527
2019-04-10 02:15:00 | 6.5047 | 287.654 | 7.482 | 316.0933 | 10.898 | 22.1767 | 10.6747 | 6.9547 | 16.202 | 884 | 54.2007 | 47.636
2019-04-10 02:30:00 | 6.83 | 107.608 | 7.858 | 118.246 | 11.544 | 10.33 | 11.078 | 22.996 | 16.25 | 884 | 54.006 | 48.492
2019-04-10 02:45:00 | 6.7873 | 45.3387 | 7.8207 | 49.822 | 11.6933 | 13.3273 | 11.2767 | 15.3693 | 16.1553 | 884 | 54.0873 | 46.662
2019-04-10 03:00:00 | 6.156 | 73.744 | 7.084 | 81.032 | 11.188 | 17.3 | 10.79 | 14.226 | 16.012 | 884 | 55.56 | 43.3427
2019-04-10 03:15:00 | 5.1 | 231.528 | 5.8613 | 254.42 | 9.4147 | 17.708 | 9.7313 | 29.594 | 15.8173 | 884 | 57.2933 | 43.21
2019-04-10 03:30:00 | 5.116 | 164.36 | 5.888 | 180.6 | 9.686 | 17.272 | 9.854 | 27.242 | 15.678 | 884 | 59.15 | 43.344
2019-04-10 03:45:00 | 5.888 | 208.0987 | 6.7813 | 228.68 | 10.6767 | 19.7853 | 11.0527 | 28.85 | 15.0793 | 884 | 66.554 | 47.2773
2019-04-10 04:00:00 | 6.098 | 224.356 | 7.018 | 246.54 | 11.236 | 29.462 | 11.734 | 30.074 | 14.568 | 884 | 72.318 | 46.7153
2019-04-10 04:15:00 | 5.6487 | 240.8613 | 6.4953 | 264.6733 | 10.3307 | 24.5687 | 10.4767 | 27.5593 | 14.7907 | 884 | 71.0353 | 41.8733
2019-04-10 04:30:00 | 5.442 | 113.044 | 6.266 | 124.22 | 9.762 | 17.78 | 9.908 | 31.27 | 15.054 | 884 | 70.07 | 44.62
2019-04-10 04:45:00 | 4.8953 | 238.1827 | 5.6273 | 261.74 | 9.1727 | 10.7107 | 9.5427 | 17.626 | 13.922 | 884 | 83.302 | 43.0353
2019-04-10 05:00:00 | 4.972 | 132.776 | 5.718 | 145.9 | 8.808 | 14.082 | 8.902 | 22.594 | 12.856 | 884 | 90.94 | 44.934
2019-04-10 05:15:00 | 4.7733 | 30.36 | 5.4913 | 33.3547 | 8.5093 | 12.646 | 8.6967 | 18.3873 | 12.4587 | 884 | 94.1933 | 45.3787
2019-04-10 05:30:00 | 4.818 | 187.864 | 5.544 | 206.432 | 8.596 | 16.682 | 8.822 | 19.392 | 12.294 | 884 | 95.94 | 45.064
2019-04-10 05:45:00 | 5.0873 | 126.764 | 5.852 | 139.2933 | 8.6333 | 12.694 | 8.5687 | 240.128 | 12.25 | 884 | 97.02 | 47.2253
2019-04-10 06:00:00 | 4.928 | 146.25 | 5.67 | 160.71 | 8.446 | 18.412 | 8.63 | 20.348 | 12.202 | 884 | 97.56 | 48.708
2019-04-10 06:15:00 | 5.0733 | 294.57 | 5.8367 | 323.6967 | 8.9407 | 9.0027 | 9.126 | 19.66 | 12.0767 | 884 | 98.5867 | 52.0887
2019-04-10 06:30:00 | 5.556 | 164.58 | 6.39 | 180.848 | 9.87 | 15.336 | 9.838 | 19.06 | 11.978 | 884 | 99.24 | 51.6987
2019-04-10 06:45:00 | 5.4347 | 89.692 | 6.2593 | 98.5653 | 9.942 | 5.2067 | 10.0767 | 17.8907 | 11.9127 | 884 | 99.7333 | 50.082
2019-04-10 07:00:00 | 5.916 | 154.472 | 6.808 | 169.752 | 10.658 | 11.302 | 10.742 | 17.552 | 11.838 | 884 | 99.9 | 49.586
2019-04-10 07:15:00 | 5.844 | 244.656 | 6.72 | 268.848 | 10.0353 | 10.8153 | 10.1313 | 15.6333 | 11.714 | 884 | 99.9933 | 45.9687
2019-04-10 07:30:00 | 5.452 | 233.888 | 6.274 | 257.02 | 9.502 | 15.55 | 9.728 | 28.57 | 11.632 | 884 | 100 | 48.9747
2019-04-10 07:45:00 | 5.96 | 221.952 | 6.854 | 243.892 | 9.154 | 3.894 | 9.1427 | 10.0287 | 11.4387 | 884 | 100 | 48.6787
2019-04-10 08:00:00 | 5.716 | 213.62 | 6.574 | 234.748 | 9.354 | 13.506 | 9.572 | 15.87 | 11.266 | 884.6 | 100 | 48.7353
2019-04-10 08:15:00 | 5.744 | 286.148 | 6.6167 | 314.44 | 9.8247 | 20.2673 | 9.844 | 18.6607 | 11.2247 | 884.0667 | 100 | 49.7713
2019-04-10 08:30:00 | 6.052 | 251.878 | 6.968 | 276.78 | 10.58 | 13.902 | 10.636 | 21.512 | 11.204 | 884.6 | 100 | 50.998
2019-04-10 08:45:00 | 6.1213 | 102.342 | 7.0413 | 112.46 | 10.9613 | 14.0713 | 10.9747 | 13.8507 | 11.124 | 885 | 100 | 52.9793
2019-04-10 09:00:00 | 6.488 | 305.092 | 7.464 | 335.26 | 11.176 | 17.312 | 11.116 | 11.194 | 11.018 | 884.4 | 100 | 53.0033
2019-04-10 09:15:00 | 6.4013 | 301.472 | 7.3627 | 331.2867 | 10.8733 | 12.6467 | 10.6147 | 15.3033 | 10.914 | 884.9333 | 100 | 52.8353
2019-04-10 09:30:00 | 6.6 | 291.242 | 7.59 | 320.04 | 10.924 | 18.932 | 10.706 | 13.842 | 10.874 | 885 | 100 | 54.758
2019-04-10 09:45:00 | 6.836 | 127.294 | 7.8593 | 139.8867 | 11.564 | 15.4493 | 11.2353 | 14.9913 | 10.8447 | 885 | 100 | 53.3533
2019-04-10 10:00:00 | 7.208 | 300.882 | 8.292 | 330.64 | 12.044 | 16.718 | 11.29 | 18.67 | 10.8 | 885 | 100 | 55.2113
2019-04-10 10:15:00 | 7.1493 | 225.522 | 8.2333 | 247.8293 | 11.4933 | 20.9273 | 11.078 | 12.1353 | 10.696 | 885 | 100 | 55.0613
2019-04-10 10:30:00 | 6.798 | 63.41 | 7.826 | 69.684 | 11.706 | 10.404 | 11.53 | 17.428 | 10.702 | 885 | 100 | 56.09
2019-04-10 10:45:00 | 6.2473 | 255.8193 | 7.1833 | 281.1067 | 11.162 | 9.3213 | 11.5887 | 13.6893 | 10.7433 | 885 | 100 | 56.0353
2019-04-10 11:00:00 | 5.62 | 211.108 | 6.462 | 231.98 | 10.418 | 11.068 | 10.864 | 18.164 | 10.81 | 885 | 100 | 55.982
2019-04-10 11:15:00 | 6.1227 | 208.6227 | 7.0487 | 229.2467 | 10.882 | 15.8213 | 11.5013 | 20.5173 | 10.7287 | 885 | 100 | 55.5307
2019-04-10 11:30:00 | 6.384 | 315.248 | 7.35 | 346.42 | 10.898 | 219.208 | 10.992 | 18.952 | 10.65 | 885 | 100 | 54.1193
2019-04-10 11:45:00 | 6.06 | 253.1533 | 6.982 | 278.1933 | 9.7513 | 31.508 | 9.756 | 9.1973 | 10.6433 | 884.7333 | 100 | 50.386
2019-04-10 12:00:00 | 5.338 | 217.288 | 6.144 | 238.78 | 8.83 | 222.212 | 8.948 | 8.15 | 10.704 | 884 | 100 | 43.7187
2019-04-10 12:15:00 | 4.646 | 45.556 | 5.3493 | 50.0507 | 7.558 | 120.6733 | 7.7747 | 8.186 | 10.7147 | 884 | 100 | 42.4173
2019-04-10 12:30:00 | 4.1 | 59.086 | 4.722 | 64.916 | 7.176 | 154.432 | 7.438 | 16.918 | 10.712 | 884 | 100 | 34.4087
2019-04-10 12:45:00 | 4.4387 | 199.994 | 5.1167 | 219.7627 | 7.2853 | 4.6613 | 7.4167 | 13.898 | 10.7413 | 884 | 100 | 40.348
2019-04-10 13:00:00 | 4.944 | 7.28 | 5.686 | 8.002 | 8.482 | 17.754 | 8.61 | 222.884 | 10.696 | 884 | 100 | 43.0327
2019-04-10 13:15:00 | 5.02 | 210.0813 | 5.782 | 230.8593 | 8.0527 | 93.5527 | 8.3207 | 39.2747 | 10.5693 | 884 | 100 | 36.0987
2019-04-10 13:30:00 | 4.292 | 164.248 | 4.942 | 180.496 | 7.324 | 143.664 | 7.434 | 12.788 | 10.55 | 884 | 100 | 34.2853
2019-04-10 13:45:00 | 4.2293 | 208.0267 | 4.874 | 228.5987 | 6.7773 | 224.032 | 6.8433 | 17.1267 | 10.7287 | 883.7333 | 100 | 25.352
2019-04-10 14:00:00 | 4.302 | 13.294 | 4.946 | 14.606 | 6.572 | 11.242 | 6.966 | 223.024 | 10.692 | 883 | 100 | 27.8687
2019-04-10 14:15:00 | 4.774 | 103.3207 | 5.4873 | 113.5353 | 8.156 | 93.9353 | 8.23 | 33.9173 | 10.9053 | 883 | 100 | 32.6813
2019-04-10 14:30:00 | 4.452 | 135.018 | 5.116 | 148.366 | 7.04 | 344.2 | 7.13 | 39.272 | 11.1 | 883 | 100 | 24.692
2019-04-10 14:45:00 | 3.8893 | 89.6487 | 4.4787 | 98.514 | 6.768 | 47.9427 | 7.1887 | 21.1947 | 11.824 | 883 | 100 | 21.5533
2019-04-10 15:00:00 | 3.512 | 300.808 | 4.04 | 330.56 | 5.85 | 6.464 | 5.846 | 9.032 | 11.652 | 883 | 100 | 10.9313
2019-04-10 15:15:00 | 2.7787 | 235.9493 | 3.2013 | 259.288 | 5.0607 | 94.9 | 5.1073 | 12.5053 | 11.5373 | 883 | 100 | 24.5447
2019-04-10 15:30:00 | 4.064 | 11.59 | 4.688 | 12.734 | 7.004 | 148.474 | 7.364 | 16.466 | 11.284 | 882.4 | 100 | 24.66
2019-04-10 15:45:00 | 4.0613 | 77.1593 | 4.676 | 84.7847 | 6.88 | 12.158 | 7.208 | 5.002 | 11.172 | 882 | 100 | 33.7093
2019-04-10 16:00:00 | 4.808 | 300.982 | 5.526 | 330.74 | 8.306 | 28.548 | 8.334 | 5.962 | 11.226 | 882 | 100 | 40.1313
2019-04-10 16:15:00 | 5.0813 | 224.4087 | 5.8447 | 246.5907 | 8.6447 | 11.5667 | 8.802 | 23.7073 | 11.3327 | 882 | 99.48 | 35.8607
2019-04-10 16:30:00 | 4.646 | 188.41 | 5.342 | 207.036 | 8.38 | 34.734 | 8.606 | 24.726 | 11.508 | 882 | 99.12 | 36.9647
2019-04-10 16:45:00 | 4.906 | 26.6887 | 5.6447 | 29.3307 | 8.9453 | 18.0153 | 9.0567 | 29.502 | 11.436 | 882 | 99.0533 | 38.6567
2019-04-10 17:00:00 | 4.928 | 187.144 | 5.67 | 205.656 | 9.116 | 24.338 | 9.258 | 21.76 | 11.424 | 882 | 99.2 | 34.844
2019-04-10 17:15:00 | 5.1333 | 62.0787 | 5.9033 | 68.2053 | 8.9747 | 19.266 | 9.0607 | 15.8107 | 11.544 | 882 | 98.3333 | 36.268
2019-04-10 17:30:00 | 5.284 | 171.764 | 6.078 | 188.748 | 9.066 | 7.274 | 8.55 | 14.426 | 11.48 | 882.6 | 97.2 | 39.8747
2019-04-10 17:45:00 | 5.5547 | 35.768 | 6.3967 | 39.3067 | 10.046 | 10.3673 | 9.8833 | 19.1913 | 11.368 | 883 | 97.48 | 38.06
2019-04-10 18:00:00 | 5.374 | 54.094 | 6.184 | 59.44 | 9.858 | 17.598 | 9.926 | 24.324 | 11.21 | 883 | 97.5 | 41.56
2019-04-10 18:15:00 | 5.41 | 7.5127 | 6.22 | 8.2507 | 10.0887 | 25.4207 | 10.0793 | 22.468 | 11.102 | 883 | 97.5933 | 44.5993
2019-04-10 18:30:00 | 5.092 | 27.596 | 5.86 | 30.32 | 9.384 | 15.716 | 9.282 | 19.762 | 11.006 | 883 | 97.54 | 38.354
2019-04-10 18:45:00 | 4.6693 | 60.4133 | 5.372 | 66.3893 | 8.6307 | 12.4733 | 8.5513 | 20.922 | 10.9847 | 883 | 97.6867 | 40.1073
2019-04-10 19:00:00 | 4.716 | 69.778 | 5.434 | 76.678 | 8.88 | 13.718 | 8.974 | 17.252 | 10.934 | 883 | 98.06 | 46.3653
2019-04-10 19:15:00 | 5.5153 | 94.588 | 6.354 | 103.936 | 10.2587 | 5.7793 | 10.2633 | 21.602 | 10.8353 | 883 | 98.1867 | 51.2467
2019-04-10 19:30:00 | 6.06 | 158.678 | 6.984 | 174.368 | 11.162 | 7.968 | 11.072 | 20.878 | 10.782 | 883 | 97.7 | 54.8627
2019-04-10 19:45:00 | 6.4573 | 24.158 | 7.43 | 26.5487 | 11.9233 | 18.4153 | 11.7787 | 20.5087 | 10.6793 | 883 | 97.42 | 53.564
2019-04-10 20:00:00 | 6.616 | 106.924 | 7.62 | 117.488 | 12.214 | 16.858 | 12.108 | 26.492 | 10.556 | 883 | 97.34 | 53.0473
2019-04-10 20:15:00 | 6.4987 | 249.048 | 7.4853 | 273.68 | 12.05 | 17.2713 | 12.02 | 23.124 | 10.568 | 883 | 96.8467 | 44.666
2019-04-10 20:30:00 | 5.646 | 227.794 | 6.494 | 250.32 | 10.508 | 14.114 | 10.692 | 25.732 | 10.552 | 883.6 | 96.78 | 34.398
2019-04-10 20:45:00 | 4.6527 | 80.6127 | 5.362 | 88.5813 | 8.76 | 11.8513 | 8.6987 | 27.2587 | 10.456 | 883.3333 | 97.2733 | 32.1373
2019-04-10 21:00:00 | 3.904 | 169.918 | 4.498 | 186.712 | 7.356 | 12.934 | 7.3 | 27.952 | 10.348 | 884 | 97.54 | 29.2553
2019-04-10 21:15:00 | 3.5333 | 33.3247 | 4.066 | 36.616 | 6.6493 | 18.706 | 6.7147 | 26.748 | 10.168 | 884 | 98.06 | 33.8827
2019-04-10 21:30:00 | 4.216 | 52.99 | 4.848 | 58.224 | 7.864 | 15.338 | 7.774 | 19.408 | 10.006 | 884 | 98.3 | 46.084
2019-04-10 21:45:00 | 5.4147 | 31.1287 | 6.228 | 34.2 | 9.4773 | 13.634 | 9.566 | 19.4173 | 10.0673 | 884 | 97.3667 | 47.0273
2019-04-10 22:00:00 | 6.296 | 12.9 | 7.242 | 14.176 | 10.65 | 12.024 | 10.358 | 20.118 | 10.268 | 884 | 95.28 | 46.7073
2019-04-10 22:15:00 | 6.16 | 9.736 | 7.0927 | 10.6933 | 10.474 | 24.8213 | 9.9673 | 21.9113 | 10.308 | 884 | 94.3333 | 44.1533
2019-04-10 22:30:00 | 5.684 | 4.69 | 6.542 | 5.146 | 9.658 | 14.762 | 9.364 | 222.544 | 10.22 | 884 | 94.3 | 40.6447
2019-04-10 22:45:00 | 5.532 | 221.9833 | 6.362 | 243.9353 | 9.3287 | 11.714 | 9.3227 | 36.1347 | 10.168 | 884 | 94.18 | 39.268
2019-04-10 23:00:00 | 5.496 | 23.998 | 6.326 | 26.372 | 9.142 | 13.34 | 8.936 | 24.444 | 10.196 | 884 | 93.52 | 35.1927
2019-04-10 23:15:00 | 4.8667 | 192.386 | 5.6033 | 211.416 | 8.4847 | 1.536 | 8.4587 | 10.2307 | 10.0387 | 884 | 93.96 | 32.4467
2019-04-10 23:30:00 | 4.652 | 36.244 | 5.352 | 39.83 | 8.06 | 4.116 | 8.066 | 13.082 | 9.858 | 884 | 94.44 | 33.6107
2019-04-10 23:45:00 | 4.2813 | 208.6107 | 4.9293 | 229.238 | 7.7013 | 5.7773 | 7.6913 | 11.6287 | 9.6953 | 884 | 95.0267 | 33.6627