## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-11 00:00:00 | 4.4114 | 58.48 | 5.08 | 64.2629 | 7.4957 | 2.2586 | 7.4043 | 21.6814 | 9.7043 | 884 | 94.75 | 38.7129
2019-04-11 00:15:00 | 4.2687 | 253.3367 | 4.9113 | 278.384 | 7.2453 | 4.6173 | 6.8427 | 13.5027 | 9.6427 | 884 | 94.6467 | 41.8213
2019-04-11 00:30:00 | 4.756 | 128.766 | 5.474 | 141.506 | 7.782 | 6.446 | 7.726 | 12.936 | 9.624 | 884 | 94.98 | 42.4
2019-04-11 00:45:00 | 4.8627 | 219.1927 | 5.5927 | 240.8687 | 7.754 | 3.874 | 7.5953 | 8.0867 | 9.6733 | 884 | 94.5133 | 41.6633
2019-04-11 01:00:00 | 4.268 | 8.942 | 4.918 | 9.826 | 8.328 | 16.498 | 8.354 | 22.068 | 9.288 | 884 | 96.34 | 41.3707
2019-04-11 01:15:00 | 4.368 | 97.37 | 5.022 | 106.9993 | 8.5093 | 16.8793 | 8.7087 | 25.832 | 9.0293 | 884 | 97.9533 | 40.442
2019-04-11 01:30:00 | 4.228 | 146.476 | 4.862 | 160.96 | 8.22 | 12.326 | 8.46 | 26.5 | 8.95 | 884 | 98.42 | 37.708
2019-04-11 01:45:00 | 4.2333 | 221.8453 | 4.882 | 243.784 | 7.32 | 16.1567 | 7.5573 | 27.2307 | 9.1287 | 884 | 97.8067 | 36.3893
2019-04-11 02:00:00 | 3.878 | 12.382 | 4.466 | 13.602 | 6.592 | 13.622 | 6.808 | 21.91 | 9.194 | 884 | 97.1 | 36.3673
2019-04-11 02:15:00 | 4.126 | 22.7193 | 4.75 | 24.966 | 6.956 | 322.59 | 6.9933 | 11.1007 | 9.134 | 884 | 97.2867 | 33.8213
2019-04-11 02:30:00 | 4.096 | 191.054 | 4.718 | 209.948 | 7.052 | 342.84 | 6.902 | 10.136 | 9.128 | 884 | 97.18 | 31.4827
2019-04-11 02:45:00 | 3.984 | 47.07 | 4.5927 | 51.7173 | 6.564 | 132.58 | 6.686 | 106.876 | 9.1267 | 884 | 97.0067 | 33.922
2019-04-11 03:00:00 | 4.184 | 187.592 | 4.824 | 206.136 | 6.982 | 348.02 | 6.836 | 147.186 | 9.03 | 884 | 97.48 | 37.3047
2019-04-11 03:15:00 | 4.0813 | 211.1573 | 4.7013 | 232.0413 | 7.1367 | 265.5213 | 6.7507 | 103.8807 | 8.958 | 883.0667 | 97.4933 | 39.4167
2019-04-11 03:30:00 | 4.226 | 16.062 | 4.866 | 17.648 | 7.48 | 23.428 | 7.72 | 144.314 | 8.868 | 883 | 97.88 | 43.3667
2019-04-11 03:45:00 | 4.638 | 221.83 | 5.3433 | 243.772 | 7.9307 | 12.028 | 8.1413 | 14.234 | 8.796 | 883 | 98.56 | 44.6033
2019-04-11 04:00:00 | 4.832 | 26.16 | 5.568 | 28.744 | 7.75 | 19.228 | 7.626 | 215.472 | 8.762 | 883 | 98.78 | 47.76
2019-04-11 04:15:00 | 4.9973 | 82.0613 | 5.748 | 90.1747 | 7.8847 | 98.8013 | 7.6713 | 33.7867 | 8.7047 | 883 | 98.9533 | 48.882
2019-04-11 04:30:00 | 5.144 | 295.19 | 5.922 | 324.38 | 8.35 | 151.628 | 8.398 | 6.972 | 8.65 | 883 | 99.28 | 46.0887
2019-04-11 04:45:00 | 4.5547 | 28.0207 | 5.2367 | 30.7893 | 7.3887 | 10.0053 | 7.6113 | 13.416 | 8.6887 | 883 | 99.12 | 40.4893
2019-04-11 05:00:00 | 4.242 | 202.874 | 4.878 | 222.924 | 6.916 | 7.416 | 6.942 | 20.12 | 8.622 | 883 | 99.1 | 36.918
2019-04-11 05:15:00 | 4.13 | 134.606 | 4.7513 | 147.9133 | 7.2267 | 328.8773 | 7.146 | 6.7053 | 8.446 | 883 | 99.3667 | 37.2033
2019-04-11 05:30:00 | 4.132 | 127.982 | 4.752 | 140.632 | 7.45 | 144.556 | 7.228 | 3.712 | 8.358 | 883 | 99.72 | 40.6953
2019-04-11 05:45:00 | 4.6547 | 216.43 | 5.3493 | 237.8347 | 8.2473 | 238.0253 | 8.4347 | 1.0227 | 8.3727 | 883 | 99.9867 | 47.2067
2019-04-11 06:00:00 | 5.518 | 133.248 | 6.346 | 146.418 | 9.69 | 212.072 | 9.408 | 4.992 | 8.502 | 883 | 99.76 | 50.8447
2019-04-11 06:15:00 | 5.7967 | 293.392 | 6.6633 | 322.402 | 9.5953 | 345.6133 | 9.2253 | 3.9147 | 8.546 | 883 | 99.32 | 51.55
2019-04-11 06:30:00 | 5.912 | 313.572 | 6.798 | 344.58 | 8.914 | 333.52 | 9.054 | 11.484 | 8.588 | 883 | 99 | 50.382
2019-04-11 06:45:00 | 5.6853 | 231.7947 | 6.538 | 254.7107 | 8.478 | 31.5693 | 8.5193 | 8.1507 | 8.588 | 883 | 98.72 | 49.1593
2019-04-11 07:00:00 | 5.55 | 196.6 | 6.382 | 216.036 | 8.198 | 7.416 | 8.23 | 7.028 | 8.618 | 883 | 98.38 | 49.06
2019-04-11 07:15:00 | 5.4687 | 23.3587 | 6.2967 | 25.6653 | 8.4673 | 314.4813 | 8.3887 | 4.6867 | 8.6447 | 883 | 98.3 | 46.7347
2019-04-11 07:30:00 | 5.02 | 4.708 | 5.784 | 5.164 | 8.42 | 143.676 | 8.136 | 8.582 | 8.92 | 883.6 | 97.88 | 43.6607
2019-04-11 07:45:00 | 5.148 | 87.2133 | 5.9267 | 95.8373 | 7.9053 | 231.9107 | 7.884 | 89.2207 | 9.3467 | 884 | 95.9333 | 41.6487
2019-04-11 08:00:00 | 5.046 | 137.1 | 5.812 | 150.652 | 7.884 | 10.978 | 7.596 | 14.334 | 9.724 | 884.6 | 94.5 | 36.5207
2019-04-11 08:15:00 | 4.9767 | 304.0267 | 5.7347 | 334.0947 | 7.8253 | 8.4447 | 7.688 | 10.7073 | 10.3373 | 885 | 92.0867 | 32.5267
2019-04-11 08:30:00 | 4.898 | 136.674 | 5.63 | 150.192 | 7.87 | 12.626 | 7.814 | 13.812 | 10.776 | 885.6 | 90.48 | 36.6307
2019-04-11 08:45:00 | 5.162 | 289.442 | 5.9433 | 318.0613 | 8.2207 | 244.3247 | 8.15 | 3.388 | 11.3347 | 886 | 88.3333 | 30.8173
2019-04-11 09:00:00 | 4.868 | 121.442 | 5.606 | 133.45 | 7.854 | 15.91 | 7.914 | 11.434 | 11.978 | 886.6 | 86.2 | 24.5627
2019-04-11 09:15:00 | 4.6093 | 277.8007 | 5.31 | 305.2767 | 7.482 | 10.8367 | 7.342 | 20.43 | 12.502 | 887 | 83.8933 | 21.532
2019-04-11 09:30:00 | 4.4 | 254.528 | 5.064 | 279.7 | 7.298 | 21.642 | 7.112 | 19.85 | 13.362 | 887 | 80.496 | 19.1133
2019-04-11 09:45:00 | 4.52 | 247.6947 | 5.2 | 272.188 | 7.3473 | 7.7313 | 7.1627 | 18.4167 | 13.8313 | 887.9333 | 77.8467 | 14.9093
2019-04-11 10:00:00 | 4.668 | 23.974 | 5.366 | 26.336 | 7.484 | 11.082 | 7.092 | 216.588 | 14.418 | 888 | 75.572 | 11.9333
2019-04-11 10:15:00 | 4.4293 | 210.6313 | 5.0953 | 231.456 | 7.0427 | 18.7593 | 6.5587 | 43.78 | 14.53 | 888 | 75.0507 | 9.282
2019-04-11 10:30:00 | 4.208 | 204.842 | 4.84 | 225.1 | 6.586 | 13.988 | 6.42 | 20.192 | 14.88 | 888 | 73.736 | 5.8507
2019-04-11 10:45:00 | 3.9547 | 245.838 | 4.5493 | 270.144 | 5.8993 | 19.4533 | 5.5627 | 30.7693 | 15.348 | 888 | 71.3867 | 1.5027
2019-04-11 11:00:00 | 3.376 | 13.478 | 3.882 | 14.8 | 4.84 | 15.28 | 4.534 | 24.274 | 15.45 | 888 | 70.55 | 0.57933
2019-04-11 11:15:00 | 2.88 | 282.9553 | 3.314 | 310.9427 | 4.2387 | 23.0293 | 3.7127 | 4.3993 | 16.5247 | 888 | 67.6513 | 0
2019-04-11 11:30:00 | 2.52 | 160.254 | 2.902 | 176.106 | 3.586 | 19.558 | 2.818 | 27.174 | 16.576 | 888 | 65.94 | 0
2019-04-11 11:45:00 | 2.74 | 19.6967 | 3.1513 | 21.638 | 3.0887 | 42.0327 | 2.606 | 324.878 | 15.736 | 888 | 66.2733 | 0
2019-04-11 12:00:00 | 2.352 | 193.228 | 2.704 | 212.336 | 2.632 | 238.224 | 2.398 | 190.38 | 15.704 | 888 | 65.8 | 0
2019-04-11 12:15:00 | 2.3893 | 63.6213 | 2.7573 | 69.904 | 2.7173 | 136.7467 | 2.4793 | 29.928 | 16.44 | 888 | 62.1813 | 0
2019-04-11 12:30:00 | 2.132 | 9.658 | 2.452 | 10.606 | 2.728 | 151.122 | 2.508 | 22.396 | 17.084 | 888 | 60.49 | 0
2019-04-11 12:45:00 | 1.5307 | 91.198 | 1.76 | 100.2113 | 2.012 | 109.0047 | 2.0693 | 106.9827 | 17.7027 | 888 | 58.854 | 0
2019-04-11 13:00:00 | 1.126 | 68.644 | 1.294 | 75.432 | 1.422 | 202.76 | 1.626 | 335.62 | 18.016 | 888 | 58.894 | 0
2019-04-11 13:15:00 | 1.81 | 111.6867 | 2.09 | 122.7267 | 2.1913 | 126.0933 | 2.0167 | 151.62 | 17.8813 | 888 | 59.5793 | 0
2019-04-11 13:30:00 | 1.87 | 119.584 | 2.156 | 131.4 | 2.212 | 168 | 2.164 | 142.06 | 17.898 | 888 | 59.918 | 0
2019-04-11 13:45:00 | 2.574 | 119.9947 | 2.972 | 131.8533 | 2.9573 | 157.5333 | 3.124 | 166.82 | 18.042 | 888 | 59.3793 | 0
2019-04-11 14:00:00 | 2.68 | 143.052 | 3.09 | 157.2 | 3.128 | 145.92 | 3.298 | 167.72 | 18.384 | 887.4 | 58.022 | 0
2019-04-11 14:15:00 | 3.1067 | 143.6787 | 3.5767 | 157.88 | 3.6893 | 145.28 | 3.7047 | 155.8133 | 18.4533 | 887 | 57.6207 | 0.67867
2019-04-11 14:30:00 | 3.632 | 139.04 | 4.178 | 152.78 | 4.442 | 166.96 | 4.548 | 163.72 | 18.49 | 887 | 58.488 | 1.642
2019-04-11 14:45:00 | 3.6413 | 183.6587 | 4.19 | 201.82 | 4.3527 | 178.4267 | 4.6427 | 185.48 | 19.0007 | 887 | 57.0987 | 2.522
2019-04-11 15:00:00 | 3.664 | 157.18 | 4.218 | 172.72 | 4.364 | 172.68 | 4.632 | 195.94 | 19.126 | 887 | 55.512 | 0.97
2019-04-11 15:15:00 | 3.1493 | 162.7293 | 3.6273 | 178.8133 | 3.7 | 176.6133 | 3.712 | 184.8733 | 19.1647 | 887 | 55.0027 | 1.722
2019-04-11 15:30:00 | 3.098 | 164.912 | 3.564 | 181.22 | 3.668 | 157.1 | 3.854 | 154 | 19.404 | 887 | 54.718 | 1.4853
2019-04-11 15:45:00 | 2.9673 | 147.8093 | 3.412 | 162.42 | 3.7333 | 225.26 | 3.838 | 209.24 | 19.944 | 886.7333 | 54.1153 | 2.9987
2019-04-11 16:00:00 | 2.954 | 172.034 | 3.4 | 189.04 | 3.872 | 217.64 | 4.232 | 235.38 | 19.558 | 886 | 55.28 | 4.5213
2019-04-11 16:15:00 | 3.4273 | 173.9433 | 3.944 | 191.1467 | 5.164 | 231.8133 | 5.2027 | 243.4067 | 19.346 | 886 | 56.692 | 4.6567
2019-04-11 16:30:00 | 3.08 | 179.314 | 3.548 | 197.04 | 4.33 | 236.5 | 4.586 | 220.4 | 19.01 | 886 | 58.196 | 3.4127
2019-04-11 16:45:00 | 2.872 | 167.326 | 3.3 | 183.8667 | 3.7447 | 222.8733 | 4.0367 | 241.6267 | 18.442 | 886 | 60.2707 | 2.6573
2019-04-11 17:00:00 | 2.858 | 178.006 | 3.286 | 195.6 | 3.828 | 186.9 | 4.068 | 190 | 18.126 | 886 | 61.766 | 3.4473
2019-04-11 17:15:00 | 2.8633 | 170.858 | 3.29 | 187.76 | 3.7373 | 223.22 | 3.9493 | 206.7733 | 17.7833 | 885.0667 | 62.9407 | 4.3287
2019-04-11 17:30:00 | 3.236 | 171.224 | 3.724 | 188.16 | 4.324 | 218.22 | 4.728 | 219.22 | 17.598 | 885 | 65.066 | 4.4647
2019-04-11 17:45:00 | 2.98 | 168.6267 | 3.424 | 185.2933 | 4.0947 | 220.1267 | 4.212 | 220.4467 | 17.542 | 885 | 66.6233 | 5.7107
2019-04-11 18:00:00 | 2.748 | 172.924 | 3.158 | 190.02 | 3.492 | 180.38 | 3.726 | 195.22 | 17.514 | 885 | 67.272 | 7.0367
2019-04-11 18:15:00 | 3.1587 | 153.5693 | 3.63 | 168.7533 | 4.024 | 220.5533 | 4.1287 | 223.8867 | 17.4687 | 884.7333 | 67.5067 | 8.7707
2019-04-11 18:30:00 | 3.588 | 185.41 | 4.13 | 203.74 | 4.764 | 216.74 | 4.642 | 218.14 | 17.308 | 884.6 | 67.124 | 8.7347
2019-04-11 18:45:00 | 3.7613 | 187.9847 | 4.3287 | 206.5667 | 4.784 | 227.8333 | 4.866 | 223.46 | 17.1387 | 885 | 67.3067 | 9.3687
2019-04-11 19:00:00 | 3.72 | 189.05 | 4.286 | 207.74 | 4.92 | 220.42 | 5.094 | 219.9 | 16.96 | 885 | 68.236 | 10.2273
2019-04-11 19:15:00 | 4.0347 | 160.63 | 4.65 | 176.5133 | 5.1373 | 211.22 | 5.358 | 219.06 | 16.7427 | 885 | 69.3533 | 13.1513
2019-04-11 19:30:00 | 4.334 | 178.382 | 4.986 | 196.02 | 5.54 | 221.5 | 5.568 | 219.7 | 16.666 | 884.4 | 69.58 | 16.862
2019-04-11 19:45:00 | 4.8773 | 177.4533 | 5.6113 | 194.9933 | 6.252 | 210.78 | 6.576 | 219.7467 | 16.5987 | 884 | 69.132 | 15.384
2019-04-11 20:00:00 | 4.664 | 158.92 | 5.364 | 174.64 | 6.04 | 216.46 | 6.06 | 219.94 | 16.468 | 884 | 69.61 | 13.4327
2019-04-11 20:15:00 | 4.6507 | 197.4333 | 5.3467 | 216.96 | 5.928 | 220.3533 | 5.9267 | 216.0733 | 16.3547 | 884.2667 | 71.0647 | 10.6267
2019-04-11 20:30:00 | 3.968 | 173.964 | 4.562 | 191.16 | 4.886 | 211.52 | 5.106 | 209.9 | 16.29 | 885 | 72.074 | 9.2607
2019-04-11 20:45:00 | 4.1027 | 161.7267 | 4.7193 | 177.72 | 5.1047 | 194.92 | 5.3247 | 207.6867 | 16.234 | 885 | 72.882 | 11.282
2019-04-11 21:00:00 | 4.116 | 180.106 | 4.746 | 197.92 | 5.052 | 189.38 | 5.214 | 197.2 | 16.142 | 885 | 74.028 | 10.7447
2019-04-11 21:15:00 | 3.732 | 180.018 | 4.2993 | 197.8267 | 4.66 | 202.6067 | 5.022 | 204.96 | 16.062 | 885 | 75.0427 | 10.572
2019-04-11 21:30:00 | 4.274 | 155.428 | 4.918 | 170.8 | 5.27 | 195.26 | 5.48 | 206.5 | 15.96 | 885 | 76.01 | 8.536
2019-04-11 21:45:00 | 3.7833 | 157.6067 | 4.354 | 173.1867 | 4.6633 | 201.6067 | 4.6933 | 201.1267 | 15.9453 | 885 | 76.4167 | 6.964
2019-04-11 22:00:00 | 3.692 | 167.696 | 4.244 | 184.28 | 4.56 | 194.88 | 4.592 | 197.7 | 15.918 | 885 | 76.79 | 4.7067
2019-04-11 22:15:00 | 3.1733 | 158.12 | 3.648 | 173.76 | 3.7747 | 198.2533 | 4.248 | 198.2467 | 15.8847 | 885 | 77.0993 | 3.988
2019-04-11 22:30:00 | 2.68 | 168.228 | 3.088 | 184.86 | 3.158 | 200.06 | 3.812 | 191.58 | 15.804 | 885 | 77.584 | 4.9913
2019-04-11 22:45:00 | 2.66 | 157.8027 | 3.0627 | 173.4067 | 3.278 | 176.26 | 3.6427 | 191.7933 | 15.6853 | 885 | 78.2107 | 5.176
2019-04-11 23:00:00 | 2.686 | 170.204 | 3.096 | 187.04 | 3.214 | 197.4 | 3.538 | 193.04 | 15.604 | 885 | 78.644 | 4.2507
2019-04-11 23:15:00 | 2.5153 | 181.944 | 2.8947 | 199.9333 | 3.0047 | 200.2533 | 3.37 | 198.6533 | 15.676 | 885 | 78.2467 | 4.9947
2019-04-11 23:30:00 | 2.948 | 166.404 | 3.392 | 182.86 | 3.63 | 198.26 | 3.898 | 199 | 15.606 | 885 | 78.51 | 3.6687
2019-04-11 23:45:00 | 2.96 | 160.4973 | 3.4013 | 176.3667 | 3.7033 | 202.4067 | 3.958 | 203.7867 | 15.558 | 885 | 78.9807 | 4.0833