## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-12 00:00:00 | 2.63 | 186.06 | 3.0229 | 204.4571 | 3.4157 | 193.3714 | 3.73 | 202.6714 | 15.4186 | 884.6 | 79.85 | 3.3486
2019-04-12 00:15:00 | 2.388 | 156.5667 | 2.7527 | 172.04 | 3.2473 | 195.7533 | 3.5413 | 205.22 | 15.248 | 884 | 81.2733 | 2.314
2019-04-12 00:30:00 | 2.144 | 165.476 | 2.478 | 181.84 | 3.052 | 199.92 | 3.444 | 206.58 | 15.11 | 884 | 82.28 | 2.8613
2019-04-12 00:45:00 | 2.1173 | 154.8267 | 2.438 | 170.1333 | 2.8293 | 199.8667 | 3.1493 | 202.2333 | 14.9433 | 884 | 83.56 | 2.8627
2019-04-12 01:00:00 | 2.2 | 153.012 | 2.536 | 168.14 | 2.778 | 197.1 | 2.982 | 209.78 | 14.882 | 884 | 83.9 | 2.1533
2019-04-12 01:15:00 | 2.5987 | 151.9347 | 2.9947 | 166.9533 | 3.178 | 183.6733 | 3.106 | 207.5933 | 14.87 | 884 | 83.8333 | 2.0747
2019-04-12 01:30:00 | 2.736 | 161.384 | 3.158 | 177.34 | 3.378 | 193.86 | 3.628 | 189.7 | 14.864 | 884 | 83.16 | 2.584
2019-04-12 01:45:00 | 2.1947 | 171.1893 | 2.5273 | 188.1133 | 2.6713 | 193.7667 | 2.8453 | 188.1133 | 14.776 | 884 | 83.4933 | 3.354
2019-04-12 02:00:00 | 2.378 | 173.082 | 2.736 | 190.2 | 2.87 | 184.84 | 3.094 | 202.34 | 14.646 | 884 | 84.28 | 4.56
2019-04-12 02:15:00 | 2.4313 | 158.246 | 2.7987 | 173.8933 | 2.9273 | 193.2667 | 3.018 | 186.5533 | 14.578 | 883.7333 | 84.7733 | 4.49
2019-04-12 02:30:00 | 2.454 | 158.46 | 2.824 | 174.12 | 2.93 | 195.52 | 3.15 | 189.66 | 14.51 | 883 | 85.3 | 2.836
2019-04-12 02:45:00 | 2.182 | 172.9973 | 2.5147 | 190.1067 | 2.5473 | 198.9867 | 2.8513 | 194.5933 | 14.506 | 883 | 85.2867 | 2.7713
2019-04-12 03:00:00 | 2.294 | 131.66 | 2.644 | 144.68 | 2.856 | 179.5 | 3.036 | 195.48 | 14.44 | 883 | 85.62 | 3.724
2019-04-12 03:15:00 | 2.614 | 161.224 | 3.008 | 177.16 | 3.2507 | 183.6067 | 3.5773 | 192.96 | 14.4253 | 882.7333 | 85.54 | 4.598
2019-04-12 03:30:00 | 2.564 | 166.178 | 2.948 | 182.6 | 3.144 | 169.56 | 3.638 | 186.04 | 14.44 | 882 | 85.1 | 5.244
2019-04-12 03:45:00 | 2.8427 | 158.6167 | 3.2667 | 174.3067 | 3.4213 | 169.4933 | 3.8887 | 180.36 | 14.432 | 882 | 84.9 | 6.4507
2019-04-12 04:00:00 | 3.228 | 170.992 | 3.716 | 187.9 | 3.93 | 190.9 | 4.198 | 200.88 | 14.46 | 882 | 84.6 | 7.4667
2019-04-12 04:15:00 | 3.308 | 176.28 | 3.8067 | 193.7133 | 4.1593 | 209.1 | 4.5433 | 197.8133 | 14.38 | 882 | 85.2267 | 6.7147
2019-04-12 04:30:00 | 3.276 | 175.832 | 3.772 | 193.22 | 4.032 | 192.8 | 4.502 | 191.46 | 14.274 | 882 | 85.88 | 7.288
2019-04-12 04:45:00 | 2.544 | 176.6587 | 2.9307 | 194.1267 | 3.4373 | 208.1733 | 3.966 | 211.4867 | 14.0967 | 882 | 87.1733 | 9.4007
2019-04-12 05:00:00 | 2.744 | 198.664 | 3.16 | 218.3 | 3.992 | 211.84 | 4.122 | 205.74 | 13.952 | 881.4 | 88.32 | 8.1153
2019-04-12 05:15:00 | 2.0627 | 156.6467 | 2.376 | 172.14 | 3.2413 | 210.5867 | 3.718 | 214.1667 | 13.832 | 881 | 89.4533 | 5.3427
2019-04-12 05:30:00 | 1.998 | 155.036 | 2.306 | 170.36 | 2.816 | 190.06 | 3.11 | 185.4 | 13.85 | 881 | 89.38 | 5.4313
2019-04-12 05:45:00 | 2.8593 | 174.088 | 3.2887 | 191.2933 | 3.8307 | 204.6067 | 4.5367 | 198.6 | 13.95 | 881 | 88.6867 | 9.688
2019-04-12 06:00:00 | 3.768 | 188.532 | 4.336 | 207.18 | 5.152 | 218.06 | 5.65 | 208.96 | 14.038 | 881 | 88.18 | 12.2413
2019-04-12 06:15:00 | 2.9947 | 184.1267 | 3.4493 | 202.34 | 4.272 | 234.5933 | 5.1847 | 222.44 | 13.5447 | 881 | 92.5 | 12.952
2019-04-12 06:30:00 | 2.832 | 199.65 | 3.262 | 219.4 | 4.016 | 220.16 | 4.972 | 215.9 | 13.184 | 881 | 95.08 | 9.658
2019-04-12 06:45:00 | 1.864 | 186.062 | 2.1447 | 204.4667 | 2.9907 | 228.2667 | 3.8747 | 222.3 | 13.0213 | 881.9333 | 96.44 | 6.0253
2019-04-12 07:00:00 | 1.546 | 173.612 | 1.776 | 190.78 | 2.662 | 236.86 | 3.056 | 222.08 | 12.92 | 882 | 97.6 | 3.7847
2019-04-12 07:15:00 | 1.414 | 236.5187 | 1.6373 | 259.9133 | 2.574 | 233.2733 | 2.6027 | 228.5867 | 12.86 | 882 | 98.28 | 2.6887
2019-04-12 07:30:00 | 1.688 | 179.924 | 1.948 | 197.72 | 2.992 | 232.28 | 3.214 | 220 | 12.796 | 882 | 98.84 | 2.378
2019-04-12 07:45:00 | 1.5493 | 173.7447 | 1.7833 | 190.92 | 2.724 | 227.8267 | 2.892 | 223.34 | 12.7507 | 882 | 99.3467 | 1.4293
2019-04-12 08:00:00 | 0.66 | 196.114 | 0.766 | 215.5 | 1.262 | 248.68 | 1.488 | 222.44 | 12.74 | 882 | 99.6 | 1.216
2019-04-12 08:15:00 | 0.824 | 179.3427 | 0.94733 | 197.0733 | 1.508 | 218.5733 | 1.8427 | 207.34 | 12.752 | 882.9333 | 99.88 | 0.77333
2019-04-12 08:30:00 | 0.93 | 196.402 | 1.072 | 215.82 | 1.468 | 220.3 | 1.832 | 212.26 | 12.76 | 883 | 99.96 | 0.27267
2019-04-12 08:45:00 | 0.14333 | 191.4927 | 0.17067 | 210.42 | 0.244 | 212.6067 | 0.392 | 204.38 | 12.7133 | 883 | 100 | 0
2019-04-12 09:00:00 | 0 | 188.65 | 0 | 207.3 | 0 | 205.3 | 0 | 203.2 | 12.746 | 883 | 100 | 0
2019-04-12 09:15:00 | 0 | 218.5967 | 0 | 240.2067 | 0 | 211.9267 | 0 | 203.2 | 12.8407 | 883.2667 | 100 | 0
2019-04-12 09:30:00 | 0.048 | 292.64 | 0.054 | 321.58 | 0.006 | 264.24 | 0 | 203.2 | 12.91 | 884 | 100 | 0
2019-04-12 09:45:00 | 0.13867 | 302.4067 | 0.17 | 332.3133 | 0.043333 | 311.2 | 0 | 287.5733 | 12.9287 | 884 | 100 | 0
2019-04-12 10:00:00 | 0.592 | 315.542 | 0.686 | 346.74 | 0.358 | 333.54 | 0.06 | 308.36 | 12.924 | 884 | 100 | 0
2019-04-12 10:15:00 | 1.4027 | 323.9193 | 1.6207 | 355.9533 | 1.3087 | 350.2467 | 0.76133 | 251.8107 | 12.9547 | 884 | 100 | 0
2019-04-12 10:30:00 | 1.452 | 321.672 | 1.668 | 353.48 | 1.476 | 145.636 | 1.21 | 8.61 | 13.036 | 884 | 100 | 0
2019-04-12 10:45:00 | 1.8013 | 107.268 | 2.0693 | 117.8733 | 2.6 | 11.708 | 1.95 | 2.3753 | 13.052 | 884.2667 | 100 | 0
2019-04-12 11:00:00 | 2.042 | 171.878 | 2.348 | 188.878 | 3.486 | 14.57 | 2.614 | 15.332 | 13.084 | 885 | 100 | 0.222
2019-04-12 11:15:00 | 2.1927 | 306.7393 | 2.52 | 337.0753 | 3.9767 | 14.2753 | 3.3473 | 15.8147 | 13.092 | 885 | 100 | 1.424
2019-04-12 11:30:00 | 2.244 | 322.942 | 2.588 | 354.88 | 4.252 | 10.206 | 3.96 | 15.552 | 13.126 | 885 | 100 | 2.9887
2019-04-12 11:45:00 | 1.976 | 28.042 | 2.2747 | 30.8093 | 3.8027 | 11.454 | 3.7813 | 18.6547 | 13.2273 | 885 | 100 | 4.1767
2019-04-12 12:00:00 | 2.336 | 198.606 | 2.688 | 218.244 | 4.29 | 13.556 | 4.28 | 25.958 | 13.316 | 885 | 100 | 4.8933
2019-04-12 12:15:00 | 2.8933 | 48.9993 | 3.3293 | 53.8427 | 4.5727 | 324.7547 | 4.42 | 24.1647 | 13.244 | 885 | 100 | 8.718
2019-04-12 12:30:00 | 3.076 | 105.876 | 3.548 | 116.344 | 4.512 | 339.86 | 4.198 | 30.89 | 13.072 | 885 | 100 | 7.244
2019-04-12 12:45:00 | 2.9613 | 114.812 | 3.4067 | 126.16 | 3.9987 | 25.5107 | 3.5007 | 16.062 | 13.116 | 885 | 100 | 10.0607
2019-04-12 13:00:00 | 3.34 | 130.1 | 3.842 | 142.954 | 5.682 | 10.75 | 5.452 | 16.704 | 13.366 | 885 | 100 | 19.5327
2019-04-12 13:15:00 | 3.8093 | 296.4267 | 4.3847 | 325.7327 | 5.9673 | 3.986 | 6.3613 | 19.984 | 13.0127 | 885 | 100 | 18.756
2019-04-12 13:30:00 | 3.684 | 127.22 | 4.242 | 139.794 | 5.85 | 0.15 | 6.162 | 17.098 | 13.15 | 885 | 100 | 17.2807
2019-04-12 13:45:00 | 3.6707 | 202.14 | 4.2313 | 222.1327 | 6.094 | 93.9767 | 6.202 | 34.166 | 13.67 | 884.0667 | 100 | 21.5453
2019-04-12 14:00:00 | 3.612 | 23.206 | 4.152 | 25.494 | 5.756 | 147.62 | 6.14 | 34.82 | 14.05 | 884.6 | 100 | 23.2
2019-04-12 14:15:00 | 4.0987 | 221.7673 | 4.712 | 243.6913 | 6.428 | 98.1267 | 6.7867 | 17.5267 | 14.582 | 885 | 99.3333 | 18.3707
2019-04-12 14:30:00 | 3.554 | 40.702 | 4.088 | 44.716 | 5.542 | 144.016 | 5.76 | 16.862 | 15.2 | 885 | 95.82 | 17.4433
2019-04-12 14:45:00 | 4.262 | 35.5193 | 4.904 | 39.028 | 7.134 | 16.1907 | 7.1347 | 12.456 | 15.5133 | 885 | 93.4667 | 24.1153
2019-04-12 15:00:00 | 4.7314 | 58.7443 | 5.44 | 64.5514 | 8.5614 | 11.1586 | 8.3829 | 18.1029 | 15.8314 | 885 | 92.4857 | 30.9373
2019-04-12 15:15:00 | 5.454 | 114.8333 | 6.272 | 126.1873 | 9.8227 | 15.056 | 10.028 | 23.7887 | 16.1533 | 884.0667 | 90.22 | 37.6453
2019-04-12 15:30:00 | 6.376 | 9.636 | 7.336 | 10.586 | 11.474 | 14.396 | 11.48 | 23.458 | 15.964 | 884 | 90.92 | 47.18
2019-04-12 15:45:00 | 6.4787 | 113.9547 | 7.4493 | 125.2127 | 11.722 | 16.0067 | 12.1893 | 26.8753 | 16.0907 | 884 | 90.0267 | 52.5573
2019-04-12 16:00:00 | 6.672 | 150.556 | 7.672 | 165.44 | 12.02 | 15.256 | 12.128 | 21.596 | 15.688 | 884 | 88.88 | 52.516
2019-04-12 16:15:00 | 6.9547 | 182.1933 | 8.0027 | 200.2133 | 12.2907 | 16.204 | 12.332 | 27.1827 | 15.408 | 884 | 87.2 | 54.44
2019-04-12 16:30:00 | 7.448 | 118.54 | 8.574 | 130.26 | 12.968 | 5.206 | 12.856 | 25.668 | 15.032 | 883.4 | 85.56 | 54.544
2019-04-12 16:45:00 | 6.552 | 58.6867 | 7.534 | 64.4867 | 11.5947 | 12.838 | 11.7253 | 30.052 | 14.82 | 883 | 85.7467 | 50.9533
2019-04-12 17:00:00 | 6.248 | 246.452 | 7.184 | 270.82 | 10.834 | 1.838 | 10.636 | 29.16 | 14.562 | 883 | 85.44 | 48.0053
2019-04-12 17:15:00 | 6.444 | 119.572 | 7.4107 | 131.3933 | 11.282 | 19.6167 | 11.3267 | 27.6107 | 14.354 | 883 | 85.36 | 48.428
2019-04-12 17:30:00 | 5.596 | 317.188 | 6.436 | 348.56 | 10.126 | 12.636 | 10.806 | 34.668 | 14.06 | 883 | 87.68 | 39.524
2019-04-12 17:45:00 | 5.076 | 151.1013 | 5.8373 | 166.04 | 9.3713 | 14.0573 | 9.9027 | 34.166 | 13.8153 | 883.9333 | 88.7333 | 35.7187
2019-04-12 18:00:00 | 4.484 | 43.834 | 5.16 | 48.166 | 8.68 | 4.418 | 9.228 | 25.062 | 13.6 | 884 | 89.1 | 38.8993
2019-04-12 18:15:00 | 4.724 | 79.5927 | 5.4347 | 87.4673 | 8.7547 | 14.7593 | 9.1307 | 32.046 | 13.576 | 884 | 88.3133 | 42.34
2019-04-12 18:30:00 | 4.864 | 101.8 | 5.592 | 111.868 | 9.194 | 12.076 | 9.402 | 29.264 | 13.464 | 884 | 88.6 | 44.0213
2019-04-12 18:45:00 | 5.1013 | 222.3307 | 5.8747 | 244.3133 | 9.6567 | 7.7787 | 9.4713 | 16.0547 | 13.152 | 884 | 90.1067 | 37.2107
2019-04-12 19:00:00 | 4.636 | 174.746 | 5.336 | 192.032 | 8.764 | 4.6 | 8.506 | 22.18 | 13.062 | 884 | 90.3 | 40.578
2019-04-12 19:15:00 | 4.8187 | 145.914 | 5.548 | 160.344 | 9.004 | 9.2333 | 8.81 | 20.6547 | 13.0553 | 884 | 89.9667 | 46.6593
2019-04-12 19:30:00 | 4.904 | 206.8 | 5.644 | 227.256 | 8.794 | 6.51 | 8.808 | 12.892 | 12.896 | 883.4 | 90.8 | 50.254
2019-04-12 19:45:00 | 5.5707 | 235.0053 | 6.4133 | 258.2467 | 9.6767 | 17.8527 | 9.4747 | 59.8613 | 12.8933 | 883 | 90.5867 | 47.0533
2019-04-12 20:00:00 | 6.156 | 202.992 | 7.082 | 223.06 | 10.872 | 9.688 | 10.61 | 85.76 | 12.854 | 883 | 90.7 | 38.8353
2019-04-12 20:15:00 | 4.964 | 276.5653 | 5.7087 | 303.9133 | 9.0707 | 103.74 | 8.6993 | 9.5413 | 12.7327 | 883.2667 | 91.0067 | 33.5407
2019-04-12 20:30:00 | 4.534 | 308.152 | 5.218 | 338.62 | 8.084 | 151.358 | 7.942 | 9.972 | 12.68 | 884 | 90.72 | 31.192
2019-04-12 20:45:00 | 4.5953 | 214.2307 | 5.2847 | 235.4173 | 8.2387 | 15.9513 | 8.2127 | 23.0107 | 12.4867 | 883.3333 | 91.5733 | 35.0213
2019-04-12 21:00:00 | 5.034 | 178.378 | 5.792 | 196.016 | 9.164 | 12.678 | 8.954 | 21.808 | 12.32 | 884 | 92.3 | 40.1747
2019-04-12 21:15:00 | 5.5847 | 173.5007 | 6.4227 | 190.66 | 10.1587 | 12.3153 | 9.9887 | 22.6267 | 12.1507 | 884 | 93.34 | 42.648
2019-04-12 21:30:00 | 5.84 | 164.984 | 6.73 | 181.3 | 10.168 | 7.62 | 10.088 | 16.3 | 12.316 | 884 | 92.24 | 45.4133
2019-04-12 21:45:00 | 6.036 | 170.356 | 6.9487 | 187.1933 | 10.36 | 18.096 | 10.58 | 18.0467 | 12.4107 | 884 | 91.8533 | 44.5987
2019-04-12 22:00:00 | 5.898 | 152.716 | 6.79 | 167.82 | 10.408 | 17.336 | 10.75 | 16.31 | 12.286 | 884.6 | 92.36 | 47.0093
2019-04-12 22:15:00 | 6.178 | 198.9013 | 7.106 | 218.5667 | 10.9013 | 8.1387 | 10.9833 | 20.3233 | 12.078 | 885 | 93.4267 | 49.5093
2019-04-12 22:30:00 | 5.956 | 296.814 | 6.856 | 326.16 | 10.79 | 9.878 | 10.794 | 24.148 | 11.95 | 885 | 94 | 45.0033
2019-04-12 22:45:00 | 5.2067 | 154.2647 | 5.996 | 169.5147 | 9.3473 | 102.0953 | 9.5953 | 17.0667 | 11.9487 | 885 | 93.64 | 44.9273
2019-04-12 23:00:00 | 4.784 | 216.954 | 5.506 | 238.412 | 8.416 | 221.84 | 8.526 | 21.764 | 11.908 | 885 | 93.22 | 46.148
2019-04-12 23:15:00 | 4.9173 | 268.182 | 5.67 | 294.7067 | 8.8613 | 317.8133 | 8.598 | 96.2227 | 11.7013 | 885 | 93.7667 | 51.7587
2019-04-12 23:30:00 | 5.684 | 303.564 | 6.54 | 333.58 | 9.794 | 142.944 | 9.514 | 142.622 | 11.598 | 885 | 94.04 | 54.6313
2019-04-12 23:45:00 | 7.1773 | 116.2613 | 8.26 | 127.76 | 11.5247 | 15.716 | 11.2567 | 12.862 | 11.6447 | 885 | 93.56 | 54.6327