## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-13 00:00:00 | 7.76 | 310.8386 | 8.9329 | 341.5714 | 13.1471 | 8.7543 | 13.2857 | 20.4586 | 11.61 | 885 | 93.4714 | 54.7879
2019-04-13 00:15:00 | 7.0307 | 91.3173 | 8.0827 | 100.34 | 12.4807 | 11.5173 | 12.6267 | 17.3547 | 11.5027 | 885 | 93.3067 | 54.6573
2019-04-13 00:30:00 | 6.38 | 87.852 | 7.338 | 96.534 | 11.392 | 14.002 | 11.31 | 17.668 | 11.398 | 885 | 93.32 | 52.416
2019-04-13 00:45:00 | 5.5893 | 79.424 | 6.4287 | 87.2727 | 9.968 | 105.7887 | 9.6687 | 17.3053 | 11.2393 | 885 | 93.7067 | 51.0027
2019-04-13 01:00:00 | 5.28 | 248.966 | 6.076 | 273.58 | 9.236 | 177.848 | 8.914 | 7.698 | 11.066 | 885 | 94.58 | 47.166
2019-04-13 01:15:00 | 5.064 | 268.0447 | 5.8267 | 294.5533 | 9.0573 | 336.152 | 8.838 | 94.998 | 10.962 | 884.0667 | 94.5667 | 45.336
2019-04-13 01:30:00 | 4.916 | 257.736 | 5.664 | 283.22 | 8.424 | 143.258 | 8.058 | 146.79 | 10.876 | 884 | 94.76 | 47.3633
2019-04-13 01:45:00 | 5.0173 | 275.3693 | 5.7827 | 302.5933 | 8.5653 | 6.6473 | 8.7327 | 12.1753 | 10.6387 | 884 | 96.1067 | 48.538
2019-04-13 02:00:00 | 4.828 | 139.504 | 5.562 | 153.288 | 8.604 | 6.29 | 9.108 | 12.708 | 10.388 | 884 | 97.38 | 47.2727
2019-04-13 02:15:00 | 4.7027 | 215.4493 | 5.4087 | 236.7573 | 8.216 | 129.1447 | 8.2547 | 14.3133 | 10.272 | 884 | 97.9933 | 46.1467
2019-04-13 02:30:00 | 4.628 | 30.33 | 5.324 | 33.322 | 7.838 | 147.238 | 7.924 | 24.102 | 10.32 | 884 | 97.5 | 41.534
2019-04-13 02:45:00 | 4.7213 | 94.594 | 5.4373 | 103.946 | 7.2887 | 225.046 | 7.2693 | 12.6353 | 10.448 | 884 | 96.5933 | 42.9967
2019-04-13 03:00:00 | 4.532 | 297.776 | 5.216 | 327.22 | 7.324 | 5.582 | 7.64 | 17.2 | 10.448 | 883.4 | 96.14 | 41.0333
2019-04-13 03:15:00 | 4.5627 | 221.8707 | 5.2507 | 243.8147 | 7.112 | 100.894 | 7.264 | 11.6213 | 10.28 | 883 | 96.86 | 44.3793
2019-04-13 03:30:00 | 4.508 | 10.968 | 5.196 | 12.052 | 7.29 | 142.81 | 7.292 | 18.446 | 10.198 | 883 | 97.2 | 46.3313
2019-04-13 03:45:00 | 4.8387 | 53.768 | 5.564 | 59.0853 | 7.9007 | 11.6913 | 8.1387 | 8.69 | 10.0447 | 883 | 98.0133 | 45.4953
2019-04-13 04:00:00 | 5.256 | 198.242 | 6.048 | 217.848 | 8.87 | 6.01 | 8.994 | 10.674 | 10.018 | 883 | 98.38 | 44.0053
2019-04-13 04:15:00 | 5.2213 | 47.182 | 6.008 | 51.844 | 9.3447 | 91.8553 | 9.4447 | 9.5273 | 10.0353 | 883 | 98.6867 | 47.7727
2019-04-13 04:30:00 | 5.62 | 39.006 | 6.474 | 42.854 | 9.538 | 341.04 | 9.258 | 21.148 | 10.132 | 883 | 98.58 | 48.0093
2019-04-13 04:45:00 | 5.5133 | 296.6407 | 6.3473 | 325.982 | 9.194 | 348.1467 | 8.8273 | 98.2227 | 10.1293 | 883 | 98.3133 | 47.6453
2019-04-13 05:00:00 | 5.68 | 130.062 | 6.54 | 142.924 | 8.89 | 166.482 | 8.53 | 145.546 | 10.066 | 883 | 98.36 | 49.0893
2019-04-13 05:15:00 | 5.9333 | 96.894 | 6.8253 | 106.476 | 8.9753 | 104.3913 | 9.1567 | 102.514 | 9.9167 | 883 | 99.0267 | 48.5333
2019-04-13 05:30:00 | 5.61 | 291.512 | 6.46 | 320.34 | 8.248 | 353.1 | 8.622 | 145.492 | 9.82 | 883 | 99.68 | 48.8713
2019-04-13 05:45:00 | 5.334 | 233.8493 | 6.1347 | 256.98 | 8.1053 | 36.368 | 8.4807 | 11.2547 | 9.72 | 883 | 99.8267 | 48.7293
2019-04-13 06:00:00 | 5.648 | 15.074 | 6.5 | 16.562 | 8.052 | 25.242 | 8.178 | 16.724 | 9.748 | 883 | 99.96 | 49.3067
2019-04-13 06:15:00 | 5.3453 | 116.7527 | 6.152 | 128.2913 | 7.9827 | 3.2727 | 8.4073 | 14.1347 | 9.716 | 883 | 99.9733 | 50.688
2019-04-13 06:30:00 | 5.492 | 123.2 | 6.326 | 135.384 | 7.94 | 214.544 | 8.366 | 14.06 | 9.624 | 883 | 99.84 | 53.26
2019-04-13 06:45:00 | 5.2853 | 13.8213 | 6.082 | 15.192 | 8.364 | 26.4733 | 8.7407 | 15.1893 | 9.404 | 883 | 99.92 | 51.4387
2019-04-13 07:00:00 | 5.152 | 18.686 | 5.932 | 20.528 | 7.594 | 0.356 | 7.822 | 17.416 | 9.424 | 883 | 100 | 51.6853
2019-04-13 07:15:00 | 5.1027 | 303.4767 | 5.8773 | 333.4893 | 7.6993 | 23.3947 | 7.8767 | 8.356 | 9.6027 | 883 | 100 | 49.7153
2019-04-13 07:30:00 | 4.928 | 147.39 | 5.67 | 161.964 | 6.55 | 11.924 | 6.872 | 18.202 | 9.818 | 883 | 100 | 49.68
2019-04-13 07:45:00 | 5.372 | 93.0647 | 6.178 | 102.2627 | 7.6753 | 54.7987 | 8.2533 | 7.6247 | 9.994 | 883.9333 | 99.8933 | 51.224
2019-04-13 08:00:00 | 5.398 | 313.696 | 6.214 | 344.72 | 8.092 | 85.334 | 8.676 | 14.492 | 10.472 | 884 | 98.76 | 51.6667
2019-04-13 08:15:00 | 5.898 | 236.4213 | 6.7847 | 259.808 | 9.0453 | 11.0487 | 9.296 | 9.98 | 11.1107 | 884.9333 | 95.88 | 50.758
2019-04-13 08:30:00 | 5.676 | 191.19 | 6.542 | 210.092 | 9.252 | 15.462 | 9.306 | 13.766 | 11.722 | 885 | 93.98 | 49.5347
2019-04-13 08:45:00 | 5.7627 | 29.5073 | 6.638 | 32.428 | 9.7453 | 2.6087 | 9.7407 | 19.4767 | 12.6393 | 885.2667 | 90.6067 | 46.8
2019-04-13 09:00:00 | 6.122 | 179.118 | 7.046 | 196.832 | 10.104 | 11.356 | 9.856 | 13.328 | 13.056 | 886 | 88.74 | 45.6133
2019-04-13 09:15:00 | 6.5593 | 233.7287 | 7.542 | 256.844 | 11 | 10.1227 | 10.6507 | 33.924 | 13.8067 | 886.2667 | 85.7133 | 46.748
2019-04-13 09:30:00 | 6.71 | 186.238 | 7.724 | 204.656 | 11.402 | 19.43 | 10.812 | 43.48 | 14.362 | 887 | 83.06 | 45.906
2019-04-13 09:45:00 | 6.678 | 245.8433 | 7.6813 | 270.1573 | 11.602 | 20.3193 | 11.16 | 28.3973 | 15.1327 | 887 | 79.9267 | 46.7767
2019-04-13 10:00:00 | 6.812 | 181.394 | 7.846 | 199.336 | 12.044 | 16.078 | 11.806 | 20.872 | 15.756 | 887 | 77.85 | 50.074
2019-04-13 10:15:00 | 7.124 | 27.53 | 8.194 | 30.24 | 12.452 | 18.894 | 12.1407 | 15.9987 | 16.3533 | 887.9333 | 75.3607 | 51.4673
2019-04-13 10:30:00 | 7.34 | 191.812 | 8.438 | 210.78 | 12.806 | 18.826 | 12.306 | 17.56 | 16.23 | 888 | 75.078 | 51.4067
2019-04-13 10:45:00 | 7.3507 | 32.0533 | 8.4607 | 35.216 | 12.778 | 19.5073 | 12.5953 | 17.6947 | 16.2807 | 888 | 73.898 | 48.7053
2019-04-13 11:00:00 | 7.62 | 36.508 | 8.772 | 40.116 | 13.432 | 17.188 | 13.046 | 23.574 | 16.37 | 888.6 | 73.334 | 47.506
2019-04-13 11:15:00 | 7.4653 | 144.0267 | 8.5973 | 158.2587 | 13.1693 | 4.1453 | 12.7967 | 24.0487 | 16.738 | 889 | 71.2647 | 44.976
2019-04-13 11:30:00 | 7.0747 | 0.25467 | 8.1467 | 0.27 | 12.4913 | 9.8713 | 12.032 | 17.578 | 16.746 | 889 | 70.9933 | 45.3273
2019-04-13 11:45:00 | 6.9853 | 34.4627 | 8.0347 | 37.8727 | 12.322 | 4.6153 | 11.86 | 10.9127 | 17.282 | 889 | 68.9693 | 48.8253
2019-04-13 12:00:00 | 7.098 | 59.864 | 8.168 | 65.788 | 12.532 | 9.204 | 12.246 | 13.81 | 16.772 | 889 | 68.554 | 50.7887
2019-04-13 12:15:00 | 6.8873 | 120.924 | 7.928 | 132.872 | 12.1547 | 6.3973 | 12.0353 | 20.0193 | 16.3453 | 889 | 70.9753 | 52.4727
2019-04-13 12:30:00 | 7.356 | 165.492 | 8.468 | 181.848 | 13.05 | 15.658 | 12.766 | 19.662 | 17.75 | 889 | 67.336 | 54.448
2019-04-13 12:45:00 | 7.4333 | 56.7387 | 8.548 | 62.352 | 12.978 | 10.4593 | 12.6447 | 15.1833 | 17.6673 | 889 | 66.5013 | 55.148
2019-04-13 13:00:00 | 7.216 | 203.24 | 8.3 | 223.34 | 12.66 | 10.11 | 12.622 | 17.812 | 16.424 | 889 | 70.018 | 53.394
2019-04-13 13:15:00 | 7.1893 | 289.772 | 8.2667 | 318.4333 | 12.6187 | 17.2087 | 12.4673 | 21.8373 | 17.268 | 889 | 67.938 | 50.1873
2019-04-13 13:30:00 | 6.8613 | 283.7787 | 7.8893 | 311.84 | 12.0413 | 175.8707 | 11.9267 | 29.9573 | 17.2913 | 889 | 65.84 | 50.9573
2019-04-13 13:45:00 | 6.832 | 274.324 | 7.864 | 301.44 | 12.004 | 29.204 | 12.012 | 33.2613 | 16.4687 | 889 | 67.5067 | 52.85
2019-04-13 14:00:00 | 6.948 | 318.656 | 7.992 | 350.16 | 12.398 | 7.456 | 12.538 | 20.85 | 16.324 | 889 | 68.486 | 53.0813
2019-04-13 14:15:00 | 6.7467 | 216.1773 | 7.764 | 237.544 | 12.1033 | 7.56 | 12.1633 | 22.33 | 16.492 | 888.0667 | 67.1567 | 55.13
2019-04-13 14:30:00 | 7.588 | 22.374 | 8.728 | 24.584 | 13.35 | 19.532 | 13.49 | 24.768 | 16.086 | 888 | 66.206 | 57.0213
2019-04-13 14:45:00 | 7.8973 | 236.654 | 9.0827 | 260.052 | 14.018 | 19.328 | 14.0953 | 31.6893 | 16.0513 | 887.7333 | 65.038 | 56.324
2019-04-13 15:00:00 | 7.2629 | 139.8343 | 8.3557 | 153.6571 | 13.1857 | 16.7286 | 13.2214 | 30.3129 | 15.9486 | 887 | 65.7071 | 56.27
2019-04-13 15:15:00 | 7.2893 | 92.588 | 8.3953 | 101.74 | 13.168 | 10.118 | 13.0107 | 21.998 | 15.8013 | 887 | 65.6173 | 57.1233
2019-04-13 15:30:00 | 7.286 | 312.03 | 8.384 | 342.88 | 13.128 | 16.658 | 13.206 | 21.23 | 15.546 | 887 | 66.61 | 55.54
2019-04-13 15:45:00 | 7.4913 | 106.326 | 8.6173 | 116.8333 | 13.4707 | 25.342 | 13.698 | 31.5513 | 15.5167 | 887 | 67.3687 | 56.5967
2019-04-13 16:00:00 | 7.24 | 117.612 | 8.328 | 129.244 | 13.302 | 23.236 | 13.202 | 23.622 | 16.224 | 887 | 66.132 | 57.1493
2019-04-13 16:15:00 | 7.1613 | 211.2133 | 8.2347 | 232.1027 | 13.0687 | 26.5533 | 13.1127 | 21.2153 | 16.684 | 887 | 64.8747 | 57.4213
2019-04-13 16:30:00 | 7.38 | 83.21 | 8.492 | 91.432 | 13.312 | 6.274 | 13.136 | 28.11 | 16.342 | 887 | 64.82 | 58.3413
2019-04-13 16:45:00 | 7.3267 | 202.25 | 8.43 | 222.2493 | 13.3667 | 11.9167 | 13.4273 | 23.2267 | 16.2473 | 887 | 65.0253 | 58.5013
2019-04-13 17:00:00 | 7.792 | 213.936 | 8.972 | 235.08 | 13.962 | 14.982 | 14.214 | 26.122 | 16.422 | 887 | 63.316 | 60.1667
2019-04-13 17:15:00 | 8.0773 | 174.5253 | 9.304 | 191.7867 | 14.1193 | 18.5807 | 14.55 | 29.058 | 16.6113 | 887 | 61.776 | 59.8627
2019-04-13 17:30:00 | 8.224 | 1.16 | 9.462 | 1.274 | 14.816 | 16.64 | 14.9 | 16.102 | 16.736 | 887 | 60.752 | 59.4673
2019-04-13 17:45:00 | 8.2053 | 103.8187 | 9.4447 | 114.086 | 14.4573 | 8.8587 | 14.316 | 25.2553 | 16.8387 | 887 | 60.0947 | 57.714
2019-04-13 18:00:00 | 8.198 | 172.852 | 9.426 | 189.94 | 14.4 | 17.58 | 14.314 | 22.162 | 16.928 | 887 | 58.884 | 60.6627
2019-04-13 18:15:00 | 8.3807 | 126.1907 | 9.646 | 138.66 | 14.6493 | 16.18 | 15.0873 | 28.0153 | 17.032 | 887 | 57.3187 | 60.2673
2019-04-13 18:30:00 | 8.9 | 92.558 | 10.234 | 101.714 | 15.548 | 21.03 | 15.896 | 38.952 | 17.082 | 887 | 56.762 | 60.394
2019-04-13 18:45:00 | 9.2973 | 149.39 | 10.698 | 164.1593 | 16.128 | 19.6713 | 16.3493 | 33.8267 | 17.0287 | 887 | 56.2327 | 60.3113
2019-04-13 19:00:00 | 8.128 | 247.98 | 9.362 | 272.5 | 14.158 | 15.756 | 14.298 | 30.31 | 16.928 | 887.6 | 56.948 | 60.1127
2019-04-13 19:15:00 | 8.1787 | 245.6893 | 9.418 | 269.98 | 14.566 | 13.22 | 14.2247 | 25.4967 | 16.8 | 888 | 57.06 | 60.4347
2019-04-13 19:30:00 | 9.34 | 287.116 | 10.748 | 315.5 | 16.374 | 23.402 | 16.51 | 23.384 | 16.778 | 888 | 56.4 | 61.1973
2019-04-13 19:45:00 | 9.6227 | 87.9707 | 11.0693 | 96.6707 | 16.7287 | 23.318 | 17.4393 | 43.2147 | 16.8087 | 888 | 55.5133 | 61.17
2019-04-13 20:00:00 | 9.716 | 26.012 | 11.184 | 28.578 | 16.91 | 19.244 | 17.206 | 33.058 | 16.85 | 888 | 54.418 | 61.3853
2019-04-13 20:15:00 | 9.1653 | 84.7573 | 10.5373 | 93.138 | 15.8487 | 27.08 | 16.614 | 35.9793 | 16.646 | 888 | 54.7753 | 61.2367
2019-04-13 20:30:00 | 9.444 | 122.696 | 10.864 | 134.824 | 16.402 | 25.55 | 16.71 | 30.83 | 16.51 | 888.6 | 54.516 | 61.356
2019-04-13 20:45:00 | 9.04 | 86.0367 | 10.398 | 94.5373 | 15.988 | 26.8693 | 16.178 | 28.0807 | 16.334 | 889 | 54.2753 | 60.7193
2019-04-13 21:00:00 | 8.756 | 275.77 | 10.074 | 303.04 | 15.526 | 32.384 | 16.098 | 25.86 | 16.2 | 889 | 54.044 | 58.2647
2019-04-13 21:15:00 | 8.8773 | 131.2407 | 10.2087 | 144.22 | 15.4873 | 25.0507 | 16.0913 | 31.496 | 16.1453 | 889.9333 | 53.316 | 57.402
2019-04-13 21:30:00 | 8.684 | 292.938 | 9.996 | 321.9 | 15.276 | 24.306 | 15.668 | 25.096 | 16.058 | 890 | 53.278 | 56.722
2019-04-13 21:45:00 | 8.5227 | 276.9553 | 9.8147 | 304.34 | 14.9853 | 22.4487 | 15.6 | 32.0493 | 15.8313 | 890.2667 | 54.2913 | 57.3927
2019-04-13 22:00:00 | 8.324 | 294.138 | 9.582 | 323.22 | 14.478 | 21.986 | 15.258 | 31.968 | 15.8 | 891 | 53.692 | 57.39
2019-04-13 22:15:00 | 8.9427 | 299.742 | 10.2847 | 329.38 | 15.8513 | 18.4527 | 15.7513 | 27.904 | 15.8173 | 891 | 52.8933 | 57.13
2019-04-13 22:30:00 | 10.326 | 292.818 | 11.88 | 321.78 | 18.336 | 17.888 | 18.184 | 20.666 | 15.636 | 891 | 53.346 | 53.946
2019-04-13 22:45:00 | 11.05 | 168.55 | 12.712 | 185.212 | 19.3547 | 16.268 | 18.9173 | 23.1687 | 15.6973 | 891 | 51.3287 | 52.3293
2019-04-13 23:00:00 | 10.42 | 23.766 | 11.996 | 26.11 | 18.332 | 17.7 | 18.468 | 18.078 | 15.528 | 891 | 52.082 | 54.2347
2019-04-13 23:15:00 | 10.2747 | 161.1273 | 11.8173 | 177.054 | 18.468 | 23.328 | 18.6227 | 17.742 | 14.9293 | 891 | 56.8167 | 55.1727
2019-04-13 23:30:00 | 9.304 | 210.164 | 10.704 | 230.944 | 16.628 | 27.802 | 16.492 | 27.394 | 13.748 | 891.6 | 66.196 | 57.5233
2019-04-13 23:45:00 | 7.9707 | 53.014 | 9.176 | 58.2513 | 14.384 | 25.5327 | 13.9233 | 30.704 | 12.7833 | 892 | 73.49 | 56.384