## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-14 00:00:00 | 7.0871 | 59.38 | 8.1557 | 65.2429 | 13.4114 | 17.7014 | 13.5271 | 26.7843 | 12.2371 | 892 | 77.465 | 54.725
2019-04-14 00:15:00 | 6.696 | 208.522 | 7.7113 | 229.1367 | 12.9433 | 16.7353 | 13.2447 | 26.2633 | 11.7373 | 891.0667 | 82.11 | 51.0647
2019-04-14 00:30:00 | 5.828 | 119.14 | 6.706 | 130.928 | 11.008 | 12.596 | 11.11 | 24.94 | 11.254 | 891 | 86.06 | 41.2887
2019-04-14 00:45:00 | 4.6813 | 206.2413 | 5.3847 | 226.632 | 8.1413 | 28.8173 | 8.258 | 36.2 | 11.3527 | 891 | 83.7267 | 37.5773
2019-04-14 01:00:00 | 4.472 | 8.744 | 5.152 | 9.596 | 7.944 | 12.746 | 8.176 | 31.628 | 11.446 | 891 | 83.78 | 34.51
2019-04-14 01:15:00 | 3.9067 | 23.972 | 4.5 | 26.3373 | 7.3547 | 102.3913 | 7.7347 | 26.936 | 11.2647 | 891 | 84.78 | 27.3773
2019-04-14 01:30:00 | 3.858 | 205.354 | 4.438 | 225.66 | 6.396 | 145.51 | 6.808 | 19.34 | 11.632 | 891 | 81.192 | 20.7247
2019-04-14 01:45:00 | 3.4753 | 298.1993 | 3.998 | 327.6933 | 6.1213 | 13.4847 | 6.144 | 11.5373 | 11.9173 | 891 | 79.3333 | 16.0873
2019-04-14 02:00:00 | 3.006 | 158.976 | 3.46 | 174.698 | 5.846 | 17.5 | 5.774 | 21.8 | 11.81 | 891 | 79.46 | 13.05
2019-04-14 02:15:00 | 2.766 | 295.1573 | 3.1827 | 324.3487 | 5.366 | 10.4747 | 5.4593 | 26.0227 | 11.758 | 891 | 79.288 | 15.6033
2019-04-14 02:30:00 | 2.944 | 282.916 | 3.386 | 310.9 | 5.682 | 14.438 | 6.02 | 24.106 | 11.596 | 891 | 80.98 | 17.592
2019-04-14 02:45:00 | 3 | 217.7867 | 3.4553 | 239.3267 | 5.6167 | 11.0433 | 6.128 | 21.7967 | 11.428 | 891 | 81.4867 | 20.4207
2019-04-14 03:00:00 | 3.382 | 53.992 | 3.896 | 59.32 | 6.11 | 8.522 | 6.37 | 18.542 | 11.322 | 890.4 | 82.48 | 22.3707
2019-04-14 03:15:00 | 3.7207 | 16.092 | 4.28 | 17.6733 | 6.4033 | 13.89 | 6.8327 | 18.4647 | 11.438 | 890 | 82.4533 | 25.238
2019-04-14 03:30:00 | 3.876 | 178.178 | 4.464 | 195.8 | 7.21 | 12.286 | 7.56 | 21.122 | 11.33 | 890 | 83.48 | 28.25
2019-04-14 03:45:00 | 3.9547 | 209.3007 | 4.56 | 229.9933 | 7.5473 | 13.33 | 7.804 | 21.258 | 11.182 | 890 | 84.72 | 29.2453
2019-04-14 04:00:00 | 4.1 | 311.364 | 4.72 | 342.16 | 7.216 | 11.518 | 7.88 | 17.882 | 10.988 | 890 | 87.08 | 31.0667
2019-04-14 04:15:00 | 4.548 | 117.0093 | 5.2293 | 128.5733 | 7.16 | 8.6553 | 7.8107 | 6.086 | 10.8947 | 890 | 88.08 | 35.428
2019-04-14 04:30:00 | 4.566 | 308.49 | 5.248 | 339 | 6.99 | 11.188 | 7.6 | 15.042 | 11.018 | 890 | 86.84 | 34.5987
2019-04-14 04:45:00 | 4.7207 | 296.394 | 5.4267 | 325.6933 | 7.49 | 10.68 | 7.9333 | 9.4847 | 10.7927 | 890 | 88.5333 | 34.4507
2019-04-14 05:00:00 | 4.484 | 303.052 | 5.16 | 333.02 | 7.72 | 10.846 | 8.372 | 12.03 | 10.822 | 890 | 87.5 | 33.684
2019-04-14 05:15:00 | 4.1773 | 308.084 | 4.8107 | 338.5533 | 7.7827 | 6.59 | 8.456 | 13.3073 | 10.8433 | 890 | 86.5667 | 35.912
2019-04-14 05:30:00 | 4.016 | 108.138 | 4.626 | 118.83 | 7.678 | 7.788 | 8.586 | 9.896 | 10.774 | 890 | 86.56 | 37.0133
2019-04-14 05:45:00 | 4.0427 | 80.1873 | 4.6513 | 88.1167 | 7.4193 | 8.1107 | 8.1953 | 13.0107 | 10.6447 | 890 | 87.6933 | 37.0833
2019-04-14 06:00:00 | 4.02 | 118.798 | 4.624 | 130.55 | 7.334 | 19.312 | 7.718 | 9.918 | 10.362 | 890 | 89.66 | 34.174
2019-04-14 06:15:00 | 4.0533 | 272.914 | 4.6733 | 299.8967 | 7.6407 | 21.5467 | 7.5687 | 11.1833 | 9.9753 | 889.7333 | 91.22 | 33.1433
2019-04-14 06:30:00 | 3.948 | 317.1127 | 4.548 | 348.4667 | 7.2187 | 14.1393 | 6.9953 | 13.7 | 9.87 | 889 | 91.5 | 35.5693
2019-04-14 06:45:00 | 3.6213 | 224.9627 | 4.1667 | 247.2107 | 6.8247 | 10.932 | 7.4247 | 8.544 | 9.7887 | 889 | 91.62 | 36.3353
2019-04-14 07:00:00 | 3.502 | 181.812 | 4.034 | 199.796 | 6.902 | 9.864 | 7.61 | 8.62 | 9.768 | 889 | 92.2 | 35.6887
2019-04-14 07:15:00 | 3.7313 | 36.0547 | 4.2927 | 39.62 | 7.39 | 3.548 | 7.686 | 5.2413 | 10.304 | 889.2667 | 89.3067 | 31.0287
2019-04-14 07:30:00 | 3.7147 | 35.046 | 4.2793 | 38.5033 | 7.38 | 10.922 | 7.6307 | 10.7293 | 10.952 | 890 | 84.4667 | 23.7907
2019-04-14 07:45:00 | 3.576 | 290.832 | 4.116 | 319.5933 | 6.5827 | 5.296 | 7.4027 | 40.776 | 11.2507 | 890.9333 | 82.3333 | 21.0887
2019-04-14 08:00:00 | 3.772 | 308.49 | 4.338 | 339 | 6.658 | 7.062 | 7.44 | 55.372 | 11.556 | 891 | 81.6 | 22.4893
2019-04-14 08:15:00 | 3.8267 | 321.934 | 4.4047 | 353.7733 | 6.974 | 6.0607 | 8.0693 | 14.328 | 11.8773 | 891.9333 | 81.7867 | 23.9653
2019-04-14 08:30:00 | 3.674 | 308.07 | 4.232 | 338.54 | 6.596 | 5.49 | 7.474 | 15.314 | 12.02 | 892 | 82.46 | 24.5487
2019-04-14 08:45:00 | 3.482 | 312.0953 | 4.012 | 342.9667 | 6.112 | 14.61 | 6.7553 | 24.9273 | 12.328 | 892 | 81.044 | 24.0847
2019-04-14 09:00:00 | 3.68 | 308.214 | 4.234 | 338.7 | 5.664 | 16.996 | 5.834 | 11.942 | 12.84 | 892.6 | 77.424 | 19.0507
2019-04-14 09:15:00 | 3.588 | 226.966 | 4.1273 | 249.4147 | 5.4733 | 96.5107 | 5.51 | 9.91 | 13.3987 | 893 | 75.204 | 15.0587
2019-04-14 09:30:00 | 3.398 | 7.35 | 3.904 | 8.08 | 5.744 | 146.644 | 5.7 | 14.43 | 13.902 | 893 | 72.614 | 10.3687
2019-04-14 09:45:00 | 3.2113 | 222.2313 | 3.696 | 244.2093 | 5.1773 | 94.536 | 5.112 | 96.6767 | 14.3713 | 893.2667 | 69.614 | 7.3547
2019-04-14 10:00:00 | 2.88 | 33.34 | 3.32 | 36.624 | 4.64 | 353.4 | 4.65 | 349.7 | 14.884 | 894 | 69.204 | 4.8693
2019-04-14 10:15:00 | 2.6773 | 23.212 | 3.0867 | 25.4947 | 3.492 | 158.4533 | 3.6913 | 27.9107 | 15.4493 | 894 | 64.6693 | 2.3587
2019-04-14 10:30:00 | 2.696 | 3.658 | 3.1 | 4.02 | 3.526 | 149.204 | 3.584 | 219.096 | 16.08 | 894 | 61.268 | 2.1647
2019-04-14 10:45:00 | 3.12 | 2.5193 | 3.592 | 2.7653 | 4.0873 | 1.356 | 3.96 | 35.416 | 17.1453 | 894.9333 | 53.9933 | 2.318
2019-04-14 11:00:00 | 3.418 | 185.67 | 3.932 | 204.032 | 4.754 | 15.324 | 4.426 | 25.564 | 17.886 | 895 | 48.83 | 1.3173
2019-04-14 11:15:00 | 2.9367 | 264.5953 | 3.3787 | 290.7533 | 4.402 | 18.9507 | 4.146 | 21.648 | 19.1047 | 895 | 44.8793 | 0
2019-04-14 11:30:00 | 2.092 | 86.764 | 2.412 | 95.336 | 2.8 | 218.672 | 2.374 | 10.038 | 19.154 | 895 | 44.074 | 0
2019-04-14 11:45:00 | 1.3187 | 58.2027 | 1.5187 | 63.9573 | 1.6733 | 80.4867 | 1.598 | 276.1273 | 18.8393 | 895 | 44.4033 | 0.69333
2019-04-14 12:00:00 | 2.44 | 130.554 | 2.82 | 143.46 | 2.91 | 154.44 | 3.376 | 142.42 | 18.838 | 895 | 44.264 | 2.7987
2019-04-14 12:15:00 | 4.1187 | 161.234 | 4.7467 | 177.18 | 4.9193 | 156.2933 | 5.06 | 160.8867 | 18.7927 | 895 | 43.1493 | 6.2653
2019-04-14 12:30:00 | 4.106 | 163.2 | 4.726 | 179.34 | 4.84 | 183.32 | 5.01 | 188.6 | 18.682 | 895 | 43.664 | 4.9347
2019-04-14 12:45:00 | 3.618 | 156.9453 | 4.158 | 172.46 | 4.396 | 176.2267 | 4.5353 | 164.4133 | 19.2113 | 895 | 43.46 | 2.974
2019-04-14 13:00:00 | 3.744 | 139.2 | 4.314 | 152.96 | 4.684 | 142.84 | 4.788 | 147 | 19.048 | 894.4 | 44.178 | 5.134
2019-04-14 13:15:00 | 3.4493 | 166.7267 | 3.9687 | 183.2133 | 4.3947 | 194.1867 | 4.5653 | 202.2 | 18.78 | 894 | 44.4033 | 10.3627
2019-04-14 13:30:00 | 3.888 | 149.98 | 4.482 | 164.8 | 4.938 | 173.92 | 5.18 | 182.52 | 19.18 | 894 | 45.11 | 7.8947
2019-04-14 13:45:00 | 3.352 | 191.16 | 3.854 | 210.0667 | 4.5607 | 223.1733 | 4.4707 | 229.04 | 18.4267 | 894 | 46.6113 | 4.908
2019-04-14 14:00:00 | 3.188 | 177.016 | 3.666 | 194.52 | 4.264 | 231.3 | 4.262 | 221.14 | 18.238 | 893.4 | 47.916 | 6.3793
2019-04-14 14:15:00 | 3.612 | 129.2947 | 4.1527 | 142.08 | 4.3947 | 191.8067 | 4.494 | 214.1533 | 18.4287 | 893 | 48.1427 | 9.64
2019-04-14 14:30:00 | 4.472 | 168.28 | 5.154 | 184.92 | 5.12 | 175.78 | 5.328 | 183.02 | 19.104 | 893 | 46.368 | 14.472
2019-04-14 14:45:00 | 4.652 | 148.0933 | 5.354 | 162.7333 | 5.4053 | 198.02 | 5.9907 | 185.8467 | 18.892 | 893 | 48.928 | 13.9713
2019-04-14 15:00:00 | 4.744 | 130.15 | 5.458 | 143.02 | 5.672 | 159.18 | 5.892 | 168.26 | 18.914 | 892.4 | 49.186 | 13.4887
2019-04-14 15:15:00 | 5.2267 | 141.25 | 6.0167 | 155.2067 | 6.4267 | 152.7 | 6.3 | 170.3133 | 18.45 | 892 | 50.078 | 11.064
2019-04-14 15:30:00 | 4.658 | 142.06 | 5.356 | 156.1 | 5.618 | 167.46 | 5.812 | 162.36 | 18.356 | 892 | 50.458 | 13.4547
2019-04-14 15:45:00 | 5.114 | 120.3867 | 5.8813 | 132.2867 | 6.1993 | 158.8067 | 6.36 | 172.4533 | 18.9187 | 892 | 49.3847 | 14.004
2019-04-14 16:00:00 | 4.856 | 146.232 | 5.586 | 160.68 | 5.988 | 152.18 | 5.93 | 177.7 | 17.98 | 891.4 | 51.546 | 17.5767
2019-04-14 16:15:00 | 4.212 | 141.0747 | 4.8433 | 155.0267 | 5.1707 | 183.06 | 5.6353 | 190.2333 | 17.5373 | 891 | 53.09 | 14.3067
2019-04-14 16:30:00 | 3.572 | 163.75 | 4.106 | 179.94 | 4.47 | 189.82 | 4.992 | 195.42 | 17.626 | 891 | 53.268 | 13.5453
2019-04-14 16:45:00 | 3.7307 | 154.814 | 4.2913 | 170.1267 | 4.538 | 167.3267 | 4.8013 | 161.1267 | 17.8553 | 890.0667 | 52.348 | 16.1747
2019-04-14 17:00:00 | 3.988 | 142.018 | 4.6 | 156.06 | 4.93 | 190.1 | 5.28 | 186.3 | 17.896 | 890 | 52.02 | 18.1347
2019-04-14 17:15:00 | 4.604 | 149.122 | 5.2947 | 163.8733 | 5.4327 | 187.62 | 5.9213 | 201.1267 | 17.5573 | 890 | 52.8827 | 18.738
2019-04-14 17:30:00 | 4.2087 | 143.4 | 4.8453 | 157.58 | 4.9893 | 153.44 | 5.342 | 167.4667 | 17.6567 | 890 | 53.4093 | 21.6187
2019-04-14 17:45:00 | 4.138 | 157.5733 | 4.7587 | 173.1533 | 4.96 | 155.1467 | 5.4553 | 172.88 | 17.4313 | 890 | 54.564 | 21.2193
2019-04-14 18:00:00 | 3.696 | 158.104 | 4.256 | 173.74 | 4.442 | 171.54 | 4.902 | 184.1 | 17.054 | 890 | 55.624 | 28.134
2019-04-14 18:15:00 | 3.44 | 169.4347 | 3.9613 | 186.1933 | 4.5967 | 218.3667 | 4.7713 | 218.5133 | 16.9433 | 890 | 56.7707 | 28.354
2019-04-14 18:30:00 | 4.592 | 164.712 | 5.28 | 181 | 6.19 | 227.14 | 6.244 | 223.26 | 16.814 | 890 | 58.648 | 25.6087
2019-04-14 18:45:00 | 4.176 | 165.3027 | 4.8053 | 181.6467 | 5.5387 | 213.7667 | 5.82 | 214.2333 | 16.608 | 890 | 60.1853 | 27.8927
2019-04-14 19:00:00 | 4.106 | 158.804 | 4.722 | 174.5 | 5.02 | 203.06 | 4.956 | 199.48 | 16.36 | 890 | 62.17 | 26.9627
2019-04-14 19:15:00 | 4.1727 | 137.276 | 4.81 | 150.8467 | 5.1987 | 195.1933 | 5.1293 | 200.5733 | 15.9333 | 890 | 65.026 | 27.7447
2019-04-14 19:30:00 | 4.048 | 159.3 | 4.654 | 175.06 | 5.106 | 217.62 | 5.262 | 205.66 | 15.592 | 890 | 67.544 | 27.822
2019-04-14 19:45:00 | 4.904 | 160.3813 | 5.638 | 176.2333 | 6.134 | 183.2867 | 6.614 | 196.0333 | 15.168 | 890 | 70.264 | 31.6013
2019-04-14 20:00:00 | 5.416 | 145.73 | 6.226 | 160.14 | 6.444 | 190.42 | 7.178 | 210.36 | 14.896 | 890 | 71.738 | 28.1367
2019-04-14 20:15:00 | 5.7813 | 164.3927 | 6.6473 | 180.6467 | 6.884 | 192.3267 | 7.4393 | 202.6667 | 14.7053 | 890 | 72.8233 | 27.5213
2019-04-14 20:30:00 | 4.832 | 138.472 | 5.556 | 152.16 | 5.906 | 191.86 | 6.632 | 212.04 | 14.47 | 890 | 74.29 | 23.1527
2019-04-14 20:45:00 | 3.892 | 137.7707 | 4.48 | 151.3867 | 4.8073 | 188.6733 | 5.272 | 198.0133 | 14.206 | 890 | 76.3127 | 20.1293
2019-04-14 21:00:00 | 4.22 | 157.194 | 4.86 | 172.74 | 5 | 176.64 | 5.248 | 197.8 | 14.048 | 890 | 77.826 | 18.392
2019-04-14 21:15:00 | 3.6467 | 135.998 | 4.1987 | 149.4467 | 4.4693 | 183.9333 | 5.0587 | 191.2267 | 13.7667 | 890 | 79.746 | 15.8893
2019-04-14 21:30:00 | 3.566 | 139.2 | 4.102 | 152.96 | 4.178 | 174.54 | 4.296 | 190.64 | 13.638 | 890 | 80.7 | 16.648
2019-04-14 21:45:00 | 3.2593 | 154.5267 | 3.75 | 169.8 | 4.0487 | 185.4867 | 3.9573 | 202.5467 | 13.4793 | 890.2667 | 81.8333 | 15.0093
2019-04-14 22:00:00 | 3.076 | 167.95 | 3.534 | 184.56 | 3.818 | 194.38 | 3.782 | 212.76 | 13.366 | 891 | 82.76 | 10.792
2019-04-14 22:15:00 | 2.8533 | 166.8553 | 3.282 | 183.3467 | 3.8367 | 189.9267 | 3.6887 | 183.9733 | 13.1207 | 891 | 84.16 | 12.8927
2019-04-14 22:30:00 | 3.524 | 185.566 | 4.048 | 203.92 | 4.806 | 213.68 | 4.95 | 199.94 | 12.89 | 891 | 85.84 | 12.2027
2019-04-14 22:45:00 | 2.844 | 189.786 | 3.2747 | 208.5467 | 3.6873 | 206.6267 | 3.7367 | 215.7 | 12.706 | 891 | 87.0133 | 12.4387
2019-04-14 23:00:00 | 3.222 | 192.084 | 3.706 | 211.08 | 4.246 | 221.76 | 4.062 | 209.74 | 12.514 | 891 | 87.98 | 12.6093
2019-04-14 23:15:00 | 3.6047 | 185.76 | 4.1527 | 204.1333 | 4.9327 | 222.8267 | 5.202 | 216.74 | 12.402 | 891 | 88.86 | 15.856
2019-04-14 23:30:00 | 3.356 | 175.6 | 3.868 | 192.96 | 4.668 | 212.52 | 5.234 | 220.82 | 12.266 | 891 | 90.06 | 14.574
2019-04-14 23:45:00 | 3.576 | 176.1293 | 4.116 | 193.5467 | 4.644 | 216.7067 | 4.7407 | 216.7533 | 12.2393 | 890.0667 | 90.4067 | 12.0993