## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-16 00:00:00 | 0.46143 | 295.57 | 0.53286 | 324.8 | 0.25857 | 9.3114 | 1.0257 | 26.35 | 11.6071 | 889 | 100 | 0
2019-04-16 00:15:00 | 0.96667 | 294.8727 | 1.1147 | 324.04 | 0.98933 | 0.75933 | 1.378 | 10.0593 | 11.61 | 889 | 100 | 0
2019-04-16 00:30:00 | 1.168 | 316.476 | 1.344 | 347.78 | 1.562 | 3.822 | 1.744 | 0.32 | 11.53 | 889 | 100 | 0
2019-04-16 00:45:00 | 1.5333 | 299.8093 | 1.768 | 329.4467 | 2.386 | 1.8167 | 2.6147 | 0.97467 | 11.5393 | 889 | 100 | 0
2019-04-16 01:00:00 | 2.02 | 133.076 | 2.322 | 146.232 | 2.894 | 1.898 | 3.328 | 10.404 | 11.504 | 889 | 100 | 0
2019-04-16 01:15:00 | 2.8907 | 91.4453 | 3.3273 | 100.4813 | 3.6273 | 3.5993 | 4.184 | 15.248 | 11.4533 | 889 | 100 | 0.294
2019-04-16 01:30:00 | 2.576 | 125.502 | 2.964 | 137.91 | 4.132 | 5.756 | 4.532 | 14.12 | 11.314 | 889 | 100 | 0
2019-04-16 01:45:00 | 1.812 | 105.73 | 2.0933 | 116.1833 | 2.5133 | 6.0467 | 3.2667 | 16.9667 | 11.2753 | 889 | 100 | 0
2019-04-16 02:00:00 | 1.392 | 296.518 | 1.602 | 325.84 | 1.982 | 210.628 | 2.582 | 8.412 | 11.314 | 889 | 100 | 0
2019-04-16 02:15:00 | 0.40267 | 225.1527 | 0.462 | 247.4133 | 0.66467 | 126.8267 | 1.5633 | 16.8227 | 11.33 | 888.0667 | 100 | 0
2019-04-16 02:30:00 | 0 | 0.05 | 0 | 0.05 | 0 | 160.208 | 0.232 | 38.97 | 11.318 | 888 | 100 | 0
2019-04-16 02:45:00 | 0 | 0.05 | 0 | 0.05 | 0 | 29.08 | 0 | 58.47 | 11.3287 | 888 | 100 | 0
2019-04-16 03:00:00 | 0.006 | 24.254 | 0.006 | 26.654 | 0 | 29.08 | 0.144 | 220.248 | 11.3 | 888 | 100 | 0
2019-04-16 03:15:00 | 0.003333 | 103.2673 | 0.003333 | 113.4727 | 0 | 311.5253 | 0.076 | 328.7533 | 11.2133 | 888 | 100 | 0
2019-04-16 03:30:00 | 0.01 | 276.38 | 0.01 | 303.7 | 0.012 | 159.956 | 0 | 328.8 | 11.156 | 888 | 100 | 0
2019-04-16 03:45:00 | 0.274 | 32.0613 | 0.31867 | 35.23 | 0.45 | 266.986 | 0.866 | 48.7633 | 11.1247 | 887.7333 | 100 | 0
2019-04-16 04:00:00 | 1.606 | 19.926 | 1.846 | 21.888 | 3.01 | 14.578 | 3.144 | 22.626 | 11.046 | 887 | 100 | 0.58267
2019-04-16 04:15:00 | 2.154 | 218.6513 | 2.4767 | 240.2733 | 3.9793 | 18.1087 | 3.872 | 28.2087 | 10.9567 | 887 | 100 | 0.2
2019-04-16 04:30:00 | 2.136 | 24.59 | 2.454 | 27.018 | 3.742 | 21.94 | 3.644 | 21.966 | 10.844 | 887 | 100 | 0
2019-04-16 04:45:00 | 1.5453 | 295.59 | 1.7873 | 324.8193 | 2.9527 | 4.6947 | 2.8933 | 26.6247 | 10.772 | 887 | 100 | 0
2019-04-16 05:00:00 | 1.242 | 155.472 | 1.428 | 170.848 | 2.426 | 16.382 | 2.196 | 31.578 | 10.698 | 887 | 100 | 0
2019-04-16 05:15:00 | 1.01 | 85.5667 | 1.172 | 94.0187 | 1.9527 | 14.59 | 1.872 | 41.4873 | 10.642 | 887 | 100 | 0
2019-04-16 05:30:00 | 1.776 | 75.966 | 2.044 | 83.47 | 3.146 | 23.378 | 2.886 | 21.27 | 10.616 | 887 | 100 | 0.238
2019-04-16 05:45:00 | 2.096 | 12.1433 | 2.4093 | 13.3353 | 3.57 | 11.006 | 3.3847 | 27.218 | 10.5893 | 887 | 100 | 0.54733
2019-04-16 06:00:00 | 2.096 | 200.328 | 2.41 | 220.128 | 3.846 | 18.126 | 3.676 | 17.682 | 10.56 | 887 | 100 | 0
2019-04-16 06:15:00 | 1.6253 | 83.5653 | 1.8767 | 91.8267 | 2.922 | 11.0087 | 2.588 | 14.8287 | 10.5587 | 887 | 100 | 0
2019-04-16 06:30:00 | 0.536 | 91.518 | 0.618 | 100.564 | 1.042 | 213.292 | 0.98 | 199.972 | 10.512 | 887 | 100 | 0
2019-04-16 06:45:00 | 0.004 | 5.1873 | 0.004667 | 5.6907 | 0.007333 | 154.1067 | 0.009333 | 225.2933 | 10.444 | 887 | 100 | 0
2019-04-16 07:00:00 | 0.066 | 63.576 | 0.078 | 69.852 | 0.06 | 130.66 | 0.012 | 199.34 | 10.422 | 887 | 100 | 0
2019-04-16 07:15:00 | 0.11133 | 134.5507 | 0.13533 | 147.8533 | 0.073333 | 149.4333 | 0.46533 | 155.1 | 10.2247 | 887 | 100 | 0
2019-04-16 07:30:00 | 0.016 | 149.336 | 0.02 | 164.1 | 0 | 152.2 | 0.29 | 163.98 | 10.14 | 887 | 100 | 0
2019-04-16 07:45:00 | 0.016 | 143.1467 | 0.018667 | 157.3 | 0 | 152.2 | 0.012667 | 152.0067 | 10.2893 | 887 | 100 | 0
2019-04-16 08:00:00 | 0.03 | 130.13 | 0.034 | 143 | 0 | 152.08 | 0 | 151.34 | 10.306 | 887 | 100 | 0
2019-04-16 08:15:00 | 0.27533 | 149.826 | 0.318 | 164.64 | 0.12 | 188.3467 | 0.04 | 217.3533 | 10.3473 | 887.9333 | 100 | 0
2019-04-16 08:30:00 | 0.28533 | 150.762 | 0.328 | 165.6733 | 0.27533 | 177.1667 | 0.17267 | 207.36 | 10.352 | 888 | 100 | 0
2019-04-16 08:45:00 | 0.91467 | 145.498 | 1.0493 | 159.8867 | 0.78867 | 169.6467 | 0.578 | 192.6933 | 10.3653 | 888 | 100 | 0
2019-04-16 09:00:00 | 1.332 | 147.476 | 1.532 | 162.06 | 1.352 | 158.1 | 1.106 | 174.26 | 10.398 | 888 | 100 | 0
2019-04-16 09:15:00 | 1.3787 | 152.584 | 1.5987 | 167.66 | 1.6867 | 157.46 | 1.8873 | 186.86 | 10.5113 | 888 | 100 | 0
2019-04-16 09:30:00 | 1.88 | 165.15 | 2.17 | 181.48 | 2.172 | 167.14 | 2.35 | 197.58 | 10.564 | 888 | 100 | 0.036
2019-04-16 09:45:00 | 2.508 | 137.2873 | 2.886 | 150.8667 | 2.9173 | 176.6733 | 2.9633 | 193.2867 | 10.7693 | 888 | 100 | 1.094
2019-04-16 10:00:00 | 2.836 | 160.11 | 3.262 | 175.94 | 3.34 | 169.48 | 3.18 | 181.86 | 10.73 | 888 | 100 | 1.4407
2019-04-16 10:15:00 | 3.048 | 160.1033 | 3.5047 | 175.9267 | 3.4547 | 176.5733 | 3.6333 | 182.3133 | 10.918 | 888.9333 | 100 | 2.138
2019-04-16 10:30:00 | 3.202 | 164.984 | 3.682 | 181.3 | 3.626 | 181.08 | 3.92 | 173.34 | 10.934 | 889 | 100 | 2.7053
2019-04-16 10:45:00 | 3.2033 | 160.336 | 3.69 | 176.1933 | 3.6513 | 183.5733 | 3.9413 | 178.46 | 11.1433 | 889 | 100 | 4.384
2019-04-16 11:00:00 | 3.516 | 151.808 | 4.052 | 166.82 | 4 | 176.66 | 4.38 | 186.82 | 11.226 | 889 | 100 | 6.3153
2019-04-16 11:15:00 | 3.872 | 162.3867 | 4.4587 | 178.4467 | 4.2493 | 186.3533 | 4.9373 | 192.8467 | 11.5033 | 889 | 99.7867 | 9.2427
2019-04-16 11:30:00 | 3.594 | 149.896 | 4.136 | 164.72 | 4.116 | 186.76 | 4.732 | 200.7 | 11.664 | 889 | 98.66 | 11.3367
2019-04-16 11:45:00 | 3.922 | 153.16 | 4.5187 | 168.3067 | 4.3813 | 183.8667 | 5.2133 | 204.0467 | 11.7947 | 889 | 97.6333 | 12.4947
2019-04-16 12:00:00 | 4.088 | 159.218 | 4.702 | 174.96 | 4.694 | 196.82 | 5.2 | 203.18 | 12.112 | 889 | 96.5 | 14.3553
2019-04-16 12:15:00 | 4.144 | 123.302 | 4.7713 | 135.4933 | 4.8433 | 185.2333 | 5.1067 | 190.7 | 12.2587 | 889 | 95.5933 | 14.9433
2019-04-16 12:30:00 | 4.308 | 162.942 | 4.9627 | 179.0533 | 4.906 | 193.4267 | 5.7 | 196.9867 | 12.2993 | 889 | 95.3133 | 12.5813
2019-04-16 12:45:00 | 3.7147 | 156.7067 | 4.2807 | 172.2 | 4.152 | 171.4933 | 4.8647 | 190.42 | 12.7467 | 889 | 93.8 | 10.114
2019-04-16 13:00:00 | 4.104 | 166.646 | 4.73 | 183.12 | 4.79 | 155.3 | 4.972 | 181.94 | 13.244 | 889 | 91.22 | 10.872
2019-04-16 13:15:00 | 4.572 | 135.046 | 5.262 | 148.4 | 5.4087 | 159.3667 | 5.228 | 174.2467 | 13.5933 | 889 | 87.9 | 9.6013
2019-04-16 13:30:00 | 3.784 | 156.778 | 4.35 | 172.28 | 4.496 | 158 | 4.834 | 186.58 | 13.786 | 889 | 87 | 9.26
2019-04-16 13:45:00 | 4.032 | 120.1713 | 4.6433 | 132.0533 | 4.944 | 151.6533 | 5.2033 | 190.3133 | 13.9833 | 889 | 85.5067 | 10.4953
2019-04-16 14:00:00 | 4.112 | 137.394 | 4.724 | 150.98 | 4.914 | 168.94 | 5.314 | 196.1 | 14.056 | 888.4 | 84.66 | 11.3313
2019-04-16 14:15:00 | 3.6867 | 142.8193 | 4.2387 | 156.94 | 4.4273 | 197.98 | 5.1247 | 193.34 | 14.36 | 888 | 84.02 | 9.2067
2019-04-16 14:30:00 | 3.848 | 151.98 | 4.426 | 167 | 4.398 | 197.26 | 4.744 | 192.92 | 14.616 | 888 | 83.08 | 11.6153
2019-04-16 14:45:00 | 4.0893 | 172.1667 | 4.7073 | 189.1867 | 4.8033 | 181.7133 | 5.208 | 203.7867 | 14.8253 | 888 | 82.48 | 16.2973
2019-04-16 15:00:00 | 4.352 | 134.35 | 5.004 | 147.64 | 5.12 | 169.54 | 5.462 | 168.32 | 15.052 | 888 | 81.8 | 18.0993
2019-04-16 15:15:00 | 4.456 | 153.0207 | 5.1307 | 168.16 | 5.232 | 186.02 | 5.9553 | 185.0667 | 15.3027 | 888 | 81.6133 | 19.9753
2019-04-16 15:30:00 | 4.0307 | 150.2173 | 4.644 | 165.0733 | 4.7387 | 174.88 | 5.4107 | 180.96 | 15.18 | 887.4 | 82.4733 | 19.4933
2019-04-16 15:45:00 | 4.804 | 143.8253 | 5.5333 | 158.0467 | 5.664 | 180.32 | 5.8573 | 184.52 | 15.5107 | 887 | 82.1533 | 21.2287
2019-04-16 16:00:00 | 4.98 | 134.33 | 5.73 | 147.6 | 6.058 | 175.18 | 5.862 | 186.36 | 15.93 | 887 | 81.14 | 23.0213
2019-04-16 16:15:00 | 4.788 | 143.0687 | 5.514 | 157.2133 | 5.8047 | 149.9 | 6.0927 | 190.36 | 16.442 | 887 | 79.0227 | 23.9873
2019-04-16 16:30:00 | 4.376 | 147.472 | 5.038 | 162.06 | 5.118 | 154.88 | 5.43 | 206.06 | 16.79 | 887 | 77.276 | 27.1473
2019-04-16 16:45:00 | 4.7333 | 151.984 | 5.446 | 167.0067 | 6.2113 | 216.5733 | 6.3607 | 228.2333 | 16.358 | 887 | 78.8867 | 28.4813
2019-04-16 17:00:00 | 5.176 | 163.204 | 5.96 | 179.34 | 6.672 | 203.56 | 7.062 | 221.36 | 16.222 | 887 | 78.858 | 27.186
2019-04-16 17:15:00 | 5.1067 | 173.0333 | 5.876 | 190.14 | 6.664 | 221.5467 | 6.734 | 225.88 | 16.3753 | 887 | 77.2167 | 32.2147
2019-04-16 17:30:00 | 5.106 | 152.534 | 5.874 | 167.62 | 6.766 | 225.34 | 7.384 | 229.6 | 16.112 | 887 | 76.6 | 32.3627
2019-04-16 17:45:00 | 5.386 | 174.6807 | 6.202 | 191.9533 | 7.2287 | 218.4733 | 7.596 | 221.6 | 15.8373 | 887 | 77.676 | 29.338
2019-04-16 18:00:00 | 4.444 | 144.898 | 5.112 | 159.22 | 5.64 | 195.2 | 5.69 | 207.54 | 15.62 | 886.4 | 78.41 | 30.1227
2019-04-16 18:15:00 | 4.2253 | 156.5847 | 4.8693 | 172.06 | 5.116 | 181.2 | 5.2713 | 187.5533 | 15.664 | 886 | 78.29 | 28.6887
2019-04-16 18:30:00 | 4.324 | 182.092 | 4.98 | 200.1 | 5.29 | 201.42 | 5.482 | 197.08 | 15.65 | 886 | 78.476 | 24.396
2019-04-16 18:45:00 | 4.376 | 138.8973 | 5.0387 | 152.62 | 5.2353 | 189.22 | 5.5887 | 182.1867 | 15.4047 | 886 | 80.5013 | 22.9593
2019-04-16 19:00:00 | 4.142 | 165.648 | 4.762 | 182.02 | 4.996 | 184.2 | 5.53 | 183.18 | 15.182 | 886 | 82.18 | 25.7547
2019-04-16 19:15:00 | 4.7287 | 204.156 | 5.4487 | 224.34 | 5.6533 | 186.32 | 6.386 | 200.6733 | 14.9793 | 885.7333 | 82.4067 | 25.566
2019-04-16 19:30:00 | 4.764 | 131.376 | 5.48 | 144.36 | 5.684 | 178.76 | 6.37 | 197.86 | 14.87 | 885 | 82.48 | 25.2507
2019-04-16 19:45:00 | 4.2373 | 141.7573 | 4.882 | 155.7733 | 5.258 | 211.14 | 6.174 | 199.22 | 14.7473 | 885 | 82.92 | 25.0647
2019-04-16 20:00:00 | 4.392 | 184.318 | 5.066 | 202.54 | 5.364 | 198.1 | 6.152 | 192.64 | 14.606 | 885 | 84.14 | 18.9393
2019-04-16 20:15:00 | 3.5627 | 177.4953 | 4.1047 | 195.0467 | 4.3133 | 213.42 | 4.736 | 171.1333 | 14.466 | 885 | 85.2467 | 12.6647
2019-04-16 20:30:00 | 3.088 | 184.822 | 3.554 | 203.1 | 3.776 | 209.24 | 4.142 | 193.46 | 14.4 | 885 | 84.88 | 12.5553
2019-04-16 20:45:00 | 3.5733 | 176.8327 | 4.1127 | 194.3133 | 4.6573 | 202.3067 | 4.9487 | 208.3533 | 14.2293 | 885.2667 | 85.1867 | 14.076
2019-04-16 21:00:00 | 3.568 | 171.28 | 4.104 | 188.22 | 4.684 | 220.02 | 4.724 | 196.96 | 14.006 | 886 | 87.34 | 12.7333
2019-04-16 21:15:00 | 3.3653 | 159.5333 | 3.8733 | 175.3133 | 4.264 | 209.2733 | 4.3973 | 201.4267 | 13.99 | 886 | 87.3667 | 9.6027
2019-04-16 21:30:00 | 2.894 | 166.616 | 3.336 | 183.1 | 3.688 | 198.86 | 3.99 | 205.02 | 13.974 | 886 | 87.56 | 11.5493
2019-04-16 21:45:00 | 3.6753 | 183.9227 | 4.2347 | 202.1133 | 4.892 | 212.7267 | 4.986 | 216.3933 | 13.926 | 886 | 88.2267 | 12.9667
2019-04-16 22:00:00 | 3.812 | 176.822 | 4.39 | 194.3 | 4.776 | 213.3 | 4.946 | 210.06 | 13.836 | 886 | 88.9 | 11.4687
2019-04-16 22:15:00 | 3.436 | 173.3367 | 3.9607 | 190.4733 | 4.396 | 210.4867 | 4.4247 | 209.34 | 13.8067 | 886 | 89.1 | 9.1067
2019-04-16 22:30:00 | 3.362 | 166.952 | 3.868 | 183.46 | 4.5 | 218.2 | 4.464 | 208.58 | 13.734 | 886 | 89.64 | 7.7927
2019-04-16 22:45:00 | 3.03 | 178.7613 | 3.4867 | 196.4333 | 4.008 | 216.9333 | 4.0827 | 209.6333 | 13.682 | 886 | 89.7733 | 7.4247
2019-04-16 23:00:00 | 3.008 | 169.648 | 3.46 | 186.42 | 4.16 | 218.4 | 4.114 | 208.8 | 13.656 | 886 | 89.94 | 7.068
2019-04-16 23:15:00 | 3.332 | 169.2587 | 3.8347 | 185.9933 | 4.46 | 222.2 | 4.426 | 214.08 | 13.5947 | 886 | 90.1267 | 8.8633
2019-04-16 23:30:00 | 3.162 | 167.684 | 3.634 | 184.26 | 4.23 | 219.16 | 4.076 | 215.08 | 13.57 | 886 | 90.32 | 5.9293
2019-04-16 23:45:00 | 2.4944 | 165.2489 | 2.8656 | 181.5889 | 3.25 | 222.4889 | 3.2689 | 220.5111 | 13.5167 | 886 | 90.6667 | 6.018