## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-17 00:00:00 | 2.4944 | 165.2489 | 2.8656 | 181.5889 | 3.25 | 222.4889 | 3.2689 | 220.5111 | 13.5167 | 886 | 90.6667 | 6.018
2019-04-17 00:15:00 | 2.4944 | 165.2489 | 2.8656 | 181.5889 | 3.25 | 222.4889 | 3.2689 | 220.5111 | 13.5167 | 886 | 90.6667 | 6.018
2019-04-17 00:30:00 | 2.438 | 164.5869 | 2.8143 | 180.8615 | 3.1471 | 199.6615 | 3.3808 | 217.3 | 13.23 | 885 | 92.4 | 6.2023
2019-04-17 00:45:00 | 2.438 | 164.5869 | 2.8143 | 180.8615 | 3.1471 | 199.6615 | 3.3808 | 217.3 | 13.23 | 885 | 92.4 | 6.2023
2019-04-17 01:00:00 | 2.438 | 164.5869 | 2.8143 | 180.8615 | 3.1471 | 199.6615 | 3.3808 | 217.3 | 13.23 | 885 | 92.4 | 6.2023
2019-04-17 01:15:00 | 2.6593 | 172.2927 | 3.0553 | 189.32 | 3.244 | 202.3267 | 3.768 | 211.6333 | 13.2473 | 885 | 92.12 | 7.2127
2019-04-17 01:30:00 | 2.828 | 168.518 | 3.256 | 185.18 | 3.794 | 211.6 | 4.008 | 216.92 | 13.214 | 885 | 92.28 | 5.8893
2019-04-17 01:45:00 | 2.1533 | 169.2827 | 2.4793 | 186.0267 | 3.1793 | 214.0533 | 3.428 | 221.0867 | 13.1847 | 885 | 92.48 | 5.4487
2019-04-17 02:00:00 | 1.722 | 171.596 | 1.98 | 188.56 | 2.846 | 215.12 | 3.21 | 229.1 | 13.158 | 885 | 92.7 | 5.3593
2019-04-17 02:15:00 | 1.7967 | 164.8387 | 2.0733 | 181.1333 | 2.7127 | 213.4533 | 3.1513 | 223.14 | 13.09 | 885 | 92.9267 | 6.1607
2019-04-17 02:30:00 | 1.736 | 160.426 | 1.998 | 176.28 | 2.602 | 215.8 | 3.06 | 223.52 | 13.008 | 885 | 93.66 | 5.81
2019-04-17 02:45:00 | 2.3213 | 150.9247 | 2.674 | 165.84 | 2.9967 | 195.72 | 3.0747 | 200.16 | 12.952 | 884.0667 | 94.2867 | 5.3687
2019-04-17 03:00:00 | 2.6253 | 145.7213 | 3.0267 | 160.1267 | 3.2053 | 198.4067 | 3.2853 | 207.8533 | 12.938 | 884 | 94.6 | 6.1787
2019-04-17 03:15:00 | 2.6007 | 157.1313 | 2.9887 | 172.6733 | 3.0287 | 184.0667 | 3.1287 | 201.6933 | 12.934 | 884 | 94.96 | 5.2373
2019-04-17 03:30:00 | 2.648 | 155.866 | 3.048 | 171.28 | 3.192 | 191.24 | 3.356 | 200.2 | 12.908 | 884 | 95.2 | 5.3613
2019-04-17 03:45:00 | 2.4307 | 159.9327 | 2.8 | 175.7467 | 2.9933 | 188.8133 | 3.252 | 188.68 | 12.8947 | 884 | 95.5733 | 5.3213
2019-04-17 04:00:00 | 2.89 | 164.042 | 3.324 | 180.26 | 3.432 | 187.48 | 3.416 | 201.3 | 12.868 | 884 | 95.54 | 5.0933
2019-04-17 04:15:00 | 2.8553 | 165.3633 | 3.2853 | 181.7133 | 3.4347 | 186.64 | 3.4907 | 201.0467 | 12.852 | 884 | 95.22 | 5.2493
2019-04-17 04:30:00 | 2.556 | 156.5 | 2.938 | 171.98 | 3.126 | 183.08 | 3.31 | 202.74 | 12.83 | 884 | 95.32 | 4.778
2019-04-17 04:45:00 | 1.9027 | 152.1053 | 2.1927 | 167.1533 | 2.3433 | 195.8667 | 2.882 | 212.9533 | 12.7833 | 883.0667 | 95.4267 | 4.4667
2019-04-17 05:00:00 | 1.618 | 159.888 | 1.864 | 175.7 | 2.054 | 209.7 | 2.828 | 217.34 | 12.774 | 883 | 95.44 | 3.6
2019-04-17 05:15:00 | 1.666 | 154.516 | 1.924 | 169.7933 | 2.422 | 217.66 | 2.968 | 219.9933 | 12.7367 | 883 | 95.1733 | 3.7473
2019-04-17 05:30:00 | 2.048 | 159.334 | 2.362 | 175.08 | 3.016 | 215.14 | 3.44 | 222 | 12.734 | 883 | 94.92 | 3.356
2019-04-17 05:45:00 | 2.0613 | 168.3593 | 2.3753 | 185 | 3.088 | 222.1133 | 3.448 | 217.6667 | 12.8433 | 883 | 93.4133 | 3.4033
2019-04-17 06:00:00 | 1.908 | 176.708 | 2.192 | 194.18 | 3 | 215.86 | 3.294 | 224.18 | 12.928 | 883 | 92.8 | 2.974
2019-04-17 06:15:00 | 1.8133 | 165.76 | 2.092 | 182.1533 | 2.704 | 236.3133 | 2.9247 | 222.06 | 12.8773 | 883 | 93.4267 | 3.6327
2019-04-17 06:30:00 | 2.072 | 154.364 | 2.39 | 169.62 | 2.772 | 224.18 | 2.924 | 207.76 | 12.77 | 883 | 94.5 | 2.1827
2019-04-17 06:45:00 | 1.8427 | 164.3893 | 2.1207 | 180.6467 | 2.468 | 202.4067 | 2.9693 | 210.3867 | 12.6073 | 883 | 95.9667 | 2.028
2019-04-17 07:00:00 | 1.548 | 163.268 | 1.79 | 179.4 | 2.116 | 203.68 | 2.892 | 215.96 | 12.6 | 883 | 96.4 | 1.3507
2019-04-17 07:15:00 | 1.652 | 166.8333 | 1.9073 | 183.3333 | 2.3427 | 197.0533 | 2.376 | 220 | 12.7013 | 883 | 96.16 | 1.282
2019-04-17 07:30:00 | 1.61 | 168.134 | 1.854 | 184.76 | 2.372 | 195.14 | 2.44 | 226 | 12.75 | 883 | 96 | 1.8327
2019-04-17 07:45:00 | 1.8847 | 155.3527 | 2.1727 | 170.72 | 2.424 | 196.2867 | 2.2907 | 224.4 | 12.822 | 883 | 95.9733 | 3.0393
2019-04-17 08:00:00 | 2.206 | 163.204 | 2.538 | 179.34 | 2.778 | 196.52 | 2.586 | 222.42 | 12.894 | 883 | 95.84 | 4.498
2019-04-17 08:15:00 | 2.0847 | 152.9933 | 2.394 | 168.1133 | 2.4407 | 198.5733 | 2.378 | 222.8067 | 12.9153 | 883.9333 | 96.2267 | 5.4313
2019-04-17 08:30:00 | 2.476 | 154.458 | 2.844 | 169.72 | 2.714 | 182.36 | 2.678 | 222.18 | 12.93 | 884 | 96.76 | 4.5887
2019-04-17 08:45:00 | 2.2987 | 154.322 | 2.648 | 169.5867 | 2.446 | 197.8133 | 2.7887 | 226.2467 | 12.942 | 884 | 97.7067 | 3.5653
2019-04-17 09:00:00 | 1.976 | 157.172 | 2.286 | 172.72 | 2.216 | 209.54 | 2.92 | 224.44 | 13.082 | 884 | 97.72 | 2.928
2019-04-17 09:15:00 | 1.72 | 165.1 | 1.9887 | 181.4267 | 2.04 | 202.86 | 2.4533 | 230.6533 | 13.5313 | 884 | 95.8667 | 1.742
2019-04-17 09:30:00 | 1.3633 | 155.5893 | 1.568 | 170.9667 | 1.6307 | 186.1867 | 1.832 | 225.0733 | 13.6927 | 884 | 95.12 | 1.82
2019-04-17 09:45:00 | 1.7267 | 161.4673 | 1.9947 | 177.4267 | 2.1967 | 195.2333 | 2.474 | 225.48 | 13.8953 | 884.2667 | 94.0467 | 1.386
2019-04-17 10:00:00 | 1.84 | 170.242 | 2.12 | 187.08 | 2.45 | 226.24 | 2.892 | 229.4 | 14.324 | 885 | 92.34 | 0.552
2019-04-17 10:15:00 | 1.4733 | 157.31 | 1.7013 | 172.8667 | 1.8207 | 222.3867 | 2.5187 | 241.08 | 14.592 | 885 | 90.6733 | 0
2019-04-17 10:30:00 | 1.304 | 152.624 | 1.508 | 167.72 | 1.666 | 214.2 | 1.694 | 246.3 | 14.802 | 885 | 88.92 | 0
2019-04-17 10:45:00 | 1.864 | 151.5227 | 2.1507 | 166.5067 | 2.2113 | 202.8 | 2.1927 | 239.9133 | 14.97 | 885 | 88.36 | 0
2019-04-17 11:00:00 | 2.272 | 159.908 | 2.62 | 175.72 | 2.896 | 226.64 | 2.852 | 228.1 | 15.218 | 885 | 85.06 | 0
2019-04-17 11:15:00 | 2.5587 | 187.1533 | 2.9453 | 205.6667 | 3.2147 | 226.8533 | 3.1267 | 231.3667 | 15.5513 | 885 | 83.3 | 0
2019-04-17 11:30:00 | 2.334 | 173.082 | 2.69 | 190.2 | 3.15 | 226.94 | 3.104 | 223.32 | 15.588 | 885 | 83.38 | 0
2019-04-17 11:45:00 | 2.3127 | 173.9567 | 2.6593 | 191.16 | 3.03 | 225.6333 | 3.008 | 228.76 | 15.908 | 885 | 82.6733 | 0.10133
2019-04-17 12:00:00 | 2.308 | 169.334 | 2.654 | 186.08 | 2.906 | 215.78 | 2.738 | 224.72 | 16.174 | 885 | 82.36 | 0.077333
2019-04-17 12:15:00 | 2.4573 | 173.566 | 2.8287 | 190.7333 | 3.2993 | 228.5 | 3.1273 | 231.6133 | 16.434 | 885 | 81.5867 | 0
2019-04-17 12:30:00 | 2 | 166.66 | 2.302 | 183.14 | 2.474 | 214.54 | 2.368 | 201.24 | 16.452 | 885 | 81.58 | 0
2019-04-17 12:45:00 | 1.2507 | 151.236 | 1.4487 | 166.18 | 1.478 | 177.1 | 1.4053 | 209.9867 | 16.5733 | 885 | 81.0333 | 0
2019-04-17 13:00:00 | 1.152 | 150.954 | 1.326 | 165.88 | 1.42 | 192.54 | 1.848 | 226.64 | 16.454 | 885 | 81.84 | 0
2019-04-17 13:15:00 | 1.4813 | 163.5487 | 1.7047 | 179.72 | 2.0347 | 224.2467 | 2.108 | 235.5467 | 16.4753 | 884.0667 | 82.32 | 0
2019-04-17 13:30:00 | 1.704 | 151.772 | 1.96 | 166.78 | 2.576 | 241.48 | 2.642 | 238.48 | 16.51 | 884 | 82.4 | 0
2019-04-17 13:45:00 | 1.7427 | 187.0213 | 2.0053 | 205.5133 | 2.544 | 243.2267 | 2.67 | 239.0933 | 16.2233 | 884 | 83.28 | 0.552
2019-04-17 14:00:00 | 1.798 | 186.32 | 2.08 | 204.74 | 2.676 | 220.1 | 2.768 | 224.46 | 16.1 | 884 | 84.2 | 0.27533
2019-04-17 14:15:00 | 1.6513 | 150.824 | 1.9013 | 165.74 | 2.1387 | 201.2733 | 2.0267 | 204.5933 | 16.3733 | 883.0667 | 83.0133 | 0
2019-04-17 14:30:00 | 1.528 | 171.64 | 1.762 | 188.6 | 1.808 | 152.42 | 1.72 | 170.42 | 17.12 | 883 | 80.078 | 0
2019-04-17 14:45:00 | 1.7 | 152.672 | 1.954 | 167.7733 | 1.952 | 190.3267 | 2.072 | 181.4333 | 17.94 | 883 | 76.9473 | 0
2019-04-17 15:00:00 | 2.064 | 150.73 | 2.372 | 165.64 | 2.506 | 194.9 | 2.606 | 208.16 | 18.548 | 883 | 75.028 | 0
2019-04-17 15:15:00 | 2.632 | 163.5687 | 3.036 | 179.7467 | 3.074 | 186.3933 | 3.0553 | 215.9067 | 19.072 | 883 | 72.204 | 0.013333
2019-04-17 15:30:00 | 2.6143 | 126.7371 | 3.0043 | 139.2714 | 3.1586 | 195.6714 | 3.1443 | 220.8714 | 19.5157 | 883 | 71.4267 | 0.59714
2019-04-17 15:45:00 | 2.7833 | 179.0133 | 3.2053 | 196.7067 | 3.772 | 246.12 | 3.9527 | 243.9733 | 19.4627 | 883 | 71.124 | 1.064
2019-04-17 16:00:00 | 2.864 | 172.744 | 3.298 | 189.82 | 3.834 | 231.52 | 3.756 | 230.6 | 19.306 | 883 | 71.276 | 1.7233
2019-04-17 16:15:00 | 2.4787 | 168.7773 | 2.85 | 185.46 | 3.2673 | 229.0667 | 3.4373 | 226.76 | 18.6567 | 883 | 73.7907 | 2.5613
2019-04-17 16:30:00 | 2.028 | 156.866 | 2.328 | 172.38 | 3.056 | 217.36 | 3.038 | 243.44 | 18.662 | 882.4 | 74.832 | 3.8587
2019-04-17 16:45:00 | 2.5347 | 153.4607 | 2.9173 | 168.6333 | 3.2467 | 207.0267 | 3.3327 | 232.6133 | 18.9153 | 882 | 74.3293 | 3.6273
2019-04-17 17:00:00 | 2.43 | 130.54 | 2.796 | 143.44 | 3.348 | 225.24 | 3.78 | 232.08 | 18.802 | 882 | 74.74 | 2.7467
2019-04-17 17:15:00 | 2.1447 | 165.3493 | 2.472 | 181.7067 | 3.22 | 229.28 | 3.396 | 248.1733 | 18.8633 | 882 | 75.0453 | 3.0127
2019-04-17 17:30:00 | 2.07 | 178.028 | 2.386 | 195.64 | 3.294 | 242.84 | 3.386 | 253.38 | 19.06 | 882 | 74.612 | 2.6487
2019-04-17 17:45:00 | 2.0273 | 169.0053 | 2.3313 | 185.7067 | 2.9967 | 207.8533 | 3.21 | 235.62 | 18.776 | 882 | 75.5587 | 3.7607
2019-04-17 18:00:00 | 2.552 | 174.82 | 2.934 | 192.1 | 3.772 | 212.82 | 3.822 | 220.9 | 17.932 | 882 | 78.862 | 2.8167
2019-04-17 18:15:00 | 2.2587 | 170.6693 | 2.5953 | 187.54 | 3.4013 | 232.8733 | 4.0153 | 237.9 | 17.5413 | 881.7333 | 81.23 | 1.3387
2019-04-17 18:30:00 | 1.976 | 168.654 | 2.2753 | 185.3333 | 2.7873 | 231.5133 | 3.2947 | 247.1 | 17.6873 | 881 | 81.1133 | 1.0813
2019-04-17 18:45:00 | 2.2033 | 167.754 | 2.534 | 184.3333 | 2.96 | 192.4933 | 2.9067 | 212.5267 | 17.446 | 881 | 82.3533 | 1.1053
2019-04-17 19:00:00 | 2.852 | 169.634 | 3.284 | 186.4 | 3.484 | 179.16 | 3.204 | 192.8 | 17.104 | 881 | 83.78 | 1.268
2019-04-17 19:15:00 | 3.268 | 155.522 | 3.7653 | 170.8933 | 3.9387 | 172.36 | 3.8387 | 184.68 | 16.732 | 881 | 84.9533 | 2.048
2019-04-17 19:30:00 | 3.452 | 160.122 | 3.976 | 175.96 | 4.2 | 180.82 | 4.2 | 184.72 | 16.492 | 880.4 | 85.36 | 1.996
2019-04-17 19:45:00 | 2.5547 | 151.8193 | 2.94 | 166.8267 | 3.2213 | 202.74 | 3.684 | 200.6933 | 16.2733 | 880 | 86.0533 | 3.072
2019-04-17 20:00:00 | 2.382 | 169.36 | 2.742 | 186.1 | 3.318 | 210.56 | 3.592 | 223.64 | 16.072 | 880 | 87.1 | 5.84
2019-04-17 20:15:00 | 2.4353 | 181.928 | 2.81 | 199.9133 | 3.5313 | 228.4933 | 4.1493 | 229.1733 | 15.9013 | 880 | 88.0867 | 6.5187
2019-04-17 20:30:00 | 2.552 | 176.22 | 2.946 | 193.64 | 3.782 | 218.46 | 4.168 | 224.56 | 15.98 | 880 | 87.58 | 5.016
2019-04-17 20:45:00 | 2.6507 | 194.5 | 3.0553 | 213.7333 | 3.9553 | 234.0067 | 3.744 | 231.6133 | 16.1693 | 880 | 86.7133 | 3.7093
2019-04-17 21:00:00 | 2.172 | 177.644 | 2.496 | 195.2 | 3.256 | 231.18 | 3.292 | 227.02 | 16.21 | 880.6 | 86.68 | 2.63
2019-04-17 21:15:00 | 1.668 | 186.2013 | 1.9147 | 204.6133 | 2.6067 | 234.2467 | 2.5787 | 226.9267 | 16.254 | 881 | 86.0267 | 1.8347
2019-04-17 21:30:00 | 1.874 | 189.232 | 2.16 | 207.94 | 3.06 | 231.5 | 2.93 | 233.4 | 16.22 | 881 | 86.06 | 1.236
2019-04-17 21:45:00 | 2.086 | 202.48 | 2.4 | 222.5 | 3.536 | 236.26 | 3.234 | 238.76 | 16.116 | 881 | 86.66 | 0.684
2019-04-17 22:00:00 | 2.086 | 202.48 | 2.4 | 222.5 | 3.536 | 236.26 | 3.234 | 238.76 | 16.116 | 881 | 86.66 | 0.684
2019-04-17 22:15:00 | 2.086 | 202.48 | 2.4 | 222.5 | 3.536 | 236.26 | 3.234 | 238.76 | 16.116 | 881 | 86.66 | 0.684
2019-04-17 22:30:00 | 2.086 | 202.48 | 2.4 | 222.5 | 3.536 | 236.26 | 3.234 | 238.76 | 16.116 | 881 | 86.66 | 0.684
2019-04-17 22:45:00 | 2.086 | 202.48 | 2.4 | 222.5 | 3.536 | 236.26 | 3.234 | 238.76 | 16.116 | 881 | 86.66 | 0.684
2019-04-17 23:00:00 | 0.9375 | 183.5146 | 1.0885 | 201.5 | 1.7625 | 218.9615 | 1.7838 | 222.7 | 15.8993 | 881 | 88.2 | 0.14533
2019-04-17 23:15:00 | 0.9375 | 183.5146 | 1.0885 | 201.5 | 1.7625 | 218.9615 | 1.7838 | 222.7 | 15.8993 | 881 | 88.2 | 0.14533
2019-04-17 23:30:00 | 0.9375 | 183.5146 | 1.0885 | 201.5 | 1.7625 | 218.9615 | 1.7838 | 222.7 | 15.8993 | 881 | 88.2 | 0.14533
2019-04-17 23:45:00 | 0.9375 | 183.5146 | 1.0885 | 201.5 | 1.7625 | 218.9615 | 1.7838 | 222.7 | 15.8993 | 881 | 88.2 | 0.14533