## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-18 00:00:00 | 1.08 | 183.36 | 1.25 | 201.5 | 2.01 | 218.2 | 1.67 | 222.7 | 15.96 | 881 | 88.2 | 0.1
2019-04-18 00:15:00 | 1.08 | 183.36 | 1.25 | 201.5 | 2.01 | 218.2 | 1.67 | 222.7 | 15.96 | 881 | 88.2 | 0.1
2019-04-18 00:30:00 | 0.88 | 182.775 | 1.01 | 200.85 | 1.66 | 204.55 | 1.92 | 213 | 15.865 | 881 | 89.45 | 1.145
2019-04-18 00:45:00 | 0.276 | 138.406 | 0.31733 | 152.0933 | 0.51933 | 200.74 | 1.0713 | 216.0133 | 15.7947 | 881 | 89.7267 | 1.0053
2019-04-18 01:00:00 | 0.138 | 0.05 | 0.156 | 0.05 | 0.252 | 181.58 | 0.264 | 183.58 | 15.634 | 881 | 90.16 | 0.51533
2019-04-18 01:15:00 | 0.014 | 0.05 | 0.016 | 0.05 | 0.028 | 169.1 | 0.021333 | 163.1267 | 15.6567 | 881 | 90.4 | 0.24933
2019-04-18 01:30:00 | 0 | 0.05 | 0 | 0.05 | 0 | 168.98 | 0.072 | 163.14 | 15.702 | 880.4 | 90.28 | 0.19133
2019-04-18 01:45:00 | 0.25333 | 0.05 | 0.29867 | 0.05 | 0 | 112.34 | 0.144 | 163.1667 | 15.6767 | 880 | 89.9333 | 0.053333
2019-04-18 02:00:00 | 0.412 | 0.05 | 0.476 | 0.05 | 0 | 108.36 | 0.136 | 163.1 | 15.464 | 880 | 90.2 | 0
2019-04-18 02:15:00 | 0.6 | 0.036667 | 0.692 | 0.03 | 0.408 | 48.132 | 0.093333 | 152.46 | 15.412 | 880 | 90.1733 | 0
2019-04-18 02:30:00 | 1.15 | 185.228 | 1.33 | 203.54 | 1.218 | 11.82 | 0.112 | 106.94 | 15.33 | 879.4 | 90.4 | 0
2019-04-18 02:45:00 | 1.062 | 293.8853 | 1.2353 | 322.9467 | 0.99933 | 95.128 | 0.009333 | 65.0947 | 15.2633 | 879 | 90.7333 | 0
2019-04-18 03:00:00 | 0.83 | 297.502 | 0.964 | 326.92 | 0.64 | 142.482 | 0 | 26.93 | 15.142 | 879 | 91.34 | 0
2019-04-18 03:15:00 | 1.1807 | 281.918 | 1.356 | 309.8 | 1.044 | 91.0647 | 0.002667 | 26.9487 | 15.0727 | 879 | 91.78 | 0
2019-04-18 03:30:00 | 1.1 | 279.904 | 1.266 | 307.58 | 0.818 | 338.4 | 0.004 | 26.938 | 15.016 | 879 | 92.04 | 0
2019-04-18 03:45:00 | 0.812 | 295.6 | 0.93133 | 324.8333 | 0.28467 | 338.3733 | 0 | 26.91 | 15.0187 | 879 | 92.0133 | 0
2019-04-18 04:00:00 | 1.5 | 304.104 | 1.726 | 334.18 | 1.362 | 345.26 | 0.132 | 25.658 | 15.008 | 878.4 | 92.12 | 0
2019-04-18 04:15:00 | 1.9813 | 291.1293 | 2.29 | 319.9133 | 1.9847 | 352.7133 | 1.1947 | 78.4673 | 14.8933 | 878 | 92.0933 | 0
2019-04-18 04:30:00 | 2.36 | 288.092 | 2.718 | 316.58 | 2.49 | 353.9 | 1.936 | 33.124 | 14.782 | 878 | 92.3 | 0
2019-04-18 04:45:00 | 2.4827 | 317.292 | 2.8647 | 348.6733 | 2.89 | 28.596 | 2.564 | 2.5467 | 14.8073 | 878 | 92.1533 | 0
2019-04-18 05:00:00 | 2.668 | 320.704 | 3.07 | 352.42 | 3.28 | 10.102 | 3.052 | 19.14 | 14.692 | 878 | 92.62 | 0
2019-04-18 05:15:00 | 2.9467 | 310.872 | 3.394 | 341.6067 | 3.62 | 10.486 | 3.808 | 27.8533 | 14.5467 | 878 | 93.1133 | 0
2019-04-18 05:30:00 | 3.104 | 308.946 | 3.566 | 339.5 | 3.586 | 13.062 | 3.774 | 25.228 | 14.442 | 878 | 93.62 | 0
2019-04-18 05:45:00 | 3.2547 | 314.2833 | 3.7487 | 345.3667 | 3.7807 | 6.4113 | 4.218 | 16.4453 | 13.9647 | 878 | 95.5133 | 0.52933
2019-04-18 06:00:00 | 3.796 | 316.756 | 4.368 | 348.08 | 4.596 | 214.856 | 4.318 | 13.044 | 13.66 | 878 | 97.12 | 0.19333
2019-04-18 06:15:00 | 3.828 | 316.072 | 4.4 | 347.3333 | 4.6213 | 356.8 | 3.97 | 8.3667 | 13.6707 | 878 | 97.2533 | 0
2019-04-18 06:30:00 | 3.316 | 320.516 | 3.81 | 352.22 | 4.084 | 355.66 | 3.628 | 9.612 | 13.476 | 878 | 97.76 | 0
2019-04-18 06:45:00 | 3.0107 | 310.944 | 3.462 | 341.7 | 3.752 | 27.212 | 3.188 | 12.7413 | 13.492 | 878 | 97.8667 | 0
2019-04-18 07:00:00 | 2.988 | 306.488 | 3.438 | 336.8 | 3.836 | 3.974 | 3.188 | 7.204 | 13.68 | 878 | 97.08 | 0
2019-04-18 07:15:00 | 2.9827 | 317.092 | 3.43 | 348.4533 | 4.0187 | 0.22733 | 3.9467 | 4.6253 | 13.928 | 878 | 96.1733 | 0
2019-04-18 07:30:00 | 3.06 | 324.15 | 3.524 | 356.2 | 3.952 | 3.096 | 4.078 | 7.778 | 14.164 | 878.6 | 95.16 | 0
2019-04-18 07:45:00 | 3.156 | 319.5927 | 3.6347 | 351.2 | 4 | 96.4573 | 4.3367 | 10.202 | 14.3067 | 879 | 94.1867 | 0
2019-04-18 08:00:00 | 2.922 | 305.142 | 3.36 | 335.32 | 3.974 | 150.07 | 4.362 | 21.516 | 14.694 | 879.6 | 92.42 | 0
2019-04-18 08:15:00 | 2.734 | 236.1127 | 3.144 | 259.464 | 3.6007 | 18.978 | 3.0193 | 18.844 | 15.1393 | 880 | 89.8867 | 0
2019-04-18 08:30:00 | 2.572 | 200.798 | 2.958 | 220.656 | 3.17 | 12.566 | 2.788 | 12.022 | 15.458 | 880.6 | 88.12 | 0
2019-04-18 08:45:00 | 2.6373 | 311.7647 | 3.042 | 342.5867 | 2.974 | 15.8927 | 3.256 | 14.8847 | 15.91 | 881 | 86.4667 | 0
2019-04-18 09:00:00 | 2.464 | 130.1 | 2.832 | 142.97 | 3.058 | 18.276 | 3.108 | 15.22 | 15.93 | 881 | 86.78 | 0
2019-04-18 09:15:00 | 2.068 | 2.0467 | 2.3893 | 2.238 | 2.762 | 16.1347 | 2.9573 | 18.236 | 15.6033 | 881 | 88.9 | 0
2019-04-18 09:30:00 | 2.188 | 191.524 | 2.528 | 210.452 | 2.788 | 12.304 | 2.694 | 23.354 | 15.57 | 881 | 89.36 | 0
2019-04-18 09:45:00 | 1.92 | 318.194 | 2.2233 | 349.66 | 2.348 | 12.3973 | 1.876 | 17.934 | 15.85 | 881 | 88.6667 | 0
2019-04-18 10:00:00 | 1.46 | 323.31 | 1.694 | 355.28 | 1.8 | 7.564 | 0.848 | 8.638 | 16.244 | 881 | 86.94 | 0
2019-04-18 10:15:00 | 1.1567 | 262.194 | 1.3413 | 288.1253 | 1.2853 | 328.8 | 0.23933 | 310.862 | 16.6493 | 881 | 85.1467 | 0
2019-04-18 10:30:00 | 0.705 | 20.2 | 0.82 | 22.2 | 0.445 | 334.1 | 0.14 | 272.8 | 16.78 | 881 | 85 | 0
2019-04-18 10:45:00 | 0.66667 | 209.22 | 0.77 | 229.9133 | 0.32333 | 311.9667 | 0.10667 | 273.1 | 17.0433 | 881 | 84.0333 | 0
2019-04-18 11:00:00 | 0.57 | 21.41 | 0.66 | 23.52 | 0.15 | 291.2 | 0.06 | 258.9 | 17.07 | 881 | 84.4 | 0
2019-04-18 11:15:00 | 0.38 | 187.4547 | 0.44333 | 205.9933 | 0.424 | 169.7 | 0.49733 | 180.4267 | 18.4953 | 881 | 81.2333 | 0
2019-04-18 11:30:00 | 0.728 | 141.26 | 0.846 | 155.22 | 0.844 | 146.28 | 0.294 | 198.1 | 18.804 | 881.6 | 81.12 | 0
2019-04-18 11:45:00 | 0.59067 | 158.7587 | 0.678 | 174.46 | 0.58 | 160.24 | 0.398 | 181.4867 | 18.9987 | 882 | 81.4133 | 0
2019-04-18 12:00:00 | 0.668 | 163.324 | 0.778 | 179.48 | 0.706 | 176.84 | 0.864 | 225.7 | 19.574 | 882 | 78.63 | 0
2019-04-18 12:15:00 | 1.4 | 140.7807 | 1.614 | 154.6933 | 1.648 | 188.7933 | 1.6373 | 180.1467 | 20.2427 | 882 | 74.41 | 0
2019-04-18 12:30:00 | 1.226 | 146.616 | 1.41 | 161.12 | 1.54 | 172.7 | 1.462 | 162 | 20.71 | 882 | 71.134 | 0
2019-04-18 12:45:00 | 1.13 | 110.8747 | 1.306 | 121.84 | 1.4813 | 198.9933 | 1.4633 | 174.0133 | 21.094 | 882 | 65.9793 | 0
2019-04-18 13:00:00 | 1.168 | 132.79 | 1.342 | 145.92 | 1.64 | 181.96 | 1.36 | 189.78 | 21.822 | 882 | 63.108 | 0
2019-04-18 13:15:00 | 1.5693 | 129.7407 | 1.818 | 142.5733 | 1.88 | 188.7733 | 1.572 | 180.0733 | 21.946 | 882 | 64.5067 | 0
2019-04-18 13:30:00 | 1.94 | 166.42 | 2.236 | 182.88 | 2.262 | 182.1 | 2.404 | 175.64 | 22.302 | 882 | 62.314 | 0
2019-04-18 13:45:00 | 2.5533 | 138.2733 | 2.9453 | 151.9467 | 2.8607 | 124.8333 | 2.872 | 158.6933 | 22.5247 | 882 | 58.97 | 0
2019-04-18 14:00:00 | 3.138 | 146.496 | 3.608 | 160.98 | 3.582 | 155.6 | 3.556 | 156.2 | 22.566 | 882 | 54.214 | 0
2019-04-18 14:15:00 | 3.214 | 158.012 | 3.6933 | 173.6333 | 3.8953 | 143.1733 | 3.908 | 161.64 | 23.1073 | 882 | 52.2433 | 0.80733
2019-04-18 14:30:00 | 3.148 | 134.174 | 3.622 | 147.44 | 3.892 | 164.02 | 4.324 | 156.64 | 23.4 | 882 | 52.404 | 1.504
2019-04-18 14:45:00 | 3.4013 | 160.4153 | 3.91 | 176.28 | 4.0973 | 171.4867 | 4.1933 | 154.0267 | 23.688 | 882 | 51.412 | 2.2107
2019-04-18 15:00:00 | 3.72 | 139.23 | 4.28 | 153 | 4.53 | 169.9 | 4.33 | 163.5 | 23.58 | 882 | 51.5 | 1.856
2019-04-18 15:15:00 | 3.2307 | 160.1287 | 3.7167 | 175.96 | 4.0253 | 162.2 | 4.1273 | 180.58 | 23.0573 | 881 | 55.394 | 0.462
2019-04-18 15:30:00 | 2.456 | 129.608 | 2.82 | 142.42 | 3.066 | 165.18 | 3.296 | 176.32 | 23.35 | 881 | 55.294 | 0.35867
2019-04-18 15:45:00 | 2.3893 | 159.0493 | 2.748 | 174.78 | 3.07 | 186.9667 | 3.0867 | 194.5467 | 24.0913 | 881 | 52.382 | 0.092667
2019-04-18 16:00:00 | 2.224 | 146.258 | 2.56 | 160.72 | 2.768 | 202.72 | 2.944 | 240.24 | 24.032 | 881 | 51.558 | 0.82867
2019-04-18 16:15:00 | 3.008 | 187.0233 | 3.456 | 205.52 | 4.236 | 236.6267 | 4.3373 | 231.0133 | 23.3587 | 880.7333 | 54.498 | 1.5553
2019-04-18 16:30:00 | 2.888 | 174.792 | 3.318 | 192.08 | 4.194 | 236.26 | 4.348 | 238 | 23.038 | 880 | 55.932 | 0.14333
2019-04-18 16:45:00 | 2.2173 | 207.8707 | 2.554 | 228.4267 | 3.31 | 245.6067 | 3.496 | 249.5467 | 23.0367 | 880 | 56.1293 | 0.25267
2019-04-18 17:00:00 | 2.406 | 181.19 | 2.776 | 199.1 | 3.752 | 242.5 | 3.968 | 247.72 | 23.074 | 880 | 57.464 | 1.178
2019-04-18 17:15:00 | 2.206 | 183.0633 | 2.5387 | 201.1667 | 3.264 | 237.66 | 3.4253 | 243.4 | 22.8727 | 879.7333 | 58.4133 | 0.35933
2019-04-18 17:30:00 | 1.548 | 171.518 | 1.786 | 188.48 | 2.296 | 219.76 | 2.408 | 229.7 | 22.83 | 879 | 59.206 | 0.05
2019-04-18 17:45:00 | 1.6947 | 179.366 | 1.9553 | 197.1067 | 2.5853 | 236.08 | 2.684 | 231.0333 | 22.8167 | 879 | 59.49 | 0.35533
2019-04-18 18:00:00 | 1.616 | 162.584 | 1.868 | 178.66 | 2.494 | 215.8 | 2.522 | 236.34 | 22.65 | 879 | 59.972 | 1.3353
2019-04-18 18:15:00 | 1.4947 | 172.872 | 1.7173 | 189.9667 | 2.21 | 225.8933 | 2.47 | 233.5933 | 22.4593 | 879 | 61.28 | 1.5
2019-04-18 18:30:00 | 1.626 | 160.576 | 1.876 | 176.46 | 2.402 | 212.64 | 2.59 | 230.22 | 22.212 | 879 | 62.052 | 1.3573
2019-04-18 18:45:00 | 1.4207 | 163.7413 | 1.6373 | 179.9267 | 2.3367 | 231.2133 | 2.2647 | 237.7533 | 21.964 | 879 | 63.1267 | 1.1
2019-04-18 19:00:00 | 1.292 | 175.144 | 1.492 | 192.46 | 2.12 | 221.06 | 2.256 | 226.48 | 21.82 | 879 | 63.458 | 0.76533
2019-04-18 19:15:00 | 0.812 | 172.1333 | 0.944 | 189.1533 | 1.436 | 225.4067 | 1.4667 | 227.7067 | 21.6773 | 879 | 63.9887 | 0.454
2019-04-18 19:30:00 | 0.588 | 174.17 | 0.684 | 191.4 | 1.124 | 213.62 | 1.422 | 232.14 | 21.62 | 879 | 64.086 | 0.144
2019-04-18 19:45:00 | 1.1373 | 174.1407 | 1.316 | 191.36 | 1.984 | 220.1133 | 2.39 | 239.54 | 21.4427 | 879 | 64.9527 | 0.089333
2019-04-18 20:00:00 | 1.412 | 176.12 | 1.624 | 193.54 | 2.344 | 227.34 | 2.778 | 236.9 | 21.38 | 879 | 65.42 | 0.39867
2019-04-18 20:15:00 | 1.4773 | 176.832 | 1.704 | 194.3133 | 2.4853 | 223.9533 | 2.906 | 230.6333 | 21.3347 | 879 | 65.7973 | 0.14733
2019-04-18 20:30:00 | 1.242 | 180.288 | 1.432 | 198.12 | 2.238 | 220.56 | 2.538 | 228.46 | 21.286 | 879 | 66.118 | 0.032
2019-04-18 20:45:00 | 1.0367 | 182.36 | 1.196 | 200.4 | 1.8127 | 204.1067 | 2.0073 | 220.2467 | 21.2207 | 879 | 66.2793 | 0
2019-04-18 21:00:00 | 0.946 | 182.36 | 1.09 | 200.4 | 1.662 | 201.6 | 1.96 | 222.34 | 21.058 | 879.6 | 66.938 | 0
2019-04-18 21:15:00 | 0.906 | 182.2853 | 1.0487 | 200.3067 | 1.6873 | 200.4 | 1.9693 | 221.82 | 20.8487 | 880 | 67.9193 | 0
2019-04-18 21:30:00 | 0.87 | 182.328 | 1 | 200.36 | 1.68 | 189.24 | 1.55 | 210.88 | 20.76 | 880 | 68.41 | 0
2019-04-18 21:45:00 | 1.054 | 158.0907 | 1.2147 | 173.72 | 1.864 | 184.3067 | 1.5887 | 200.2 | 20.8627 | 880 | 68.0647 | 0
2019-04-18 22:00:00 | 1.046 | 159.56 | 1.21 | 175.34 | 1.82 | 179.1 | 1.536 | 187.04 | 20.882 | 880 | 68.106 | 0
2019-04-18 22:15:00 | 1.35 | 156.392 | 1.554 | 171.86 | 2.152 | 178.7667 | 1.9853 | 175.6133 | 20.8967 | 880 | 68.4287 | 0
2019-04-18 22:30:00 | 1.226 | 156.62 | 1.408 | 172.1 | 1.952 | 178.72 | 1.694 | 180.8 | 20.866 | 880 | 68.782 | 0
2019-04-18 22:45:00 | 1.2007 | 156.5267 | 1.3787 | 172.0067 | 1.948 | 178.8267 | 1.6393 | 183.1333 | 20.8127 | 880.9333 | 69.0793 | 0
2019-04-18 23:00:00 | 1.328 | 157.126 | 1.534 | 172.66 | 1.952 | 181.96 | 1.73 | 185.9 | 20.792 | 881 | 69.526 | 0
2019-04-18 23:15:00 | 1.116 | 173.574 | 1.2887 | 190.74 | 1.82 | 185.3067 | 1.7073 | 187.9133 | 20.6827 | 881 | 70.094 | 0
2019-04-18 23:30:00 | 0.712 | 174.72 | 0.82 | 192 | 1.372 | 185.46 | 1.248 | 188.5 | 20.61 | 881 | 70.3 | 0
2019-04-18 23:45:00 | 0.308 | 173.5333 | 0.35467 | 190.6933 | 0.58267 | 181.22 | 0.65733 | 188.5933 | 20.5793 | 881 | 70.2427 | 0