## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-19 00:00:00 | 0.38429 | 157.6357 | 0.44143 | 173.2143 | 0.69714 | 169.7 | 0.79857 | 179.4571 | 20.4643 | 881 | 70.4943 | 0
2019-04-19 00:15:00 | 0.24867 | 148.16 | 0.29133 | 162.8 | 0.48467 | 169.7 | 0.17467 | 172.5733 | 20.24 | 881 | 71.4547 | 0
2019-04-19 00:30:00 | 0.396 | 148.16 | 0.462 | 162.8 | 0.784 | 169.7 | 0.24 | 161.82 | 20.438 | 881 | 70.576 | 0
2019-04-19 00:45:00 | 0.35867 | 148.16 | 0.414 | 162.8 | 0.71067 | 169.7 | 1.364 | 154.4867 | 20.4527 | 881 | 70.7867 | 0
2019-04-19 01:00:00 | 0.14 | 148.208 | 0.174 | 162.86 | 0.28 | 168.98 | 1.64 | 152.76 | 20.168 | 881 | 71.966 | 0
2019-04-19 01:15:00 | 0.02 | 195.288 | 0.022 | 214.5933 | 0.026667 | 158.7933 | 1.4813 | 152 | 20.0907 | 881 | 72.0233 | 0
2019-04-19 01:30:00 | 0 | 324.87 | 0 | 357 | 0 | 158.1 | 1.122 | 152 | 20.01 | 881 | 72.49 | 0
2019-04-19 01:45:00 | 0.41067 | 306.7913 | 0.47733 | 337.12 | 0.064 | 158.1 | 0.066 | 152.0933 | 20.01 | 881 | 72.5407 | 0
2019-04-19 02:00:00 | 0.96 | 302.44 | 1.102 | 332.34 | 0.756 | 158.16 | 0 | 152.04 | 20.01 | 880.4 | 72.52 | 0
2019-04-19 02:15:00 | 1.3853 | 292.584 | 1.59 | 321.5133 | 1.4213 | 158.2 | 0.006667 | 75.4387 | 19.8753 | 880 | 72.8493 | 0
2019-04-19 02:30:00 | 0.994 | 285.374 | 1.14 | 313.6 | 0.932 | 158.14 | 0 | 69.952 | 19.878 | 880 | 72.534 | 0
2019-04-19 02:45:00 | 0.41267 | 289.6313 | 0.48267 | 318.2667 | 0.25067 | 200.6333 | 0 | 69.94 | 20.022 | 880 | 71.734 | 0
2019-04-19 03:00:00 | 1.2 | 313.86 | 1.382 | 344.9 | 1.266 | 322.76 | 0.12 | 32.698 | 19.694 | 880 | 73.736 | 0
2019-04-19 03:15:00 | 1.7573 | 298.036 | 2.018 | 327.5133 | 1.8993 | 331.3333 | 0.47467 | 7.8047 | 19.246 | 880 | 75.1187 | 0
2019-04-19 03:30:00 | 1.356 | 296.992 | 1.564 | 326.36 | 1.558 | 338.56 | 0.524 | 193.8 | 19.302 | 880 | 74.77 | 0
2019-04-19 03:45:00 | 1.836 | 305.0707 | 2.1187 | 335.24 | 1.9913 | 348.5733 | 0.716 | 330.4933 | 19.278 | 880 | 74.8447 | 0
2019-04-19 04:00:00 | 2.15 | 321.5613 | 2.4707 | 353.36 | 2.3553 | 166.8507 | 0.71933 | 341.92 | 18.9253 | 880 | 76.302 | 0
2019-04-19 04:15:00 | 2.2413 | 320.93 | 2.5873 | 352.6667 | 2.4393 | 1.7653 | 0.332 | 342.42 | 18.654 | 880 | 77.324 | 0
2019-04-19 04:30:00 | 2.154 | 321.654 | 2.476 | 353.46 | 2.384 | 211.416 | 0.448 | 356.8 | 18.704 | 879.4 | 77.052 | 0
2019-04-19 04:45:00 | 2.422 | 316.7233 | 2.7827 | 348.0467 | 2.8587 | 63.8467 | 1.9547 | 38.0453 | 18.3347 | 879 | 79.412 | 0
2019-04-19 05:00:00 | 2.864 | 125.574 | 3.294 | 137.99 | 3.698 | 4.2 | 3.588 | 29.42 | 17.91 | 879 | 81.78 | 0
2019-04-19 05:15:00 | 3.4773 | 88.962 | 4.0033 | 97.7633 | 4.3167 | 9.236 | 4.5947 | 25.9787 | 17.738 | 879 | 82.62 | 0.724
2019-04-19 05:30:00 | 3.644 | 321.798 | 4.192 | 353.62 | 4.48 | 216.744 | 4.5 | 14.36 | 17.488 | 879 | 83.84 | 0.19667
2019-04-19 05:45:00 | 3.704 | 317.4567 | 4.2613 | 348.8467 | 4.184 | 34.5 | 4.148 | 27.1013 | 17.748 | 879 | 82.4667 | 0.11267
2019-04-19 06:00:00 | 3.538 | 314.588 | 4.068 | 345.7 | 4.162 | 3.586 | 4.008 | 26.324 | 17.89 | 879 | 81.2 | 0.248
2019-04-19 06:15:00 | 3.6413 | 315.2153 | 4.192 | 346.3867 | 4.2753 | 0.52333 | 4.222 | 3.5867 | 17.9753 | 878.3333 | 80.6667 | 0
2019-04-19 06:30:00 | 3.558 | 305.35 | 4.092 | 335.54 | 4.234 | 0.856 | 4.132 | 3.004 | 18.04 | 879 | 80.38 | 0
2019-04-19 06:45:00 | 2.6647 | 113.7433 | 3.068 | 124.9933 | 4.05 | 238.4067 | 3.9627 | 23.348 | 17.9173 | 879 | 81.1267 | 0
2019-04-19 07:00:00 | 2.72 | 130.994 | 3.13 | 143.942 | 4.092 | 6.504 | 4.074 | 34.348 | 17.836 | 879 | 81.96 | 0
2019-04-19 07:15:00 | 2.9267 | 17.0927 | 3.3673 | 18.7753 | 4.32 | 10.764 | 4.0673 | 6.98 | 17.684 | 879 | 83.48 | 0.064667
2019-04-19 07:30:00 | 3.428 | 193.63 | 3.952 | 212.776 | 4.41 | 4.408 | 4.618 | 11.846 | 17.454 | 879 | 84.54 | 0.358
2019-04-19 07:45:00 | 3.4133 | 119.5607 | 3.9307 | 131.3867 | 4.518 | 12.3027 | 4.8553 | 16.4993 | 17.2447 | 879.2667 | 85.5533 | 0.106
2019-04-19 08:00:00 | 3.466 | 320.14 | 3.984 | 351.8 | 4.452 | 20.51 | 4.49 | 26.954 | 17.402 | 880 | 84.8 | 0
2019-04-19 08:15:00 | 3.538 | 311.1293 | 4.0673 | 341.9 | 4.3433 | 5.0907 | 3.9393 | 10.9393 | 17.6953 | 880 | 83.6667 | 0.472
2019-04-19 08:30:00 | 3.51 | 315.2253 | 4.0373 | 346.3933 | 4.51 | 8.4547 | 4.3513 | 17.5527 | 17.998 | 880 | 82.8467 | 1.22
2019-04-19 08:45:00 | 3.5173 | 312.8727 | 4.0467 | 343.82 | 4.458 | 3.9773 | 4.3587 | 13.916 | 18.0447 | 880 | 83.0267 | 1.374
2019-04-19 09:00:00 | 3.724 | 308.216 | 4.292 | 338.7 | 4.512 | 8.286 | 4.482 | 16.498 | 17.914 | 880 | 83.92 | 0.28933
2019-04-19 09:15:00 | 3.3933 | 231.8053 | 3.9 | 254.7187 | 4.292 | 244.362 | 4.018 | 7.67 | 17.8593 | 880 | 83.6267 | 0.15867
2019-04-19 09:30:00 | 3.1867 | 141.2493 | 3.6693 | 155.2173 | 4.2553 | 21.26 | 3.972 | 10.5793 | 18.052 | 880 | 83.4 | 0
2019-04-19 09:45:00 | 3.2907 | 246.9293 | 3.7813 | 271.3507 | 4.1287 | 2.0507 | 4.3947 | 11.6153 | 18.3907 | 880.9333 | 82.28 | 0.52667
2019-04-19 10:00:00 | 3.86 | 113.732 | 4.444 | 124.976 | 4.816 | 2.908 | 4.858 | 17.172 | 18.634 | 881 | 81.36 | 0.21867
2019-04-19 10:15:00 | 3.532 | 308.888 | 4.0693 | 339.4333 | 4.472 | 3.44 | 5.0713 | 14.6227 | 18.862 | 881 | 80.04 | 0
2019-04-19 10:30:00 | 2.926 | 227.352 | 3.374 | 249.84 | 4.162 | 11.914 | 4.342 | 15.6 | 19.252 | 881 | 79.316 | 0
2019-04-19 10:45:00 | 1.9167 | 219.2827 | 2.2047 | 240.96 | 3.2633 | 8.186 | 3.3993 | 10.7427 | 19.928 | 881.2667 | 78.0307 | 0
2019-04-19 11:00:00 | 1.996 | 9.684 | 2.302 | 10.644 | 2.976 | 9.294 | 3.104 | 11.954 | 20.284 | 882 | 76.35 | 0
2019-04-19 11:15:00 | 0.68667 | 9.588 | 0.794 | 10.5267 | 1.0893 | 14.962 | 1.544 | 58.9913 | 20.0427 | 882 | 77.2087 | 0.26733
2019-04-19 11:30:00 | 0.276 | 64.994 | 0.318 | 71.416 | 0.48 | 215.608 | 0.906 | 43.406 | 19.712 | 882 | 79.948 | 0.59333
2019-04-19 11:45:00 | 0.72267 | 137.0233 | 0.83133 | 150.5667 | 0.908 | 176.6467 | 0.69133 | 288.8647 | 18.664 | 882 | 88.84 | 0.070667
2019-04-19 12:00:00 | 0.224 | 142.294 | 0.264 | 156.36 | 0.294 | 163.92 | 0.264 | 211.56 | 18.454 | 882 | 89.88 | 0
2019-04-19 12:15:00 | 0.272 | 140.2967 | 0.324 | 154.1733 | 0.326 | 167.0933 | 0.34667 | 216.88 | 18.7513 | 882 | 90.2933 | 0.45667
2019-04-19 12:30:00 | 1.032 | 149.15 | 1.198 | 163.9 | 1.38 | 190.3 | 0.888 | 182.6 | 18.604 | 882 | 91.1 | 0.77867
2019-04-19 12:45:00 | 1.948 | 151.2207 | 2.2473 | 166.18 | 2.2747 | 193.5267 | 1.972 | 206.52 | 18.1627 | 882 | 93.1933 | 0.376
2019-04-19 13:00:00 | 2.514 | 168.714 | 2.892 | 185.4 | 3.282 | 211.8 | 3.104 | 218.22 | 17.634 | 882 | 95.88 | 0.52867
2019-04-19 13:15:00 | 1.1687 | 212.3913 | 1.3467 | 233.3867 | 1.9127 | 242.464 | 2.1827 | 322.6333 | 17.3727 | 881.7333 | 96.7867 | 1.3187
2019-04-19 13:30:00 | 2.53 | 320.56 | 2.908 | 352.26 | 3.574 | 6.834 | 3.686 | 151.676 | 17.476 | 881 | 96.74 | 1.822
2019-04-19 13:45:00 | 3.0967 | 310.7813 | 3.5587 | 341.5133 | 4.1873 | 13.1247 | 4.2887 | 24.6093 | 18.264 | 880.7333 | 95.26 | 1.646
2019-04-19 14:00:00 | 2.996 | 306.826 | 3.454 | 337.16 | 3.842 | 6.11 | 3.714 | 19.17 | 18.994 | 880 | 91.04 | 0.562
2019-04-19 14:15:00 | 3.232 | 237.334 | 3.7153 | 260.7973 | 3.978 | 321.2073 | 3.6913 | 78.8513 | 19.4887 | 880 | 89.56 | 0
2019-04-19 14:30:00 | 3.1 | 196.24 | 3.57 | 215.636 | 3.632 | 338.96 | 3.5 | 313.58 | 20.186 | 880 | 86.6 | 0
2019-04-19 14:45:00 | 2.4573 | 53.4427 | 2.8273 | 58.7267 | 3.2667 | 24.6013 | 2.88 | 230.1187 | 19.7153 | 880.9333 | 87.12 | 0
2019-04-19 15:00:00 | 1.8986 | 185.61 | 2.1814 | 203.9643 | 2.5557 | 202.1057 | 2.4129 | 197.6443 | 19.6129 | 881 | 87.0286 | 0
2019-04-19 15:15:00 | 1.704 | 221.632 | 1.958 | 243.5453 | 2.7353 | 43.728 | 2.7007 | 36.168 | 19.9793 | 880.0667 | 85.42 | 0
2019-04-19 15:30:00 | 2.382 | 18.71 | 2.74 | 20.564 | 3.388 | 220.492 | 3.284 | 3.254 | 20.412 | 880 | 84.66 | 0
2019-04-19 15:45:00 | 2.254 | 19.2807 | 2.6013 | 21.1773 | 3.4693 | 258.5747 | 2.9947 | 236.6767 | 20.512 | 880 | 86.26 | 0
2019-04-19 16:00:00 | 2.236 | 42.746 | 2.572 | 46.964 | 3.168 | 14.91 | 2.896 | 17.302 | 20.256 | 880 | 86.94 | 0
2019-04-19 16:15:00 | 1.7747 | 4.6087 | 2.0453 | 5.0573 | 2.568 | 10.0607 | 2.2093 | 17.7687 | 20.652 | 879.3333 | 85.34 | 0
2019-04-19 16:30:00 | 1.646 | 185.934 | 1.894 | 204.312 | 2.288 | 222.348 | 2.046 | 211.184 | 20.982 | 879.4 | 83.32 | 0
2019-04-19 16:45:00 | 1.6447 | 25.5233 | 1.8967 | 28.04 | 2.5853 | 27.4507 | 2.1887 | 136.1733 | 20.8313 | 879 | 83.5733 | 0
2019-04-19 17:00:00 | 1.608 | 3.24 | 1.856 | 3.558 | 1.948 | 208.796 | 1.94 | 344.72 | 20.49 | 879 | 84.74 | 0
2019-04-19 17:15:00 | 1.3007 | 88.426 | 1.498 | 97.176 | 1.662 | 354.6867 | 1.4667 | 346.5533 | 20.2307 | 879 | 86.2267 | 0
2019-04-19 17:30:00 | 0.62 | 312.456 | 0.708 | 343.36 | 0.86 | 352.02 | 0.424 | 184.28 | 20.35 | 879 | 86.86 | 0
2019-04-19 17:45:00 | 0.628 | 320.936 | 0.72133 | 352.68 | 1.1573 | 45.536 | 0.872 | 16.6613 | 20.3607 | 879 | 87.6733 | 0
2019-04-19 18:00:00 | 0.976 | 128.684 | 1.128 | 141.41 | 1.47 | 13.452 | 0.876 | 214.812 | 20.44 | 879 | 87.08 | 0
2019-04-19 18:15:00 | 1.0133 | 6.276 | 1.164 | 6.89 | 1.7167 | 27.6 | 1.28 | 44.2227 | 20.356 | 879 | 88.5867 | 0.048
2019-04-19 18:30:00 | 0.292 | 0.104 | 0.344 | 0.11 | 0.558 | 22.914 | 0.344 | 8.2 | 20.224 | 879 | 88.52 | 0
2019-04-19 18:45:00 | 0.15067 | 21.1693 | 0.17733 | 23.2513 | 0.11933 | 19.1647 | 0 | 8.16 | 19.9947 | 879 | 88.5867 | 0
2019-04-19 19:00:00 | 0.22 | 22.546 | 0.266 | 24.776 | 0.282 | 19.15 | 0 | 8.16 | 19.896 | 879 | 89.4 | 0
2019-04-19 19:15:00 | 0.006667 | 22.362 | 0.008667 | 24.568 | 0.012667 | 19.234 | 0.086667 | 130.3707 | 19.8747 | 879 | 90.24 | 0
2019-04-19 19:30:00 | 0.054 | 22.17 | 0.072 | 24.36 | 0.102 | 19.31 | 0.306 | 139.1 | 19.818 | 879 | 90.5 | 0
2019-04-19 19:45:00 | 0.07 | 176.8673 | 0.082667 | 194.3547 | 0.134 | 39.2393 | 0.49 | 142.26 | 19.7393 | 879 | 91.1533 | 0
2019-04-19 20:00:00 | 0.102 | 187.92 | 0.118 | 206.5 | 0.196 | 94.22 | 0.428 | 143.48 | 19.528 | 879 | 92.06 | 0
2019-04-19 20:15:00 | 0.214 | 314.2227 | 0.24733 | 345.3 | 0.20667 | 69.1933 | 0.10933 | 143.9733 | 19.3307 | 879 | 92.7667 | 0.21467
2019-04-19 20:30:00 | 0.412 | 305.378 | 0.47 | 335.58 | 0.44 | 203.16 | 0 | 143.9 | 19.212 | 879 | 93.04 | 0.802
2019-04-19 20:45:00 | 0.27867 | 282.47 | 0.33133 | 310.4067 | 0.536 | 244.9533 | 0.60667 | 206.4333 | 19.188 | 879 | 92.24 | 0.48133
2019-04-19 21:00:00 | 0.096 | 247.71 | 0.112 | 272.2 | 0.192 | 231.2 | 0.22 | 210.9 | 19.284 | 879 | 91.46 | 0.052667
2019-04-19 21:15:00 | 0.25067 | 295.8607 | 0.292 | 325.12 | 0.42667 | 207.1787 | 0.23733 | 210.9 | 18.98 | 879.9333 | 93.06 | 0
2019-04-19 21:30:00 | 1.14 | 313.394 | 1.318 | 344.38 | 1.992 | 9.386 | 1.43 | 210.9 | 18.684 | 880 | 95.08 | 0
2019-04-19 21:45:00 | 2.176 | 309.9033 | 2.5087 | 340.5533 | 3.148 | 16.562 | 3.058 | 36.16 | 18.4747 | 880 | 96.48 | 0
2019-04-19 22:00:00 | 2.784 | 138.504 | 3.21 | 152.206 | 3.98 | 10.538 | 4.148 | 20.98 | 18.272 | 880 | 97.26 | 2.618
2019-04-19 22:15:00 | 2.8507 | 169.796 | 3.2833 | 186.59 | 4.4853 | 10.0607 | 4.6827 | 24.2707 | 18.1067 | 880 | 97.82 | 3.838
2019-04-19 22:30:00 | 2.892 | 202.7 | 3.338 | 222.744 | 4.336 | 16.768 | 4.722 | 16.928 | 18.19 | 880 | 97.28 | 4.5067
2019-04-19 22:45:00 | 2.996 | 309.6107 | 3.446 | 340.2267 | 4.296 | 11.3507 | 4.33 | 28.8627 | 18.2447 | 880 | 96.8667 | 4.288
2019-04-19 23:00:00 | 3.022 | 305.956 | 3.472 | 336.2 | 4.768 | 13.902 | 4.52 | 19.248 | 18.23 | 880 | 97.36 | 3.8313
2019-04-19 23:15:00 | 3.0207 | 315.8253 | 3.472 | 347.0533 | 4.4173 | 6.1447 | 4.1493 | 28.892 | 18.3713 | 880 | 98.0667 | 4.4013
2019-04-19 23:30:00 | 3.088 | 313.85 | 3.55 | 344.88 | 4.46 | 221.296 | 4.274 | 8.776 | 18.41 | 880 | 98.04 | 2.3073
2019-04-19 23:45:00 | 3.1333 | 25.1753 | 3.6033 | 27.66 | 4.3613 | 260.9613 | 4.254 | 0.24 | 18.4447 | 880 | 97.6133 | 1.4233