## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-20 00:00:00 | 3.3171 | 93.7029 | 3.8171 | 102.9643 | 4.48 | 2.0857 | 4.3571 | 34.4857 | 18.5971 | 880 | 96.44 | 0.58929
2019-04-20 00:15:00 | 2.842 | 220.762 | 3.2673 | 242.6 | 4.3087 | 3.4993 | 4.4813 | 6.6553 | 18.632 | 880 | 95.5267 | 1.1473
2019-04-20 00:30:00 | 3.052 | 12.312 | 3.508 | 13.534 | 5.03 | 13.404 | 4.892 | 8.928 | 18.556 | 880 | 95.8 | 4.258
2019-04-20 00:45:00 | 2.916 | 287.6693 | 3.356 | 316.1193 | 5.3887 | 16.58 | 5.26 | 16.1667 | 18.3693 | 880 | 96.92 | 7.172
2019-04-20 01:00:00 | 3.612 | 276.844 | 4.152 | 304.22 | 6.078 | 10.674 | 6.17 | 9.924 | 18.152 | 880 | 98.18 | 8.9393
2019-04-20 01:15:00 | 4.1547 | 229.46 | 4.7827 | 252.1533 | 7.102 | 104.1887 | 7.3327 | 6.7067 | 18.004 | 879.7333 | 98.98 | 7.9367
2019-04-20 01:30:00 | 4.226 | 199.926 | 4.868 | 219.7 | 6.62 | 141.666 | 6.836 | 9.262 | 17.94 | 879 | 99.54 | 8.2027
2019-04-20 01:45:00 | 3.3933 | 129.6867 | 3.9153 | 142.5107 | 6.0573 | 8.6067 | 6.1547 | 6.3973 | 17.9213 | 879 | 99.8733 | 7.9827
2019-04-20 02:00:00 | 3.282 | 112.612 | 3.78 | 123.748 | 5.572 | 8.298 | 5.874 | 11.532 | 17.92 | 879 | 99.96 | 9.826
2019-04-20 02:15:00 | 3.3393 | 289.44 | 3.8413 | 318.0653 | 6.204 | 15.3687 | 6.562 | 16.772 | 17.8293 | 879 | 100 | 9.7153
2019-04-20 02:30:00 | 3.326 | 244.726 | 3.826 | 268.92 | 6.124 | 22.812 | 6.89 | 26.438 | 17.75 | 879.6 | 100 | 11.528
2019-04-20 02:45:00 | 4.4113 | 227.9927 | 5.074 | 250.5413 | 8.2707 | 12.4787 | 8.7353 | 26.1047 | 17.6927 | 879.3333 | 100 | 13.1427
2019-04-20 03:00:00 | 9.932 | 17.884 | 11.42 | 19.648 | 17.718 | 15.982 | 17.852 | 21.772 | 17.126 | 879.4 | 100 | 10.5167
2019-04-20 03:15:00 | 10.6613 | 245.0773 | 12.2707 | 269.3173 | 18.4073 | 18.6793 | 19.16 | 22.7693 | 14.8047 | 879.2667 | 100 | 9.9907
2019-04-20 03:30:00 | 11.422 | 288.144 | 13.142 | 316.64 | 19.96 | 25.026 | 20.688 | 32.768 | 13.476 | 880 | 100 | 12.1433
2019-04-20 03:45:00 | 10.6007 | 182.756 | 12.1927 | 200.8267 | 18.6027 | 19.8033 | 19.3413 | 35.4933 | 12.8493 | 879.7333 | 100 | 12.9387
2019-04-20 04:00:00 | 10.534 | 233.454 | 12.12 | 256.54 | 18.774 | 21.838 | 18.82 | 26.964 | 12.596 | 879 | 100 | 12.8367
2019-04-20 04:15:00 | 10.334 | 64.5993 | 11.8867 | 70.9853 | 18.6793 | 12.8887 | 19.1333 | 26.8547 | 12.504 | 879 | 100 | 13.0647
2019-04-20 04:30:00 | 9.7 | 16.29 | 11.166 | 17.904 | 17.356 | 7.398 | 17.482 | 25.006 | 12.476 | 879 | 100 | 13.1187
2019-04-20 04:45:00 | 9.2453 | 215.2713 | 10.63 | 236.5573 | 16.82 | 18.6313 | 16.9033 | 25.1527 | 12.4573 | 879.2667 | 100 | 12.7547
2019-04-20 05:00:00 | 9.382 | 291.174 | 10.786 | 319.96 | 17.118 | 21.05 | 17.412 | 26.424 | 12.438 | 880 | 100 | 12.416
2019-04-20 05:15:00 | 9.726 | 54.7313 | 11.186 | 60.1413 | 17.6527 | 19.866 | 18.004 | 27.7413 | 12.3727 | 879.0667 | 100 | 12.6927
2019-04-20 05:30:00 | 9.916 | 134.64 | 11.412 | 147.952 | 18.088 | 15.826 | 18.522 | 22.376 | 12.31 | 879 | 100 | 12.64
2019-04-20 05:45:00 | 9.4853 | 192.2493 | 10.9173 | 211.26 | 17.236 | 15.494 | 17.7913 | 22.2747 | 12.2433 | 879.9333 | 100 | 12.88
2019-04-20 06:00:00 | 9.222 | 228.312 | 10.604 | 250.88 | 16.782 | 21.386 | 17.418 | 25.656 | 12.154 | 880 | 100 | 15.466
2019-04-20 06:15:00 | 9.3393 | 213.324 | 10.7467 | 234.4133 | 16.9487 | 19.294 | 17.6567 | 23.788 | 12.0767 | 880 | 100 | 15.3747
2019-04-20 06:30:00 | 9.974 | 283.414 | 11.47 | 311.44 | 17.978 | 9.942 | 18.234 | 29.376 | 12.012 | 880 | 100 | 15.594
2019-04-20 06:45:00 | 9.6953 | 229.0553 | 11.1567 | 251.696 | 17.666 | 16.206 | 18.2753 | 31.204 | 11.972 | 880 | 100 | 15.8813
2019-04-20 07:00:00 | 9.892 | 135.058 | 11.374 | 148.404 | 18.012 | 15.662 | 18.624 | 22.908 | 11.94 | 880 | 100 | 21.1633
2019-04-20 07:15:00 | 10.188 | 305.8127 | 11.7167 | 336.0467 | 18.4053 | 17.318 | 18.9613 | 17.7693 | 11.8627 | 880 | 100 | 61.554
2019-04-20 07:30:00 | 10.524 | 307.8 | 12.108 | 338.24 | 19.026 | 21.644 | 19.482 | 26.238 | 11.812 | 880 | 100 | 61.1753
2019-04-20 07:45:00 | 10.5933 | 251.7307 | 12.192 | 276.6133 | 19.27 | 14.4507 | 19.4927 | 23.2727 | 11.764 | 880.9333 | 100 | 61.534
2019-04-20 08:00:00 | 10.016 | 111.436 | 11.518 | 122.444 | 18.288 | 4.892 | 18.588 | 25.46 | 11.74 | 881 | 100 | 61.7647
2019-04-20 08:15:00 | 10.0267 | 210.476 | 11.534 | 231.2893 | 18.188 | 15.448 | 18.428 | 25.992 | 11.7187 | 881 | 100 | 58.9713
2019-04-20 08:30:00 | 9.968 | 92.342 | 11.474 | 101.47 | 18.058 | 10.012 | 18.142 | 24.946 | 11.746 | 881 | 100 | 61.4907
2019-04-20 08:45:00 | 9.2507 | 74.8573 | 10.6393 | 82.2533 | 16.95 | 14.3333 | 16.824 | 23.7533 | 11.9113 | 881.2667 | 100 | 61.36
2019-04-20 09:00:00 | 9.24 | 247.746 | 10.636 | 272.24 | 16.936 | 13.104 | 16.72 | 21.564 | 12.018 | 882 | 100 | 61.164
2019-04-20 09:15:00 | 9.324 | 141.7727 | 10.7213 | 155.792 | 16.712 | 12.0107 | 16.6467 | 27.7 | 12.2487 | 882 | 98.9067 | 61.4713
2019-04-20 09:30:00 | 9.468 | 203.246 | 10.89 | 223.348 | 17.23 | 9.506 | 17.346 | 24.008 | 12.406 | 882 | 97.72 | 61.9993
2019-04-20 09:45:00 | 9.2107 | 157.4127 | 10.602 | 172.98 | 16.9033 | 25.418 | 17.29 | 24.6267 | 12.602 | 882 | 96.8667 | 62.5467
2019-04-20 10:00:00 | 9.252 | 129.848 | 10.646 | 142.68 | 16.89 | 20.506 | 17.226 | 31.3 | 12.728 | 882 | 96 | 61.256
2019-04-20 10:15:00 | 9.876 | 215.2507 | 11.3647 | 236.528 | 17.4513 | 24.7353 | 17.6807 | 31.676 | 13.0213 | 882 | 93.48 | 63.5447
2019-04-20 10:30:00 | 10.446 | 186.076 | 12.014 | 204.472 | 18.298 | 16.404 | 18.81 | 30.498 | 13.316 | 882 | 91.2 | 62.1807
2019-04-20 10:45:00 | 10.55 | 235.5907 | 12.138 | 258.88 | 18.57 | 21.4187 | 18.954 | 31.126 | 13.736 | 882 | 89.24 | 62.9727
2019-04-20 11:00:00 | 9.78 | 202.094 | 11.248 | 222.08 | 17.392 | 17.534 | 17.732 | 27.97 | 14.862 | 882.6 | 85.7 | 61.054
2019-04-20 11:15:00 | 9.4087 | 102.0087 | 10.8273 | 112.09 | 16.534 | 18.9573 | 17.4087 | 23.0067 | 16.2907 | 883 | 78.1633 | 60.6587
2019-04-20 11:30:00 | 9.68 | 301.598 | 11.142 | 331.42 | 16.936 | 18.23 | 17.372 | 24.146 | 17.336 | 883.6 | 72.254 | 59.736
2019-04-20 11:45:00 | 9.744 | 76.0407 | 11.2047 | 83.5547 | 16.972 | 18.298 | 17.784 | 25.1487 | 17.5 | 884 | 69.6367 | 56.4413
2019-04-20 12:00:00 | 9.764 | 15.576 | 11.236 | 17.116 | 16.964 | 15.258 | 17.606 | 25.37 | 17.248 | 884 | 68.816 | 56.0013
2019-04-20 12:15:00 | 9.3707 | 120.7773 | 10.7853 | 132.716 | 15.9773 | 19.0513 | 16.8687 | 37.9607 | 17.772 | 884 | 66.1933 | 58.1313
2019-04-20 12:30:00 | 9.25 | 149.398 | 10.634 | 164.17 | 15.9 | 21.58 | 17.454 | 37.18 | 17.778 | 884 | 64.93 | 56.214
2019-04-20 12:45:00 | 9.506 | 291.27 | 10.9313 | 320.0767 | 16.4253 | 17.46 | 16.9633 | 28.3013 | 17.8193 | 884 | 64.118 | 56.756
2019-04-20 13:00:00 | 9.086 | 307.812 | 10.448 | 338.26 | 15.718 | 15.804 | 16.514 | 31.834 | 17.952 | 884 | 63.262 | 58.526
2019-04-20 13:15:00 | 9.6227 | 259.658 | 11.0707 | 285.34 | 16.7127 | 19.144 | 17.5713 | 30.8433 | 18.1113 | 884 | 62.1627 | 57.4013
2019-04-20 13:30:00 | 9.478 | 186.838 | 10.9 | 205.32 | 16.584 | 221.84 | 17.282 | 11.03 | 18.024 | 884 | 62.142 | 58.4747
2019-04-20 13:45:00 | 9.842 | 106.7127 | 11.3227 | 117.26 | 17.18 | 33.124 | 17.7847 | 30.026 | 17.9187 | 884 | 62.222 | 59.594
2019-04-20 14:00:00 | 10.186 | 226.304 | 11.716 | 248.68 | 17.758 | 17.878 | 18.738 | 25.082 | 17.82 | 884 | 62.104 | 60
2019-04-20 14:15:00 | 9.91 | 270.4893 | 11.396 | 297.2267 | 17.1673 | 2.6607 | 18.0753 | 30.5607 | 18.044 | 883.0667 | 61.032 | 60.0507
2019-04-20 14:30:00 | 10.688 | 253.912 | 12.3 | 279.02 | 18.544 | 8.84 | 18.994 | 20.28 | 18.438 | 883 | 59.9 | 61.194
2019-04-20 14:45:00 | 10.4187 | 285.392 | 11.9893 | 313.62 | 18.0907 | 30.3293 | 18.7287 | 24.7267 | 18.7687 | 883 | 58.9773 | 62.046
2019-04-20 15:00:00 | 10.68 | 115.5843 | 12.28 | 127.0114 | 18.4271 | 23.2571 | 19.1643 | 31.3729 | 18.8071 | 883 | 57.8214 | 61.2313
2019-04-20 15:15:00 | 10.5547 | 170.8433 | 12.152 | 187.7387 | 18.456 | 24.6427 | 18.536 | 29.8827 | 19.356 | 882.3333 | 56.3107 | 59.0987
2019-04-20 15:30:00 | 10.168 | 181.892 | 11.698 | 199.876 | 17.584 | 11.194 | 17.652 | 35.8 | 19.19 | 883 | 56.116 | 59.946
2019-04-20 15:45:00 | 9.4027 | 93.9867 | 10.822 | 103.28 | 16.388 | 24.6193 | 16.9747 | 32.108 | 18.946 | 882.0667 | 56.6693 | 58.4887
2019-04-20 16:00:00 | 9.828 | 275.66 | 11.314 | 302.92 | 17.078 | 223.468 | 17.72 | 25.84 | 19 | 882 | 56.668 | 57.18
2019-04-20 16:15:00 | 8.464 | 189.4573 | 9.7327 | 208.2 | 14.7033 | 43.7093 | 15.1027 | 32.724 | 18.9933 | 882 | 56.6747 | 59.3273
2019-04-20 16:30:00 | 8.472 | 138.854 | 9.746 | 152.586 | 14.64 | 9.548 | 15.216 | 29.98 | 19.242 | 882 | 55.298 | 57.324
2019-04-20 16:45:00 | 8.3333 | 87.274 | 9.5833 | 95.9073 | 14.5413 | 17.4813 | 15.0333 | 33.8533 | 19.95 | 882 | 53.2473 | 53.96
2019-04-20 17:00:00 | 8.578 | 256.618 | 9.864 | 282 | 14.88 | 20.696 | 15.718 | 29.452 | 20.452 | 882 | 51.792 | 54.0493
2019-04-20 17:15:00 | 7.8687 | 315.6993 | 9.0507 | 346.92 | 13.7613 | 32.4 | 14.5393 | 39.032 | 20.212 | 882.9333 | 51.8533 | 54.8433
2019-04-20 17:30:00 | 7.68 | 136.364 | 8.836 | 149.838 | 13.496 | 21.384 | 13.862 | 25.776 | 20.026 | 883 | 52.95 | 54.0987
2019-04-20 17:45:00 | 7.4973 | 198.5653 | 8.636 | 218.1953 | 13.0307 | 25.2787 | 13.3393 | 25.472 | 19.61 | 883 | 53.842 | 51.5867
2019-04-20 18:00:00 | 7.606 | 233.976 | 8.75 | 257.12 | 13.256 | 26.554 | 13.57 | 27.382 | 19.752 | 883 | 53.446 | 50.676
2019-04-20 18:15:00 | 7.022 | 310.2707 | 8.0833 | 340.96 | 12.2507 | 15.586 | 12.4607 | 32.3273 | 19.7253 | 883 | 53.422 | 50.2293
2019-04-20 18:30:00 | 7.91 | 129.67 | 9.106 | 142.492 | 13.722 | 22.7 | 13.66 | 31.598 | 19.35 | 883 | 54.12 | 53.05
2019-04-20 18:45:00 | 7.298 | 182.0913 | 8.3993 | 200.1027 | 13.03 | 15.5267 | 13.5027 | 31.2447 | 18.746 | 883 | 56.4267 | 51.156
2019-04-20 19:00:00 | 6.84 | 159.424 | 7.88 | 175.192 | 12.556 | 21.464 | 13.224 | 29.57 | 18.166 | 883 | 58.498 | 54.2073
2019-04-20 19:15:00 | 6.8987 | 196.936 | 7.9493 | 216.4133 | 12.532 | 31.1053 | 13.0773 | 28.614 | 17.8927 | 882.0667 | 58.4047 | 50.4147
2019-04-20 19:30:00 | 6.82 | 214.354 | 7.856 | 235.54 | 12.64 | 21.35 | 12.622 | 29.588 | 17.57 | 882 | 58.81 | 53.0087
2019-04-20 19:45:00 | 6.8253 | 175.7313 | 7.8413 | 193.1133 | 12.4467 | 15.7407 | 12.338 | 17.7973 | 17.4473 | 882 | 58.5887 | 52.7007
2019-04-20 20:00:00 | 6.068 | 156.944 | 6.978 | 172.46 | 11.346 | 13.982 | 11.516 | 18.702 | 17.332 | 882 | 58.752 | 48.6707
2019-04-20 20:15:00 | 5.4213 | 147.8773 | 6.2367 | 162.5027 | 10.3007 | 18.322 | 10.9053 | 22.846 | 17.1573 | 882 | 59.424 | 46.4733
2019-04-20 20:30:00 | 5.568 | 177.294 | 6.4 | 194.824 | 10.504 | 23.208 | 11.162 | 24.508 | 17.04 | 882 | 60.066 | 48.6007
2019-04-20 20:45:00 | 5.372 | 44.61 | 6.1827 | 49.02 | 10.2667 | 21.772 | 10.6727 | 26.6613 | 16.8107 | 882.2667 | 61.77 | 50.254
2019-04-20 21:00:00 | 5.768 | 52.092 | 6.634 | 57.246 | 10.756 | 17.904 | 11.24 | 33.298 | 16.424 | 883 | 64.124 | 47.066
2019-04-20 21:15:00 | 5.5787 | 127.6533 | 6.418 | 140.2673 | 10.4227 | 29.4667 | 11.2573 | 24.3247 | 16.168 | 883 | 66.0507 | 45.17
2019-04-20 21:30:00 | 5.144 | 241.718 | 5.92 | 265.62 | 9.912 | 20.984 | 10.714 | 28.954 | 15.778 | 883 | 67.926 | 44.3493
2019-04-20 21:45:00 | 4.952 | 200.7607 | 5.692 | 220.6067 | 9.6013 | 24.3907 | 10.4953 | 34.382 | 15.6793 | 883 | 68.186 | 38.5633
2019-04-20 22:00:00 | 4.6 | 238.434 | 5.292 | 262 | 9.058 | 19.178 | 9.816 | 34.376 | 15.604 | 883 | 68.45 | 30.35
2019-04-20 22:15:00 | 4.3 | 170.17 | 4.9573 | 186.9867 | 8.37 | 20.254 | 9.0267 | 28.3507 | 15.876 | 883 | 66.59 | 24.0193
2019-04-20 22:30:00 | 3.872 | 199.766 | 4.462 | 219.52 | 7.184 | 18.724 | 7.82 | 32.818 | 16.23 | 883 | 64.72 | 18.486
2019-04-20 22:45:00 | 3.36 | 277.726 | 3.87 | 305.1867 | 6.1147 | 324.564 | 6.5187 | 12.838 | 16.3527 | 883 | 64.64 | 15.268
2019-04-20 23:00:00 | 3.156 | 252.056 | 3.632 | 276.98 | 5.936 | 137.114 | 5.662 | 11.852 | 16.17 | 883.6 | 66.174 | 13.8853
2019-04-20 23:15:00 | 2.8067 | 25.0373 | 3.2293 | 27.512 | 5.1453 | 4.3207 | 5.3753 | 22.7827 | 16.0273 | 884 | 66.9633 | 11.888
2019-04-20 23:30:00 | 2.786 | 166.148 | 3.202 | 182.576 | 5.42 | 18.758 | 5.55 | 23.986 | 15.62 | 884 | 69.706 | 10.3793
2019-04-20 23:45:00 | 2.554 | 291.5227 | 2.9367 | 320.3533 | 4.9093 | 19.9887 | 5.342 | 26.3847 | 14.9907 | 884 | 73.418 | 10.4533