## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-22 00:00:00 | 1.9643 | 189.38 | 2.2629 | 208.1 | 3.44 | 222.2143 | 3.7629 | 228.5571 | 18.41 | 883 | 63.13 | 2.1443
2019-04-22 00:15:00 | 1.7893 | 159.012 | 2.066 | 174.7333 | 2.85 | 208.8267 | 2.6807 | 212 | 18.302 | 883 | 63.8233 | 0.98733
2019-04-22 00:30:00 | 1.932 | 157.988 | 2.226 | 173.6 | 3.042 | 176.82 | 2.89 | 182.86 | 17.902 | 883 | 66.132 | 1.4053
2019-04-22 00:45:00 | 2.5213 | 169.4307 | 2.906 | 186.1867 | 3.3487 | 186.5533 | 4.0873 | 187.9267 | 17.614 | 883 | 68.584 | 1.922
2019-04-22 01:00:00 | 1.764 | 177.578 | 2.026 | 195.14 | 2.528 | 177.46 | 3.264 | 176.22 | 17.606 | 883 | 69.272 | 0.56667
2019-04-22 01:15:00 | 1.8267 | 138.41 | 2.106 | 152.1 | 2.6 | 163.0867 | 2.8933 | 186.66 | 17.4953 | 882.0667 | 71.248 | 0.54667
2019-04-22 01:30:00 | 1.956 | 157.088 | 2.252 | 172.62 | 2.868 | 165.02 | 2.968 | 173.5 | 17.088 | 882 | 73.672 | 1.6847
2019-04-22 01:45:00 | 1.3773 | 148.5747 | 1.5853 | 163.2733 | 2.2333 | 157.5667 | 2.6987 | 182.4067 | 16.72 | 882 | 76.632 | 0.878
2019-04-22 02:00:00 | 0.884 | 81.59 | 1.026 | 89.656 | 1.58 | 177.46 | 2.232 | 186.54 | 16.26 | 882 | 78.906 | 0.51733
2019-04-22 02:15:00 | 0.54667 | 76.77 | 0.63067 | 84.3573 | 1.0033 | 212.7 | 1.8087 | 199.74 | 16.028 | 882 | 80.5147 | 0.592
2019-04-22 02:30:00 | 0.664 | 281.396 | 0.766 | 309.22 | 0.368 | 221.54 | 0.932 | 188.36 | 16.202 | 882 | 79.202 | 0.27533
2019-04-22 02:45:00 | 1.4587 | 320.2787 | 1.6807 | 351.94 | 1.0053 | 306.9133 | 0.081333 | 182.8 | 15.4913 | 882 | 80.8553 | 0
2019-04-22 03:00:00 | 2.156 | 317.544 | 2.48 | 348.94 | 2.246 | 347.78 | 0.46 | 275.62 | 14.99 | 881.4 | 84.2 | 0
2019-04-22 03:15:00 | 2.6813 | 106.628 | 3.0827 | 117.1667 | 3.446 | 35.0347 | 2.4013 | 25.3293 | 14.4433 | 881 | 88.2533 | 0
2019-04-22 03:30:00 | 2.692 | 316.86 | 3.1 | 348.2 | 3.266 | 6.542 | 2.212 | 7.97 | 14.652 | 881 | 88.22 | 0
2019-04-22 03:45:00 | 2.6627 | 318.7747 | 3.068 | 350.3067 | 3.6207 | 10.5607 | 2.5587 | 17.5487 | 14.5693 | 881 | 88.4733 | 0
2019-04-22 04:00:00 | 3.234 | 317.124 | 3.722 | 348.48 | 4.224 | 14.58 | 3.288 | 19.908 | 14.428 | 881 | 88.06 | 0.063333
2019-04-22 04:15:00 | 3.5433 | 309.5947 | 4.078 | 340.2 | 4.4533 | 13.3453 | 4.256 | 24.5293 | 14.3667 | 881 | 87.9267 | 0.56067
2019-04-22 04:30:00 | 3.706 | 323.696 | 4.266 | 355.7 | 4.292 | 5.902 | 4.264 | 27.83 | 14.376 | 881 | 87.8 | 0.72267
2019-04-22 04:45:00 | 4.0847 | 219.8293 | 4.6993 | 241.564 | 4.6387 | 60.4367 | 4.484 | 2.4287 | 14.0133 | 881 | 90.36 | 1.026
2019-04-22 05:00:00 | 4.15 | 6.254 | 4.786 | 6.866 | 4.906 | 64.134 | 4.314 | 2.748 | 13.79 | 881 | 92.4 | 1.252
2019-04-22 05:15:00 | 4.0553 | 291.2927 | 4.6753 | 320.1033 | 4.766 | 99.258 | 4.5473 | 97.3613 | 13.6967 | 880.7333 | 93.0133 | 1.2813
2019-04-22 05:30:00 | 4.132 | 317.38 | 4.752 | 348.76 | 4.724 | 142.33 | 4.534 | 148.092 | 13.636 | 880 | 93.32 | 3.3467
2019-04-22 05:45:00 | 4.4107 | 98.1813 | 5.0747 | 107.8867 | 5.3787 | 11.966 | 5.4087 | 12.792 | 13.576 | 880 | 94.3067 | 4.75
2019-04-22 06:00:00 | 4.326 | 116.784 | 4.974 | 128.332 | 5.688 | 9.174 | 5.958 | 12.94 | 13.526 | 880 | 94.68 | 3.5873
2019-04-22 06:15:00 | 4.19 | 217.5627 | 4.83 | 239.0707 | 5.6133 | 9.0007 | 5.7833 | 19.644 | 13.5073 | 880 | 94.8267 | 4.3993
2019-04-22 06:30:00 | 4.162 | 9.38 | 4.796 | 10.304 | 5.568 | 6.7 | 5.832 | 7.464 | 13.576 | 880.6 | 94.84 | 3.426
2019-04-22 06:45:00 | 3.9833 | 84.3093 | 4.5867 | 92.6467 | 5.3493 | 2.412 | 5.3893 | 7.244 | 13.836 | 881 | 94.48 | 2.7987
2019-04-22 07:00:00 | 3.84 | 134.492 | 4.422 | 147.784 | 5.4 | 6.864 | 5.54 | 12.16 | 14.03 | 881 | 93.6 | 3.736
2019-04-22 07:15:00 | 3.4267 | 214.488 | 3.9473 | 235.6987 | 4.924 | 14.9467 | 5.3267 | 17.3187 | 13.8207 | 881 | 93.8 | 3.966
2019-04-22 07:30:00 | 3.082 | 190.112 | 3.548 | 208.904 | 4.652 | 8.376 | 5.296 | 10.4 | 13.588 | 881.6 | 94.48 | 4.9953
2019-04-22 07:45:00 | 3.1993 | 316.2653 | 3.688 | 347.5467 | 4.8493 | 2.6853 | 5.3027 | 7.2707 | 13.684 | 882 | 93.9333 | 5.1633
2019-04-22 08:00:00 | 3.248 | 314.952 | 3.736 | 346.1 | 4.628 | 2.45 | 5.222 | 8.882 | 13.642 | 882 | 94.02 | 5.11
2019-04-22 08:15:00 | 3.8893 | 245.6333 | 4.472 | 269.9213 | 5.3493 | 4.146 | 5.594 | 7.43 | 13.7873 | 882 | 93.8067 | 4.42
2019-04-22 08:30:00 | 4.278 | 203.764 | 4.918 | 223.912 | 5.692 | 10.246 | 5.862 | 9.018 | 14.188 | 882 | 92.46 | 5.83
2019-04-22 08:45:00 | 4.046 | 285.8213 | 4.65 | 314.0933 | 6.008 | 6.4753 | 6.306 | 13.666 | 14.6707 | 882 | 91.0867 | 6.5727
2019-04-22 09:00:00 | 4.08 | 136.496 | 4.692 | 149.996 | 6.072 | 5.04 | 6.136 | 11.462 | 15.6 | 882.6 | 87.92 | 6.0193
2019-04-22 09:15:00 | 4.232 | 110.1853 | 4.8707 | 121.0773 | 6.1187 | 10.7187 | 6.016 | 4.6727 | 16.1187 | 883.2667 | 85.8133 | 6.1293
2019-04-22 09:30:00 | 4.168 | 302.47 | 4.802 | 332.38 | 6.382 | 7.486 | 6.302 | 5.02 | 16.634 | 884 | 84.1 | 6.9
2019-04-22 09:45:00 | 4.12 | 49.57 | 4.7487 | 54.468 | 6.3713 | 24.17 | 6.354 | 16.18 | 17.1113 | 884 | 82.3133 | 6.178
2019-04-22 10:00:00 | 3.956 | 5.958 | 4.562 | 6.542 | 5.97 | 30.456 | 5.766 | 16.614 | 16.96 | 884.6 | 83.04 | 4.3253
2019-04-22 10:15:00 | 3.6573 | 3.8527 | 4.2033 | 4.2287 | 5.4553 | 235.624 | 5.3287 | 3.6953 | 17.3907 | 885 | 81.72 | 1.91
2019-04-22 10:30:00 | 3.448 | 200.646 | 3.964 | 220.488 | 5.19 | 4.656 | 5.04 | 3.606 | 17.536 | 885 | 80.96 | 0.14067
2019-04-22 10:45:00 | 2.696 | 241.7207 | 3.1013 | 265.6267 | 3.7887 | 19.5267 | 3.3893 | 10.278 | 18.6347 | 885 | 77.6067 | 0
2019-04-22 11:00:00 | 2.288 | 39.128 | 2.638 | 42.992 | 2.848 | 19.12 | 2.306 | 21.602 | 19.038 | 885 | 75.89 | 0
2019-04-22 11:15:00 | 1.8827 | 3.0133 | 2.162 | 3.3053 | 2.4813 | 27.016 | 1.8847 | 22.6473 | 19.5553 | 885 | 74.514 | 0
2019-04-22 11:30:00 | 1.576 | 10.942 | 1.812 | 12.02 | 1.932 | 19.364 | 1.41 | 223.488 | 19.776 | 885 | 73.072 | 0
2019-04-22 11:45:00 | 0.97733 | 119.2513 | 1.1307 | 131.0427 | 1.076 | 118.7373 | 0.92467 | 106.8333 | 19.672 | 885 | 73.4747 | 0
2019-04-22 12:00:00 | 1.444 | 168.244 | 1.668 | 184.88 | 1.674 | 191.62 | 1.676 | 194.12 | 19.846 | 885 | 71.636 | 0
2019-04-22 12:15:00 | 1.2 | 150.224 | 1.3853 | 165.08 | 1.482 | 173.5133 | 1.56 | 167.56 | 19.9633 | 885 | 70.2733 | 0
2019-04-22 12:30:00 | 1.364 | 155.656 | 1.57 | 171.04 | 1.732 | 156.2 | 1.914 | 151.9 | 20.336 | 885 | 67.804 | 0
2019-04-22 12:45:00 | 0.872 | 233.38 | 1.0087 | 256.4533 | 1.368 | 101.6333 | 1.5327 | 103.9467 | 20.8573 | 885 | 67.824 | 0.528
2019-04-22 13:00:00 | 1.588 | 129.24 | 1.83 | 142.02 | 2.144 | 228.7 | 2.246 | 255.2 | 21.41 | 884.4 | 66.316 | 0.62667
2019-04-22 13:15:00 | 2.4347 | 145.0027 | 2.798 | 159.34 | 3.2227 | 192.9 | 3.3647 | 211.5467 | 21.9713 | 884 | 62.8387 | 1.2347
2019-04-22 13:30:00 | 1.874 | 118.214 | 2.154 | 129.9 | 2.492 | 136.04 | 3.31 | 158.2 | 22.362 | 884 | 61.686 | 0.57733
2019-04-22 13:45:00 | 1.6471 | 155.8814 | 1.89 | 171.3 | 2.2029 | 230.5429 | 2.5271 | 169.5143 | 22.5157 | 884 | 60.3386 | 0.87
2019-04-22 14:00:00 | 2.384 | 103.798 | 2.744 | 114.06 | 3.14 | 157.02 | 3.53 | 154.76 | 22.012 | 884 | 61.21 | 0.548
2019-04-22 14:15:00 | 2.318 | 122.376 | 2.664 | 134.48 | 2.908 | 142.24 | 2.852 | 174.3 | 21.888 | 883.8 | 61.43 | 0
2019-04-22 14:30:00 | 1.34 | 141.666 | 1.538 | 155.68 | 1.916 | 251.12 | 2.118 | 222.44 | 22.734 | 883 | 59.114 | 0
2019-04-22 14:45:00 | 1.1773 | 248.6047 | 1.366 | 273.1867 | 1.8893 | 252.2933 | 2.15 | 259.9467 | 22.822 | 883 | 57.4393 | 0.26933
2019-04-22 15:00:00 | 1.608 | 132.384 | 1.854 | 145.48 | 2.396 | 190.78 | 2.508 | 203.08 | 23.236 | 883 | 57.106 | 0.62
2019-04-22 15:15:00 | 2.1917 | 138.9817 | 2.5242 | 152.725 | 2.9975 | 152.4167 | 3.2217 | 187.025 | 23.8475 | 883 | 54.8725 | 0.3325
2019-04-22 15:30:00 | 1.842 | 162.24 | 2.12 | 178.28 | 2.35 | 205.56 | 2.436 | 207.92 | 23.856 | 883 | 53.862 | 1.89
2019-04-22 15:45:00 | 1.72 | 136.9686 | 1.9843 | 150.5143 | 2.18 | 194.6143 | 2.4743 | 195.7143 | 23.3643 | 883 | 55.4629 | 1.36
2019-04-22 16:00:00 | 1.74 | 122.3 | 2.01 | 134.4 | 2.16 | 182.7 | 2.56 | 177.6 | 23.23 | 883 | 55.9 | 2.3075
2019-04-22 16:15:00 | 2.53 | 198.23 | 2.915 | 217.825 | 3.5625 | 232.05 | 3.6 | 241.875 | 23.4475 | 882 | 54.6875 | 1.33
2019-04-22 16:30:00 | 2.452 | 151.988 | 2.828 | 167.02 | 3.18 | 195.84 | 3.288 | 215.58 | 23.8 | 882 | 54.11 | 1.2907
2019-04-22 16:45:00 | 2.524 | 150.9787 | 2.904 | 165.9133 | 3.1427 | 162.36 | 3.148 | 171.9133 | 24.1773 | 882 | 52.6767 | 2.1387
2019-04-22 17:00:00 | 2.7107 | 91.0533 | 3.1167 | 100.06 | 3.49 | 147.9333 | 3.6833 | 171.36 | 24.0427 | 882 | 53.362 | 2.354
2019-04-22 17:15:00 | 1.988 | 166.0253 | 2.282 | 182.4467 | 2.6793 | 223.4533 | 2.9767 | 205.6667 | 24.2013 | 882 | 52.7193 | 2.644
2019-04-22 17:30:00 | 2.284 | 171.26 | 2.624 | 188.2 | 3.148 | 234.62 | 3.096 | 223.8 | 24.102 | 882 | 52.22 | 4.0387
2019-04-22 17:45:00 | 2.1453 | 177.9333 | 2.4747 | 195.52 | 3.28 | 214.9 | 3.6507 | 222.5333 | 23.3007 | 882 | 54.036 | 5.692
2019-04-22 18:00:00 | 2.496 | 180.288 | 2.878 | 198.12 | 3.628 | 212.74 | 3.928 | 212.74 | 23.3 | 882 | 54.762 | 3.7187
2019-04-22 18:15:00 | 1.8747 | 187.5747 | 2.1593 | 206.12 | 2.8707 | 211.8467 | 3.256 | 233.38 | 23.376 | 882 | 54.8767 | 3.936
2019-04-22 18:30:00 | 2.45 | 164.24 | 2.814 | 180.48 | 3.536 | 223.1 | 3.74 | 234.46 | 22.998 | 882 | 56.07 | 5.1347
2019-04-22 18:45:00 | 2.4393 | 196.436 | 2.8087 | 215.8533 | 3.5387 | 239.02 | 3.7547 | 222.82 | 22.4953 | 882 | 58.1913 | 6.254
2019-04-22 19:00:00 | 2.232 | 167.88 | 2.572 | 184.48 | 3.184 | 237.78 | 3.648 | 239.58 | 22.338 | 882 | 59.182 | 7.5553
2019-04-22 19:15:00 | 2.1093 | 189.1027 | 2.4267 | 207.8 | 3.144 | 242.3533 | 3.5973 | 225.9933 | 22.1407 | 882 | 60.102 | 7.1547
2019-04-22 19:30:00 | 2.272 | 175.5 | 2.614 | 192.86 | 3.23 | 232.16 | 3.404 | 240.64 | 22.03 | 882 | 60.71 | 5.9727
2019-04-22 19:45:00 | 2.2533 | 187.0653 | 2.5967 | 205.5667 | 3.342 | 230.3467 | 3.3453 | 237.6667 | 21.8607 | 882 | 61.6367 | 7.9707
2019-04-22 20:00:00 | 2.424 | 167.23 | 2.792 | 183.76 | 3.43 | 217.66 | 3.82 | 226.2 | 21.668 | 882 | 62.432 | 11.0487
2019-04-22 20:15:00 | 2.532 | 182.3767 | 2.9173 | 200.4 | 3.614 | 212.82 | 4.3093 | 216.4 | 21.5333 | 882 | 62.74 | 4.5813
2019-04-22 20:30:00 | 1.66 | 184.042 | 1.906 | 202.24 | 2.536 | 219.14 | 3.046 | 204.38 | 21.636 | 882 | 62.43 | 4.3273
2019-04-22 20:45:00 | 2.404 | 179.43 | 2.7647 | 197.1733 | 3.3973 | 204.3267 | 3.6047 | 207.4867 | 21.4013 | 882 | 63.6167 | 2.204
2019-04-22 21:00:00 | 1.428 | 174.306 | 1.644 | 191.54 | 2.282 | 239.48 | 2.25 | 210.52 | 21.224 | 882 | 64.344 | 1.2993
2019-04-22 21:15:00 | 1.4773 | 202.1553 | 1.712 | 222.14 | 2.6127 | 242.2133 | 2.8273 | 245.7067 | 21.2293 | 882.9333 | 64.456 | 1.8207
2019-04-22 21:30:00 | 1.7 | 204.7 | 1.962 | 224.94 | 2.822 | 231.56 | 2.764 | 230.68 | 21.11 | 883 | 64.98 | 1.4967
2019-04-22 21:45:00 | 1.7413 | 180.5693 | 2.01 | 198.42 | 2.8447 | 221 | 2.856 | 232.4133 | 21.0873 | 883 | 64.888 | 3.0373
2019-04-22 22:00:00 | 2.856 | 159.698 | 3.29 | 175.48 | 4.012 | 210.22 | 4.006 | 215.32 | 20.936 | 883 | 65.714 | 9.1013
2019-04-22 22:15:00 | 3.392 | 151.798 | 3.9053 | 166.8067 | 4.2447 | 189.2733 | 4.5053 | 203.2067 | 20.73 | 883 | 66.6927 | 11.164
2019-04-22 22:30:00 | 3.024 | 159.14 | 3.478 | 174.88 | 3.714 | 179.9 | 4.51 | 190.72 | 20.594 | 883 | 67.15 | 10.8207
2019-04-22 22:45:00 | 3.2547 | 147.348 | 3.7393 | 161.9067 | 3.986 | 201.0333 | 4.602 | 185.6 | 20.3553 | 883 | 67.9527 | 14.288
2019-04-22 23:00:00 | 3.468 | 163.812 | 3.99 | 180 | 4.324 | 195.5 | 4.67 | 210.6 | 20.306 | 883 | 67.944 | 9.4347
2019-04-22 23:15:00 | 3.168 | 174.136 | 3.6473 | 191.3467 | 3.9507 | 189.1667 | 4.406 | 185.04 | 20.3327 | 883 | 67.9213 | 4.8507
2019-04-22 23:30:00 | 2.9947 | 188.2627 | 3.452 | 206.8733 | 3.694 | 181.7533 | 4.2513 | 181.86 | 20.358 | 883 | 68.07 | 5.124
2019-04-22 23:45:00 | 2.56 | 159.3347 | 2.9493 | 175.0867 | 3.426 | 176.4733 | 3.638 | 187.3 | 19.85 | 883 | 71.758 | 2.0273