## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-23 00:00:00 | 2.5343 | 139.6571 | 2.9214 | 153.4571 | 3.2129 | 169.8857 | 3.3457 | 175.4429 | 19.8114 | 883 | 71.4686 | 0.15429
2019-04-23 00:15:00 | 1.748 | 130.7 | 2.0193 | 143.62 | 2.6807 | 152.3133 | 2.84 | 165.8 | 19.96 | 883 | 70.3333 | 0
2019-04-23 00:30:00 | 1.348 | 111.188 | 1.55 | 122.18 | 2.202 | 140.98 | 2.494 | 154.46 | 20.114 | 883 | 69.75 | 0
2019-04-23 00:45:00 | 0.77467 | 87.3707 | 0.89333 | 96.0067 | 1.51 | 137.9067 | 2.0787 | 142.7933 | 19.8567 | 883 | 71.016 | 0
2019-04-23 01:00:00 | 0.196 | 35.462 | 0.238 | 38.964 | 0.314 | 144.3 | 1.516 | 157.14 | 19.552 | 883 | 72.298 | 0
2019-04-23 01:15:00 | 0.42667 | 33.8447 | 0.49667 | 37.1893 | 0.83533 | 179.94 | 1.7533 | 184.4867 | 19.5747 | 883 | 72.222 | 0
2019-04-23 01:30:00 | 0.134 | 66.364 | 0.164 | 72.914 | 0.252 | 174.7 | 1.266 | 175.5 | 19.592 | 883 | 72.09 | 0
2019-04-23 01:45:00 | 0.18467 | 21.176 | 0.21333 | 23.2593 | 0.27333 | 162.38 | 1.0287 | 170.2467 | 19.684 | 883 | 71.7233 | 0
2019-04-23 02:00:00 | 0.308 | 0.05 | 0.356 | 0.05 | 0.202 | 83.614 | 0.95 | 156.3 | 19.77 | 883 | 71.188 | 0
2019-04-23 02:15:00 | 0.92933 | 146.862 | 1.0707 | 161.39 | 1.438 | 166.6593 | 2.0713 | 175.82 | 19.65 | 883 | 71.696 | 0
2019-04-23 02:30:00 | 1.348 | 173.06 | 1.554 | 190.18 | 2.148 | 205.58 | 2.61 | 199.12 | 19.508 | 883 | 72.796 | 0.088667
2019-04-23 02:45:00 | 1.1213 | 195.6227 | 1.2873 | 214.9667 | 1.944 | 214.66 | 2.2007 | 207.7067 | 18.9893 | 882.7333 | 75.032 | 0
2019-04-23 03:00:00 | 0.208 | 177.85 | 0.24 | 195.44 | 0.392 | 202.82 | 1.022 | 186.22 | 18.686 | 882 | 76.328 | 0
2019-04-23 03:15:00 | 0.23467 | 178.2967 | 0.27867 | 195.9333 | 0.44 | 205.1533 | 1.506 | 188.8067 | 18.59 | 882 | 76.7253 | 0.047333
2019-04-23 03:30:00 | 0.826 | 276.446 | 0.948 | 303.78 | 1.434 | 243.2 | 2.046 | 215.22 | 18.756 | 882 | 75.998 | 1.1687
2019-04-23 03:45:00 | 1.664 | 223.4973 | 1.918 | 245.5867 | 2.6187 | 221.5333 | 2.5627 | 204.2267 | 18.162 | 882 | 79.074 | 1.1687
2019-04-23 04:00:00 | 2.176 | 177.354 | 2.508 | 194.88 | 2.878 | 207.3 | 3.266 | 211.78 | 17.59 | 882 | 81.98 | 0.658
2019-04-23 04:15:00 | 1.2773 | 166.13 | 1.4707 | 182.5467 | 2.11 | 155.0067 | 2.9593 | 164.3 | 17.7833 | 882 | 80.9533 | 0
2019-04-23 04:30:00 | 0.73 | 234.422 | 0.844 | 257.6 | 1.018 | 117.08 | 1.916 | 140.38 | 17.694 | 882 | 81.24 | 0
2019-04-23 04:45:00 | 1.1153 | 22.8847 | 1.2933 | 25.14 | 0.93267 | 23.8973 | 1.1067 | 90.812 | 17.2607 | 882 | 83.7733 | 0
2019-04-23 05:00:00 | 2.422 | 197.694 | 2.79 | 217.24 | 3.09 | 20.264 | 2.36 | 21.812 | 16.51 | 882 | 88.54 | 0
2019-04-23 05:15:00 | 3.106 | 321.022 | 3.5713 | 352.7733 | 3.8767 | 12.4 | 3.66 | 16.4773 | 16.226 | 882 | 90.1667 | 0.026667
2019-04-23 05:30:00 | 3.064 | 316.28 | 3.524 | 347.56 | 3.782 | 43.406 | 3.978 | 22.694 | 16.184 | 882 | 90.2 | 0.040667
2019-04-23 05:45:00 | 3.0587 | 124.1047 | 3.518 | 136.3767 | 3.91 | 10.054 | 3.6787 | 9.6687 | 16.1813 | 881.0667 | 90.1333 | 0
2019-04-23 06:00:00 | 3.312 | 292.642 | 3.808 | 321.58 | 3.978 | 3.714 | 3.538 | 7.122 | 16.24 | 881.6 | 89.58 | 0
2019-04-23 06:15:00 | 3.2213 | 308.874 | 3.7107 | 339.42 | 3.882 | 0.51533 | 3.366 | 6.3273 | 16.196 | 882 | 89.3933 | 0
2019-04-23 06:30:00 | 2.91 | 125.886 | 3.35 | 138.328 | 3.8 | 0.402 | 3.226 | 1.744 | 16.022 | 882 | 90.02 | 0
2019-04-23 06:45:00 | 3.5793 | 287.0687 | 4.122 | 315.4587 | 4.3973 | 6.8167 | 3.9647 | 9.272 | 15.9673 | 882 | 90.4067 | 0.38533
2019-04-23 07:00:00 | 3.688 | 126.994 | 4.246 | 139.55 | 4.71 | 10.102 | 4.706 | 14.58 | 15.906 | 882 | 91.12 | 0.44267
2019-04-23 07:15:00 | 3.5013 | 84.658 | 4.0327 | 93.0233 | 4.4433 | 6.6807 | 4.6167 | 8.472 | 15.8087 | 882 | 92.2267 | 0.74467
2019-04-23 07:30:00 | 3.378 | 127.912 | 3.884 | 140.552 | 4.536 | 9.622 | 4.898 | 16.584 | 15.864 | 882 | 92 | 1.0833
2019-04-23 07:45:00 | 3.3207 | 89.5747 | 3.8253 | 98.4213 | 4.3533 | 12.1927 | 4.5567 | 18.2653 | 16.0587 | 882 | 91.7867 | 0.81467
2019-04-23 08:00:00 | 3.284 | 130.774 | 3.786 | 143.704 | 3.84 | 218.376 | 4.332 | 16.002 | 16.25 | 882.6 | 90.9 | 0
2019-04-23 08:15:00 | 3.284 | 93.0807 | 3.778 | 102.2827 | 4.0773 | 31.6387 | 4.308 | 96.1607 | 16.2127 | 883 | 90.94 | 0.424
2019-04-23 08:30:00 | 3.504 | 147.216 | 4.028 | 161.762 | 4.298 | 8.748 | 4.53 | 147.216 | 16.608 | 883 | 89.76 | 0.57
2019-04-23 08:45:00 | 3.3187 | 297.0707 | 3.8173 | 326.4447 | 4.378 | 1.976 | 4.538 | 9.58 | 16.7507 | 883 | 90.0533 | 1.0347
2019-04-23 09:00:00 | 3.546 | 118.14 | 4.08 | 129.822 | 4.504 | 8.62 | 4.716 | 15.51 | 16.816 | 883 | 89.42 | 0.876
2019-04-23 09:15:00 | 3.462 | 104.7933 | 3.9867 | 115.158 | 4.508 | 12.4467 | 4.5853 | 8.2727 | 17.0933 | 883 | 88.14 | 0.25267
2019-04-23 09:30:00 | 3.436 | 127 | 3.952 | 139.564 | 4.054 | 18.72 | 4.222 | 11.946 | 17.348 | 883.6 | 87.02 | 0
2019-04-23 09:45:00 | 2.732 | 300.8427 | 3.1493 | 330.596 | 3.454 | 19.8133 | 3.5327 | 38.2393 | 18.0453 | 884 | 85.46 | 0
2019-04-23 10:00:00 | 2.368 | 126.918 | 2.724 | 139.468 | 2.89 | 18.832 | 2.932 | 17.772 | 18.842 | 884 | 82.5 | 0
2019-04-23 10:15:00 | 2.0267 | 23.8753 | 2.34 | 26.2267 | 2.466 | 25.892 | 1.6813 | 34.0413 | 19.5393 | 884.2667 | 78.128 | 0
2019-04-23 10:30:00 | 1.352 | 16.9 | 1.554 | 18.562 | 1.476 | 28.164 | 0.9 | 41.042 | 19.804 | 885 | 77.506 | 0
2019-04-23 10:45:00 | 1.3407 | 229.1533 | 1.5447 | 251.8133 | 1.5693 | 54.0313 | 1.2647 | 92.164 | 20.8367 | 885 | 74.586 | 0
2019-04-23 11:00:00 | 1.326 | 118.446 | 1.528 | 130.16 | 1.584 | 113.58 | 1.804 | 114.664 | 21.68 | 885 | 70.55 | 0
2019-04-23 11:15:00 | 2.47 | 110.262 | 2.8387 | 121.16 | 3.084 | 145.7 | 3.0707 | 125.98 | 22.676 | 885 | 67.7793 | 0
2019-04-23 11:30:00 | 2.852 | 145.024 | 3.288 | 159.36 | 3.348 | 177.14 | 3.274 | 172.22 | 22.92 | 885 | 66.198 | 0.07
2019-04-23 11:45:00 | 3.2773 | 156.9387 | 3.7733 | 172.4533 | 4.1347 | 173.5 | 4.2487 | 166.0467 | 23.3307 | 885.2667 | 64.746 | 3.1607
2019-04-23 12:00:00 | 3.716 | 156.816 | 4.27 | 172.32 | 4.832 | 199.88 | 4.894 | 220.56 | 23.684 | 885.4 | 62.462 | 6.5513
2019-04-23 12:15:00 | 3.3507 | 166.1267 | 3.858 | 182.5467 | 4.3453 | 170.2933 | 4.706 | 238.0667 | 23.9533 | 885.2667 | 61.798 | 9.32
2019-04-23 12:30:00 | 3.916 | 146.704 | 4.5 | 161.2 | 4.654 | 158.18 | 5.018 | 210.4 | 23.738 | 885.4 | 62.686 | 9.976
2019-04-23 12:45:00 | 4.132 | 134.6347 | 4.7573 | 147.9467 | 5.1193 | 218.6867 | 5.2007 | 222.8267 | 24.0873 | 885 | 61.578 | 12.3573
2019-04-23 13:00:00 | 4.688 | 168.728 | 5.39 | 185.4 | 5.708 | 185.82 | 5.8 | 172.74 | 24.03 | 885 | 61.622 | 15.256
2019-04-23 13:15:00 | 4.012 | 142.1547 | 4.6127 | 156.2133 | 5.1947 | 191.0733 | 5.4773 | 185.9 | 24.394 | 885 | 60.6047 | 16.846
2019-04-23 13:30:00 | 3.96 | 172.032 | 4.558 | 189.04 | 5.118 | 217.08 | 5.28 | 218.54 | 24.638 | 885 | 59.336 | 14.9807
2019-04-23 13:45:00 | 3.5093 | 155.0987 | 4.038 | 170.44 | 4.45 | 173.6533 | 4.6347 | 198.9933 | 24.2393 | 885 | 60.3467 | 15.0367
2019-04-23 14:00:00 | 4.192 | 151.396 | 4.82 | 166.36 | 5.362 | 198.86 | 5.58 | 187.4 | 24.698 | 885 | 59.106 | 15.5153
2019-04-23 14:15:00 | 4.7853 | 136.3387 | 5.516 | 149.8267 | 5.7367 | 174.46 | 5.9627 | 187.88 | 24.5193 | 884.0667 | 58.494 | 16.3847
2019-04-23 14:30:00 | 4.32 | 130.456 | 4.978 | 143.36 | 5.45 | 164.54 | 5.768 | 182.34 | 24.724 | 884 | 57.468 | 14.7687
2019-04-23 14:45:00 | 3.772 | 177.2853 | 4.342 | 194.8133 | 4.846 | 208.14 | 5.168 | 225.4467 | 25.132 | 884 | 55.736 | 10.9327
2019-04-23 15:00:00 | 3.828 | 168.464 | 4.416 | 185.12 | 5.09 | 250.36 | 5.42 | 249.1 | 25.272 | 884 | 54.91 | 8.8207
2019-04-23 15:15:00 | 3.8893 | 156.8907 | 4.4747 | 172.4 | 4.8713 | 166.84 | 5.204 | 177.3 | 25.1893 | 884 | 55.7727 | 8.7913
2019-04-23 15:30:00 | 4.224 | 160.252 | 4.86 | 176.1 | 5.322 | 162.6 | 5.426 | 171.86 | 24.514 | 884 | 58.714 | 7.4993
2019-04-23 15:45:00 | 3.3707 | 140.3507 | 3.8853 | 154.22 | 4.33 | 189.3067 | 4.398 | 182.1533 | 24.7353 | 883.0667 | 57.7753 | 10.902
2019-04-23 16:00:00 | 2.974 | 151.08 | 3.428 | 166.02 | 3.92 | 220.74 | 4.11 | 221.02 | 25.624 | 883 | 55.334 | 12.01
2019-04-23 16:15:00 | 3.6087 | 171.1627 | 4.16 | 188.0867 | 4.9947 | 232.1533 | 5.482 | 223.6867 | 25.004 | 883 | 57.3753 | 16.5473
2019-04-23 16:30:00 | 3.784 | 169.868 | 4.352 | 186.66 | 5.12 | 217.84 | 5.598 | 222.72 | 24.216 | 883 | 60.846 | 11.4613
2019-04-23 16:45:00 | 2.7693 | 165.996 | 3.1867 | 182.4067 | 3.9333 | 225.2 | 4.1113 | 224.9467 | 24.2333 | 882.7333 | 62.054 | 12.366
2019-04-23 17:00:00 | 2.76 | 146.828 | 3.172 | 161.34 | 3.854 | 215.06 | 4.24 | 211.82 | 23.89 | 882 | 62.714 | 17.5647
2019-04-23 17:15:00 | 3.1373 | 158.0253 | 3.62 | 173.6467 | 4.314 | 201.2067 | 4.66 | 223.1 | 23.646 | 882 | 64.3833 | 20.978
2019-04-23 17:30:00 | 3.26 | 162.274 | 3.7553 | 178.32 | 4.504 | 226.9867 | 5.07 | 229.2467 | 23.218 | 882 | 66.1073 | 19.82
2019-04-23 17:45:00 | 3.7127 | 142.354 | 4.2673 | 156.4267 | 5.0187 | 211.0867 | 5.434 | 230.38 | 22.734 | 882 | 67.6007 | 18.0427
2019-04-23 18:00:00 | 3.36 | 176.668 | 3.866 | 194.14 | 4.564 | 213.78 | 4.996 | 232.1 | 22.506 | 882 | 67.326 | 11.2607
2019-04-23 18:15:00 | 3.304 | 167.4827 | 3.7993 | 184.0467 | 4.652 | 211.82 | 5.232 | 229.0067 | 22.3353 | 882 | 67.8367 | 9.9227
2019-04-23 18:30:00 | 3.194 | 173.35 | 3.676 | 190.48 | 4.604 | 224.94 | 5.052 | 225.72 | 22.192 | 882 | 68.456 | 4.5873
2019-04-23 18:45:00 | 2.4473 | 170.0793 | 2.82 | 186.8933 | 3.4907 | 216.22 | 3.756 | 226.88 | 21.996 | 881.0667 | 69.8693 | 4.6307
2019-04-23 19:00:00 | 2.826 | 161.384 | 3.256 | 177.34 | 3.968 | 212.44 | 4.192 | 225.22 | 21.712 | 881 | 71.506 | 6.8653
2019-04-23 19:15:00 | 3.1113 | 166.0013 | 3.576 | 182.4067 | 4.4373 | 206.4133 | 4.7653 | 216.1533 | 21.3947 | 881 | 72.4287 | 6.1333
2019-04-23 19:30:00 | 3.296 | 146.256 | 3.798 | 160.72 | 4.506 | 212.88 | 4.938 | 216.28 | 21.258 | 881 | 72.31 | 8.572
2019-04-23 19:45:00 | 3.5227 | 163.716 | 4.0513 | 179.9067 | 4.8727 | 214.4933 | 5.0553 | 219.4267 | 20.9033 | 881 | 73.094 | 9.1327
2019-04-23 20:00:00 | 3.1 | 186.444 | 3.568 | 204.88 | 4.398 | 206.96 | 4.518 | 220.8 | 20.82 | 881 | 72.642 | 6.008
2019-04-23 20:15:00 | 2.848 | 170.3933 | 3.2747 | 187.24 | 3.89 | 195.88 | 3.8247 | 207.0267 | 20.7747 | 881 | 72.238 | 4.2733
2019-04-23 20:30:00 | 2.66 | 173.742 | 3.068 | 190.92 | 3.474 | 173.36 | 3.516 | 165.3 | 20.76 | 881 | 72.352 | 4.298
2019-04-23 20:45:00 | 2.8653 | 186.278 | 3.3 | 204.7 | 3.764 | 198.74 | 3.7127 | 207.4467 | 20.6833 | 881 | 73.3153 | 2.9653
2019-04-23 21:00:00 | 2.672 | 153.738 | 3.08 | 168.94 | 3.474 | 193.76 | 3.618 | 205.56 | 20.41 | 881 | 74.782 | 2.966
2019-04-23 21:15:00 | 2.5093 | 159.6793 | 2.8907 | 175.4733 | 3.2087 | 191.7067 | 3.3407 | 201.2133 | 20.1833 | 881.9333 | 76.0513 | 3.1433
2019-04-23 21:30:00 | 2.644 | 170.208 | 3.042 | 187.04 | 3.386 | 202.7 | 3.706 | 190.48 | 20.1 | 882 | 75.976 | 3.684
2019-04-23 21:45:00 | 2.98 | 166.904 | 3.4287 | 183.4 | 3.6993 | 191.0467 | 3.986 | 189.16 | 20.0067 | 882 | 75.6027 | 2.446
2019-04-23 22:00:00 | 2.72 | 168.276 | 3.14 | 184.92 | 3.468 | 177.84 | 3.682 | 190.22 | 19.896 | 882 | 75.824 | 1.534
2019-04-23 22:15:00 | 2.6853 | 158.944 | 3.0907 | 174.6533 | 3.44 | 178.4267 | 3.6727 | 187.86 | 19.536 | 882 | 77.616 | 1.7553
2019-04-23 22:30:00 | 2.696 | 164.468 | 3.102 | 180.72 | 3.366 | 181.1 | 3.754 | 184.82 | 19.536 | 882 | 77.774 | 2.736
2019-04-23 22:45:00 | 2.746 | 189.438 | 3.156 | 208.1733 | 3.4253 | 192.62 | 3.9293 | 192.3267 | 19.4933 | 882 | 77.8673 | 1.9827
2019-04-23 23:00:00 | 2.888 | 155.122 | 3.322 | 170.46 | 3.654 | 175.36 | 4.188 | 184.16 | 19.492 | 882 | 77.952 | 2.7633
2019-04-23 23:15:00 | 2.7253 | 155.6633 | 3.1367 | 171.06 | 3.5153 | 179.9067 | 4.092 | 189.12 | 19.22 | 882 | 78.9973 | 2.2833
2019-04-23 23:30:00 | 2.41 | 171.06 | 2.772 | 187.98 | 3.138 | 174.36 | 3.58 | 182.54 | 19.146 | 882 | 79.022 | 1.466
2019-04-23 23:45:00 | 2.3407 | 173.944 | 2.7013 | 191.14 | 3.0567 | 173.52 | 3.4547 | 172.2333 | 19.1473 | 882 | 79.0553 | 0.33267