## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-24 00:00:00 | 2.24 | 161.4843 | 2.58 | 177.4571 | 2.9043 | 182.0714 | 3.4486 | 178.1286 | 19.06 | 882 | 80.186 | 0.12214
2019-04-24 00:15:00 | 1.784 | 175.6913 | 2.06 | 193.0667 | 2.744 | 180.6067 | 3.6547 | 176.46 | 19.0007 | 882 | 82.1467 | 0.742
2019-04-24 00:30:00 | 1.868 | 155.738 | 2.154 | 171.14 | 2.676 | 179.5 | 3.792 | 177.3 | 18.92 | 882 | 83.24 | 1.3393
2019-04-24 00:45:00 | 2.188 | 167.2567 | 2.5127 | 183.7933 | 3.108 | 176.5 | 4.02 | 181.58 | 18.8547 | 882 | 83.6667 | 0.63933
2019-04-24 01:00:00 | 1.472 | 171.934 | 1.702 | 188.94 | 2.52 | 188.28 | 3.474 | 184.8 | 18.744 | 882 | 84.3 | 0.024667
2019-04-24 01:15:00 | 0.84 | 146.9193 | 0.966 | 161.4467 | 1.6453 | 196 | 2.69 | 191.3467 | 18.3107 | 882 | 86.02 | 0
2019-04-24 01:30:00 | 0.312 | 145.33 | 0.358 | 159.7 | 0.61 | 194.2 | 1.824 | 196.98 | 18.114 | 881.4 | 86.96 | 0
2019-04-24 01:45:00 | 0.52933 | 187.1673 | 0.61133 | 205.6733 | 0.83667 | 26.1387 | 0.43467 | 253.0867 | 18.0193 | 881 | 86.9333 | 0
2019-04-24 02:00:00 | 0.51 | 309.75 | 0.586 | 340.38 | 0.34 | 143.408 | 0.436 | 167.7 | 18.072 | 881 | 85.98 | 0
2019-04-24 02:15:00 | 0.026 | 314.746 | 0.028667 | 345.8733 | 0 | 229 | 0.024 | 173.3 | 18.2733 | 881 | 84.9267 | 0
2019-04-24 02:30:00 | 0 | 314.68 | 0 | 345.8 | 0 | 229 | 0 | 173.3 | 18.218 | 881 | 85.56 | 0
2019-04-24 02:45:00 | 0 | 239.9387 | 0 | 263.6667 | 0 | 229 | 0 | 173.3 | 17.9487 | 881 | 86.72 | 0
2019-04-24 03:00:00 | 0 | 234.6 | 0 | 257.8 | 0 | 229 | 0 | 173.3 | 17.47 | 880.4 | 88.86 | 0
2019-04-24 03:15:00 | 0.86533 | 308.4107 | 0.99867 | 338.9067 | 1.1627 | 321.7467 | 0.17067 | 173.3 | 17.2287 | 880 | 90.1 | 0
2019-04-24 03:30:00 | 2.076 | 318.61 | 2.398 | 350.12 | 2.4 | 141.288 | 1.504 | 75.326 | 17.148 | 880 | 90.3 | 0
2019-04-24 03:45:00 | 3.044 | 321.7873 | 3.514 | 353.6133 | 3.5107 | 2.284 | 3.284 | 14.4793 | 16.884 | 880 | 90.3133 | 0
2019-04-24 04:00:00 | 3.588 | 316.87 | 4.138 | 348.2 | 4.3 | 14.118 | 3.976 | 23.876 | 16.642 | 880 | 89.94 | 0.23467
2019-04-24 04:15:00 | 3.4893 | 320.2473 | 4.0233 | 351.92 | 4.3413 | 8.6353 | 4.216 | 28.0893 | 16.4527 | 880 | 91.06 | 0.832
2019-04-24 04:30:00 | 3.828 | 313.73 | 4.406 | 344.76 | 4.488 | 12.356 | 4.53 | 14.216 | 16.27 | 880 | 93.16 | 1.3373
2019-04-24 04:45:00 | 3.7613 | 313.2713 | 4.3247 | 344.2533 | 4.436 | 1.8053 | 4.4433 | 11.224 | 16.0687 | 880 | 94.28 | 1.4567
2019-04-24 05:00:00 | 3.632 | 309.956 | 4.18 | 340.6 | 4.556 | 213 | 4.606 | 12.884 | 16.042 | 880 | 94.2 | 1.806
2019-04-24 05:15:00 | 3.5627 | 31.0173 | 4.1093 | 34.0773 | 4.7107 | 27.4387 | 4.7873 | 16.2987 | 16.0567 | 880 | 93.72 | 1.6667
2019-04-24 05:30:00 | 3.52 | 108.236 | 4.052 | 118.936 | 4.786 | 4.966 | 4.76 | 18.35 | 16.078 | 880 | 94.26 | 0.65467
2019-04-24 05:45:00 | 3.5613 | 221.252 | 4.0987 | 243.1213 | 4.8153 | 19.6327 | 4.7893 | 11.8593 | 16.23 | 880 | 93.82 | 0.328
2019-04-24 06:00:00 | 3.524 | 192.268 | 4.054 | 211.272 | 4.846 | 27.538 | 5.09 | 7.242 | 16.266 | 880 | 93.02 | 1.0127
2019-04-24 06:15:00 | 3.816 | 312.5973 | 4.386 | 343.5133 | 4.9567 | 6.6553 | 4.9847 | 6.7793 | 16.07 | 880 | 93.5267 | 0.312
2019-04-24 06:30:00 | 3.796 | 128.828 | 4.37 | 141.558 | 4.744 | 9.41 | 4.644 | 2.37 | 15.716 | 880.6 | 95.14 | 0.17533
2019-04-24 06:45:00 | 3.5693 | 83.516 | 4.11 | 91.7647 | 5.1533 | 15.8313 | 4.572 | 14.25 | 15.3013 | 881 | 97.3933 | 0
2019-04-24 07:00:00 | 3.018 | 118.27 | 3.47 | 129.962 | 4.896 | 16.972 | 4.484 | 17.428 | 15.19 | 881 | 98.54 | 0.22467
2019-04-24 07:15:00 | 2.7847 | 190.2513 | 3.1993 | 209.0687 | 4.1987 | 20.1507 | 3.812 | 23.7667 | 15.382 | 881 | 98.8867 | 0
2019-04-24 07:30:00 | 2.792 | 4.85 | 3.21 | 5.326 | 4.106 | 21.982 | 3.592 | 23.256 | 15.612 | 881.6 | 98.48 | 0
2019-04-24 07:45:00 | 2.84 | 84.7113 | 3.2793 | 93.0833 | 3.9593 | 13.338 | 3.864 | 23.3347 | 15.8373 | 882 | 97.3867 | 0
2019-04-24 08:00:00 | 3.156 | 125.43 | 3.634 | 137.824 | 4.08 | 7.238 | 4.212 | 22.48 | 16.066 | 882 | 95.86 | 0.060667
2019-04-24 08:15:00 | 3.2373 | 207.202 | 3.726 | 227.696 | 3.888 | 12.2913 | 4.156 | 27.6547 | 16.3487 | 882.2667 | 94.7133 | 0.28867
2019-04-24 08:30:00 | 3.276 | 1.214 | 3.772 | 1.334 | 3.868 | 12.986 | 4.176 | 32.364 | 16.67 | 883 | 93.94 | 1.834
2019-04-24 08:45:00 | 3.34 | 98.298 | 3.8453 | 108.0127 | 4.4013 | 10.282 | 4.78 | 19.6773 | 16.9207 | 883 | 93.5933 | 2.206
2019-04-24 09:00:00 | 3.2 | 132.264 | 3.688 | 145.342 | 4.432 | 7.742 | 4.372 | 15.396 | 17.014 | 883 | 93.42 | 2.3413
2019-04-24 09:15:00 | 2.8813 | 101.752 | 3.316 | 111.8113 | 4.028 | 0.646 | 4.304 | 7.736 | 17.3633 | 883.9333 | 92.7267 | 3.666
2019-04-24 09:30:00 | 3.092 | 139.842 | 3.558 | 153.668 | 5.174 | 9.788 | 5.424 | 19.242 | 18.098 | 884 | 90.5 | 7.5093
2019-04-24 09:45:00 | 3.3467 | 100.3953 | 3.8527 | 110.3187 | 5.8647 | 11.2093 | 5.892 | 17.8513 | 18.798 | 884.2667 | 87.3133 | 10.826
2019-04-24 10:00:00 | 3.42 | 312.766 | 3.938 | 343.7 | 5.576 | 12.22 | 5.888 | 15.99 | 19.088 | 885 | 85.36 | 11.9533
2019-04-24 10:15:00 | 3.5613 | 45.9967 | 4.106 | 50.5333 | 6.0373 | 12.952 | 6.34 | 24.7433 | 19.9053 | 885 | 82.68 | 12.872
2019-04-24 10:30:00 | 3.568 | 21.076 | 4.108 | 23.152 | 5.876 | 7.686 | 6.1 | 17.558 | 20.09 | 885.6 | 81.6 | 13.986
2019-04-24 10:45:00 | 3.7507 | 281.2373 | 4.3147 | 309.0547 | 6.1907 | 13.2647 | 6.524 | 12.906 | 20.266 | 886 | 81.3733 | 11.3353
2019-04-24 11:00:00 | 3.43 | 284.83 | 3.944 | 313 | 5.7 | 9.102 | 6.054 | 17.18 | 20.73 | 886 | 79.84 | 6.8287
2019-04-24 11:15:00 | 3.0473 | 242.9473 | 3.5027 | 266.9733 | 5.016 | 8.5873 | 5.214 | 12.032 | 20.8807 | 886 | 79.384 | 5.11
2019-04-24 11:30:00 | 3.338 | 52.584 | 3.84 | 57.78 | 4.952 | 12.214 | 5.06 | 12.676 | 21.684 | 886 | 76.27 | 3.1347
2019-04-24 11:45:00 | 3.3033 | 201.144 | 3.804 | 221.0387 | 5.3373 | 3.2167 | 5.3027 | 15.46 | 23.1947 | 886 | 71.234 | 2.6493
2019-04-24 12:00:00 | 3.412 | 13.67 | 3.926 | 15.016 | 5.236 | 10.436 | 5.094 | 19.36 | 23.682 | 886 | 68.138 | 1.012
2019-04-24 12:15:00 | 2.7907 | 96.9327 | 3.206 | 106.5187 | 4.1453 | 13.2827 | 3.8353 | 14.0147 | 24.1193 | 886 | 65.8913 | 0.324
2019-04-24 12:30:00 | 2.612 | 300.402 | 3.012 | 330.1 | 4.08 | 26.816 | 3.738 | 14.696 | 24.728 | 886 | 62.472 | 0.192
2019-04-24 12:45:00 | 2.152 | 25.6193 | 2.488 | 28.1467 | 3.0693 | 32.4813 | 2.7753 | 32.308 | 25.044 | 886 | 59.7787 | 0
2019-04-24 13:00:00 | 1.896 | 3.702 | 2.192 | 4.062 | 2.526 | 28.804 | 2.406 | 37.92 | 25.01 | 886 | 59.49 | 0
2019-04-24 13:15:00 | 2 | 17.6087 | 2.3013 | 19.3447 | 3.034 | 22.672 | 2.8593 | 20.8133 | 25.4593 | 886 | 58.9167 | 0
2019-04-24 13:30:00 | 1.724 | 43.42 | 1.992 | 47.714 | 2.73 | 15.09 | 2.576 | 6.88 | 26.03 | 886 | 57.956 | 0
2019-04-24 13:45:00 | 2.38 | 97.5373 | 2.736 | 107.1727 | 2.91 | 23.59 | 2.5053 | 15.9067 | 26.246 | 886 | 56.224 | 0
2019-04-24 14:00:00 | 1.656 | 268.892 | 1.912 | 295.48 | 1.928 | 180.516 | 1.922 | 61.48 | 25.966 | 886 | 56.002 | 0
2019-04-24 14:15:00 | 1.4913 | 43.776 | 1.7133 | 48.098 | 2.0407 | 41.798 | 2.1067 | 101.416 | 26.6067 | 885.0667 | 55.5727 | 0
2019-04-24 14:30:00 | 1.768 | 120.18 | 2.042 | 132.06 | 2.45 | 187.172 | 2.462 | 282.76 | 26.93 | 885 | 55.104 | 0
2019-04-24 14:45:00 | 1.1747 | 173.02 | 1.354 | 190.1267 | 1.5913 | 84.8667 | 1.6047 | 99.6933 | 27.3313 | 885 | 52.7213 | 0
2019-04-24 15:00:00 | 1.184 | 201.574 | 1.368 | 221.5 | 2.024 | 124.694 | 2.12 | 102.064 | 27.048 | 885 | 53.23 | 0
2019-04-24 15:15:00 | 1.832 | 297.1873 | 2.1107 | 326.58 | 2.5773 | 100.0727 | 2.7013 | 104.836 | 27.5853 | 885 | 51.126 | 0
2019-04-24 15:30:00 | 1.5973 | 203.436 | 1.8513 | 223.5533 | 1.9287 | 234.78 | 1.8893 | 264.4333 | 27.452 | 884.4 | 50.9913 | 0
2019-04-24 15:45:00 | 2.528 | 160.7653 | 2.91 | 176.66 | 3.0253 | 178.8533 | 2.776 | 191.3467 | 26.9113 | 884 | 53.6453 | 0
2019-04-24 16:00:00 | 2.052 | 157.448 | 2.366 | 173.02 | 2.726 | 189.18 | 2.982 | 189.14 | 26.93 | 884 | 53.74 | 0
2019-04-24 16:15:00 | 1.3533 | 172.64 | 1.562 | 189.7133 | 2.0127 | 241.0467 | 2.1993 | 243.0733 | 27.7633 | 884 | 51.5093 | 0
2019-04-24 16:30:00 | 0.992 | 218.568 | 1.144 | 240.18 | 1.614 | 274.36 | 1.924 | 263.46 | 27.318 | 884 | 52.586 | 0
2019-04-24 16:45:00 | 0.69333 | 262.888 | 0.79467 | 288.8867 | 1.242 | 236.6693 | 1.3373 | 190.0067 | 27.582 | 884 | 53.1433 | 0.64267
2019-04-24 17:00:00 | 2.72 | 277.86 | 3.126 | 305.34 | 5.11 | 9.07 | 5.14 | 19.836 | 27.146 | 884 | 54.65 | 5.454
2019-04-24 17:15:00 | 3.52 | 317.9693 | 4.0513 | 349.4067 | 6.3487 | 54.694 | 6.16 | 19.056 | 25.4713 | 884.9333 | 56.9927 | 10.672
2019-04-24 17:30:00 | 4.196 | 130.934 | 4.83 | 143.88 | 7.596 | 75.988 | 7.426 | 4.252 | 24.826 | 885 | 57.5087 | 25.034
2019-04-24 17:45:00 | 6.1973 | 198.9153 | 7.1247 | 218.5867 | 10.2627 | 5.256 | 10.114 | 2.424 | 24.728 | 885 | 57.8213 | 46.9233
2019-04-24 18:00:00 | 8.82 | 27.488 | 10.144 | 30.2 | 15.022 | 9.694 | 14.876 | 13.918 | 24.368 | 884.8667 | 61.068 | 42.0607
2019-04-24 18:15:00 | 6.764 | 112.5613 | 7.7893 | 123.6933 | 11.026 | 38.6287 | 11.192 | 40.1473 | 23.3267 | 883.4667 | 62.3907 | 14.4353
2019-04-24 18:30:00 | 2.758 | 164.66 | 3.172 | 180.94 | 3.538 | 134.72 | 4.204 | 139.86 | 23.674 | 882 | 52.816 | 7.17
2019-04-24 18:45:00 | 2.1113 | 160.8813 | 2.4267 | 176.7933 | 2.9047 | 187.0667 | 3.2933 | 151.26 | 23.9527 | 882 | 48.6427 | 2.5967
2019-04-24 19:00:00 | 1.612 | 68.698 | 1.852 | 75.492 | 2.502 | 103.44 | 2.266 | 114.17 | 24.0827 | 882 | 47.246 | 0.29933
2019-04-24 19:15:00 | 3.068 | 46.214 | 3.532 | 50.7813 | 5.158 | 21.384 | 5.0833 | 7.262 | 23.46 | 882 | 50.8687 | 10.036
2019-04-24 19:30:00 | 3.404 | 232.258 | 3.916 | 255.22 | 6.188 | 28.458 | 6.304 | 9.18 | 22.848 | 882 | 55.068 | 12.654
2019-04-24 19:45:00 | 3.0813 | 272.8927 | 3.5467 | 299.8733 | 5.8373 | 24.5927 | 6.1173 | 27.5947 | 22.4773 | 882 | 56.7707 | 13.2733
2019-04-24 20:00:00 | 3.552 | 255.502 | 4.088 | 280.76 | 6.568 | 213.692 | 6.66 | 15.738 | 22.236 | 882 | 56.676 | 15.1153
2019-04-24 20:15:00 | 3.36 | 205.6007 | 3.8667 | 225.9333 | 6.1827 | 27.0013 | 6.2253 | 98.5887 | 22.0867 | 882 | 57.9453 | 17.054
2019-04-24 20:30:00 | 3.448 | 121.144 | 3.964 | 133.12 | 6.522 | 213.592 | 6.454 | 193.98 | 21.822 | 882.1333 | 60.078 | 17.0547
2019-04-24 20:45:00 | 3.956 | 216.0667 | 4.5493 | 237.4267 | 7.4927 | 37.3547 | 7.466 | 29.9293 | 21.3333 | 883 | 62.1447 | 20.11
2019-04-24 21:00:00 | 4.148 | 252.562 | 4.774 | 277.54 | 7.728 | 20.278 | 7.86 | 20.124 | 20.964 | 883 | 63.408 | 17.6387
2019-04-24 21:15:00 | 3.708 | 225.894 | 4.2727 | 248.2333 | 6.9947 | 105.0207 | 7.0507 | 36.5133 | 20.6307 | 883 | 64.5067 | 20.6507
2019-04-24 21:30:00 | 3.588 | 5.516 | 4.124 | 6.058 | 6.964 | 356.82 | 7.094 | 248.36 | 20.236 | 883 | 65.79 | 22.758
2019-04-24 21:45:00 | 3.6073 | 270.3293 | 4.152 | 297.0553 | 7.0813 | 31.8627 | 7.2667 | 34.0713 | 19.9133 | 883 | 66.878 | 22.3667
2019-04-24 22:00:00 | 4.452 | 175.404 | 5.118 | 192.74 | 8.188 | 18.646 | 8.062 | 12.912 | 19.866 | 883 | 66.742 | 27.5073
2019-04-24 22:15:00 | 5.2773 | 42.4853 | 6.066 | 46.68 | 8.726 | 10.254 | 8.8953 | 15.3293 | 20.2567 | 883 | 64.946 | 24.8373
2019-04-24 22:30:00 | 4.96 | 178.146 | 5.704 | 195.76 | 9.036 | 9.696 | 9.428 | 18.998 | 19.904 | 883.1333 | 66.854 | 21.1273
2019-04-24 22:45:00 | 4.2067 | 112.5207 | 4.8387 | 123.6467 | 7.8973 | 14.2827 | 7.8213 | 19.942 | 19.3273 | 884 | 69.2887 | 18.7927
2019-04-24 23:00:00 | 4.016 | 240.454 | 4.618 | 264.24 | 7.834 | 14.252 | 7.626 | 21.234 | 18.876 | 884 | 71.134 | 18.9667
2019-04-24 23:15:00 | 3.8993 | 301.51 | 4.494 | 331.32 | 6.6267 | 16.6587 | 6.9367 | 18.8267 | 18.9987 | 884 | 70.746 | 20.9813
2019-04-24 23:30:00 | 3.684 | 290.79 | 4.24 | 319.54 | 6.784 | 13.826 | 7.062 | 12.024 | 18.758 | 884 | 72.298 | 23.024
2019-04-24 23:45:00 | 3.772 | 306.294 | 4.3413 | 336.58 | 6.8147 | 16.0207 | 7.3473 | 17.356 | 18.354 | 884 | 74.3913 | 31.8533