## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-25 00:00:00 | 4.4057 | 139.8486 | 5.0657 | 153.6743 | 7.6986 | 6.8957 | 8.2886 | 14.02 | 18.2529 | 883.9286 | 75.32 | 37.1243
2019-04-25 00:15:00 | 4.6747 | 289.098 | 5.3853 | 317.6933 | 8.1947 | 355.6067 | 8.3547 | 14.6693 | 18.22 | 883 | 75.21 | 25.986
2019-04-25 00:30:00 | 4.322 | 324.81 | 4.97 | 356.9333 | 7.762 | 146.382 | 7.81 | 19.164 | 18.124 | 883 | 75.954 | 24.442
2019-04-25 00:45:00 | 4.274 | 147.7147 | 4.918 | 162.32 | 7.8567 | 11.0207 | 8.1367 | 17.8653 | 17.7487 | 883 | 78.2553 | 18.6293
2019-04-25 01:00:00 | 3.776 | 313.952 | 4.346 | 345 | 6.934 | 4.026 | 7.284 | 6.598 | 17.392 | 883 | 79.696 | 25.0667
2019-04-25 01:15:00 | 3.6267 | 198.5133 | 4.17 | 218.1433 | 7.1133 | 17.79 | 7.3067 | 9.4433 | 16.84 | 883 | 81.2667 | 27.892
2019-04-25 01:30:00 | 3.774 | 187.798 | 4.342 | 206.372 | 7.334 | 19.25 | 7.09 | 8.088 | 16.36 | 883 | 83.08 | 22.226
2019-04-25 01:45:00 | 3.556 | 282.6853 | 4.098 | 310.6467 | 6.902 | 15.2313 | 6.7253 | 14.776 | 16.2847 | 882.5333 | 84.1867 | 15.438
2019-04-25 02:00:00 | 3.092 | 299.526 | 3.57 | 329.14 | 6.032 | 20.612 | 6.228 | 22.644 | 16.138 | 882 | 85.42 | 7.7413
2019-04-25 02:15:00 | 2.9373 | 95.276 | 3.3893 | 104.6933 | 4.8867 | 21.2727 | 4.8767 | 21.386 | 15.936 | 882 | 85.46 | 6.7193
2019-04-25 02:30:00 | 3.6767 | 314.5867 | 4.23 | 345.7 | 4.7233 | 11.64 | 4.7833 | 14.2433 | 16.4767 | 882 | 81.6667 | 6.8927
2019-04-25 02:45:00 | 3.764 | 317.8173 | 4.3293 | 349.2467 | 5.046 | 10.1773 | 4.9033 | 7.398 | 16.5693 | 882 | 82.08 | 6.5953
2019-04-25 03:00:00 | 3.8533 | 303.0933 | 4.43 | 333.0667 | 5.1467 | 13.4533 | 4.84 | 20.6667 | 16.35 | 882 | 84 | 8.1573
2019-04-25 03:15:00 | 4.066 | 29.0993 | 4.684 | 31.972 | 5.3373 | 12.2513 | 5.2913 | 19.9973 | 16.2067 | 882 | 84.98 | 8.5447
2019-04-25 03:30:00 | 3.928 | 201.236 | 4.516 | 221.14 | 6.036 | 8.616 | 5.95 | 20.044 | 16.046 | 882 | 85.7 | 8.6967
2019-04-25 03:45:00 | 3.83 | 161.41 | 4.4067 | 177.3767 | 6.28 | 20.8167 | 6.5467 | 30.24 | 15.82 | 882 | 86.4 | 10.26
2019-04-25 04:00:00 | 4.116 | 201.688 | 4.74 | 221.632 | 5.806 | 16.954 | 6.278 | 29.72 | 15.754 | 882 | 85.94 | 9.26
2019-04-25 04:15:00 | 4.68 | 34.18 | 5.3907 | 37.56 | 6.0053 | 3.9133 | 6.314 | 3.01 | 15.7947 | 882 | 84.22 | 6.828
2019-04-25 04:30:00 | 4.81 | 226.7833 | 5.5367 | 249.21 | 5.9167 | 11.8133 | 6.1733 | 18.2433 | 15.8 | 882 | 84.1333 | 3.562
2019-04-25 04:45:00 | 4.8207 | 135.0667 | 5.5487 | 148.416 | 5.7187 | 7.85 | 5.844 | 15.6893 | 15.8933 | 882 | 82.72 | 0.944
2019-04-25 05:00:00 | 3.968 | 322.268 | 4.568 | 354.14 | 5.21 | 8.444 | 5.4667 | 20.416 | 15.918 | 882 | 82.52 | 1.1593
2019-04-25 05:15:00 | 3.4133 | 303.5167 | 3.9233 | 333.5333 | 5.1733 | 22 | 5.19 | 30.3667 | 15.68 | 882 | 83.8333 | 1.2333
2019-04-25 05:30:00 | 3.7667 | 136.7833 | 4.33 | 150.3133 | 5.0933 | 10.5467 | 5.1833 | 18.12 | 15.668 | 882 | 85.0333 | 3.1727
2019-04-25 05:45:00 | 4.4933 | 306.1067 | 5.1767 | 336.3667 | 5.8267 | 237.9167 | 5.8533 | 59.8733 | 15.2933 | 881.5333 | 88.2 | 5.7607
2019-04-25 06:00:00 | 4.8867 | 120.6067 | 5.6167 | 132.5267 | 6.36 | 1.6033 | 6.02 | 6.8933 | 14.6933 | 881 | 91.8667 | 5.7293
2019-04-25 06:15:00 | 4.978 | 130.036 | 5.726 | 142.9 | 6.5127 | 39.95 | 6.244 | 2.09 | 14.6193 | 881 | 92.24 | 5.4393
2019-04-25 06:30:00 | 4.7367 | 309.1867 | 5.45 | 339.7667 | 6.5767 | 5.5033 | 6.76 | 8.4833 | 14.7833 | 881 | 91.1333 | 6.7247
2019-04-25 06:45:00 | 4.5467 | 108.38 | 5.2333 | 119.0933 | 6.3067 | 2.1733 | 6.1933 | 11.54 | 14.79 | 881 | 90.4 | 1.6127
2019-04-25 07:00:00 | 4.2133 | 318.9533 | 4.8533 | 350.5 | 5.1133 | 9.7067 | 4.9933 | 14.58 | 15.0767 | 881 | 87.9333 | 0.538
2019-04-25 07:15:00 | 3.5533 | 314.4633 | 4.0867 | 345.5667 | 5.0767 | 20.2867 | 4.93 | 15.0667 | 15.1867 | 881.4667 | 88.1667 | 0.578
2019-04-25 07:30:00 | 3.8333 | 106.9767 | 4.4067 | 117.56 | 5.1233 | 16.6533 | 4.5433 | 20.3667 | 15.2627 | 882 | 88.5 | 1.0267
2019-04-25 07:45:00 | 3.78 | 108.3533 | 4.36 | 119.06 | 4.8467 | 12.86 | 4.4533 | 14.6467 | 15.4933 | 882.4667 | 87.9333 | 1.752
2019-04-25 08:00:00 | 3.7533 | 318.9667 | 4.3267 | 350.5 | 4.52 | 9.7933 | 4.9733 | 14.6133 | 15.74 | 883 | 87.4667 | 1.8933
2019-04-25 08:15:00 | 4.02 | 107.13 | 4.63 | 117.7133 | 5.1567 | 14.2 | 5.5933 | 17.6933 | 16.0033 | 883 | 87.1667 | 1.178
2019-04-25 08:30:00 | 3.8333 | 203.27 | 4.41 | 223.3667 | 5.2167 | 8.0267 | 5.12 | 16.4467 | 16.67 | 883.8 | 84.5667 | 0.61267
2019-04-25 08:45:00 | 3.7033 | 220.8733 | 4.26 | 242.7133 | 4.3767 | 4.0867 | 4.54 | 13.5267 | 17.1267 | 884 | 82.6667 | 0
2019-04-25 09:00:00 | 3.3433 | 10.0733 | 3.8467 | 11.0667 | 4.1233 | 12.6067 | 4.1333 | 16.22 | 17.6 | 884 | 81.9333 | 0
2019-04-25 09:15:00 | 3.4333 | 5.0767 | 3.9533 | 5.5733 | 4.3067 | 17.26 | 4.1567 | 21.6 | 17.89 | 884.4667 | 81.0333 | 0
2019-04-25 09:30:00 | 3.1 | 56.3033 | 3.5667 | 61.8667 | 3.8333 | 21.86 | 3.8033 | 18.9533 | 18.4833 | 885 | 79.3733 | 0
2019-04-25 09:45:00 | 2.92 | 4.81 | 3.3567 | 5.2833 | 3.3133 | 10.4567 | 3.19 | 19.94 | 18.8967 | 885 | 76.9167 | 0
2019-04-25 10:00:00 | 1.9133 | 205.35 | 2.1967 | 225.65 | 2.0667 | 234.4833 | 1.23 | 241.1 | 18.9033 | 885 | 75.9833 | 0.518
2019-04-25 10:15:00 | 1.3067 | 57.29 | 1.5067 | 62.9467 | 1.3567 | 288.2333 | 1.3133 | 248.8 | 20.17 | 885 | 71.46 | 1.18
2019-04-25 10:30:00 | 2.6533 | 137.7833 | 3.06 | 151.4 | 3.01 | 188.9 | 2.84 | 180.0133 | 21.73 | 885 | 68.1 | 1.7867
2019-04-25 10:45:00 | 3.0267 | 150.4867 | 3.48 | 165.3667 | 3.3733 | 186.3 | 3.24 | 204.6667 | 22.0113 | 885 | 66.87 | 2.3113
2019-04-25 11:00:00 | 3.4067 | 149.82 | 3.92 | 164.6333 | 3.8667 | 197.8333 | 4.0467 | 189.4 | 22.73 | 885 | 62.8233 | 3.6453
2019-04-25 11:15:00 | 3.6467 | 162.5213 | 4.2047 | 178.5867 | 4.3467 | 183.3133 | 4.3487 | 196.1267 | 23.226 | 885 | 59.154 | 4.404
2019-04-25 11:30:00 | 3.7 | 147.6067 | 4.2667 | 162.2 | 4.4533 | 169.5333 | 4.4633 | 212.4333 | 23.7267 | 885.8 | 57.01 | 6.7087
2019-04-25 11:45:00 | 4.3833 | 174.4233 | 5.04 | 191.6667 | 5.1667 | 163.8667 | 4.9733 | 179.4333 | 24.13 | 886 | 55.9067 | 6.0593
2019-04-25 12:00:00 | 4.2633 | 160.4167 | 4.9067 | 176.2667 | 4.92 | 171.4 | 4.9 | 182.3 | 24.4607 | 885.8667 | 55.8667 | 7.0867
2019-04-25 12:15:00 | 4.0333 | 148.6433 | 4.6467 | 163.3333 | 4.8533 | 183.2333 | 4.77 | 189.4667 | 24.91 | 885 | 55.4073 | 8.7067
2019-04-25 12:30:00 | 4.34 | 159.3167 | 5 | 175.0667 | 5.2667 | 175.5 | 5.2833 | 178.0667 | 25.4167 | 885 | 54.6433 | 9.756
2019-04-25 12:45:00 | 4.3067 | 138.48 | 4.9533 | 152.1667 | 5.35 | 185.9 | 5.54 | 187.8 | 25.8867 | 885 | 55 | 11.0593
2019-04-25 13:00:00 | 3.7933 | 162.1933 | 4.36 | 178.2333 | 4.8233 | 220.2333 | 5.1 | 223.6667 | 26.4667 | 885 | 54.3133 | 11.498
2019-04-25 13:15:00 | 3.8433 | 188.55 | 4.43 | 207.2 | 4.9333 | 228.3 | 5.2533 | 242.2 | 26.56 | 885 | 54.3233 | 14.1667
2019-04-25 13:30:00 | 3.8967 | 144.8407 | 4.4833 | 159.16 | 4.8333 | 213.8333 | 4.7467 | 228.6 | 26.92 | 885 | 54.17 | 16.1953
2019-04-25 13:45:00 | 4.6733 | 160.4967 | 5.3833 | 176.3667 | 5.94 | 200.4 | 5.5567 | 190.0333 | 27.0167 | 885 | 54.89 | 17.7033
2019-04-25 14:00:00 | 4.426 | 179.84 | 5.098 | 197.62 | 5.952 | 239.9 | 6.102 | 229.28 | 27.434 | 885 | 53.996 | 21.7113
2019-04-25 14:15:00 | 4.3633 | 159.1567 | 5.0267 | 174.9 | 5.6233 | 200.9333 | 5.6967 | 187.1 | 27.6353 | 884.5333 | 53.4033 | 25.984
2019-04-25 14:30:00 | 3.6167 | 150.25 | 4.16 | 165.1 | 4.7833 | 170.1333 | 5.45 | 226.7667 | 28.2767 | 884 | 51.8833 | 32.016
2019-04-25 14:45:00 | 4.5533 | 172.6533 | 5.2367 | 189.7333 | 6.08 | 223.1 | 6.4933 | 230.9333 | 28.6 | 884 | 50.24 | 36.5953
2019-04-25 15:00:00 | 4.5267 | 129.04 | 5.2167 | 141.8 | 6.0533 | 230.9 | 6.6267 | 238.8 | 28.7347 | 884 | 49.3787 | 34.8567
2019-04-25 15:15:00 | 5.52 | 146.42 | 6.3567 | 160.9 | 7.29 | 234.9667 | 7.7167 | 240.9333 | 28.7353 | 884 | 49.0133 | 33.4313
2019-04-25 15:30:00 | 5.4267 | 125.0067 | 6.2367 | 137.3667 | 6.9167 | 201.6333 | 7.5833 | 204.0667 | 28.33 | 884 | 50.28 | 32.5973
2019-04-25 15:45:00 | 4.1 | 160.2567 | 4.72 | 176.1 | 5.4033 | 220.6 | 5.9067 | 218.1667 | 28.1267 | 884 | 51.4033 | 28.278
2019-04-25 16:00:00 | 4.1933 | 142.4233 | 4.8267 | 156.5 | 5.3713 | 193.1333 | 5.8733 | 173.3667 | 28.0533 | 883.2 | 51.87 | 27.634
2019-04-25 16:15:00 | 4.6933 | 143.4767 | 5.3967 | 157.6667 | 5.9733 | 231.6333 | 6.4567 | 171.1333 | 27.9133 | 883 | 52.4633 | 27.13
2019-04-25 16:30:00 | 4.6 | 111.33 | 5.29 | 122.3333 | 5.5733 | 166.7667 | 5.87 | 184.8 | 27.9467 | 883 | 52.958 | 29.158
2019-04-25 16:45:00 | 4.6547 | 140.04 | 5.3573 | 153.88 | 5.8547 | 139.86 | 6.0027 | 161.2467 | 27.4953 | 882.5333 | 54.1393 | 26.1587
2019-04-25 17:00:00 | 4.0267 | 210.52 | 4.6367 | 231.3333 | 4.8933 | 194.9333 | 5.7067 | 186.8 | 27.3987 | 882 | 55.07 | 27.8687
2019-04-25 17:15:00 | 4.76 | 138.2 | 5.4833 | 151.8667 | 6 | 195.7333 | 6.8067 | 184.0667 | 27.1 | 882 | 55.66 | 25.4873
2019-04-25 17:30:00 | 4.8 | 144.6333 | 5.53 | 158.9333 | 6.1733 | 173.5333 | 6.62 | 184.2 | 26.96 | 882 | 56.0307 | 24.896
2019-04-25 17:45:00 | 4.3467 | 155.71 | 5.0067 | 171.1067 | 5.472 | 169.72 | 6.012 | 178.7 | 26.7927 | 882 | 56.536 | 26.32
2019-04-25 18:00:00 | 4.7733 | 154.3433 | 5.4933 | 169.6 | 5.84 | 160.0667 | 6.0733 | 203.3667 | 26.6567 | 882 | 56.764 | 24.4333
2019-04-25 18:15:00 | 3.71 | 142.82 | 4.2667 | 156.9333 | 4.8 | 191.3333 | 5.19 | 199.1 | 26.5493 | 882 | 57.0953 | 22.7313
2019-04-25 18:30:00 | 3.3433 | 163.7533 | 3.8533 | 179.9333 | 4.2933 | 218.6667 | 4.5233 | 193.7667 | 26.4013 | 881.2 | 57.5567 | 19.4327
2019-04-25 18:45:00 | 3.63 | 188.2867 | 4.1733 | 206.9 | 4.6167 | 217.8667 | 5.04 | 207.3 | 26.31 | 881 | 57.584 | 14.202
2019-04-25 19:00:00 | 3.1433 | 196.8333 | 3.6133 | 216.3 | 4.1967 | 203.5333 | 4.38 | 202.1 | 26.1967 | 881.8 | 58.0133 | 12.446
2019-04-25 19:15:00 | 3.06 | 167.4733 | 3.52 | 184.0333 | 4.09 | 203.3667 | 4.2133 | 186.4333 | 26.0567 | 882 | 58.638 | 10.7333
2019-04-25 19:30:00 | 2.7267 | 168.5067 | 3.1333 | 185.1667 | 3.5833 | 169.9667 | 3.8733 | 185.3667 | 25.73 | 882 | 60.3633 | 10.7833
2019-04-25 19:45:00 | 3.0733 | 159.5033 | 3.5433 | 175.2667 | 3.9033 | 194.2667 | 4.1933 | 190.6333 | 25.5333 | 882 | 61.9167 | 10.5993
2019-04-25 20:00:00 | 3.3533 | 178.9167 | 3.8567 | 196.6 | 4.3433 | 213.6667 | 4.48 | 202.5 | 25.3267 | 882 | 62.9833 | 10.8653
2019-04-25 20:15:00 | 3.9267 | 165.2033 | 4.52 | 181.5333 | 5.1033 | 205.8667 | 5.68 | 209.3 | 25.09 | 882 | 63.9133 | 10.748
2019-04-25 20:30:00 | 3.7333 | 172.6033 | 4.3 | 189.6667 | 4.8233 | 191.8667 | 5.2533 | 205.1933 | 25.0367 | 882 | 63.8133 | 8.676
2019-04-25 20:45:00 | 3.42 | 159.1867 | 3.94 | 174.9333 | 4.3467 | 187.6333 | 4.91 | 194.5 | 24.9233 | 882 | 64.06 | 9.1133
2019-04-25 21:00:00 | 3.4067 | 162.5267 | 3.9267 | 178.6 | 4.2667 | 199.9 | 4.8433 | 194.2333 | 24.8367 | 882 | 63.936 | 7.22
2019-04-25 21:15:00 | 3.4067 | 177.3867 | 3.92 | 194.9333 | 4.2133 | 182.3333 | 4.6833 | 190.2667 | 24.74 | 882 | 63.9333 | 5.3407
2019-04-25 21:30:00 | 2.98 | 179.0867 | 3.4267 | 196.8 | 3.7 | 188.9333 | 4.1967 | 199.2667 | 24.76 | 882.8 | 63.8133 | 6.416
2019-04-25 21:45:00 | 2.6893 | 182.944 | 3.0927 | 201.0267 | 3.3007 | 192.84 | 3.6773 | 194.6333 | 24.62 | 883 | 64.214 | 6.4713
2019-04-25 22:00:00 | 1.9933 | 176.2967 | 2.29 | 193.7333 | 2.6333 | 195.2333 | 2.96 | 201.0333 | 24.5573 | 883 | 64.2067 | 4.246
2019-04-25 22:15:00 | 2.3533 | 164.3567 | 2.7033 | 180.6 | 3.3233 | 220.4667 | 3.3 | 216.0333 | 24.4527 | 883 | 64.6287 | 2.9353
2019-04-25 22:30:00 | 2.56 | 177.5767 | 2.9433 | 195.1333 | 3.6767 | 213.4667 | 3.6933 | 212.3667 | 24.4167 | 883 | 64.4167 | 2.7753
2019-04-25 22:45:00 | 2.132 | 170.7093 | 2.456 | 187.5867 | 3.4013 | 223.5733 | 3.352 | 222.96 | 24.4093 | 883 | 64.4627 | 2.8687
2019-04-25 23:00:00 | 1.7133 | 167.02 | 1.9833 | 183.5333 | 2.8367 | 192.9333 | 2.8 | 207.1 | 24.0733 | 883 | 65.9433 | 2.3873
2019-04-25 23:15:00 | 1.62 | 173.3867 | 1.8667 | 190.5333 | 2.3467 | 187.4667 | 2.3867 | 205.5333 | 23.8933 | 883 | 66.5 | 2.6813
2019-04-25 23:30:00 | 1.9133 | 180.0067 | 2.2067 | 197.8 | 2.9933 | 212.7333 | 3.28 | 220.9333 | 23.936 | 883 | 66.2667 | 4.648
2019-04-25 23:45:00 | 2.46 | 159.2 | 2.8333 | 174.9333 | 3.6467 | 197.3333 | 3.73 | 204.7333 | 23.74 | 883 | 67.0067 | 5.7953