## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-26 00:00:00 | 2.2657 | 168.0014 | 2.6129 | 184.6143 | 3.0593 | 213.6143 | 3.145 | 207.5857 | 23.6279 | 883 | 67.2579 | 5.545
2019-04-26 00:15:00 | 2.18 | 173.5367 | 2.5133 | 190.7 | 3.2967 | 213.7667 | 3.6 | 225.8 | 23.6867 | 883 | 66.8367 | 4.5747
2019-04-26 00:30:00 | 2.0667 | 174.63 | 2.3867 | 191.9 | 3.0367 | 215.3667 | 2.8867 | 203.2667 | 23.8267 | 883 | 66.17 | 5.7433
2019-04-26 00:45:00 | 2.3007 | 179.4967 | 2.6433 | 197.2467 | 3.0507 | 203.7333 | 3.3007 | 207.0667 | 23.4267 | 883 | 67.9107 | 6.3527
2019-04-26 01:00:00 | 1.79 | 173.2473 | 2.06 | 190.38 | 2.5233 | 211.6333 | 3.14 | 205.9667 | 23.14 | 883 | 69.22 | 7.744
2019-04-26 01:15:00 | 2.14 | 171.5067 | 2.47 | 188.4667 | 3.0033 | 196.9333 | 3.3867 | 197.8667 | 22.96 | 883 | 69.9433 | 7.8593
2019-04-26 01:30:00 | 1.9267 | 150.6933 | 2.2167 | 165.6 | 2.95 | 191.6667 | 2.9267 | 198.2667 | 22.7 | 882.2 | 71.2033 | 6.9733
2019-04-26 01:45:00 | 1.98 | 163.4667 | 2.2867 | 179.6333 | 3.0033 | 183.6333 | 3.0633 | 203.6333 | 22.3633 | 882 | 72.7733 | 4.6327
2019-04-26 02:00:00 | 1.8867 | 154.7333 | 2.1733 | 170.0333 | 2.7967 | 184.8333 | 2.8633 | 201.3 | 22.31 | 882 | 72.7867 | 3.9427
2019-04-26 02:15:00 | 2.3533 | 174.75 | 2.7067 | 192.0333 | 3.33 | 197.1 | 3.3567 | 208.9667 | 22.26 | 882 | 72.2633 | 5.0687
2019-04-26 02:30:00 | 2.0733 | 189.31 | 2.3867 | 208.0333 | 3.2033 | 204.3 | 3.4367 | 209.8333 | 22.2787 | 882 | 72.2167 | 6.1613
2019-04-26 02:45:00 | 2.3133 | 167.93 | 2.66 | 184.5333 | 3.6467 | 205.8667 | 3.72 | 197.8667 | 22.3467 | 882 | 71.77 | 5.924
2019-04-26 03:00:00 | 1.9133 | 167.93 | 2.2067 | 184.5333 | 3.2067 | 224 | 3.6267 | 223.9333 | 22.02 | 881.2 | 73.15 | 5.0587
2019-04-26 03:15:00 | 1.34 | 177.39 | 1.5467 | 194.9333 | 2.0533 | 213.5 | 2.5267 | 226.3933 | 21.912 | 881 | 73.6387 | 4.666
2019-04-26 03:30:00 | 2.0733 | 173.6967 | 2.3933 | 190.8667 | 2.9733 | 193.7667 | 3.5133 | 202.2333 | 21.5467 | 881 | 75.4933 | 4.9067
2019-04-26 03:45:00 | 2.6333 | 168.78 | 3.0267 | 185.4667 | 3.7133 | 180.9667 | 4.1633 | 208.1 | 21.0733 | 881 | 77.9433 | 3.63
2019-04-26 04:00:00 | 1.9667 | 257.1667 | 2.26 | 282.6 | 3.4533 | 231.9667 | 3.6033 | 249.9667 | 21.3 | 881 | 76.0367 | 3.98
2019-04-26 04:15:00 | 2.05 | 195.0767 | 2.3567 | 214.3667 | 3.1867 | 233.0667 | 3.1133 | 238.5333 | 21.84 | 881 | 72.43 | 4.3173
2019-04-26 04:30:00 | 1.756 | 177.946 | 2.028 | 195.54 | 2.484 | 213.62 | 2.89 | 217.48 | 21.78 | 881 | 72.478 | 2.5833
2019-04-26 04:45:00 | 1.6867 | 189.5867 | 1.95 | 208.3333 | 2.8267 | 229.7333 | 3.4533 | 238.4667 | 21.764 | 881 | 71.9433 | 2.5567
2019-04-26 05:00:00 | 1.1533 | 189.268 | 1.3367 | 207.9867 | 2.0733 | 213.1333 | 2.5933 | 233.2 | 21.8227 | 881 | 71.3513 | 0.66867
2019-04-26 05:15:00 | 1.0733 | 296.66 | 1.2433 | 326 | 1.9667 | 256.9333 | 2.1133 | 263.1 | 22.1333 | 881 | 68.9133 | 0.22867
2019-04-26 05:30:00 | 1.1533 | 283.4813 | 1.3367 | 311.52 | 1.9667 | 286.5333 | 1.9733 | 290.2333 | 22.196 | 881.8 | 68.2933 | 0.386
2019-04-26 05:45:00 | 0.73667 | 315.7667 | 0.85667 | 347 | 0.69667 | 280 | 0.41333 | 262.7 | 22.0333 | 882 | 70.0633 | 0
2019-04-26 06:00:00 | 1.42 | 129.03 | 1.646 | 141.79 | 1.27 | 114.722 | 0.24 | 109.976 | 21.414 | 882 | 74.654 | 0
2019-04-26 06:15:00 | 3.11 | 316.56 | 3.5767 | 347.8667 | 3.6267 | 1.8 | 2.96 | 59.9333 | 20.7867 | 882 | 78.0067 | 0.009333
2019-04-26 06:30:00 | 2.6567 | 314.5 | 3.0633 | 345.6 | 3.18 | 14.5467 | 2.12 | 5.88 | 20.92 | 882 | 77.1 | 0
2019-04-26 06:45:00 | 2.61 | 312.2967 | 3 | 343.18 | 3.2033 | 11.7933 | 2.2967 | 7.97 | 21.05 | 882 | 76.1233 | 0
2019-04-26 07:00:00 | 2.4233 | 296.0233 | 2.7933 | 325.3 | 3.0767 | 10.6267 | 2.9367 | 15.75 | 21.2567 | 882 | 75.17 | 0
2019-04-26 07:15:00 | 2.08 | 305.1 | 2.39 | 335.2667 | 2.85 | 4.0833 | 2.78 | 19.5567 | 21.3633 | 882 | 74.9533 | 0
2019-04-26 07:30:00 | 2.64 | 107.4867 | 3.0367 | 118.1133 | 3.8033 | 4.57 | 3.7533 | 13.7033 | 21.2567 | 882.1333 | 76.2467 | 0
2019-04-26 07:45:00 | 3.4267 | 28.17 | 3.9367 | 30.9467 | 4.4033 | 122.2733 | 4.5333 | 5.9 | 20.91 | 883 | 78.0633 | 0
2019-04-26 08:00:00 | 3.1467 | 235.63 | 3.6167 | 258.9333 | 4.21 | 121.82 | 4.18 | 14.3867 | 21.1567 | 883 | 76.8633 | 0
2019-04-26 08:15:00 | 3.2433 | 318.8933 | 3.7267 | 350.4333 | 4.172 | 8.4733 | 4.2333 | 15.05 | 21.2613 | 883 | 75.97 | 0
2019-04-26 08:30:00 | 3.03 | 319.8067 | 3.4933 | 351.4333 | 3.6133 | 4.5867 | 3.4733 | 9.8833 | 21.4267 | 883 | 75.01 | 0
2019-04-26 08:45:00 | 2.66 | 301.28 | 3.0667 | 331.0667 | 3.14 | 121.5867 | 2.8267 | 13.2467 | 21.76 | 883.4667 | 73.6933 | 0
2019-04-26 09:00:00 | 2.6933 | 307.7067 | 3.1 | 338.1333 | 3.1067 | 350.2 | 2.9667 | 10.2 | 21.6533 | 884 | 74.8973 | 0
2019-04-26 09:15:00 | 2.48 | 217.7067 | 2.85 | 239.23 | 2.9433 | 236.93 | 2.5933 | 1.8933 | 22.1033 | 884 | 72.9467 | 0
2019-04-26 09:30:00 | 2.4067 | 5.76 | 2.77 | 6.33 | 3.29 | 7.89 | 2.7733 | 0.37333 | 22.6033 | 884 | 72.32 | 0
2019-04-26 09:45:00 | 2.6267 | 324.69 | 3.02 | 356.8 | 2.9933 | 352.8333 | 2.4267 | 237.7933 | 22.3133 | 884 | 73.03 | 0
2019-04-26 10:00:00 | 2.44 | 116.334 | 2.8067 | 127.84 | 2.9267 | 118.62 | 2.0733 | 0.78 | 22.8533 | 884.1333 | 71.65 | 0
2019-04-26 10:15:00 | 1.4067 | 320.1033 | 1.63 | 351.7667 | 1.7 | 164.4533 | 0.88 | 79.38 | 23.03 | 885 | 71.5033 | 0
2019-04-26 10:30:00 | 0.51333 | 201.27 | 0.59667 | 221.1667 | 0.69333 | 248.5667 | 1.1067 | 188.8 | 24.19 | 885 | 66.51 | 0
2019-04-26 10:45:00 | 1.0533 | 138.6033 | 1.2233 | 152.3 | 1.4767 | 170.2667 | 1.44 | 171.0467 | 24.9133 | 885 | 66.4067 | 0
2019-04-26 11:00:00 | 1.2267 | 146.91 | 1.4167 | 161.4333 | 1.65 | 183 | 1.5733 | 150.3 | 25.68 | 885 | 66.3533 | 0
2019-04-26 11:15:00 | 1.3733 | 140.2133 | 1.5767 | 154.0667 | 1.6667 | 167.0333 | 1.5733 | 151.8333 | 25.5933 | 885.4667 | 64.8987 | 0
2019-04-26 11:30:00 | 1.5133 | 153.3067 | 1.75 | 168.4667 | 1.9067 | 147.3 | 1.8733 | 167.4333 | 25.56 | 886 | 64.108 | 0
2019-04-26 11:45:00 | 1.46 | 144.1467 | 1.6867 | 158.4 | 2.05 | 180.9333 | 2.26 | 185.8667 | 25.9333 | 886 | 63.7567 | 0
2019-04-26 12:00:00 | 2.0667 | 125.6467 | 2.3733 | 138.0667 | 2.45 | 143.6 | 2.5133 | 159.2 | 25.8733 | 886 | 62.3993 | 0
2019-04-26 12:15:00 | 1.7167 | 135.47 | 1.9867 | 148.8667 | 2.3333 | 195.5333 | 2.49 | 214.5667 | 25.8367 | 885.5333 | 63.0733 | 0
2019-04-26 12:30:00 | 2.1033 | 134.0167 | 2.42 | 147.2667 | 2.62 | 197.3333 | 2.65 | 218.1267 | 25.57 | 885 | 63.2467 | 0.48933
2019-04-26 12:45:00 | 2.6533 | 142.9033 | 3.06 | 157.0333 | 3.34 | 178.6 | 3.4633 | 177.9667 | 26.01 | 885 | 61.83 | 2.1933
2019-04-26 13:00:00 | 2.9867 | 150.1833 | 3.44 | 165.0333 | 3.8333 | 170.4667 | 4.0967 | 159.5 | 25.8713 | 885 | 62.35 | 1.9893
2019-04-26 13:15:00 | 3.9767 | 143.3 | 4.5833 | 157.4667 | 5.1233 | 151.3333 | 5.2133 | 167.0333 | 25.6767 | 884.5333 | 63.09 | 3.9267
2019-04-26 13:30:00 | 3.63 | 170.1733 | 4.1767 | 187 | 4.7233 | 166.2 | 4.96 | 168.3 | 26.0033 | 884 | 62.2593 | 3.9327
2019-04-26 13:45:00 | 4.08 | 165.5633 | 4.69 | 181.9333 | 5.15 | 177.5 | 5.312 | 169.6 | 26.43 | 884 | 60.9533 | 3.5587
2019-04-26 14:00:00 | 3.9133 | 127.2233 | 4.5033 | 139.8 | 4.89 | 173.5667 | 5.1 | 169 | 26.4073 | 884 | 60.9333 | 3.07
2019-04-26 14:15:00 | 3.0267 | 163.8 | 3.48 | 180 | 3.76 | 177.4333 | 4.1733 | 212.7667 | 26.4733 | 884 | 60.9873 | 2.9153
2019-04-26 14:30:00 | 3.1867 | 157.0733 | 3.6667 | 172.6 | 4.0733 | 165.0333 | 4.3867 | 189.6333 | 26.2933 | 884 | 61.366 | 2.398
2019-04-26 14:45:00 | 2.96 | 131.1333 | 3.4067 | 144.1 | 3.78 | 158.1333 | 4.1133 | 173.1667 | 25.84 | 883.5333 | 62.7233 | 2.3127
2019-04-26 15:00:00 | 2.9867 | 115.4867 | 3.44 | 126.9 | 3.7667 | 156.2 | 4.1933 | 172.7667 | 26.14 | 883 | 62.61 | 4.3873
2019-04-26 15:15:00 | 4.3733 | 122.0667 | 5.0333 | 134.1333 | 5.4233 | 154 | 5.4867 | 165.8333 | 26.4567 | 883 | 62.0067 | 5.7327
2019-04-26 15:30:00 | 4.754 | 114.486 | 5.48 | 125.8 | 6.078 | 163.18 | 6.298 | 162.66 | 26.486 | 882.8667 | 61.556 | 5.6133
2019-04-26 15:45:00 | 3.6333 | 168.8667 | 4.18 | 185.5667 | 4.69 | 154.2333 | 4.8667 | 151.1 | 26.19 | 882 | 62.53 | 7.374
2019-04-26 16:00:00 | 4.2333 | 112.9933 | 4.8733 | 124.1667 | 5.2567 | 153.3 | 5.34 | 151.4333 | 26.0913 | 882 | 62.5033 | 11.4487
2019-04-26 16:15:00 | 4.1333 | 156.1233 | 4.7567 | 171.5667 | 5.12 | 152.6667 | 5.33 | 157.1333 | 26.184 | 882 | 62.8733 | 12.7793
2019-04-26 16:30:00 | 4.38 | 157.5233 | 5.0367 | 173.1 | 5.3333 | 195.9333 | 5.9167 | 192.8 | 26.58 | 881.2 | 61.9333 | 9.9513
2019-04-26 16:45:00 | 3.9567 | 136.41 | 4.55 | 149.9 | 4.84 | 178.4667 | 4.9433 | 180.5667 | 26.54 | 881 | 62.4467 | 14.0513
2019-04-26 17:00:00 | 4.7567 | 137.9967 | 5.4767 | 151.6333 | 5.7667 | 182.3333 | 6.1167 | 181.3667 | 26.5533 | 881 | 61.04 | 18.278
2019-04-26 17:15:00 | 4.2867 | 147.9067 | 4.9367 | 162.5333 | 5.2633 | 178.9 | 5.5733 | 182.7333 | 26.5467 | 881 | 60.62 | 18.0813
2019-04-26 17:30:00 | 4.7 | 116.18 | 5.4033 | 127.6667 | 5.8833 | 148.1 | 6.0333 | 189.6667 | 26.3867 | 881 | 60.52 | 24.5867
2019-04-26 17:45:00 | 6.1267 | 161.04 | 7.0567 | 176.9667 | 7.6167 | 160.0333 | 7.9233 | 169.4 | 26.46 | 881 | 58.58 | 28.4953
2019-04-26 18:00:00 | 6.0533 | 161.5267 | 6.97 | 177.5 | 7.81 | 159.2333 | 8.4633 | 166 | 26.4333 | 881 | 58.3987 | 25.3307
2019-04-26 18:15:00 | 6.6133 | 130.2 | 7.61 | 143.0667 | 8.4567 | 160.5667 | 8.5233 | 172.0667 | 26.4693 | 881 | 58.44 | 21.9113
2019-04-26 18:30:00 | 5.7467 | 145.42 | 6.61 | 159.8 | 7.1767 | 144.8333 | 7.41 | 179 | 26.4133 | 881 | 58.6053 | 23.426
2019-04-26 18:45:00 | 5.1933 | 119.21 | 5.9733 | 131 | 6.3333 | 169.7333 | 6.4933 | 164.3333 | 26.3 | 881 | 58.86 | 24.7927
2019-04-26 19:00:00 | 4.924 | 143.388 | 5.664 | 157.56 | 6.098 | 161.74 | 6.47 | 170.24 | 26.158 | 881 | 59.306 | 24.1887
2019-04-26 19:15:00 | 4.58 | 138.08 | 5.2733 | 151.7333 | 5.7333 | 173.7333 | 6.1433 | 163.3667 | 25.9433 | 881 | 60.49 | 22.2193
2019-04-26 19:30:00 | 3.84 | 131.2867 | 4.42 | 144.2667 | 4.8133 | 189.4 | 5.2767 | 188.7667 | 25.7967 | 881 | 61.51 | 23.586
2019-04-26 19:45:00 | 3.7267 | 164.02 | 4.2867 | 180.2333 | 4.7333 | 196.1 | 5.08 | 208.6 | 25.7273 | 881 | 62.4367 | 25.9527
2019-04-26 20:00:00 | 4.1467 | 184.04 | 4.7667 | 202.2333 | 5.1533 | 197.1667 | 5.1933 | 169.4667 | 25.6967 | 880.2 | 63.2433 | 23.332
2019-04-26 20:15:00 | 3.5867 | 183.3 | 4.1333 | 201.4333 | 4.5733 | 203.4333 | 5.2967 | 197.0333 | 25.5033 | 880.4667 | 64.2933 | 19.566
2019-04-26 20:30:00 | 3.4 | 190.34 | 3.92 | 209.1667 | 4.4667 | 202.2333 | 5.01 | 180.9 | 25.3567 | 881 | 65 | 17.008
2019-04-26 20:45:00 | 3.3333 | 157.44 | 3.8367 | 173 | 4.1867 | 200 | 4.81 | 201.8 | 25.2613 | 881 | 65.6733 | 17.268
2019-04-26 21:00:00 | 3.34 | 163.8133 | 3.8433 | 180 | 4.14 | 193.2 | 4.6767 | 193.1333 | 25.1867 | 881 | 66.0267 | 15.4913
2019-04-26 21:15:00 | 3.26 | 164.78 | 3.7533 | 181.0667 | 4.0533 | 199.4333 | 4.5667 | 199.3667 | 24.8267 | 881 | 67.5733 | 16.012
2019-04-26 21:30:00 | 3.0533 | 176.4267 | 3.5133 | 193.8667 | 3.9867 | 200.0333 | 4.3867 | 213.8333 | 24.68 | 881 | 68.14 | 14.7493
2019-04-26 21:45:00 | 3.3133 | 190.65 | 3.8233 | 209.5 | 4.7467 | 223.5333 | 4.6033 | 214.3667 | 24.618 | 881 | 68.4447 | 15.8733
2019-04-26 22:00:00 | 2.8867 | 180.27 | 3.3233 | 198.1 | 3.9933 | 218.5333 | 4.1833 | 214.0333 | 24.5553 | 881 | 68.53 | 14.5467
2019-04-26 22:15:00 | 3.14 | 175.3633 | 3.6133 | 192.7 | 4.3 | 217.9667 | 4.4233 | 197.9 | 24.7533 | 881 | 67.45 | 16.492
2019-04-26 22:30:00 | 3.1933 | 171.218 | 3.6787 | 188.14 | 4.3053 | 211.42 | 4.53 | 211.18 | 24.904 | 881.1333 | 66.5367 | 18.8107
2019-04-26 22:45:00 | 3.03 | 171.2667 | 3.4833 | 188.2 | 4.0033 | 197.4667 | 4.4467 | 203.9667 | 24.892 | 881.5333 | 66.3133 | 17.1787
2019-04-26 23:00:00 | 2.61 | 175.1467 | 3.01 | 192.4667 | 3.5233 | 204.0667 | 3.5667 | 181.7667 | 24.52 | 881 | 67.96 | 17.904
2019-04-26 23:15:00 | 3.28 | 189.38 | 3.77 | 208.1 | 4.6467 | 216.5 | 4.5967 | 207.8333 | 24.23 | 881 | 68.8233 | 21.3833
2019-04-26 23:30:00 | 3.6333 | 170.7467 | 4.1833 | 187.6333 | 4.9267 | 195.9 | 4.9567 | 208.5 | 24.2953 | 881 | 68.6127 | 21.5333
2019-04-26 23:45:00 | 3.726 | 157.9693 | 4.2887 | 173.5933 | 4.7287 | 183.16 | 5.2587 | 192.3933 | 24.2687 | 881 | 68.704 | 25.8453