## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-27 00:00:00 | 3.5614 | 126.6214 | 4.0979 | 139.1429 | 4.5807 | 197.4286 | 5.1743 | 193.6643 | 24.2593 | 880.3 | 68.845 | 25.7464
2019-04-27 00:15:00 | 3.8833 | 154.1633 | 4.4667 | 169.4 | 4.8367 | 186.0667 | 5.3067 | 182.9 | 24.3107 | 880.4667 | 68.7967 | 29.2247
2019-04-27 00:30:00 | 4.5367 | 155.3767 | 5.22 | 170.7333 | 5.6233 | 184.6667 | 6.2267 | 170.1667 | 24.1627 | 880.2 | 69.4967 | 33.9333
2019-04-27 00:45:00 | 5.3333 | 143.6633 | 6.1333 | 157.8667 | 6.3933 | 175.0333 | 6.9433 | 184.1333 | 23.8767 | 880 | 70.5967 | 35.21
2019-04-27 01:00:00 | 4.7067 | 178.37 | 5.4133 | 196 | 5.9867 | 200.1667 | 6.3833 | 207.8 | 23.61 | 880 | 71.85 | 43.0613
2019-04-27 01:15:00 | 6.9433 | 145.72 | 7.9933 | 160.1333 | 8.5133 | 179.6667 | 9.0733 | 174.0667 | 23.6767 | 880 | 71.9587 | 47.7747
2019-04-27 01:30:00 | 6.9167 | 130.3733 | 7.96 | 143.2667 | 8.3533 | 179.5333 | 9.46 | 173.8 | 23.774 | 879.2 | 71.4067 | 32.9233
2019-04-27 01:45:00 | 5.6267 | 178.0533 | 6.48 | 195.6667 | 7.3833 | 167.6333 | 7.8767 | 206.7333 | 23.5 | 879 | 72.5233 | 17.7027
2019-04-27 02:00:00 | 4.3 | 170.6533 | 4.9467 | 187.5333 | 5.9367 | 238.3 | 6.6567 | 224 | 23.06 | 879.1333 | 75.3433 | 18.4487
2019-04-27 02:15:00 | 4.202 | 146.48 | 4.8327 | 160.9667 | 5.4587 | 207.52 | 6.008 | 215.3667 | 23.2273 | 880 | 75.062 | 18.9567
2019-04-27 02:30:00 | 4.1533 | 164.77 | 4.78 | 181.0667 | 5.5533 | 168.7333 | 6.05 | 183.9 | 23.3513 | 880 | 74.2633 | 11.8013
2019-04-27 02:45:00 | 3.2867 | 173.36 | 3.7867 | 190.5 | 4.5333 | 218.6333 | 4.8067 | 196.3333 | 23.54 | 880 | 73.0433 | 6.0127
2019-04-27 03:00:00 | 2.1133 | 184.28 | 2.44 | 202.5 | 3.0667 | 218.1 | 3.4533 | 179.5333 | 23.48 | 880 | 73.6033 | 5.002
2019-04-27 03:15:00 | 3.3007 | 154.1427 | 3.802 | 169.38 | 4.3753 | 174.42 | 4.9507 | 179.2133 | 23.23 | 880 | 74.396 | 11.316
2019-04-27 03:30:00 | 4.3167 | 161.05 | 4.9633 | 176.9667 | 5.4867 | 187.3 | 6.4033 | 195.7667 | 23.0733 | 880 | 74.7 | 22.754
2019-04-27 03:45:00 | 5.0133 | 164.1967 | 5.7733 | 180.4333 | 6.4133 | 184.3667 | 6.9867 | 196.3667 | 21.8167 | 880 | 83.46 | 26.354
2019-04-27 04:00:00 | 5.12 | 137.5033 | 5.8867 | 151.1 | 6.58 | 190.3 | 7.3933 | 202.6333 | 20.01 | 880 | 93.7667 | 22.464
2019-04-27 04:15:00 | 4.1767 | 165.3833 | 4.8033 | 181.7333 | 5.7267 | 191.9667 | 6.2733 | 188.1667 | 19.72 | 880 | 95.6 | 29.5473
2019-04-27 04:30:00 | 5.15 | 178.55 | 5.93 | 196.2 | 6.82 | 194.4333 | 7.6733 | 202.8333 | 19.9133 | 879.8667 | 94.1467 | 31.5633
2019-04-27 04:45:00 | 3.6533 | 162.2233 | 4.2 | 178.2667 | 4.6167 | 197.6333 | 5.7567 | 197.6 | 19.9533 | 879 | 93.6667 | 31
2019-04-27 05:00:00 | 3.74 | 174.3033 | 4.3 | 191.5333 | 4.8233 | 208.6333 | 5.87 | 207.4 | 20.0667 | 879 | 92.4667 | 41.2707
2019-04-27 05:15:00 | 4.86 | 166.96 | 5.5933 | 183.4667 | 6.77 | 218.3 | 7.1433 | 211.4333 | 19.9733 | 879 | 92.4667 | 30.854
2019-04-27 05:30:00 | 4.0133 | 180.0667 | 4.6267 | 197.8667 | 5.6433 | 215.5667 | 6.2833 | 192.5667 | 20.36 | 879 | 89.7333 | 19.59
2019-04-27 05:45:00 | 2.7367 | 204.5733 | 3.1467 | 224.8 | 4.2767 | 223.5 | 4.96 | 223.5333 | 20.1133 | 879.4667 | 91.5333 | 15.0353
2019-04-27 06:00:00 | 2.2567 | 165.02 | 2.5933 | 181.3333 | 3.3167 | 198.9667 | 4.2067 | 210.2667 | 19.78 | 879.8667 | 94 | 10.906
2019-04-27 06:15:00 | 1.46 | 168.9567 | 1.6867 | 185.6667 | 2.0067 | 150.1567 | 2.8267 | 215.2667 | 19.1267 | 879 | 96 | 2.0407
2019-04-27 06:30:00 | 2.5067 | 318.4367 | 2.8933 | 349.9333 | 2.5933 | 30.5367 | 2.3 | 267.2 | 17.8267 | 879.1333 | 97.0667 | 2.1293
2019-04-27 06:45:00 | 4.2067 | 209.3333 | 4.84 | 230.0333 | 5.8233 | 21.34 | 4.7833 | 21.5933 | 16.8267 | 880 | 98.2333 | 0.97467
2019-04-27 07:00:00 | 5.0467 | 212.12 | 5.8133 | 233.1 | 6.9433 | 7.8267 | 6.75 | 14.9533 | 15.92 | 880 | 98.3667 | 2.6867
2019-04-27 07:15:00 | 4.1933 | 308.4967 | 4.8333 | 339 | 5.6733 | 20.14 | 5.42 | 10.4367 | 15.7533 | 880 | 97.8 | 1.2393
2019-04-27 07:30:00 | 3.8 | 116.6233 | 4.3733 | 128.1533 | 4.8133 | 21.5333 | 3.46 | 12.4433 | 15.7467 | 879.8667 | 97.72 | 2.784
2019-04-27 07:45:00 | 3.7533 | 310.7667 | 4.3267 | 341.5 | 4.25 | 3.3033 | 2.9867 | 2 | 15.9633 | 879 | 97.32 | 2.8527
2019-04-27 08:00:00 | 4.54 | 317.3267 | 5.2333 | 348.7 | 5.09 | 12.49 | 4.6067 | 15.56 | 16.03 | 879.8 | 96.3333 | 3.6453
2019-04-27 08:15:00 | 5.0533 | 315.28 | 5.81 | 346.4533 | 6.1367 | 136.9033 | 6.1133 | 12.67 | 15.4867 | 880 | 96.3 | 8.0053
2019-04-27 08:30:00 | 5.32 | 124.6867 | 6.1167 | 137.0133 | 7.93 | 8.0367 | 7.6 | 11.5833 | 15.22 | 880.1333 | 96.1133 | 24.68
2019-04-27 08:45:00 | 6.2133 | 132.7867 | 7.16 | 145.92 | 10.4567 | 7 | 10.44 | 15.2233 | 14.7167 | 881 | 96.0667 | 37.888
2019-04-27 09:00:00 | 6.6667 | 114.0933 | 7.6733 | 125.3733 | 11.23 | 16.2467 | 11.0667 | 21.75 | 14.3833 | 881 | 96.5333 | 40.7627
2019-04-27 09:15:00 | 6.5933 | 315.5667 | 7.5933 | 346.7667 | 11.0633 | 11.01 | 10.55 | 21.0367 | 14.1167 | 881 | 96.3667 | 41.8973
2019-04-27 09:30:00 | 6.7067 | 126.4933 | 7.72 | 139.0067 | 11.15 | 14.51 | 10.8567 | 13.47 | 13.97 | 881 | 95.9 | 46.4173
2019-04-27 09:45:00 | 8.28 | 212.96 | 9.5333 | 234.01 | 13.18 | 6.9433 | 12.98 | 15.7233 | 13.7967 | 881 | 96.1467 | 51.8367
2019-04-27 10:00:00 | 8.96 | 216.7733 | 10.3067 | 238.21 | 15.1 | 15.0233 | 14.6467 | 20.0833 | 13.5367 | 881.1333 | 96.6 | 55.5047
2019-04-27 10:15:00 | 8.8547 | 313.9107 | 10.1893 | 344.9467 | 14.23 | 15.1773 | 13.676 | 12.8607 | 13.2387 | 882 | 96.6 | 54.204
2019-04-27 10:30:00 | 7.992 | 300.284 | 9.19 | 329.98 | 12.08 | 206.52 | 11.466 | 7.302 | 13.068 | 882 | 96.5067 | 55.3667
2019-04-27 10:45:00 | 6.82 | 12.7033 | 7.8467 | 13.9467 | 10.2033 | 234.2133 | 9.6267 | 20.84 | 12.9067 | 882 | 97 | 55.758
2019-04-27 11:00:00 | 6.88 | 217.09 | 7.9267 | 238.56 | 10.6367 | 16.7267 | 10.22 | 14.8667 | 12.68 | 882 | 97.4667 | 55.92
2019-04-27 11:15:00 | 7.46 | 315.5267 | 8.5833 | 346.7333 | 11.64 | 18.73 | 11.41 | 8.42 | 12.2833 | 882 | 98.7667 | 58.754
2019-04-27 11:30:00 | 7.8267 | 283.3733 | 9.0033 | 311.4 | 13.1 | 240.5433 | 12.8233 | 15.6133 | 12.1833 | 882 | 99.7 | 59.5713
2019-04-27 11:45:00 | 9.29 | 65.7533 | 10.6833 | 72.2533 | 15.3267 | 11.83 | 15.2033 | 23.2433 | 12.33 | 882 | 99.9467 | 60.1007
2019-04-27 12:00:00 | 9.1767 | 239.6333 | 10.5567 | 263.3333 | 15.5333 | 2.0233 | 15.4367 | 22.4633 | 12.3473 | 882 | 100 | 59.8473
2019-04-27 12:15:00 | 7.92 | 99.55 | 9.1167 | 109.3933 | 13.2833 | 21.2933 | 13.0033 | 17.6933 | 12.3593 | 882 | 100 | 58.748
2019-04-27 12:30:00 | 7.5533 | 313.8633 | 8.6833 | 344.9 | 12.6233 | 124.04 | 12.03 | 13.9333 | 12.45 | 881.2 | 100 | 58.0307
2019-04-27 12:45:00 | 6.53 | 308.3133 | 7.5133 | 338.8 | 10.74 | 223.4367 | 10.4833 | 17.7867 | 12.4793 | 881.4667 | 100 | 57.4187
2019-04-27 13:00:00 | 6.9567 | 128.9733 | 8.0067 | 141.72 | 11.96 | 14.6767 | 11.7833 | 19.76 | 12.4953 | 882 | 100 | 56.5433
2019-04-27 13:15:00 | 6.9233 | 186.4633 | 7.9633 | 204.9067 | 12.1 | 9.8933 | 12.4033 | 21.22 | 12.41 | 882 | 100 | 54.2533
2019-04-27 13:30:00 | 6.4833 | 85.7567 | 7.4567 | 94.24 | 11.4733 | 15.9533 | 11.2833 | 14.5133 | 12.5167 | 881.2 | 100 | 53.2567
2019-04-27 13:45:00 | 6.6767 | 199.3933 | 7.68 | 219.1 | 12.1 | 17.2133 | 11.8433 | 19.2133 | 12.7667 | 881 | 100 | 51.756
2019-04-27 14:00:00 | 6.97 | 185.3733 | 8.02 | 203.7 | 12.56 | 15.2733 | 12.4967 | 13.9333 | 12.94 | 881 | 100 | 55.292
2019-04-27 14:15:00 | 8.2667 | 109.9073 | 9.5133 | 120.7733 | 14.484 | 10.6413 | 14.498 | 15.4287 | 13.2327 | 881 | 100 | 59.5167
2019-04-27 14:30:00 | 8.92 | 142.11 | 10.27 | 156.1667 | 15.7 | 11.68 | 15.6367 | 18.35 | 13.2667 | 881 | 100 | 60.208
2019-04-27 14:45:00 | 8.6467 | 212.3433 | 9.9467 | 233.3333 | 15.3367 | 5.9033 | 15.5693 | 16.2433 | 13.14 | 881 | 100 | 60.1233
2019-04-27 15:00:00 | 8.4557 | 123.5614 | 9.7236 | 135.7814 | 15.0586 | 13.3457 | 14.7236 | 17.8843 | 13.3221 | 881 | 99.5214 | 58.7413
2019-04-27 15:15:00 | 8.5667 | 236.1033 | 9.8533 | 259.4433 | 14.7167 | 27.1267 | 14.3067 | 16.28 | 13.49 | 881 | 98.1333 | 59.7513
2019-04-27 15:30:00 | 8.5133 | 233.61 | 9.7867 | 256.71 | 14.63 | 18.1667 | 14.26 | 18.3867 | 13.53 | 881 | 97.4667 | 60.9513
2019-04-27 15:45:00 | 8.1867 | 216.8967 | 9.4133 | 238.3467 | 14.5433 | 8.15 | 14.15 | 14.1533 | 13.48 | 881 | 97 | 58.636
2019-04-27 16:00:00 | 8.26 | 192.4567 | 9.5067 | 211.48 | 14.7033 | 18.8767 | 14.3767 | 14.62 | 13.472 | 880.8667 | 96.6667 | 59.1407
2019-04-27 16:15:00 | 8.0267 | 65.75 | 9.2333 | 72.2467 | 14.32 | 13.22 | 14.0833 | 12.5333 | 13.43 | 880 | 95.8 | 60.0287
2019-04-27 16:30:00 | 7.9333 | 254.4433 | 9.1267 | 279.6 | 14.1667 | 9.6267 | 13.79 | 17.9933 | 13.4273 | 880 | 95.6 | 57.5873
2019-04-27 16:45:00 | 7.32 | 170.7467 | 8.42 | 187.6333 | 12.79 | 18.9233 | 12.3033 | 14.88 | 13.4547 | 880 | 95.1667 | 59.412
2019-04-27 17:00:00 | 8.3333 | 101.98 | 9.5933 | 112.06 | 14.3633 | 10.95 | 13.95 | 16.1333 | 13.7 | 880 | 93.9667 | 60.59
2019-04-27 17:15:00 | 8.62 | 29.196 | 9.922 | 32.08 | 15.796 | 10.412 | 15.954 | 19.352 | 13.972 | 880 | 93.16 | 58.0127
2019-04-27 17:30:00 | 7.5133 | 177.42 | 8.65 | 194.96 | 13.9 | 10.9533 | 14.1167 | 19.7733 | 14.14 | 880.1333 | 92.6667 | 58.5947
2019-04-27 17:45:00 | 7.0333 | 227.99 | 8.09 | 250.5333 | 13.0567 | 13.5 | 12.7667 | 14.85 | 14.04 | 881 | 93.4 | 58.528
2019-04-27 18:00:00 | 6.6867 | 238.9767 | 7.69 | 262.6 | 12.4033 | 16.5133 | 12.0667 | 19.81 | 13.76 | 881 | 94.2667 | 59.0807
2019-04-27 18:15:00 | 6.7533 | 221.93 | 7.77 | 243.8667 | 12.39 | 17.9633 | 12.1333 | 19.2467 | 13.4167 | 881 | 94.6867 | 57.128
2019-04-27 18:30:00 | 6.64 | 223.5567 | 7.6433 | 245.6667 | 12.6033 | 20.2833 | 12.4933 | 22.3267 | 13.2367 | 881 | 95.5 | 55.61
2019-04-27 18:45:00 | 6.9533 | 220.5933 | 7.9967 | 242.41 | 12.7667 | 5.8133 | 12.4333 | 17.8767 | 13.1433 | 881 | 95.6 | 52.9907
2019-04-27 19:00:00 | 6.12 | 20.3267 | 7.0433 | 22.3367 | 10.68 | 37.2667 | 10.24 | 7.69 | 13.35 | 881 | 94.4 | 43.176
2019-04-27 19:15:00 | 5.52 | 244.4067 | 6.3533 | 268.5667 | 9.8467 | 18.29 | 9.8667 | 17.4067 | 13.52 | 881 | 94 | 35.7607
2019-04-27 19:30:00 | 5.6667 | 259.14 | 6.5267 | 284.7667 | 10.1933 | 9.9167 | 10.1733 | 19.5133 | 13.4467 | 881.8 | 94.0533 | 47.3727
2019-04-27 19:45:00 | 5.8867 | 22.75 | 6.7667 | 24.9967 | 10.42 | 10.32 | 10.2767 | 9.2467 | 13.11 | 882 | 96.0333 | 45.8333
2019-04-27 20:00:00 | 5.18 | 107.95 | 5.9667 | 118.6233 | 9.5667 | 12.12 | 9.4367 | 18.0267 | 12.87 | 882 | 97.5667 | 47.7433
2019-04-27 20:15:00 | 6.18 | 218.9867 | 7.1167 | 240.64 | 10.87 | 21.5233 | 11.08 | 26.0733 | 12.4933 | 882 | 98.8667 | 51.7
2019-04-27 20:30:00 | 6.4333 | 209.3467 | 7.3967 | 230.04 | 11.1833 | 18.1233 | 11.08 | 23.4867 | 12.36 | 882 | 99.4667 | 57.6367
2019-04-27 20:45:00 | 7.556 | 271.818 | 8.688 | 298.7 | 13.404 | 15.212 | 13.2773 | 19.934 | 12.3307 | 882 | 100 | 59.106
2019-04-27 21:00:00 | 7.54 | 68.8433 | 8.67 | 75.6467 | 13.3133 | 12.3267 | 13.28 | 21.8767 | 12.3107 | 881.8667 | 100 | 55.628
2019-04-27 21:15:00 | 6.9733 | 226.3333 | 8.02 | 248.7167 | 11.6267 | 122.9733 | 11.32 | 7.3533 | 12.3047 | 881.4667 | 100 | 52.2907
2019-04-27 21:30:00 | 7.0133 | 35.8333 | 8.0667 | 39.37 | 11.16 | 115.06 | 10.94 | 4.4733 | 12.262 | 882 | 100 | 53.3467
2019-04-27 21:45:00 | 7.6667 | 206.77 | 8.83 | 227.22 | 13.2233 | 347.3 | 13.1667 | 10.6167 | 12.2833 | 882 | 100 | 54.0687
2019-04-27 22:00:00 | 8.0267 | 113.17 | 9.2367 | 124.3533 | 13.4567 | 120.06 | 13.0333 | 9.2833 | 12.3433 | 882 | 100 | 54.538
2019-04-27 22:15:00 | 8.4067 | 164.96 | 9.68 | 181.2667 | 14.5733 | 11.3133 | 14.2967 | 14.0833 | 12.2067 | 882 | 100 | 56.3987
2019-04-27 22:30:00 | 8.08 | 91.8533 | 9.3 | 100.9333 | 14.06 | 7.4733 | 13.83 | 11.4233 | 12.0667 | 882 | 100 | 56.0973
2019-04-27 22:45:00 | 7.5167 | 211.9767 | 8.64 | 232.9333 | 13.57 | 8.3133 | 13.2333 | 12.0967 | 11.9667 | 882 | 100 | 56.37
2019-04-27 23:00:00 | 7.6367 | 321.4767 | 8.78 | 353.2667 | 13.4033 | 14.1933 | 12.96 | 12.7967 | 11.9 | 882 | 100 | 56.5987
2019-04-27 23:15:00 | 8.7067 | 225.2367 | 10.02 | 247.5 | 14.9267 | 7.7067 | 14.7267 | 13.6733 | 11.7967 | 882 | 100 | 55.7747
2019-04-27 23:30:00 | 8.9867 | 167.8433 | 10.34 | 184.4333 | 15.44 | 15.3733 | 14.9 | 8.76 | 11.71 | 882 | 100 | 55.7393
2019-04-27 23:45:00 | 8.5667 | 94.5433 | 9.8533 | 103.8867 | 14.46 | 14.92 | 14.5167 | 130.1867 | 11.5733 | 882 | 100 | 55.3927