## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-28 00:00:00 | 8.5329 | 147.57 | 9.82 | 162.1643 | 14.665 | 10.6193 | 14.3171 | 141.3329 | 11.4879 | 882 | 100 | 54.8307
2019-04-28 00:15:00 | 8.7 | 263.2667 | 10 | 289.3 | 14.97 | 15.4433 | 14.3933 | 100.3133 | 11.4653 | 882 | 100 | 54.8073
2019-04-28 00:30:00 | 9 | 121.8267 | 10.3467 | 133.88 | 14.9433 | 15.6367 | 14.5867 | 99.6 | 11.4413 | 882 | 100 | 55.888
2019-04-28 00:45:00 | 8.4667 | 211.25 | 9.74 | 232.1433 | 13.58 | 9.23 | 12.9933 | 12.2233 | 11.4 | 882 | 100 | 57.136
2019-04-28 01:00:00 | 7.9733 | 119.7033 | 9.1733 | 131.5433 | 12.7067 | 11.8433 | 12.04 | 15.11 | 11.42 | 882 | 100 | 55.5613
2019-04-28 01:15:00 | 8.4933 | 261.2933 | 9.7767 | 287.1333 | 13.69 | 18.11 | 13.2933 | 6.0367 | 11.3533 | 882 | 100 | 55.6767
2019-04-28 01:30:00 | 7.84 | 73.6733 | 9.0233 | 80.9467 | 13.35 | 2.6033 | 12.5467 | 26.7833 | 11.32 | 882 | 100 | 56.6247
2019-04-28 01:45:00 | 8.1867 | 300.9067 | 9.4233 | 330.6667 | 14.02 | 17.57 | 13.22 | 17.4333 | 11.3153 | 882 | 100 | 55.9873
2019-04-28 02:00:00 | 8.0333 | 95.92 | 9.2433 | 105.4067 | 13.7333 | 20.21 | 13.14 | 21.4 | 11.274 | 882 | 100 | 55.7253
2019-04-28 02:15:00 | 8.5533 | 306.61 | 9.84 | 336.9333 | 14.3433 | 12.8233 | 13.7133 | 15.3267 | 11.2547 | 882 | 99.7 | 56.0133
2019-04-28 02:30:00 | 8.38 | 299.33 | 9.6467 | 328.9333 | 14.1433 | 8.9167 | 13.42 | 18.7733 | 11.2413 | 882 | 99.6067 | 55.6807
2019-04-28 02:45:00 | 8.5767 | 4.3167 | 9.8633 | 4.73 | 13.84 | 9.9333 | 13.3767 | 21.46 | 11.35 | 882 | 98.6667 | 56.1827
2019-04-28 03:00:00 | 8.5033 | 170.4367 | 9.7833 | 187.2833 | 13.9333 | 119.52 | 13.31 | 18.3933 | 11.3967 | 882 | 98.0133 | 56.7707
2019-04-28 03:15:00 | 8.4433 | 198.8533 | 9.7067 | 218.5133 | 13.9953 | 10.3233 | 13.6033 | 7.3267 | 11.34 | 882 | 98.4 | 55.8627
2019-04-28 03:30:00 | 8.35 | 200.12 | 9.6 | 219.9133 | 13.4433 | 5.09 | 13.29 | 24.36 | 11.3467 | 881.2 | 98.1333 | 55.5967
2019-04-28 03:45:00 | 7.52 | 49.4867 | 8.6467 | 54.38 | 12.47 | 26.4667 | 11.5367 | 20.7 | 11.3653 | 881 | 98 | 55.2747
2019-04-28 04:00:00 | 7.8733 | 214.92 | 9.0667 | 236.1733 | 12.1687 | 8.8133 | 11.37 | 28.02 | 11.4267 | 881 | 97.5867 | 55.326
2019-04-28 04:15:00 | 8.03 | 297.94 | 9.2333 | 327.4 | 13.0567 | 18.4733 | 12.4967 | 246.4067 | 11.49 | 881 | 96.9333 | 56.1347
2019-04-28 04:30:00 | 7.87 | 299.1533 | 9.0467 | 328.7333 | 12.7233 | 8.9267 | 12.2967 | 23.5667 | 11.4847 | 881 | 96.5333 | 56.088
2019-04-28 04:45:00 | 7.8667 | 302.39 | 9.0567 | 332.3 | 12.7367 | 16.95 | 12.2233 | 21.1767 | 11.4953 | 881 | 96.3533 | 55.386
2019-04-28 05:00:00 | 8.2933 | 111.5633 | 9.5433 | 122.5867 | 14.0367 | 23.3367 | 13.4833 | 16.2833 | 11.4807 | 881 | 95.9533 | 55.7153
2019-04-28 05:15:00 | 8.16 | 105.7533 | 9.39 | 116.2133 | 13.97 | 4.3567 | 13.0733 | 22.25 | 11.48 | 881 | 95.4667 | 56.3273
2019-04-28 05:30:00 | 8.3333 | 116.3867 | 9.59 | 127.8933 | 14.1033 | 15.23 | 13.4267 | 10.05 | 11.4987 | 881 | 95.0667 | 56.292
2019-04-28 05:45:00 | 8.244 | 256.47 | 9.492 | 281.826 | 13.924 | 11.8513 | 13.3473 | 12.7627 | 11.4573 | 881.4667 | 94.9133 | 57.5393
2019-04-28 06:00:00 | 7.9067 | 164.47 | 9.0933 | 180.7333 | 13.2867 | 11.7067 | 12.32 | 22.22 | 11.3987 | 882 | 94.9667 | 57.7493
2019-04-28 06:15:00 | 8.2933 | 82.45 | 9.55 | 90.6 | 14.25 | 237.4067 | 13.4033 | 18.97 | 11.34 | 882 | 94.9 | 57.6067
2019-04-28 06:30:00 | 7.7733 | 151.3167 | 8.95 | 166.2667 | 13.3567 | 19.6933 | 12.7367 | 20.85 | 11.3173 | 882 | 94.82 | 56.2167
2019-04-28 06:45:00 | 7.9533 | 63.7733 | 9.1533 | 70.0733 | 13.6833 | 10.0133 | 13.23 | 18.77 | 11.28 | 882 | 94.4333 | 57.01
2019-04-28 07:00:00 | 7.8733 | 210.3 | 9.0533 | 231.1 | 13.2633 | 27.8467 | 12.4833 | 14.47 | 11.3 | 882 | 94.1 | 58.712
2019-04-28 07:15:00 | 8.1367 | 105.16 | 9.3667 | 115.5533 | 13.48 | 17.5733 | 12.8767 | 17.87 | 11.3 | 882 | 93.7 | 57.458
2019-04-28 07:30:00 | 8.8033 | 131.3133 | 10.1333 | 144.2867 | 15.1933 | 10.8467 | 14.4633 | 21.6433 | 11.2253 | 882 | 93.7 | 56.632
2019-04-28 07:45:00 | 8.8 | 141.43 | 10.13 | 155.4133 | 15.2133 | 10.2733 | 14.74 | 6.1967 | 11.03 | 882 | 95.1667 | 58.1393
2019-04-28 08:00:00 | 8.6533 | 13.2633 | 9.9633 | 14.5733 | 14.82 | 12.38 | 14.1533 | 9.6967 | 10.7233 | 882 | 97.4333 | 58.7087
2019-04-28 08:15:00 | 9 | 224.6067 | 10.3467 | 246.8067 | 15.272 | 9.87 | 14.6967 | 16.53 | 10.56 | 882 | 98.6 | 59.2693
2019-04-28 08:30:00 | 9.5333 | 27.2467 | 10.9667 | 29.9333 | 15.8333 | 12.8233 | 15.2633 | 12.01 | 10.6467 | 882 | 98.1333 | 59.0013
2019-04-28 08:45:00 | 9.34 | 25.7833 | 10.7433 | 28.3333 | 15.8933 | 8.8967 | 15.39 | 17.4833 | 10.83 | 882 | 96.7667 | 57.8307
2019-04-28 09:00:00 | 8.92 | 155.07 | 10.2633 | 170.4067 | 15.0333 | 14.5233 | 14.6433 | 15.91 | 11.03 | 882 | 95.3667 | 57.7973
2019-04-28 09:15:00 | 9.09 | 228.0233 | 10.45 | 250.5733 | 14.65 | 19.2367 | 14.0867 | 26.7633 | 11.2133 | 882 | 93.9 | 58.6067
2019-04-28 09:30:00 | 8.6633 | 16.6767 | 9.9633 | 18.32 | 14.4367 | 14.9433 | 13.84 | 13.1833 | 11.2867 | 882.1333 | 93.5533 | 58.9967
2019-04-28 09:45:00 | 9.06 | 19.5167 | 10.43 | 21.44 | 15.12 | 13.7267 | 14.3667 | 242.9533 | 11.45 | 883 | 92.4 | 58.9853
2019-04-28 10:00:00 | 9.6533 | 191.6033 | 11.1033 | 210.5533 | 16.66 | 7.4867 | 16.14 | 17.7933 | 11.5633 | 883 | 91.9867 | 59.1613
2019-04-28 10:15:00 | 9.3733 | 275.86 | 10.7867 | 303.1333 | 16.0867 | 127.3667 | 15.99 | 33.3133 | 11.78 | 883 | 91 | 60.3
2019-04-28 10:30:00 | 8.9867 | 85.46 | 10.3333 | 93.9133 | 15.34 | 130.4467 | 14.7633 | 6.1467 | 11.88 | 883 | 90.8 | 60.5953
2019-04-28 10:45:00 | 9.44 | 25.5 | 10.8667 | 28.0167 | 16.1433 | 15.5167 | 15.8867 | 22.88 | 11.7667 | 883 | 91.5 | 60.1193
2019-04-28 11:00:00 | 9.24 | 121.8733 | 10.6333 | 133.9233 | 16.65 | 16.3767 | 16.56 | 30.5333 | 11.7227 | 883 | 91.9 | 60.4933
2019-04-28 11:15:00 | 9.1667 | 227.3233 | 10.55 | 249.8067 | 16.6267 | 6.6667 | 16.5233 | 23.3133 | 11.6933 | 883 | 93.5 | 61.306
2019-04-28 11:30:00 | 8.5667 | 140.7633 | 9.8567 | 154.6733 | 15.5333 | 14.14 | 15.65 | 22.3067 | 11.42 | 883 | 95.9667 | 61.9847
2019-04-28 11:45:00 | 8.7267 | 162.07 | 10.0433 | 178.1 | 15.6333 | 13.2367 | 15.77 | 20.3033 | 11.1733 | 883 | 97.9667 | 62.0027
2019-04-28 12:00:00 | 9.08 | 204.3567 | 10.4433 | 224.5667 | 16.22 | 13.1767 | 16.1633 | 17.99 | 11.0973 | 883 | 98.5667 | 62.924
2019-04-28 12:15:00 | 9.2067 | 49.2933 | 10.5967 | 54.16 | 16.7533 | 15.9533 | 16.664 | 22.5533 | 11.0967 | 883 | 98.9 | 62.0153
2019-04-28 12:30:00 | 9 | 70.3933 | 10.35 | 77.3467 | 16.5533 | 18.6467 | 16.6333 | 19.9467 | 11.1327 | 883 | 98.9 | 62.5593
2019-04-28 12:45:00 | 8.72 | 160.7133 | 10.03 | 176.6 | 16.0733 | 14.6267 | 16.1567 | 24.5767 | 11.22 | 883 | 98.7 | 63.3367
2019-04-28 13:00:00 | 8.7467 | 157.68 | 10.0567 | 173.2667 | 15.88 | 14.2173 | 15.7033 | 20.4633 | 11.4933 | 883 | 98.58 | 62.2447
2019-04-28 13:15:00 | 8.5067 | 161.7267 | 9.78 | 177.7133 | 15.4633 | 8.5667 | 15.1667 | 15.2967 | 11.5933 | 883 | 97.8667 | 60.8067
2019-04-28 13:30:00 | 8.8467 | 179.1933 | 10.18 | 196.9133 | 15.1833 | 13.9933 | 14.5733 | 7.13 | 11.3933 | 883 | 97.6133 | 60.398
2019-04-28 13:45:00 | 8.91 | 112.12 | 10.2567 | 123.2133 | 15.44 | 225 | 14.95 | 17.61 | 11.1133 | 883 | 98.6667 | 60.6687
2019-04-28 14:00:00 | 8.51 | 294.6267 | 9.79 | 323.7667 | 15.16 | 11.7067 | 14.7833 | 20.2833 | 10.8667 | 883 | 99.6667 | 60.8307
2019-04-28 14:15:00 | 8.0133 | 166.01 | 9.2233 | 182.4267 | 14.6167 | 11.5533 | 14.46 | 26.8667 | 10.79 | 883 | 99.9467 | 61.4373
2019-04-28 14:30:00 | 8.0933 | 223.3367 | 9.3033 | 245.4267 | 14.3833 | 13.9867 | 14.2533 | 21.9133 | 10.75 | 883 | 100 | 62.1093
2019-04-28 14:45:00 | 8.3133 | 60.01 | 9.57 | 65.9333 | 14.72 | 10.7067 | 14.68 | 17.2567 | 10.7533 | 883 | 100 | 63.0407
2019-04-28 15:00:00 | 8.6267 | 81.25 | 9.9233 | 89.2733 | 15.58 | 6.7667 | 15.2133 | 15.77 | 10.8173 | 883 | 100 | 63.5187
2019-04-28 15:15:00 | 8.6667 | 142.8033 | 9.9667 | 156.9267 | 15.26 | 13.1967 | 15.3367 | 20.4667 | 10.73 | 882.5333 | 100 | 63.7367
2019-04-28 15:30:00 | 8.94 | 176.79 | 10.2867 | 194.2667 | 16.0467 | 9.1167 | 16.0033 | 22.9467 | 10.6767 | 882 | 100 | 62.9107
2019-04-28 15:45:00 | 8.782 | 195.76 | 10.098 | 215.12 | 16.0167 | 1.554 | 15.656 | 16.478 | 10.6547 | 882 | 100 | 63.0887
2019-04-28 16:00:00 | 8.73 | 230.3 | 10.0367 | 253.0667 | 15.9833 | 1.3233 | 16.08 | 19.93 | 10.8147 | 882 | 100 | 62.6573
2019-04-28 16:15:00 | 8.1467 | 272.73 | 9.3667 | 299.7 | 14.91 | 7.1267 | 15.4433 | 21.43 | 11.2367 | 882 | 100 | 61.52
2019-04-28 16:30:00 | 7.2533 | 206.79 | 8.34 | 227.2333 | 13.4433 | 14.56 | 13.7233 | 24.5367 | 11.3687 | 882 | 100 | 61.374
2019-04-28 16:45:00 | 7.12 | 158.9267 | 8.19 | 174.64 | 13.0133 | 10.8333 | 12.8733 | 23.2867 | 11.6733 | 882 | 100 | 61.3607
2019-04-28 17:00:00 | 7.2267 | 17.9333 | 8.3167 | 19.7067 | 13.18 | 14.9667 | 13.44 | 26.06 | 12.3533 | 882 | 100 | 61.42
2019-04-28 17:15:00 | 7.2633 | 167.4667 | 8.3533 | 184.0267 | 12.9833 | 11.9433 | 13.54 | 23.54 | 12.5733 | 882 | 99.7 | 59.5627
2019-04-28 17:30:00 | 7.57 | 118.4467 | 8.7067 | 130.16 | 13.61 | 14.5633 | 14.0987 | 21.24 | 12.36 | 882.1333 | 98.9667 | 60.1753
2019-04-28 17:45:00 | 7.4 | 108.4833 | 8.5133 | 119.2067 | 13.4567 | 10.06 | 13.6167 | 30.7467 | 12.5467 | 883 | 98.8333 | 59.2193
2019-04-28 18:00:00 | 7.7667 | 83.35 | 8.94 | 91.58 | 13.9367 | 12.7333 | 14.23 | 23.6667 | 12.8867 | 883 | 96.7 | 61.3153
2019-04-28 18:15:00 | 7.58 | 203.02 | 8.72 | 223.1 | 13.75 | 20.2633 | 14.4533 | 22.38 | 12.4833 | 883 | 96.3333 | 59.2527
2019-04-28 18:30:00 | 7.58 | 305.8467 | 8.7267 | 336.1 | 13.7233 | 19.5167 | 14.1933 | 37.0267 | 12.2633 | 883 | 97.0667 | 59.7747
2019-04-28 18:45:00 | 7.85 | 153.5533 | 9.0333 | 168.7333 | 14.3733 | 19.2533 | 14.98 | 30.5333 | 12.0733 | 883 | 97.7333 | 60.0633
2019-04-28 19:00:00 | 7.9167 | 145.3067 | 9.1 | 159.6667 | 14.3533 | 32.86 | 15.1067 | 21.98 | 11.92 | 883 | 97.6133 | 59.588
2019-04-28 19:15:00 | 7.5533 | 121.3933 | 8.6933 | 133.4 | 13.23 | 16.6367 | 13.5833 | 25.3467 | 11.96 | 883 | 95.9667 | 58.074
2019-04-28 19:30:00 | 7.1533 | 163.3733 | 8.2333 | 179.5333 | 12.67 | 18.9567 | 13.19 | 31.18 | 11.912 | 883 | 95.7 | 56.1253
2019-04-28 19:45:00 | 6.3667 | 115.1033 | 7.3233 | 126.48 | 11.72 | 8.4733 | 12.3033 | 29.5267 | 11.6133 | 883 | 97.2667 | 52.9507
2019-04-28 20:00:00 | 6.1133 | 264.9367 | 7.0367 | 291.1333 | 11.4133 | 11.7 | 11.7233 | 22.3 | 11.3133 | 883 | 98.4 | 52.3267
2019-04-28 20:15:00 | 6.2833 | 202.8833 | 7.2233 | 222.9467 | 11.6967 | 15.5967 | 11.83 | 21.74 | 11.15 | 883 | 98.4 | 53.1987
2019-04-28 20:30:00 | 6.2033 | 182.99 | 7.1367 | 201.08 | 11.7367 | 16.2967 | 11.9833 | 27.56 | 10.9767 | 883 | 98.5867 | 54.2253
2019-04-28 20:45:00 | 6.4667 | 168.5133 | 7.4367 | 185.18 | 12.31 | 16.8033 | 12.24 | 21.88 | 10.81 | 883 | 99.2 | 53.208
2019-04-28 21:00:00 | 6.5533 | 179.92 | 7.5367 | 197.7133 | 11.9967 | 18.41 | 12.1533 | 27.7133 | 10.834 | 883.8 | 98.72 | 47.0807
2019-04-28 21:15:00 | 6.1867 | 171.3033 | 7.1267 | 188.2333 | 11.4 | 14.18 | 11.6167 | 30.2033 | 10.86 | 884 | 97.7333 | 45.4687
2019-04-28 21:30:00 | 6.3 | 86.8567 | 7.2467 | 95.44 | 11.46 | 13.3733 | 11.5367 | 28.9233 | 10.7867 | 884 | 97.8667 | 46.8673
2019-04-28 21:45:00 | 6.6267 | 210.7567 | 7.62 | 231.6 | 12.03 | 19.35 | 12.45 | 34.8267 | 10.7793 | 884 | 97.6 | 48.3453
2019-04-28 22:00:00 | 7.16 | 67.6767 | 8.24 | 74.3733 | 12.9033 | 16.71 | 13.8367 | 31.88 | 10.73 | 884 | 97.8133 | 50.4333
2019-04-28 22:15:00 | 7.2933 | 165.3533 | 8.39 | 181.6967 | 13.08 | 24.32 | 13.9267 | 31.7633 | 10.9333 | 884.4667 | 97 | 50.4947
2019-04-28 22:30:00 | 7.0533 | 123.3733 | 8.1167 | 135.5633 | 12.82 | 20.9467 | 13.4333 | 32.4767 | 11.0027 | 885 | 96.7867 | 49.7547
2019-04-28 22:45:00 | 6.74 | 306.0067 | 7.76 | 336.2667 | 12.7233 | 16.0867 | 12.8867 | 26.4267 | 10.8067 | 885 | 97.7 | 50.4013
2019-04-28 23:00:00 | 6.5533 | 229.26 | 7.5387 | 251.9333 | 12.39 | 20.96 | 12.98 | 29.8467 | 10.6987 | 885 | 98.4333 | 50.38
2019-04-28 23:15:00 | 6.6933 | 220.3067 | 7.6933 | 242.1 | 12.4693 | 134.1467 | 13.22 | 27.4467 | 10.66 | 885 | 98.4 | 49.4667
2019-04-28 23:30:00 | 6.5867 | 115.1733 | 7.5733 | 126.5667 | 12.18 | 129.4267 | 12.8 | 29.8933 | 10.7027 | 885 | 98 | 49.2227
2019-04-28 23:45:00 | 6.02 | 219.92 | 6.93 | 241.6667 | 11.3467 | 9.7967 | 11.58 | 23.2467 | 10.82 | 885 | 97.1 | 49.5547