## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-29 00:00:00 | 6.465 | 220.1279 | 7.4471 | 241.8857 | 11.71 | 14.1571 | 11.75 | 23.8586 | 10.7786 | 885 | 97.275 | 51.2907
2019-04-29 00:15:00 | 6.4 | 149.8167 | 7.3567 | 164.6333 | 12.1167 | 9.7667 | 12.3867 | 23.2967 | 10.59 | 884.5333 | 98.2 | 50.6373
2019-04-29 00:30:00 | 6.44 | 210.1833 | 7.41 | 230.9667 | 12.19 | 4.0933 | 12.0333 | 23.09 | 10.5567 | 884.8 | 98.6667 | 50.518
2019-04-29 00:45:00 | 7.1433 | 66.3933 | 8.2133 | 72.9533 | 12.8967 | 8.4533 | 12.8267 | 20.6733 | 10.72 | 884.5333 | 97.9667 | 50.722
2019-04-29 01:00:00 | 7.2687 | 133.972 | 8.36 | 147.22 | 13.228 | 10.696 | 13.022 | 21.38 | 10.83 | 884 | 97.38 | 50.2627
2019-04-29 01:15:00 | 6.5933 | 182.3133 | 7.5867 | 200.3333 | 12.2 | 11.4633 | 12.2833 | 20.0833 | 10.8547 | 884 | 97.3467 | 47.2267
2019-04-29 01:30:00 | 6.6067 | 86.9467 | 7.6067 | 95.54 | 11.9667 | 14.4633 | 11.9033 | 24.6833 | 10.888 | 884 | 97.3467 | 49.338
2019-04-29 01:45:00 | 6.7533 | 77.16 | 7.77 | 84.7933 | 12.01 | 12.3967 | 12.1133 | 21.0533 | 10.918 | 884 | 97.12 | 49.6287
2019-04-29 02:00:00 | 6.86 | 12.4467 | 7.8967 | 13.6667 | 11.9433 | 15.1033 | 12.1 | 19.0133 | 10.91 | 884 | 97 | 53.5373
2019-04-29 02:15:00 | 7.6667 | 210.24 | 8.82 | 231.0333 | 13.63 | 16.01 | 13.45 | 17.09 | 10.8667 | 884 | 96.9667 | 53.0427
2019-04-29 02:30:00 | 7.4533 | 145.0867 | 8.58 | 159.4333 | 13.5367 | 12.9167 | 13.5167 | 23.2833 | 10.8187 | 884 | 96.9667 | 51.7827
2019-04-29 02:45:00 | 6.97 | 206.7833 | 8.0233 | 227.2333 | 12.7333 | 20.3133 | 12.8933 | 23.3467 | 10.8433 | 883.5333 | 96.7 | 46.3767
2019-04-29 03:00:00 | 6.4873 | 159.0967 | 7.47 | 174.8333 | 11.548 | 19.612 | 11.6973 | 24.392 | 10.842 | 883.8 | 96.46 | 47.8873
2019-04-29 03:15:00 | 5.964 | 216.3213 | 6.872 | 237.712 | 10.3747 | 9.5473 | 10.1193 | 21.4113 | 10.8167 | 884 | 96.2133 | 49.7867
2019-04-29 03:30:00 | 6.04 | 9.9633 | 6.95 | 10.9367 | 10.23 | 239.38 | 9.85 | 10.6633 | 10.8873 | 883.2 | 95.6867 | 51.2887
2019-04-29 03:45:00 | 6.06 | 43.7967 | 6.9733 | 48.12 | 10.1513 | 117.92 | 9.84 | 13.6733 | 10.8 | 883 | 95.9333 | 50.8313
2019-04-29 04:00:00 | 5.96 | 68.8833 | 6.8667 | 75.6933 | 10.2033 | 351.2 | 9.5267 | 9.7467 | 10.796 | 883 | 95.8 | 47.7847
2019-04-29 04:15:00 | 5.56 | 72.6633 | 6.4033 | 79.8467 | 10.4433 | 10.3833 | 10.3467 | 18.3433 | 10.67 | 883 | 96.2133 | 43.544
2019-04-29 04:30:00 | 5.1533 | 115.5033 | 5.9367 | 126.9133 | 10.1567 | 15.1767 | 10.22 | 23.4967 | 10.3433 | 883.1333 | 97.8 | 37.4387
2019-04-29 04:45:00 | 5.108 | 238.54 | 5.88 | 262.1333 | 9.7533 | 16.97 | 10.1167 | 24.3 | 10.1367 | 884 | 98.7667 | 35.0813
2019-04-29 05:00:00 | 5.1667 | 146.82 | 5.94 | 161.3333 | 8.98 | 11.0567 | 9.4633 | 24.2333 | 10.4367 | 884 | 96.9 | 33.0927
2019-04-29 05:15:00 | 4.6267 | 134.3367 | 5.33 | 147.62 | 8.53 | 19.51 | 8.8167 | 24.68 | 10.4033 | 884 | 96.1333 | 36.0227
2019-04-29 05:30:00 | 4.8133 | 104.43 | 5.5367 | 114.7533 | 8.8767 | 14.6167 | 9.11 | 22.3333 | 10.1833 | 884 | 97 | 36.992
2019-04-29 05:45:00 | 5.22 | 188.7967 | 6 | 207.4667 | 9.2233 | 7.16 | 9.5033 | 20.07 | 10.156 | 884 | 97.08 | 36.0233
2019-04-29 06:00:00 | 4.9067 | 94.65 | 5.64 | 104.0067 | 8.3633 | 20.0133 | 8.4167 | 24.1567 | 10.34 | 884 | 96.2 | 33.8507
2019-04-29 06:15:00 | 4.7533 | 135.1 | 5.4767 | 148.4533 | 8.26 | 37.87 | 8.2 | 19.72 | 10.3233 | 884 | 96.2333 | 34.5527
2019-04-29 06:30:00 | 4.56 | 156.9733 | 5.2433 | 172.5 | 7.7333 | 8.6833 | 7.412 | 27.7867 | 10.2673 | 884 | 96.7 | 39.6567
2019-04-29 06:45:00 | 4.6133 | 99.5667 | 5.31 | 109.4133 | 7.95 | 19.04 | 7.8133 | 15.0233 | 10.3067 | 884.4667 | 96.4333 | 38.7347
2019-04-29 07:00:00 | 4.28 | 306.46 | 4.93 | 336.7667 | 7.3433 | 222.6333 | 7.2933 | 14.1967 | 10.3867 | 885 | 96.0333 | 39.084
2019-04-29 07:15:00 | 4.3933 | 104.0133 | 5.05 | 114.3 | 7.6267 | 337.1333 | 7.08 | 236.2567 | 10.5667 | 885 | 95.4667 | 37.6947
2019-04-29 07:30:00 | 3.9733 | 294.54 | 4.57 | 323.6667 | 7.1467 | 353.9333 | 7.1267 | 56.5233 | 10.76 | 885 | 95 | 38.9153
2019-04-29 07:45:00 | 4.04 | 38.5 | 4.6467 | 42.3 | 6.7467 | 229.4967 | 6.6167 | 3.8533 | 11.0733 | 885.4667 | 93.8 | 43.0993
2019-04-29 08:00:00 | 4.32 | 181.916 | 4.968 | 199.8933 | 7.5333 | 2.1327 | 7.106 | 3.6987 | 11.2293 | 886 | 93.5333 | 46.1467
2019-04-29 08:15:00 | 4.76 | 37.7067 | 5.4733 | 41.4333 | 8.3233 | 7.49 | 7.7267 | 17.47 | 11.51 | 886 | 92.6333 | 46.734
2019-04-29 08:30:00 | 5.6267 | 183.3733 | 6.48 | 201.5067 | 10.0833 | 232.9833 | 9.5333 | 238.2967 | 11.8033 | 886 | 91.8333 | 49.6653
2019-04-29 08:45:00 | 5.76 | 111.74 | 6.63 | 122.7867 | 9.5667 | 236.9533 | 9.1067 | 27.3867 | 12.54 | 886 | 89.5333 | 42.956
2019-04-29 09:00:00 | 5.4267 | 117.7133 | 6.25 | 129.3467 | 9.36 | 28.3133 | 8.5 | 27.0933 | 13.0867 | 886.8 | 87.2 | 43.6793
2019-04-29 09:15:00 | 5.4867 | 223.75 | 6.3233 | 245.88 | 9.4433 | 23.7167 | 8.8967 | 10.96 | 13.1267 | 887 | 87.4333 | 46.8253
2019-04-29 09:30:00 | 6.1267 | 43.31 | 7.0567 | 47.5867 | 10.1767 | 24.2367 | 9.35 | 12.7933 | 13.2787 | 887 | 86.1 | 50.356
2019-04-29 09:45:00 | 7.078 | 228.0273 | 8.142 | 250.5787 | 11.93 | 16.0427 | 11.2713 | 7.9133 | 13.7707 | 887 | 84.8 | 50.0327
2019-04-29 10:00:00 | 7.5733 | 58.8133 | 8.7167 | 64.62 | 13.04 | 4.7067 | 12.32 | 8.8833 | 14.94 | 887.1333 | 81.4333 | 49.6033
2019-04-29 10:15:00 | 7.3 | 222.6867 | 8.4067 | 244.7 | 12.5533 | 15.5967 | 11.6267 | 14.3667 | 15.6833 | 888 | 78.16 | 47.526
2019-04-29 10:30:00 | 7.3067 | 28.9467 | 8.4067 | 31.8067 | 12.3933 | 17.6033 | 11.92 | 16.96 | 15.4767 | 888 | 78.94 | 45.3493
2019-04-29 10:45:00 | 6.7267 | 280.1267 | 7.7367 | 307.8333 | 11.746 | 14.0133 | 11.5027 | 19.4833 | 15.89 | 888 | 79.5033 | 38.7367
2019-04-29 11:00:00 | 6.22 | 180.4533 | 7.1633 | 198.3 | 11.1033 | 13.2867 | 11.08 | 17.73 | 16.85 | 888 | 77.2033 | 36.62
2019-04-29 11:15:00 | 6.22 | 215.9833 | 7.1567 | 237.3333 | 10.67 | 12.9367 | 10.2733 | 27.0233 | 17.07 | 888 | 76.138 | 33.4313
2019-04-29 11:30:00 | 5.952 | 163.314 | 6.852 | 179.458 | 10.45 | 6.97 | 10.084 | 11.656 | 17.476 | 888 | 75.966 | 33.952
2019-04-29 11:45:00 | 5.9967 | 116.52 | 6.8967 | 128.04 | 10.4967 | 9.5133 | 10.2633 | 21.1033 | 19.1633 | 888 | 71.7467 | 37.02
2019-04-29 12:00:00 | 6.1433 | 166.8333 | 7.07 | 183.3333 | 10.7367 | 11.1933 | 10.3033 | 10.7633 | 19.83 | 888 | 69.32 | 37.4453
2019-04-29 12:15:00 | 6.0513 | 53.8433 | 6.9667 | 59.1667 | 10.7333 | 9.2833 | 10.47 | 20.4667 | 20.2633 | 888 | 67.37 | 36.542
2019-04-29 12:30:00 | 6.2167 | 63.6433 | 7.16 | 69.94 | 11.0267 | 14.77 | 10.7767 | 28.4 | 20.4127 | 888 | 67.0633 | 35.9807
2019-04-29 12:45:00 | 5.94 | 199.3867 | 6.83 | 219.1 | 10.6867 | 19.0367 | 10.4233 | 18.1667 | 21.25 | 888 | 64.84 | 35.3473
2019-04-29 13:00:00 | 5.9667 | 77.4333 | 6.87 | 85.0933 | 10.58 | 18.8567 | 10.3367 | 31.1133 | 21.4033 | 888 | 63.8267 | 36.2253
2019-04-29 13:15:00 | 6.0027 | 104.0447 | 6.902 | 114.334 | 10.6 | 17.4793 | 10.2473 | 33.738 | 21.5287 | 888 | 63.8387 | 37.6933
2019-04-29 13:30:00 | 5.9067 | 98.6967 | 6.8 | 108.46 | 10.5867 | 7.4633 | 10.2767 | 22.2733 | 21.5933 | 888 | 63.4227 | 34.448
2019-04-29 13:45:00 | 5.4533 | 81.1967 | 6.2733 | 89.2267 | 9.7 | 8.6667 | 9.7133 | 17.3967 | 21.9267 | 887.5333 | 62.298 | 29.3633
2019-04-29 14:00:00 | 5.3067 | 21.3767 | 6.1067 | 23.4933 | 9.1133 | 27.74 | 8.9267 | 23.0967 | 22.5213 | 887 | 58.9633 | 26.0947
2019-04-29 14:15:00 | 5.2733 | 194.2267 | 6.0667 | 213.4333 | 9.2633 | 25.7167 | 8.77 | 32.75 | 22.6273 | 887 | 55.6567 | 16.1387
2019-04-29 14:30:00 | 4.4 | 97.7667 | 5.0667 | 107.4267 | 7.77 | 28.5167 | 7.6767 | 30.37 | 23.03 | 887 | 52.4967 | 12.698
2019-04-29 14:45:00 | 4.3533 | 82.8467 | 5.01 | 91.0333 | 7.77 | 15.29 | 7.3667 | 14.6633 | 23.74 | 887 | 50.3267 | 10.74
2019-04-29 15:00:00 | 3.82 | 268.24 | 4.3967 | 294.7667 | 6.8967 | 15.71 | 6.6533 | 14.7633 | 24.1333 | 887 | 48.4267 | 6.4913
2019-04-29 15:15:00 | 3.0267 | 284.5833 | 3.4833 | 312.7333 | 5.4633 | 16.76 | 5.16 | 22.01 | 24.3533 | 886.5333 | 46.98 | 4.6173
2019-04-29 15:30:00 | 2.62 | 192.07 | 3.01 | 211.0667 | 4.63 | 7.4333 | 4.1533 | 24.5367 | 24.42 | 886 | 47.1333 | 2.7053
2019-04-29 15:45:00 | 3.0067 | 155.88 | 3.4533 | 171.3 | 5.2267 | 7.0367 | 4.64 | 14.42 | 24.75 | 886 | 46.67 | 6.9787
2019-04-29 16:00:00 | 3.6333 | 321.56 | 4.18 | 353.3667 | 6.0867 | 8.9633 | 5.9067 | 7.0533 | 24.1233 | 886 | 48.2767 | 14.31
2019-04-29 16:15:00 | 4.6533 | 37.7667 | 5.3533 | 41.4933 | 8.2933 | 14.6533 | 7.72 | 126.8533 | 22.91 | 886 | 50.1033 | 9.6853
2019-04-29 16:30:00 | 3.4733 | 24.68 | 4 | 27.1133 | 6.2667 | 26.36 | 6.0533 | 135.58 | 23.3767 | 886 | 49.8233 | 3.1853
2019-04-29 16:45:00 | 2.5933 | 309.9867 | 2.9933 | 340.6333 | 4.5533 | 21.6433 | 4.5333 | 31.22 | 24.5167 | 886 | 46.27 | 1.3913
2019-04-29 17:00:00 | 2.5933 | 121.78 | 2.9867 | 133.8133 | 4.5867 | 20.2967 | 4.4067 | 25.1133 | 24.1233 | 886 | 46.8767 | 3.7027
2019-04-29 17:15:00 | 3.22 | 159.6867 | 3.7167 | 175.4667 | 6.1533 | 27.52 | 5.9233 | 29.2667 | 23.6433 | 886 | 49.4067 | 9.4287
2019-04-29 17:30:00 | 3.8467 | 178.9133 | 4.4367 | 196.6 | 7.2467 | 16.656 | 7.0633 | 24.8133 | 23.07 | 886 | 51.38 | 11.324
2019-04-29 17:45:00 | 3.8067 | 11 | 4.38 | 12.0733 | 7.3367 | 14.0467 | 7.4767 | 32.1867 | 22.26 | 886 | 53.7033 | 17.1367
2019-04-29 18:00:00 | 4.1 | 119.9667 | 4.7133 | 131.8267 | 7.81 | 10.6467 | 8.01 | 27.7 | 22.1933 | 886 | 52.4833 | 19.592
2019-04-29 18:15:00 | 4.1867 | 177.8133 | 4.8167 | 195.4 | 8.0633 | 15.76 | 8.0487 | 24.4733 | 21.2567 | 885.5333 | 54.4567 | 22.6453
2019-04-29 18:30:00 | 4.5867 | 161.1267 | 5.2833 | 177.0667 | 8.3967 | 18.7267 | 8.33 | 22.4667 | 20.5767 | 885 | 56.3033 | 23.2433
2019-04-29 18:45:00 | 4.5933 | 191.7133 | 5.29 | 210.6667 | 8.26 | 10.26 | 8.12 | 28.7333 | 20.3573 | 885 | 56.66 | 23.5567
2019-04-29 19:00:00 | 3.9267 | 80.8867 | 4.5167 | 88.8867 | 7.5533 | 20.2733 | 7.5 | 31.1467 | 19.8133 | 885 | 60.3733 | 24.5027
2019-04-29 19:15:00 | 3.9733 | 261.8133 | 4.57 | 287.7 | 7.4067 | 7.8233 | 7.2767 | 21.1267 | 19.4167 | 885 | 62.0133 | 25.1547
2019-04-29 19:30:00 | 4.08 | 274.4933 | 4.69 | 301.6333 | 7.2333 | 14.9367 | 7.1367 | 10.5933 | 19.2167 | 885 | 62.3933 | 25.8387
2019-04-29 19:45:00 | 3.8333 | 260.47 | 4.4067 | 286.2333 | 6.65 | 126.2867 | 6.77 | 13.9967 | 18.88 | 885 | 61.6967 | 26.79
2019-04-29 20:00:00 | 4.4133 | 310.5833 | 5.08 | 341.3 | 7.41 | 127.8267 | 7.6433 | 21.03 | 18.9467 | 885 | 59.5167 | 32.5373
2019-04-29 20:15:00 | 4.46 | 106.92 | 5.1333 | 117.4933 | 7.5467 | 136.68 | 7.4933 | 46.1 | 18.68 | 885 | 59.31 | 31.784
2019-04-29 20:30:00 | 4.22 | 316.4667 | 4.86 | 347.7667 | 7.2867 | 305.7667 | 7.0933 | 34.42 | 18.6973 | 885 | 58.4233 | 32.1207
2019-04-29 20:45:00 | 4.0667 | 320.84 | 4.6733 | 352.5667 | 7.24 | 12.75 | 7.2433 | 14 | 18.26 | 885 | 60.65 | 31.208
2019-04-29 21:00:00 | 4.2533 | 117.3533 | 4.9 | 128.9533 | 7.3133 | 11.83 | 7.2033 | 17.6067 | 18.1867 | 885.8 | 60.8833 | 32.4473
2019-04-29 21:15:00 | 4.28 | 289.12 | 4.9267 | 317.7 | 7.46 | 115.14 | 7.4367 | 10.51 | 18.0367 | 886 | 61.0673 | 32.7647
2019-04-29 21:30:00 | 4.4867 | 299.6067 | 5.16 | 329.2333 | 8.1333 | 116.3867 | 7.8567 | 7.5233 | 17.95 | 886 | 61.13 | 34.9053
2019-04-29 21:45:00 | 4.8267 | 220.8867 | 5.5567 | 242.7333 | 8.8333 | 355.0667 | 8.5233 | 15.8333 | 18.08 | 886.4667 | 60 | 38.5233
2019-04-29 22:00:00 | 4.82 | 307.764 | 5.54 | 338.2 | 8.606 | 145.588 | 8.41 | 12.818 | 17.952 | 887 | 61.394 | 38.0413
2019-04-29 22:15:00 | 4.4467 | 307.3967 | 5.1167 | 337.8 | 7.65 | 237.9733 | 7.5933 | 28.5233 | 17.5467 | 887 | 64.7267 | 39.3127
2019-04-29 22:30:00 | 4.68 | 296.7167 | 5.3833 | 326.0667 | 8.55 | 13.2267 | 8.6533 | 25.8633 | 17.2667 | 887 | 67.22 | 37.2573
2019-04-29 22:45:00 | 4.6667 | 231.7833 | 5.3667 | 254.7067 | 8.4067 | 9.0633 | 8.3467 | 134.44 | 17.02 | 887 | 67.94 | 38.1313
2019-04-29 23:00:00 | 4.6267 | 215.59 | 5.32 | 236.9067 | 8.1533 | 241.49 | 7.76 | 176.7333 | 17.0667 | 887 | 67.0267 | 39.2653
2019-04-29 23:15:00 | 4.0493 | 44.912 | 4.656 | 49.3573 | 7.228 | 261.3773 | 7.014 | 3.0933 | 16.9953 | 887 | 67.294 | 37.8647
2019-04-29 23:30:00 | 4.6133 | 182.0633 | 5.3033 | 200.0667 | 8.0933 | 19.8067 | 7.8567 | 14.62 | 16.86 | 887 | 67.9433 | 40.7407
2019-04-29 23:45:00 | 5.2933 | 120.19 | 6.0967 | 132.0733 | 9.4 | 12.7333 | 9.1533 | 19.28 | 16.5667 | 887 | 69.47 | 42.4693