## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-30 00:00:00 | 5.7143 | 284.3943 | 6.5764 | 312.5143 | 9.6636 | 11.39 | 9.6493 | 19.7779 | 16.5964 | 887 | 67.9121 | 46.4907
2019-04-30 00:15:00 | 7.04 | 108.6433 | 8.0967 | 119.38 | 12.36 | 13.3 | 11.99 | 13.2767 | 16.57 | 887 | 67.44 | 49.7927
2019-04-30 00:30:00 | 7.1467 | 271.6433 | 8.2167 | 298.5 | 12.98 | 17.5333 | 12.77 | 22.4767 | 16.4367 | 887 | 68.8133 | 47.134
2019-04-30 00:45:00 | 5.9367 | 125.2507 | 6.8393 | 137.63 | 10.908 | 25.1053 | 10.938 | 24.108 | 16.0673 | 887 | 71.454 | 49.5853
2019-04-30 01:00:00 | 6.6833 | 289.7267 | 7.6867 | 318.3667 | 12.2767 | 29.1133 | 12.6367 | 17.6667 | 15.9687 | 887 | 71.4433 | 53.256
2019-04-30 01:15:00 | 7.5333 | 205.2133 | 8.6633 | 225.5 | 13.26 | 10.36 | 13.37 | 16.6 | 16.064 | 887 | 69.15 | 54.676
2019-04-30 01:30:00 | 7.4867 | 140.0133 | 8.6167 | 153.8533 | 12.7933 | 14.2133 | 12.7767 | 22.5933 | 16.32 | 887 | 67.5367 | 55.0373
2019-04-30 01:45:00 | 7.39 | 117.6967 | 8.5 | 129.3333 | 13.1667 | 7.83 | 13.14 | 18.2033 | 16.3027 | 887 | 67.9433 | 55.3467
2019-04-30 02:00:00 | 7.4247 | 128.1967 | 8.548 | 140.8667 | 13.62 | 11.61 | 13.6 | 22.19 | 16.1867 | 887 | 69.11 | 55.6653
2019-04-30 02:15:00 | 7.5333 | 306.8567 | 8.6667 | 337.2 | 13.5733 | 6.0867 | 13.66 | 25.43 | 16.23 | 887 | 69.488 | 56.6287
2019-04-30 02:30:00 | 7.7533 | 200.0233 | 8.92 | 219.8 | 14.18 | 20.02 | 14.5333 | 27.8233 | 16.1367 | 887 | 70.4467 | 56.406
2019-04-30 02:45:00 | 7.9067 | 93.2333 | 9.0967 | 102.4533 | 14.54 | 15.95 | 14.95 | 30.61 | 16.048 | 887 | 71.0793 | 57.0727
2019-04-30 03:00:00 | 9.0267 | 279.2867 | 10.3833 | 306.9 | 16.4667 | 13.31 | 16.5567 | 20.6967 | 15.9627 | 887 | 70.5767 | 57.278
2019-04-30 03:15:00 | 9.6113 | 32.5073 | 11.0587 | 35.718 | 17.4827 | 16.4567 | 17.534 | 24.2547 | 15.9707 | 887 | 68.3293 | 57.4887
2019-04-30 03:30:00 | 9.9333 | 190.64 | 11.4233 | 209.4967 | 17.3867 | 14.6133 | 18.1633 | 29.3767 | 15.9693 | 887 | 64.6467 | 57.248
2019-04-30 03:45:00 | 9.11 | 108.38 | 10.4767 | 119.0867 | 16.0867 | 16.9033 | 16.67 | 41.5533 | 15.89 | 887 | 62.96 | 57.0707
2019-04-30 04:00:00 | 8.7767 | 215.4 | 10.09 | 236.7 | 15.7467 | 21.67 | 16.11 | 36.2533 | 15.65 | 887 | 63.24 | 57.382
2019-04-30 04:15:00 | 8.8833 | 108.8833 | 10.2167 | 119.64 | 15.7367 | 13.1633 | 15.9333 | 20.0067 | 15.24 | 887 | 64.1167 | 56.3227
2019-04-30 04:30:00 | 9.1567 | 172.0233 | 10.5433 | 189.0333 | 15.8927 | 24.0167 | 16.5733 | 32.5 | 15.0067 | 887 | 64.07 | 56.6027
2019-04-30 04:45:00 | 9.4233 | 220.8833 | 10.84 | 242.7333 | 16.6467 | 18.1233 | 16.8 | 26.9267 | 14.3567 | 887 | 68.0033 | 55.832
2019-04-30 05:00:00 | 8.3033 | 292.8367 | 9.5533 | 321.8 | 14.76 | 20.81 | 15.0867 | 30.6533 | 13.71 | 887 | 71.7567 | 56.7147
2019-04-30 05:15:00 | 8.3733 | 199.27 | 9.63 | 218.97 | 14.9033 | 24.9733 | 14.7933 | 29.36 | 13.8267 | 887 | 69.0467 | 56.498
2019-04-30 05:30:00 | 8.4267 | 40.2567 | 9.69 | 44.23 | 15.1367 | 22.7067 | 15.5733 | 28.1933 | 13.8667 | 887 | 68.0667 | 56.27
2019-04-30 05:45:00 | 7.7533 | 259.8467 | 8.93 | 285.5333 | 14.0567 | 5.8 | 14.7 | 31.1667 | 13.9067 | 887 | 66.86 | 57.6
2019-04-30 06:00:00 | 7.9 | 237.2733 | 9.0967 | 260.7333 | 14.4367 | 13.5933 | 15.0333 | 26.3067 | 13.9067 | 887 | 66.3933 | 59.5913
2019-04-30 06:15:00 | 7.9293 | 132.438 | 9.122 | 145.528 | 14.3987 | 19.6547 | 14.6467 | 29.276 | 13.8553 | 887 | 66.1673 | 58.7947
2019-04-30 06:30:00 | 7.54 | 271.6067 | 8.68 | 298.4667 | 13.73 | 12.4133 | 13.97 | 31.68 | 13.77 | 887 | 66.5767 | 57.4873
2019-04-30 06:45:00 | 7.29 | 52.7867 | 8.3933 | 58 | 13.6133 | 17.4933 | 13.6967 | 19.5233 | 13.6467 | 887 | 67.1833 | 56.9353
2019-04-30 07:00:00 | 7.27 | 134.8867 | 8.36 | 148.2267 | 13.2 | 14.0267 | 13.0633 | 20.19 | 13.6267 | 887 | 67.1033 | 57.8327
2019-04-30 07:15:00 | 7.0967 | 189.86 | 8.17 | 208.6333 | 13.0233 | 15.1833 | 12.8667 | 27.7133 | 13.58 | 887.4667 | 68.0967 | 58.974
2019-04-30 07:30:00 | 7.1833 | 128.58 | 8.27 | 141.3 | 13.2367 | 16.7567 | 13.2267 | 37.32 | 13.5187 | 888 | 69.1833 | 57.182
2019-04-30 07:45:00 | 7.032 | 167.7807 | 8.102 | 184.3733 | 13.0573 | 16.9007 | 12.848 | 17.9347 | 13.456 | 888 | 70.3213 | 55.93
2019-04-30 08:00:00 | 7.7533 | 120.76 | 8.92 | 132.7 | 13.9767 | 9.3067 | 13.5933 | 22.38 | 13.5533 | 888 | 69.15 | 56.078
2019-04-30 08:15:00 | 7.4133 | 36.29 | 8.53 | 39.8833 | 13.52 | 18.12 | 13.3567 | 23.8933 | 14.0267 | 888 | 68.3133 | 55.8713
2019-04-30 08:30:00 | 7.1533 | 47.17 | 8.23 | 51.8367 | 13.2067 | 18.1067 | 12.9913 | 24.6267 | 14.4867 | 888.8 | 67.0267 | 55.9107
2019-04-30 08:45:00 | 7.2233 | 142.85 | 8.3133 | 156.9667 | 13.1933 | 21.0433 | 12.8967 | 24.17 | 14.58 | 889 | 66.86 | 54.4513
2019-04-30 09:00:00 | 6.7967 | 264.7833 | 7.8133 | 290.9667 | 12.5733 | 4.6167 | 12.5033 | 25.79 | 14.6933 | 889 | 66.88 | 55.1753
2019-04-30 09:15:00 | 7.2133 | 41.7533 | 8.3 | 45.8767 | 13.03 | 12.6767 | 12.84 | 31.07 | 14.7153 | 889.4667 | 65.3733 | 55.6127
2019-04-30 09:30:00 | 7.1067 | 107.9133 | 8.1733 | 118.5767 | 12.97 | 17.59 | 12.62 | 24.7033 | 14.822 | 890 | 65.74 | 55.1587
2019-04-30 09:45:00 | 6.67 | 197.34 | 7.6833 | 216.8467 | 12.4367 | 14.8633 | 12.1067 | 19.1167 | 15.48 | 890 | 64.8933 | 54.6647
2019-04-30 10:00:00 | 6.71 | 190 | 7.73 | 208.78 | 12.3567 | 11.9167 | 12.0867 | 19.3167 | 16.0667 | 890 | 63.48 | 54.1733
2019-04-30 10:15:00 | 6.8567 | 228.76 | 7.8833 | 251.3767 | 12.436 | 19.63 | 12.24 | 27.7433 | 16.56 | 890 | 61.9733 | 54.17
2019-04-30 10:30:00 | 7.0567 | 69.44 | 8.1167 | 76.31 | 12.7733 | 22.19 | 12.2733 | 31.0967 | 17.0467 | 890.1333 | 60.6733 | 53.8893
2019-04-30 10:45:00 | 7.0533 | 218.5533 | 8.1133 | 240.1567 | 12.6167 | 16.7633 | 12.6033 | 25.1333 | 17.4567 | 891 | 58 | 55.0993
2019-04-30 11:00:00 | 7.38 | 36.6133 | 8.4933 | 40.23 | 13.1233 | 20.13 | 12.9233 | 22.9 | 17.5633 | 891 | 57.54 | 54.4
2019-04-30 11:15:00 | 7.4533 | 266.4133 | 8.58 | 292.7667 | 13.18 | 15.6033 | 12.8333 | 15.8667 | 17.41 | 891 | 57.5533 | 53.7873
2019-04-30 11:30:00 | 7.2133 | 285.4133 | 8.3 | 313.6333 | 12.88 | 12.99 | 12.5933 | 11.5733 | 17.8233 | 891 | 56.04 | 53.702
2019-04-30 11:45:00 | 7.08 | 20.9767 | 8.1567 | 23.0467 | 12.65 | 19.71 | 12.24 | 14.2167 | 17.47 | 891 | 56.5333 | 52.1633
2019-04-30 12:00:00 | 7.0467 | 217.69 | 8.11 | 239.2133 | 12.55 | 8.8833 | 12.2533 | 21.23 | 17.2113 | 890.2 | 56.8333 | 49.706
2019-04-30 12:15:00 | 6.8333 | 12.92 | 7.86 | 14.19 | 12.3533 | 17.4233 | 12.12 | 27.0633 | 17.4647 | 890 | 57.2533 | 48.2487
2019-04-30 12:30:00 | 6.74 | 82.3333 | 7.76 | 90.4633 | 11.7867 | 15.01 | 11.3933 | 14.1967 | 17.95 | 890 | 55.6867 | 47.7827
2019-04-30 12:45:00 | 6.7667 | 44.4867 | 7.79 | 48.8767 | 12.2367 | 6.1633 | 11.8067 | 12.73 | 18.2533 | 890 | 55.25 | 44.932
2019-04-30 13:00:00 | 6.5267 | 216.0533 | 7.51 | 237.41 | 11.6633 | 14.99 | 11.2213 | 14.9167 | 18.4533 | 890 | 53.9367 | 40.2807
2019-04-30 13:15:00 | 6.18 | 194.1133 | 7.12 | 213.3 | 11.3833 | 7.73 | 10.9133 | 18.4433 | 18.97 | 890 | 54.49 | 37.0753
2019-04-30 13:30:00 | 5.86 | 132.46 | 6.7467 | 145.5533 | 10.4833 | 6.69 | 10.2067 | 21.6633 | 19.2473 | 889.2 | 52.6807 | 33.5747
2019-04-30 13:45:00 | 6.1167 | 199.84 | 7.04 | 219.6 | 10.8867 | 10.6867 | 10.2 | 16.5767 | 19.12 | 889 | 51.9367 | 29.4967
2019-04-30 14:00:00 | 5.6367 | 121.76 | 6.48 | 133.8 | 10.0867 | 19.94 | 9.58 | 20.97 | 19.7133 | 889 | 50.15 | 26.1907
2019-04-30 14:15:00 | 5.1433 | 17.26 | 5.9133 | 18.96 | 9.1933 | 11.55 | 8.8267 | 25.3967 | 19.8867 | 889 | 50.45 | 16.2193
2019-04-30 14:30:00 | 4.21 | 87.7667 | 4.8467 | 96.44 | 7.5867 | 23.73 | 7.12 | 23.6633 | 20.2867 | 889 | 48.95 | 9.864
2019-04-30 14:45:00 | 3.4833 | 212.7433 | 4.0067 | 233.7833 | 6.2367 | 18.9567 | 5.97 | 18.7833 | 20.5413 | 889 | 49.6067 | 7.5927
2019-04-30 15:00:00 | 3.27 | 207.9857 | 3.76 | 228.5464 | 5.6936 | 21.3114 | 5.4471 | 28.1129 | 20.9714 | 888.2143 | 49.2321 | 7.2367
2019-04-30 15:15:00 | 3.6033 | 58.64 | 4.1433 | 64.4267 | 5.95 | 17.18 | 5.4667 | 14.9 | 20.9733 | 888 | 47.89 | 5.5447
2019-04-30 15:30:00 | 3.3033 | 239.4533 | 3.8033 | 263.1333 | 5.5967 | 15.92 | 5.1867 | 18.04 | 21.8267 | 888 | 45.5233 | 2.1447
2019-04-30 15:45:00 | 2.9067 | 296.4433 | 3.3467 | 325.7667 | 4.6567 | 135.8467 | 4.32 | 130.9067 | 21.6367 | 888 | 45.5967 | 0.196
2019-04-30 16:00:00 | 2.46 | 300.8767 | 2.8333 | 330.6333 | 4.0967 | 356.1933 | 3.6467 | 123.1933 | 21.9233 | 888 | 45.51 | 0
2019-04-30 16:15:00 | 2.2733 | 6.2367 | 2.6133 | 6.85 | 3.13 | 234.1067 | 2.9433 | 109.8933 | 22.0267 | 888 | 43.39 | 0
2019-04-30 16:30:00 | 2.0733 | 5.9433 | 2.3867 | 6.5233 | 2.63 | 219.5067 | 2.2433 | 317.1667 | 21.6467 | 887.2 | 43.2967 | 0
2019-04-30 16:45:00 | 1.8033 | 115.7133 | 2.08 | 127.1467 | 2.8 | 235.3133 | 2.5267 | 247.4167 | 22.35 | 887 | 43.2113 | 0
2019-04-30 17:00:00 | 1.8633 | 108.2 | 2.1467 | 118.8867 | 2.62 | 232.7133 | 2.28 | 240.4833 | 22.65 | 887 | 41.9233 | 0
2019-04-30 17:15:00 | 1.74 | 68.9933 | 2.01 | 75.8133 | 2.42 | 228.6233 | 2.51 | 291.2333 | 22.31 | 887 | 42.77 | 0
2019-04-30 17:30:00 | 1.5267 | 175.3 | 1.7633 | 192.6333 | 2.22 | 114.69 | 2.2233 | 215.0333 | 22.0433 | 887 | 43.022 | 0
2019-04-30 17:45:00 | 1.6533 | 151.04 | 1.9067 | 165.9667 | 2.5533 | 149.8 | 2.6633 | 173.9333 | 21.92 | 887 | 43.2567 | 0.03
2019-04-30 18:00:00 | 1.7533 | 176.7533 | 2.02 | 194.2333 | 2.6 | 206.2 | 2.6233 | 232.2 | 21.74 | 887 | 41.8967 | 0.95933
2019-04-30 18:15:00 | 2.3967 | 165.5 | 2.76 | 181.8667 | 3.4333 | 225.8333 | 3.4333 | 236.7667 | 21.2467 | 887 | 42.0067 | 0.88667
2019-04-30 18:30:00 | 1.4633 | 177.58 | 1.6867 | 195.1333 | 2.3867 | 219.5 | 2.6333 | 239.5 | 21.04 | 887 | 42.6467 | 0.71067
2019-04-30 18:45:00 | 1.9333 | 173.69 | 2.23 | 190.8667 | 2.98 | 232.6 | 3.22 | 229.8667 | 20.61 | 887 | 44.0533 | 0.47267
2019-04-30 19:00:00 | 1.8053 | 182.782 | 2.0807 | 200.8533 | 2.712 | 232.3067 | 2.6707 | 225.0533 | 20.4367 | 886.2 | 44.06 | 0.992
2019-04-30 19:15:00 | 2.2167 | 190.7433 | 2.55 | 209.6 | 3.2133 | 214.7333 | 3.43 | 222.1333 | 20.1467 | 886 | 45.0733 | 1.7733
2019-04-30 19:30:00 | 1.8433 | 183.0367 | 2.1167 | 201.1333 | 2.9267 | 213.1333 | 3.1167 | 219.2667 | 20.1067 | 886 | 45.04 | 1.7267
2019-04-30 19:45:00 | 1.6267 | 179.4533 | 1.8733 | 197.2 | 2.4 | 211.3267 | 2.5067 | 206.1667 | 20.1213 | 886 | 45.14 | 1.9453
2019-04-30 20:00:00 | 1.74 | 163.8133 | 2.0067 | 180 | 2.5667 | 203.0333 | 2.7467 | 212.8333 | 19.9293 | 886 | 45.636 | 2.7927
2019-04-30 20:15:00 | 2.02 | 165.0433 | 2.3267 | 181.3667 | 2.92 | 196.5333 | 3.27 | 203.3667 | 19.826 | 885.5333 | 45.84 | 3.616
2019-04-30 20:30:00 | 1.86 | 162.13 | 2.14 | 178.1667 | 3.0267 | 209 | 3.2367 | 205.4333 | 19.7167 | 885.1333 | 46.2533 | 8.544
2019-04-30 20:45:00 | 3.0733 | 153 | 3.5333 | 168.1333 | 4.06 | 180.8 | 4.0867 | 187.3 | 19.4033 | 886 | 47.5833 | 10.7
2019-04-30 21:00:00 | 2.7133 | 160.8333 | 3.12 | 176.7333 | 3.4667 | 181.0267 | 4.0333 | 189.9667 | 19.0233 | 886 | 50.03 | 10.0453
2019-04-30 21:15:00 | 2.79 | 172.8367 | 3.2167 | 189.9333 | 3.64 | 191.1 | 4.1433 | 203.9 | 18.6533 | 886 | 52.8967 | 10.858
2019-04-30 21:30:00 | 3.2433 | 159.37 | 3.73 | 175.1333 | 4.2 | 189.1667 | 4.6967 | 204.7267 | 18.5733 | 886 | 54.07 | 8.57
2019-04-30 21:45:00 | 2.7667 | 158.5867 | 3.19 | 174.2667 | 3.5967 | 187.5667 | 4.2467 | 182.8333 | 18.5533 | 886 | 54.672 | 8.6033
2019-04-30 22:00:00 | 2.92 | 156.04 | 3.3567 | 171.4667 | 3.8433 | 181.5667 | 4.1333 | 182.3 | 18.28 | 886 | 56.0267 | 9.448
2019-04-30 22:15:00 | 2.76 | 175.8467 | 3.1767 | 193.2333 | 3.6067 | 195.9333 | 3.8033 | 198.2667 | 18.2327 | 886 | 56.8333 | 8.1907
2019-04-30 22:30:00 | 2.52 | 184.6467 | 2.91 | 202.9 | 3.4 | 182.6 | 3.7567 | 195.9333 | 17.9433 | 886 | 58.1933 | 7.708
2019-04-30 22:45:00 | 2.64 | 143.84 | 3.0367 | 158.0667 | 3.54 | 170.4667 | 3.6933 | 179.0667 | 17.69 | 886 | 59.43 | 9.0613
2019-04-30 23:00:00 | 2.8867 | 151.48 | 3.33 | 166.4667 | 3.9133 | 169.4 | 4.3667 | 175.6667 | 17.6193 | 886 | 59.8073 | 8.8033
2019-04-30 23:15:00 | 2.6133 | 159.74 | 3.0067 | 175.5333 | 3.4533 | 177.7333 | 4.2233 | 180.6 | 17.5 | 886 | 60.7967 | 8.6553
2019-04-30 23:30:00 | 2.56 | 174.6733 | 2.9467 | 191.9333 | 3.1667 | 186.6667 | 3.9167 | 187.6 | 17.5053 | 886 | 61.5233 | 7.612
2019-04-30 23:45:00 | 2.7333 | 164.04 | 3.1433 | 180.2667 | 3.5 | 185.5667 | 4.0133 | 186.1333 | 17.5267 | 886 | 62.45 | 9.1093