## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-01 00:00:00 | 3.3129 | 165.4457 | 3.8129 | 181.8 | 4.2257 | 187.9 | 4.6357 | 199.0786 | 17.5029 | 886 | 62.9269 | 10.8886
2019-05-01 00:15:00 | 2.96 | 160.07 | 3.4133 | 175.9 | 3.7367 | 195.1667 | 3.9733 | 203.9333 | 17.5533 | 886 | 63.1507 | 11.0833
2019-05-01 00:30:00 | 2.6267 | 187.01 | 3.0267 | 205.5 | 3.27 | 192.9 | 3.7467 | 207.4667 | 17.2933 | 886 | 64.5467 | 8.4333
2019-05-01 00:45:00 | 2.88 | 158.68 | 3.3133 | 174.3667 | 3.6667 | 195.9667 | 3.9867 | 195.0667 | 17.2 | 886 | 65.1367 | 9.718
2019-05-01 01:00:00 | 3.2133 | 161.5933 | 3.6933 | 177.5667 | 4.02 | 167.9 | 4.5333 | 173.8 | 17.016 | 886 | 65.9967 | 9.414
2019-05-01 01:15:00 | 3.6133 | 161.56 | 4.1567 | 177.5333 | 4.5667 | 187 | 5.4767 | 196.1667 | 17.07 | 886 | 65.7433 | 9.994
2019-05-01 01:30:00 | 3.8867 | 153.1867 | 4.47 | 168.3333 | 4.9867 | 194 | 5.77 | 191.7 | 17.2167 | 886 | 65.2673 | 12.7433
2019-05-01 01:45:00 | 4.1167 | 160.5233 | 4.7367 | 176.4 | 5.1133 | 186.4667 | 5.8433 | 189.6667 | 17.2167 | 886 | 65.2927 | 13.1907
2019-05-01 02:00:00 | 3.37 | 160.3433 | 3.8833 | 176.2 | 4.4533 | 186.8 | 5.1633 | 203.2667 | 17.1367 | 886 | 65.6567 | 11.4953
2019-05-01 02:15:00 | 2.8267 | 188.5233 | 3.25 | 207.1667 | 3.58 | 200.9 | 4.01 | 200.1667 | 16.6633 | 886 | 67.94 | 16.2873
2019-05-01 02:30:00 | 3.5133 | 159.5833 | 4.0433 | 175.3667 | 4.2933 | 197.9 | 5.0433 | 186.7667 | 16.31 | 886 | 69.9067 | 13.7527
2019-05-01 02:45:00 | 3.7733 | 152.6667 | 4.34 | 167.7667 | 4.4933 | 179.4667 | 4.9533 | 187.5 | 16.26 | 886 | 71.82 | 9.458
2019-05-01 03:00:00 | 3.0133 | 165.4067 | 3.4667 | 181.7667 | 3.8 | 175.4 | 4.3533 | 188.7667 | 16.08 | 885.8667 | 73.76 | 9.0333
2019-05-01 03:15:00 | 2.86 | 169.2033 | 3.2867 | 185.9333 | 3.6567 | 189.7 | 4.3367 | 184.8 | 15.9 | 885 | 75.2067 | 9.3127
2019-05-01 03:30:00 | 2.756 | 174.686 | 3.168 | 191.96 | 3.496 | 193.98 | 4.6 | 179.54 | 16.072 | 885 | 74.222 | 8.4853
2019-05-01 03:45:00 | 2.6967 | 187.5567 | 3.1 | 206.1 | 3.44 | 186.0333 | 4.1367 | 186.3333 | 16.34 | 885 | 72.8267 | 8.7953
2019-05-01 04:00:00 | 2.01 | 164.3167 | 2.32 | 180.5667 | 2.9 | 185.8333 | 3.7167 | 187.2 | 16.2507 | 885 | 73.3133 | 10.91
2019-05-01 04:15:00 | 2.6733 | 167.3567 | 3.0733 | 183.9 | 3.5767 | 186.3 | 4.36 | 175.5333 | 16.1787 | 885 | 73.5953 | 10.4373
2019-05-01 04:30:00 | 2.5067 | 150.1833 | 2.8867 | 165.0333 | 3.45 | 195.4333 | 4.04 | 184.3333 | 15.8333 | 885 | 75.55 | 10.2767
2019-05-01 04:45:00 | 2.52 | 157.77 | 2.8967 | 173.3667 | 3.2533 | 212.3333 | 3.8 | 193.3667 | 15.21 | 885 | 78.9967 | 10.03
2019-05-01 05:00:00 | 3.1333 | 150.5567 | 3.6033 | 165.4333 | 3.9267 | 188.2667 | 4.3467 | 192.8333 | 15.1633 | 885 | 79.49 | 8.818
2019-05-01 05:15:00 | 2.66 | 150.98 | 3.0567 | 165.9 | 3.4667 | 194.9 | 4.17 | 202.6667 | 15.2333 | 885 | 79.3767 | 9.5807
2019-05-01 05:30:00 | 2.6733 | 167.9 | 3.0767 | 184.5 | 3.3467 | 199.0333 | 4.09 | 187.8667 | 15.4133 | 885 | 78.67 | 10.324
2019-05-01 05:45:00 | 3.0733 | 180.3633 | 3.54 | 198.2 | 3.9367 | 184 | 4.7567 | 183.7 | 15.5667 | 885 | 78.2867 | 8.7227
2019-05-01 06:00:00 | 3.1 | 168.1033 | 3.5667 | 184.7333 | 3.99 | 177.2667 | 4.7567 | 183.8333 | 15.7467 | 885 | 77.6867 | 8.0073
2019-05-01 06:15:00 | 2.6067 | 162.3833 | 3 | 178.4333 | 3.4333 | 175.8667 | 4.3067 | 172.0667 | 15.86 | 885 | 77.3667 | 5.7873
2019-05-01 06:30:00 | 1.72 | 179.91 | 1.98 | 197.7 | 2.6 | 197.9333 | 3.3133 | 165.9333 | 15.7707 | 885 | 78.2067 | 6.6573
2019-05-01 06:45:00 | 2.1567 | 174.7267 | 2.49 | 192 | 3.2067 | 167.8667 | 4.0667 | 168.3667 | 15.58 | 885 | 79.48 | 6.6593
2019-05-01 07:00:00 | 2.37 | 171.7467 | 2.7233 | 188.7333 | 3.1267 | 202.8 | 3.7867 | 194.3 | 15.5667 | 885 | 79.5827 | 7.4333
2019-05-01 07:15:00 | 2.4033 | 197.78 | 2.7633 | 217.3333 | 3.27 | 181.5667 | 4.0933 | 182.0333 | 15.5707 | 885 | 80.5 | 7.224
2019-05-01 07:30:00 | 2.5767 | 182.7333 | 2.9633 | 200.8 | 3.35 | 178.3 | 4.42 | 176.6333 | 15.5413 | 885.1333 | 81.1667 | 5.8947
2019-05-01 07:45:00 | 2.27 | 165.9 | 2.6133 | 182.3 | 3.11 | 203.4667 | 4.03 | 184.4 | 15.4853 | 886 | 81.9 | 7.0773
2019-05-01 08:00:00 | 1.77 | 148.6667 | 2.04 | 163.3667 | 2.6167 | 208.6667 | 3.4767 | 198 | 15.3667 | 886 | 83.0333 | 7.5127
2019-05-01 08:15:00 | 2.3133 | 175.3067 | 2.66 | 192.6333 | 3.2267 | 202.2333 | 3.6533 | 209.2 | 15.2767 | 886 | 84.3667 | 8.6827
2019-05-01 08:30:00 | 2.4333 | 157.16 | 2.7933 | 172.7 | 3.2067 | 214.6467 | 3.5467 | 222.4667 | 15.314 | 886 | 84.7133 | 9.156
2019-05-01 08:45:00 | 2.6033 | 180.28 | 3 | 198.1 | 3.58 | 211.9 | 4.01 | 214.5667 | 15.43 | 886 | 85.2 | 9.2127
2019-05-01 09:00:00 | 2.7167 | 175.9413 | 3.1267 | 193.34 | 3.7 | 199.9 | 4.1767 | 218.4333 | 15.3847 | 886.1333 | 85.8133 | 9.086
2019-05-01 09:15:00 | 2.5833 | 179.88 | 2.9667 | 197.6667 | 3.4733 | 224.1333 | 3.9333 | 215.7333 | 15.29 | 887 | 86.7333 | 9.2467
2019-05-01 09:30:00 | 3.2767 | 166.1667 | 3.7733 | 182.6 | 4.54 | 219.2 | 4.7467 | 192.2 | 15.374 | 887 | 86.9333 | 9.454
2019-05-01 09:45:00 | 3.2233 | 169.7733 | 3.7167 | 186.5667 | 4.64 | 225.1333 | 4.5 | 211.3667 | 15.56 | 887 | 86.7133 | 13.0467
2019-05-01 10:00:00 | 3.3833 | 172.88 | 3.89 | 189.9667 | 4.5933 | 216.4667 | 4.5067 | 211.8333 | 15.624 | 887 | 86.7667 | 13.6433
2019-05-01 10:15:00 | 3.06 | 172.7233 | 3.52 | 189.8 | 4.14 | 217.7 | 4.21 | 213.2333 | 15.7933 | 887 | 87.2 | 11.142
2019-05-01 10:30:00 | 2.98 | 193.23 | 3.4333 | 212.3333 | 3.98 | 220.4333 | 3.9233 | 209.6333 | 16.0667 | 887 | 86.9333 | 8.98
2019-05-01 10:45:00 | 2.8233 | 155.4 | 3.2433 | 170.7667 | 3.4 | 198.4 | 3.5833 | 184.5333 | 16.1967 | 887 | 86.78 | 6.8307
2019-05-01 11:00:00 | 3.29 | 140.4133 | 3.79 | 154.3 | 4.0267 | 186.1333 | 4.4367 | 177.6 | 16.1167 | 887 | 86.8333 | 6.9913
2019-05-01 11:15:00 | 3.3067 | 162.8367 | 3.8033 | 178.9333 | 3.92 | 211.7333 | 4.3833 | 192.9 | 16.15 | 887 | 87.2667 | 6.5653
2019-05-01 11:30:00 | 2.9467 | 142.8833 | 3.39 | 157 | 3.6067 | 183.8667 | 3.89 | 183.1 | 16.25 | 887.8 | 87.8667 | 5.6493
2019-05-01 11:45:00 | 3.1133 | 119.4933 | 3.58 | 131.3 | 3.8167 | 175.1667 | 3.8267 | 207.0667 | 16.6033 | 887.5333 | 87.5 | 3.8893
2019-05-01 12:00:00 | 3.06 | 136.1133 | 3.5267 | 149.5667 | 3.6567 | 182.9 | 3.9133 | 186.0667 | 16.95 | 887.1333 | 86.5 | 4.5953
2019-05-01 12:15:00 | 3.22 | 167.5933 | 3.7067 | 184.1667 | 3.8433 | 186 | 4.1533 | 191.2 | 17.21 | 888 | 86.0333 | 3.6047
2019-05-01 12:30:00 | 3.02 | 139.2 | 3.4733 | 152.9667 | 3.7087 | 189.8667 | 4.0733 | 185.9333 | 17.5567 | 888 | 84.5667 | 1.6993
2019-05-01 12:45:00 | 2.5267 | 150 | 2.9033 | 164.8333 | 3.14 | 167.9667 | 3.5367 | 167.5 | 17.5567 | 887.5333 | 84.5667 | 0.652
2019-05-01 13:00:00 | 2.6333 | 126.9467 | 3.03 | 139.5 | 3.3667 | 156.8333 | 3.6033 | 181.9 | 17.59 | 887 | 83.9 | 0.29533
2019-05-01 13:15:00 | 1.7333 | 148.7267 | 2.0033 | 163.4333 | 2.6467 | 179.0667 | 2.7933 | 211.5667 | 16.7833 | 887 | 88.3667 | 0.98067
2019-05-01 13:30:00 | 2.7467 | 154.3133 | 3.1633 | 169.5667 | 3.8667 | 197.5333 | 3.92 | 204.5 | 16.2367 | 886.8667 | 92.5667 | 2.2627
2019-05-01 13:45:00 | 2.66 | 171.4467 | 3.0633 | 188.4 | 3.9367 | 222.6667 | 4.2333 | 222.4 | 16.3867 | 886 | 93.9667 | 1.79
2019-05-01 14:00:00 | 2.5867 | 169.5067 | 2.9767 | 186.2667 | 3.59 | 220.0667 | 3.6933 | 215.4667 | 16.72 | 886 | 92.1 | 0.75467
2019-05-01 14:15:00 | 1.7533 | 174.5667 | 2.02 | 191.8333 | 2.5667 | 201.0333 | 3.1 | 198.3333 | 16.65 | 886 | 90.7667 | 0.99133
2019-05-01 14:30:00 | 2.16 | 168.5 | 2.4867 | 185.1667 | 3.0333 | 211.7667 | 3.4987 | 208.2 | 16.7007 | 885.8667 | 89.9 | 0.472
2019-05-01 14:45:00 | 1.8933 | 179.39 | 2.1767 | 197.1333 | 2.8833 | 219.3333 | 2.9967 | 227.2933 | 16.96 | 885 | 88.7 | 0
2019-05-01 15:00:00 | 1.492 | 183.49 | 1.718 | 201.64 | 2.408 | 201.66 | 2.69 | 208.74 | 16.9747 | 885 | 88.12 | 0
2019-05-01 15:15:00 | 1.02 | 211.3733 | 1.1733 | 232.2667 | 1.7467 | 203.2667 | 2.02 | 204.5 | 17.19 | 885 | 86.9 | 0
2019-05-01 15:30:00 | 0.48 | 286.5333 | 0.55333 | 314.8667 | 0.69333 | 87.32 | 1.1533 | 283.9 | 17.5967 | 885 | 87.1667 | 0
2019-05-01 15:45:00 | 1.26 | 6.6067 | 1.46 | 7.2467 | 1.66 | 9.1567 | 1.6367 | 214.7467 | 17.43 | 885 | 88.9667 | 0
2019-05-01 16:00:00 | 2.5667 | 11.2533 | 2.9533 | 12.3667 | 3.9867 | 10.7433 | 3.1767 | 15.18 | 16.7833 | 885 | 90.2333 | 0
2019-05-01 16:15:00 | 3.0533 | 313.32 | 3.5133 | 344.3 | 5.6467 | 13.06 | 5.3633 | 20.97 | 16.26 | 885 | 93.3667 | 3.6073
2019-05-01 16:30:00 | 3.5667 | 302.9467 | 4.1067 | 332.9 | 6.84 | 16.1067 | 6.47 | 24.21 | 16.02 | 884.8667 | 95.2333 | 5.7807
2019-05-01 16:45:00 | 3.6667 | 6.2367 | 4.2233 | 6.85 | 6.8267 | 13.1733 | 6.62 | 28.42 | 15.6333 | 884 | 96.7 | 12.5787
2019-05-01 17:00:00 | 3.9533 | 200.0233 | 4.5567 | 219.7967 | 7.18 | 12.8667 | 7.6267 | 37.0867 | 15.44 | 884 | 97.3 | 18.9147
2019-05-01 17:15:00 | 3.5267 | 187.86 | 4.0567 | 206.4333 | 6.4033 | 10.5767 | 7.1167 | 17.7567 | 15.23 | 884 | 97.7667 | 12.638
2019-05-01 17:30:00 | 3.26 | 93.62 | 3.75 | 102.88 | 6.0367 | 7.81 | 6.37 | 15.7967 | 15.0633 | 884.8 | 98.3667 | 17.9853
2019-05-01 17:45:00 | 3.9533 | 228.1933 | 4.55 | 250.7533 | 6.6767 | 9.12 | 7.25 | 15.8967 | 14.9033 | 884.5333 | 99 | 22.214
2019-05-01 18:00:00 | 4.0867 | 15.1867 | 4.71 | 16.6867 | 7.2967 | 15.9267 | 7.8367 | 18.3233 | 14.8367 | 884 | 99.3333 | 29.4767
2019-05-01 18:15:00 | 4.4867 | 219.5467 | 5.16 | 241.2467 | 8.04 | 10.24 | 8.3 | 17.1733 | 14.6967 | 884 | 99.4467 | 30.1653
2019-05-01 18:30:00 | 4.1533 | 214.0133 | 4.78 | 235.18 | 7.2933 | 7.2467 | 7.4667 | 19.5067 | 14.6167 | 884.8 | 99.5133 | 29.22
2019-05-01 18:45:00 | 3.9533 | 31.0667 | 4.5533 | 34.1267 | 6.7 | 122.6267 | 7.02 | 60.7533 | 14.5567 | 884.5333 | 99.6 | 21.4973
2019-05-01 19:00:00 | 3.1333 | 214.5 | 3.6 | 235.7133 | 6.0467 | 143.2333 | 6.42 | 12.1667 | 14.4967 | 884.8 | 99.52 | 14.6633
2019-05-01 19:15:00 | 2.92 | 301.6367 | 3.3667 | 331.4667 | 5.4167 | 12.59 | 5.6933 | 11.5333 | 14.4753 | 884.5333 | 99.5 | 10.0153
2019-05-01 19:30:00 | 2.8467 | 299.9433 | 3.2733 | 329.6 | 5.2033 | 12.0367 | 5.6 | 10.4 | 14.4273 | 884 | 99.42 | 10.6027
2019-05-01 19:45:00 | 2.8753 | 293.8807 | 3.3033 | 322.9467 | 5.4733 | 12.8773 | 5.868 | 17.926 | 14.3213 | 884 | 99.4467 | 11.7207
2019-05-01 20:00:00 | 3.28 | 295.94 | 3.7767 | 325.2 | 5.96 | 13.3333 | 6.31 | 16.7933 | 14.29 | 884.1333 | 99.5667 | 14.1247
2019-05-01 20:15:00 | 3.26 | 89.1767 | 3.7567 | 97.9933 | 5.7767 | 8.8467 | 6.1067 | 16.92 | 14.2907 | 885 | 99.5 | 11.7873
2019-05-01 20:30:00 | 2.9533 | 112.4767 | 3.41 | 123.5933 | 5.1833 | 14.3867 | 5.7733 | 19.9533 | 14.276 | 885 | 99.5 | 9.716
2019-05-01 20:45:00 | 2.68 | 123.86 | 3.0867 | 136.1067 | 4.6567 | 8.0367 | 5.1267 | 30.3233 | 14.37 | 885 | 99.1333 | 9.3993
2019-05-01 21:00:00 | 2.8733 | 125.4733 | 3.3 | 137.8733 | 4.9633 | 9.2367 | 5.3133 | 33.6767 | 14.3433 | 885.1333 | 99.1333 | 12.2773
2019-05-01 21:15:00 | 2.8367 | 24.9767 | 3.2733 | 27.44 | 4.89 | 344.2667 | 5.0067 | 5.2467 | 14.28 | 886 | 99.5 | 21.0447
2019-05-01 21:30:00 | 3.2833 | 204.7167 | 3.78 | 224.96 | 5.7033 | 122.9667 | 5.7 | 16.72 | 14.2067 | 886 | 99.8333 | 22.1713
2019-05-01 21:45:00 | 3.3207 | 204.0947 | 3.82 | 224.2767 | 6.0973 | 9.3313 | 6.3853 | 174.1 | 14.1253 | 886 | 99.9467 | 19.0293
2019-05-01 22:00:00 | 3.94 | 125.59 | 4.5333 | 138.0033 | 7.5133 | 18.02 | 7.74 | 25.9967 | 14.06 | 886.8 | 100 | 30.0033
2019-05-01 22:15:00 | 3.76 | 106.17 | 4.33 | 116.6667 | 6.7133 | 3.4533 | 7.4467 | 33.33 | 14.0287 | 887 | 100 | 19.6413
2019-05-01 22:30:00 | 3.2267 | 107.3833 | 3.7167 | 117.9933 | 5.76 | 4.8933 | 6.4067 | 21.0767 | 13.9367 | 887 | 100 | 11.8967
2019-05-01 22:45:00 | 2.18 | 296.3033 | 2.5067 | 325.6 | 4.3267 | 3.44 | 4.9333 | 11.5367 | 13.8467 | 887 | 100 | 6.2773
2019-05-01 23:00:00 | 1.5667 | 284.6433 | 1.8 | 312.8 | 3.0467 | 4.06 | 3.16 | 6.9033 | 13.8187 | 887 | 100 | 0.912
2019-05-01 23:15:00 | 0.60333 | 262.9433 | 0.7 | 288.9333 | 0.90333 | 182.2667 | 1.1 | 284.8 | 13.8193 | 887.4667 | 100 | 0.12667
2019-05-01 23:30:00 | 0.45667 | 136.0167 | 0.52667 | 149.4667 | 0.61 | 152.3333 | 0.46 | 193.4667 | 13.8367 | 888 | 100 | 0.16071
2019-05-01 23:45:00 | 1.0067 | 316.9233 | 1.1567 | 348.2667 | 1.6433 | 119.42 | 1.5733 | 12.3767 | 13.8253 | 888 | 100 | 0.47067