## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-02 00:00:00 | 1.9479 | 109.95 | 2.2407 | 120.8179 | 3.2164 | 131.8214 | 3.1914 | 14.7407 | 13.8536 | 887.3 | 100 | 5.2479
2019-05-02 00:15:00 | 2.6167 | 214.14 | 3.0067 | 235.3233 | 4.8633 | 7.4367 | 5.1333 | 18.1133 | 13.84 | 887 | 100 | 11.0147
2019-05-02 00:30:00 | 2.8633 | 215.0533 | 3.2933 | 236.3233 | 5.41 | 8.8433 | 5.9333 | 19.9133 | 13.8227 | 887 | 100 | 8.1833
2019-05-02 00:45:00 | 2.4333 | 214.7047 | 2.8 | 235.9367 | 4.58 | 7.31 | 4.9967 | 17.0467 | 13.8007 | 887 | 100 | 4.544
2019-05-02 01:00:00 | 2.34 | 215.6833 | 2.6933 | 237.0167 | 3.76 | 234.7567 | 3.9767 | 18.9867 | 13.774 | 887 | 100 | 1.9393
2019-05-02 01:15:00 | 2.2067 | 305.04 | 2.5367 | 335.2 | 3.6067 | 8.94 | 3.82 | 14.79 | 13.77 | 887 | 100 | 1.1033
2019-05-02 01:30:00 | 2.6133 | 112.8067 | 3.0033 | 123.9667 | 4.7467 | 15.4867 | 4.9067 | 19.25 | 13.7633 | 887 | 100 | 2.8847
2019-05-02 01:45:00 | 2.5167 | 311.7133 | 2.8967 | 342.5333 | 4.6 | 16.0533 | 4.76 | 22.52 | 13.7967 | 887 | 100 | 2.3573
2019-05-02 02:00:00 | 1.93 | 303.22 | 2.23 | 333.2 | 3.46 | 15.02 | 3.6 | 18.44 | 13.71 | 887 | 100 | 0
2019-05-02 02:15:00 | 0.88 | 203.7967 | 1.0167 | 223.95 | 1.65 | 13.03 | 1.8 | 18.02 | 13.59 | 887 | 100 | 0
2019-05-02 02:30:00 | 0.4 | 213.39 | 0.47 | 234.4833 | 0.55 | 12.83 | 1.04 | 15.6867 | 13.6393 | 887 | 100 | 0
2019-05-02 02:45:00 | 0.97333 | 319.8033 | 1.1167 | 351.42 | 0.98333 | 8.8533 | 0.62 | 15.0033 | 13.6647 | 887 | 100 | 0
2019-05-02 03:00:00 | 1.7067 | 318.7887 | 1.97 | 350.6867 | 2.3233 | 8.6067 | 2.2333 | 4.65 | 13.6287 | 887 | 100 | 0
2019-05-02 03:15:00 | 1.8267 | 222.3433 | 2.1067 | 244.3233 | 2.6767 | 5.04 | 2.3733 | 0.81333 | 13.68 | 886.5333 | 100 | 0
2019-05-02 03:30:00 | 1.9667 | 21.63 | 2.2667 | 23.7633 | 2.8367 | 11.3933 | 2.4733 | 3.42 | 13.6827 | 886 | 100 | 0
2019-05-02 03:45:00 | 2.2053 | 262.012 | 2.5413 | 287.9133 | 3.5047 | 11.642 | 2.9193 | 12.8633 | 13.682 | 886 | 100 | 0
2019-05-02 04:00:00 | 2.7733 | 259.0267 | 3.1933 | 284.6333 | 3.17 | 11.7633 | 2.87 | 16.6967 | 13.6387 | 886 | 100 | 0
2019-05-02 04:15:00 | 2.34 | 108.5867 | 2.6933 | 119.3267 | 3.0467 | 123.54 | 2.67 | 9.2033 | 13.6533 | 886 | 100 | 0
2019-05-02 04:30:00 | 2.5133 | 122.3533 | 2.8933 | 134.4533 | 3.5333 | 122.6933 | 3.4167 | 15.9433 | 13.6213 | 886 | 100 | 0
2019-05-02 04:45:00 | 2.6867 | 107.2 | 3.0933 | 117.8 | 3.4533 | 0.15 | 3.45 | 3.11 | 13.6207 | 886 | 100 | 0.72133
2019-05-02 05:00:00 | 2.54 | 323.32 | 2.92 | 355.3 | 3.5533 | 237.1167 | 3.31 | 11.8633 | 13.6113 | 886 | 100 | 1.1953
2019-05-02 05:15:00 | 2.8 | 209.89 | 3.23 | 230.6367 | 4.2367 | 5.2467 | 4.0633 | 7.03 | 13.6153 | 886 | 100 | 4.09
2019-05-02 05:30:00 | 2.8 | 222.7433 | 3.2233 | 244.77 | 5.1367 | 234.6133 | 4.9033 | 5.25 | 13.602 | 886 | 100 | 5.6827
2019-05-02 05:45:00 | 2.2867 | 206.3233 | 2.6367 | 226.7233 | 4.22 | 9.0267 | 4.5867 | 19.23 | 13.5913 | 886 | 100 | 0.34467
2019-05-02 06:00:00 | 2.1333 | 10.5633 | 2.4567 | 11.6033 | 2.8067 | 10.48 | 2.4867 | 13.0433 | 13.5367 | 886 | 100 | 0
2019-05-02 06:15:00 | 1.6867 | 311.2167 | 1.9367 | 342 | 1.6567 | 119.3867 | 0.86 | 0.32333 | 13.4667 | 886 | 100 | 0
2019-05-02 06:30:00 | 0.75333 | 304.3633 | 0.87 | 334.4667 | 1.17 | 136.6933 | 0.12 | 0.55 | 13.4413 | 886.1333 | 100 | 0
2019-05-02 06:45:00 | 0.49 | 290.7067 | 0.56333 | 319.4533 | 0.94333 | 21.7133 | 0.12 | 54.16 | 13.4593 | 887 | 100 | 0
2019-05-02 07:00:00 | 0.01 | 196.08 | 0.016667 | 215.4667 | 0.016667 | 34.8 | 0 | 135.3 | 13.506 | 887 | 100 | 0
2019-05-02 07:15:00 | 0.053333 | 207.9967 | 0.06 | 228.5667 | 0 | 132.3 | 0.54 | 153.7 | 13.4933 | 887 | 100 | 0
2019-05-02 07:30:00 | 0.81333 | 300.3967 | 0.94 | 330.1 | 0.58 | 268.78 | 0.15333 | 169.5133 | 13.5733 | 887 | 100 | 0
2019-05-02 07:45:00 | 1.18 | 211.0167 | 1.3567 | 231.8833 | 1.4533 | 15.8433 | 0.64667 | 3.7067 | 13.678 | 887 | 100 | 0
2019-05-02 08:00:00 | 0.98 | 203.9233 | 1.1367 | 224.0833 | 1.4667 | 8.7767 | 0.66 | 3.5067 | 13.93 | 887.1333 | 100 | 0
2019-05-02 08:15:00 | 1.1967 | 6.4767 | 1.38 | 7.11 | 1.8667 | 6.4333 | 1.3533 | 239.63 | 14.01 | 888 | 100 | 0
2019-05-02 08:30:00 | 1.03 | 24.91 | 1.1867 | 27.3633 | 1.7667 | 23.2133 | 0.76667 | 38.4967 | 14.098 | 888 | 100 | 0
2019-05-02 08:45:00 | 0.92267 | 22.6473 | 1.06 | 24.874 | 1.5187 | 22.4027 | 0.59467 | 12.1687 | 14.3507 | 888 | 100 | 0
2019-05-02 09:00:00 | 0.70667 | 18.55 | 0.82333 | 20.3833 | 0.74333 | 25.94 | 0.39667 | 10.21 | 14.7133 | 888.1333 | 100 | 0
2019-05-02 09:15:00 | 0.55333 | 38.5133 | 0.64333 | 42.3167 | 0.53 | 18.0167 | 0.096667 | 232.9933 | 14.7133 | 889 | 100 | 0
2019-05-02 09:30:00 | 0.53333 | 214.32 | 0.62333 | 235.5167 | 0.76333 | 19.4233 | 0.23667 | 150.26 | 15.0867 | 889 | 100 | 0
2019-05-02 09:45:00 | 1.1547 | 226.5067 | 1.3393 | 248.9067 | 1.618 | 166.0487 | 1.5747 | 183.7267 | 15.8193 | 889 | 99.7667 | 0
2019-05-02 10:00:00 | 1.71 | 145.1467 | 1.9667 | 159.5 | 2.32 | 155.5 | 2.36 | 162.4667 | 16.6267 | 889.1333 | 94.7667 | 0
2019-05-02 10:15:00 | 1.8213 | 161.334 | 2.0953 | 177.28 | 2.188 | 184.64 | 2.062 | 188.0067 | 16.2713 | 890 | 91.7933 | 0
2019-05-02 10:30:00 | 1.57 | 69.8267 | 1.8067 | 76.7267 | 2.2467 | 230.9 | 2.2633 | 222.8 | 17.11 | 890 | 89.5 | 1.0407
2019-05-02 10:45:00 | 2.8467 | 194.2867 | 3.2767 | 213.5 | 3.9433 | 241.1667 | 4.1567 | 233.9333 | 18.1533 | 890 | 83.6 | 3.336
2019-05-02 11:00:00 | 2.7733 | 191.32 | 3.1967 | 210.2333 | 4.01 | 243.6333 | 4.3167 | 235.0667 | 18.4733 | 890 | 83 | 4.984
2019-05-02 11:15:00 | 2.93 | 171.0467 | 3.3767 | 187.9667 | 4.0467 | 185.3333 | 4.1233 | 201.3667 | 18.2733 | 890 | 82.7 | 3.1987
2019-05-02 11:30:00 | 3.15 | 154 | 3.6233 | 169.2333 | 4.0733 | 192.3333 | 4.13 | 219.9 | 17.58 | 890 | 84.5 | 5.5853
2019-05-02 11:45:00 | 3.6733 | 155.82 | 4.2233 | 171.2333 | 4.49 | 169.0667 | 4.65 | 177.6 | 18.4267 | 890 | 80.5533 | 6.32
2019-05-02 12:00:00 | 3.3267 | 195.5067 | 3.8233 | 214.8333 | 4.27 | 206.1333 | 4.6033 | 203.5333 | 17.8533 | 890 | 84 | 4.712
2019-05-02 12:15:00 | 3.2533 | 139.9867 | 3.7433 | 153.8333 | 4.06 | 199.9333 | 4.1067 | 178.4333 | 18.8167 | 890 | 80.22 | 3.8227
2019-05-02 12:30:00 | 3.6267 | 138.1133 | 4.1767 | 151.7667 | 4.4867 | 142.8667 | 4.64 | 171.7667 | 18.5367 | 890 | 79.22 | 3.2867
2019-05-02 12:45:00 | 3.16 | 162.9 | 3.6367 | 179 | 3.8 | 155.9 | 3.7333 | 168.4333 | 18.5607 | 890 | 79.65 | 2.4873
2019-05-02 13:00:00 | 2.9867 | 131.8333 | 3.4367 | 144.8667 | 3.6 | 156.2333 | 3.2867 | 165.9 | 18.95 | 890 | 78.1233 | 2.5047
2019-05-02 13:15:00 | 3.3567 | 150.4267 | 3.8667 | 165.3 | 4.1833 | 159.2667 | 3.9467 | 179.5667 | 18.9333 | 889.5333 | 77.01 | 2.056
2019-05-02 13:30:00 | 3.0367 | 165.8333 | 3.5 | 182.2333 | 3.7967 | 170.7333 | 3.9 | 189.5 | 18.1533 | 889 | 79.1767 | 3.2613
2019-05-02 13:45:00 | 2.7 | 161.1033 | 3.1033 | 177.0333 | 3.5233 | 203.4667 | 3.7033 | 200.8333 | 17.48 | 889 | 82.4667 | 9.6367
2019-05-02 14:00:00 | 3.1467 | 195.8633 | 3.6233 | 215.2333 | 4.4233 | 219.7333 | 4.8633 | 232.4333 | 16.8333 | 889 | 86.4 | 13.2427
2019-05-02 14:15:00 | 3.4367 | 173.1133 | 3.95 | 190.2333 | 4.95 | 234.2 | 5.4233 | 242.0333 | 17.16 | 888.5333 | 84.9667 | 11.2273
2019-05-02 14:30:00 | 2.7833 | 155.64 | 3.2033 | 171.0333 | 3.59 | 235.0667 | 3.8967 | 263.1 | 18.8467 | 888 | 78.5467 | 8.6053
2019-05-02 14:45:00 | 3.0867 | 161.96 | 3.5533 | 177.9667 | 4.3267 | 232.5667 | 4.7367 | 234.2 | 20.0133 | 888 | 72.6633 | 10.7953
2019-05-02 15:00:00 | 2.7733 | 177.4267 | 3.1933 | 194.9667 | 3.76 | 232.5 | 3.91 | 227.4667 | 20.0413 | 888.8 | 71.0833 | 9.1413
2019-05-02 15:15:00 | 2.91 | 172.2033 | 3.3467 | 189.2333 | 4.1 | 243.9667 | 4.6167 | 251.3333 | 19.6533 | 889 | 70.92 | 8.652
2019-05-02 15:30:00 | 2.8967 | 171.7167 | 3.3333 | 188.7 | 3.9467 | 208.7667 | 4.1567 | 235.8667 | 18.82 | 888.8667 | 73.8267 | 6.4287
2019-05-02 15:45:00 | 2.71 | 177.8533 | 3.1267 | 195.4333 | 3.8967 | 239.1 | 4.0367 | 234.6667 | 18.35 | 888 | 75.5567 | 8.1093
2019-05-02 16:00:00 | 3.1367 | 175.1267 | 3.6067 | 192.4333 | 4.35 | 227.2333 | 4.7233 | 227.3333 | 17.79 | 887.8667 | 77.7567 | 9.0347
2019-05-02 16:15:00 | 3.0533 | 147.6033 | 3.5133 | 162.2 | 4.32 | 226.9333 | 4.7033 | 236.1333 | 17.41 | 887 | 78.75 | 11.468
2019-05-02 16:30:00 | 2.76 | 169.51 | 3.1867 | 186.2667 | 4.04 | 239.04 | 4.3367 | 238.6 | 17.3473 | 887 | 78.6007 | 7.8193
2019-05-02 16:45:00 | 2.2267 | 168.6267 | 2.56 | 185.3 | 3.2767 | 220.6667 | 3.64 | 222.6 | 17.3393 | 886.5333 | 79.1933 | 10.6833
2019-05-02 17:00:00 | 2.4467 | 183.9733 | 2.8133 | 202.1667 | 3.5833 | 229.6667 | 4.0267 | 232.0667 | 17.362 | 886 | 80.0467 | 11.346
2019-05-02 17:15:00 | 2.28 | 146.9333 | 2.62 | 161.4667 | 3.2767 | 215.7333 | 3.39 | 220.8667 | 17.3933 | 886 | 81.1 | 15.3273
2019-05-02 17:30:00 | 2.5667 | 174.42 | 2.9533 | 191.6667 | 3.8433 | 231.8 | 4.2367 | 247.4 | 17.46 | 886 | 80.6467 | 14.328
2019-05-02 17:45:00 | 3.02 | 181.1533 | 3.47 | 199.0667 | 4.24 | 213.9333 | 4.65 | 221.7667 | 17.27 | 886 | 80.9333 | 11.0193
2019-05-02 18:00:00 | 3.02 | 171.14 | 3.47 | 188.0667 | 4.0867 | 221.8667 | 4.5367 | 198.9667 | 17.0633 | 886 | 82.3333 | 9.5713
2019-05-02 18:15:00 | 3.0667 | 167.4367 | 3.5267 | 184 | 3.9633 | 197.3 | 4.05 | 220.6667 | 16.8567 | 886 | 84.2667 | 7.4367
2019-05-02 18:30:00 | 3.0733 | 152.5233 | 3.5333 | 167.6 | 3.79 | 165.3667 | 3.8367 | 207.1333 | 16.7567 | 886 | 85.6667 | 6.0687
2019-05-02 18:45:00 | 2.7867 | 184.1833 | 3.2067 | 202.4 | 3.5067 | 164.1667 | 4.1733 | 172.0667 | 16.7387 | 886 | 86.4333 | 5.6127
2019-05-02 19:00:00 | 2.3867 | 188.1233 | 2.7533 | 206.7333 | 3.2 | 186.4867 | 3.4733 | 181.0667 | 16.6787 | 886 | 86.7 | 3.0367
2019-05-02 19:15:00 | 2.1633 | 128.8633 | 2.49 | 141.6 | 2.79 | 176.0333 | 3.26 | 181 | 16.6967 | 886 | 85.6 | 3.61
2019-05-02 19:30:00 | 2.2967 | 166.5967 | 2.6367 | 183.0667 | 3.1367 | 185.2333 | 3.2733 | 184.2933 | 16.63 | 886 | 85.5067 | 4.2
2019-05-02 19:45:00 | 2.812 | 171.644 | 3.236 | 188.62 | 3.66 | 184.02 | 4.01 | 207.54 | 16.542 | 886 | 85.66 | 4.1607
2019-05-02 20:00:00 | 2.7267 | 151.9467 | 3.1333 | 166.9667 | 3.6667 | 223.8333 | 3.9167 | 208.1667 | 16.5433 | 886 | 86.1667 | 6.1807
2019-05-02 20:15:00 | 3.32 | 167.39 | 3.8233 | 183.9333 | 4.4333 | 218.2333 | 4.32 | 208.3 | 16.4267 | 886 | 86.5133 | 7.5373
2019-05-02 20:30:00 | 3.4267 | 177.6367 | 3.95 | 195.2 | 4.64 | 216.5 | 4.4667 | 219.2333 | 16.4 | 886 | 87.1667 | 8.6767
2019-05-02 20:45:00 | 2.9967 | 161.71 | 3.4433 | 177.7 | 4.2233 | 206.9333 | 4.33 | 199.7667 | 16.34 | 886 | 87.5 | 9.4573
2019-05-02 21:00:00 | 2.6367 | 172.21 | 3.0367 | 189.2333 | 3.6567 | 216.6667 | 3.45 | 186.9 | 16.3147 | 886.1333 | 87.7533 | 8.392
2019-05-02 21:15:00 | 2.5567 | 159.736 | 2.9433 | 175.5267 | 3.53 | 203.5333 | 3.7133 | 195.9 | 15.61 | 887 | 93.5667 | 8.7413
2019-05-02 21:30:00 | 3.0967 | 161.4067 | 3.5633 | 177.3667 | 4.1833 | 205.2 | 4.3533 | 219.1 | 15.3673 | 887 | 94.7 | 10.3493
2019-05-02 21:45:00 | 2.4833 | 181.4667 | 2.86 | 199.4 | 3.3333 | 222.5333 | 3.8067 | 210.8333 | 15.48 | 887 | 93.5 | 7.018
2019-05-02 22:00:00 | 2.0767 | 166.4133 | 2.4 | 182.8667 | 2.84 | 198.4667 | 3.34 | 197.5 | 15.496 | 887.1333 | 93.18 | 5.3733
2019-05-02 22:15:00 | 2.1767 | 181.5533 | 2.5067 | 199.5 | 2.95 | 215.4667 | 3.2733 | 221.6667 | 15.55 | 888 | 92.7667 | 4.7853
2019-05-02 22:30:00 | 1.9033 | 173.9 | 2.2 | 191.1 | 2.5433 | 195.7333 | 3.18 | 209 | 15.5047 | 888 | 93.2333 | 3.4127
2019-05-02 22:45:00 | 2.5067 | 170.3533 | 2.8833 | 187.2 | 3.0933 | 186.2667 | 3.72 | 201.6 | 15.4 | 887.5333 | 93.8 | 3.4773
2019-05-02 23:00:00 | 2.6133 | 151.36 | 3.0033 | 166.3333 | 3.1733 | 163.6 | 3.64 | 178.8 | 15.316 | 887 | 93.1333 | 3.1133
2019-05-02 23:15:00 | 2.2267 | 144.0653 | 2.5633 | 158.3133 | 2.85 | 181.8333 | 3.6067 | 188.9 | 15.248 | 887 | 92.4 | 3.082
2019-05-02 23:30:00 | 2.4733 | 153.46 | 2.85 | 168.6333 | 3.1233 | 163.4333 | 3.82 | 178.1667 | 15.2333 | 887 | 92.2 | 3.246
2019-05-02 23:45:00 | 2.18 | 146.1133 | 2.51 | 160.5667 | 2.9633 | 170.3 | 3.68 | 173.2 | 15.2693 | 887 | 92 | 3.898