## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-04 00:00:00 | 1.7821 | 305.9629 | 2.0529 | 336.2214 | 3.3979 | 17.7293 | 3.1707 | 22.2393 | 14.0793 | 888 | 100 | 0
2019-05-04 00:15:00 | 1.94 | 231.0633 | 2.2367 | 253.9167 | 3.38 | 17.4333 | 3.1933 | 18.13 | 14.12 | 888 | 100 | 0
2019-05-04 00:30:00 | 2.0133 | 224.09 | 2.3167 | 246.25 | 3.5 | 12.12 | 3.4333 | 18.6033 | 14.1307 | 888 | 100 | 0
2019-05-04 00:45:00 | 2.4467 | 118.35 | 2.82 | 130.0467 | 3.18 | 13.99 | 3.32 | 27.52 | 14.1453 | 888 | 100 | 0
2019-05-04 01:00:00 | 2.4867 | 317.2833 | 2.8667 | 348.6667 | 3.3933 | 2.2967 | 3.5267 | 16.5 | 14.1307 | 888 | 100 | 0
2019-05-04 01:15:00 | 2.2767 | 208.95 | 2.63 | 229.6133 | 2.83 | 5.3333 | 2.9167 | 17.2733 | 14.09 | 888 | 100 | 0.25467
2019-05-04 01:30:00 | 2.4633 | 215.8767 | 2.8433 | 237.2133 | 3.6433 | 17.66 | 3.71 | 23.4933 | 14.0727 | 887.8667 | 100 | 1.4653
2019-05-04 01:45:00 | 2.83 | 322.7133 | 3.2533 | 354.6333 | 4.4267 | 238.74 | 4.2367 | 6.5933 | 14.0507 | 887 | 100 | 2.0407
2019-05-04 02:00:00 | 2.3727 | 324.78 | 2.736 | 356.9 | 4.144 | 1.3027 | 4.1393 | 6.2187 | 14.032 | 887 | 100 | 0.041333
2019-05-04 02:15:00 | 1.9667 | 315.62 | 2.2633 | 346.8333 | 2.6167 | 4.9 | 2.6933 | 12.0567 | 14.03 | 887 | 100 | 0
2019-05-04 02:30:00 | 1.48 | 305.4267 | 1.7167 | 335.6333 | 2.0033 | 2.2267 | 1.8133 | 11.65 | 14.014 | 887 | 100 | 0
2019-05-04 02:45:00 | 0.46 | 310.7933 | 0.52667 | 341.5333 | 0.6 | 127.9733 | 0.57667 | 19.73 | 14.0053 | 887 | 100 | 0
2019-05-04 03:00:00 | 0.04 | 149.6867 | 0.046667 | 164.4933 | 0.073333 | 124.18 | 0.09 | 17.8233 | 13.9813 | 887 | 100 | 0.13133
2019-05-04 03:15:00 | 0 | 44.45 | 0 | 48.85 | 0 | 7.87 | 0 | 16.87 | 13.92 | 887 | 100 | 0.014667
2019-05-04 03:30:00 | 0 | 44.4447 | 0 | 48.8433 | 0 | 7.87 | 0 | 16.87 | 13.8987 | 887 | 100 | 0
2019-05-04 03:45:00 | 0 | 44.41 | 0 | 48.8 | 0 | 7.87 | 0 | 16.87 | 13.83 | 887 | 100 | 0
2019-05-04 04:00:00 | 0 | 44.41 | 0 | 48.8 | 0 | 62.2233 | 0.046667 | 106.826 | 13.77 | 886.8667 | 100 | 0
2019-05-04 04:15:00 | 0.02 | 136.5333 | 0.026667 | 150.0333 | 0 | 89.4 | 0.026667 | 151.7533 | 13.7507 | 886 | 100 | 0.18267
2019-05-04 04:30:00 | 0.04 | 320.78 | 0.046667 | 352.5 | 0 | 36.4133 | 0 | 105.2333 | 13.7227 | 886 | 100 | 0
2019-05-04 04:45:00 | 0.56667 | 300.0267 | 0.66 | 329.7 | 0.81333 | 349.3 | 0.96667 | 4.8933 | 13.7053 | 886 | 100 | 0
2019-05-04 05:00:00 | 1.3533 | 316.3533 | 1.56 | 347.6333 | 1.74 | 346.7667 | 2.0667 | 1.04 | 13.6947 | 886 | 100 | 0
2019-05-04 05:15:00 | 1.18 | 220.4733 | 1.3667 | 242.2767 | 1.88 | 4.2167 | 1.85 | 15.2067 | 13.7533 | 886 | 100 | 0
2019-05-04 05:30:00 | 1.3867 | 218.1067 | 1.6 | 239.6767 | 2.6133 | 5.93 | 2.7233 | 14.0067 | 13.7827 | 886 | 100 | 0
2019-05-04 05:45:00 | 1.5267 | 107.1767 | 1.7633 | 117.7733 | 2.47 | 2.04 | 2.6733 | 15.4067 | 13.8 | 886 | 100 | 0
2019-05-04 06:00:00 | 1.9133 | 319.4167 | 2.2033 | 351 | 2.99 | 8.68 | 2.9867 | 13.0733 | 13.8013 | 885.3333 | 100 | 0.43267
2019-05-04 06:15:00 | 1.5667 | 307.9733 | 1.8033 | 338.4333 | 2.8967 | 11.6133 | 2.71 | 15.3933 | 13.8147 | 886 | 100 | 0
2019-05-04 06:30:00 | 1.6067 | 105.0867 | 1.85 | 115.4733 | 2.3113 | 2.8 | 2.1367 | 9.1733 | 13.8 | 886 | 100 | 0
2019-05-04 06:45:00 | 1.7033 | 109.8667 | 1.9567 | 120.7333 | 2.88 | 5.9933 | 2.84 | 10.43 | 13.7947 | 886 | 100 | 0.052667
2019-05-04 07:00:00 | 1.5567 | 301.388 | 1.79 | 331.1867 | 2.3467 | 3.6333 | 2.3067 | 4.7967 | 13.8067 | 886 | 100 | 0
2019-05-04 07:15:00 | 1.9133 | 205.6767 | 2.2 | 226.0167 | 2.61 | 4.1633 | 2.5533 | 12.5233 | 13.8 | 886 | 100 | 0
2019-05-04 07:30:00 | 1.9133 | 0.05 | 2.2 | 0.05 | 2.4967 | 2.1567 | 2.4133 | 8.17 | 13.8187 | 886 | 100 | 0
2019-05-04 07:45:00 | 2.3267 | 121.8133 | 2.6733 | 133.86 | 3.0467 | 6.9333 | 2.99 | 22.7467 | 13.85 | 886 | 100 | 0
2019-05-04 08:00:00 | 2.4267 | 316.48 | 2.7933 | 347.7667 | 3.1133 | 2.38 | 2.87 | 2.9133 | 13.8673 | 886 | 100 | 0
2019-05-04 08:15:00 | 2.3967 | 309.1 | 2.7533 | 339.6667 | 3.3667 | 12.9067 | 3.14 | 8.54 | 13.9367 | 886 | 100 | 0.032
2019-05-04 08:30:00 | 2.6633 | 113.86 | 3.0733 | 125.12 | 4 | 11.5133 | 3.8133 | 14.08 | 14.0233 | 886.8 | 100 | 0.53133
2019-05-04 08:45:00 | 2.5833 | 102.3633 | 2.9733 | 112.4867 | 4.1 | 12.8533 | 3.8433 | 13.08 | 14.1 | 887 | 100 | 1.3413
2019-05-04 09:00:00 | 2.53 | 314.3767 | 2.9133 | 345.4667 | 4.6333 | 13.5067 | 4.3967 | 21.5067 | 14.3867 | 887 | 100 | 1.3593
2019-05-04 09:15:00 | 2.66 | 104.5067 | 3.06 | 114.8467 | 4.7733 | 10.2533 | 4.9033 | 16.58 | 15.17 | 887 | 100 | 2.12
2019-05-04 09:30:00 | 2.84 | 106.9267 | 3.2667 | 117.4933 | 4.62 | 9.1333 | 4.53 | 10.52 | 15.8567 | 887.8 | 100 | 0.48933
2019-05-04 09:45:00 | 2.3333 | 209.4867 | 2.6933 | 230.1967 | 3.2367 | 115.2733 | 3.2767 | 121.5733 | 15.6467 | 888 | 100 | 0
2019-05-04 10:00:00 | 1.7533 | 207.1733 | 2.02 | 227.6633 | 1.9167 | 114.98 | 1.95 | 335.1667 | 15.7 | 888 | 100 | 0
2019-05-04 10:15:00 | 1.51 | 225.9133 | 1.7333 | 248.2533 | 1.5067 | 116.2333 | 1.6833 | 226.8767 | 15.8733 | 888 | 98.4667 | 0
2019-05-04 10:30:00 | 1.4433 | 228.64 | 1.6667 | 251.2533 | 1.5533 | 118.58 | 1.37 | 0.53667 | 16.3533 | 888.6667 | 95.5333 | 0
2019-05-04 10:45:00 | 0.928 | 16.59 | 1.068 | 18.23 | 0.748 | 43.628 | 0.506 | 346.16 | 16.694 | 888 | 92.82 | 0
2019-05-04 11:00:00 | 0.46667 | 190.1367 | 0.54 | 208.9433 | 0.29333 | 7.3533 | 0.17667 | 339.0667 | 17.19 | 888.8 | 88.7 | 0
2019-05-04 11:15:00 | 0.02 | 49.7667 | 0.023333 | 54.6833 | 0.04 | 20.64 | 0.023333 | 305.2133 | 18.1367 | 889 | 86.4333 | 0
2019-05-04 11:30:00 | 0.02 | 117.42 | 0.023333 | 129.03 | 0.02 | 132.5467 | 0.21667 | 220.1333 | 18.6233 | 889 | 85.1 | 0
2019-05-04 11:45:00 | 0.37333 | 105.9467 | 0.44 | 116.42 | 0.65333 | 24.8467 | 0.51333 | 41.7333 | 18.8133 | 889 | 83.7333 | 0
2019-05-04 12:00:00 | 0.38 | 262.8733 | 0.44667 | 288.8667 | 0.69333 | 233.6067 | 0.24667 | 12.92 | 18.704 | 889 | 84.0133 | 0
2019-05-04 12:15:00 | 0.26667 | 227.7767 | 0.31 | 250.2967 | 0.33333 | 238.01 | 0.14333 | 130.86 | 18.8933 | 889 | 83 | 0
2019-05-04 12:30:00 | 0.44 | 80.1767 | 0.51667 | 88.0967 | 0.50667 | 101.21 | 0.54333 | 216.8333 | 18.9933 | 888.2 | 81.9333 | 0
2019-05-04 12:45:00 | 1.0933 | 137.6867 | 1.2633 | 151.3 | 1.2833 | 149.0333 | 1.1 | 161.9667 | 18.7767 | 888 | 82.6 | 0
2019-05-04 13:00:00 | 0.70667 | 150.1867 | 0.81667 | 165.0333 | 0.94333 | 147.4333 | 0.73333 | 171.7667 | 19.29 | 888 | 80.9333 | 0
2019-05-04 13:15:00 | 1.35 | 131.41 | 1.56 | 144.4 | 1.96 | 237.6333 | 2.1467 | 263.6 | 19.8767 | 888 | 75.99 | 0
2019-05-04 13:30:00 | 1.2167 | 138.03 | 1.4133 | 151.6667 | 1.8 | 220.2333 | 1.7067 | 234.5333 | 19.8567 | 888 | 75.8433 | 0
2019-05-04 13:45:00 | 0.69 | 172.446 | 0.792 | 189.5 | 0.98 | 125.036 | 0.67 | 142.868 | 19.992 | 888 | 72.912 | 0
2019-05-04 14:00:00 | 0.72333 | 182.21 | 0.83333 | 200.2333 | 0.96667 | 133.7933 | 1.1033 | 29.56 | 20.2 | 888 | 72.72 | 0
2019-05-04 14:15:00 | 0.57667 | 162.4933 | 0.67333 | 178.5667 | 0.8 | 182.3667 | 0.85 | 136.5767 | 20.238 | 888 | 72.3767 | 0
2019-05-04 14:30:00 | 0.71 | 122.58 | 0.82 | 134.7 | 1.0533 | 72.1667 | 1.1767 | 27.4833 | 20.0767 | 888 | 72.2113 | 0
2019-05-04 14:45:00 | 0.76 | 101.61 | 0.87667 | 111.66 | 1.34 | 45.8233 | 1.28 | 25.1033 | 20.02 | 888 | 73.7367 | 0
2019-05-04 15:00:00 | 1.0533 | 298.4279 | 1.2143 | 327.9429 | 1.7429 | 15.8636 | 1.5814 | 29.5464 | 20.525 | 887.2143 | 72.3836 | 0
2019-05-04 15:15:00 | 1.6367 | 321.39 | 1.88 | 353.1667 | 2.6 | 22.3733 | 2.2467 | 41.6333 | 21.3333 | 887 | 71.4733 | 0
2019-05-04 15:30:00 | 1.97 | 105.0767 | 2.2667 | 115.4667 | 3.16 | 244.3733 | 2.8467 | 19.7333 | 21.8467 | 887 | 69.72 | 0
2019-05-04 15:45:00 | 2.2067 | 322.2333 | 2.5433 | 354.1 | 3.7 | 7.3333 | 2.9867 | 244.6567 | 22.3667 | 887 | 69.47 | 0
2019-05-04 16:00:00 | 1.6933 | 268.9067 | 1.9567 | 295.5 | 2.8 | 8.0133 | 2.3267 | 242.8567 | 22.26 | 887 | 68.09 | 0
2019-05-04 16:15:00 | 2.0533 | 116.7833 | 2.3633 | 128.3333 | 2.82 | 0.19 | 2.5233 | 242.0567 | 21.7 | 887 | 69.8267 | 0
2019-05-04 16:30:00 | 1.76 | 302.9767 | 2.03 | 332.9333 | 3.08 | 11.53 | 2.6167 | 31.5767 | 21.6733 | 887 | 70.3133 | 0
2019-05-04 16:45:00 | 1.4133 | 40.4733 | 1.6233 | 44.4667 | 2.48 | 20.4933 | 2.1733 | 21.88 | 20.9467 | 887 | 72.0767 | 0
2019-05-04 17:00:00 | 0.87333 | 83.8 | 1.0033 | 92.0867 | 1.5267 | 8.96 | 1.4067 | 18.56 | 20.9853 | 886.2 | 71.29 | 0
2019-05-04 17:15:00 | 1.0433 | 324.78 | 1.2067 | 356.9 | 1.7333 | 5.3933 | 1.51 | 236.7767 | 20.76 | 886 | 73.0967 | 0
2019-05-04 17:30:00 | 1.17 | 306.1 | 1.3467 | 336.3667 | 2.18 | 9.02 | 1.95 | 3.8833 | 20.9613 | 886 | 73.5967 | 0
2019-05-04 17:45:00 | 1.6267 | 218.3433 | 1.87 | 239.94 | 2.66 | 124.7 | 2.3367 | 238.4533 | 20.9993 | 886 | 73.01 | 0
2019-05-04 18:00:00 | 1.6067 | 6.2767 | 1.8433 | 6.8933 | 2.9467 | 122.98 | 2.65 | 2.6133 | 20.5567 | 886 | 75.3633 | 0
2019-05-04 18:15:00 | 1.2867 | 105.02 | 1.49 | 115.4067 | 2.5467 | 8.31 | 2.2167 | 5.34 | 19.9833 | 886 | 78 | 0
2019-05-04 18:30:00 | 1.1933 | 305.2533 | 1.3833 | 335.4333 | 2.3 | 13.7567 | 1.77 | 11.9 | 19.85 | 885.2 | 77.3227 | 0
2019-05-04 18:45:00 | 1.3133 | 6.5 | 1.5167 | 7.1433 | 2.59 | 19.7233 | 2.16 | 24.19 | 19.7773 | 885 | 77.5987 | 0
2019-05-04 19:00:00 | 1.14 | 175.3133 | 1.31 | 192.6433 | 2.27 | 11.5567 | 2.32 | 10.6833 | 19.44 | 885 | 78.8747 | 0
2019-05-04 19:15:00 | 1.0133 | 102.2267 | 1.1733 | 112.3333 | 1.9 | 10.35 | 2.1333 | 7.42 | 19.13 | 885 | 78.7733 | 0
2019-05-04 19:30:00 | 1.0333 | 306.58 | 1.1867 | 336.9 | 2.06 | 7.4233 | 2.2067 | 6.64 | 18.9033 | 885 | 80.2 | 0
2019-05-04 19:45:00 | 1.0767 | 215.8987 | 1.25 | 237.25 | 2.1467 | 17.89 | 1.8367 | 10.1733 | 18.5833 | 885 | 81.3333 | 0
2019-05-04 20:00:00 | 0.87667 | 28.6667 | 1.01 | 31.4967 | 1.7333 | 25.31 | 1.3767 | 18.34 | 18.43 | 885 | 81.4667 | 0
2019-05-04 20:15:00 | 1.1667 | 104.1167 | 1.3433 | 114.4067 | 2.0533 | 7.6467 | 1.8867 | 15.3267 | 18.4967 | 885 | 81.1 | 0
2019-05-04 20:30:00 | 1.3267 | 307.3767 | 1.53 | 337.7667 | 2.3133 | 10.5667 | 2.1267 | 20.5267 | 18.4633 | 885 | 81.5533 | 0
2019-05-04 20:45:00 | 1.48 | 319.6233 | 1.7033 | 351.2333 | 2.37 | 2.92 | 1.9633 | 10.8767 | 18.3933 | 885 | 81.7333 | 0
2019-05-04 21:00:00 | 1.78 | 320.4167 | 2.0567 | 352.1 | 2.6633 | 10.08 | 2.4433 | 17.75 | 18.4213 | 885.8 | 81.6133 | 0
2019-05-04 21:15:00 | 1.6493 | 304.2913 | 1.9027 | 334.38 | 3.036 | 13.68 | 2.7587 | 13.7193 | 18.248 | 886 | 83.0133 | 0
2019-05-04 21:30:00 | 1.7867 | 318.0167 | 2.0567 | 349.4667 | 3.46 | 19.3267 | 3.27 | 23.1967 | 18.0533 | 886 | 84.6 | 0
2019-05-04 21:45:00 | 1.6867 | 314.83 | 1.9467 | 345.9667 | 3.14 | 23.43 | 3.4133 | 31.8133 | 17.8433 | 886 | 86.1667 | 0
2019-05-04 22:00:00 | 1.74 | 316.5967 | 2.0133 | 347.9 | 3.3333 | 22.8967 | 3.3867 | 36.1067 | 17.6967 | 886 | 87.4333 | 0.594
2019-05-04 22:15:00 | 2.036 | 308.1393 | 2.3473 | 338.6 | 3.5327 | 22.7247 | 3.9527 | 24.226 | 17.6273 | 886 | 87.2133 | 1.2947
2019-05-04 22:30:00 | 1.8667 | 307.4633 | 2.16 | 337.8667 | 3.0333 | 6.95 | 3.4267 | 22.9933 | 17.6927 | 886 | 87 | 0.99
2019-05-04 22:45:00 | 1.7467 | 178.33 | 2.0133 | 195.9567 | 3.3 | 14.6467 | 3.4367 | 23.4467 | 17.5367 | 886 | 88.6 | 0.47133
2019-05-04 23:00:00 | 1.6733 | 218.1233 | 1.9267 | 239.69 | 2.6667 | 7.2267 | 3.0433 | 17.6467 | 17.5567 | 886 | 88.4 | 0
2019-05-04 23:15:00 | 1.6033 | 311.5033 | 1.8467 | 342.3 | 2.6333 | 21.7933 | 2.55 | 11.3733 | 17.66 | 886 | 87.6 | 0
2019-05-04 23:30:00 | 2.1233 | 307.19 | 2.4533 | 337.5667 | 2.9867 | 20.5933 | 2.91 | 1.4733 | 17.6587 | 886 | 87.6 | 0
2019-05-04 23:45:00 | 1.5 | 311.95 | 1.7333 | 342.8 | 2.0967 | 1.65 | 1.87 | 6.8667 | 17.49 | 886 | 88.0333 | 0