## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-05 00:00:00 | 1.6679 | 313.1329 | 1.9214 | 344.1 | 2.2486 | 229.3821 | 1.84 | 2.6543 | 17.4993 | 886 | 87.7 | 0
2019-05-05 00:15:00 | 1.24 | 315.0233 | 1.4367 | 346.1667 | 2.13 | 350.4333 | 2.4133 | 27.98 | 17.3033 | 886 | 89.5333 | 0
2019-05-05 00:30:00 | 0.52 | 312.242 | 0.61 | 343.1133 | 1.0367 | 136.7133 | 0.95333 | 28.6733 | 17.1367 | 886 | 90.6 | 0
2019-05-05 00:45:00 | 1.6133 | 314.9 | 1.8633 | 346.0333 | 2.9067 | 23.6067 | 2.25 | 21.1667 | 16.9167 | 886 | 92.5 | 0
2019-05-05 01:00:00 | 2.2933 | 303.4267 | 2.6433 | 333.4333 | 3.56 | 19.46 | 3.4233 | 24.34 | 16.7167 | 885.2 | 94.2333 | 0
2019-05-05 01:15:00 | 2.6167 | 210.4233 | 3.0167 | 231.2333 | 3.9533 | 16.93 | 4.1867 | 28.0767 | 16.5133 | 885 | 95.7333 | 1.2507
2019-05-05 01:30:00 | 2.1633 | 204.7167 | 2.4967 | 224.9667 | 3.8267 | 16.5567 | 4.2333 | 21.9367 | 16.3533 | 885 | 96.6 | 0.74
2019-05-05 01:45:00 | 2.3733 | 28.96 | 2.7267 | 31.82 | 3.6467 | 4.2467 | 3.7933 | 18.9733 | 16.26 | 885 | 96.8 | 2.0647
2019-05-05 02:00:00 | 2.3733 | 216.1333 | 2.7267 | 237.5 | 4.2867 | 8.0333 | 4.5533 | 8.8933 | 16.1573 | 885 | 97.2 | 2.8867
2019-05-05 02:15:00 | 2.36 | 318.4467 | 2.7167 | 349.9333 | 4.53 | 8.2633 | 4.8667 | 11.6133 | 15.9967 | 885 | 98.0667 | 2.6987
2019-05-05 02:30:00 | 2.36 | 107.56 | 2.7167 | 118.1933 | 4.5567 | 3.8233 | 4.8267 | 13.92 | 15.8967 | 885 | 98.7333 | 1.5133
2019-05-05 02:45:00 | 2.06 | 192.95 | 2.3733 | 212.03 | 4.0967 | 13.3 | 4.2867 | 19.15 | 15.81 | 885 | 99.5 | 0.898
2019-05-05 03:00:00 | 2.04 | 220.37 | 2.3467 | 242.1633 | 3.6233 | 16.0867 | 3.92 | 16.9767 | 15.7993 | 885 | 99.9 | 0.37933
2019-05-05 03:15:00 | 1.8367 | 120.8733 | 2.12 | 132.82 | 3.2567 | 16.5033 | 3.0733 | 18.1867 | 15.7033 | 885 | 100 | 0.81467
2019-05-05 03:30:00 | 2.0367 | 110.8533 | 2.34 | 121.82 | 3.65 | 15.79 | 3.2467 | 16.08 | 15.6433 | 885 | 100 | 2.7373
2019-05-05 03:45:00 | 2.1967 | 179.4833 | 2.5233 | 197.2333 | 4.1933 | 17.74 | 3.9533 | 19.4067 | 15.6073 | 885 | 100 | 3.534
2019-05-05 04:00:00 | 2.1367 | 98.3767 | 2.4567 | 108.1 | 4.1067 | 13.72 | 4.12 | 23.02 | 15.5433 | 885 | 100 | 3.4287
2019-05-05 04:15:00 | 2.0467 | 108.94 | 2.3667 | 119.7133 | 4.01 | 19.5867 | 4.1467 | 25.9233 | 15.49 | 885 | 100 | 4.1093
2019-05-05 04:30:00 | 1.9133 | 249.5867 | 2.2067 | 274.2667 | 3.79 | 17.7733 | 3.8533 | 22.1833 | 15.474 | 885 | 100 | 2.8487
2019-05-05 04:45:00 | 1.57 | 203.2967 | 1.8067 | 223.4 | 3.04 | 19.77 | 3.3633 | 21.9067 | 15.4653 | 885 | 100 | 1.8627
2019-05-05 05:00:00 | 1.63 | 308.8567 | 1.8733 | 339.4 | 3.14 | 13.4967 | 3.2967 | 21.3533 | 15.4413 | 885 | 100 | 1.672
2019-05-05 05:15:00 | 1.54 | 315.8033 | 1.7767 | 347.0333 | 2.8367 | 9.7533 | 2.92 | 18.05 | 15.4107 | 885 | 100 | 0.79
2019-05-05 05:30:00 | 1.5 | 314.1633 | 1.7367 | 345.2333 | 2.7233 | 4.1467 | 2.8933 | 16.61 | 15.38 | 885 | 100 | 0.778
2019-05-05 05:45:00 | 1.2567 | 313.5567 | 1.4467 | 344.5667 | 2.3667 | 7.84 | 2.94 | 19.72 | 15.3453 | 885 | 100 | 0.097333
2019-05-05 06:00:00 | 1.1633 | 97.8567 | 1.34 | 107.5267 | 1.9 | 15.1667 | 2.6267 | 22.4533 | 15.3507 | 885 | 100 | 0
2019-05-05 06:15:00 | 1.3533 | 7.32 | 1.5633 | 8.0367 | 2.26 | 3.5 | 2.5633 | 25.1167 | 15.3793 | 885 | 100 | 0.466
2019-05-05 06:30:00 | 1.492 | 176.8147 | 1.722 | 194.298 | 2.8387 | 8.4227 | 2.9967 | 20.4567 | 15.39 | 885 | 100 | 1.0353
2019-05-05 06:45:00 | 2.0533 | 2.7567 | 2.3667 | 3.03 | 3.3533 | 7.47 | 3.6767 | 5.9167 | 15.3993 | 885 | 100 | 1.748
2019-05-05 07:00:00 | 2.256 | 187.142 | 2.602 | 205.64 | 3.8 | 11.604 | 4.058 | 15.384 | 15.434 | 885 | 100 | 2.1153
2019-05-05 07:15:00 | 2.1733 | 23.7567 | 2.5 | 26.0967 | 4.08 | 17.2367 | 4.3033 | 16.9 | 15.4493 | 885 | 100 | 2.0447
2019-05-05 07:30:00 | 2.3467 | 28.2367 | 2.7067 | 31.0233 | 3.6653 | 6.3167 | 3.5967 | 12.7667 | 15.456 | 885 | 100 | 2.528
2019-05-05 07:45:00 | 2.3467 | 65.54 | 2.7 | 72.0233 | 3.82 | 231.2033 | 3.4533 | 22.9267 | 15.43 | 885 | 100 | 3.2533
2019-05-05 08:00:00 | 2.0667 | 168.5533 | 2.3733 | 185.2233 | 3.8533 | 4.13 | 4.06 | 16.98 | 15.4407 | 885 | 100 | 2.9173
2019-05-05 08:15:00 | 2.23 | 50.91 | 2.5633 | 55.9467 | 4.2467 | 19.15 | 4.12 | 12.93 | 15.5 | 885 | 100 | 3.976
2019-05-05 08:30:00 | 2.27 | 190.5633 | 2.61 | 209.4133 | 3.9267 | 23.8833 | 3.9467 | 12.83 | 15.504 | 885.8 | 100 | 4.2813
2019-05-05 08:45:00 | 2.1533 | 224.9633 | 2.48 | 247.2 | 3.8233 | 5.88 | 4.0233 | 21.19 | 15.4893 | 886 | 100 | 3.43
2019-05-05 09:00:00 | 2.2467 | 221.9833 | 2.5867 | 243.9333 | 3.7567 | 18.94 | 4.0033 | 18.3367 | 15.5213 | 886 | 100 | 3.0067
2019-05-05 09:15:00 | 1.9067 | 108.3967 | 2.1933 | 119.1067 | 3.6467 | 9.3467 | 4.0833 | 14.47 | 15.55 | 886 | 100 | 4.0267
2019-05-05 09:30:00 | 1.96 | 104.7967 | 2.2533 | 115.1533 | 3.8867 | 10.56 | 4.25 | 14.2433 | 15.81 | 886 | 100 | 5.1107
2019-05-05 09:45:00 | 1.9367 | 293.06 | 2.2333 | 322.0333 | 3.79 | 7.79 | 4.0967 | 2.69 | 15.9967 | 886 | 100 | 5.4293
2019-05-05 10:00:00 | 2.1167 | 318.8467 | 2.44 | 350.3667 | 3.9833 | 5.43 | 4.39 | 11.2767 | 15.9473 | 886 | 100 | 5.638
2019-05-05 10:15:00 | 2.2533 | 11.7233 | 2.5933 | 12.8733 | 4.14 | 7.0333 | 4.66 | 16.4033 | 15.87 | 886 | 100 | 5.9073
2019-05-05 10:30:00 | 2.16 | 198.0633 | 2.4933 | 217.64 | 3.8133 | 12.2133 | 4.28 | 22.11 | 15.89 | 886 | 100 | 4.8267
2019-05-05 10:45:00 | 2.1 | 197.7333 | 2.43 | 217.2867 | 3.9533 | 19.5333 | 4.3967 | 19.78 | 15.9447 | 886 | 100 | 5.478
2019-05-05 11:00:00 | 1.9467 | 166.2467 | 2.2433 | 182.6867 | 3.7733 | 4.7067 | 4.1833 | 14.08 | 16.0433 | 886 | 100 | 4.9927
2019-05-05 11:15:00 | 1.91 | 304.0367 | 2.2033 | 334.1 | 3.6333 | 4.1667 | 4.3267 | 8.0033 | 16.0833 | 886 | 100 | 5.2007
2019-05-05 11:30:00 | 1.79 | 107.5167 | 2.0633 | 118.1467 | 3.3067 | 17.34 | 3.98 | 11.0167 | 16.1367 | 886 | 100 | 5.5393
2019-05-05 11:45:00 | 1.8667 | 223.5467 | 2.1533 | 245.6567 | 3.52 | 11.37 | 4.1133 | 18.9 | 16.136 | 886 | 100 | 7.0247
2019-05-05 12:00:00 | 1.9933 | 214.14 | 2.2933 | 235.3233 | 3.7067 | 18.6167 | 4.0733 | 22.3667 | 16.1533 | 886 | 100 | 6.1887
2019-05-05 12:15:00 | 2.3333 | 101.6933 | 2.6933 | 111.74 | 4.0333 | 2.9267 | 4.4133 | 18.5833 | 16.1067 | 886 | 100 | 6.638
2019-05-05 12:30:00 | 2.4533 | 290.4467 | 2.8267 | 319.1667 | 4.3133 | 4.6267 | 4.52 | 22.63 | 16.1613 | 886 | 100 | 5.6867
2019-05-05 12:45:00 | 2.38 | 22.4633 | 2.7333 | 24.69 | 4.2133 | 7.21 | 4.4067 | 10.27 | 16.1387 | 886 | 100 | 5.186
2019-05-05 13:00:00 | 2.3733 | 224.79 | 2.7267 | 247.0233 | 4.0867 | 7.03 | 4.1 | 13.7233 | 16.12 | 886 | 100 | 3.77
2019-05-05 13:15:00 | 2.4133 | 140.73 | 2.7733 | 154.6467 | 4.0533 | 354.3667 | 4.1333 | 15.3233 | 16.2367 | 886 | 100 | 5.994
2019-05-05 13:30:00 | 2.3733 | 314.2633 | 2.7267 | 345.3333 | 4.26 | 130.9667 | 4.46 | 22.0367 | 16.2567 | 886 | 100 | 5.698
2019-05-05 13:45:00 | 2.32 | 219.8867 | 2.6733 | 241.6333 | 4.3233 | 6.6767 | 4.5233 | 10.8067 | 16.2347 | 885.5333 | 100 | 6.5327
2019-05-05 14:00:00 | 2.308 | 171.992 | 2.652 | 189 | 4.144 | 10.984 | 4.352 | 14.25 | 16.246 | 885 | 100 | 8.848
2019-05-05 14:15:00 | 2.8733 | 22.3567 | 3.3067 | 24.56 | 5.3833 | 13.03 | 5.6333 | 14.3367 | 16.37 | 885 | 100 | 6.934
2019-05-05 14:30:00 | 2.6333 | 22.8233 | 3.0333 | 25.08 | 4.5767 | 228.6967 | 4.7533 | 2.8167 | 16.33 | 885 | 100 | 3.9313
2019-05-05 14:45:00 | 2.08 | 29.1 | 2.39 | 31.98 | 3.71 | 336.5 | 3.89 | 36.6 | 16.18 | 885 | 100 | 1.641
2019-05-05 15:00:00 | 1.39 | 247.88 | 1.6 | 272.4 | 2.7 | 25.61 | 3.22 | 38.3 | 16.13 | 885 | 100 | 2.03
2019-05-05 15:15:00 | 1.39 | 247.88 | 1.6 | 272.4 | 2.7 | 25.61 | 3.22 | 38.3 | 16.13 | 885 | 100 | 2.03
2019-05-05 15:30:00 | 2.59 | 0.72 | 2.9833 | 0.78667 | 5.04 | 12.15 | 4.8233 | 16.46 | 16.046 | 885 | 100 | 13.338
2019-05-05 15:45:00 | 3.3933 | 240.46 | 3.91 | 264.2333 | 6.2433 | 9 | 6.1033 | 18.8633 | 15.7833 | 884.5333 | 100 | 14.8333
2019-05-05 16:00:00 | 3.2713 | 260.2212 | 3.7612 | 285.9625 | 6.1875 | 8.2225 | 6.2512 | 22.7413 | 15.6263 | 884 | 100 | 14
2019-05-05 16:15:00 | 3.46 | 15.13 | 3.98 | 16.62 | 6.31 | 13.07 | 6.29 | 20.66 | 15.44 | 884 | 100 | 9.9822
2019-05-05 16:30:00 | 3.37 | 97.05 | 3.8733 | 106.64 | 6.1333 | 15.3467 | 5.96 | 22.2267 | 15.3333 | 884 | 100 | 6.28
2019-05-05 16:45:00 | 2.8367 | 12.44 | 3.2633 | 13.67 | 5.0833 | 3.68 | 5.14 | 17.8733 | 15.24 | 884 | 100 | 6.49
2019-05-05 17:00:00 | 3.15 | 19.5133 | 3.6233 | 21.4433 | 5.3833 | 10.0467 | 5.2533 | 10.6133 | 15.236 | 884 | 100 | 9.5827
2019-05-05 17:15:00 | 3.2667 | 215.3867 | 3.76 | 236.6867 | 5.6667 | 10.6933 | 5.8267 | 41.4067 | 15.196 | 884 | 100 | 10.5193
2019-05-05 17:30:00 | 3.1533 | 211.7467 | 3.6267 | 232.6867 | 5.3267 | 6.3 | 5.5533 | 20.5267 | 15.2013 | 884 | 100 | 11.2387
2019-05-05 17:45:00 | 3.1533 | 9.28 | 3.6233 | 10.19 | 5.6067 | 5.67 | 5.94 | 13.5933 | 15.204 | 884 | 100 | 14.758
2019-05-05 18:00:00 | 3.4 | 211.26 | 3.91 | 232.1433 | 5.7133 | 18.3433 | 5.9133 | 14.86 | 15.1947 | 884 | 100 | 16.7607
2019-05-05 18:15:00 | 2.76 | 313.11 | 3.1733 | 344.0667 | 4.87 | 15.5367 | 5.0867 | 14.9033 | 15.154 | 884 | 100 | 18.8933
2019-05-05 18:30:00 | 2.7667 | 131.69 | 3.18 | 144.7133 | 4.8633 | 9.1167 | 4.9533 | 9.3967 | 15.1433 | 884 | 100 | 22.272
2019-05-05 18:45:00 | 3.2867 | 211.3333 | 3.7833 | 232.2333 | 5.1 | 338.6333 | 4.9967 | 34.0167 | 15.0767 | 884 | 100 | 23.7347
2019-05-05 19:00:00 | 3.3133 | 11.98 | 3.81 | 13.1533 | 5.3667 | 340.7667 | 5.5033 | 14.09 | 14.99 | 884 | 100 | 25.4447
2019-05-05 19:15:00 | 3.0833 | 111.8867 | 3.5567 | 122.9467 | 5.58 | 348.0333 | 5.3933 | 121.9733 | 14.92 | 884 | 100 | 20.8687
2019-05-05 19:30:00 | 2.8033 | 106 | 3.2233 | 116.4867 | 5.1133 | 346.3667 | 5.1733 | 355.0333 | 14.9013 | 884.1333 | 100 | 13.278
2019-05-05 19:45:00 | 2.6 | 203.0767 | 3 | 223.15 | 4.6467 | 154.2867 | 4.8033 | 7.9367 | 14.8707 | 885 | 100 | 6.8933
2019-05-05 20:00:00 | 0.94667 | 205.3767 | 1.1 | 225.6833 | 1.62 | 133.5933 | 1.9833 | 10.47 | 14.88 | 885 | 100 | 5.0133
2019-05-05 20:15:00 | 1.2913 | 305.2127 | 1.4887 | 335.3867 | 2.502 | 19.4953 | 3.2707 | 22.586 | 14.918 | 885 | 100 | 12.3127
2019-05-05 20:30:00 | 2.2033 | 110.87 | 2.5467 | 121.8333 | 4.1367 | 4.57 | 4.53 | 18.0933 | 14.9173 | 885 | 100 | 12.2627
2019-05-05 20:45:00 | 2.44 | 107.05 | 2.8067 | 117.6333 | 4.1233 | 356.1 | 4.18 | 3.4033 | 14.87 | 885 | 100 | 10.88
2019-05-05 21:00:00 | 2.6533 | 315.95 | 3.0467 | 347.2 | 4.21 | 346.9667 | 4.24 | 238.69 | 14.89 | 885 | 100 | 10.786
2019-05-05 21:15:00 | 2.85 | 190.69 | 3.2867 | 209.55 | 5.2733 | 238.11 | 5.6533 | 5.4 | 14.91 | 885.4667 | 100 | 17.61
2019-05-05 21:30:00 | 2.4367 | 194.39 | 2.8 | 213.6167 | 4.66 | 0.34333 | 5.0867 | 11.7933 | 14.93 | 886 | 100 | 22.2567
2019-05-05 21:45:00 | 3.1167 | 122.0067 | 3.5933 | 134.0667 | 5.7567 | 17.8467 | 5.9933 | 19.9633 | 14.96 | 886 | 100 | 24.91
2019-05-05 22:00:00 | 3.09 | 233.5067 | 3.5533 | 256.6 | 5.61 | 8.7067 | 5.9867 | 16.7567 | 14.9787 | 886 | 100 | 22.9707
2019-05-05 22:15:00 | 3.01 | 221.51 | 3.46 | 243.42 | 5.8367 | 17.07 | 6.0333 | 27.0767 | 15 | 886 | 100 | 18.1307
2019-05-05 22:30:00 | 3.1367 | 16.3233 | 3.6067 | 17.9333 | 5.8967 | 5.63 | 5.88 | 25.3433 | 15.0053 | 886 | 100 | 16.3107
2019-05-05 22:45:00 | 3.0133 | 204.7333 | 3.4733 | 224.9833 | 5.4667 | 7.1467 | 5.5667 | 20.2533 | 14.93 | 886 | 100 | 15.966
2019-05-05 23:00:00 | 2.9467 | 6.58 | 3.3933 | 7.2233 | 5.3333 | 231.5867 | 5.3467 | 22.42 | 14.8833 | 886 | 100 | 16.966
2019-05-05 23:15:00 | 3.0867 | 27.97 | 3.5533 | 30.7267 | 5.5433 | 11.6 | 5.8533 | 23.7733 | 14.8607 | 886 | 100 | 14.8873
2019-05-05 23:30:00 | 2.88 | 212.19 | 3.3133 | 233.1733 | 5.23 | 5.3667 | 5.3933 | 23.1933 | 14.814 | 886 | 100 | 15.5173
2019-05-05 23:45:00 | 2.6367 | 87.18 | 3.04 | 95.8 | 4.8667 | 4.4567 | 4.5867 | 11.0633 | 14.7773 | 886 | 100 | 13.056