## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-06 00:00:00 | 2.5157 | 268.2514 | 2.9 | 294.7857 | 4.6429 | 12.5443 | 4.8457 | 26.6614 | 14.7229 | 886 | 100 | 13.9529
2019-05-06 00:15:00 | 2.6333 | 13.5433 | 3.03 | 14.8733 | 5.0133 | 11.3067 | 5.3867 | 16.37 | 14.67 | 886 | 100 | 16.4653
2019-05-06 00:30:00 | 2.6333 | 221.3233 | 3.0367 | 243.2133 | 5.0067 | 13.5267 | 5.3867 | 21.2767 | 14.6487 | 886 | 100 | 18.4167
2019-05-06 00:45:00 | 2.5833 | 297.3667 | 2.9767 | 326.7667 | 4.6967 | 17.1933 | 5.2033 | 17.4367 | 14.64 | 886 | 100 | 18.5853
2019-05-06 01:00:00 | 2.6433 | 308.7667 | 3.0367 | 339.3 | 4.9567 | 12.88 | 5.2233 | 23.5167 | 14.6427 | 886 | 100 | 14.7567
2019-05-06 01:15:00 | 2.79 | 237.13 | 3.2133 | 260.5733 | 5.36 | 11.44 | 5.4467 | 17.5433 | 14.66 | 886 | 100 | 13.628
2019-05-06 01:30:00 | 2.99 | 155.4033 | 3.4467 | 170.7733 | 5.82 | 10.16 | 5.76 | 17.17 | 14.6613 | 886 | 100 | 17.802
2019-05-06 01:45:00 | 3.1767 | 98.7067 | 3.66 | 108.4667 | 6.3033 | 9.4967 | 6.18 | 19.2933 | 14.6747 | 886 | 100 | 20.61
2019-05-06 02:00:00 | 3.67 | 228.5933 | 4.22 | 251.2 | 6.7567 | 15.31 | 6.7933 | 18.3533 | 14.6533 | 885.2 | 100 | 24.0787
2019-05-06 02:15:00 | 3.7767 | 206.2767 | 4.3467 | 226.6667 | 7.19 | 10.6433 | 7.39 | 17.57 | 14.6407 | 885 | 100 | 26.994
2019-05-06 02:30:00 | 3.9367 | 298.1167 | 4.5333 | 327.6 | 7.4167 | 10.7767 | 7.7433 | 24.3433 | 14.6767 | 885 | 100 | 28.7373
2019-05-06 02:45:00 | 3.948 | 288.2853 | 4.542 | 316.7867 | 7.3673 | 13.6867 | 8.058 | 23.862 | 14.69 | 885 | 100 | 24.4247
2019-05-06 03:00:00 | 3.6933 | 197.1967 | 4.2567 | 216.7 | 7.0333 | 12.59 | 7.66 | 21 | 14.6713 | 885 | 100 | 21.292
2019-05-06 03:15:00 | 3.34 | 299.7033 | 3.84 | 329.3333 | 6.14 | 5.4733 | 6.5667 | 9.3833 | 14.5933 | 885 | 100 | 19.4187
2019-05-06 03:30:00 | 3.5133 | 303.3967 | 4.04 | 333.4 | 6.3933 | 8.6667 | 6.6 | 17.9833 | 14.5267 | 885 | 100 | 25.6673
2019-05-06 03:45:00 | 3.5733 | 231.9333 | 4.1133 | 254.8667 | 6.8267 | 13.9 | 7.1267 | 18.45 | 14.4367 | 885 | 100 | 27.7387
2019-05-06 04:00:00 | 3.5 | 158.34 | 4.0267 | 174 | 6.7067 | 11.4867 | 7.0133 | 10.0433 | 14.3633 | 885 | 100 | 32.7773
2019-05-06 04:15:00 | 3.5933 | 116.42 | 4.1333 | 127.9367 | 6.7533 | 17.0267 | 7.2733 | 21.9333 | 14.28 | 885 | 100 | 33.7527
2019-05-06 04:30:00 | 3.8 | 175.8733 | 4.38 | 193.27 | 7.04 | 11.9267 | 7.4267 | 18.4667 | 14.1933 | 885 | 100 | 32.176
2019-05-06 04:45:00 | 3.5867 | 207.3933 | 4.1267 | 227.8933 | 6.79 | 9.4433 | 7.1067 | 14.1433 | 14.0667 | 885 | 100 | 23.8673
2019-05-06 05:00:00 | 3.5933 | 14.94 | 4.1333 | 16.4133 | 6.2767 | 24.3033 | 6.2667 | 27.5767 | 13.9733 | 885 | 100 | 28.0347
2019-05-06 05:15:00 | 4.0033 | 1.5367 | 4.6067 | 1.6867 | 6.36 | 331.7667 | 6.2667 | 16.9367 | 13.8433 | 885 | 100 | 30.012
2019-05-06 05:30:00 | 3.8033 | 171.25 | 4.3867 | 188.1867 | 6.5667 | 116.6267 | 6.6533 | 40.1367 | 13.75 | 885 | 100 | 32.39
2019-05-06 05:45:00 | 3.6733 | 83.36 | 4.2333 | 91.6067 | 6.9667 | 15.62 | 7.27 | 18.5733 | 13.63 | 885 | 100 | 31.2827
2019-05-06 06:00:00 | 3.7933 | 167.0467 | 4.3667 | 183.5667 | 7.0467 | 10.0333 | 7.45 | 19.7267 | 13.55 | 885 | 100 | 31.824
2019-05-06 06:15:00 | 4 | 215.64 | 4.6 | 236.96 | 6.3633 | 109.6133 | 6.15 | 23.2233 | 13.3833 | 885 | 100 | 32.6427
2019-05-06 06:30:00 | 4.2267 | 225.16 | 4.8667 | 247.4267 | 6.7833 | 108.8733 | 6.3633 | 10.6367 | 13.2767 | 885 | 100 | 36.2533
2019-05-06 06:45:00 | 4.38 | 96.8167 | 5.0433 | 106.38 | 7.4933 | 0.20667 | 7.3767 | 2.2833 | 13.1867 | 885 | 100 | 40.4387
2019-05-06 07:00:00 | 4.6867 | 306.1967 | 5.3967 | 336.4667 | 8.08 | 23.64 | 8.1367 | 19.0367 | 13.0933 | 885.8 | 100 | 39.6893
2019-05-06 07:15:00 | 4.59 | 119.41 | 5.28 | 131.2133 | 8.0833 | 5.95 | 8.3633 | 23.9467 | 13.02 | 886 | 100 | 39.8447
2019-05-06 07:30:00 | 5.0033 | 267.8833 | 5.7533 | 294.3667 | 8.9967 | 14.3233 | 9.2233 | 17.4333 | 12.9973 | 886 | 100 | 39.0573
2019-05-06 07:45:00 | 4.42 | 130.6267 | 5.09 | 143.55 | 8.28 | 13.02 | 8.6367 | 18.78 | 12.9707 | 886 | 100 | 36.5107
2019-05-06 08:00:00 | 4.48 | 211.5067 | 5.15 | 232.4167 | 7.8333 | 10.6867 | 8.1633 | 14.52 | 12.892 | 886 | 100 | 36.5573
2019-05-06 08:15:00 | 4.26 | 32.6967 | 4.9 | 35.92 | 6.7667 | 9.38 | 6.9067 | 11.5767 | 12.83 | 886 | 100 | 34.246
2019-05-06 08:30:00 | 4.12 | 105.89 | 4.74 | 116.3533 | 7.1467 | 120.14 | 7.24 | 13.65 | 12.8207 | 886 | 100 | 33.4467
2019-05-06 08:45:00 | 4.012 | 90.5273 | 4.616 | 99.482 | 6.9427 | 264.3227 | 7.066 | 3.9753 | 12.8007 | 886 | 100 | 31.7267
2019-05-06 09:00:00 | 3.7933 | 129.5633 | 4.3667 | 142.3733 | 5.9633 | 10.03 | 6.2067 | 18.31 | 12.7633 | 886 | 100 | 30.166
2019-05-06 09:15:00 | 3.9067 | 213.3233 | 4.4967 | 234.41 | 6.08 | 12.43 | 6.56 | 23.9367 | 12.7407 | 886.4667 | 100 | 29.45
2019-05-06 09:30:00 | 4.0133 | 230.4833 | 4.6233 | 253.2767 | 6.82 | 3.39 | 7.2267 | 14.85 | 12.7327 | 887 | 100 | 31.9347
2019-05-06 09:45:00 | 4.04 | 209.91 | 4.6467 | 230.6667 | 6.3933 | 219.0367 | 6.72 | 6.1733 | 12.7067 | 887 | 100 | 33.62
2019-05-06 10:00:00 | 4.08 | 133.55 | 4.6933 | 146.76 | 6.2467 | 229.0367 | 6.6 | 8.8133 | 12.7067 | 887 | 100 | 34.832
2019-05-06 10:15:00 | 4.1067 | 11.5867 | 4.72 | 12.7267 | 6.58 | 17.92 | 6.92 | 20.0567 | 12.7067 | 887 | 100 | 35.0327
2019-05-06 10:30:00 | 4.12 | 207.1733 | 4.74 | 227.6533 | 6.32 | 17.1067 | 6.6733 | 242.9833 | 12.66 | 887 | 100 | 34.3047
2019-05-06 10:45:00 | 4.18 | 111.5167 | 4.81 | 122.5333 | 6.3533 | 20.0033 | 6.86 | 128.3467 | 12.6167 | 887 | 100 | 34.3207
2019-05-06 11:00:00 | 4.068 | 310.284 | 4.688 | 340.96 | 6.496 | 12.562 | 7.046 | 149.254 | 12.656 | 887 | 100 | 31.7113
2019-05-06 11:15:00 | 3.7133 | 113.69 | 4.27 | 124.9267 | 5.7433 | 19.12 | 5.8733 | 8.84 | 12.652 | 887 | 100 | 23.178
2019-05-06 11:30:00 | 3.48 | 152.21 | 4.0033 | 167.2667 | 5.6233 | 6.0467 | 5.8267 | 242.6867 | 12.66 | 887 | 100 | 18.2813
2019-05-06 11:45:00 | 3.38 | 310.41 | 3.89 | 341.1 | 5.3 | 0.15 | 5.55 | 13.03 | 12.7 | 887 | 100 | 17.16
2019-05-06 12:00:00 | 3.31 | 9.8667 | 3.8033 | 10.8433 | 5.5533 | 350.3667 | 5.73 | 3.2533 | 12.71 | 887 | 100 | 15.3253
2019-05-06 12:15:00 | 3.1333 | 204.3867 | 3.6 | 224.6 | 5.8033 | 119.44 | 6.1367 | 112.6667 | 12.8067 | 887 | 100 | 11.604
2019-05-06 12:30:00 | 2.56 | 275.2533 | 2.94 | 302.4667 | 4.6633 | 116.9667 | 4.9567 | 111.86 | 12.832 | 887 | 100 | 5.8553
2019-05-06 12:45:00 | 2.8 | 230.2033 | 3.2167 | 252.96 | 4.4433 | 1.8633 | 4.62 | 2.01 | 12.81 | 887 | 100 | 14.06
2019-05-06 13:00:00 | 3.4933 | 17.53 | 4.0233 | 19.2533 | 5.9033 | 1.8433 | 5.98 | 6.4833 | 12.91 | 887 | 100 | 16.564
2019-05-06 13:15:00 | 3.8733 | 117.97 | 4.46 | 129.6333 | 6.73 | 120.64 | 6.6767 | 6.1733 | 12.9 | 886.2667 | 100 | 18.3507
2019-05-06 13:30:00 | 3.44 | 317.3833 | 3.96 | 348.7667 | 6.2367 | 349.6 | 6.2633 | 3.5467 | 12.9933 | 886 | 100 | 14.106
2019-05-06 13:45:00 | 2.9333 | 311.7033 | 3.3733 | 342.5333 | 5.4433 | 8.34 | 5.7667 | 18.2967 | 13.0893 | 886 | 100 | 15.4187
2019-05-06 14:00:00 | 3.4733 | 316.1433 | 4 | 347.4 | 6.1567 | 238.2933 | 6.44 | 5.9033 | 13.1067 | 886 | 100 | 19.3693
2019-05-06 14:15:00 | 3.2667 | 306.49 | 3.7533 | 336.8 | 5.4167 | 8.7667 | 5.5167 | 8.61 | 13.03 | 886 | 100 | 17.0953
2019-05-06 14:30:00 | 3.408 | 265.708 | 3.916 | 291.98 | 5.96 | 213.564 | 6.14 | 5.234 | 13.07 | 886 | 100 | 17.2187
2019-05-06 14:45:00 | 3.3333 | 310.31 | 3.8467 | 341 | 5.34 | 4.0833 | 5.64 | 10.45 | 13.01 | 885.9333 | 100 | 13.9527
2019-05-06 15:00:00 | 3.3 | 120.7033 | 3.8 | 132.64 | 5.1067 | 6.61 | 5.2467 | 12.41 | 13.002 | 885 | 100 | 13.0087
2019-05-06 15:15:00 | 2.992 | 287.062 | 3.45 | 315.44 | 5.212 | 274.534 | 5.532 | 26.598 | 13.096 | 885 | 100 | 12.436
2019-05-06 15:30:00 | 3.24 | 261.35 | 3.73 | 287.2 | 5.7 | 17.5167 | 6.04 | 15.1833 | 13.14 | 885 | 100 | 12.0227
2019-05-06 15:45:00 | 3.3533 | 19.3733 | 3.86 | 21.2833 | 5.83 | 9.8833 | 5.7733 | 16.7967 | 13.1507 | 885 | 100 | 9.8453
2019-05-06 16:00:00 | 3.3133 | 11.9867 | 3.8067 | 13.1633 | 5.2967 | 4.7767 | 5.3533 | 13.8633 | 13.168 | 885 | 100 | 7.6133
2019-05-06 16:15:00 | 3.2133 | 180.93 | 3.7033 | 198.8167 | 5.2833 | 1.9667 | 5.5967 | 15.9333 | 13.1013 | 884.9333 | 100 | 7.8087
2019-05-06 16:30:00 | 3.2667 | 0.05 | 3.7633 | 0.05 | 5.5033 | 8.22 | 5.81 | 9.7467 | 13.08 | 884 | 100 | 8.8133
2019-05-06 16:45:00 | 3.4267 | 25.8667 | 3.94 | 28.4167 | 6.1367 | 14.8233 | 6.56 | 19.1967 | 13.0747 | 884 | 100 | 12.994
2019-05-06 17:00:00 | 3.26 | 199.944 | 3.754 | 219.712 | 5.706 | 5.598 | 6.23 | 16.08 | 13.072 | 884 | 100 | 11.09
2019-05-06 17:15:00 | 2.8933 | 218.2267 | 3.33 | 239.8 | 5.0633 | 122.2067 | 5.3167 | 27.2267 | 13.08 | 884 | 100 | 8.0833
2019-05-06 17:30:00 | 2.5667 | 163.1933 | 2.9567 | 179.3333 | 4.7633 | 125.3067 | 4.69 | 13.1667 | 13.12 | 884 | 100 | 9.7213
2019-05-06 17:45:00 | 2.87 | 100.6033 | 3.3 | 110.5467 | 5.0767 | 239.6333 | 5.0167 | 7.4533 | 13.05 | 884 | 100 | 9.1127
2019-05-06 18:00:00 | 2.8433 | 76.7433 | 3.2667 | 84.3333 | 5.15 | 7.6467 | 4.9233 | 12.2467 | 12.9567 | 884 | 100 | 9.8047
2019-05-06 18:15:00 | 3.0467 | 107.5667 | 3.5067 | 118.2 | 5.1633 | 11.8167 | 5.0867 | 10.0533 | 12.7933 | 884 | 100 | 8.7067
2019-05-06 18:30:00 | 3.4467 | 322.492 | 3.9733 | 354.38 | 5.1233 | 7.15 | 4.98 | 11.9 | 12.6533 | 884 | 100 | 10.0593
2019-05-06 18:45:00 | 3.4509 | 34.4955 | 3.9745 | 37.9091 | 5.6291 | 1.7255 | 5.8118 | 24.6145 | 12.4673 | 884 | 100 | 12.2182
2019-05-06 19:00:00 | 3.37 | 320.68 | 3.88 | 352.4 | 5.57 | 13.73 | 5.5 | 13.63 | 12.06 | 884 | 100 | 16.04
2019-05-06 19:15:00 | 4.22 | 2.02 | 4.85 | 2.21 | 6.58 | 10.77 | 6.13 | 13.37 | 11.83 | 884 | 100 | 25.3033
2019-05-06 19:30:00 | 4.56 | 7.02 | 5.24 | 7.7 | 7.56 | 19.93 | 7.7 | 17.55 | 11.58 | 884 | 100 | 32.56
2019-05-06 19:45:00 | 4.56 | 7.02 | 5.24 | 7.7 | 7.56 | 19.93 | 7.7 | 17.55 | 11.58 | 884 | 100 | 32.56
2019-05-06 20:00:00 | 5.37 | 4.67 | 6.18 | 5.13 | 8.56 | 39.45 | 8.39 | 21.44 | 10.86 | 884 | 100 | 46.69
2019-05-06 20:15:00 | 5.46 | 17.68 | 6.29 | 19.42 | 8.71 | 13.1 | 8.47 | 5.93 | 10.38 | 884 | 100 | 46.66
2019-05-06 20:30:00 | 5.46 | 17.68 | 6.29 | 19.42 | 8.71 | 13.1 | 8.47 | 5.93 | 10.38 | 884 | 100 | 46.66
2019-05-06 20:45:00 | 5.46 | 17.68 | 6.29 | 19.42 | 8.71 | 13.1 | 8.47 | 5.93 | 10.38 | 884 | 100 | 46.66
2019-05-06 21:00:00 | 6.2467 | 13.3286 | 7.19 | 14.6414 | 9.8043 | 22.49 | 9.82 | 7.5371 | 9.6271 | 884 | 100 | 50.5521
2019-05-06 21:15:00 | 5.9667 | 24.4133 | 6.8733 | 26.83 | 9.63 | 18.77 | 9.4767 | 18.69 | 9.53 | 884 | 100 | 51.358
2019-05-06 21:30:00 | 5.992 | 33.16 | 6.894 | 36.442 | 9.602 | 24.002 | 9.274 | 18.622 | 9.442 | 884 | 100 | 49.8987
2019-05-06 21:45:00 | 6.5586 | 215.8257 | 7.5457 | 237.1714 | 10.9029 | 102.8071 | 10.5914 | 16.4329 | 9.2514 | 884 | 100 | 48.8753
2019-05-06 22:00:00 | 7.2493 | 29.5864 | 8.35 | 32.5079 | 12.28 | 127.7621 | 12.0814 | 19.4086 | 9.1093 | 884 | 100 | 51.3073
2019-05-06 22:15:00 | 7.7267 | 257.0833 | 8.8867 | 282.5 | 12.67 | 10.47 | 12.8333 | 25.0433 | 8.8967 | 884 | 100 | 52.5847
2019-05-06 22:30:00 | 7.5067 | 263.4567 | 8.6333 | 289.5 | 13.2633 | 12.17 | 13.2333 | 25.4167 | 8.7633 | 884 | 100 | 52.2687
2019-05-06 22:45:00 | 7.75 | 212.77 | 8.9133 | 233.8 | 13.358 | 13.0567 | 13.3373 | 14.4367 | 8.5367 | 884 | 100 | 51.7127
2019-05-06 23:00:00 | 8.39 | 273.55 | 9.6533 | 300.6 | 14.1367 | 11.6967 | 14 | 19.4233 | 8.33 | 884 | 100 | 52.4227
2019-05-06 23:15:00 | 8.25 | 219.8267 | 9.4933 | 241.57 | 14.2067 | 21.25 | 13.95 | 20.1567 | 8.1467 | 884 | 100 | 53.3967
2019-05-06 23:30:00 | 8.09 | 217.9467 | 9.3067 | 239.5033 | 14.14 | 17.3433 | 14.0767 | 14.5967 | 8.0133 | 884 | 100 | 54.272
2019-05-06 23:45:00 | 8.0867 | 159.9233 | 9.3133 | 175.7333 | 13.9867 | 14.07 | 14.0367 | 8.87 | 7.87 | 884 | 100 | 54.9507