## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-07 00:00:00 | 7.6943 | 250.3871 | 8.8557 | 275.15 | 13.2414 | 24.0064 | 13.1407 | 15.0414 | 7.8107 | 884 | 100 | 54.5429
2019-05-07 00:15:00 | 8.4907 | 201.3633 | 9.7613 | 221.2667 | 14.65 | 16.9233 | 14.5733 | 7.9 | 7.69 | 884 | 100 | 55.008
2019-05-07 00:30:00 | 8.5 | 197.35 | 9.78 | 216.8667 | 14.8833 | 14.77 | 14.8667 | 16.6267 | 7.6033 | 884 | 100 | 55.352
2019-05-07 00:45:00 | 8.46 | 141.8667 | 9.7333 | 155.9 | 14.8067 | 12.298 | 14.9267 | 17.9367 | 7.4467 | 884 | 100 | 55.6847
2019-05-07 01:00:00 | 8.58 | 72.3067 | 9.8733 | 79.4533 | 15.0867 | 13.7167 | 15.22 | 28.6833 | 7.3667 | 884 | 100 | 56.1347
2019-05-07 01:15:00 | 8.53 | 141.3033 | 9.81 | 155.2667 | 14.83 | 18.0833 | 14.95 | 20.91 | 7.2333 | 884 | 100 | 55.736
2019-05-07 01:30:00 | 8.7767 | 172.2433 | 10.0967 | 189.2667 | 15.114 | 12.6367 | 14.8167 | 14.93 | 7.216 | 884 | 100 | 54.9853
2019-05-07 01:45:00 | 8.82 | 152.9467 | 10.1567 | 168.0733 | 15.0467 | 20.97 | 14.9133 | 20.5033 | 7.1733 | 884 | 100 | 54.6053
2019-05-07 02:00:00 | 8.74 | 88.7 | 10.0567 | 97.4733 | 14.7067 | 17.4367 | 14.4533 | 18.7367 | 7.1733 | 884 | 100 | 54.286
2019-05-07 02:15:00 | 8.38 | 42.8067 | 9.64 | 47.0333 | 14.2233 | 14.2133 | 13.9967 | 19.47 | 7.1773 | 884 | 100 | 53.5953
2019-05-07 02:30:00 | 8.336 | 206.2133 | 9.5867 | 226.6067 | 13.7633 | 14.1467 | 13.6433 | 23.75 | 7.156 | 884 | 100 | 53.4867
2019-05-07 02:45:00 | 7.7533 | 181.1267 | 8.9233 | 199.0333 | 12.7867 | 18.58 | 12.7733 | 11.8467 | 7.1427 | 884 | 100 | 53.3393
2019-05-07 03:00:00 | 7.7133 | 259.6867 | 8.8767 | 285.3667 | 13.012 | 8.8867 | 12.9067 | 21.3533 | 7.1267 | 884 | 100 | 52.1073
2019-05-07 03:15:00 | 8.07 | 266.3833 | 9.2867 | 292.7333 | 13.8533 | 13.0367 | 13.4467 | 17.3133 | 7.0593 | 884 | 100 | 51.208
2019-05-07 03:30:00 | 7.9167 | 102.9167 | 9.1133 | 113.0933 | 13.36 | 17.33 | 13.0333 | 18.84 | 7.03 | 884 | 100 | 52.1333
2019-05-07 03:45:00 | 7.2267 | 302.0333 | 8.3167 | 331.9 | 12.32 | 15.4233 | 12.1133 | 16.2233 | 7.05 | 884 | 100 | 52.4413
2019-05-07 04:00:00 | 6.8533 | 118.0467 | 7.8833 | 129.7133 | 12.02 | 14.39 | 11.54 | 20.81 | 7.0767 | 884 | 100 | 52.1153
2019-05-07 04:15:00 | 6.8933 | 285.9533 | 7.94 | 314.2333 | 12.052 | 16.05 | 11.82 | 21.4967 | 7.0333 | 884 | 100 | 53.2467
2019-05-07 04:30:00 | 7.0933 | 305.3667 | 8.16 | 335.5667 | 12.3333 | 16.55 | 12.0667 | 17.8367 | 7.0067 | 884 | 100 | 53.2927
2019-05-07 04:45:00 | 6.9533 | 108.0967 | 7.9967 | 118.78 | 12.1667 | 14.5967 | 11.93 | 15.5333 | 6.9493 | 884 | 100 | 53.4113
2019-05-07 05:00:00 | 7.22 | 298.9433 | 8.3033 | 328.5 | 12.5933 | 6.69 | 12.1233 | 17.7867 | 6.92 | 884 | 100 | 52.6993
2019-05-07 05:15:00 | 6.7567 | 308.3367 | 7.77 | 338.8333 | 11.7 | 11.6533 | 11.3767 | 13.05 | 6.8633 | 884 | 100 | 52.9827
2019-05-07 05:30:00 | 6.9167 | 147.4767 | 7.9633 | 162.06 | 12.24 | 25.26 | 11.6433 | 16.13 | 6.846 | 884 | 100 | 52.75
2019-05-07 05:45:00 | 7.0133 | 39.2533 | 8.0667 | 43.13 | 12.0667 | 11.9033 | 11.65 | 12.31 | 6.78 | 884 | 100 | 53.544
2019-05-07 06:00:00 | 7.0467 | 216.3133 | 8.1067 | 237.6967 | 12.1333 | 16.33 | 11.53 | 15.63 | 6.76 | 884 | 100 | 54.6833
2019-05-07 06:15:00 | 6.8 | 180.7933 | 7.8333 | 198.6633 | 11.96 | 12.4933 | 11.5 | 15.3167 | 6.7607 | 884 | 100 | 54.9807
2019-05-07 06:30:00 | 7.0933 | 44.8733 | 8.16 | 49.3033 | 12.2667 | 16.82 | 11.9333 | 20.97 | 6.7433 | 884 | 100 | 54.6987
2019-05-07 06:45:00 | 7.1 | 218.2067 | 8.1667 | 239.7867 | 12.4167 | 12.14 | 11.77 | 11.83 | 6.74 | 884 | 100 | 54.8273
2019-05-07 07:00:00 | 7.2067 | 41.3067 | 8.2867 | 45.38 | 12.5433 | 12.3667 | 12.022 | 20.1433 | 6.74 | 884 | 100 | 54.1613
2019-05-07 07:15:00 | 7.08 | 71.3 | 8.1467 | 78.3533 | 12.19 | 23.77 | 11.8867 | 18.62 | 6.7707 | 884 | 100 | 54.388
2019-05-07 07:30:00 | 7.16 | 80.62 | 8.24 | 88.5867 | 11.91 | 16.7633 | 11.7267 | 19.46 | 6.78 | 884 | 100 | 54.416
2019-05-07 07:45:00 | 6.9993 | 220.066 | 8.0507 | 241.822 | 12.222 | 20.4487 | 11.8473 | 11.4 | 6.8367 | 884 | 100 | 53.8447
2019-05-07 08:00:00 | 7.07 | 45.6467 | 8.1267 | 50.1533 | 12.4633 | 10.4167 | 11.8867 | 19.4533 | 6.88 | 884.4 | 100 | 53.038
2019-05-07 08:15:00 | 6.8467 | 305.5567 | 7.88 | 335.7667 | 11.9733 | 11.98 | 12.04 | 17.4433 | 6.8667 | 885 | 100 | 52.5633
2019-05-07 08:30:00 | 7.3733 | 312.65 | 8.4867 | 343.5667 | 12.16 | 16.2933 | 11.9133 | 232.5767 | 6.884 | 885 | 100 | 51.8747
2019-05-07 08:45:00 | 6.5667 | 133.33 | 7.55 | 146.5133 | 11.24 | 235.9667 | 10.8533 | 2.66 | 6.93 | 885 | 100 | 50.0713
2019-05-07 09:00:00 | 6.3133 | 146.41 | 7.2567 | 160.8933 | 11.1267 | 17.08 | 11.0467 | 10.4933 | 6.9833 | 885 | 100 | 48.584
2019-05-07 09:15:00 | 6.21 | 185.9733 | 7.1533 | 204.3667 | 10.4 | 233.3167 | 10.2533 | 11.5233 | 7.018 | 885 | 100 | 51.0087
2019-05-07 09:30:00 | 6.1833 | 131.44 | 7.1133 | 144.44 | 9.9267 | 0.15 | 10.14 | 6.8367 | 7.0567 | 885 | 100 | 50.6527
2019-05-07 09:45:00 | 5.6733 | 296.5733 | 6.5333 | 325.9 | 10.06 | 4.39 | 9.95 | 16.63 | 7.1333 | 885.7333 | 100 | 49.816
2019-05-07 10:00:00 | 5.3133 | 108.28 | 6.1067 | 118.9933 | 9.9733 | 13.9233 | 10.1633 | 18.8233 | 7.24 | 886 | 100 | 49.87
2019-05-07 10:15:00 | 5.5467 | 28.4267 | 6.3833 | 31.2267 | 10.1007 | 11.9967 | 10.3667 | 13.7467 | 7.2767 | 886 | 100 | 50.6193
2019-05-07 10:30:00 | 5.8773 | 37.2153 | 6.766 | 40.888 | 10.3947 | 12.2 | 10.6653 | 17.4373 | 7.25 | 886 | 100 | 51.692
2019-05-07 10:45:00 | 6.5267 | 56.4367 | 7.5133 | 62.0133 | 11.2567 | 12.7167 | 11.2667 | 12.1867 | 7.2567 | 886 | 100 | 51.4133
2019-05-07 11:00:00 | 6.5467 | 48.1167 | 7.5267 | 52.8667 | 11.05 | 6.4967 | 11.0933 | 19.9333 | 7.27 | 885.6 | 100 | 51.458
2019-05-07 11:15:00 | 6.2033 | 8.2667 | 7.1433 | 9.08 | 10.2767 | 11.7433 | 10.3367 | 13.6333 | 7.3267 | 885 | 100 | 51.714
2019-05-07 11:30:00 | 6.39 | 6.1733 | 7.35 | 6.78 | 10.19 | 12.91 | 10.1233 | 18.1267 | 7.34 | 885 | 100 | 50.44
2019-05-07 11:45:00 | 5.9633 | 273.0667 | 6.8567 | 300.0667 | 10.2467 | 23.1633 | 10.0533 | 18.31 | 7.4033 | 885 | 100 | 49.812
2019-05-07 12:00:00 | 5.7967 | 281.26 | 6.6767 | 309.0667 | 9.92 | 15.3033 | 9.8 | 11.2233 | 7.426 | 885 | 100 | 49.2207
2019-05-07 12:15:00 | 6.2533 | 117.0333 | 7.1933 | 128.6067 | 10.84 | 24.51 | 10.92 | 22.47 | 7.4833 | 885 | 100 | 47.1687
2019-05-07 12:30:00 | 6.2667 | 133.8267 | 7.2067 | 147.0533 | 10.9067 | 20.85 | 11.0267 | 11.77 | 7.5367 | 885 | 100 | 48.4587
2019-05-07 12:45:00 | 6.0267 | 190.8833 | 6.93 | 209.7567 | 10.1033 | 16.5 | 10.1133 | 12.6333 | 7.5693 | 885 | 100 | 48.5053
2019-05-07 13:00:00 | 6.1667 | 219.6967 | 7.09 | 241.4233 | 9.8433 | 3.7267 | 9.9133 | 23.6267 | 7.556 | 885 | 100 | 48.1413
2019-05-07 13:15:00 | 6.31 | 269.7233 | 7.2667 | 296.4 | 10.03 | 3.12 | 10.0267 | 13.86 | 7.5433 | 885 | 100 | 48.962
2019-05-07 13:30:00 | 5.7633 | 314.01 | 6.6333 | 345.0667 | 9.6633 | 11.2933 | 9.3733 | 21.1533 | 7.6567 | 885 | 100 | 47.3647
2019-05-07 13:45:00 | 5.66 | 122.45 | 6.5233 | 134.5533 | 9.4 | 1.8633 | 9.3633 | 5.2867 | 7.7027 | 885 | 100 | 48.322
2019-05-07 14:00:00 | 5.8467 | 108.5833 | 6.73 | 119.32 | 9.2867 | 239.3767 | 9.5233 | 6.8267 | 7.7 | 885 | 100 | 48.4287
2019-05-07 14:15:00 | 5.65 | 201.3367 | 6.5033 | 221.25 | 9.4533 | 227.3367 | 9.6867 | 23.3667 | 7.708 | 885 | 100 | 48.934
2019-05-07 14:30:00 | 5.9633 | 228.2767 | 6.8567 | 250.85 | 10.2733 | 12.8167 | 10.2467 | 15.5867 | 7.7267 | 885 | 100 | 48.7367
2019-05-07 14:45:00 | 5.9167 | 309.3667 | 6.8033 | 339.9667 | 9.87 | 241.97 | 10.01 | 11.4333 | 7.7413 | 885 | 100 | 47.7687
2019-05-07 15:00:00 | 5.6833 | 317.9333 | 6.5367 | 349.3667 | 9.8233 | 15.35 | 9.9567 | 16.1 | 7.8067 | 884.6 | 100 | 46.5313
2019-05-07 15:15:00 | 5.3233 | 241.97 | 6.1233 | 265.9 | 8.84 | 126.0933 | 9.1433 | 24.2533 | 7.82 | 884 | 100 | 45.6087
2019-05-07 15:30:00 | 5.07 | 231.8433 | 5.8367 | 254.7667 | 8.4333 | 117.06 | 8.2567 | 18.4933 | 7.84 | 884 | 100 | 43.696
2019-05-07 15:45:00 | 5.3867 | 273.8533 | 6.2033 | 300.9333 | 8.9367 | 350.4667 | 8.87 | 13.6533 | 7.98 | 884 | 100 | 48.3207
2019-05-07 16:00:00 | 5.6933 | 311.364 | 6.5567 | 342.16 | 9.7167 | 338.6 | 9.8233 | 14.3067 | 7.9933 | 884 | 100 | 48.844
2019-05-07 16:15:00 | 6.2833 | 219.1867 | 7.2333 | 240.8633 | 10.48 | 10.3633 | 10.4867 | 18.13 | 7.7893 | 884 | 100 | 48.92
2019-05-07 16:30:00 | 5.8033 | 18.0333 | 6.6733 | 19.8167 | 9.6933 | 227.35 | 9.7533 | 238.1833 | 7.78 | 884 | 100 | 49.8593
2019-05-07 16:45:00 | 6.1213 | 10.4913 | 7.042 | 11.5207 | 9.7293 | 55.0707 | 9.8793 | 60.298 | 7.674 | 884 | 100 | 49.6667
2019-05-07 17:00:00 | 5.4467 | 17.1167 | 6.2633 | 18.7967 | 8.8733 | 13.4933 | 9.1567 | 28.5767 | 7.7033 | 884 | 100 | 49.488
2019-05-07 17:15:00 | 5.7733 | 114.92 | 6.6533 | 126.2733 | 9.5767 | 339.3 | 9.5167 | 239.5033 | 7.71 | 884 | 100 | 49.3987
2019-05-07 17:30:00 | 5.7333 | 274.0933 | 6.6 | 301.2 | 9.8233 | 119.1867 | 9.8567 | 12.63 | 7.75 | 884 | 100 | 49.4513
2019-05-07 17:45:00 | 5.55 | 112.8333 | 6.3933 | 123.9867 | 9.8367 | 245.5467 | 10.06 | 8.7533 | 7.8 | 884 | 100 | 49.5293
2019-05-07 18:00:00 | 5.63 | 298.4467 | 6.4733 | 327.9667 | 9.8567 | 246.8133 | 9.8667 | 4.5267 | 7.7867 | 884 | 100 | 45.764
2019-05-07 18:15:00 | 5.3533 | 9.5867 | 6.1533 | 10.5367 | 8.64 | 340.2333 | 8.79 | 16.6967 | 7.7707 | 884 | 100 | 45.9153
2019-05-07 18:30:00 | 5.42 | 209.92 | 6.2333 | 230.67 | 9.0933 | 343.7667 | 9.27 | 10.91 | 7.7933 | 884 | 100 | 45.608
2019-05-07 18:45:00 | 5.38 | 289.2933 | 6.1993 | 317.9 | 8.8067 | 233.23 | 8.9633 | 234.57 | 7.8367 | 884 | 100 | 48.3613
2019-05-07 19:00:00 | 5.6867 | 81.56 | 6.55 | 89.62 | 9.3067 | 5.23 | 9.6967 | 6.11 | 7.87 | 884 | 100 | 48.2513
2019-05-07 19:15:00 | 5.1133 | 5.5967 | 5.88 | 6.1467 | 8.3633 | 23.4467 | 8.8333 | 23.01 | 7.9567 | 884 | 99.9933 | 48.9227
2019-05-07 19:30:00 | 5.2733 | 215.8367 | 6.0733 | 237.18 | 8.49 | 11.9867 | 8.8667 | 61.8167 | 8.0033 | 884 | 99.6333 | 49.6613
2019-05-07 19:45:00 | 5.7367 | 110.6333 | 6.6 | 121.5733 | 9.25 | 16.1467 | 9.4233 | 26.4 | 8.0767 | 884.6667 | 98.7 | 51.968
2019-05-07 20:00:00 | 6.07 | 106.46 | 6.9867 | 116.98 | 10.3967 | 12.64 | 10.5167 | 25.98 | 8.0367 | 884 | 98.86 | 52.5933
2019-05-07 20:15:00 | 6.3867 | 247.46 | 7.3433 | 271.9333 | 10.9933 | 11.0067 | 11.1133 | 13.5367 | 8.0767 | 884 | 98 | 50.146
2019-05-07 20:30:00 | 5.72 | 137.0533 | 6.5767 | 150.6 | 9.7067 | 14.18 | 9.6933 | 13.91 | 8.15 | 884.4 | 97.3333 | 47.5193
2019-05-07 20:45:00 | 5.5967 | 262.75 | 6.4433 | 288.7333 | 8.9133 | 229.6367 | 9.1467 | 7.3367 | 8.1727 | 885 | 97.3 | 49.3627
2019-05-07 21:00:00 | 6.2033 | 211.0033 | 7.1367 | 231.8667 | 10.3933 | 18.53 | 10.26 | 18.1967 | 8.1367 | 885 | 97.6333 | 47.6533
2019-05-07 21:15:00 | 5.8133 | 277.7033 | 6.6933 | 305.1667 | 10.08 | 15.2267 | 9.7867 | 18.1 | 8.0933 | 885 | 98.3 | 44.6367
2019-05-07 21:30:00 | 5.6267 | 309.5567 | 6.4867 | 340.1667 | 9.4267 | 22.0533 | 9.3333 | 19.3667 | 8.14 | 885 | 98.0333 | 46.49
2019-05-07 21:45:00 | 6.09 | 319.5 | 7.0133 | 351.1 | 9.91 | 33.8967 | 9.7933 | 11.79 | 8.22 | 885.7333 | 97.1333 | 47.9547
2019-05-07 22:00:00 | 6.09 | 310.58 | 7.0067 | 341.3 | 10.23 | 19.71 | 10.3533 | 17.4967 | 8.16 | 886 | 97.04 | 48.1767
2019-05-07 22:15:00 | 6.3567 | 221.96 | 7.3167 | 243.9 | 10.9433 | 18.7867 | 11.0933 | 20.0533 | 8.1333 | 886 | 96.8 | 48.4293
2019-05-07 22:30:00 | 6.3167 | 53.3867 | 7.27 | 58.6667 | 10.4967 | 22.4533 | 10.4533 | 18.9467 | 8.1467 | 886 | 96.6 | 48.706
2019-05-07 22:45:00 | 6.44 | 68.3833 | 7.4133 | 75.1367 | 11.3533 | 16.3233 | 11.4867 | 24.5533 | 8.1133 | 886 | 96.7333 | 49.9293
2019-05-07 23:00:00 | 6.5533 | 133.29 | 7.5333 | 146.47 | 11.8067 | 14.5233 | 11.6133 | 21.1933 | 8.0867 | 886 | 96.56 | 48.266
2019-05-07 23:15:00 | 6.0867 | 83.5067 | 7.01 | 91.76 | 11.4667 | 11.4767 | 11.4367 | 20.3167 | 7.8667 | 886.0667 | 98.3333 | 47.8273
2019-05-07 23:30:00 | 5.9067 | 180.6733 | 6.7967 | 198.5333 | 11.1667 | 12.7233 | 11.1367 | 26.4967 | 7.82 | 886.6 | 98.5333 | 48.3227
2019-05-07 23:45:00 | 5.3933 | 73.3667 | 6.2067 | 80.6133 | 10.17 | 14.75 | 10.18 | 24.1867 | 7.6693 | 886 | 99.4067 | 48.0747