## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-08 00:00:00 | 5.8164 | 81.5279 | 6.7007 | 89.5893 | 10.5721 | 6.725 | 10.2993 | 27.2729 | 7.66 | 886 | 99.5 | 50.8886
2019-05-08 00:15:00 | 6.46 | 77.04 | 7.4433 | 84.6533 | 11.4267 | 19.4167 | 11.55 | 23.92 | 7.8133 | 886 | 98.3333 | 48.3147
2019-05-08 00:30:00 | 6.0333 | 158.2467 | 6.95 | 173.9 | 10.9733 | 17.8567 | 11.4367 | 18.7 | 7.7867 | 886 | 98.0667 | 48.5513
2019-05-08 00:45:00 | 5.84 | 130.65 | 6.7167 | 143.5667 | 10.8567 | 14.1067 | 10.8433 | 16.8767 | 7.5733 | 886 | 99.2333 | 43.332
2019-05-08 01:00:00 | 5.6867 | 113.7233 | 6.5433 | 124.9667 | 10.3033 | 16.9933 | 10.6967 | 22.8433 | 7.6333 | 886 | 99.1667 | 36.596
2019-05-08 01:15:00 | 4.3 | 199.8667 | 4.9467 | 219.6333 | 8.0033 | 10 | 8.81 | 27.1867 | 7.6667 | 886 | 98.9933 | 33.8633
2019-05-08 01:30:00 | 4.3333 | 185.2533 | 4.9867 | 203.5667 | 7.8367 | 30.48 | 8.6367 | 35.36 | 7.704 | 886 | 98.6333 | 31.916
2019-05-08 01:45:00 | 3.84 | 198.87 | 4.42 | 218.5333 | 7.1067 | 10.0833 | 7.5333 | 22.2433 | 7.7567 | 886 | 97.9333 | 29.4333
2019-05-08 02:00:00 | 3.7467 | 275.67 | 4.3133 | 302.9333 | 6.9667 | 15.2233 | 7.16 | 21.3167 | 7.5967 | 886 | 98.8667 | 34.494
2019-05-08 02:15:00 | 4.22 | 228.0967 | 4.86 | 250.6533 | 8.15 | 13.4567 | 8.4533 | 15.7467 | 7.496 | 886 | 99.6 | 37.8773
2019-05-08 02:30:00 | 4.14 | 231.31 | 4.7667 | 254.1867 | 7.9967 | 13.6167 | 8.2867 | 19.28 | 7.3667 | 886 | 100 | 38.634
2019-05-08 02:45:00 | 4.26 | 108.6133 | 4.91 | 119.3533 | 8.2633 | 10.32 | 8.6667 | 23.5067 | 7.2867 | 885.9333 | 100 | 33.2687
2019-05-08 03:00:00 | 3.9133 | 112.94 | 4.51 | 124.1067 | 7.31 | 241.3467 | 7.4533 | 14.0067 | 7.2733 | 885 | 100 | 31.1907
2019-05-08 03:15:00 | 3.2967 | 301 | 3.79 | 330.7667 | 5.8167 | 33.8833 | 5.9767 | 6.1 | 7.2867 | 885 | 100 | 22.756
2019-05-08 03:30:00 | 2.9033 | 272.4267 | 3.3367 | 299.3667 | 5.47 | 4.05 | 5.4233 | 8.3333 | 7.26 | 885 | 100 | 23.6627
2019-05-08 03:45:00 | 3.1067 | 198.81 | 3.5767 | 218.4733 | 5.8133 | 119.16 | 5.7 | 119.1733 | 7.18 | 885 | 100 | 27.3393
2019-05-08 04:00:00 | 3.6533 | 224.7833 | 4.2033 | 247.0067 | 6.5133 | 342.8333 | 6.2 | 118.4067 | 7.1267 | 885 | 100 | 30.7813
2019-05-08 04:15:00 | 4.2933 | 124.69 | 4.9333 | 137.0133 | 7.2133 | 31.99 | 7.0167 | 5.3167 | 7.1133 | 885 | 100 | 32.2
2019-05-08 04:30:00 | 3.9933 | 315.23 | 4.5933 | 346.4 | 7.4267 | 3.0033 | 7.194 | 2.89 | 7.0467 | 885 | 100 | 30.1733
2019-05-08 04:45:00 | 3.7533 | 19.17 | 4.3167 | 21.0667 | 6.83 | 238.02 | 6.72 | 11.9667 | 7.0893 | 885 | 100 | 23.3333
2019-05-08 05:00:00 | 3.3267 | 9.2633 | 3.8233 | 10.1733 | 6.1367 | 12.9 | 6.1333 | 16.8 | 7.1267 | 885 | 100 | 21.6007
2019-05-08 05:15:00 | 3.2667 | 24.3167 | 3.76 | 26.7267 | 6.0267 | 16.05 | 5.99 | 15.4667 | 7.2 | 885 | 100 | 18.878
2019-05-08 05:30:00 | 3.24 | 204.3367 | 3.7267 | 224.5467 | 6.24 | 9.6767 | 6.3633 | 12.4533 | 7.1867 | 885 | 100 | 14.8767
2019-05-08 05:45:00 | 3.0333 | 306.3133 | 3.4867 | 336.6 | 5.8233 | 6.81 | 6.18 | 15.5 | 7.0467 | 884.2667 | 100 | 10.9267
2019-05-08 06:00:00 | 3.0867 | 300.9667 | 3.5533 | 330.7333 | 5.8033 | 16.2967 | 6 | 13.4867 | 6.996 | 884.4 | 100 | 14.4447
2019-05-08 06:15:00 | 3.3067 | 202.53 | 3.8067 | 222.5633 | 6.2 | 11.22 | 6.6333 | 18.0267 | 7.0167 | 885 | 100 | 14.4227
2019-05-08 06:30:00 | 3.328 | 183.65 | 3.83 | 201.816 | 6.306 | 12.73 | 6.606 | 21.112 | 6.958 | 885 | 100 | 18.8873
2019-05-08 06:45:00 | 3.3533 | 91.0967 | 3.8567 | 100.1 | 5.96 | 12.6633 | 6.3267 | 22.5033 | 7.03 | 885 | 100 | 24.9733
2019-05-08 07:00:00 | 3.7733 | 279.0367 | 4.35 | 306.6333 | 6.9333 | 14.8167 | 7.18 | 22.6833 | 7.35 | 885 | 100 | 29.566
2019-05-08 07:15:00 | 4.1867 | 313.08 | 4.82 | 344.0333 | 7.7967 | 15.7167 | 8.0267 | 17.69 | 7.89 | 885 | 99.9867 | 38.6433
2019-05-08 07:30:00 | 4.7667 | 270.18 | 5.4867 | 296.9 | 8.8633 | 16.27 | 8.7533 | 16.4567 | 8.2367 | 885 | 99.4 | 42.4507
2019-05-08 07:45:00 | 4.9933 | 184.0233 | 5.7433 | 202.2133 | 8.72 | 11.6033 | 8.6333 | 13.2033 | 8.9233 | 885.7333 | 96.3 | 42.1947
2019-05-08 08:00:00 | 4.692 | 8.222 | 5.396 | 9.024 | 7.502 | 217.064 | 7.418 | 14.498 | 9.052 | 886 | 95.68 | 34.28
2019-05-08 08:15:00 | 4.1 | 233.6533 | 4.7133 | 256.7667 | 6.5733 | 23.08 | 6.5733 | 7.9733 | 9.4333 | 886.0667 | 94.4667 | 31.188
2019-05-08 08:30:00 | 3.94 | 213.2733 | 4.5267 | 234.3667 | 6.5 | 34.08 | 6.44 | 16.7867 | 9.9933 | 887 | 93.0667 | 27.4747
2019-05-08 08:45:00 | 3.7133 | 129.5113 | 4.2807 | 142.3093 | 6.3307 | 20.7973 | 6.1313 | 221.2507 | 10.38 | 887.7333 | 92.0333 | 28.2687
2019-05-08 09:00:00 | 4.6533 | 231.5167 | 5.3633 | 254.4 | 8.1367 | 11.8167 | 7.7433 | 17.1867 | 10.9667 | 888 | 89.8667 | 31.66
2019-05-08 09:15:00 | 5.5233 | 218.5167 | 6.36 | 240.1333 | 9.96 | 12.8467 | 9.7967 | 19.6667 | 11.9933 | 888 | 85.7667 | 29.5413
2019-05-08 09:30:00 | 5.8833 | 209.0567 | 6.7733 | 229.7333 | 10.6067 | 9.9933 | 10.4967 | 20.5733 | 12.84 | 888 | 83.3667 | 25.822
2019-05-08 09:45:00 | 5.8733 | 249.3767 | 6.7567 | 274.0333 | 10.5467 | 7.14 | 10.15 | 22.0767 | 13.0133 | 888 | 80.5 | 23.6013
2019-05-08 10:00:00 | 5.9867 | 259.6833 | 6.89 | 285.3667 | 10.1467 | 16.92 | 9.8767 | 11.2967 | 12.7133 | 888 | 80.9 | 22.632
2019-05-08 10:15:00 | 5.8933 | 109.8633 | 6.7867 | 120.7333 | 10.44 | 7.68 | 9.8567 | 16.43 | 13.0633 | 888 | 80.5633 | 22.2607
2019-05-08 10:30:00 | 6 | 6.15 | 6.9 | 6.7533 | 10.5667 | 10.0133 | 10.25 | 14.4833 | 13.63 | 888 | 79.314 | 20.9327
2019-05-08 10:45:00 | 5.65 | 100.9667 | 6.5 | 110.9533 | 10.0133 | 19.0933 | 9.4933 | 15.3167 | 14.2433 | 888 | 77.61 | 15.128
2019-05-08 11:00:00 | 5.1367 | 303.4933 | 5.9067 | 333.5 | 8.68 | 16.0333 | 8.16 | 26.3033 | 14.7367 | 888 | 75.4967 | 12.948
2019-05-08 11:15:00 | 4.7667 | 231.1833 | 5.4833 | 254.0467 | 8.14 | 13.0867 | 7.8933 | 20.04 | 15.15 | 888 | 74.5533 | 14.4593
2019-05-08 11:30:00 | 4.78 | 16.2167 | 5.5033 | 17.8133 | 8.26 | 11.3733 | 7.9 | 13.48 | 15.2633 | 888 | 75.8467 | 14.414
2019-05-08 11:45:00 | 4.5133 | 195.7067 | 5.1933 | 215.0533 | 7.46 | 17.3767 | 7.1 | 14.0233 | 15.39 | 888 | 74.9267 | 10.5647
2019-05-08 12:00:00 | 4.6733 | 184.8467 | 5.3867 | 203.12 | 7.9733 | 10.15 | 7.5933 | 11.9167 | 15.69 | 888 | 75.2333 | 7.966
2019-05-08 12:15:00 | 4.5967 | 320.75 | 5.2867 | 352.4667 | 7.5833 | 15.93 | 6.9833 | 17.6567 | 16.38 | 888 | 72.1067 | 7.2993
2019-05-08 12:30:00 | 4.2233 | 111.2967 | 4.8533 | 122.3 | 7.1567 | 10.5633 | 6.81 | 13.4167 | 16.22 | 888 | 72.5867 | 8.7833
2019-05-08 12:45:00 | 4.08 | 119.24 | 4.69 | 131.02 | 6.7933 | 6.78 | 6.4533 | 7.3033 | 16.5133 | 888 | 72.29 | 9.1887
2019-05-08 13:00:00 | 4.12 | 302.0067 | 4.7367 | 331.8667 | 6.9 | 10.5867 | 6.6 | 18.07 | 16.4933 | 887.6 | 72.05 | 10.8007
2019-05-08 13:15:00 | 3.6533 | 52.62 | 4.2033 | 57.8167 | 6.5233 | 9.4133 | 6.3467 | 15.9867 | 17.15 | 887 | 71.2453 | 7.1007
2019-05-08 13:30:00 | 3.5667 | 228.3533 | 4.1033 | 250.9367 | 6.3767 | 10.2733 | 6.12 | 15.52 | 17.65 | 887 | 69.3067 | 6.49
2019-05-08 13:45:00 | 3.64 | 215.3233 | 4.1933 | 236.6167 | 6.24 | 239.1333 | 6.0467 | 9.08 | 18.3267 | 887 | 67.3867 | 5.638
2019-05-08 14:00:00 | 3.42 | 216.3633 | 3.9333 | 237.75 | 5.6133 | 13.2667 | 5.3333 | 25.1133 | 18.96 | 887 | 64.2333 | 7.6867
2019-05-08 14:15:00 | 3.2133 | 39.3267 | 3.6967 | 43.2133 | 5.4567 | 9.76 | 5.2967 | 18.2967 | 18.9333 | 887 | 63.4267 | 9.8107
2019-05-08 14:30:00 | 3.8 | 254.68 | 4.3767 | 279.8667 | 6.39 | 11.1867 | 6.2633 | 28.81 | 18.888 | 887 | 64.1933 | 13.4333
2019-05-08 14:45:00 | 4.1533 | 138.03 | 4.7867 | 151.6733 | 7.3433 | 16.78 | 7.11 | 32.3667 | 19.5067 | 887 | 63.3667 | 13.242
2019-05-08 15:00:00 | 3.86 | 228.5967 | 4.44 | 251.2 | 7.0567 | 8.16 | 6.83 | 22.8733 | 19.5733 | 886.6 | 62.96 | 12.3013
2019-05-08 15:15:00 | 3.8267 | 152.4867 | 4.4 | 167.5667 | 6.5333 | 13.9167 | 6.2433 | 9.38 | 20.0593 | 886.7333 | 61.5433 | 12.1873
2019-05-08 15:30:00 | 3.7233 | 283.112 | 4.2847 | 311.1067 | 6.3313 | 6.5767 | 6.1373 | 6.4987 | 20.1293 | 887 | 60.8447 | 9.6867
2019-05-08 15:45:00 | 4.0133 | 212.1867 | 4.6233 | 233.1667 | 7.34 | 10.9113 | 7.3267 | 19.9367 | 20.4033 | 887 | 59.7767 | 10.336
2019-05-08 16:00:00 | 4.08 | 300.34 | 4.7033 | 330.0333 | 7.28 | 25.6967 | 7.1333 | 14.61 | 20.1767 | 886.6 | 60.75 | 11.746
2019-05-08 16:15:00 | 3.91 | 212.4667 | 4.5 | 233.4667 | 7.2233 | 17.3533 | 6.9833 | 25.9067 | 19.6267 | 886 | 61.8633 | 6.4927
2019-05-08 16:30:00 | 3.4567 | 264.8733 | 3.9733 | 291.0667 | 6.27 | 18.3267 | 5.99 | 37.1133 | 19.7267 | 886 | 61.07 | 5.98
2019-05-08 16:45:00 | 3.44 | 311.13 | 3.97 | 341.9 | 6.17 | 28.21 | 6.18 | 30.91 | 19.712 | 886 | 59.78 | 6.594
2019-05-08 17:00:00 | 3.6075 | 274.9525 | 4.1525 | 302.15 | 6.315 | 6.9675 | 6.085 | 8.5925 | 19.72 | 886 | 59.6675 | 10.666
2019-05-08 17:15:00 | 4.2046 | 181.3769 | 4.8431 | 199.3154 | 7.6885 | 275.5462 | 7.3923 | 16.9431 | 19.6915 | 885 | 59.2946 | 10.8023
2019-05-08 17:30:00 | 3.7114 | 103.5533 | 4.2664 | 113.7867 | 6.7967 | 231.1929 | 6.64 | 17.36 | 18.9207 | 885 | 61.01 | 6.0693
2019-05-08 17:45:00 | 3.23 | 226.6533 | 3.7267 | 249.0667 | 5.5367 | 16.0967 | 5.45 | 14.0433 | 19.05 | 885 | 59.32 | 5.2193
2019-05-08 18:00:00 | 3.07 | 215.3133 | 3.5333 | 236.6 | 5.67 | 18.6367 | 5.6633 | 26.2233 | 18.8567 | 885 | 59.832 | 4.5133
2019-05-08 18:15:00 | 2.6867 | 287.3467 | 3.09 | 315.7667 | 5.0333 | 5.0533 | 5.1633 | 10.5867 | 18.5033 | 885 | 62.5933 | 3.9067
2019-05-08 18:30:00 | 2.8733 | 95.3267 | 3.3033 | 104.7467 | 5.6 | 13.3333 | 5.6033 | 17.5867 | 18.1967 | 885 | 64.1733 | 1.7753
2019-05-08 18:45:00 | 1.96 | 191.2167 | 2.2567 | 210.1333 | 3.7733 | 1.2033 | 3.8 | 17.9133 | 18.08 | 885 | 61.7133 | 0.019333
2019-05-08 19:00:00 | 1.28 | 264.5033 | 1.4767 | 290.6667 | 2.4 | 14.6167 | 2.5733 | 18.7267 | 18.02 | 885 | 61.2333 | 0
2019-05-08 19:15:00 | 0.85333 | 300.24 | 0.98333 | 329.9333 | 1.6967 | 240.1033 | 1.76 | 16.7933 | 17.8467 | 884.9333 | 60.4967 | 0
2019-05-08 19:30:00 | 1.0333 | 301.792 | 1.2033 | 331.64 | 2.05 | 230.3033 | 2.0133 | 7.8 | 17.5533 | 884.4 | 62.0167 | 0
2019-05-08 19:45:00 | 0.99667 | 299.55 | 1.1467 | 329.1667 | 1.9433 | 237.3033 | 1.7367 | 241.98 | 17.1667 | 884.9333 | 63.2367 | 0
2019-05-08 20:00:00 | 1.11 | 302.8167 | 1.2733 | 332.7667 | 2.15 | 240.0367 | 2.0233 | 15.78 | 17.1733 | 884 | 63.31 | 0
2019-05-08 20:15:00 | 0.94333 | 302.39 | 1.0833 | 332.3 | 1.8867 | 1.4133 | 1.8667 | 15.8033 | 16.9313 | 884.0667 | 65.1733 | 0
2019-05-08 20:30:00 | 1.0767 | 302.39 | 1.2433 | 332.3 | 2.1467 | 4.4267 | 2.1267 | 19.61 | 16.8767 | 885 | 65.0533 | 0
2019-05-08 20:45:00 | 1.22 | 302.39 | 1.4067 | 332.3 | 2.4333 | 13.1713 | 2.5093 | 23.1627 | 16.4827 | 885 | 67.1847 | 0
2019-05-08 21:00:00 | 1.0567 | 302.39 | 1.2233 | 332.3 | 2.12 | 23.78 | 2.4733 | 30.5267 | 16.1833 | 885 | 68.61 | 0
2019-05-08 21:15:00 | 2.1667 | 158.9433 | 2.5033 | 174.6667 | 3.0333 | 159.3333 | 3.1633 | 183.4667 | 16.29 | 885 | 70.7767 | 0
2019-05-08 21:30:00 | 2.4867 | 168.53 | 2.87 | 185.2 | 3.3333 | 173.6 | 3.4433 | 177.2667 | 16.1233 | 885 | 74.4967 | 0.35
2019-05-08 21:45:00 | 2.58 | 172.12 | 2.9733 | 189.1333 | 3.29 | 177.5 | 3.7467 | 194.1667 | 16.26 | 885 | 75.1413 | 0.17333
2019-05-08 22:00:00 | 2.2733 | 144.7 | 2.62 | 159 | 3.0167 | 163.8333 | 3.3267 | 177.0333 | 16.22 | 885.4 | 75.9 | 0
2019-05-08 22:15:00 | 2.0533 | 158.14 | 2.37 | 173.7667 | 2.7433 | 186.4333 | 3.0267 | 171.3667 | 16.1527 | 886 | 76.5633 | 0
2019-05-08 22:30:00 | 2.0267 | 168.5733 | 2.3367 | 185.2333 | 2.8433 | 176.5 | 3.2467 | 167.7667 | 16.03 | 886 | 77.3567 | 0
2019-05-08 22:45:00 | 2.0367 | 157.0667 | 2.34 | 172.6 | 2.8067 | 170.8 | 2.9467 | 164.0333 | 15.978 | 886 | 77.8993 | 0
2019-05-08 23:00:00 | 2.2033 | 158.1533 | 2.5333 | 173.8 | 3.0667 | 180.6 | 3.2533 | 173.1667 | 15.83 | 886 | 78.97 | 0.98933
2019-05-08 23:15:00 | 2.9167 | 161.8633 | 3.3533 | 177.8667 | 3.9067 | 177.9 | 4.1367 | 179.6667 | 15.5167 | 886 | 80.9667 | 1.2147
2019-05-08 23:30:00 | 2.67 | 158.83 | 3.0733 | 174.5333 | 3.4533 | 172.9667 | 4.2033 | 176.2667 | 15.422 | 886 | 81.8333 | 0.194
2019-05-08 23:45:00 | 2.33 | 162.3567 | 2.68 | 178.4 | 3.24 | 162.7333 | 3.5967 | 171.6333 | 15.2767 | 886.7333 | 82.9333 | 0.19933