## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-09 00:00:00 | 2.1493 | 176.8914 | 2.4736 | 194.3786 | 2.9471 | 175.8929 | 3.3379 | 175.9214 | 15.0871 | 887 | 83.85 | 0.43714
2019-05-09 00:15:00 | 2.0867 | 164.7433 | 2.4133 | 181.0333 | 2.7433 | 175.2333 | 3.2233 | 178.1667 | 15.05 | 887 | 84.1333 | 0
2019-05-09 00:30:00 | 1.8333 | 165.47 | 2.1133 | 181.8333 | 2.4967 | 182.7 | 2.9233 | 167.1667 | 15.01 | 887 | 84.5333 | 0
2019-05-09 00:45:00 | 2.1367 | 156.1567 | 2.46 | 171.6 | 2.8133 | 154.3333 | 3.3933 | 168.3 | 14.97 | 887 | 85 | 0
2019-05-09 01:00:00 | 1.9833 | 172.6033 | 2.28 | 189.6667 | 2.6733 | 169.5333 | 3.1533 | 173.9667 | 14.83 | 887 | 85.7333 | 0
2019-05-09 01:15:00 | 1.95 | 174.9967 | 2.25 | 192.3 | 2.8067 | 177.6 | 3.3167 | 179.2667 | 14.6933 | 887 | 86.4 | 0
2019-05-09 01:30:00 | 2.3633 | 157.35 | 2.7167 | 172.9 | 3.0933 | 178.4667 | 3.7167 | 177.6667 | 14.5867 | 887 | 86.7333 | 0
2019-05-09 01:45:00 | 2.146 | 155.806 | 2.4673 | 171.2133 | 3.1053 | 171.7867 | 3.7433 | 170.9267 | 14.356 | 887 | 87.7933 | 0
2019-05-09 02:00:00 | 2.3967 | 154.0967 | 2.7633 | 169.3333 | 3.3533 | 171.2 | 3.9167 | 173.4333 | 14.16 | 886.6 | 88.6333 | 0.25733
2019-05-09 02:15:00 | 2.72 | 153.7367 | 3.13 | 168.9333 | 3.6 | 171.2667 | 3.9967 | 171.0667 | 14.0733 | 886 | 89.1 | 0.17733
2019-05-09 02:30:00 | 2.0733 | 153.4833 | 2.3833 | 168.6667 | 2.78 | 166.9333 | 3.2433 | 168.7333 | 14.0733 | 886 | 89.1667 | 0
2019-05-09 02:45:00 | 1.8867 | 171.0933 | 2.18 | 188 | 2.47 | 178.8333 | 2.7667 | 175.4 | 14.0587 | 886 | 89.4667 | 0
2019-05-09 03:00:00 | 1.8333 | 161.44 | 2.1133 | 177.4 | 2.6233 | 170.6333 | 3.0267 | 177.4 | 13.96 | 885.6 | 90.0667 | 0
2019-05-09 03:15:00 | 0.75333 | 160.5567 | 0.86667 | 176.4333 | 1.2633 | 171.3 | 1.5367 | 162.2 | 13.9133 | 885.7333 | 90.6 | 0
2019-05-09 03:30:00 | 1.2733 | 149.27 | 1.4667 | 164.0333 | 1.9567 | 169.8333 | 1.9167 | 167 | 13.8667 | 886 | 90.8 | 0
2019-05-09 03:45:00 | 0.90667 | 177.45 | 1.04 | 195 | 1.4967 | 193.1667 | 1.6567 | 196.6667 | 13.7533 | 886 | 91.1067 | 0
2019-05-09 04:00:00 | 0.76667 | 178.55 | 0.88 | 196.2 | 1.39 | 202.3667 | 1.5833 | 202.6 | 13.6933 | 886 | 91.3333 | 0
2019-05-09 04:15:00 | 1.47 | 174.0567 | 1.6933 | 191.2667 | 2.1333 | 195.1 | 2.1167 | 201.02 | 13.6133 | 886 | 91.6733 | 0
2019-05-09 04:30:00 | 0.41667 | 162.11 | 0.48 | 178.1333 | 0.61333 | 182.1 | 1.0967 | 171.0333 | 13.4733 | 886 | 92.5667 | 0
2019-05-09 04:45:00 | 0.086667 | 231.3147 | 0.11 | 254.1933 | 0.16 | 174.5 | 0.93 | 157.2933 | 13.43 | 886 | 93.0067 | 0
2019-05-09 05:00:00 | 0.093333 | 270.4333 | 0.11667 | 297.1667 | 0.053333 | 174.5 | 0.10333 | 157.2 | 13.3167 | 886 | 93.5 | 0.364
2019-05-09 05:15:00 | 0.93 | 312.8033 | 1.08 | 343.7333 | 0.86 | 17.5667 | 0.39667 | 110.9333 | 13.0233 | 886 | 94.1333 | 0.31067
2019-05-09 05:30:00 | 1.8633 | 302.91 | 2.1467 | 332.8667 | 2.6133 | 18.18 | 1.6233 | 8.92 | 12.67 | 886 | 95 | 0.54133
2019-05-09 05:45:00 | 2.2733 | 300.1567 | 2.6167 | 329.8333 | 3.4933 | 238.0967 | 3.3 | 239.7767 | 12.3267 | 886 | 96.8 | 1.926
2019-05-09 06:00:00 | 2.36 | 299.7967 | 2.7233 | 329.4333 | 4.1267 | 1.8167 | 4.68 | 7.81 | 12.14 | 886 | 97.8667 | 6.3287
2019-05-09 06:15:00 | 2.8467 | 244.3733 | 3.2767 | 268.5333 | 5.48 | 9.2667 | 5.5833 | 8.06 | 11.9667 | 885.9333 | 98.7 | 6.2567
2019-05-09 06:30:00 | 2.9933 | 237.5667 | 3.4433 | 261.0667 | 5.4067 | 11.9933 | 5.2767 | 10.12 | 11.924 | 885 | 99.0333 | 8.6973
2019-05-09 06:45:00 | 3.6533 | 26.5033 | 4.2033 | 29.1267 | 5.6433 | 122.94 | 5.5433 | 49.82 | 12.0433 | 885 | 99.0933 | 10.0653
2019-05-09 07:00:00 | 3.58 | 210.4233 | 4.1167 | 231.2333 | 6.2367 | 354.9 | 6.11 | 2.6533 | 12.09 | 885 | 99 | 13.7327
2019-05-09 07:15:00 | 4.0533 | 107.6467 | 4.6667 | 118.2867 | 6.9467 | 232.48 | 6.9267 | 18.6067 | 12.21 | 885 | 98.8267 | 16.112
2019-05-09 07:30:00 | 4.0133 | 91.2867 | 4.6267 | 100.3133 | 6.8867 | 7.6667 | 7.0933 | 2.92 | 12.35 | 885.4 | 98.4667 | 15.916
2019-05-09 07:45:00 | 3.1867 | 301.54 | 3.68 | 331.3667 | 6.1533 | 238.0633 | 6.9667 | 12.2667 | 12.5267 | 886 | 98.6 | 15.9673
2019-05-09 08:00:00 | 3.0267 | 172.14 | 3.4867 | 189.1667 | 5.9533 | 4.8633 | 6.3 | 8.12 | 12.7 | 886 | 98.4 | 13.57
2019-05-09 08:15:00 | 2.974 | 195.6373 | 3.4293 | 214.9867 | 5.866 | 18.5393 | 5.8273 | 11.164 | 13.0307 | 886 | 98.0267 | 9.3527
2019-05-09 08:30:00 | 2.8367 | 262.7567 | 3.26 | 288.7333 | 5.5033 | 17.3533 | 5.7533 | 15.01 | 13.6167 | 886 | 96.5333 | 10.5273
2019-05-09 08:45:00 | 2.7567 | 118.3 | 3.18 | 129.9933 | 5.24 | 18.18 | 5.38 | 23.37 | 14.32 | 886.7333 | 93.8 | 9.362
2019-05-09 09:00:00 | 2.7967 | 314.2 | 3.2133 | 345.2667 | 5.3533 | 15.46 | 5.6733 | 23.9233 | 14.9867 | 887 | 91.3333 | 9.0347
2019-05-09 09:15:00 | 2.82 | 9.32 | 3.2567 | 10.2333 | 4.86 | 14.34 | 5.0507 | 19.6433 | 14.9667 | 887 | 89.5333 | 8.116
2019-05-09 09:30:00 | 2.82 | 205.24 | 3.25 | 225.5333 | 4.86 | 12.2333 | 5.1067 | 25.3767 | 15.38 | 887 | 88.5333 | 6.462
2019-05-09 09:45:00 | 2.16 | 312.5567 | 2.4833 | 343.4667 | 3.6167 | 15.4067 | 4.3267 | 28.62 | 15.7733 | 887 | 85 | 4.2927
2019-05-09 10:00:00 | 1.8667 | 118.2433 | 2.1567 | 129.9333 | 3.43 | 17.48 | 4.34 | 28.7333 | 16.12 | 887 | 82.3333 | 2.1853
2019-05-09 10:15:00 | 2.04 | 292.6667 | 2.36 | 321.6 | 3.62 | 19.7533 | 4.0433 | 36.3567 | 16.73 | 887.0667 | 77.98 | 2.2853
2019-05-09 10:30:00 | 2.16 | 112.5267 | 2.4933 | 123.6467 | 3.6667 | 5.6533 | 3.8033 | 24.27 | 16.99 | 888 | 75.48 | 3.0707
2019-05-09 10:45:00 | 2.4267 | 114.9833 | 2.7933 | 126.3533 | 3.76 | 15.1633 | 4.14 | 25.26 | 17.3467 | 887.3333 | 69.5 | 3.4927
2019-05-09 11:00:00 | 2.6267 | 116.6967 | 3.02 | 128.2333 | 3.8133 | 9.95 | 3.92 | 31.8533 | 17.5267 | 887.6 | 66.28 | 1.4393
2019-05-09 11:15:00 | 2.1233 | 106.71 | 2.44 | 117.26 | 3.3467 | 16.39 | 2.9867 | 31.0567 | 18.6567 | 887 | 59.6667 | 0.78733
2019-05-09 11:30:00 | 2.4633 | 312.25 | 2.8333 | 343.1333 | 4.0067 | 12.8967 | 3.68 | 30.49 | 20.0833 | 887 | 52.3667 | 0
2019-05-09 11:45:00 | 1.9333 | 26.4133 | 2.2333 | 29.0233 | 2.9033 | 24.92 | 2.6233 | 34.55 | 20.4733 | 887 | 49.2033 | 0
2019-05-09 12:00:00 | 1.6067 | 9.68 | 1.8533 | 10.6367 | 2.21 | 28.7133 | 1.8967 | 15.3567 | 20.22 | 887 | 50.2367 | 0
2019-05-09 12:15:00 | 2.0467 | 31.06 | 2.36 | 34.13 | 2.63 | 324.3667 | 2.5 | 330.7667 | 19.76 | 887.6667 | 51.61 | 0
2019-05-09 12:30:00 | 2.4933 | 20.3267 | 2.8667 | 22.3367 | 3.29 | 125.2733 | 3.0133 | 121.0867 | 19.7667 | 887 | 54.1633 | 0
2019-05-09 12:45:00 | 2.7333 | 196.8833 | 3.1433 | 216.35 | 3.5533 | 20.7167 | 3.4033 | 226.17 | 20.65 | 887 | 51.3033 | 0
2019-05-09 13:00:00 | 1.96 | 107.8233 | 2.2633 | 118.4833 | 2.7867 | 19.3567 | 2.7433 | 46.4967 | 20.7833 | 887 | 51.7367 | 0
2019-05-09 13:15:00 | 1.2933 | 244.85 | 1.4967 | 269.0667 | 2.0067 | 39.26 | 2.4067 | 45.0467 | 21.0467 | 887 | 52.82 | 0
2019-05-09 13:30:00 | 1.2467 | 112.4167 | 1.4433 | 123.5333 | 1.72 | 244.4933 | 2.0067 | 31.44 | 21.424 | 887 | 51.8333 | 0
2019-05-09 13:45:00 | 1.2 | 92.5533 | 1.39 | 101.7 | 1.51 | 53.44 | 1.58 | 61.1 | 20.4433 | 886.9333 | 54.43 | 0
2019-05-09 14:00:00 | 1.5533 | 78.4133 | 1.79 | 86.1667 | 2.23 | 106.3667 | 2.46 | 181.5667 | 20.7833 | 886 | 54.83 | 0
2019-05-09 14:15:00 | 1.748 | 129.7307 | 2.0127 | 142.56 | 2.3133 | 165.48 | 2.3547 | 196.9333 | 21.08 | 886 | 56.212 | 0
2019-05-09 14:30:00 | 1.98 | 144.03 | 2.2833 | 158.2667 | 2.4533 | 144.4667 | 2.4333 | 167.5667 | 21.27 | 886 | 55.5067 | 0
2019-05-09 14:45:00 | 2.5533 | 139.1467 | 2.9367 | 152.9 | 2.9167 | 180.0333 | 2.4867 | 182.8 | 21.3327 | 886 | 53.98 | 0
2019-05-09 15:00:00 | 2.4333 | 158.44 | 2.81 | 174.1 | 2.8433 | 179.3667 | 2.8467 | 166.6 | 21.3233 | 886 | 54.0667 | 0
2019-05-09 15:15:00 | 1.9667 | 111.6267 | 2.2767 | 122.6667 | 2.37 | 167.3 | 2.3567 | 186.3333 | 21.4327 | 886 | 52.9967 | 0
2019-05-09 15:30:00 | 2.7 | 130.1333 | 3.11 | 143 | 3.23 | 188.4333 | 3.2233 | 183.7333 | 21.5367 | 886 | 53.0367 | 0
2019-05-09 15:45:00 | 2.5227 | 123.8833 | 2.9013 | 136.1333 | 2.9053 | 140.1933 | 2.852 | 157.3533 | 21.2353 | 885.2667 | 53.7793 | 0.063333
2019-05-09 16:00:00 | 2.2367 | 164.63 | 2.58 | 180.9 | 2.73 | 199.2667 | 2.9567 | 167.3333 | 21.236 | 885 | 53.0067 | 1.0927
2019-05-09 16:15:00 | 2.0513 | 155.2327 | 2.3693 | 170.5867 | 2.9507 | 212.8667 | 3.2613 | 225.2733 | 21.424 | 885 | 54.3653 | 2.5693
2019-05-09 16:30:00 | 2.22 | 168.6233 | 2.56 | 185.3 | 3.2867 | 222.3667 | 3.4733 | 226.5667 | 21.6333 | 885 | 54.7367 | 4.8627
2019-05-09 16:45:00 | 2.6833 | 163.2267 | 3.0867 | 179.3667 | 3.8667 | 214.8 | 4.2667 | 239.5333 | 21.4633 | 885 | 55.75 | 5.978
2019-05-09 17:00:00 | 3.1233 | 156.7333 | 3.5933 | 172.2333 | 4.0733 | 214.1333 | 4.28 | 231.5333 | 21.09 | 885 | 56.5367 | 8.9113
2019-05-09 17:15:00 | 2.77 | 166.74 | 3.1833 | 183.2333 | 3.84 | 215.6667 | 4.04 | 225.3667 | 20.8233 | 885 | 57.07 | 12.0133
2019-05-09 17:30:00 | 3.0367 | 166.8667 | 3.49 | 183.3667 | 4.3733 | 235.4 | 4.82 | 244.0333 | 20.6433 | 885 | 58.45 | 10.1887
2019-05-09 17:45:00 | 2.4333 | 154.2467 | 2.8 | 169.5 | 3.84 | 227.6 | 4.22 | 250.8333 | 20.4433 | 885 | 59.68 | 8.6267
2019-05-09 18:00:00 | 2.6267 | 205.0867 | 3.0267 | 225.3667 | 3.7733 | 238.4667 | 4.1467 | 246.9 | 20.2167 | 885 | 61.2867 | 11.3033
2019-05-09 18:15:00 | 2.42 | 161.3133 | 2.7933 | 177.2667 | 3.5733 | 218.8667 | 3.9267 | 224.1 | 19.8033 | 884.9333 | 62.5467 | 13.3427
2019-05-09 18:30:00 | 2.9667 | 159.6733 | 3.4133 | 175.4667 | 4.0533 | 206.6 | 4.5 | 226.2333 | 19.47 | 884 | 62.68 | 11.6947
2019-05-09 18:45:00 | 2.92 | 179.7933 | 3.3633 | 197.5667 | 3.9967 | 219.1333 | 4.4267 | 221.7667 | 19.2633 | 884 | 62.772 | 9.8927
2019-05-09 19:00:00 | 3.4267 | 181.6667 | 3.9433 | 199.6333 | 4.51 | 216.4667 | 5.0067 | 220.1 | 19.178 | 884 | 62.1733 | 8.278
2019-05-09 19:15:00 | 2.62 | 159.0733 | 3.0133 | 174.8 | 3.5167 | 223.8 | 3.92 | 218.4667 | 18.9767 | 884.0667 | 62.8067 | 5.866
2019-05-09 19:30:00 | 2.152 | 177.66 | 2.476 | 195.22 | 2.95 | 224.62 | 3.068 | 209.52 | 18.798 | 885 | 63.57 | 4.778
2019-05-09 19:45:00 | 2.8667 | 174.5167 | 3.3 | 191.7667 | 3.8367 | 212.4333 | 4.04 | 204.6333 | 18.6033 | 885 | 64.33 | 6.7007
2019-05-09 20:00:00 | 2.94 | 183.9233 | 3.3867 | 202.1 | 4.0367 | 215.2333 | 4.58 | 216.5667 | 18.43 | 885 | 65.4567 | 7.9693
2019-05-09 20:15:00 | 2.5067 | 160.4967 | 2.8867 | 176.3667 | 3.6267 | 203.1667 | 4.0433 | 226.9 | 18.068 | 885 | 67.7167 | 8.306
2019-05-09 20:30:00 | 2.1333 | 171.6033 | 2.4667 | 188.5667 | 3.0733 | 196.2333 | 3.4767 | 222.2333 | 17.9 | 885 | 68.7967 | 6.652
2019-05-09 20:45:00 | 2.0233 | 159.8033 | 2.3333 | 175.6 | 3.0333 | 213.7667 | 3.3033 | 214.6 | 17.7087 | 885 | 69.542 | 3.8767
2019-05-09 21:00:00 | 1.9167 | 162.83 | 2.2067 | 178.9333 | 2.62 | 201.9667 | 3.0367 | 223.8 | 17.694 | 885 | 69.41 | 2.5667
2019-05-09 21:15:00 | 2.2333 | 169.0467 | 2.5667 | 185.7667 | 2.99 | 202.7333 | 3.5067 | 211.7667 | 17.5867 | 885 | 69.91 | 2.352
2019-05-09 21:30:00 | 2.2067 | 166.8 | 2.54 | 183.3 | 2.7967 | 193.5333 | 3.0533 | 212.7667 | 17.52 | 885 | 70.2633 | 2.1787
2019-05-09 21:45:00 | 2.3413 | 160.5693 | 2.692 | 176.4533 | 3.1253 | 177.38 | 3.2247 | 209.7533 | 17.3433 | 885.0667 | 71.4533 | 1.8173
2019-05-09 22:00:00 | 2.1133 | 145.12 | 2.4267 | 159.4667 | 2.8633 | 183.8 | 3.16 | 206.8 | 17.15 | 886 | 72.994 | 1.182
2019-05-09 22:15:00 | 2.4533 | 150.13 | 2.82 | 164.9667 | 3.37 | 185.5667 | 3.4867 | 198.5667 | 17.1247 | 886 | 73.208 | 1.3147
2019-05-09 22:30:00 | 2.4267 | 161.59 | 2.7933 | 177.5667 | 3.1367 | 187.7 | 3.3 | 199.1667 | 17.17 | 886 | 72.7067 | 1.7267
2019-05-09 22:45:00 | 2.5 | 156.38 | 2.88 | 171.8333 | 3.2333 | 187.3667 | 3.5467 | 202.0667 | 17.134 | 886 | 72.97 | 3.4567
2019-05-09 23:00:00 | 2.5467 | 166.56 | 2.9333 | 183.0333 | 3.2467 | 191.9667 | 3.5533 | 199.6 | 16.942 | 886 | 74.2567 | 2.644
2019-05-09 23:15:00 | 1.82 | 135.5667 | 2.0933 | 148.9667 | 2.31 | 165.3 | 2.4267 | 176.5333 | 16.7933 | 886 | 75.0867 | 1.49
2019-05-09 23:30:00 | 1.9867 | 158.2 | 2.2867 | 173.8333 | 2.5967 | 165.4333 | 2.82 | 181.2 | 16.5533 | 886 | 76.3733 | 1.9833
2019-05-09 23:45:00 | 1.8333 | 135.14 | 2.1133 | 148.5 | 2.5033 | 175.1333 | 2.8167 | 187.6 | 16.3787 | 886 | 77.1033 | 1.304