## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-11 00:00:00 | 2.5279 | 294.9336 | 2.9107 | 324.0929 | 4.9257 | 20.7129 | 5.1929 | 28.7879 | 17.0479 | 887 | 83.4 | 7.5521
2019-05-11 00:15:00 | 2.6573 | 292.3827 | 3.054 | 321.2867 | 5.264 | 16.8167 | 5.8413 | 25.992 | 16.832 | 887 | 84.96 | 16.166
2019-05-11 00:30:00 | 3.3533 | 308.2733 | 3.87 | 338.7667 | 6.6133 | 22.4167 | 6.64 | 19.42 | 16.6733 | 887 | 86.2 | 22.6773
2019-05-11 00:45:00 | 3.3667 | 286.4947 | 3.874 | 314.8333 | 6.2627 | 107.5513 | 6.486 | 16.0707 | 16.6273 | 887 | 87.1333 | 25.57
2019-05-11 01:00:00 | 3.59 | 155.69 | 4.1367 | 171.0867 | 6.5367 | 120.08 | 6.62 | 243.92 | 16.53 | 887 | 88.1 | 33.9887
2019-05-11 01:15:00 | 4.5 | 279.4267 | 5.1767 | 307.0667 | 8.5 | 21.4033 | 8.7467 | 19.2767 | 16.3133 | 887 | 89.5 | 38.05
2019-05-11 01:30:00 | 4.8133 | 179.6933 | 5.5433 | 197.4667 | 9.08 | 12.49 | 9.4067 | 21.0633 | 16.272 | 887 | 89.5 | 41.556
2019-05-11 01:45:00 | 5.1433 | 122.4167 | 5.9167 | 134.5133 | 9.8833 | 17.0733 | 9.9333 | 14.17 | 16.262 | 887 | 89.4333 | 45.788
2019-05-11 02:00:00 | 5.7167 | 126.6633 | 6.5833 | 139.18 | 10.7567 | 14.6467 | 11.0067 | 21.7167 | 16.182 | 887 | 89.3667 | 46.8993
2019-05-11 02:15:00 | 5.94 | 282.04 | 6.8367 | 309.9333 | 11.2133 | 23.4067 | 12.03 | 29.2733 | 16.1687 | 887 | 88.4333 | 48.8013
2019-05-11 02:30:00 | 6.1267 | 292.3533 | 7.0433 | 321.2667 | 11.468 | 23.9133 | 12.1567 | 26.1 | 16.126 | 887 | 87.4333 | 49.026
2019-05-11 02:45:00 | 6.54 | 237.0933 | 7.5333 | 260.5333 | 12.15 | 14.1633 | 12.47 | 21.15 | 16.1253 | 887 | 85.1667 | 47.5273
2019-05-11 03:00:00 | 6.2 | 256.62 | 7.1333 | 282 | 11.45 | 10.97 | 11.9433 | 22.95 | 16.1933 | 887 | 83.0333 | 45.7973
2019-05-11 03:15:00 | 6.54 | 241.7867 | 7.5267 | 265.7 | 11.9833 | 8.5133 | 12.0467 | 29.2667 | 16.0967 | 887 | 82.1333 | 46.1893
2019-05-11 03:30:00 | 6.1133 | 264.2333 | 7.0333 | 290.3667 | 11.43 | 10.8333 | 11.6667 | 28.44 | 15.9833 | 887 | 81.76 | 46.4047
2019-05-11 03:45:00 | 6.1533 | 251.3113 | 7.0767 | 276.16 | 11.61 | 16.2833 | 12.0167 | 26.9833 | 15.82 | 887 | 81.2 | 47.5407
2019-05-11 04:00:00 | 6.5133 | 166.53 | 7.49 | 183 | 11.9633 | 16.25 | 11.8767 | 20.65 | 15.788 | 887 | 80.4 | 45.582
2019-05-11 04:15:00 | 6.1467 | 153.59 | 7.07 | 168.7667 | 10.9167 | 15.6333 | 10.9033 | 17.8867 | 15.7167 | 887 | 80.3333 | 44.1347
2019-05-11 04:30:00 | 5.98 | 60.5167 | 6.8767 | 66.4933 | 10.81 | 20.8 | 10.8767 | 14.8533 | 15.5633 | 887 | 80.9333 | 44.5847
2019-05-11 04:45:00 | 5.9173 | 142.51 | 6.8073 | 156.6 | 10.68 | 7.76 | 10.72 | 19.29 | 15.4433 | 887 | 80.9667 | 43.2873
2019-05-11 05:00:00 | 6.0667 | 211.07 | 6.9833 | 231.9333 | 10.8133 | 8.1333 | 10.6 | 15.1233 | 15.3633 | 887 | 81.2333 | 42.5407
2019-05-11 05:15:00 | 5.9467 | 169.66 | 6.8433 | 186.4333 | 10.55 | 13.68 | 10.3533 | 22.1633 | 15.2293 | 886.2667 | 81.5933 | 41.9413
2019-05-11 05:30:00 | 5.8867 | 70.0133 | 6.77 | 76.94 | 10.5433 | 19.2733 | 10.2867 | 21.7433 | 15.16 | 886 | 81.9667 | 43.3787
2019-05-11 05:45:00 | 5.7433 | 11.2267 | 6.6067 | 12.33 | 10.23 | 11.5867 | 10.1067 | 18.3033 | 15.03 | 886 | 82.6333 | 41.172
2019-05-11 06:00:00 | 5.3367 | 11.4133 | 6.14 | 12.5433 | 9.4833 | 9.06 | 9.0533 | 10.0567 | 14.946 | 886 | 83.14 | 38.168
2019-05-11 06:15:00 | 5.1067 | 224.1133 | 5.88 | 246.2733 | 8.0233 | 238.5067 | 7.9167 | 8.0033 | 14.97 | 886.7333 | 82.8667 | 33.9067
2019-05-11 06:30:00 | 4.7933 | 142.6467 | 5.5133 | 156.74 | 8.4767 | 238.7733 | 8.3367 | 12.35 | 14.91 | 887 | 83.1333 | 33.4353
2019-05-11 06:45:00 | 4.4367 | 121.3967 | 5.1 | 133.3933 | 7.75 | 354.3333 | 7.56 | 16.3467 | 14.7167 | 887 | 84.5 | 38.6313
2019-05-11 07:00:00 | 4.9033 | 305.03 | 5.6467 | 335.2 | 8.2567 | 121.0467 | 8.2133 | 10.2533 | 14.6633 | 887 | 85.1667 | 37.4813
2019-05-11 07:15:00 | 4.5833 | 205.81 | 5.2767 | 226.16 | 7.8267 | 4.1067 | 7.4667 | 15.47 | 14.7787 | 887 | 85.1333 | 28.48
2019-05-11 07:30:00 | 3.9433 | 201.39 | 4.5367 | 221.2933 | 6.9267 | 7.7 | 6.6867 | 4.6033 | 14.7867 | 887 | 85.8667 | 25.8567
2019-05-11 07:45:00 | 4.2733 | 37.03 | 4.9167 | 40.6833 | 6.9433 | 228.38 | 6.77 | 17.06 | 14.9533 | 887.0667 | 85.3667 | 27.5973
2019-05-11 08:00:00 | 4.5 | 220.7367 | 5.1767 | 242.57 | 7.35 | 3.9133 | 7.3167 | 15.28 | 15.36 | 888 | 84.0333 | 31.2507
2019-05-11 08:15:00 | 4.42 | 176.0533 | 5.0833 | 193.4533 | 8.0033 | 21.6933 | 7.9433 | 16.6367 | 15.8933 | 888 | 83.5667 | 23.0813
2019-05-11 08:30:00 | 4.0733 | 34.02 | 4.6833 | 37.3733 | 7.0367 | 9.7867 | 6.9967 | 13.0233 | 16.3333 | 888.4 | 81.8333 | 18.4047
2019-05-11 08:45:00 | 3.9 | 99.8833 | 4.5 | 109.7533 | 6.8333 | 7.8933 | 6.5467 | 14.1733 | 16.6967 | 889 | 80.9133 | 18.01
2019-05-11 09:00:00 | 4.3667 | 286.29 | 5.0267 | 314.6 | 7.5533 | 6.32 | 7.38 | 29.3733 | 17.4367 | 889 | 77.3533 | 20.0553
2019-05-11 09:15:00 | 4.55 | 308.5333 | 5.2367 | 339.0333 | 7.7433 | 14.9767 | 7.3533 | 14.1767 | 17.8633 | 889 | 75.9867 | 19.5193
2019-05-11 09:30:00 | 4.51 | 319.3933 | 5.1967 | 350.9667 | 7.97 | 20.03 | 7.4867 | 23.6033 | 18.398 | 889 | 73.3933 | 22.158
2019-05-11 09:45:00 | 4.74 | 195.99 | 5.4533 | 215.3667 | 8.48 | 12.7333 | 8.17 | 11.5633 | 18.82 | 889 | 71.4 | 18.1913
2019-05-11 10:00:00 | 4.4533 | 107.4567 | 5.1267 | 118.0733 | 7.84 | 8.0667 | 7.7367 | 26.8233 | 19.2133 | 889.4 | 70.124 | 14.62
2019-05-11 10:15:00 | 3.98 | 16.07 | 4.58 | 17.66 | 6.9067 | 21.9933 | 6.5933 | 22.8333 | 19.7267 | 890 | 67.5133 | 6
2019-05-11 10:30:00 | 3.3267 | 223.9567 | 3.8267 | 246.1 | 5.5333 | 23.34 | 5.2467 | 25.72 | 20.1067 | 890 | 66.1933 | 3.5207
2019-05-11 10:45:00 | 3.16 | 21.49 | 3.6367 | 23.6167 | 4.9433 | 33.46 | 4.64 | 26.9333 | 20.4233 | 890 | 65.2867 | 1.0327
2019-05-11 11:00:00 | 2.9667 | 24.9567 | 3.4233 | 27.4233 | 4.69 | 26.2533 | 4.34 | 28.24 | 20.774 | 890 | 62.8933 | 0
2019-05-11 11:15:00 | 1.9 | 6.7433 | 2.1867 | 7.41 | 2.6467 | 17.7567 | 2.2 | 5.5433 | 21.0267 | 889.9333 | 59.8667 | 0
2019-05-11 11:30:00 | 1.6733 | 217.35 | 1.9267 | 238.8367 | 1.88 | 217.5567 | 1.3333 | 1.25 | 20.6933 | 889 | 59.12 | 0
2019-05-11 11:45:00 | 1.74 | 18.82 | 2.0033 | 20.6767 | 1.9967 | 7.1533 | 1.68 | 6.5667 | 21.004 | 889 | 59.6667 | 0
2019-05-11 12:00:00 | 1.6067 | 26.3667 | 1.8567 | 28.97 | 2.2367 | 16.9333 | 2.0467 | 43.7933 | 21.9 | 889 | 58.2533 | 0
2019-05-11 12:15:00 | 1.4187 | 168.5267 | 1.6307 | 185.1933 | 1.844 | 70.584 | 1.6787 | 53.5173 | 22.5313 | 889 | 58.3153 | 0
2019-05-11 12:30:00 | 1.23 | 136.9267 | 1.42 | 150.4667 | 1.71 | 202 | 1.55 | 133.2 | 22.9033 | 889 | 57.4533 | 0
2019-05-11 12:45:00 | 0.79 | 93.4567 | 0.90667 | 102.7 | 1.1967 | 75.5267 | 1.4967 | 159.1 | 22.1367 | 889 | 59.338 | 0
2019-05-11 13:00:00 | 0.69667 | 98.8567 | 0.8 | 108.6333 | 0.97667 | 152.6 | 0.97667 | 144.7 | 22.1433 | 889 | 57.37 | 0
2019-05-11 13:15:00 | 1.8233 | 97.7967 | 2.1 | 107.4667 | 2.2967 | 135.6333 | 2.49 | 136.1667 | 22.5187 | 888.9333 | 54.22 | 0.018
2019-05-11 13:30:00 | 1.8767 | 91.9167 | 2.16 | 101 | 2.37 | 139.2333 | 2.49 | 146.9 | 22.7067 | 888 | 52.3333 | 0.136
2019-05-11 13:45:00 | 1.96 | 110.0167 | 2.2633 | 120.9 | 2.52 | 139.1667 | 2.6867 | 134.1333 | 23.1067 | 888 | 51.2667 | 0.076667
2019-05-11 14:00:00 | 2.3333 | 141.7567 | 2.6833 | 155.7667 | 3.0067 | 166.5 | 3.0067 | 168.1333 | 23.64 | 888 | 50.0667 | 0.096
2019-05-11 14:15:00 | 2.86 | 114.6933 | 3.2933 | 126.0333 | 3.5767 | 175.4 | 3.8567 | 176.2667 | 23.6833 | 888 | 51.2933 | 0.328
2019-05-11 14:30:00 | 3.1067 | 148.6067 | 3.5733 | 163.3 | 3.7767 | 165.4 | 3.8967 | 160.4667 | 23.7633 | 888 | 51.1267 | 0.28467
2019-05-11 14:45:00 | 2.4133 | 88.8167 | 2.7733 | 97.6 | 3 | 166.6333 | 3.0967 | 159.6333 | 23.76 | 887.2667 | 52.0827 | 0.56533
2019-05-11 15:00:00 | 2.4486 | 118.0129 | 2.8164 | 129.6857 | 3.1829 | 224.75 | 3.1393 | 215.45 | 24.1257 | 887 | 50.3007 | 0.15267
2019-05-11 15:15:00 | 2.45 | 174.9933 | 2.82 | 192.3 | 3.42 | 227.6 | 3.6 | 233.2 | 24.3113 | 887 | 49.7033 | 0.47267
2019-05-11 15:30:00 | 2.1233 | 136.2933 | 2.4467 | 149.7667 | 2.7933 | 252.5333 | 3.04 | 224.6667 | 24.4567 | 887 | 48.23 | 0.724
2019-05-11 15:45:00 | 2.78 | 178.0933 | 3.2033 | 195.7 | 3.7933 | 199.9333 | 3.8267 | 208.1333 | 24.5733 | 887 | 49.26 | 0.56067
2019-05-11 16:00:00 | 2.3533 | 167.0533 | 2.7167 | 183.5667 | 3.3067 | 229.7333 | 3.34 | 232.8 | 25.14 | 887 | 47.42 | 0
2019-05-11 16:15:00 | 2.1067 | 169.8967 | 2.42 | 186.7 | 2.83 | 208.4333 | 2.82 | 216.6 | 24.6933 | 887 | 47.7667 | 0
2019-05-11 16:30:00 | 1.3733 | 163.282 | 1.5867 | 179.42 | 2.03 | 145.3 | 2.12 | 203.4667 | 24.7267 | 886.6 | 47.82 | 0.047333
2019-05-11 16:45:00 | 2.1967 | 157.25 | 2.5233 | 172.8 | 3.0867 | 162.8333 | 3.18 | 190.7333 | 24.2433 | 886 | 51.7967 | 0.50667
2019-05-11 17:00:00 | 1.9367 | 180.1833 | 2.2233 | 198 | 2.8733 | 212.7667 | 2.9 | 203.9333 | 23.8967 | 886 | 52.99 | 0.6
2019-05-11 17:15:00 | 2.2333 | 167.0433 | 2.5767 | 183.5667 | 3.14 | 203.4 | 3.0333 | 219.9667 | 23.5833 | 886 | 55.0767 | 0.57467
2019-05-11 17:30:00 | 1.9133 | 151.7033 | 2.21 | 166.7 | 2.86 | 180.9333 | 2.98 | 204.0333 | 23.37 | 886 | 56.93 | 1.5547
2019-05-11 17:45:00 | 2.8267 | 164.1633 | 3.26 | 180.4 | 3.7 | 198 | 3.9467 | 196.2667 | 22.8733 | 885.2667 | 56.7667 | 3.158
2019-05-11 18:00:00 | 2.5333 | 169.69 | 2.92 | 186.4667 | 3.48 | 223.8 | 3.7067 | 201.2667 | 22.7267 | 885 | 57.82 | 2.474
2019-05-11 18:15:00 | 2.64 | 161.43 | 3.0367 | 177.4 | 3.62 | 230.5333 | 3.5867 | 205.0667 | 22.5487 | 885 | 57.7293 | 3.3713
2019-05-11 18:30:00 | 2.9733 | 181.7567 | 3.4233 | 199.7333 | 4.0133 | 211.2 | 4.3 | 214 | 22.4633 | 885 | 57.9333 | 3.1067
2019-05-11 18:45:00 | 1.69 | 151.6967 | 1.9533 | 166.7 | 2.6467 | 207.2667 | 2.91 | 208.8333 | 22.2867 | 885 | 58.8 | 3.0247
2019-05-11 19:00:00 | 1.8233 | 170.0833 | 2.1067 | 186.9 | 2.82 | 209.1333 | 3.0633 | 216.3667 | 22.0933 | 885 | 59.38 | 2.6293
2019-05-11 19:15:00 | 2.0033 | 179.03 | 2.3067 | 196.7333 | 2.7467 | 207.4933 | 2.9367 | 214.3667 | 21.86 | 885 | 60.6167 | 2.4307
2019-05-11 19:30:00 | 2.0367 | 159.5633 | 2.34 | 175.3333 | 2.76 | 185.6667 | 3.0167 | 194.0333 | 21.76 | 885 | 62.0367 | 2.6753
2019-05-11 19:45:00 | 2.0467 | 159.5033 | 2.3567 | 175.2667 | 2.98 | 202.1 | 3.2467 | 210.5 | 21.4967 | 885 | 63.86 | 3.7473
2019-05-11 20:00:00 | 2.24 | 168.05 | 2.5767 | 184.6667 | 3.2467 | 217.4333 | 3.2733 | 199.3667 | 21.33 | 885 | 64.9133 | 4.746
2019-05-11 20:15:00 | 2.6927 | 156.37 | 3.0987 | 171.8267 | 3.706 | 212.2067 | 3.8587 | 210.9667 | 21.314 | 885 | 64.6433 | 5.5393
2019-05-11 20:30:00 | 3.24 | 166.2833 | 3.73 | 182.7333 | 4.3767 | 208.4 | 4.88 | 212.5 | 21.2167 | 885 | 65.21 | 5.1167
2019-05-11 20:45:00 | 2.3533 | 193.05 | 2.71 | 212.1333 | 3.1367 | 206 | 3.3467 | 214.9 | 21 | 885 | 66.4567 | 4.2267
2019-05-11 21:00:00 | 1.88 | 174.6033 | 2.1633 | 191.8667 | 2.7433 | 217.2 | 2.86 | 203.5 | 20.9 | 885 | 67.2967 | 3.1993
2019-05-11 21:15:00 | 2.2 | 181.7333 | 2.5433 | 199.7 | 3.0867 | 205.8 | 3.2933 | 221.8667 | 20.8367 | 885 | 68.3867 | 4.174
2019-05-11 21:30:00 | 2.6067 | 179.12 | 3.0033 | 196.8333 | 3.4133 | 200.04 | 3.6467 | 220.1333 | 20.7167 | 885 | 69.2733 | 4.6987
2019-05-11 21:45:00 | 2.24 | 171.82 | 2.58 | 188.8 | 3.0533 | 194.8333 | 3.09 | 194.1333 | 20.4433 | 885.7333 | 70.6533 | 4.3327
2019-05-11 22:00:00 | 2.32 | 159.1933 | 2.6733 | 174.9333 | 3.2267 | 202.7 | 3.25 | 212.2667 | 20.374 | 886 | 71.1867 | 3.6893
2019-05-11 22:15:00 | 1.2333 | 165.69 | 1.42 | 182.0667 | 1.92 | 202.7333 | 2.3767 | 217.8333 | 20.22 | 886 | 71.7433 | 0.65533
2019-05-11 22:30:00 | 0.98 | 144.6433 | 1.14 | 158.9333 | 1.7267 | 180.28 | 1.9833 | 226.3 | 20.0333 | 886 | 72.7767 | 0.034667
2019-05-11 22:45:00 | 1.62 | 133.78 | 1.8667 | 147 | 2.4133 | 174.1333 | 2.35 | 184.9333 | 19.9847 | 886 | 73.7633 | 0
2019-05-11 23:00:00 | 1.9867 | 139.9667 | 2.2867 | 153.8 | 2.7667 | 159.28 | 2.5367 | 168.1333 | 19.8567 | 886 | 74.69 | 0
2019-05-11 23:15:00 | 1.4533 | 134.6333 | 1.6767 | 147.9333 | 2.3333 | 153.9667 | 2.05 | 166.5333 | 19.8713 | 886 | 74.4967 | 0
2019-05-11 23:30:00 | 1.0933 | 151.62 | 1.27 | 166.6 | 1.8733 | 160.0333 | 1.7767 | 189.7333 | 19.8567 | 886 | 74.274 | 0
2019-05-11 23:45:00 | 1.6467 | 163.7167 | 1.8933 | 179.9 | 2.3967 | 173.5667 | 2.32 | 186.2333 | 19.8487 | 885.9333 | 73.8233 | 0