## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-12 00:00:00 | 1.8029 | 180.67 | 2.07 | 198.5286 | 2.7271 | 182.7357 | 2.735 | 185.6214 | 19.7979 | 885 | 73.7479 | 0
2019-05-12 00:15:00 | 1.6333 | 176.67 | 1.8867 | 194.1333 | 2.3633 | 186.6 | 2.5533 | 187.58 | 19.81 | 885 | 73.6767 | 0
2019-05-12 00:30:00 | 1.5733 | 172.6633 | 1.8133 | 189.7333 | 2.37 | 186.0667 | 2.54 | 187.5667 | 19.746 | 885 | 73.85 | 0
2019-05-12 00:45:00 | 1.7567 | 170.8733 | 2.03 | 187.7667 | 2.7133 | 189.1667 | 3.1133 | 189.9667 | 19.6613 | 885 | 74.1273 | 0
2019-05-12 01:00:00 | 1.51 | 175.8467 | 1.7433 | 193.2333 | 2.46 | 192.7 | 2.7533 | 188.4333 | 19.5867 | 885 | 74.4367 | 0.72333
2019-05-12 01:15:00 | 2.13 | 171.2367 | 2.4533 | 188.1667 | 3.1667 | 202.3733 | 3.21 | 205.7 | 19.522 | 885 | 74.9867 | 0.724
2019-05-12 01:30:00 | 1.4767 | 187.2567 | 1.7067 | 205.7667 | 2.5333 | 211.8 | 2.49 | 213.0333 | 19.2967 | 885.4 | 76.22 | 0
2019-05-12 01:45:00 | 0.98333 | 178.9467 | 1.13 | 196.6333 | 1.6033 | 195.2 | 1.7767 | 194.0667 | 19.1133 | 885.2667 | 77.182 | 0
2019-05-12 02:00:00 | 0.66 | 259.06 | 0.758 | 284.68 | 0.956 | 85.888 | 0.292 | 173.68 | 18.9 | 885 | 78.258 | 0
2019-05-12 02:15:00 | 0.96667 | 318.5333 | 1.1133 | 350.0333 | 0.81 | 125.1867 | 0 | 58.982 | 18.2633 | 885 | 81.9 | 0
2019-05-12 02:30:00 | 0.26 | 312.22 | 0.3 | 343.1 | 0.18333 | 117.3133 | 0.16667 | 59.026 | 18.2833 | 885 | 81.6333 | 0
2019-05-12 02:45:00 | 0.14 | 315.22 | 0.17 | 346.4 | 0.28 | 82.6 | 1.0567 | 153.1067 | 18.55 | 885 | 79.706 | 0
2019-05-12 03:00:00 | 0.20667 | 315.184 | 0.24333 | 346.36 | 0.4 | 82.6 | 1.11 | 153.2 | 18.4433 | 885 | 79.822 | 0
2019-05-12 03:15:00 | 1.1667 | 176.2933 | 1.3433 | 193.7333 | 1.6867 | 171.3667 | 1.9133 | 174.1667 | 18.6267 | 885 | 79.0433 | 0
2019-05-12 03:30:00 | 1.4133 | 172.9 | 1.6367 | 190 | 1.9533 | 191.1 | 2.0267 | 191.7667 | 18.6733 | 885 | 79.17 | 0
2019-05-12 03:45:00 | 1.8767 | 162.5233 | 2.16 | 178.6 | 2.4033 | 184.4 | 2.84 | 186.2333 | 18.1333 | 885 | 82.2333 | 0
2019-05-12 04:00:00 | 2.3167 | 156.8233 | 2.6667 | 172.3333 | 3.1033 | 188.5333 | 3.8867 | 184.7667 | 17.9867 | 884.6 | 83.0333 | 0.15133
2019-05-12 04:15:00 | 3.0067 | 177.4467 | 3.46 | 195 | 4.0367 | 188.8 | 4.3133 | 177.8 | 17.7413 | 884 | 84.6 | 0.14733
2019-05-12 04:30:00 | 2.5533 | 170.0467 | 2.94 | 186.8667 | 3.4833 | 181.3333 | 3.92 | 168.9333 | 17.748 | 884 | 84.3333 | 0
2019-05-12 04:45:00 | 1.6733 | 162.07 | 1.9333 | 178.1 | 2.6233 | 183.1667 | 2.7133 | 173.3333 | 17.9167 | 884 | 82.9 | 0
2019-05-12 05:00:00 | 1.0467 | 143.766 | 1.2067 | 157.98 | 1.9967 | 163.1667 | 2.1133 | 153.4667 | 18.0433 | 884 | 82.1 | 0
2019-05-12 05:15:00 | 0.63333 | 143.8853 | 0.72667 | 158.1067 | 1.2533 | 142.8 | 2.3833 | 142.1333 | 18.14 | 884 | 81.2667 | 0
2019-05-12 05:30:00 | 0.44 | 143.96 | 0.51333 | 158.2 | 0.87333 | 142.8 | 1.8167 | 143.6667 | 18.068 | 884 | 81.56 | 0
2019-05-12 05:45:00 | 0.34333 | 300.4233 | 0.39333 | 330.1333 | 0 | 142.8 | 0.30667 | 139 | 17.9567 | 884.0667 | 82.1 | 0
2019-05-12 06:00:00 | 0.14333 | 313.41 | 0.16667 | 344.4 | 0 | 142.8 | 0.12667 | 139 | 18.0033 | 884.6 | 81.1 | 0
2019-05-12 06:15:00 | 1.8533 | 295.5367 | 2.1333 | 324.7667 | 2.62 | 13.22 | 2.1133 | 12.4667 | 17.6267 | 884 | 84.8 | 0
2019-05-12 06:30:00 | 2.64 | 312.7033 | 3.0467 | 343.6333 | 4.5333 | 14.58 | 4.5867 | 24.5067 | 17.12 | 884.4 | 87.4667 | 0.796
2019-05-12 06:45:00 | 2.9333 | 105.0967 | 3.3767 | 115.4933 | 4.4667 | 14.5967 | 4.62 | 14.69 | 16.77 | 885 | 90.5 | 1.4967
2019-05-12 07:00:00 | 3 | 311.5633 | 3.4567 | 342.3667 | 4.0267 | 11.03 | 4.2133 | 18.3833 | 16.7967 | 885 | 90.9 | 0.94733
2019-05-12 07:15:00 | 3.3533 | 321.9933 | 3.8567 | 353.8333 | 4.4533 | 4.7167 | 4.5667 | 9.46 | 17.0433 | 885 | 89.4333 | 3.3953
2019-05-12 07:30:00 | 3.0867 | 317.32 | 3.55 | 348.7 | 4.5867 | 5.77 | 4.9733 | 3.8733 | 17.1433 | 885 | 88.9667 | 8.3047
2019-05-12 07:45:00 | 3.3733 | 303.8767 | 3.88 | 333.9333 | 6.2933 | 2.6167 | 6.4767 | 10.1467 | 17.1013 | 885 | 89.9667 | 14.556
2019-05-12 08:00:00 | 3.8667 | 313.5833 | 4.4467 | 344.6 | 7.1667 | 18.1233 | 7.53 | 15.4333 | 16.9 | 885 | 91.1 | 21.4093
2019-05-12 08:15:00 | 4.6967 | 10.5333 | 5.4033 | 11.5633 | 7.77 | 11.5533 | 7.99 | 15.0667 | 16.7733 | 885.0667 | 91.4 | 29.048
2019-05-12 08:30:00 | 4.81 | 16.4133 | 5.5367 | 18.0233 | 7.6567 | 13.24 | 7.97 | 19.5067 | 16.9067 | 886 | 90.4 | 33.1773
2019-05-12 08:45:00 | 4.4467 | 310.4133 | 5.12 | 341.1 | 7.2867 | 13.6333 | 7.4667 | 14.57 | 17.2667 | 886 | 89.2667 | 32.0267
2019-05-12 09:00:00 | 4.54 | 299.2467 | 5.2267 | 328.8333 | 7.1333 | 17.2933 | 7.3133 | 7.7633 | 17.7 | 886 | 87.7333 | 34.4507
2019-05-12 09:15:00 | 4.4 | 239.9967 | 5.0633 | 263.7333 | 7.3533 | 11.1767 | 7.4367 | 14.2967 | 18.6133 | 886.0667 | 85.1 | 31.8773
2019-05-12 09:30:00 | 4.22 | 48.33 | 4.8567 | 53.1067 | 7 | 7.99 | 6.9767 | 19.4033 | 19.2533 | 887 | 83.1 | 30.2727
2019-05-12 09:45:00 | 4.7133 | 109.9433 | 5.4267 | 120.8133 | 7.6367 | 12.3 | 7.7433 | 5.9033 | 19.1267 | 887 | 83.3933 | 31.3287
2019-05-12 10:00:00 | 4.4333 | 323.37 | 5.1067 | 355.34 | 7.1233 | 10.5333 | 7.1967 | 13.9433 | 19.1867 | 887 | 83.1667 | 28.95
2019-05-12 10:15:00 | 4.4007 | 115.63 | 5.07 | 127.06 | 7.6233 | 3.4767 | 7.48 | 14.0367 | 19.47 | 887 | 83.0733 | 27.322
2019-05-12 10:30:00 | 4.3633 | 166.2033 | 5.0233 | 182.6333 | 7.93 | 15.85 | 7.56 | 10.6367 | 20.0367 | 887 | 81.2333 | 22.39
2019-05-12 10:45:00 | 4.1733 | 46.22 | 4.7967 | 50.79 | 7.5667 | 29.38 | 7.3267 | 13.3467 | 20.92 | 887.7333 | 78.59 | 18.6787
2019-05-12 11:00:00 | 4.0933 | 214.3133 | 4.71 | 235.5033 | 7.4533 | 25.5067 | 7.2867 | 9.72 | 22.0067 | 888 | 75.9033 | 15.2533
2019-05-12 11:15:00 | 4.4367 | 54.0367 | 5.1033 | 59.3833 | 7.87 | 19.2233 | 7.7533 | 18.1933 | 23.3867 | 888 | 70.75 | 10.3307
2019-05-12 11:30:00 | 4.1567 | 211.4767 | 4.7833 | 232.3833 | 7.37 | 15.2167 | 7.3067 | 19.7933 | 23.4933 | 888 | 68.5033 | 9.342
2019-05-12 11:45:00 | 3.51 | 302.45 | 4.0433 | 332.3667 | 6.43 | 9.0433 | 6.3433 | 10.0433 | 22.24 | 888 | 73.3467 | 9.8547
2019-05-12 12:00:00 | 3.51 | 100.6167 | 4.0433 | 110.56 | 6.0833 | 17.3033 | 5.93 | 5.93 | 22.3 | 888 | 73.2 | 9.3413
2019-05-12 12:15:00 | 3.7013 | 290.7227 | 4.268 | 319.466 | 6.4867 | 9.2873 | 6.5327 | 11.628 | 23.4853 | 888 | 70.0113 | 5.47
2019-05-12 12:30:00 | 3.28 | 308.01 | 3.7733 | 338.4667 | 5.5833 | 5.9267 | 5.66 | 32.5633 | 23.62 | 888 | 68.0333 | 4.6473
2019-05-12 12:45:00 | 3 | 301.8167 | 3.4567 | 331.6667 | 5.4667 | 24.5733 | 5.6933 | 31.96 | 23.9107 | 888 | 68.716 | 4.2193
2019-05-12 13:00:00 | 3.08 | 150.8167 | 3.5433 | 165.7333 | 5.56 | 19.7133 | 5.6867 | 37.7733 | 24.5 | 888 | 65.6133 | 3.816
2019-05-12 13:15:00 | 2.4 | 103.27 | 2.7733 | 113.4867 | 4.5 | 34.4267 | 4.53 | 34.1633 | 24.1367 | 887.9333 | 64.3933 | 1.228
2019-05-12 13:30:00 | 1.9067 | 97.61 | 2.1933 | 107.2533 | 3.2067 | 11.04 | 3.0167 | 20.9167 | 24.07 | 887 | 64.6667 | 0.22933
2019-05-12 13:45:00 | 2.28 | 99.8633 | 2.6367 | 109.74 | 4.1467 | 32.7133 | 4.1833 | 40.55 | 24.78 | 887 | 62.92 | 3.5667
2019-05-12 14:00:00 | 4.8867 | 113.2633 | 5.6233 | 124.46 | 8.7067 | 14.8333 | 8.6967 | 33.73 | 25 | 887 | 62.2267 | 28.2153
2019-05-12 14:15:00 | 7.29 | 227.09 | 8.3933 | 249.55 | 12.5 | 13.1933 | 13.2533 | 37.1 | 23.5767 | 887 | 65.8133 | 50.712
2019-05-12 14:30:00 | 7.3567 | 236.19 | 8.4667 | 259.55 | 12.72 | 17.8733 | 13.6333 | 43.6267 | 21.3967 | 887 | 71.6333 | 49.9127
2019-05-12 14:45:00 | 6.15 | 128.3133 | 7.0733 | 140.9933 | 11.1733 | 25.96 | 11.86 | 31.35 | 18.7867 | 886.9333 | 83.5333 | 41.3413
2019-05-12 15:00:00 | 4.5367 | 284.26 | 5.22 | 312.3667 | 8.5 | 35.4867 | 8.78 | 34.61 | 17.28 | 886 | 93.6667 | 45.1727
2019-05-12 15:15:00 | 4.79 | 203.88 | 5.5167 | 224.0333 | 9.2167 | 27.99 | 10.1733 | 30.1133 | 16.79 | 885.9333 | 97.7 | 51.0373
2019-05-12 15:30:00 | 6.0967 | 201.3867 | 7.01 | 221.3 | 11.11 | 15.57 | 11.44 | 23.4067 | 16.4633 | 885 | 98.34 | 53.8047
2019-05-12 15:45:00 | 5.4533 | 301.0033 | 6.2733 | 330.7667 | 10.2633 | 8.65 | 10.3013 | 22.1133 | 16.3393 | 885 | 98.8 | 52.0793
2019-05-12 16:00:00 | 5.8 | 90.1967 | 6.6733 | 99.1133 | 11.0367 | 16.2633 | 10.98 | 23.2667 | 16.1967 | 885 | 99.1333 | 56.394
2019-05-12 16:15:00 | 7.0153 | 234.8167 | 8.068 | 258.036 | 12.5013 | 14.6473 | 12.1893 | 44.2987 | 15.7147 | 885 | 98.5 | 57.168
2019-05-12 16:30:00 | 7.13 | 270.5433 | 8.2067 | 297.3 | 12.74 | 12.07 | 12.6867 | 36.5933 | 15.2733 | 885 | 97.6333 | 57.606
2019-05-12 16:45:00 | 7.2933 | 200.5067 | 8.3933 | 220.3333 | 13.27 | 13.6867 | 12.9833 | 19.7567 | 14.8333 | 885 | 96.9067 | 58.6767
2019-05-12 17:00:00 | 7.14 | 319.4667 | 8.22 | 351.0667 | 13.19 | 16.4733 | 12.9567 | 13.65 | 14.4467 | 885 | 97.4667 | 58.3687
2019-05-12 17:15:00 | 7.0733 | 214.1933 | 8.1433 | 235.3667 | 13.34 | 7.37 | 13.0913 | 18.2167 | 14.0267 | 885 | 98 | 58.9987
2019-05-12 17:30:00 | 7.4533 | 169.5333 | 8.57 | 186.3 | 13.6 | 9.7833 | 13.3367 | 16.4033 | 13.6267 | 885 | 97.5333 | 59.5627
2019-05-12 17:45:00 | 7.71 | 119.94 | 8.8733 | 131.8 | 14.18 | 19.5633 | 14.06 | 25.7733 | 13.2533 | 885 | 96.5333 | 60.5493
2019-05-12 18:00:00 | 7.7833 | 185.0333 | 8.9533 | 203.3333 | 14.68 | 21.8967 | 14.6467 | 22.1267 | 12.8933 | 885 | 96.6 | 60.836
2019-05-12 18:15:00 | 7.86 | 148.4 | 9.0433 | 163.0667 | 14.77 | 24.3433 | 14.7367 | 18.6167 | 12.6593 | 884.9333 | 94.6667 | 60.8767
2019-05-12 18:30:00 | 8.276 | 206.232 | 9.528 | 226.62 | 15.234 | 24.622 | 15.172 | 19.768 | 12.416 | 884.4 | 93.3 | 58.984
2019-05-12 18:45:00 | 7.5433 | 211.46 | 8.6733 | 232.3667 | 14.04 | 16.3967 | 14.3533 | 25.8 | 11.94 | 885 | 93.8 | 59.232
2019-05-12 19:00:00 | 7.6567 | 317.26 | 8.8067 | 348.6333 | 14.3267 | 12.67 | 14.1067 | 21.9133 | 11.8533 | 885 | 92.8667 | 58.566
2019-05-12 19:15:00 | 7.8333 | 63.98 | 9.0167 | 70.3067 | 14.3133 | 6.9967 | 14.1233 | 17.29 | 12.0033 | 885 | 89.5 | 56.83
2019-05-12 19:30:00 | 7.66 | 170.4733 | 8.81 | 187.3333 | 13.58 | 14.0767 | 13.3567 | 12.6233 | 12.3767 | 885 | 85.7 | 54.22
2019-05-12 19:45:00 | 7.3267 | 147.2467 | 8.43 | 161.8 | 13.03 | 17.3133 | 13.0433 | 11.8633 | 12.2533 | 885 | 86.7667 | 58.8073
2019-05-12 20:00:00 | 7.774 | 158.514 | 8.94 | 174.18 | 13.576 | 20.628 | 12.866 | 9.438 | 11.878 | 885 | 90.1 | 60.9133
2019-05-12 20:15:00 | 7.6733 | 108.3767 | 8.8367 | 119.0867 | 13.2967 | 15.1367 | 12.8793 | 14.9533 | 11.4167 | 885.7333 | 93.7 | 60.5313
2019-05-12 20:30:00 | 6.8333 | 174.51 | 7.8633 | 191.7667 | 12.65 | 14.1767 | 12.6767 | 23.2667 | 11.11 | 886 | 96.4333 | 59.8487
2019-05-12 20:45:00 | 7.2533 | 185.7433 | 8.3533 | 204.1 | 13.0367 | 15.8433 | 13.3 | 19.7333 | 11.0813 | 886 | 96.4 | 57.2953
2019-05-12 21:00:00 | 6.92 | 68.8567 | 7.9667 | 75.66 | 13.0167 | 15.91 | 13.54 | 25.3067 | 10.9933 | 886.4 | 97.2667 | 55.3327
2019-05-12 21:15:00 | 7.28 | 160.38 | 8.38 | 176.2333 | 13.5233 | 21.3667 | 13.7467 | 25.71 | 10.8767 | 887 | 98.4333 | 56.1373
2019-05-12 21:30:00 | 7.5467 | 211.5267 | 8.6867 | 232.4333 | 13.7833 | 21.0133 | 13.9733 | 28.6967 | 10.83 | 887 | 98.9 | 57.528
2019-05-12 21:45:00 | 7.7067 | 112.98 | 8.8633 | 124.1533 | 14.4067 | 20.5967 | 14.5133 | 21.32 | 10.7667 | 887 | 99.4333 | 58.4827
2019-05-12 22:00:00 | 8.1267 | 147.86 | 9.3433 | 162.4867 | 14.96 | 20.4033 | 14.8667 | 27.6733 | 10.72 | 887 | 99.9 | 58.2333
2019-05-12 22:15:00 | 8.4 | 37.0633 | 9.6633 | 40.72 | 15.4033 | 17.12 | 15.4667 | 27.62 | 10.65 | 887 | 100 | 57.8907
2019-05-12 22:30:00 | 8.36 | 3.0233 | 9.6233 | 3.3133 | 15.53 | 20.14 | 15.6733 | 28.5067 | 10.6033 | 887 | 100 | 58.3667
2019-05-12 22:45:00 | 8.172 | 213.4213 | 9.4107 | 234.5267 | 15.1853 | 15.7233 | 15.0207 | 18.6933 | 10.5793 | 887.0667 | 100 | 58.0913
2019-05-12 23:00:00 | 7.4733 | 262.9667 | 8.6067 | 288.9667 | 13.75 | 12.87 | 13.7667 | 19.1767 | 10.53 | 888 | 100 | 57.046
2019-05-12 23:15:00 | 7.3867 | 298.3267 | 8.5 | 327.8333 | 13.6533 | 17.1667 | 13.7967 | 23.7933 | 10.5 | 888 | 100 | 54.95
2019-05-12 23:30:00 | 6.8467 | 324.78 | 7.8733 | 356.9 | 12.64 | 12.9667 | 12.8967 | 17.5067 | 10.44 | 888 | 100 | 55.1713
2019-05-12 23:45:00 | 7.12 | 109.89 | 8.1933 | 120.7533 | 13.07 | 18.66 | 13.51 | 23.32 | 10.3533 | 888 | 100 | 55.6893