## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-13 00:00:00 | 7.1514 | 217.3264 | 8.2257 | 238.8143 | 13.245 | 18.8157 | 13.6921 | 24.0329 | 10.2679 | 888 | 100 | 54.4557
2019-05-13 00:15:00 | 6.72 | 66.1767 | 7.73 | 72.72 | 12.5533 | 16.9767 | 12.9 | 22.3933 | 10.1733 | 887.9333 | 100 | 51.9993
2019-05-13 00:30:00 | 6.52 | 262.3567 | 7.4967 | 288.3 | 12.12 | 13.9167 | 12.5067 | 24.8867 | 10.12 | 887 | 100 | 51.7287
2019-05-13 00:45:00 | 6.02 | 282.2533 | 6.92 | 310.1667 | 11.34 | 14.62 | 11.76 | 22.6233 | 10.082 | 887 | 100 | 51.1433
2019-05-13 01:00:00 | 5.62 | 76.1067 | 6.4667 | 83.6267 | 10.7333 | 16.66 | 11.2333 | 19.8233 | 10.054 | 887 | 100 | 46.7507
2019-05-13 01:15:00 | 5.1733 | 258.2067 | 5.95 | 283.7333 | 9.97 | 11.43 | 10.3533 | 22.96 | 10.0673 | 887 | 100 | 42.988
2019-05-13 01:30:00 | 5.4 | 67 | 6.21 | 73.6133 | 9.75 | 6.81 | 9.9467 | 27.7867 | 10.01 | 887 | 100 | 43.24
2019-05-13 01:45:00 | 5.22 | 321.66 | 6.0133 | 353.4667 | 8.5967 | 26.1333 | 8.5867 | 13.67 | 9.9567 | 887 | 100 | 44.6887
2019-05-13 02:00:00 | 5.1667 | 320.8133 | 5.9533 | 352.5333 | 8.0167 | 18.92 | 7.956 | 23.7833 | 10.0033 | 887 | 100 | 47.7473
2019-05-13 02:15:00 | 5.3733 | 274.28 | 6.19 | 301.4 | 8.6667 | 14.55 | 8.7567 | 16.9267 | 10.0127 | 887 | 100 | 48.0347
2019-05-13 02:30:00 | 5.5067 | 300.0667 | 6.3367 | 329.7333 | 9.32 | 17.77 | 9.2367 | 30.22 | 9.99 | 887 | 100 | 49.552
2019-05-13 02:45:00 | 5.46 | 219.7867 | 6.2767 | 241.5167 | 8.9 | 0.94333 | 8.9033 | 5.1367 | 9.8967 | 886.9333 | 100 | 50.7093
2019-05-13 03:00:00 | 5.8067 | 30.1733 | 6.6767 | 33.15 | 9.68 | 234.25 | 9.7167 | 9.63 | 9.8367 | 886 | 100 | 49.7753
2019-05-13 03:15:00 | 6.2 | 6.3567 | 7.1267 | 6.9867 | 9.6967 | 344.6333 | 9.4033 | 236.7767 | 9.8367 | 886 | 100 | 50.412
2019-05-13 03:30:00 | 6.3533 | 43.51 | 7.3067 | 47.8133 | 9.7633 | 345.9 | 9.5233 | 14.7433 | 9.9033 | 886 | 100 | 50.6107
2019-05-13 03:45:00 | 6.2 | 34.9667 | 7.14 | 38.42 | 10.8033 | 13.5833 | 10.6167 | 21.28 | 9.9733 | 886 | 100 | 50.93
2019-05-13 04:00:00 | 6.0867 | 237.4867 | 7.0067 | 260.9667 | 10.6367 | 4.8633 | 10.6633 | 13.8267 | 9.9467 | 886 | 100 | 49.5493
2019-05-13 04:15:00 | 5.8167 | 315.5667 | 6.69 | 346.7667 | 9.08 | 8.1733 | 9.3367 | 22.56 | 9.97 | 885.2667 | 100 | 51.324
2019-05-13 04:30:00 | 6.1767 | 101.1533 | 7.11 | 111.1533 | 9.5733 | 217.1133 | 9.8633 | 27.1467 | 10.0367 | 885 | 100 | 52.212
2019-05-13 04:45:00 | 6.51 | 37.5133 | 7.4967 | 41.2167 | 11.24 | 17.5767 | 11.06 | 11.9267 | 10.0687 | 885 | 100 | 51.8007
2019-05-13 05:00:00 | 5.9967 | 164.14 | 6.8967 | 180.374 | 10.5187 | 16.2887 | 10.668 | 12.028 | 10.1167 | 885 | 100 | 49.3607
2019-05-13 05:15:00 | 5.74 | 218.54 | 6.6 | 240.1533 | 9.34 | 130.6867 | 9.52 | 21.8067 | 10.0613 | 885 | 100 | 48.4093
2019-05-13 05:30:00 | 6.0067 | 6.58 | 6.9067 | 7.2267 | 9.9 | 121.24 | 10.3133 | 9.7133 | 10.084 | 885 | 100 | 51.4807
2019-05-13 05:45:00 | 6.8333 | 97.18 | 7.86 | 106.78 | 11.19 | 8.1533 | 11.0433 | 18.2067 | 10.0007 | 885 | 100 | 52.4913
2019-05-13 06:00:00 | 6.1667 | 273.2467 | 7.0933 | 300.2667 | 9.81 | 218.3733 | 9.71 | 11.66 | 10.05 | 885 | 100 | 47.6867
2019-05-13 06:15:00 | 5.4333 | 22.6067 | 6.2633 | 24.8367 | 8.43 | 218.9233 | 8.7933 | 121.6267 | 10.1487 | 885 | 100 | 50.4547
2019-05-13 06:30:00 | 5.64 | 28.5867 | 6.4967 | 31.4033 | 9.57 | 238.2567 | 9.2667 | 119.9267 | 10.13 | 885 | 100 | 51.8773
2019-05-13 06:45:00 | 5.5067 | 119.08 | 6.33 | 130.8467 | 9.3833 | 347.1333 | 9.3633 | 10.2767 | 10.1547 | 885 | 99.92 | 49.562
2019-05-13 07:00:00 | 5.5267 | 92.4133 | 6.3633 | 101.5467 | 9.55 | 340.6 | 9.5833 | 24.3767 | 10.1533 | 885 | 99.76 | 51.0653
2019-05-13 07:15:00 | 6.0667 | 190.4533 | 6.98 | 209.2767 | 10.5633 | 1.38 | 10.5133 | 11.8133 | 10.2 | 885 | 99.4333 | 48.6847
2019-05-13 07:30:00 | 5.9533 | 37.9067 | 6.8533 | 41.65 | 9.6167 | 2.4933 | 9.7267 | 12.1867 | 10.264 | 885 | 99.1 | 51.0207
2019-05-13 07:45:00 | 6.0533 | 186.8567 | 6.96 | 205.34 | 10.54 | 142.2733 | 10.2033 | 3.0367 | 10.3333 | 885 | 99.0067 | 46.1973
2019-05-13 08:00:00 | 5.0333 | 184.5633 | 5.7867 | 202.8067 | 9.1067 | 133.5533 | 9.1633 | 5.91 | 10.4667 | 885 | 98.5 | 46.0553
2019-05-13 08:15:00 | 5.3533 | 192.3633 | 6.16 | 211.3733 | 9.1867 | 125.9267 | 9.1 | 16.5167 | 10.8767 | 885 | 96.3667 | 46.9847
2019-05-13 08:30:00 | 6.0133 | 215.7767 | 6.9267 | 237.1067 | 9.28 | 341.7 | 8.8267 | 12.3033 | 11.1767 | 885.4 | 95.06 | 44.238
2019-05-13 08:45:00 | 5.8193 | 210.0407 | 6.7047 | 230.8067 | 8.9907 | 153.7093 | 9.036 | 12.6107 | 11.8007 | 886 | 93.0267 | 43.1767
2019-05-13 09:00:00 | 5.6267 | 13.7667 | 6.4833 | 15.1267 | 8.7967 | 120.78 | 8.8467 | 8.1933 | 12.2667 | 886.4 | 92.2333 | 41.2933
2019-05-13 09:15:00 | 5.6367 | 35.72 | 6.49 | 39.2433 | 9.6967 | 7.72 | 9.67 | 15.4367 | 12.8533 | 887 | 89.9 | 40.4193
2019-05-13 09:30:00 | 5.6233 | 94.5267 | 6.4767 | 103.87 | 10.0633 | 11.92 | 9.79 | 17.1233 | 13.34 | 887 | 88.7667 | 42.336
2019-05-13 09:45:00 | 5.4467 | 127.5933 | 6.2633 | 140.2067 | 9.8533 | 16.3067 | 9.4767 | 18.2813 | 13.8 | 887.0667 | 87.8667 | 36.56
2019-05-13 10:00:00 | 5.18 | 189.4333 | 5.9567 | 208.1667 | 9.18 | 11.3467 | 8.8967 | 18.9133 | 15.1667 | 888 | 83.6 | 32.672
2019-05-13 10:15:00 | 5.1333 | 273.28 | 5.9067 | 300.3 | 8.964 | 15.2367 | 8.7233 | 14.8667 | 15.9967 | 888 | 77.6567 | 27.7007
2019-05-13 10:30:00 | 4.64 | 284.0133 | 5.3467 | 312.1 | 8.14 | 8.97 | 7.6033 | 12.1733 | 16.6433 | 888.4 | 75.4033 | 18.89
2019-05-13 10:45:00 | 4.2133 | 60.05 | 4.8467 | 65.98 | 7.5207 | 8.5067 | 7.0533 | 18.0033 | 17.22 | 889 | 72.2333 | 16.6473
2019-05-13 11:00:00 | 4.208 | 189.774 | 4.846 | 208.536 | 7.488 | 19.28 | 7.146 | 20.074 | 17.392 | 889 | 70.45 | 15.382
2019-05-13 11:15:00 | 3.8133 | 48.5033 | 4.3933 | 53.2967 | 7.0633 | 10.5767 | 6.9167 | 19.9067 | 17.8633 | 889 | 68.93 | 10.742
2019-05-13 11:30:00 | 3.6267 | 7.57 | 4.1733 | 8.31 | 6.3433 | 15.8767 | 5.9967 | 18.9867 | 18.15 | 889 | 67.53 | 11.254
2019-05-13 11:45:00 | 3.72 | 211.89 | 4.28 | 232.84 | 6.4967 | 19.6633 | 6.2933 | 9.6867 | 19.0733 | 889 | 63.3167 | 9.8333
2019-05-13 12:00:00 | 3.72 | 193.6233 | 4.28 | 212.7733 | 5.95 | 8.5233 | 5.5867 | 17.8 | 19.46 | 889 | 61.7633 | 6.854
2019-05-13 12:15:00 | 3.3407 | 214.0507 | 3.852 | 235.22 | 5.238 | 24.9067 | 4.9967 | 21.8 | 20.0273 | 889 | 60.2933 | 3.5073
2019-05-13 12:30:00 | 3.0733 | 19.8067 | 3.5367 | 21.76 | 4.8333 | 13.2667 | 4.8033 | 20.9667 | 20.44 | 889 | 58.9 | 0.81067
2019-05-13 12:45:00 | 2.66 | 212.0433 | 3.06 | 233.0167 | 4.2867 | 31.32 | 3.6133 | 21.4033 | 20.4233 | 888.9333 | 56.5 | 0
2019-05-13 13:00:00 | 2.26 | 10.55 | 2.6 | 11.5833 | 3.1867 | 9.5 | 2.6333 | 244.37 | 20.4767 | 888 | 56.6867 | 0
2019-05-13 13:15:00 | 1.7933 | 41.3467 | 2.06 | 45.4333 | 2.1 | 37.9867 | 1.98 | 287.5333 | 20.2733 | 888 | 54.9967 | 0
2019-05-13 13:30:00 | 1.4467 | 123.1533 | 1.66 | 135.3333 | 1.82 | 102.1 | 1.7733 | 192.3333 | 20.9533 | 888 | 54.9433 | 0
2019-05-13 13:45:00 | 2.088 | 154.7733 | 2.4053 | 170.08 | 2.622 | 165.8 | 2.686 | 187.4133 | 21.05 | 887.9333 | 54.7827 | 0
2019-05-13 14:00:00 | 2.6933 | 125.5533 | 3.1 | 137.9667 | 3.2133 | 178.7667 | 3.24 | 170.1333 | 21.2233 | 887 | 54.78 | 0
2019-05-13 14:15:00 | 1.9333 | 140.93 | 2.2333 | 154.8667 | 2.54 | 186.0667 | 2.7733 | 171.4333 | 21.34 | 887 | 55.1133 | 0
2019-05-13 14:30:00 | 2.2667 | 121.6967 | 2.6133 | 133.7333 | 2.74 | 156.9333 | 2.7667 | 177.8333 | 21.56 | 887 | 54.5267 | 0
2019-05-13 14:45:00 | 2.6333 | 165.9033 | 3.0367 | 182.3 | 3.1533 | 172.4667 | 2.9467 | 179.5 | 21.3867 | 887 | 54.0033 | 0
2019-05-13 15:00:00 | 2.9933 | 152.1833 | 3.4433 | 167.2333 | 3.4933 | 185.7333 | 3.1733 | 172.6333 | 21.6333 | 887 | 53.8033 | 0.093333
2019-05-13 15:15:00 | 2.8533 | 173.81 | 3.29 | 191 | 3.39 | 159 | 3.35 | 177.2667 | 21.8007 | 887 | 53.3467 | 0.16333
2019-05-13 15:30:00 | 3.1467 | 175.27 | 3.6233 | 192.6 | 3.9833 | 195.2 | 4.0167 | 209.2 | 21.91 | 887 | 53.4 | 0.072
2019-05-13 15:45:00 | 2.6733 | 176.1467 | 3.0767 | 193.5667 | 3.45 | 155.9667 | 3.49 | 171.3 | 22.09 | 886.2667 | 53.686 | 0.318
2019-05-13 16:00:00 | 2.4067 | 129.1333 | 2.7767 | 141.9 | 3.17 | 153.1667 | 3.31 | 171.7 | 22.3433 | 886 | 53.7167 | 0.35067
2019-05-13 16:15:00 | 2.6533 | 151.3733 | 3.0567 | 166.3333 | 3.6433 | 177.8 | 4.1133 | 200.6 | 22.46 | 886 | 53.6633 | 0.83
2019-05-13 16:30:00 | 2.4933 | 155.86 | 2.8767 | 171.2667 | 3.3167 | 230.6667 | 3.6133 | 232.7333 | 22.4 | 886 | 54.0033 | 0.97
2019-05-13 16:45:00 | 3.0467 | 155.9133 | 3.5033 | 171.3333 | 3.9433 | 192.9 | 4.06 | 244.5 | 22.0913 | 886 | 55.14 | 1.372
2019-05-13 17:00:00 | 2.7 | 182.9733 | 3.1033 | 201.0667 | 3.5167 | 222.8333 | 3.64 | 228.1667 | 22.0367 | 886 | 55.94 | 0.71133
2019-05-13 17:15:00 | 2.6067 | 173.9 | 3 | 191.1 | 3.4733 | 212.4333 | 3.8733 | 232.7333 | 22.192 | 886 | 55.4567 | 2.45
2019-05-13 17:30:00 | 2.6467 | 155.8333 | 3.0533 | 171.2333 | 3.6533 | 223.9667 | 3.7867 | 235.8667 | 22.0467 | 886 | 56.4967 | 2.964
2019-05-13 17:45:00 | 2.4267 | 159.4733 | 2.7933 | 175.2333 | 3.1633 | 180.7 | 3.2467 | 190.2 | 21.7873 | 885.2667 | 58.4567 | 3.0087
2019-05-13 18:00:00 | 2.66 | 164.86 | 3.0667 | 181.1667 | 3.4167 | 170.3667 | 3.7067 | 182.5333 | 21.35 | 885 | 59.4967 | 3.394
2019-05-13 18:15:00 | 2.0267 | 154.0333 | 2.33 | 169.2667 | 2.8767 | 205.3 | 2.6367 | 219.9333 | 21.2873 | 885 | 59.58 | 3.1607
2019-05-13 18:30:00 | 2.1 | 150.5133 | 2.4167 | 165.4 | 2.85 | 194.8333 | 3.2433 | 194.2 | 21.07 | 885 | 60.26 | 5.1307
2019-05-13 18:45:00 | 2.5273 | 167.7573 | 2.9073 | 184.3333 | 3.482 | 195.2133 | 4.0927 | 201.58 | 20.7073 | 885 | 61.9493 | 8.2
2019-05-13 19:00:00 | 3.4867 | 181.6467 | 4.0167 | 199.6 | 4.4167 | 194.0667 | 4.7933 | 192.7333 | 20.3133 | 885 | 63.806 | 8.7553
2019-05-13 19:15:00 | 3.36 | 155.85 | 3.8667 | 171.2667 | 4.27 | 194.0667 | 4.7867 | 192.8667 | 20.0467 | 884.2667 | 65.23 | 9.894
2019-05-13 19:30:00 | 3.2133 | 151.13 | 3.7067 | 166.0667 | 4.15 | 203 | 4.4733 | 206 | 19.7867 | 884 | 67.3967 | 13.5573
2019-05-13 19:45:00 | 3.23 | 169.81 | 3.7133 | 186.6 | 4.1267 | 212.5667 | 4.4333 | 201.7333 | 19.6267 | 884 | 68.5633 | 17.174
2019-05-13 20:00:00 | 3.6967 | 164.5367 | 4.2533 | 180.8 | 4.52 | 198.6333 | 5.1533 | 195.3333 | 19.52 | 884 | 69.5967 | 16.7293
2019-05-13 20:15:00 | 4.0267 | 167.9033 | 4.64 | 184.5 | 4.7667 | 199.8 | 5.38 | 200.8667 | 19.422 | 884 | 70.7833 | 16.9053
2019-05-13 20:30:00 | 3.984 | 168.28 | 4.59 | 184.92 | 4.896 | 197.2 | 5.67 | 206.8 | 19.268 | 884 | 72.108 | 16.512
2019-05-13 20:45:00 | 3.5373 | 162.4673 | 4.074 | 178.5333 | 4.372 | 191.9533 | 5.0293 | 202.0333 | 19.0253 | 884 | 74.3827 | 15.1653
2019-05-13 21:00:00 | 3.5133 | 157.0033 | 4.05 | 172.5333 | 4.3267 | 204.9667 | 4.9467 | 199.8333 | 18.74 | 884 | 76.84 | 14.4313
2019-05-13 21:15:00 | 3.1067 | 180.97 | 3.5733 | 198.8667 | 3.8067 | 176 | 4.1633 | 191.5 | 18.5267 | 884 | 78.8833 | 12.0067
2019-05-13 21:30:00 | 3.1533 | 178.5433 | 3.6267 | 196.2 | 3.9467 | 189.4 | 4.1967 | 189.2333 | 18.2733 | 884 | 80.8233 | 11.4467
2019-05-13 21:45:00 | 3.0167 | 166.9967 | 3.4733 | 183.5 | 3.79 | 192.9667 | 4.2267 | 202.4667 | 18.0333 | 884 | 83 | 9.1767
2019-05-13 22:00:00 | 3.3167 | 153.77 | 3.8133 | 168.9667 | 4.2233 | 193.6333 | 4.6667 | 193.0667 | 17.984 | 884 | 84.0667 | 7.9953
2019-05-13 22:15:00 | 3.0333 | 179.9067 | 3.4967 | 197.7 | 3.7567 | 205.0667 | 4.1933 | 188.8667 | 17.9133 | 884.7333 | 84.9333 | 8.5733
2019-05-13 22:30:00 | 3.1 | 158.4933 | 3.5633 | 174.1667 | 3.8967 | 182.0667 | 4.46 | 197.8 | 17.8333 | 885 | 85.6 | 11.3387
2019-05-13 22:45:00 | 3.6133 | 163.0533 | 4.1567 | 179.1667 | 4.3833 | 201 | 5.1267 | 194.6 | 17.72 | 885 | 86.3333 | 12.0773
2019-05-13 23:00:00 | 3.6267 | 163.1733 | 4.17 | 179.3 | 4.334 | 198.6667 | 5.0467 | 214.6 | 17.668 | 885 | 87.2 | 11.4493
2019-05-13 23:15:00 | 3.35 | 136.3167 | 3.8567 | 149.8 | 4.1067 | 183.3667 | 4.8267 | 185.1667 | 17.52 | 884.2667 | 88.8667 | 9.8233
2019-05-13 23:30:00 | 3.01 | 161.01 | 3.4633 | 176.9333 | 3.8067 | 191.1 | 4.74 | 190.9 | 17.3867 | 884 | 90.2667 | 8.006
2019-05-13 23:45:00 | 2.64 | 133.636 | 3.0347 | 146.8467 | 3.472 | 169.1267 | 3.9013 | 190.9467 | 17.252 | 884 | 91.1267 | 6.5387