## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-14 00:00:00 | 2.785 | 139.6179 | 3.2029 | 153.4214 | 3.3836 | 172.1857 | 3.7436 | 172.8429 | 17.1614 | 884 | 91.4636 | 7.4129
2019-05-14 00:15:00 | 2.88 | 147.0333 | 3.3133 | 161.5667 | 3.48 | 191.4333 | 3.91 | 198.7333 | 17.0567 | 884 | 91.5733 | 9.4687
2019-05-14 00:30:00 | 2.98 | 181.9133 | 3.44 | 199.9 | 3.8133 | 188.7 | 4.3367 | 209.3333 | 17.03 | 884 | 91.6 | 9.95
2019-05-14 00:45:00 | 2.9067 | 198.4167 | 3.3567 | 218.0333 | 3.5467 | 180 | 4.0033 | 178.0667 | 16.8467 | 884 | 92.4667 | 7.4587
2019-05-14 01:00:00 | 2.8133 | 164.2633 | 3.2367 | 180.5 | 3.6 | 201.8 | 4.13 | 195.2667 | 16.72 | 884 | 93.5333 | 6.7873
2019-05-14 01:15:00 | 2.92 | 152.18 | 3.3567 | 167.2333 | 3.73 | 192.6333 | 4.17 | 200.3667 | 16.6433 | 883.2667 | 94.5 | 8.642
2019-05-14 01:30:00 | 2.9067 | 157.8333 | 3.3433 | 173.4333 | 3.7967 | 195.7 | 4.03 | 200.9 | 16.5433 | 883 | 95.6333 | 15.0907
2019-05-14 01:45:00 | 3.42 | 171.63 | 3.94 | 188.6 | 4.2933 | 196.0867 | 5.0967 | 206.3333 | 16.28 | 883 | 97.6 | 12.574
2019-05-14 02:00:00 | 2.8067 | 180.97 | 3.2267 | 198.8667 | 3.6 | 206.7667 | 3.71 | 211.6667 | 16.16 | 883 | 98.3333 | 13.444
2019-05-14 02:15:00 | 3.0233 | 138.48 | 3.48 | 152.1667 | 3.73 | 189.0667 | 4.5133 | 178.6333 | 16.068 | 882.2667 | 99.0667 | 19.4267
2019-05-14 02:30:00 | 3.756 | 182.192 | 4.318 | 200.2 | 4.52 | 203.02 | 5.51 | 191.74 | 15.986 | 882 | 99.38 | 21.6793
2019-05-14 02:45:00 | 4.0733 | 150.7267 | 4.6867 | 165.6333 | 5.04 | 190.6667 | 5.9933 | 191.8 | 15.8367 | 882 | 99.9067 | 17.494
2019-05-14 03:00:00 | 4.182 | 157.758 | 4.806 | 173.36 | 4.93 | 188.6 | 5.928 | 198.68 | 15.754 | 882 | 100 | 16.738
2019-05-14 03:15:00 | 4.0867 | 163.99 | 4.6967 | 180.2 | 4.7333 | 190.3667 | 5.8267 | 184.5 | 15.6633 | 882 | 100 | 15.9567
2019-05-14 03:30:00 | 3.9 | 165.7433 | 4.4833 | 182.1333 | 4.4933 | 172.9667 | 5.4267 | 174.5667 | 15.6033 | 882 | 100 | 10.072
2019-05-14 03:45:00 | 3.2 | 150.9467 | 3.6767 | 165.8667 | 3.7867 | 155.8667 | 4.1567 | 187.3667 | 15.5067 | 881.2667 | 100 | 5.4907
2019-05-14 04:00:00 | 2.68 | 156.4067 | 3.09 | 171.8667 | 3.24 | 170.2667 | 3.7167 | 180.3667 | 15.456 | 881 | 100 | 5.7167
2019-05-14 04:15:00 | 2.58 | 170.0833 | 2.9667 | 186.9 | 3.14 | 196.8333 | 3.6067 | 185 | 15.3967 | 881 | 100 | 4.0207
2019-05-14 04:30:00 | 2.3267 | 165.53 | 2.68 | 181.9 | 2.9133 | 186.1667 | 3.5933 | 191.4 | 15.362 | 881 | 100 | 3.1827
2019-05-14 04:45:00 | 2.2567 | 173.58 | 2.6033 | 190.7333 | 3.11 | 217.3 | 3.07 | 204.3333 | 15.2967 | 881 | 100 | 4.01
2019-05-14 05:00:00 | 2.0833 | 171.3333 | 2.3967 | 188.2667 | 3.13 | 225.7 | 3.1033 | 222 | 15.262 | 881 | 100 | 4.9893
2019-05-14 05:15:00 | 2.54 | 176.3567 | 2.9233 | 193.8 | 3.78 | 211.3 | 4.0067 | 214.5 | 15.36 | 881 | 100 | 6.2787
2019-05-14 05:30:00 | 2.6067 | 176.91 | 3.0033 | 194.4 | 3.7333 | 214.5 | 4.2133 | 220.3 | 15.36 | 881 | 100 | 6
2019-05-14 05:45:00 | 2.4133 | 180.4533 | 2.7833 | 198.3 | 3.46 | 220.8333 | 4.08 | 231.4 | 15.3387 | 881 | 100 | 5.916
2019-05-14 06:00:00 | 2.4133 | 169.0467 | 2.7833 | 185.7667 | 3.3867 | 223.8333 | 3.92 | 223.7333 | 15.336 | 880.6 | 100 | 5.4867
2019-05-14 06:15:00 | 2.1967 | 179.8533 | 2.5233 | 197.6333 | 2.8267 | 210.2 | 3.1967 | 198.4 | 15.3293 | 880 | 100 | 5.6447
2019-05-14 06:30:00 | 2.3767 | 149.88 | 2.73 | 164.7 | 2.9267 | 200.3333 | 3.3567 | 191 | 15.332 | 880 | 100 | 5.5207
2019-05-14 06:45:00 | 2.6367 | 163.0467 | 3.03 | 179.1667 | 3.13 | 197.6 | 3.5667 | 185.22 | 15.374 | 880 | 100 | 8.4867
2019-05-14 07:00:00 | 2.71 | 159.4733 | 3.1167 | 175.2333 | 3.2033 | 180.8 | 3.6467 | 188.3667 | 15.3633 | 880 | 100 | 8.336
2019-05-14 07:15:00 | 2.68 | 150.55 | 3.0867 | 165.4333 | 3.1267 | 169.4 | 3.5933 | 173.8 | 15.3393 | 880 | 100 | 7.9667
2019-05-14 07:30:00 | 3.1467 | 165.65 | 3.6267 | 182.0333 | 3.66 | 174.2 | 3.9067 | 185.4667 | 15.326 | 880 | 100 | 8.4427
2019-05-14 07:45:00 | 2.4 | 158.9567 | 2.76 | 174.6667 | 2.8967 | 205.9667 | 3.4933 | 202.7 | 15.2747 | 880 | 100 | 7.388
2019-05-14 08:00:00 | 2.4667 | 176.79 | 2.84 | 194.2667 | 3.1033 | 164.1667 | 3.5667 | 196.5 | 15.212 | 880.4 | 100 | 6.844
2019-05-14 08:15:00 | 2.3967 | 129.4367 | 2.76 | 142.2333 | 2.7133 | 177.4 | 3.2833 | 188 | 15.2153 | 881 | 100 | 6.4187
2019-05-14 08:30:00 | 2.41 | 143.81 | 2.78 | 158.0333 | 2.7467 | 178.2667 | 3.03 | 186.3333 | 15.23 | 881 | 100 | 4.4407
2019-05-14 08:45:00 | 1.5433 | 141.36 | 1.78 | 155.3333 | 1.7167 | 183.8667 | 1.9467 | 179.3 | 15.2513 | 881 | 100 | 3.976
2019-05-14 09:00:00 | 1.6167 | 172.96 | 1.8667 | 190.0667 | 1.7433 | 206.4 | 2.2133 | 208.7667 | 15.254 | 881 | 100 | 4.194
2019-05-14 09:15:00 | 1.742 | 145.302 | 2.002 | 159.66 | 1.904 | 201.02 | 2.292 | 204.3 | 15.252 | 881 | 100 | 4.236
2019-05-14 09:30:00 | 2.0633 | 159.71 | 2.37 | 175.5 | 2.3867 | 181.9 | 2.5933 | 197.3 | 15.244 | 881 | 100 | 4.9333
2019-05-14 09:45:00 | 2.0733 | 145.6 | 2.3967 | 160 | 2.3633 | 183.1667 | 3.1133 | 203.2 | 15.2187 | 881 | 100 | 4.2353
2019-05-14 10:00:00 | 1.5867 | 150.4533 | 1.8367 | 165.3333 | 1.8033 | 197.7667 | 2.64 | 211.9333 | 15.172 | 881 | 100 | 3.3553
2019-05-14 10:15:00 | 1.4067 | 156.3667 | 1.62 | 171.8333 | 1.5233 | 174.3667 | 2.6533 | 190.8667 | 15.3013 | 881.0667 | 100 | 2.048
2019-05-14 10:30:00 | 1.4733 | 144.2333 | 1.7 | 158.5 | 1.81 | 170.9667 | 2.2333 | 212.3333 | 15.36 | 882 | 100 | 2.002
2019-05-14 10:45:00 | 0.95333 | 158.86 | 1.1 | 174.5667 | 1.0967 | 199.1 | 1.3767 | 193.9 | 15.4253 | 882 | 100 | 1.0707
2019-05-14 11:00:00 | 1.6 | 152.74 | 1.84 | 167.8333 | 1.9633 | 189.9667 | 2.3233 | 190.5667 | 15.54 | 882 | 100 | 1.0493
2019-05-14 11:15:00 | 2.04 | 137.0833 | 2.35 | 150.6333 | 2.54 | 174.4333 | 3.0667 | 182.7667 | 15.7133 | 882 | 100 | 0.022
2019-05-14 11:30:00 | 1.4 | 146.1833 | 1.61 | 160.6333 | 1.4733 | 174.3667 | 2.06 | 176.3667 | 15.9467 | 882 | 100 | 0
2019-05-14 11:45:00 | 1.2993 | 154.5013 | 1.4933 | 169.7667 | 1.4893 | 192.1867 | 2.1027 | 191.92 | 15.838 | 882 | 100 | 0
2019-05-14 12:00:00 | 0.70667 | 172.72 | 0.81333 | 189.8 | 0.89333 | 218.5667 | 1.1633 | 213.9333 | 15.7867 | 882 | 100 | 0
2019-05-14 12:15:00 | 0.093333 | 146.06 | 0.11333 | 160.5 | 0 | 203.3 | 0.013333 | 175.8333 | 16.22 | 882 | 100 | 0
2019-05-14 12:30:00 | 0 | 147.48 | 0 | 162.06 | 0 | 150.26 | 0.036 | 85.806 | 16.778 | 882 | 100 | 0
2019-05-14 12:45:00 | 0.14 | 303.2733 | 0.16333 | 333.2667 | 0.086667 | 311.1 | 0.14 | 276.7667 | 17.3433 | 882 | 98.9667 | 0
2019-05-14 13:00:00 | 0.48667 | 118.62 | 0.56333 | 130.3533 | 0.66 | 338.2333 | 0.54667 | 319.7 | 18.0233 | 882.4 | 96.5667 | 0
2019-05-14 13:15:00 | 0.79667 | 10.28 | 0.92 | 11.29 | 0.86667 | 8.2767 | 0.69333 | 17.06 | 18.362 | 883 | 94.4667 | 0
2019-05-14 13:30:00 | 1.09 | 7.8667 | 1.26 | 8.6367 | 1.2733 | 1.6367 | 1.3533 | 11.6133 | 18.2967 | 882.6 | 94 | 0
2019-05-14 13:45:00 | 0.48067 | 33.8127 | 0.55267 | 37.1553 | 0.59467 | 19.2233 | 0.66667 | 47.1427 | 18.4467 | 882 | 93.2933 | 0
2019-05-14 14:00:00 | 0.77333 | 3.4067 | 0.89333 | 3.7433 | 0.73333 | 16.0267 | 0.46 | 134.7467 | 18.83 | 882 | 91 | 0
2019-05-14 14:15:00 | 1.37 | 34.0267 | 1.5867 | 37.3867 | 2.2633 | 17.1767 | 2.1233 | 27.7967 | 19.75 | 882 | 87.6667 | 0
2019-05-14 14:30:00 | 2.2367 | 30.4133 | 2.5733 | 33.42 | 3.1767 | 19.69 | 3.03 | 29.0633 | 20.8167 | 882 | 83.2 | 0
2019-05-14 14:45:00 | 2.3933 | 229.39 | 2.7533 | 252.0733 | 4.0133 | 18.5567 | 3.6367 | 24.1633 | 20.7433 | 882 | 82.2 | 0
2019-05-14 15:00:00 | 2.1733 | 50.1233 | 2.5 | 55.0733 | 4.02 | 4.6233 | 3.5367 | 6.13 | 20.3967 | 882 | 84.2 | 0
2019-05-14 15:15:00 | 1.6867 | 287.8067 | 1.9433 | 316.2667 | 2.4367 | 19.1733 | 2.3633 | 4.9733 | 20.3953 | 882 | 82.0333 | 0
2019-05-14 15:30:00 | 1.1933 | 124.5 | 1.3833 | 136.8133 | 1.6967 | 232.7133 | 1.7367 | 6.5933 | 20.25 | 882 | 82.1667 | 0
2019-05-14 15:45:00 | 1.24 | 299.3733 | 1.44 | 328.9667 | 2.0033 | 342.8333 | 1.9467 | 351.1 | 20.43 | 881.9333 | 79.4467 | 0
2019-05-14 16:00:00 | 0.70667 | 302.7067 | 0.82 | 332.6333 | 1.3433 | 334.3667 | 1.2667 | 333.7667 | 20.59 | 881 | 78.8533 | 0
2019-05-14 16:15:00 | 0.36667 | 266.6567 | 0.42333 | 293.0333 | 0.53333 | 336.7 | 0.22667 | 225.3467 | 21.3267 | 881 | 73.6 | 0
2019-05-14 16:30:00 | 0.23333 | 299.2433 | 0.27 | 328.8333 | 0.32 | 356.9 | 0.42 | 233.68 | 21.8467 | 881 | 70.22 | 0
2019-05-14 16:45:00 | 0.92667 | 295.87 | 1.07 | 325.1333 | 1.5533 | 7.6133 | 1.6433 | 9.6967 | 22.2533 | 881.7333 | 68.8967 | 0
2019-05-14 17:00:00 | 1.5533 | 300.1767 | 1.7967 | 329.8667 | 2.64 | 11.2867 | 2.2033 | 12.39 | 22.62 | 882 | 69.73 | 0
2019-05-14 17:15:00 | 1.6333 | 16.63 | 1.88 | 18.2667 | 2.99 | 2.93 | 2.7633 | 167.6667 | 22.55 | 882 | 70.63 | 0
2019-05-14 17:30:00 | 1.66 | 13.8033 | 1.9133 | 15.16 | 3.11 | 9.65 | 2.95 | 135.46 | 22.9567 | 882 | 67.85 | 0
2019-05-14 17:45:00 | 2.166 | 182.5793 | 2.492 | 200.6373 | 4.0653 | 3.0573 | 3.7487 | 23.5353 | 22.57 | 882 | 70.7173 | 0.042
2019-05-14 18:00:00 | 2.3167 | 18.8367 | 2.6667 | 20.6967 | 4.25 | 17.6267 | 4.06 | 17.4433 | 22.35 | 882 | 72.4267 | 1.0187
2019-05-14 18:15:00 | 2.5 | 173.2733 | 2.8733 | 190.4 | 4.75 | 18.4467 | 4.6533 | 22.5467 | 21.78 | 882 | 74.6267 | 0.58533
2019-05-14 18:30:00 | 2.0333 | 148.4533 | 2.34 | 163.1333 | 3.8767 | 17.34 | 3.7933 | 24.2933 | 21.42 | 882.4 | 75.8267 | 1.2713
2019-05-14 18:45:00 | 2.8133 | 64.5867 | 3.2333 | 70.9667 | 5.3667 | 18.09 | 5.0967 | 27.8367 | 20.46 | 882.9333 | 78.98 | 6.1907
2019-05-14 19:00:00 | 2.9387 | 188.9507 | 3.3827 | 207.6267 | 5.6667 | 13.042 | 5.3793 | 24.8167 | 19.5867 | 882 | 82.8733 | 4.77
2019-05-14 19:15:00 | 2.54 | 222.7 | 2.92 | 244.72 | 4.6667 | 21.8 | 4.5233 | 23.03 | 18.93 | 882 | 84.8667 | 4.5473
2019-05-14 19:30:00 | 2.3667 | 186.7333 | 2.7267 | 205.1867 | 4.3133 | 16.4267 | 4.3567 | 20.2967 | 18.6967 | 882 | 85.24 | 3.5873
2019-05-14 19:45:00 | 2.0533 | 308.9533 | 2.3633 | 339.5 | 4.0133 | 236.35 | 3.77 | 235.4867 | 18.3767 | 881.2667 | 85.6667 | 5.7293
2019-05-14 20:00:00 | 2.52 | 126.5267 | 2.9033 | 139.04 | 4.9467 | 240.2167 | 4.91 | 236.0867 | 17.95 | 881 | 87.6667 | 8.714
2019-05-14 20:15:00 | 2.8867 | 223.0667 | 3.32 | 245.1333 | 5.5433 | 240.0067 | 5.31 | 59.85 | 17.7 | 881 | 87.9333 | 14.2067
2019-05-14 20:30:00 | 3.0533 | 113.6 | 3.5133 | 124.84 | 5.81 | 4.2133 | 5.65 | 15.65 | 17.4667 | 881 | 88.6 | 16.452
2019-05-14 20:45:00 | 3.19 | 155.97 | 3.6667 | 171.39 | 5.7967 | 118.6667 | 5.88 | 1.7733 | 17.3333 | 881 | 88.5667 | 19.884
2019-05-14 21:00:00 | 3.15 | 28.1633 | 3.62 | 30.9433 | 5.51 | 349.1667 | 5.52 | 21.3333 | 17.372 | 881 | 88.06 | 22.2547
2019-05-14 21:15:00 | 4.1467 | 292.12 | 4.7767 | 321 | 7.1967 | 230.53 | 6.7533 | 10.3333 | 17.43 | 881 | 87.3333 | 22.1273
2019-05-14 21:30:00 | 4.22 | 284.0467 | 4.8567 | 312.1333 | 7.7233 | 0.32333 | 7.4267 | 57.4333 | 17.23 | 881.4 | 88.1333 | 17.772
2019-05-14 21:45:00 | 4.0367 | 107.11 | 4.6467 | 117.6933 | 7.24 | 355.7 | 7.17 | 13.3767 | 17.24 | 882 | 87.6 | 15.502
2019-05-14 22:00:00 | 3.3033 | 217.95 | 3.8 | 239.5 | 6.0333 | 129.24 | 5.9233 | 16.73 | 17.1333 | 882 | 87.9333 | 10.032
2019-05-14 22:15:00 | 3 | 77.34 | 3.4467 | 84.98 | 5.5667 | 23.4567 | 5.6 | 20.5767 | 16.8567 | 882 | 89.5 | 6.7193
2019-05-14 22:30:00 | 2.78 | 269.18 | 3.1933 | 295.8 | 5.4667 | 16.07 | 5.9333 | 20.7233 | 16.4967 | 882.4 | 91.4333 | 10.962
2019-05-14 22:45:00 | 2.8333 | 95.2933 | 3.2633 | 104.7133 | 5.2733 | 108.2467 | 5.3467 | 17.76 | 16.3013 | 883 | 92.2333 | 9.4807
2019-05-14 23:00:00 | 3 | 291.2267 | 3.45 | 320.0333 | 5.1467 | 94.8933 | 5.1067 | 14.0133 | 16.3933 | 883 | 91.7 | 10.6613
2019-05-14 23:15:00 | 2.7467 | 285.7467 | 3.1567 | 314 | 5.0967 | 12.3133 | 5.22 | 16.3033 | 16.402 | 883 | 91.3667 | 9.3593
2019-05-14 23:30:00 | 2.5733 | 314.1933 | 2.9567 | 345.2667 | 4.8367 | 10.9667 | 4.9333 | 11.69 | 16.25 | 883 | 92.1 | 10.964
2019-05-14 23:45:00 | 3.2133 | 296.4867 | 3.6967 | 325.8067 | 5.8967 | 11.6033 | 6.0067 | 19.4167 | 16.226 | 883 | 92.2067 | 12.398