## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-15 00:00:00 | 3.4971 | 273.6514 | 4.0321 | 300.7071 | 6.3679 | 5.2 | 6.51 | 10.5336 | 16.1993 | 882.6429 | 92.3 | 15.2279
2019-05-15 00:15:00 | 3.84 | 110.3733 | 4.4233 | 121.2933 | 6.6033 | 122.8533 | 6.31 | 122.0867 | 16.3633 | 882 | 91.2 | 18.4593
2019-05-15 00:30:00 | 4.0133 | 301.7867 | 4.6233 | 331.6333 | 6.81 | 156.5667 | 6.65 | 119.7533 | 16.3433 | 882 | 91.2667 | 23.3887
2019-05-15 00:45:00 | 3.9133 | 96.0667 | 4.5033 | 105.56 | 6.6133 | 15.3767 | 6.2867 | 8.3433 | 16.2 | 882 | 92.1 | 30.994
2019-05-15 01:00:00 | 4.3133 | 295.6867 | 4.97 | 324.9333 | 7.06 | 16.85 | 6.9333 | 15.99 | 16.06 | 882 | 93.2333 | 26.4373
2019-05-15 01:15:00 | 4.6733 | 106.61 | 5.3767 | 117.1467 | 7.92 | 231.8633 | 7.6367 | 231.7233 | 15.85 | 882 | 94.5333 | 30.5693
2019-05-15 01:30:00 | 4.0867 | 104.7433 | 4.71 | 115.0933 | 7.34 | 121.2633 | 7.2433 | 9.8233 | 15.6833 | 882 | 95.2667 | 24.516
2019-05-15 01:45:00 | 4.36 | 32.0667 | 5.0133 | 35.2333 | 7.48 | 24.55 | 7.41 | 9.04 | 15.6453 | 882 | 95.1667 | 13.6847
2019-05-15 02:00:00 | 3.6733 | 22.0667 | 4.2267 | 24.2467 | 6.8733 | 17.67 | 6.81 | 4.8933 | 15.5267 | 882 | 95.5667 | 11.346
2019-05-15 02:15:00 | 2.7567 | 306.25 | 3.17 | 336.5333 | 5.07 | 19.9433 | 5.07 | 3.8467 | 15.4547 | 882 | 95.78 | 5.8927
2019-05-15 02:30:00 | 2.9767 | 283.9767 | 3.4233 | 312.0667 | 5.6433 | 248.53 | 5.5433 | 234.9667 | 15.38 | 882 | 95.9 | 7.098
2019-05-15 02:45:00 | 2.9033 | 137.0467 | 3.34 | 150.6 | 5.54 | 354.6333 | 5.4933 | 233.92 | 15.4047 | 882 | 95.4667 | 10.4633
2019-05-15 03:00:00 | 2.8167 | 304.5467 | 3.24 | 334.6667 | 5.4133 | 123.3667 | 5.4867 | 8.52 | 15.466 | 881.6 | 95 | 16.056
2019-05-15 03:15:00 | 3.2933 | 89 | 3.7933 | 97.8 | 6.4 | 3.11 | 6.6667 | 3.01 | 15.3167 | 881 | 95.8667 | 21.6327
2019-05-15 03:30:00 | 3.6267 | 91.9733 | 4.1733 | 101.0733 | 7.0333 | 9.1567 | 7.0467 | 13.5433 | 15.2633 | 881 | 96.4667 | 27.0533
2019-05-15 03:45:00 | 3.5267 | 192.5133 | 4.0533 | 211.54 | 6.8467 | 15.1367 | 7.2333 | 18.73 | 15.0633 | 881 | 97.5667 | 28.0347
2019-05-15 04:00:00 | 3.5733 | 5.26 | 4.1067 | 5.7667 | 6.7933 | 8.8233 | 7.0733 | 19.7833 | 15.006 | 881 | 98.4333 | 28.5533
2019-05-15 04:15:00 | 3.9767 | 104.8047 | 4.5867 | 115.166 | 6.5153 | 9.226 | 6.614 | 11.5073 | 15.1813 | 881 | 98.4 | 25.5513
2019-05-15 04:30:00 | 3.64 | 135.3833 | 4.19 | 148.7667 | 6.5067 | 11.54 | 6.4867 | 14.6933 | 15.1333 | 881 | 98.1333 | 22.7553
2019-05-15 04:45:00 | 3.7067 | 33.7633 | 4.26 | 37.1033 | 6.06 | 228.73 | 5.7933 | 26.3833 | 15.0733 | 881 | 97.9067 | 27.5707
2019-05-15 05:00:00 | 3.5067 | 14.8767 | 4.04 | 16.35 | 6.0733 | 227.0633 | 5.8467 | 19.2233 | 14.9667 | 881 | 98.3333 | 29.35
2019-05-15 05:15:00 | 3.55 | 96.52 | 4.0833 | 106.06 | 6.3967 | 333.8 | 6.2067 | 127.4867 | 14.8893 | 881 | 98.9067 | 27.5447
2019-05-15 05:30:00 | 3.7633 | 91.0067 | 4.33 | 100 | 6.9633 | 125.74 | 6.7467 | 126.1067 | 14.8333 | 881 | 99 | 34.1487
2019-05-15 05:45:00 | 4.4133 | 207.43 | 5.0833 | 227.94 | 7.7033 | 119.7733 | 7.6033 | 15.6833 | 14.78 | 881 | 99.0667 | 37.012
2019-05-15 06:00:00 | 4.9067 | 27.4233 | 5.6433 | 30.1267 | 7.7633 | 113.1333 | 7.79 | 12.0033 | 14.8267 | 881 | 99.16 | 40.902
2019-05-15 06:15:00 | 5.0267 | 227.6567 | 5.79 | 250.1733 | 7.9833 | 121.4533 | 7.7667 | 5.0867 | 14.8527 | 881 | 99.0933 | 42.394
2019-05-15 06:30:00 | 5.0533 | 226.69 | 5.81 | 249.1067 | 8.1367 | 120.06 | 7.7267 | 1.6867 | 14.878 | 881.4 | 98.8667 | 44.4647
2019-05-15 06:45:00 | 4.7933 | 109.4133 | 5.52 | 120.2333 | 8.18 | 47.9867 | 7.9033 | 9.2733 | 14.8233 | 882 | 99.04 | 46.504
2019-05-15 07:00:00 | 4.7667 | 306.2133 | 5.4867 | 336.5 | 8.12 | 39.0933 | 8.1833 | 14.7533 | 14.746 | 882 | 99.7333 | 48.024
2019-05-15 07:15:00 | 5.0267 | 118.94 | 5.7833 | 130.7 | 8.7767 | 5.6367 | 9.2367 | 5.2733 | 14.8867 | 882 | 99.7333 | 46.266
2019-05-15 07:30:00 | 4.3333 | 220.4333 | 4.9833 | 242.2333 | 8.0767 | 10.5967 | 8.55 | 13.5533 | 15.1133 | 882.4 | 98.9333 | 47.9373
2019-05-15 07:45:00 | 4.7133 | 182.16 | 5.4333 | 200.1667 | 8.5167 | 6.8933 | 9.0367 | 22.7733 | 15.3133 | 883 | 98.0667 | 49.1907
2019-05-15 08:00:00 | 5.5533 | 324.56 | 6.3933 | 356.66 | 9.4633 | 26.3533 | 9.0767 | 20 | 15.4133 | 883 | 96.9333 | 47.2253
2019-05-15 08:15:00 | 5.12 | 46.53 | 5.89 | 51.1267 | 8.46 | 51.8767 | 8.4233 | 11.2833 | 15.4667 | 883 | 96.68 | 46.916
2019-05-15 08:30:00 | 5.0133 | 73.79 | 5.7633 | 81.0867 | 8.84 | 12.83 | 9.01 | 8.35 | 15.5467 | 883.4 | 96.76 | 47.6033
2019-05-15 08:45:00 | 5.34 | 103.2867 | 6.14 | 113.5 | 8.8767 | 8.51 | 9.05 | 18.86 | 15.7267 | 884 | 95.9333 | 47.372
2019-05-15 09:00:00 | 5.9 | 261.96 | 6.7867 | 287.8667 | 9.95 | 13.2767 | 9.7433 | 11.8733 | 15.96 | 884 | 94.7333 | 49.8173
2019-05-15 09:15:00 | 6.34 | 264.9933 | 7.3 | 291.2 | 11.1333 | 10.28 | 10.8 | 16.78 | 16.2233 | 884 | 93.6333 | 48.3193
2019-05-15 09:30:00 | 6.5533 | 267.12 | 7.54 | 293.5333 | 11.5933 | 11.4267 | 11.4 | 15.7533 | 16.6033 | 884 | 92.5 | 48.9953
2019-05-15 09:45:00 | 6.4867 | 289.35 | 7.4567 | 317.9667 | 11.27 | 15.9767 | 10.87 | 22.6 | 17.1267 | 884.0667 | 90.1667 | 45.026
2019-05-15 10:00:00 | 5.7133 | 139.3167 | 6.57 | 153.0867 | 10.1767 | 9.0433 | 9.7967 | 11.0133 | 17.32 | 885 | 89.66 | 42.776
2019-05-15 10:15:00 | 5.8 | 289.71 | 6.6667 | 318.3667 | 10.1667 | 8.4833 | 9.9067 | 17.16 | 17.6 | 885 | 88.6333 | 39.4453
2019-05-15 10:30:00 | 5.4667 | 92.6567 | 6.2867 | 101.82 | 9.9333 | 16.3567 | 9.9933 | 19.26 | 17.8933 | 885 | 87.86 | 28.7473
2019-05-15 10:45:00 | 4.2867 | 162.5067 | 4.94 | 178.5667 | 8.08 | 14.1833 | 7.8367 | 21.1933 | 17.798 | 885.7333 | 88.4333 | 26.4427
2019-05-15 11:00:00 | 4.0867 | 95.3267 | 4.7 | 104.7467 | 7.2333 | 21.41 | 7.03 | 18.8867 | 17.546 | 886 | 88.86 | 20.48
2019-05-15 11:15:00 | 4.3333 | 45.0367 | 4.99 | 49.4833 | 7.71 | 113.3533 | 7.7267 | 7.4967 | 18 | 885.2667 | 88.6667 | 21.51
2019-05-15 11:30:00 | 4.52 | 197.1367 | 5.1967 | 216.63 | 8.31 | 104.98 | 8.2467 | 13.33 | 19.1667 | 885.4 | 85.5333 | 15.9113
2019-05-15 11:45:00 | 4.5367 | 72.1233 | 5.2333 | 79.2533 | 7.9133 | 19.9333 | 8.3233 | 19.5533 | 19.4267 | 886 | 81.9 | 11.3807
2019-05-15 12:00:00 | 3.7033 | 264.8833 | 4.2667 | 291.0667 | 7.0533 | 10.9267 | 7.43 | 21.7067 | 19.4667 | 886 | 83.6333 | 11.2587
2019-05-15 12:15:00 | 3.26 | 93.51 | 3.7533 | 102.75 | 6.1367 | 19.0867 | 6.2733 | 19.6933 | 19.05 | 886 | 83.4 | 17.8327
2019-05-15 12:30:00 | 3.4333 | 52.7967 | 3.9467 | 58.0167 | 6.3367 | 5.6267 | 6.4933 | 15.3867 | 18.6367 | 886 | 85.6667 | 13.7873
2019-05-15 12:45:00 | 3.14 | 296.36 | 3.61 | 325.6667 | 6.1433 | 13.17 | 6.3733 | 17.7733 | 18.6833 | 885.2667 | 87.0933 | 17.2367
2019-05-15 13:00:00 | 3.8267 | 151.8533 | 4.4033 | 166.8667 | 7.1633 | 239.5233 | 7.24 | 8.4733 | 18.7633 | 885 | 86.0667 | 27.172
2019-05-15 13:15:00 | 4.5533 | 312.58 | 5.24 | 343.5 | 8.3267 | 13.5567 | 8.13 | 8.0033 | 18.6033 | 885 | 85.8333 | 30.476
2019-05-15 13:30:00 | 4.9 | 113.0267 | 5.64 | 124.2067 | 8.4267 | 11.3433 | 8.0967 | 21.35 | 18.7767 | 885 | 85.7 | 31.6473
2019-05-15 13:45:00 | 4.7367 | 191.01 | 5.4533 | 209.8933 | 8.52 | 3.71 | 8.3267 | 8.15 | 19.1167 | 885 | 85.62 | 26.4007
2019-05-15 14:00:00 | 4.4167 | 122.2167 | 5.08 | 134.2933 | 8.3133 | 18.5167 | 8.1867 | 15.7767 | 19.31 | 885 | 85.6333 | 29.1273
2019-05-15 14:15:00 | 5.5033 | 110.87 | 6.3333 | 121.83 | 9.7433 | 15.91 | 9.5033 | 39.1133 | 19.4667 | 884.9333 | 84.1 | 32.8267
2019-05-15 14:30:00 | 6.0033 | 11.53 | 6.9067 | 12.6633 | 10.7167 | 14.3833 | 10.4767 | 38.38 | 19.5267 | 884 | 82.8333 | 35.3527
2019-05-15 14:45:00 | 6.16 | 292.6933 | 7.0833 | 321.6333 | 10.6607 | 12.1867 | 10.72 | 14.8533 | 20 | 884 | 80.7133 | 36.0113
2019-05-15 15:00:00 | 5.64 | 106.3 | 6.4967 | 116.8133 | 9.9167 | 6.8467 | 9.6867 | 17.82 | 20.4667 | 884 | 79.34 | 35.204
2019-05-15 15:15:00 | 5.5933 | 298.48 | 6.43 | 328 | 9.4433 | 21.82 | 9.3033 | 8.92 | 20.528 | 884 | 77.95 | 32.178
2019-05-15 15:30:00 | 5.0867 | 312.6733 | 5.8567 | 343.6 | 8.5033 | 8.5 | 8.4633 | 13.9733 | 20.54 | 884 | 77.61 | 28.966
2019-05-15 15:45:00 | 4.6067 | 313.1067 | 5.31 | 344.0667 | 8.1533 | 4.7067 | 8.14 | 7.4767 | 20.8967 | 884 | 77.8 | 23.5713
2019-05-15 16:00:00 | 4.0867 | 134.2 | 4.7033 | 147.46 | 7.3933 | 9.8067 | 7.6333 | 24.8433 | 20.9567 | 884 | 77.9467 | 22.6673
2019-05-15 16:15:00 | 4.0267 | 93.1933 | 4.64 | 102.4133 | 7.2333 | 126.3533 | 7.33 | 8.17 | 20.5967 | 884 | 78.4787 | 27.69
2019-05-15 16:30:00 | 4.2267 | 205.5133 | 4.8667 | 225.8333 | 7.6867 | 119.26 | 7.85 | 10.5367 | 20.3233 | 884 | 78.0933 | 38.2467
2019-05-15 16:45:00 | 5.2347 | 132.454 | 6.0207 | 145.5533 | 9.366 | 117.298 | 9.5107 | 57.636 | 20.2 | 884 | 75.8953 | 44.8013
2019-05-15 17:00:00 | 5.8 | 95.17 | 6.6733 | 104.5733 | 9.8 | 354.1 | 9.71 | 16.35 | 20.4333 | 883.6 | 73.4933 | 38.4527
2019-05-15 17:15:00 | 4.94 | 210.7 | 5.68 | 231.5367 | 8.5433 | 4.9733 | 8.7 | 6.5333 | 20.6233 | 883 | 73.4467 | 28.2693
2019-05-15 17:30:00 | 4.8667 | 209.3733 | 5.6 | 230.07 | 8.4233 | 5.3267 | 8.3533 | 8.6667 | 20.6567 | 883 | 72.8867 | 29.526
2019-05-15 17:45:00 | 4.4933 | 85.7467 | 5.17 | 94.2267 | 7.8533 | 0.52333 | 7.7533 | 5.6467 | 20.4667 | 883 | 72.9387 | 30.814
2019-05-15 18:00:00 | 4.7733 | 225.5333 | 5.4967 | 247.8333 | 8.22 | 229.0033 | 8.02 | 7.8333 | 20.316 | 883 | 73.264 | 36.766
2019-05-15 18:15:00 | 5.06 | 107.4133 | 5.8233 | 118.0333 | 8.4067 | 338.1 | 8.1933 | 2.5467 | 20.3313 | 883 | 72.716 | 35.6853
2019-05-15 18:30:00 | 4.7267 | 158.2267 | 5.4367 | 173.8667 | 8.26 | 129.2533 | 7.8533 | 3.6 | 20.19 | 883 | 73.3133 | 23.2447
2019-05-15 18:45:00 | 3.7833 | 219.0967 | 4.36 | 240.7667 | 6.84 | 18.0033 | 7.09 | 22.0567 | 20.1133 | 883.0667 | 73.4467 | 8.0107
2019-05-15 19:00:00 | 2.0367 | 296.45 | 2.34 | 325.7667 | 3.48 | 237.23 | 3.5767 | 11.7833 | 20.2333 | 884 | 72.4667 | 2.9027
2019-05-15 19:15:00 | 0.84 | 118.5967 | 0.96667 | 130.3267 | 1.6367 | 8.19 | 2.19 | 20.99 | 20.1873 | 884 | 71.8133 | 0.86533
2019-05-15 19:30:00 | 0.72667 | 273.222 | 0.84 | 300.24 | 1.4433 | 25.1367 | 2.13 | 34.8033 | 20.146 | 884 | 70.8533 | 1.418
2019-05-15 19:45:00 | 1.3467 | 320.33 | 1.5533 | 352 | 2.6433 | 23.67 | 2.6967 | 34.53 | 20.0533 | 884 | 71.6433 | 2.322
2019-05-15 20:00:00 | 1.728 | 310.048 | 1.986 | 340.7 | 3.396 | 12.704 | 3.512 | 14.704 | 19.734 | 884 | 73.878 | 4.434
2019-05-15 20:15:00 | 1.9093 | 305.0453 | 2.2087 | 335.2067 | 3.704 | 4.456 | 3.8133 | 12.586 | 19.1373 | 884 | 77.086 | 3.3613
2019-05-15 20:30:00 | 1.87 | 312.5933 | 2.16 | 343.5 | 3.3267 | 6.52 | 3.48 | 4.48 | 18.8367 | 884 | 78.478 | 4.1773
2019-05-15 20:45:00 | 1.9633 | 314.66 | 2.2733 | 345.7667 | 3.6367 | 11.6333 | 3.8467 | 9.7467 | 18.7253 | 884 | 79.002 | 4.77
2019-05-15 21:00:00 | 1.91 | 318.1667 | 2.2 | 349.6333 | 3.69 | 19.8933 | 3.56 | 9.32 | 18.4933 | 884 | 80.73 | 5.4047
2019-05-15 21:15:00 | 2.14 | 20.19 | 2.46 | 22.1833 | 3.79 | 26.78 | 3.5133 | 24.108 | 18.5733 | 884 | 80.5333 | 6.452
2019-05-15 21:30:00 | 2.18 | 195.7967 | 2.5067 | 215.15 | 4.0633 | 22.0533 | 4.2333 | 24.1467 | 18.52 | 884 | 83.8667 | 7.7207
2019-05-15 21:45:00 | 2.4967 | 107.6 | 2.8733 | 118.2333 | 4.57 | 19.3267 | 4.72 | 27.4133 | 18.2267 | 884 | 85.8333 | 8.4727
2019-05-15 22:00:00 | 2.37 | 300.6667 | 2.7333 | 330.4 | 4.65 | 24.7867 | 4.336 | 22.8733 | 18.092 | 884 | 86.34 | 8.5613
2019-05-15 22:15:00 | 2.42 | 96.1033 | 2.7867 | 105.6 | 4.7567 | 13.6733 | 4.5333 | 21.7733 | 17.9233 | 884.7333 | 87 | 6.65
2019-05-15 22:30:00 | 2.3333 | 296.15 | 2.68 | 325.4333 | 4.11 | 13.5733 | 4.1267 | 25.9067 | 18.0433 | 885 | 85.6667 | 9.8887
2019-05-15 22:45:00 | 2.5587 | 86.6687 | 2.95 | 95.2367 | 4.6973 | 12.4853 | 4.5627 | 17.0553 | 18.1287 | 885 | 85.1 | 18.658
2019-05-15 23:00:00 | 3.3 | 310.25 | 3.8033 | 340.9333 | 6.08 | 12.1167 | 6.08 | 19.3333 | 18.03 | 885 | 85.6333 | 29.572
2019-05-15 23:15:00 | 3.9933 | 107.61 | 4.59 | 118.2533 | 7.0433 | 8.7667 | 7.2133 | 13.5333 | 17.78 | 884.2667 | 86.9333 | 31.9953
2019-05-15 23:30:00 | 4.1133 | 321.8367 | 4.73 | 353.6667 | 7.4367 | 5.8467 | 7.52 | 10.7333 | 17.7 | 884 | 87.3333 | 22.6133
2019-05-15 23:45:00 | 3.3933 | 215.4233 | 3.9133 | 236.7267 | 5.8967 | 19.1867 | 6.31 | 8.2167 | 17.6687 | 884 | 87.1267 | 18.6307