## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-16 00:00:00 | 3.4864 | 210.2843 | 4.0121 | 231.0786 | 6.0686 | 25.6064 | 6.3229 | 13.4893 | 17.6793 | 884 | 86.5571 | 19.3921
2019-05-16 00:15:00 | 3.702 | 309.432 | 4.258 | 340.02 | 6.654 | 9.24 | 6.736 | 14.244 | 17.666 | 884 | 86.5267 | 17.3867
2019-05-16 00:30:00 | 3.7567 | 122.4467 | 4.3233 | 134.5467 | 6.29 | 238.4267 | 6.3067 | 9.8 | 17.9033 | 884 | 85.9667 | 22.822
2019-05-16 00:45:00 | 3.9067 | 121.5533 | 4.5033 | 133.5667 | 6.6367 | 9.6567 | 6.9633 | 13.97 | 17.8413 | 884 | 85.7333 | 29.2753
2019-05-16 01:00:00 | 4.3067 | 111.38 | 4.9633 | 122.3867 | 7.5567 | 7.3367 | 7.6233 | 11.6233 | 17.72 | 883.6 | 86.1333 | 29.0893
2019-05-16 01:15:00 | 3.82 | 208.67 | 4.4 | 229.3033 | 7.1033 | 7.95 | 7.6833 | 11.6167 | 17.4033 | 883.6667 | 87.3667 | 23.318
2019-05-16 01:30:00 | 3.66 | 211.1567 | 4.22 | 232.0367 | 6.9767 | 10.5567 | 7.3833 | 12.2633 | 17.282 | 883 | 87.7 | 24.7987
2019-05-16 01:45:00 | 4.32 | 289.8733 | 4.9733 | 318.5333 | 7.7933 | 13.2867 | 7.7267 | 6.4667 | 17.2533 | 883 | 87.4667 | 27.0347
2019-05-16 02:00:00 | 4.38 | 107.0333 | 5.0467 | 117.6133 | 7.7133 | 13.2533 | 7.9667 | 9.1533 | 17.216 | 883 | 87.8 | 27.4833
2019-05-16 02:15:00 | 4.5867 | 308.8967 | 5.2767 | 339.4333 | 7.3667 | 15.41 | 7.3633 | 16.87 | 17.0313 | 882.2667 | 90.0067 | 22.2727
2019-05-16 02:30:00 | 4.2 | 256.1767 | 4.8367 | 281.5 | 6.9 | 18.89 | 7.0367 | 18.9633 | 16.9833 | 882 | 89.9 | 22.3927
2019-05-16 02:45:00 | 3.5867 | 11.8967 | 4.13 | 13.06 | 6.9567 | 16.7867 | 7.2 | 15.8767 | 16.7 | 882 | 90.7 | 26.2613
2019-05-16 03:00:00 | 3.75 | 13.538 | 4.32 | 14.874 | 7.22 | 14.126 | 7.52 | 20.176 | 16.498 | 882 | 91.2 | 31.5707
2019-05-16 03:15:00 | 4.2533 | 219.3033 | 4.8933 | 240.9833 | 7.4367 | 7.6467 | 7.46 | 15.18 | 16.4367 | 882 | 90.6933 | 33.6633
2019-05-16 03:30:00 | 4.68 | 197.9433 | 5.3867 | 217.5167 | 7.5767 | 9.7867 | 7.38 | 18.2467 | 16.6767 | 882 | 88.4667 | 32.8507
2019-05-16 03:45:00 | 4.5933 | 102.3967 | 5.2867 | 112.5267 | 7.6573 | 14.3867 | 7.7067 | 16.74 | 16.63 | 882 | 88.9333 | 30.9733
2019-05-16 04:00:00 | 4.3933 | 305.1833 | 5.06 | 335.3667 | 7.8133 | 12.1667 | 7.74 | 24.3 | 16.53 | 882 | 89.16 | 31.652
2019-05-16 04:15:00 | 4.4027 | 207.7107 | 5.0753 | 228.2547 | 7.2507 | 4.8753 | 7.2093 | 23.8087 | 16.4973 | 881.9333 | 88.7467 | 32.5233
2019-05-16 04:30:00 | 4.3333 | 15.5433 | 4.9933 | 17.0733 | 7.2733 | 13.4 | 7.3933 | 20.1633 | 16.4533 | 881 | 89.1333 | 35.006
2019-05-16 04:45:00 | 4.5367 | 304.1833 | 5.2267 | 334.2667 | 7.6533 | 121.96 | 8.0867 | 20.2667 | 16.2993 | 881 | 89.9 | 34.5393
2019-05-16 05:00:00 | 4.4567 | 150.81 | 5.1267 | 165.72 | 6.9733 | 126.4333 | 7.1733 | 14.9667 | 16.35 | 881 | 89.1 | 32.5687
2019-05-16 05:15:00 | 4.0533 | 273.7033 | 4.6733 | 300.7667 | 7.1267 | 9.19 | 7.2033 | 20.7667 | 16.2467 | 881 | 89.6933 | 32.2373
2019-05-16 05:30:00 | 4.3467 | 92.2167 | 5 | 101.3333 | 6.9933 | 18.0633 | 7.5233 | 19.9733 | 16.2267 | 881 | 89.2667 | 34.6767
2019-05-16 05:45:00 | 4.58 | 210.59 | 5.2667 | 231.4067 | 7.4633 | 8.25 | 8.0567 | 15.7033 | 16.17 | 881 | 89.4667 | 37.7693
2019-05-16 06:00:00 | 4.98 | 2.57 | 5.7267 | 2.82 | 8.05 | 6.19 | 8.55 | 17.7567 | 16.0233 | 881 | 90.2 | 41.0713
2019-05-16 06:15:00 | 4.9 | 213.7933 | 5.6433 | 234.9333 | 7.7067 | 3.3933 | 7.97 | 13.4133 | 15.9673 | 881 | 90.3333 | 39.812
2019-05-16 06:30:00 | 5.0733 | 298.1867 | 5.8367 | 327.6667 | 7.9467 | 227.3533 | 7.9433 | 19.8267 | 15.85 | 881 | 91.0667 | 39.1867
2019-05-16 06:45:00 | 5.22 | 114.0667 | 6.0033 | 125.34 | 7.13 | 344.46 | 6.8967 | 32.69 | 15.8327 | 881 | 90.8 | 40.6093
2019-05-16 07:00:00 | 5.1867 | 131.0667 | 5.9767 | 144.0333 | 8.0367 | 343.9 | 8.3433 | 9.3967 | 15.858 | 881 | 90.7333 | 41.6047
2019-05-16 07:15:00 | 5.02 | 284.4733 | 5.7767 | 312.6 | 8.2533 | 106.5 | 8.384 | 8.67 | 15.8033 | 881 | 91.7667 | 38.5727
2019-05-16 07:30:00 | 4.9467 | 281.6133 | 5.6967 | 309.4667 | 7.8267 | 343.1667 | 7.74 | 7.99 | 15.65 | 881.4 | 92.7 | 37.936
2019-05-16 07:45:00 | 4.9267 | 215.87 | 5.67 | 237.2167 | 7.3467 | 7.6067 | 7.6333 | 14.46 | 15.6633 | 882 | 91.6667 | 37.5987
2019-05-16 08:00:00 | 5.1933 | 15.3633 | 5.9833 | 16.8833 | 8.0533 | 4.4467 | 8.4867 | 20.18 | 15.7433 | 882 | 90.8 | 34.7447
2019-05-16 08:15:00 | 4.8667 | 273.6167 | 5.6 | 300.6667 | 8.6233 | 11.23 | 8.5207 | 129.1067 | 15.72 | 882 | 90.8 | 29.7887
2019-05-16 08:30:00 | 4.5333 | 131.0433 | 5.2133 | 144 | 7.8367 | 41.59 | 7.7833 | 128.1133 | 15.8067 | 882 | 89.4 | 23.5307
2019-05-16 08:45:00 | 4.1467 | 8.8 | 4.78 | 9.6667 | 6.9067 | 12.4033 | 7.1167 | 2.96 | 15.912 | 882 | 88.3 | 25.6587
2019-05-16 09:00:00 | 4.3133 | 209.8933 | 4.96 | 230.64 | 7.4267 | 10.65 | 7.77 | 15.3867 | 16.0067 | 882 | 88.1667 | 26.2833
2019-05-16 09:15:00 | 4.3267 | 114.6367 | 4.9733 | 125.9667 | 6.8733 | 16.4 | 7.0467 | 21.59 | 16.078 | 882.0667 | 87.6933 | 28.906
2019-05-16 09:30:00 | 4.0133 | 293.6567 | 4.6267 | 322.7 | 6.32 | 15.66 | 6.3667 | 9.63 | 16.0233 | 882.6 | 87.64 | 34.14
2019-05-16 09:45:00 | 4 | 314.0767 | 4.6033 | 345.1333 | 6.7467 | 13.3867 | 6.5333 | 19.67 | 16.0407 | 882.0667 | 88.6333 | 28.6167
2019-05-16 10:00:00 | 3.8933 | 128.7033 | 4.4833 | 141.42 | 6.58 | 2.9667 | 6.68 | 10.1767 | 16.13 | 883 | 88.1 | 24.2033
2019-05-16 10:15:00 | 3.8 | 309.4667 | 4.3767 | 340.0667 | 6.3233 | 5.1267 | 6.62 | 8.7433 | 16.35 | 883 | 86.2333 | 30.51
2019-05-16 10:30:00 | 4.14 | 133.2067 | 4.7767 | 146.38 | 7.5967 | 13.6 | 8.06 | 17.8767 | 16.4767 | 883 | 86.1667 | 33.152
2019-05-16 10:45:00 | 4.3733 | 232.05 | 5.0333 | 255 | 8.2733 | 21.6033 | 8.12 | 19.12 | 16.6633 | 883 | 85.4 | 28.9653
2019-05-16 11:00:00 | 4.14 | 268.75 | 4.7667 | 295.3333 | 7.5 | 13.6033 | 7.54 | 11.3733 | 16.7833 | 883 | 85 | 30.376
2019-05-16 11:15:00 | 4.2467 | 107.9833 | 4.8933 | 118.6533 | 7.72 | 15.28 | 7.73 | 11.72 | 17.1933 | 883 | 84.7333 | 30.1027
2019-05-16 11:30:00 | 4.2467 | 108.81 | 4.8933 | 119.56 | 7.9133 | 11.36 | 7.8033 | 16.9067 | 17.5267 | 883 | 84.3333 | 31.604
2019-05-16 11:45:00 | 4.62 | 88.0533 | 5.3167 | 96.7633 | 8.6667 | 12.5867 | 8.5867 | 19.69 | 17.7287 | 883 | 83.6667 | 32.1507
2019-05-16 12:00:00 | 4.96 | 150.9133 | 5.7167 | 165.83 | 8.9133 | 5.6733 | 8.6133 | 18.7167 | 17.7367 | 883 | 83.04 | 34.5173
2019-05-16 12:15:00 | 5.334 | 35.0967 | 6.1367 | 38.56 | 9.77 | 8.9633 | 9.5133 | 21.5567 | 17.9667 | 883 | 82.6267 | 37.778
2019-05-16 12:30:00 | 5.9767 | 127.25 | 6.87 | 139.8333 | 10.9233 | 16.7833 | 10.8133 | 17.23 | 18.3333 | 883 | 80.8667 | 33.982
2019-05-16 12:45:00 | 5.7867 | 199.0733 | 6.6567 | 218.7567 | 10.29 | 18.1267 | 10.14 | 20.9267 | 19.1033 | 883 | 78.2433 | 36.7467
2019-05-16 13:00:00 | 6.1333 | 200.2867 | 7.0567 | 220.09 | 10.9033 | 23.5667 | 10.9267 | 20.3267 | 19.67 | 883 | 75.83 | 37.0973
2019-05-16 13:15:00 | 6.1 | 276.4933 | 7.02 | 303.8333 | 10.7667 | 3.8933 | 10.33 | 23.2367 | 19.5367 | 883 | 75.9767 | 34.9667
2019-05-16 13:30:00 | 5.6533 | 202.2333 | 6.5067 | 222.2333 | 10.0933 | 13.2267 | 10.0233 | 14.0233 | 19.8233 | 883 | 75.83 | 32.5753
2019-05-16 13:45:00 | 5.5467 | 29.0167 | 6.38 | 31.88 | 9.7133 | 8.55 | 9.2767 | 18.67 | 20.5967 | 883 | 74.3 | 34.5613
2019-05-16 14:00:00 | 5.4867 | 47.47 | 6.32 | 52.16 | 9.1467 | 18.0233 | 8.6233 | 29.0967 | 20.65 | 883 | 72.94 | 34.2633
2019-05-16 14:15:00 | 5.9667 | 240.95 | 6.8733 | 264.7667 | 10.5333 | 21.64 | 10.5067 | 36.9867 | 20.2533 | 883 | 74.548 | 40.2247
2019-05-16 14:30:00 | 6.2333 | 92.2767 | 7.18 | 101.4 | 11.344 | 22.8667 | 11.1133 | 19.5533 | 20.8933 | 883 | 73.78 | 37.0973
2019-05-16 14:45:00 | 6.4733 | 232.91 | 7.4533 | 255.9333 | 11.2233 | 22.9133 | 10.89 | 21.1167 | 21.04 | 883 | 71.4107 | 37.8253
2019-05-16 15:00:00 | 6.3667 | 212.4567 | 7.3333 | 233.4667 | 11.33 | 10.7333 | 10.8633 | 20.63 | 21.3267 | 883 | 71.18 | 39.112
2019-05-16 15:15:00 | 6.04 | 188.32 | 6.9567 | 206.9333 | 10.9867 | 15.5467 | 10.67 | 20.5767 | 20.9233 | 883 | 72.06 | 35.6527
2019-05-16 15:30:00 | 5.48 | 178.18 | 6.306 | 195.8 | 9.9867 | 11.9867 | 9.8167 | 24.3633 | 20.3033 | 883 | 74.1667 | 34.712
2019-05-16 15:45:00 | 5.2933 | 183.5533 | 6.0967 | 201.7 | 9.83 | 18.2667 | 9.69 | 28.1133 | 20.35 | 882.2667 | 74.968 | 34.6233
2019-05-16 16:00:00 | 5.28 | 160.1933 | 6.0833 | 176.0333 | 9.6967 | 8.2267 | 9.55 | 11.22 | 20.8633 | 882 | 73.58 | 37.964
2019-05-16 16:15:00 | 5.8267 | 138.2633 | 6.7067 | 151.9333 | 10.2093 | 12.9 | 10.3613 | 27.6467 | 20.7367 | 882 | 72.7767 | 39.2347
2019-05-16 16:30:00 | 5.64 | 132.6833 | 6.5 | 145.8 | 10.0467 | 22.34 | 10.1333 | 18.7867 | 20.6033 | 882 | 73.0367 | 38.31
2019-05-16 16:45:00 | 5.9833 | 171.5433 | 6.88 | 188.5 | 10.6433 | 5.48 | 10.57 | 19.2633 | 20.6153 | 882 | 72.8767 | 34.892
2019-05-16 17:00:00 | 5.9567 | 214.43 | 6.8533 | 235.6333 | 10.6633 | 15 | 10.4767 | 21.3633 | 20.574 | 882 | 72.23 | 31.28
2019-05-16 17:15:00 | 5.876 | 315.51 | 6.7633 | 346.7 | 10.3667 | 15.2833 | 10.2267 | 15.9267 | 20.3067 | 882 | 72.1533 | 32.448
2019-05-16 17:30:00 | 5.6667 | 223.77 | 6.5167 | 245.9 | 10.3867 | 17.6833 | 10.1667 | 19.54 | 20.38 | 882 | 73.4067 | 34.302
2019-05-16 17:45:00 | 5.6313 | 162.428 | 6.4727 | 178.4867 | 10.12 | 18.3807 | 10.2033 | 27.7747 | 20.0627 | 882 | 73.872 | 43.156
2019-05-16 18:00:00 | 6.0067 | 220.5233 | 6.9067 | 242.3333 | 10.52 | 11.0467 | 10.05 | 29.8433 | 19.2 | 882 | 75.3067 | 40.7007
2019-05-16 18:15:00 | 6.0533 | 288.5667 | 6.96 | 317.1 | 10.7233 | 6.8467 | 10.44 | 25.29 | 18.2967 | 882 | 79.4133 | 42.842
2019-05-16 18:30:00 | 6.3333 | 104.64 | 7.2867 | 114.9867 | 11.07 | 19.04 | 10.94 | 31.35 | 18.074 | 881.6 | 80.04 | 42.2307
2019-05-16 18:45:00 | 5.5533 | 155.4633 | 6.3967 | 170.8333 | 10.03 | 12.3367 | 10.1167 | 28.8733 | 17.76 | 881 | 81.9 | 43.018
2019-05-16 19:00:00 | 5.32 | 225.53 | 6.1167 | 247.8333 | 9.81 | 11.09 | 9.77 | 33.0067 | 17.5267 | 881 | 83.7 | 43.4893
2019-05-16 19:15:00 | 5.2773 | 129.2513 | 6.078 | 142.026 | 9.7353 | 18.5367 | 9.7107 | 33.42 | 17.0993 | 881 | 85.5867 | 46.7087
2019-05-16 19:30:00 | 5.2667 | 204.7033 | 6.0667 | 224.9333 | 9.8633 | 18.41 | 10.0167 | 28.65 | 16.7433 | 881 | 86.8 | 43.114
2019-05-16 19:45:00 | 4.87 | 196.62 | 5.6033 | 216.0667 | 9.3133 | 17.7367 | 9.6 | 26.55 | 16.26 | 881 | 88.3667 | 41.9887
2019-05-16 20:00:00 | 5.1913 | 222.9253 | 5.9767 | 244.9733 | 9.5307 | 19.61 | 9.9773 | 33.5807 | 16.132 | 881 | 87.86 | 40.5793
2019-05-16 20:15:00 | 4.8333 | 175.0267 | 5.5667 | 192.3333 | 8.8067 | 12.7967 | 9.03 | 26.39 | 16.1767 | 881 | 86.4667 | 38.2587
2019-05-16 20:30:00 | 3.7933 | 167.7467 | 4.3667 | 184.3333 | 7.0733 | 30.3433 | 7.4633 | 29.5367 | 15.9167 | 881 | 87.9333 | 34.816
2019-05-16 20:45:00 | 3.96 | 20.85 | 4.56 | 22.9067 | 7.2733 | 17.88 | 7.0867 | 17.8633 | 15.6433 | 881 | 89.1667 | 34.9687
2019-05-16 21:00:00 | 4.36 | 154.6633 | 5.02 | 169.9467 | 8.1 | 14.0533 | 8.0667 | 24.8767 | 15.55 | 881 | 89.6333 | 32.2567
2019-05-16 21:15:00 | 4.35 | 254.7367 | 5.01 | 279.9333 | 8.4867 | 10.7667 | 8.6367 | 21.48 | 15.3207 | 881.0667 | 90.3333 | 36.1953
2019-05-16 21:30:00 | 5.03 | 268.9967 | 5.7967 | 295.6 | 9.4867 | 4.82 | 9.4633 | 23.2667 | 15.25 | 882 | 90.8667 | 43.3653
2019-05-16 21:45:00 | 5.41 | 152.37 | 6.22 | 167.4333 | 10.1113 | 8.9267 | 10.02 | 13.6233 | 15.194 | 882 | 91.8333 | 45.5813
2019-05-16 22:00:00 | 5.19 | 193.6767 | 5.9667 | 212.8333 | 9.6433 | 16.46 | 9.6533 | 20.7033 | 15.138 | 882 | 92.4333 | 36.546
2019-05-16 22:15:00 | 5.1553 | 178.524 | 5.9253 | 196.18 | 9.4053 | 14.5767 | 9.508 | 23.85 | 15.2493 | 882 | 91.4067 | 32.502
2019-05-16 22:30:00 | 5.2567 | 141.0867 | 6.0467 | 155.0333 | 9.1833 | 15.4833 | 9.5267 | 27.3767 | 15.5 | 882 | 89.5667 | 29.9907
2019-05-16 22:45:00 | 4.8133 | 142.9367 | 5.5367 | 157.0667 | 8.62 | 19.57 | 8.58 | 16.5667 | 15.3733 | 882 | 90.1 | 33.238
2019-05-16 23:00:00 | 4.2533 | 66.49 | 4.9033 | 73.06 | 7.2267 | 9.5767 | 7.24 | 16.7933 | 15.2333 | 882 | 90.7 | 34.12
2019-05-16 23:15:00 | 4.1733 | 185.5367 | 4.8033 | 203.89 | 7.1333 | 13.8533 | 7.3233 | 16.3033 | 15.15 | 882 | 90.6333 | 34.8027
2019-05-16 23:30:00 | 3.94 | 11.8233 | 4.5367 | 12.9967 | 6.26 | 4.76 | 6.3567 | 12.07 | 15.1833 | 882 | 89.9667 | 36.4593
2019-05-16 23:45:00 | 3.9133 | 219.6067 | 4.4967 | 241.33 | 6.0267 | 8.1967 | 6.0867 | 43.62 | 15.13 | 882 | 89.6933 | 34.3087