## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-17 00:00:00 | 3.8757 | 205.1279 | 4.4593 | 225.4107 | 6.2014 | 0.42643 | 6.03 | 258.3 | 15.0207 | 882 | 89.7429 | 31.8914
2019-05-17 00:15:00 | 3.56 | 221.43 | 4.0933 | 243.32 | 6.2533 | 342.1667 | 5.7733 | 130.2133 | 14.7733 | 882 | 90.4333 | 34.3887
2019-05-17 00:30:00 | 4.0533 | 216.9367 | 4.66 | 238.3867 | 6.4667 | 346.9 | 6.18 | 127.5733 | 14.8 | 882 | 89.8333 | 37.3853
2019-05-17 00:45:00 | 4.6933 | 215.6833 | 5.4 | 237.02 | 7.55 | 21.8567 | 7.9167 | 22.83 | 14.8287 | 882 | 89.7067 | 33.25
2019-05-17 01:00:00 | 4.3867 | 26.6567 | 5.0533 | 29.2867 | 6.75 | 238.3767 | 6.53 | 11.91 | 14.81 | 882 | 89.5333 | 30.5667
2019-05-17 01:15:00 | 4.3733 | 293.5967 | 5.04 | 322.6333 | 8.11 | 19.2633 | 8.28 | 15.1233 | 14.5 | 882 | 90.5667 | 37.302
2019-05-17 01:30:00 | 4.7333 | 291.7767 | 5.4533 | 320.6333 | 8.41 | 13.35 | 8.9 | 16.91 | 14.38 | 882 | 91.2333 | 36.6993
2019-05-17 01:45:00 | 4.5133 | 296.12 | 5.2 | 325.4 | 8.2467 | 9.8767 | 8.6867 | 23.5167 | 14.2887 | 881.9333 | 92.2667 | 37.5133
2019-05-17 02:00:00 | 4.86 | 103.1533 | 5.6 | 113.3533 | 8.64 | 8.9833 | 8.94 | 23.0433 | 14.274 | 881 | 92.2 | 37.3353
2019-05-17 02:15:00 | 4.5567 | 6.03 | 5.24 | 6.62 | 8.3933 | 12.3933 | 8.6833 | 22.4033 | 14.2333 | 881 | 91.9333 | 35.5647
2019-05-17 02:30:00 | 4.7233 | 150.2233 | 5.4333 | 165.0667 | 8.84 | 8.18 | 9.13 | 20.9633 | 13.9667 | 881 | 93.2 | 35.3833
2019-05-17 02:45:00 | 5.4133 | 152.5267 | 6.2267 | 167.6067 | 9.7033 | 10.02 | 9.92 | 11.2833 | 13.8673 | 880.2667 | 93.4667 | 38.0573
2019-05-17 03:00:00 | 5.0933 | 323.7533 | 5.86 | 355.7667 | 8.7967 | 7.2667 | 8.7067 | 10.1633 | 13.73 | 880 | 94.0667 | 33.512
2019-05-17 03:15:00 | 4.84 | 26.0167 | 5.5667 | 28.58 | 8.2667 | 7.9433 | 7.98 | 14.24 | 13.7093 | 880 | 94.0267 | 33.6407
2019-05-17 03:30:00 | 4.8067 | 49.37 | 5.5333 | 54.2467 | 7.8267 | 7.8033 | 7.66 | 8.96 | 13.7933 | 880 | 93.4 | 28.332
2019-05-17 03:45:00 | 4.52 | 40.8633 | 5.2 | 44.8933 | 7.7767 | 240.8567 | 8.0933 | 4.0233 | 13.71 | 880 | 93.9333 | 25.444
2019-05-17 04:00:00 | 4.7267 | 20.97 | 5.4467 | 23.04 | 8.0233 | 39.2367 | 8.5667 | 17.75 | 13.754 | 880 | 93.9333 | 31.1493
2019-05-17 04:15:00 | 4.4533 | 94.49 | 5.12 | 103.8267 | 7.9433 | 4.9733 | 8.31 | 13.8567 | 13.7367 | 880 | 93.8 | 34.8353
2019-05-17 04:30:00 | 4.96 | 288.4967 | 5.7 | 317.0333 | 8.4633 | 240.5133 | 8.63 | 20.3833 | 13.45 | 880 | 95.1333 | 32.1333
2019-05-17 04:45:00 | 5.0967 | 140.8833 | 5.868 | 154.8133 | 7.95 | 117.8733 | 7.6533 | 18.1533 | 13.3713 | 880 | 95.7067 | 25.532
2019-05-17 05:00:00 | 4.8367 | 294.1433 | 5.5667 | 323.2333 | 7.51 | 348.4667 | 7.5333 | 22.2867 | 13.2967 | 880 | 96.0667 | 24.7447
2019-05-17 05:15:00 | 4.04 | 201.53 | 4.6467 | 221.4567 | 6.7567 | 13.3033 | 7.2167 | 151.9767 | 13.2 | 880 | 96.4733 | 24.1753
2019-05-17 05:30:00 | 4.12 | 173.3767 | 4.74 | 190.5233 | 7.27 | 12.69 | 8.0367 | 15.53 | 12.9933 | 880 | 97.2333 | 24.7527
2019-05-17 05:45:00 | 4.0133 | 101.22 | 4.62 | 111.2267 | 7.0833 | 128.76 | 7.3533 | 11.1 | 12.85 | 880 | 98.2 | 29.2513
2019-05-17 06:00:00 | 4.0333 | 95.5133 | 4.64 | 104.96 | 6.6367 | 352.24 | 6.6667 | 13.84 | 12.8433 | 880 | 98.36 | 30.9953
2019-05-17 06:15:00 | 4.0467 | 30.87 | 4.6533 | 33.9167 | 6.76 | 347.7667 | 6.4433 | 8.3167 | 12.7833 | 880 | 98.3267 | 29.6007
2019-05-17 06:30:00 | 4.1267 | 205.4767 | 4.7467 | 225.7967 | 7.2333 | 120.16 | 6.8433 | 11.07 | 12.6633 | 880 | 98.7 | 30.714
2019-05-17 06:45:00 | 4.1467 | 296.3667 | 4.7833 | 325.6667 | 7.5033 | 7.7133 | 7.2633 | 4.31 | 12.7833 | 880 | 98.8 | 30.4813
2019-05-17 07:00:00 | 4.14 | 121.3067 | 4.7633 | 133.2933 | 7.3833 | 4.4867 | 7.2433 | 8.0367 | 13.2033 | 880 | 97.4 | 34.2107
2019-05-17 07:15:00 | 4.65 | 222.6567 | 5.3567 | 244.6767 | 8.3033 | 3.0033 | 8.1033 | 10.7733 | 13.68 | 880.7333 | 95.2 | 38.9387
2019-05-17 07:30:00 | 5.17 | 22.4033 | 5.95 | 24.61 | 8.75 | 10.3633 | 8.7233 | 15.6 | 13.9467 | 881 | 93.9333 | 40.642
2019-05-17 07:45:00 | 5.2933 | 137.53 | 6.0867 | 151.1333 | 8.3733 | 9.5667 | 8.61 | 16.5767 | 13.9307 | 881 | 93.6933 | 40.854
2019-05-17 08:00:00 | 5.68 | 120.91 | 6.5333 | 132.86 | 8.4467 | 244.5467 | 8.6233 | 13.2033 | 13.9733 | 881 | 93.4667 | 39.6693
2019-05-17 08:15:00 | 5.3067 | 201.9067 | 6.1033 | 221.8667 | 7.8267 | 5.69 | 7.8733 | 17.0967 | 14.3387 | 881.7333 | 92.2667 | 38.72
2019-05-17 08:30:00 | 5.3667 | 210.5733 | 6.17 | 231.4 | 7.3333 | 9.8033 | 7.34 | 9.55 | 14.5533 | 882 | 91.4667 | 37.2547
2019-05-17 08:45:00 | 5.4 | 55.74 | 6.2067 | 61.2467 | 7.7833 | 231.3767 | 7.8067 | 123.73 | 15.0767 | 882 | 89.9667 | 35.8947
2019-05-17 09:00:00 | 4.9067 | 249.7333 | 5.6533 | 274.4333 | 7.926 | 11.7833 | 7.74 | 8.8033 | 15.87 | 882 | 87.6333 | 36.3327
2019-05-17 09:15:00 | 5.3467 | 23.93 | 6.1467 | 26.2933 | 9.06 | 16.1 | 9.11 | 23.1967 | 17.0667 | 882 | 82.7 | 32.9993
2019-05-17 09:30:00 | 5.14 | 203.1767 | 5.9133 | 223.2733 | 8.5667 | 10.7067 | 8.4633 | 18.05 | 17.3733 | 882.4 | 80.6333 | 27.5413
2019-05-17 09:45:00 | 4.5533 | 306.52 | 5.2367 | 336.8333 | 7.8233 | 22.3133 | 7.9767 | 19.7433 | 17.9467 | 883 | 79.3 | 18.2613
2019-05-17 10:00:00 | 4.36 | 321.2 | 5.0167 | 352.9667 | 7.4767 | 17.1333 | 7.3633 | 7.8433 | 18.8267 | 883 | 75.7133 | 15.31
2019-05-17 10:15:00 | 4.2467 | 115.99 | 4.89 | 127.46 | 7.1633 | 21.4333 | 7.05 | 12.09 | 19.5133 | 883 | 72.7767 | 13.3533
2019-05-17 10:30:00 | 4.2733 | 307.1833 | 4.9233 | 337.5667 | 6.85 | 24.54 | 6.6367 | 14.3567 | 19.7133 | 883 | 71.4367 | 7.542
2019-05-17 10:45:00 | 3.94 | 114.6033 | 4.5333 | 125.9267 | 6.4833 | 15.8733 | 5.9533 | 13.4467 | 20.2133 | 883 | 69.6933 | 2.6827
2019-05-17 11:00:00 | 3.34 | 113.09 | 3.8467 | 124.2733 | 5.3567 | 17.5133 | 4.72 | 13.22 | 20.8333 | 883 | 67.1333 | 0.098667
2019-05-17 11:15:00 | 2.89 | 14.28 | 3.32 | 15.69 | 3.9867 | 10.4467 | 3.2767 | 13.5533 | 20.6987 | 883 | 67.5533 | 0
2019-05-17 11:30:00 | 1.8633 | 15.2467 | 2.1467 | 16.7567 | 2.34 | 36.3133 | 1.8633 | 240.5 | 20.8733 | 883 | 65.9933 | 0
2019-05-17 11:45:00 | 1.4467 | 33.11 | 1.6733 | 36.3733 | 1.8833 | 340.3333 | 1.6 | 334.8667 | 21.59 | 883 | 62.7933 | 0
2019-05-17 12:00:00 | 2.4133 | 94.8767 | 2.78 | 104.2533 | 2.8233 | 210.2 | 2.9267 | 234.2 | 21.7433 | 883 | 63.22 | 0
2019-05-17 12:15:00 | 2.2067 | 158.5567 | 2.5467 | 174.2333 | 2.58 | 171.6333 | 2.7167 | 146.8667 | 22.4833 | 883 | 62.0633 | 0
2019-05-17 12:30:00 | 2.7733 | 150.79 | 3.1933 | 165.7 | 3.3933 | 175.1 | 3.43 | 163.2 | 22.91 | 883 | 61.25 | 0
2019-05-17 12:45:00 | 3.3267 | 150.0667 | 3.8333 | 164.9 | 3.94 | 157.5667 | 3.9633 | 161.4333 | 22.8367 | 883 | 59.97 | 0.81733
2019-05-17 13:00:00 | 3.3667 | 137.38 | 3.8733 | 150.9667 | 4.16 | 159.6333 | 4.1833 | 165.9667 | 23.25 | 883 | 58.5967 | 1.0027
2019-05-17 13:15:00 | 2.8347 | 140.9307 | 3.2607 | 154.86 | 3.5873 | 185.24 | 3.7593 | 182.3533 | 23.53 | 883 | 56.1233 | 1.916
2019-05-17 13:30:00 | 3.3333 | 140.78 | 3.83 | 154.7 | 4.0867 | 175.3 | 3.8267 | 193.1333 | 23.71 | 883 | 56.71 | 1.8753
2019-05-17 13:45:00 | 3.25 | 130.9567 | 3.7367 | 143.9 | 4.0067 | 169 | 4.3033 | 167.3333 | 23.78 | 883 | 57.1267 | 1.942
2019-05-17 14:00:00 | 2.1567 | 255.6833 | 2.49 | 280.9667 | 2.88 | 202.8667 | 3.23 | 216.0667 | 24.64 | 883 | 55.5933 | 1.324
2019-05-17 14:15:00 | 2.4067 | 171.7267 | 2.7667 | 188.7 | 3.1933 | 239.1 | 3.3267 | 233.1667 | 24.542 | 883 | 56.5967 | 1.9053
2019-05-17 14:30:00 | 2.54 | 149.3933 | 2.9267 | 164.1667 | 3.38 | 169.2333 | 3.4667 | 191.3667 | 24.67 | 882.6 | 57.1367 | 4.222
2019-05-17 14:45:00 | 2.63 | 140.96 | 3.0267 | 154.9 | 3.4467 | 245.2333 | 3.5367 | 231.4 | 24.4767 | 882 | 58.13 | 3.4087
2019-05-17 15:00:00 | 3.105 | 181.3029 | 3.5721 | 199.2286 | 4.0343 | 224.1071 | 3.9764 | 220.6286 | 24.7707 | 882 | 57.4379 | 5.7333
2019-05-17 15:15:00 | 3.2533 | 185.1933 | 3.7533 | 203.5 | 4.5567 | 228.2 | 4.6867 | 233.9 | 25.1233 | 882 | 56.7767 | 7.3913
2019-05-17 15:30:00 | 3.3267 | 192.96 | 3.8267 | 212.0333 | 4.4967 | 222.3333 | 4.8267 | 222.3 | 24.89 | 882 | 57.3767 | 6.7153
2019-05-17 15:45:00 | 3.62 | 197.8333 | 4.1767 | 217.4 | 4.8933 | 218.6667 | 4.8367 | 230.1 | 24.9467 | 882 | 57.8 | 3.9887
2019-05-17 16:00:00 | 2.72 | 178 | 3.13 | 195.6 | 3.7467 | 203.5333 | 3.8833 | 203.7 | 24.3333 | 882 | 59.7867 | 4.9433
2019-05-17 16:15:00 | 2.8867 | 172.48 | 3.32 | 189.5333 | 3.9033 | 224.0667 | 4.1267 | 214.2667 | 23.9167 | 881.2667 | 61.9033 | 4.4087
2019-05-17 16:30:00 | 2.64 | 136.02 | 3.0467 | 149.4667 | 3.7767 | 240.5333 | 4.16 | 240.9333 | 24.41 | 881 | 60.81 | 5.348
2019-05-17 16:45:00 | 3.1067 | 176.0067 | 3.5833 | 193.4 | 4.43 | 222.7667 | 4.4567 | 244.8333 | 24.4833 | 881 | 60.6233 | 6.472
2019-05-17 17:00:00 | 2.6733 | 180.3067 | 3.0767 | 198.1333 | 3.8833 | 209.9 | 3.9967 | 225.1 | 24.21 | 881 | 62.4433 | 7.0147
2019-05-17 17:15:00 | 2.8633 | 162.56 | 3.2933 | 178.6333 | 3.6667 | 215.8333 | 3.7933 | 227.5 | 23.4267 | 880.9333 | 63.7433 | 5.398
2019-05-17 17:30:00 | 2.55 | 218.0733 | 2.9333 | 239.6333 | 3.7933 | 234.2333 | 4.08 | 255.7667 | 23.58 | 880 | 63.9233 | 9.472
2019-05-17 17:45:00 | 3.1967 | 181.7567 | 3.6833 | 199.7333 | 4.69 | 238.8667 | 5.05 | 242.9333 | 22.73 | 880 | 66.3067 | 12.5287
2019-05-17 18:00:00 | 2.93 | 191.2833 | 3.37 | 210.2 | 4.2567 | 227.3333 | 4.57 | 236.3333 | 22.4633 | 880 | 66.784 | 12.8567
2019-05-17 18:15:00 | 2.7733 | 212.8833 | 3.1867 | 233.9333 | 4.1033 | 237.8 | 4.4867 | 253.9333 | 22.3433 | 880 | 67.7667 | 9.3707
2019-05-17 18:30:00 | 2.54 | 181.1033 | 2.9267 | 199 | 3.8967 | 250 | 4.3067 | 238.1333 | 22.1167 | 880 | 68.5267 | 9.3367
2019-05-17 18:45:00 | 3.0467 | 195.9233 | 3.5033 | 215.3 | 4.1967 | 242.6667 | 4.4933 | 244.6667 | 21.8867 | 880 | 68.82 | 7.786
2019-05-17 19:00:00 | 2.5 | 163.4167 | 2.8767 | 179.5667 | 3.63 | 235.3333 | 3.9933 | 235.2667 | 21.7133 | 879.6 | 69.5467 | 7.684
2019-05-17 19:15:00 | 2.6867 | 167.4067 | 3.09 | 183.9667 | 3.8533 | 216.2333 | 4.3233 | 223.8333 | 21.5287 | 879 | 70.6987 | 7.2153
2019-05-17 19:30:00 | 2.5667 | 177.832 | 2.9567 | 195.42 | 3.6667 | 228.2333 | 4.1367 | 216.1667 | 21.522 | 879 | 70.44 | 6.308
2019-05-17 19:45:00 | 2.1733 | 187.68 | 2.4967 | 206.2333 | 3.4267 | 227.42 | 3.9793 | 228.2667 | 21.4133 | 879 | 70.9767 | 6.246
2019-05-17 20:00:00 | 2.4267 | 179.9133 | 2.7967 | 197.7 | 3.5133 | 218.74 | 4.1233 | 217.8667 | 21.2933 | 879 | 71.6367 | 5.2953
2019-05-17 20:15:00 | 1.88 | 179.3073 | 2.1687 | 197.04 | 2.8007 | 216.4067 | 3.242 | 220.74 | 21.1427 | 879.7333 | 72.5807 | 4.6107
2019-05-17 20:30:00 | 1.5467 | 150.5533 | 1.7833 | 165.4333 | 2.4133 | 199.2667 | 2.8533 | 223.5333 | 21.028 | 880 | 73.4433 | 3.246
2019-05-17 20:45:00 | 1.4767 | 169.42 | 1.7133 | 186.1667 | 2.3733 | 211.6667 | 3.0667 | 215.5667 | 20.89 | 880 | 74.15 | 1.6733
2019-05-17 21:00:00 | 1.5833 | 168.9933 | 1.8333 | 185.7 | 2.3067 | 198.3333 | 2.6733 | 216.4333 | 20.7233 | 880 | 74.81 | 2.3307
2019-05-17 21:15:00 | 2 | 154.82 | 2.3067 | 170.1333 | 3.0567 | 199.9333 | 3.4633 | 222.5333 | 20.616 | 880 | 75.284 | 2.5607
2019-05-17 21:30:00 | 2.3267 | 162.1 | 2.6733 | 178.1333 | 3.55 | 222.8 | 3.8167 | 222.8 | 20.488 | 880 | 76.04 | 1.0713
2019-05-17 21:45:00 | 1.6233 | 175.66 | 1.8667 | 193.0333 | 2.57 | 206.4667 | 2.8933 | 214.1333 | 20.4533 | 880 | 76.174 | 0.36267
2019-05-17 22:00:00 | 1.4233 | 175.66 | 1.64 | 193.0333 | 2.23 | 206.2 | 2.44 | 217.5333 | 20.404 | 880 | 76.6633 | 0.49467
2019-05-17 22:15:00 | 1.7767 | 174.9767 | 2.0533 | 192.2667 | 3.0167 | 210.2067 | 2.98 | 216.0667 | 20.2533 | 880 | 77.7633 | 0.069333
2019-05-17 22:30:00 | 1.3167 | 176.3633 | 1.52 | 193.8 | 2.3567 | 210.18 | 2.34 | 210.8667 | 20.24 | 880 | 77.7633 | 0
2019-05-17 22:45:00 | 0.48 | 132.78 | 0.56333 | 145.9033 | 0.95 | 209.6667 | 1.0567 | 211.5133 | 20.3087 | 880 | 77.5467 | 0
2019-05-17 23:00:00 | 0.5 | 6.7267 | 0.58333 | 7.39 | 0.92333 | 74.4 | 0.61667 | 211.5 | 20.25 | 880 | 77.96 | 0
2019-05-17 23:15:00 | 1.22 | 111.4067 | 1.4033 | 122.42 | 2.24 | 8 | 1.9633 | 9.9167 | 19.88 | 880 | 80.4333 | 0
2019-05-17 23:30:00 | 1.2467 | 315.9867 | 1.4433 | 347.2333 | 2.0933 | 14.6467 | 1.87 | 39.9367 | 19.708 | 880 | 81.1667 | 0
2019-05-17 23:45:00 | 1.59 | 312.0433 | 1.84 | 342.9 | 2.0667 | 21.2267 | 1.8167 | 40.38 | 19.7767 | 880 | 80.4333 | 0