## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-18 00:00:00 | 1.4364 | 311.685 | 1.6521 | 342.5143 | 1.9186 | 9.5071 | 1.73 | 33.4414 | 19.8336 | 880 | 80.1 | 0
2019-05-18 00:15:00 | 1.7633 | 318.96 | 2.0367 | 350.5 | 2.5367 | 119.1133 | 2.3033 | 6.37 | 19.7493 | 880 | 81.3667 | 0
2019-05-18 00:30:00 | 1.4767 | 320.024 | 1.6967 | 351.66 | 2.51 | 118.4933 | 2.2967 | 8.8767 | 19.3267 | 880 | 84.6333 | 0
2019-05-18 00:45:00 | 1.4067 | 274.5567 | 1.6233 | 301.7 | 2.6033 | 3.54 | 2.5167 | 11.6633 | 18.8367 | 880 | 87.2067 | 0
2019-05-18 01:00:00 | 1.02 | 288.6233 | 1.1833 | 317.1667 | 1.95 | 238.2 | 2.0367 | 3.3033 | 18.7367 | 880 | 87.4333 | 0
2019-05-18 01:15:00 | 1.53 | 318.1913 | 1.7667 | 349.8333 | 2.7267 | 14.29 | 2.61 | 9.59 | 18.6733 | 879.9333 | 88.0333 | 0
2019-05-18 01:30:00 | 1.8433 | 106.29 | 2.12 | 116.8 | 3.34 | 5.4433 | 3.0967 | 3.01 | 18.32 | 879 | 90.3667 | 0
2019-05-18 01:45:00 | 1.3267 | 308.59 | 1.53 | 339.1 | 2.4867 | 352.3 | 2.5267 | 240.22 | 18.0993 | 879 | 91.3333 | 0
2019-05-18 02:00:00 | 0.78 | 303.37 | 0.91 | 333.3667 | 1.48 | 115.2067 | 1.8133 | 23.8 | 18.2367 | 879 | 90.2667 | 0
2019-05-18 02:15:00 | 0 | 228.4973 | 0.006667 | 251.0867 | 0 | 1.28 | 0.073333 | 28.0713 | 18.4967 | 879 | 88.6933 | 0
2019-05-18 02:30:00 | 0.73333 | 288.44 | 0.85333 | 316.9667 | 1.02 | 10.9533 | 1.0267 | 38.75 | 18.5033 | 879 | 88.8 | 0
2019-05-18 02:45:00 | 2.2933 | 319.6113 | 2.64 | 351.22 | 3.1367 | 4.67 | 3.38 | 23.4567 | 18.0167 | 879 | 92.3 | 0
2019-05-18 03:00:00 | 2.9133 | 323.2033 | 3.3533 | 355.1667 | 3.89 | 16.33 | 3.88 | 25.1567 | 17.7567 | 879 | 93.9667 | 0
2019-05-18 03:15:00 | 2.6933 | 216.64 | 3.1 | 238.0633 | 3.89 | 14.0933 | 3.8233 | 31.0767 | 17.38 | 879 | 96.3333 | 0
2019-05-18 03:30:00 | 2.4067 | 0.093333 | 2.7667 | 0.096667 | 3.71 | 7.92 | 3.5767 | 33.23 | 17.272 | 879 | 97.1333 | 0
2019-05-18 03:45:00 | 2.5833 | 323.39 | 2.976 | 355.3733 | 3.4953 | 16.338 | 3.612 | 25.6427 | 17.2767 | 878.9333 | 97.0733 | 0.182
2019-05-18 04:00:00 | 2.9533 | 108.0467 | 3.4 | 118.7333 | 4.3233 | 20.5433 | 4.0267 | 18.6667 | 17.2633 | 878 | 97.0333 | 1.3427
2019-05-18 04:15:00 | 3.26 | 201.31 | 3.7467 | 221.2167 | 4.2967 | 0.15 | 4.84 | 13.8033 | 17.18 | 878 | 97.5067 | 2.7207
2019-05-18 04:30:00 | 3.2133 | 212.35 | 3.6933 | 233.35 | 4.35 | 10.6433 | 4.6733 | 9.85 | 17.192 | 878 | 97.56 | 2.4247
2019-05-18 04:45:00 | 2.82 | 322.4433 | 3.25 | 354.3333 | 3.7367 | 123.1 | 4.3133 | 9.2633 | 17.1873 | 878 | 97.5 | 2.6393
2019-05-18 05:00:00 | 3.1867 | 324.87 | 3.6633 | 357 | 4.0967 | 117.9467 | 4.6333 | 8.05 | 17.0767 | 878 | 98.2333 | 3.2087
2019-05-18 05:15:00 | 3.0967 | 307.9133 | 3.5667 | 338.3667 | 4.5167 | 4.2467 | 4.7367 | 9.33 | 16.98 | 878 | 99.0067 | 4.572
2019-05-18 05:30:00 | 3.0967 | 105.1533 | 3.5667 | 115.5467 | 4.93 | 8.2933 | 5.2833 | 13.03 | 16.9533 | 878 | 99.14 | 5.052
2019-05-18 05:45:00 | 3.2333 | 297.37 | 3.7233 | 326.7667 | 4.4333 | 5.92 | 4.9933 | 10.3167 | 16.932 | 878 | 99.4067 | 2.9967
2019-05-18 06:00:00 | 3.1333 | 303.2433 | 3.61 | 333.2333 | 4.0933 | 3.7867 | 4.6867 | 13.3633 | 16.924 | 878 | 99.54 | 2.588
2019-05-18 06:15:00 | 2.6933 | 313.99 | 3.1 | 345.0333 | 3.9767 | 24.25 | 4.71 | 17.4633 | 16.944 | 878 | 99.6067 | 1.3513
2019-05-18 06:30:00 | 2.3133 | 317.0833 | 2.6667 | 348.4333 | 3.6167 | 238.07 | 4.2233 | 11.99 | 16.94 | 878 | 99.74 | 1.8307
2019-05-18 06:45:00 | 2.54 | 103.1267 | 2.92 | 113.32 | 3.7133 | 4.5367 | 4.41 | 13.4433 | 16.9453 | 878 | 99.8733 | 4.2253
2019-05-18 07:00:00 | 2.4867 | 300.7867 | 2.8667 | 330.5333 | 4.6067 | 9.5233 | 4.89 | 18.39 | 16.916 | 878 | 99.94 | 4.03
2019-05-18 07:15:00 | 2.3733 | 321.14 | 2.7367 | 352.9 | 4.5733 | 10.4167 | 4.6567 | 21.6033 | 16.91 | 878 | 100 | 6.9707
2019-05-18 07:30:00 | 2.7067 | 116.5867 | 3.1167 | 128.1067 | 5.0067 | 13.43 | 5.29 | 23.9033 | 16.918 | 878 | 100 | 10.974
2019-05-18 07:45:00 | 2.9967 | 34.3133 | 3.4433 | 37.7 | 5.4733 | 7.68 | 5.7267 | 11.23 | 17.032 | 878.0667 | 100 | 11.276
2019-05-18 08:00:00 | 3.3367 | 17.2667 | 3.8367 | 18.9733 | 5.4667 | 5.28 | 6.0533 | 12.2833 | 17.02 | 879 | 100 | 13.8567
2019-05-18 08:15:00 | 3.1867 | 115.2667 | 3.67 | 126.66 | 5.3633 | 8.7667 | 5.8467 | 10.66 | 16.9833 | 879 | 100 | 15.6287
2019-05-18 08:30:00 | 2.9267 | 291.2933 | 3.37 | 320.1 | 5.466 | 11.9733 | 6.02 | 14.74 | 17.07 | 879 | 100 | 15.2487
2019-05-18 08:45:00 | 3.166 | 221.8 | 3.64 | 243.74 | 5.6153 | 269.964 | 5.798 | 27.774 | 17.0913 | 879 | 100 | 17.5367
2019-05-18 09:00:00 | 3.57 | 200.9667 | 4.1067 | 220.8333 | 6.206 | 3.8867 | 6.274 | 8.7967 | 17.2233 | 879 | 100 | 15.97
2019-05-18 09:15:00 | 3.76 | 204.1533 | 4.33 | 224.3367 | 5.93 | 344.7667 | 5.9 | 9.85 | 17.37 | 879 | 99.9 | 16.1033
2019-05-18 09:30:00 | 3.6 | 103.7467 | 4.1433 | 114.0033 | 6.2567 | 125.3667 | 6.34 | 6.53 | 17.334 | 879 | 99.66 | 17.0733
2019-05-18 09:45:00 | 3.4233 | 202.0733 | 3.94 | 222.0467 | 5.9933 | 8.1167 | 6.19 | 24.47 | 17.5067 | 879 | 99.6067 | 18.8407
2019-05-18 10:00:00 | 3.4833 | 18.5467 | 4.0133 | 20.38 | 6.3 | 5.5767 | 6.67 | 10.7033 | 17.7267 | 879.4 | 99.2333 | 19.316
2019-05-18 10:15:00 | 3.37 | 17.8733 | 3.8767 | 19.64 | 6.16 | 24.1867 | 6.5133 | 10.32 | 18.0267 | 880 | 98.3 | 19.0127
2019-05-18 10:30:00 | 3.67 | 26.62 | 4.23 | 29.2467 | 6.6733 | 10.32 | 6.8867 | 16.8533 | 18.1733 | 880 | 97.6333 | 18.96
2019-05-18 10:45:00 | 3.0433 | 100.4467 | 3.51 | 110.3733 | 5.3467 | 20.5267 | 5.5633 | 18.86 | 18.45 | 880 | 96.6667 | 17.8953
2019-05-18 11:00:00 | 3.3033 | 305.6733 | 3.7967 | 335.9 | 5.3333 | 229.8667 | 5.3767 | 21.0267 | 18.9633 | 880 | 94.7333 | 12.592
2019-05-18 11:15:00 | 3.1133 | 228.9133 | 3.59 | 251.5533 | 4.8533 | 248.1633 | 4.76 | 18.3567 | 19.2633 | 880 | 92.9333 | 14.2233
2019-05-18 11:30:00 | 3.6333 | 45.7333 | 4.1833 | 50.2467 | 5.6667 | 13.8633 | 5.48 | 12.2167 | 19.1033 | 880 | 93.4667 | 18.238
2019-05-18 11:45:00 | 3.7667 | 111.3133 | 4.34 | 122.32 | 6.1867 | 352.8333 | 6.2667 | 7.42 | 19.21 | 880 | 93 | 17.0033
2019-05-18 12:00:00 | 3.98 | 117.62 | 4.58 | 129.2533 | 6.5133 | 119 | 6.34 | 7.84 | 19.3367 | 880 | 92.2667 | 16.676
2019-05-18 12:15:00 | 3.9893 | 98.5667 | 4.6 | 108.3067 | 6.9567 | 15.0733 | 6.5567 | 16.3267 | 19.5467 | 880 | 91.2 | 18.0673
2019-05-18 12:30:00 | 3.6067 | 305.8533 | 4.1533 | 336.1 | 6.3967 | 10.4733 | 5.8167 | 6.04 | 19.24 | 880 | 91.7333 | 19.0067
2019-05-18 12:45:00 | 3.73 | 313.3167 | 4.2933 | 344.3 | 6.1067 | 20.5633 | 5.8367 | 11.6167 | 19.0533 | 880 | 92.7667 | 21.6473
2019-05-18 13:00:00 | 3.3833 | 321.09 | 3.8933 | 352.8333 | 6.1533 | 227.7633 | 5.7967 | 12.33 | 19.2533 | 880 | 92.8333 | 21.5
2019-05-18 13:15:00 | 3.58 | 324.6213 | 4.1133 | 356.7133 | 5.8533 | 10.0967 | 5.6967 | 18.7567 | 19.5167 | 880 | 91.3 | 23.0813
2019-05-18 13:30:00 | 3.5533 | 302.52 | 4.0867 | 332.4333 | 6.28 | 18.2633 | 6.07 | 6.4767 | 19.65 | 880 | 91.2333 | 21.6693
2019-05-18 13:45:00 | 3.6067 | 145.4033 | 4.15 | 159.7867 | 6.5467 | 15.1433 | 6.5367 | 15.5767 | 19.7967 | 880 | 90.5333 | 20.438
2019-05-18 14:00:00 | 3.9467 | 245.6767 | 4.55 | 269.9667 | 7.1333 | 17.6033 | 6.99 | 19.3833 | 19.9567 | 880 | 90.6 | 20.0493
2019-05-18 14:15:00 | 3.8693 | 258.1773 | 4.4533 | 283.7 | 7.364 | 11.2473 | 7.3287 | 20.0893 | 20.564 | 880 | 89.14 | 20.5533
2019-05-18 14:30:00 | 4.3867 | 171.5067 | 5.05 | 188.4667 | 7.98 | 9.0867 | 7.7767 | 18.4433 | 20.6333 | 880 | 88 | 22.1693
2019-05-18 14:45:00 | 4.3227 | 154.574 | 4.982 | 169.8533 | 7.964 | 15.5293 | 7.5767 | 26.256 | 20.8653 | 880 | 87.38 | 21.8647
2019-05-18 15:00:00 | 4.1493 | 163.8657 | 4.7793 | 180.0643 | 7.9264 | 14.3007 | 7.7079 | 19.3021 | 21.8214 | 880 | 84.8286 | 20.7213
2019-05-18 15:15:00 | 4.1667 | 56.8767 | 4.8 | 62.5 | 7.77 | 18.16 | 7.7893 | 24.9067 | 22.3667 | 880 | 82.7333 | 20.142
2019-05-18 15:30:00 | 4.34 | 150.4567 | 5.0067 | 165.3333 | 8.07 | 17.12 | 8.1467 | 24.9867 | 22.4 | 880 | 81.8 | 17.8013
2019-05-18 15:45:00 | 4.22 | 263.1533 | 4.8533 | 289.1667 | 7.4833 | 17.97 | 7.47 | 16.29 | 21.25 | 880 | 84.2 | 15.878
2019-05-18 16:00:00 | 3.8533 | 246.7 | 4.4333 | 271.1 | 6.8433 | 10.73 | 6.51 | 7.27 | 20.87 | 880 | 85.9333 | 13.8193
2019-05-18 16:15:00 | 3.4667 | 92.0367 | 3.9867 | 101.1333 | 6.1433 | 23.6967 | 5.9667 | 24.5367 | 21.02 | 879.3333 | 85.6 | 11.1173
2019-05-18 16:30:00 | 3.2 | 128.5033 | 3.68 | 141.2133 | 5.63 | 12.6367 | 5.5267 | 238.5633 | 21.0867 | 879.6 | 85.2 | 11.8367
2019-05-18 16:45:00 | 3.4133 | 217.0033 | 3.9233 | 238.4633 | 5.9333 | 101.24 | 5.9467 | 29.2567 | 21.2667 | 879 | 84.5067 | 11.9247
2019-05-18 17:00:00 | 3.6467 | 128.3767 | 4.19 | 141.0633 | 6.6533 | 102.34 | 6.7533 | 32.8367 | 21.344 | 879 | 84.64 | 15.6213
2019-05-18 17:15:00 | 4.2633 | 176.27 | 4.9067 | 193.7 | 8.0067 | 16.5033 | 7.86 | 17.17 | 21.1427 | 879 | 85.2333 | 18.4413
2019-05-18 17:30:00 | 4.01 | 65.1633 | 4.62 | 71.6 | 7.6933 | 20.3767 | 7.4067 | 27.2633 | 21.14 | 879 | 84.8333 | 18.97
2019-05-18 17:45:00 | 4.0733 | 155.1533 | 4.7 | 170.5 | 7.3067 | 21.81 | 7.09 | 28.9467 | 20.66 | 879.6667 | 85.5667 | 22.486
2019-05-18 18:00:00 | 4.1933 | 169.4067 | 4.8267 | 186.1667 | 7.6133 | 12.77 | 7.2833 | 15.4867 | 20.4 | 879 | 86.1 | 24.5507
2019-05-18 18:15:00 | 4.4533 | 158.6533 | 5.1233 | 174.3333 | 8.3933 | 17.57 | 8.19 | 26.1633 | 20.26 | 879 | 86.6667 | 23.828
2019-05-18 18:30:00 | 4.424 | 219.9573 | 5.0953 | 241.7067 | 8.2747 | 10.3807 | 8.1473 | 20.3193 | 20.172 | 879 | 87.2133 | 23.9527
2019-05-18 18:45:00 | 4.25 | 99.26 | 4.89 | 109.0733 | 8.1133 | 9.7667 | 8.0633 | 22.14 | 19.98 | 879.0667 | 87.7733 | 23.1927
2019-05-18 19:00:00 | 3.83 | 239.9067 | 4.41 | 263.6333 | 7.32 | 8.7667 | 7.4033 | 24.3 | 19.8 | 880 | 88.6 | 24.002
2019-05-18 19:15:00 | 4.0533 | 117.0433 | 4.6667 | 128.62 | 7.51 | 23.5233 | 7.28 | 16.1433 | 19.608 | 880 | 89.2667 | 24.6427
2019-05-18 19:30:00 | 4.48 | 201.5033 | 5.1667 | 221.42 | 7.61 | 12.8167 | 7.3667 | 18.07 | 19.58 | 880 | 88.7333 | 25.926
2019-05-18 19:45:00 | 4.8633 | 112.7433 | 5.5967 | 123.88 | 8.4767 | 15.9967 | 8.26 | 14.7167 | 19.4633 | 880 | 88.8667 | 31.0887
2019-05-18 20:00:00 | 5.17 | 261.79 | 5.95 | 287.6667 | 8.87 | 13.75 | 8.6133 | 25.9633 | 19.39 | 880 | 88.8 | 32.026
2019-05-18 20:15:00 | 4.5433 | 59 | 5.2267 | 64.8267 | 7.74 | 23.49 | 7.6133 | 15.1567 | 19.3387 | 880 | 88.7933 | 28.8873
2019-05-18 20:30:00 | 4.4033 | 242.3933 | 5.0667 | 266.3667 | 8.14 | 19.49 | 7.76 | 19.6767 | 19.1933 | 880.4 | 89.2333 | 25.642
2019-05-18 20:45:00 | 4.1 | 15.2933 | 4.7133 | 16.7933 | 7.2733 | 15.8567 | 7.29 | 16.14 | 19.1373 | 881 | 89.38 | 25.2547
2019-05-18 21:00:00 | 4.0733 | 119.1133 | 4.6867 | 130.88 | 7.5067 | 16.33 | 7.75 | 22.5933 | 19.0533 | 881 | 89.7667 | 25.9513
2019-05-18 21:15:00 | 4.02 | 31.0167 | 4.6333 | 34.0733 | 7.24 | 20.8533 | 7.16 | 26.3133 | 18.978 | 881.0667 | 90.1067 | 27.4173
2019-05-18 21:30:00 | 3.9533 | 225.5633 | 4.5467 | 247.8667 | 7.38 | 24.92 | 7.22 | 28.6467 | 18.8967 | 882 | 90.5333 | 31.558
2019-05-18 21:45:00 | 4.4333 | 244.6333 | 5.104 | 268.82 | 8.0493 | 18.726 | 8.0707 | 18.5013 | 18.8493 | 882 | 90.7 | 34.1407
2019-05-18 22:00:00 | 4.2867 | 163.66 | 4.94 | 179.8333 | 8.1133 | 15.6367 | 8.0267 | 16.12 | 18.6667 | 882 | 91.5 | 37.7707
2019-05-18 22:15:00 | 4.7267 | 276.6133 | 5.4433 | 303.9667 | 8.91 | 17.8167 | 9.18 | 28.0633 | 18.5033 | 882 | 92.4067 | 35.572
2019-05-18 22:30:00 | 4.34 | 283.7667 | 4.9967 | 311.8333 | 8.43 | 24.1167 | 8.4867 | 31.6767 | 18.39 | 882 | 92.6333 | 31.6627
2019-05-18 22:45:00 | 3.8867 | 231.53 | 4.4767 | 254.4267 | 7.0267 | 121.5067 | 6.97 | 23.5 | 18.1467 | 882 | 93.5667 | 34.1973
2019-05-18 23:00:00 | 4.1 | 74.0433 | 4.7167 | 81.36 | 7.0667 | 120.44 | 7.09 | 11.3333 | 18.188 | 882.4 | 93.1667 | 34.9127
2019-05-18 23:15:00 | 3.928 | 123.408 | 4.518 | 135.6047 | 6.876 | 1.2513 | 6.8787 | 20.8127 | 18.086 | 883 | 93.4333 | 44.6027
2019-05-18 23:30:00 | 5.31 | 314.0533 | 6.11 | 345.1 | 9.4633 | 14.6333 | 9.3833 | 24.3733 | 18.0467 | 882.6 | 93.76 | 45.9673
2019-05-18 23:45:00 | 5.8733 | 159.1667 | 6.7633 | 174.9 | 11.0067 | 13.0367 | 10.9967 | 27.2233 | 17.98 | 882 | 94.0333 | 47.0393