## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-19 00:00:00 | 5.6357 | 145.0343 | 6.4879 | 159.3714 | 10.6579 | 10.8443 | 10.5264 | 26.8664 | 17.9271 | 882.1 | 94.29 | 45.3057
2019-05-19 00:15:00 | 6.3667 | 95.9533 | 7.32 | 105.4467 | 11.2633 | 8.5633 | 10.83 | 13.7233 | 18.1533 | 883 | 93.2333 | 47.408
2019-05-19 00:30:00 | 7.2267 | 172.18 | 8.3067 | 189.2 | 13.1567 | 12.9033 | 12.79 | 11.1967 | 18.3 | 883 | 92.3667 | 48.452
2019-05-19 00:45:00 | 7.1767 | 185.9467 | 8.25 | 204.3333 | 12.5867 | 13.17 | 12.4167 | 21.8967 | 18.4313 | 883 | 91.3 | 45.132
2019-05-19 01:00:00 | 6.2833 | 77.62 | 7.23 | 85.2933 | 11.16 | 14.8567 | 10.5433 | 18.4633 | 18.4033 | 883 | 91.3 | 46.44
2019-05-19 01:15:00 | 5.74 | 300.97 | 6.6 | 330.7333 | 10.0233 | 7.97 | 9.79 | 8.86 | 18.386 | 883.7333 | 91.06 | 49.7547
2019-05-19 01:30:00 | 6.0933 | 146.7633 | 7.0133 | 161.2733 | 10.59 | 13.3967 | 10.5433 | 12.02 | 18.5033 | 884 | 89.7667 | 52.0513
2019-05-19 01:45:00 | 6.6967 | 219.4967 | 7.7033 | 241.2 | 12.2367 | 14.8167 | 11.7667 | 20.51 | 18.5707 | 884 | 89.1933 | 56.716
2019-05-19 02:00:00 | 7.6567 | 277.55 | 8.81 | 305 | 13.4433 | 13.1167 | 13.0467 | 20.5433 | 18.52 | 884 | 89.4333 | 57.1907
2019-05-19 02:15:00 | 9.48 | 28.6033 | 10.9 | 31.4233 | 16.7333 | 16.7833 | 16.3967 | 27.6867 | 17.8833 | 884 | 92.0667 | 57.676
2019-05-19 02:30:00 | 9.6533 | 47.7833 | 11.1 | 52.5033 | 17.1333 | 17.03 | 17.35 | 15.4067 | 17.3233 | 883.6 | 93.9333 | 57.502
2019-05-19 02:45:00 | 10.1 | 110.9833 | 11.6167 | 121.96 | 18.43 | 17.89 | 19.0733 | 20.63 | 16.9633 | 883 | 92.94 | 56.6433
2019-05-19 03:00:00 | 10.3733 | 305.25 | 11.9367 | 335.4333 | 18.7167 | 20.4967 | 19.1267 | 28.2767 | 16.926 | 883 | 86.7667 | 53.4427
2019-05-19 03:15:00 | 9.8833 | 228.8967 | 11.3767 | 251.5333 | 17.7 | 18.18 | 18.3333 | 32.6533 | 17.1667 | 883 | 75.8167 | 52.254
2019-05-19 03:30:00 | 9.8633 | 241.09 | 11.3433 | 264.9333 | 17.5 | 12.7533 | 18.18 | 33.1067 | 17.3333 | 883 | 70.2967 | 53.1147
2019-05-19 03:45:00 | 10.1 | 74.3567 | 11.6167 | 81.7 | 17.9367 | 21.47 | 18.66 | 28.7 | 17.5 | 883 | 65.7767 | 52.5067
2019-05-19 04:00:00 | 10.5467 | 250.8967 | 12.13 | 275.7 | 18.5767 | 23.9767 | 19.088 | 29.9 | 17.6333 | 883 | 63.3033 | 52.6887
2019-05-19 04:15:00 | 10.52 | 208 | 12.1093 | 228.5667 | 18.93 | 19.4133 | 19.27 | 33.5167 | 17.5687 | 883 | 63.0233 | 52.8793
2019-05-19 04:30:00 | 9.9067 | 249.74 | 11.4 | 274.4333 | 17.9367 | 22.6867 | 18.5767 | 38.5367 | 17.5167 | 883 | 61.9367 | 52.8887
2019-05-19 04:45:00 | 9.5013 | 120.16 | 10.9273 | 132.0333 | 16.92 | 15.5633 | 17.4867 | 26.4067 | 17.5667 | 883 | 59.85 | 52.2553
2019-05-19 05:00:00 | 9 | 145 | 10.35 | 159.3333 | 15.92 | 18.1367 | 16.6733 | 26.9733 | 17.6 | 883 | 58.43 | 52.514
2019-05-19 05:15:00 | 9.2567 | 151.5233 | 10.6533 | 166.5 | 16.34 | 20.85 | 17.0833 | 39.7667 | 17.86 | 883 | 55.1433 | 52.7947
2019-05-19 05:30:00 | 9.0233 | 134.99 | 10.3867 | 148.3333 | 15.9467 | 19.8167 | 16.4967 | 30.7933 | 17.8333 | 883 | 54.4367 | 51.738
2019-05-19 05:45:00 | 8.836 | 228.9 | 10.1693 | 251.5333 | 15.67 | 27.1567 | 16.4733 | 29.9867 | 17.8333 | 883 | 53.0867 | 51.9893
2019-05-19 06:00:00 | 8.4867 | 74.24 | 9.76 | 81.58 | 15.1967 | 21.55 | 15.9867 | 31.04 | 17.82 | 883.4 | 51.5267 | 55.3953
2019-05-19 06:15:00 | 8.0633 | 100.84 | 9.2767 | 110.8 | 14.46 | 24.48 | 15.07 | 30.4933 | 17.8667 | 884 | 50.6967 | 56.246
2019-05-19 06:30:00 | 8.57 | 90.62 | 9.8633 | 99.5733 | 15.12 | 22.78 | 15.5167 | 35.56 | 17.94 | 884 | 49.8167 | 56.97
2019-05-19 06:45:00 | 9.24 | 35.4567 | 10.6233 | 38.9567 | 16.5933 | 18.0367 | 16.8933 | 26.5533 | 17.912 | 884 | 49.63 | 55.674
2019-05-19 07:00:00 | 9.5333 | 199.31 | 10.97 | 219.0233 | 16.9267 | 16.7767 | 17.3733 | 23.1667 | 17.9067 | 884 | 49.4767 | 56.938
2019-05-19 07:15:00 | 9.84 | 28.4933 | 11.3133 | 31.3 | 17.51 | 16.1567 | 17.9033 | 23.4667 | 17.8413 | 884 | 50.1967 | 55.26
2019-05-19 07:30:00 | 9.94 | 123.42 | 11.44 | 135.6133 | 17.6567 | 16.79 | 17.9167 | 27.94 | 17.76 | 884 | 50.5367 | 53.706
2019-05-19 07:45:00 | 9.6133 | 209.9367 | 11.06 | 230.7 | 16.91 | 13.0933 | 17.3167 | 27.9633 | 17.8393 | 884.0667 | 49.6333 | 55.014
2019-05-19 08:00:00 | 9.86 | 65.7233 | 11.3467 | 72.2133 | 17.31 | 14.9733 | 17.6033 | 27.17 | 17.75 | 885 | 50.6 | 57.9467
2019-05-19 08:15:00 | 10.2833 | 57.56 | 11.8367 | 63.2467 | 18.3233 | 18.0467 | 18.65 | 15.3567 | 17.8 | 885 | 50.4967 | 62.5687
2019-05-19 08:30:00 | 9.9833 | 247.2133 | 11.49 | 271.6667 | 17.95 | 16.4133 | 18.65 | 30.9167 | 17.62 | 885.4 | 52.49 | 60.85
2019-05-19 08:45:00 | 10.2433 | 114.6067 | 11.78 | 125.9367 | 17.898 | 15.02 | 18.0233 | 24.36 | 17.7633 | 886 | 51.5167 | 60.83
2019-05-19 09:00:00 | 10.3767 | 35.18 | 11.94 | 38.6633 | 18.25 | 15.26 | 17.9567 | 24 | 17.79 | 886 | 51.7233 | 60.6747
2019-05-19 09:15:00 | 10.5733 | 16.2667 | 12.1633 | 17.8667 | 18.6933 | 22.9067 | 18.57 | 24.3033 | 17.7333 | 886 | 52.01 | 61.9993
2019-05-19 09:30:00 | 10.2933 | 17.5933 | 11.85 | 19.3267 | 18.3867 | 25.5 | 18.1967 | 20.2833 | 17.688 | 886 | 52.4233 | 60.8113
2019-05-19 09:45:00 | 10.5 | 82.4567 | 12.0833 | 90.6 | 18.7533 | 21.5067 | 18.4387 | 16.6467 | 17.6167 | 886.0667 | 53.5233 | 60.1527
2019-05-19 10:00:00 | 10.4 | 49.586 | 11.966 | 54.48 | 18.65 | 12.496 | 18.498 | 12.12 | 17.686 | 887 | 53.75 | 58.2127
2019-05-19 10:15:00 | 10.44 | 198.8167 | 12.0067 | 218.4767 | 18.3233 | 17.4067 | 17.5167 | 26.8433 | 17.6693 | 887 | 54.0233 | 59.0733
2019-05-19 10:30:00 | 10.3067 | 174.6767 | 11.86 | 191.9433 | 18.23 | 6.7933 | 17.3767 | 25.8233 | 17.7 | 887 | 53.7967 | 59.958
2019-05-19 10:45:00 | 9.7367 | 150.37 | 11.2067 | 165.24 | 17.14 | 20.1933 | 16.5833 | 23.5367 | 17.5767 | 887.7333 | 54.3567 | 57.038
2019-05-19 11:00:00 | 9.3633 | 134.6567 | 10.7667 | 147.9667 | 16.9867 | 19.4667 | 16.9367 | 18.2367 | 17.3033 | 888 | 56.9633 | 58.936
2019-05-19 11:15:00 | 9.32 | 16.74 | 10.72 | 18.4 | 16.9547 | 16.57 | 17.25 | 22.16 | 16.98 | 888 | 58.91 | 59.11
2019-05-19 11:30:00 | 9.4067 | 167.7467 | 10.82 | 184.34 | 16.9033 | 17.3533 | 16.89 | 25.77 | 17.3133 | 888 | 56.76 | 60.202
2019-05-19 11:45:00 | 9.44 | 58.7733 | 10.8567 | 64.5867 | 16.6667 | 18.6767 | 16.6733 | 18.6733 | 16.9967 | 888 | 59.84 | 61.996
2019-05-19 12:00:00 | 9.276 | 126.7067 | 10.67 | 139.2267 | 16.7067 | 16.8833 | 16.8333 | 19.6133 | 16.31 | 888 | 65.28 | 61.8793
2019-05-19 12:15:00 | 8.872 | 114.1033 | 10.2047 | 125.3867 | 15.9487 | 22.836 | 16.0507 | 29.4487 | 16.3893 | 888.0667 | 65.2947 | 60.8813
2019-05-19 12:30:00 | 7.9533 | 109.72 | 9.16 | 120.5667 | 14.21 | 20.1867 | 14.4533 | 24.9 | 16.6333 | 889 | 65.3567 | 59.5113
2019-05-19 12:45:00 | 7.3533 | 95.8367 | 8.4633 | 105.31 | 13.1533 | 10.3067 | 13.8233 | 17.09 | 16.7067 | 889 | 66.5333 | 58.196
2019-05-19 13:00:00 | 7.4733 | 211.95 | 8.6033 | 232.91 | 13.5267 | 29.44 | 13.55 | 19.9767 | 17.3067 | 889 | 63.0933 | 59.2887
2019-05-19 13:15:00 | 8.2333 | 79.02 | 9.4733 | 86.8267 | 14.65 | 19.7833 | 15.0733 | 32.2433 | 17.564 | 889 | 60.2867 | 59.264
2019-05-19 13:30:00 | 8.2333 | 211.4667 | 9.4733 | 232.3667 | 14.45 | 23.6033 | 14.56 | 30.6367 | 17.676 | 889 | 57.62 | 58.5933
2019-05-19 13:45:00 | 8.0733 | 106.36 | 9.29 | 116.88 | 14.2033 | 12.9533 | 14.61 | 22.28 | 17.7213 | 889 | 56.556 | 59.5987
2019-05-19 14:00:00 | 8.4133 | 235.48 | 9.6833 | 258.7667 | 14.9233 | 23.2267 | 14.75 | 26.38 | 17.9933 | 889 | 56.1867 | 57.092
2019-05-19 14:15:00 | 7.9033 | 173.8067 | 9.09 | 191 | 14.1333 | 9.7133 | 14.31 | 17.0333 | 17.9833 | 889 | 56.5833 | 57.0847
2019-05-19 14:30:00 | 7.9433 | 101.04 | 9.1367 | 111.0333 | 14 | 18.6733 | 13.8033 | 10.2933 | 17.6833 | 889 | 57.594 | 55.6587
2019-05-19 14:45:00 | 7.6233 | 199.35 | 8.7667 | 219.0667 | 13.6567 | 11.91 | 13.8733 | 26.2533 | 17.7667 | 889 | 57.9833 | 55.1947
2019-05-19 15:00:00 | 7.17 | 251.7633 | 8.2467 | 276.6667 | 12.982 | 5.4633 | 13.3467 | 25.7067 | 17.84 | 889 | 59.2967 | 53.79
2019-05-19 15:15:00 | 7.2133 | 174.5533 | 8.2967 | 191.8067 | 12.9 | 28.03 | 13.3067 | 29.4867 | 17.3833 | 889 | 61.1133 | 54.0573
2019-05-19 15:30:00 | 7.0133 | 176.68 | 8.0767 | 194.14 | 12.5333 | 27.1567 | 13.0267 | 29.78 | 17.1433 | 889 | 61.5 | 50.898
2019-05-19 15:45:00 | 6.6567 | 121.1533 | 7.6633 | 133.1333 | 12.16 | 25.9867 | 12.5267 | 31.9833 | 16.7867 | 889 | 65.06 | 49.4947
2019-05-19 16:00:00 | 6.19 | 102.64 | 7.1233 | 112.7867 | 11.6267 | 20.6533 | 11.5933 | 29.7433 | 16.5867 | 889 | 67.4467 | 48.922
2019-05-19 16:15:00 | 6.22 | 185.52 | 7.16 | 203.8667 | 11.64 | 15.6167 | 11.6467 | 30.1967 | 16.728 | 889 | 66.5467 | 52.97
2019-05-19 16:30:00 | 6.2733 | 274.7067 | 7.2267 | 301.8667 | 11.9133 | 13.35 | 12.1267 | 18.6633 | 16.696 | 889 | 66.948 | 53.2653
2019-05-19 16:45:00 | 6.2333 | 54.5667 | 7.1733 | 59.9533 | 11.65 | 15.75 | 11.81 | 23.3167 | 16.7033 | 888.2667 | 67.3767 | 48.556
2019-05-19 17:00:00 | 5.74 | 62.22 | 6.6067 | 68.3733 | 10.8033 | 14.6767 | 10.89 | 22.7833 | 16.77 | 888.4 | 68.4433 | 44.212
2019-05-19 17:15:00 | 5.6867 | 115.3867 | 6.54 | 126.7967 | 10.6533 | 15.62 | 10.4767 | 25.69 | 16.72 | 888.2667 | 67.78 | 43.4887
2019-05-19 17:30:00 | 5.58 | 121.1 | 6.42 | 133.0633 | 10.46 | 19.72 | 10.326 | 20.47 | 16.652 | 888 | 68.26 | 42.8047
2019-05-19 17:45:00 | 5.44 | 130.62 | 6.2633 | 143.5333 | 10.5067 | 11.91 | 10.7567 | 20.3967 | 16.3433 | 888.6667 | 70.7067 | 43.8847
2019-05-19 18:00:00 | 5.66 | 185.1533 | 6.51 | 203.4667 | 10.7333 | 6.01 | 10.93 | 21.8033 | 16.03 | 888.4 | 71.8533 | 41.4847
2019-05-19 18:15:00 | 5.82 | 236.8567 | 6.6967 | 260.2667 | 10.4633 | 12.67 | 10.6167 | 21.5687 | 15.9093 | 889 | 71 | 43.1693
2019-05-19 18:30:00 | 6.0667 | 114.8433 | 6.9767 | 126.1867 | 10.922 | 15.85 | 10.81 | 22.8567 | 15.84 | 889 | 71.5333 | 42.4473
2019-05-19 18:45:00 | 5.6867 | 241.4333 | 6.54 | 265.3 | 10.41 | 11.45 | 10.18 | 24.1633 | 15.64 | 889 | 73.0127 | 37.5173
2019-05-19 19:00:00 | 5.2533 | 94.9733 | 6.0467 | 104.3667 | 9.77 | 15.6433 | 9.64 | 21.7367 | 15.5 | 889 | 73.6033 | 31.554
2019-05-19 19:15:00 | 4.4067 | 130.7133 | 5.0767 | 143.6333 | 8.63 | 17.0733 | 8.9033 | 26.14 | 15.23 | 889 | 76.88 | 29.0447
2019-05-19 19:30:00 | 3.9467 | 130.1733 | 4.5367 | 143.0333 | 7.6633 | 15.8733 | 8.0633 | 28.62 | 14.7367 | 889 | 80.7333 | 27.8953
2019-05-19 19:45:00 | 3.9267 | 157.6833 | 4.5133 | 173.2667 | 7.0033 | 13.1533 | 7.26 | 24.4933 | 14.6633 | 889 | 79.7467 | 30.8413
2019-05-19 20:00:00 | 3.8867 | 163.1433 | 4.4667 | 179.2667 | 7.49 | 14.4533 | 7.68 | 20.5267 | 14.5633 | 889 | 80.4333 | 31.6673
2019-05-19 20:15:00 | 4.08 | 197.6567 | 4.6933 | 217.2033 | 7.5967 | 9.3733 | 7.77 | 19.3667 | 14.4493 | 889 | 81.8333 | 31.2133
2019-05-19 20:30:00 | 4.24 | 34.0167 | 4.88 | 37.3767 | 7.45 | 10.9467 | 7.6967 | 21.02 | 14.4133 | 889 | 82.6333 | 31.0473
2019-05-19 20:45:00 | 4.24 | 102.44 | 4.8833 | 112.5667 | 7.1133 | 14.3533 | 7.58 | 16.1867 | 14.3067 | 889 | 83.6 | 32.08
2019-05-19 21:00:00 | 4.0267 | 127.28 | 4.63 | 139.86 | 7.2933 | 15.8467 | 7.6133 | 21.1933 | 14.1867 | 889 | 84.3333 | 32.348
2019-05-19 21:15:00 | 4 | 302.16 | 4.6067 | 332.0333 | 7.2733 | 240.18 | 7.7133 | 22.148 | 14.3267 | 889.7333 | 82.6333 | 32.0013
2019-05-19 21:30:00 | 3.6667 | 112.32 | 4.2267 | 123.4267 | 6.9 | 14.06 | 8.1667 | 21.38 | 14.38 | 890 | 82.2333 | 27.9673
2019-05-19 21:45:00 | 3.6167 | 187.4167 | 4.1567 | 205.9533 | 6.6233 | 12.87 | 7.2867 | 13.72 | 14.35 | 890 | 82.2 | 27.8253
2019-05-19 22:00:00 | 3.9633 | 187.4767 | 4.5567 | 206.02 | 6.954 | 146.9367 | 7.54 | 14.0333 | 14.5167 | 890 | 81.1333 | 24.97
2019-05-19 22:15:00 | 3.8833 | 285.4067 | 4.47 | 313.6333 | 7.32 | 17.63 | 7.66 | 21.74 | 14.5 | 890 | 81.3333 | 28.3927
2019-05-19 22:30:00 | 3.9233 | 135.3533 | 4.5167 | 148.7333 | 7.46 | 13.4967 | 8.5 | 25.3533 | 14.4867 | 890 | 81.2 | 25.0027
2019-05-19 22:45:00 | 3.8867 | 96.2733 | 4.48 | 105.7933 | 7.02 | 9.0167 | 8.5333 | 21.8267 | 14.4973 | 890 | 81.4333 | 25.232
2019-05-19 23:00:00 | 3.6733 | 284.4133 | 4.2267 | 312.5333 | 6.7333 | 8.6767 | 8.32 | 25.0133 | 14.44 | 890 | 81.94 | 19.7407
2019-05-19 23:15:00 | 3.5567 | 316.3167 | 4.09 | 347.6 | 6.1467 | 16.17 | 7.6833 | 27.79 | 14.5533 | 890 | 80.9333 | 15.3147
2019-05-19 23:30:00 | 2.9033 | 109.87 | 3.3367 | 120.7333 | 5.6067 | 5.51 | 6.47 | 22.4967 | 14.5467 | 890.4 | 80.8 | 8.2273
2019-05-19 23:45:00 | 2.3433 | 87.7867 | 2.6967 | 96.4667 | 4.1867 | 5.9633 | 4.6067 | 25.4433 | 14.77 | 891 | 78.39 | 5.164