## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-20 00:00:00 | 2.0429 | 261 | 2.3493 | 286.8071 | 3.6957 | 8.685 | 3.9907 | 26.9407 | 14.7893 | 891 | 78.1 | 3.6343
2019-05-20 00:15:00 | 2 | 257.23 | 2.3 | 282.6667 | 3.34 | 27.6733 | 4.0433 | 31.48 | 15.36 | 891 | 73.3133 | 1.7467
2019-05-20 00:30:00 | 1.9 | 282.462 | 2.188 | 310.4 | 3.676 | 29.852 | 3.614 | 33.052 | 15.44 | 891 | 72.632 | 2.236
2019-05-20 00:45:00 | 1.9367 | 292.6773 | 2.24 | 321.6267 | 3.69 | 30.51 | 2.6367 | 28.84 | 15.71 | 891 | 70.0033 | 1.458
2019-05-20 01:00:00 | 1.4167 | 290.2867 | 1.6333 | 319 | 2.4567 | 21.89 | 2.23 | 27.04 | 15.85 | 891 | 68.47 | 1.566
2019-05-20 01:15:00 | 2.0467 | 299.3033 | 2.3567 | 328.9 | 3.1 | 45.61 | 3.6 | 9.0167 | 15.708 | 891 | 70.96 | 6.378
2019-05-20 01:30:00 | 2.3733 | 306.8833 | 2.7367 | 337.2333 | 3.96 | 0.50333 | 4.3533 | 4.67 | 15.1667 | 891 | 74.7733 | 9.188
2019-05-20 01:45:00 | 2.74 | 306.9433 | 3.1467 | 337.3 | 5.1467 | 3.34 | 5.4433 | 7.4833 | 14.7567 | 891 | 77.7333 | 9.2893
2019-05-20 02:00:00 | 2.6467 | 108.0633 | 3.04 | 118.7467 | 5.08 | 237.36 | 5.85 | 4.9567 | 14.4567 | 891 | 80.8533 | 7.758
2019-05-20 02:15:00 | 2.8967 | 242.7013 | 3.3293 | 266.7047 | 5.6167 | 27.1487 | 5.7633 | 14.6513 | 14.1553 | 890.2667 | 82.6133 | 7.6453
2019-05-20 02:30:00 | 2.8433 | 259.29 | 3.2733 | 284.9333 | 5.5333 | 2.5633 | 6.0733 | 12.4933 | 14.148 | 890 | 81.4333 | 7.9113
2019-05-20 02:45:00 | 2.7733 | 306.64 | 3.19 | 336.9667 | 4.8133 | 0.15 | 5.4 | 13.8767 | 14.1567 | 890 | 83.6333 | 7.988
2019-05-20 03:00:00 | 2.8467 | 289.8333 | 3.2767 | 318.5 | 5.0267 | 0.68333 | 5.5933 | 7.33 | 13.91 | 890 | 86.3667 | 2.9727
2019-05-20 03:15:00 | 1.9333 | 263.3933 | 2.2233 | 289.4333 | 3.3633 | 120.7133 | 3.6133 | 134.72 | 14.2 | 890 | 80.9767 | 0
2019-05-20 03:30:00 | 1.7867 | 173.8467 | 2.0567 | 191.0333 | 2.5433 | 211.5333 | 2.24 | 223.8 | 14.7333 | 890 | 75.4367 | 0
2019-05-20 03:45:00 | 3.2867 | 160.5333 | 3.7767 | 176.4 | 4.53 | 187.2 | 4.3767 | 200.5667 | 13.8467 | 890 | 87.2333 | 1.1067
2019-05-20 04:00:00 | 3.2467 | 181.46 | 3.7367 | 199.4 | 4.6433 | 216.9333 | 4.9167 | 232.5 | 13.48 | 890 | 90.5667 | 3.1133
2019-05-20 04:15:00 | 3.6867 | 157.5567 | 4.24 | 173.1333 | 5.0767 | 188.8333 | 4.8933 | 235.5667 | 12.84 | 890 | 96.0667 | 2.188
2019-05-20 04:30:00 | 4.0267 | 124.7967 | 4.6333 | 137.1333 | 5.1967 | 141.6333 | 4.94 | 180.5667 | 12.6133 | 890 | 98.1333 | 3.04
2019-05-20 04:45:00 | 2.8567 | 162.9233 | 3.2867 | 179.0333 | 3.5633 | 185.4667 | 4.0167 | 193.7333 | 12.5167 | 890 | 99.3333 | 2.126
2019-05-20 05:00:00 | 2.43 | 164.0833 | 2.7933 | 180.3 | 3.1833 | 172.8667 | 3.3033 | 197.5333 | 12.4567 | 890 | 99.7333 | 2.6527
2019-05-20 05:15:00 | 2.7467 | 159.8533 | 3.16 | 175.6667 | 3.69 | 204.8333 | 4.4633 | 207 | 12.3233 | 890 | 100 | 1.848
2019-05-20 05:30:00 | 1.9133 | 171.7467 | 2.2133 | 188.7333 | 2.93 | 207.9667 | 3.13 | 213.9333 | 12.21 | 890 | 100 | 0.87933
2019-05-20 05:45:00 | 1.8767 | 155.0367 | 2.16 | 170.3667 | 2.8233 | 204.9 | 3.1467 | 210.68 | 12.2267 | 890 | 99.9 | 2.168
2019-05-20 06:00:00 | 2.4767 | 162.0767 | 2.8533 | 178.1 | 3.5167 | 196.7 | 3.9867 | 196.8667 | 12.24 | 890 | 99.5667 | 1.692
2019-05-20 06:15:00 | 0.72333 | 178.91 | 0.83667 | 196.6 | 1.2133 | 210.3667 | 2.2333 | 220.3333 | 12.246 | 890 | 99.0933 | 0
2019-05-20 06:30:00 | 0.043333 | 199.438 | 0.056667 | 219.16 | 0.066667 | 207.8333 | 1.02 | 220.8667 | 12.3633 | 890 | 98.3333 | 0
2019-05-20 06:45:00 | 0.17667 | 199.4433 | 0.20333 | 219.1667 | 0.33333 | 284.0333 | 1.76 | 269.7667 | 12.6267 | 890.0667 | 95.2 | 0.025333
2019-05-20 07:00:00 | 0.003333 | 199.39 | 0.003333 | 219.1 | 0.006667 | 258.3667 | 1.9867 | 249.9 | 12.6067 | 891 | 95 | 0
2019-05-20 07:15:00 | 0.036667 | 232.8967 | 0.043333 | 255.9267 | 0 | 258.1067 | 0.22667 | 250.5933 | 12.5807 | 891 | 96 | 0
2019-05-20 07:30:00 | 1.0567 | 299.91 | 1.2167 | 329.5667 | 1.0133 | 323.8 | 1.0933 | 92.2533 | 12.6967 | 891 | 96 | 0
2019-05-20 07:45:00 | 1.95 | 206.3833 | 2.24 | 226.8 | 2.3467 | 238.4467 | 2.62 | 120.1933 | 12.72 | 891 | 96.5 | 0
2019-05-20 08:00:00 | 1.83 | 211.31 | 2.1067 | 232.2 | 2.08 | 237.1 | 2.16 | 119.2867 | 12.7667 | 891.4 | 96.7667 | 0
2019-05-20 08:15:00 | 0.56 | 270.1767 | 0.64333 | 296.9 | 0.96333 | 338.3333 | 1.7533 | 130.7933 | 12.8333 | 892 | 97.2333 | 0
2019-05-20 08:30:00 | 0.2 | 200.11 | 0.23667 | 219.9 | 0.39 | 313.04 | 1.5 | 347.6 | 12.96 | 892 | 97.9 | 0
2019-05-20 08:45:00 | 0.15867 | 271 | 0.19 | 297.8 | 0.30467 | 337.88 | 1.642 | 301.9787 | 13.1013 | 892 | 97.8733 | 0
2019-05-20 09:00:00 | 0.52667 | 303.9467 | 0.60667 | 334 | 1.0033 | 344.5 | 2.0633 | 235.88 | 13.3133 | 892 | 95.5333 | 0
2019-05-20 09:15:00 | 0.76 | 107.0233 | 0.88 | 117.6 | 1.19 | 3.9067 | 1.9933 | 0.68333 | 13.4907 | 892 | 96.6 | 0
2019-05-20 09:30:00 | 0.97333 | 107.0233 | 1.12 | 117.6 | 1.4433 | 225.4267 | 1.66 | 0.55 | 13.5933 | 892.4 | 96.44 | 0
2019-05-20 09:45:00 | 1.1967 | 309.01 | 1.38 | 339.5667 | 1.6167 | 350.7 | 1.8767 | 0.34 | 13.704 | 893 | 96.4667 | 0
2019-05-20 10:00:00 | 1.3567 | 306.554 | 1.56 | 336.86 | 1.8633 | 353.1667 | 1.7967 | 211.58 | 14.0667 | 893 | 93.8 | 0.24
2019-05-20 10:15:00 | 1.1033 | 241.3633 | 1.27 | 265.2333 | 1.23 | 281.4 | 1.7067 | 305.2333 | 14.5733 | 893 | 88.8933 | 0.16133
2019-05-20 10:30:00 | 0.35 | 109.7233 | 0.41667 | 120.5667 | 0.38333 | 133.7333 | 0.58 | 171.4333 | 14.5533 | 893 | 93.1333 | 0.216
2019-05-20 10:45:00 | 0.58667 | 84.2767 | 0.68667 | 92.61 | 0.94 | 60.08 | 1.42 | 26.22 | 14.28 | 893 | 92.6667 | 0
2019-05-20 11:00:00 | 1.2133 | 14.29 | 1.4 | 15.7033 | 2.1133 | 8.6867 | 2.1333 | 19.16 | 14.6867 | 893 | 88.2 | 0
2019-05-20 11:15:00 | 2.18 | 227.58 | 2.5033 | 250.0867 | 3.3167 | 238.54 | 3.15 | 354.6667 | 14.4813 | 893 | 89.0333 | 0.358
2019-05-20 11:30:00 | 3.2267 | 216.12 | 3.71 | 237.4867 | 4.23 | 238.4733 | 4.2567 | 119.8 | 14.508 | 893 | 88.3 | 1.8147
2019-05-20 11:45:00 | 2.8067 | 3.68 | 3.23 | 4.0367 | 4.4733 | 12.87 | 4.37 | 13.46 | 14.7767 | 893 | 90.2667 | 3.07
2019-05-20 12:00:00 | 2.6667 | 8.6067 | 3.07 | 9.45 | 4.7933 | 2.5967 | 4.6367 | 0.24 | 15.2767 | 893 | 87.7333 | 2.794
2019-05-20 12:15:00 | 2.5833 | 111.3133 | 2.9733 | 122.3133 | 4.4733 | 10.7033 | 4.5067 | 10.3033 | 15.7033 | 893 | 83.0333 | 1.5887
2019-05-20 12:30:00 | 2.59 | 120.2333 | 2.98 | 132.1133 | 4.46 | 8.0767 | 4.3733 | 15.0633 | 15.87 | 892.6 | 81.7 | 1.2487
2019-05-20 12:45:00 | 3.0367 | 116.1767 | 3.49 | 127.6667 | 4.36 | 244.09 | 4.4033 | 244.9833 | 15.49 | 892 | 81.5667 | 1.2073
2019-05-20 13:00:00 | 2.7433 | 293.09 | 3.1567 | 322.0667 | 4.36 | 21.5633 | 4.2433 | 14.0633 | 15.5033 | 892 | 82.9 | 0.786
2019-05-20 13:15:00 | 2.4033 | 35.0467 | 2.76 | 38.51 | 4.1933 | 15.4333 | 3.9233 | 17.4333 | 16.04 | 892 | 81.8667 | 1.6753
2019-05-20 13:30:00 | 2.45 | 176.8867 | 2.82 | 194.3767 | 4.64 | 18.6267 | 4.45 | 25.68 | 16.4667 | 892 | 81.3333 | 3.804
2019-05-20 13:45:00 | 2.614 | 266.7447 | 3.014 | 293.1133 | 4.9707 | 13.642 | 4.7007 | 16.1373 | 16.938 | 892 | 79.71 | 3.692
2019-05-20 14:00:00 | 2.6333 | 307.3067 | 3.0367 | 337.7 | 5.1067 | 5.52 | 4.8933 | 22.2933 | 17.22 | 892 | 78.53 | 2.0767
2019-05-20 14:15:00 | 2.5633 | 100.9 | 2.9567 | 110.88 | 4.7933 | 19.8 | 4.5233 | 8.5767 | 17.7067 | 892 | 76.4667 | 0.23733
2019-05-20 14:30:00 | 2.1633 | 108.4533 | 2.49 | 119.1733 | 3.94 | 15.7933 | 3.93 | 22.8033 | 17.8667 | 892 | 75.96 | 0
2019-05-20 14:45:00 | 1.9267 | 96.2713 | 2.216 | 105.7913 | 3.6073 | 20.7473 | 3.5693 | 19.7733 | 18.1047 | 892 | 74.5933 | 0
2019-05-20 15:00:00 | 1.86 | 15.1567 | 2.1467 | 16.65 | 3.0567 | 8.8833 | 2.9333 | 14.0133 | 18.1167 | 892 | 74.1133 | 0
2019-05-20 15:15:00 | 1.716 | 62.1127 | 1.9813 | 68.2553 | 2.8913 | 23.8833 | 2.8013 | 19.6407 | 17.9527 | 891.2667 | 75.3827 | 0
2019-05-20 15:30:00 | 1.7267 | 24.23 | 1.9967 | 26.6233 | 3.16 | 8.37 | 3.0333 | 19.64 | 18.1 | 891 | 75.934 | 0
2019-05-20 15:45:00 | 1.6067 | 128.3633 | 1.8533 | 141.0467 | 2.9967 | 7.6467 | 2.9267 | 17.2333 | 17.9 | 891 | 77.19 | 0
2019-05-20 16:00:00 | 1.34 | 104.7767 | 1.54 | 115.1333 | 2.43 | 8.4867 | 2.5333 | 16.96 | 17.7867 | 890.6 | 76.75 | 0
2019-05-20 16:15:00 | 1.22 | 208.4733 | 1.41 | 229.08 | 2.33 | 21.86 | 2.3133 | 17.2733 | 17.9033 | 890 | 76.82 | 0
2019-05-20 16:30:00 | 1.2867 | 21.34 | 1.4833 | 23.4467 | 2.3367 | 23.06 | 2.3467 | 25.7133 | 17.9433 | 890 | 75.0067 | 0
2019-05-20 16:45:00 | 1.1467 | 103.5033 | 1.3167 | 113.7333 | 2.2667 | 8.86 | 2.1267 | 22.42 | 17.8307 | 890 | 76.9133 | 0
2019-05-20 17:00:00 | 1.2067 | 104.0033 | 1.3967 | 114.2867 | 2.26 | 237.5 | 2.0733 | 17.32 | 17.8067 | 889.6 | 75.6667 | 0
2019-05-20 17:15:00 | 1.4867 | 223.2467 | 1.71 | 245.3267 | 2.47 | 6.6867 | 2.4033 | 19.9467 | 18.3467 | 889 | 71.8767 | 0
2019-05-20 17:30:00 | 1.3533 | 22.84 | 1.5633 | 25.0933 | 2.3967 | 13.4867 | 2.3167 | 23.28 | 18.22 | 889.4 | 72.4233 | 0
2019-05-20 17:45:00 | 1.0967 | 38.1267 | 1.26 | 41.8933 | 1.7667 | 6.0567 | 1.7367 | 22.5133 | 18.338 | 890 | 70.1767 | 0
2019-05-20 18:00:00 | 0.27667 | 193.2 | 0.32 | 212.3 | 0.47333 | 10.0767 | 0.67 | 28.5867 | 18.47 | 890 | 69.39 | 0
2019-05-20 18:15:00 | 0.02 | 126.77 | 0.02 | 139.3 | 0.026667 | 341.5 | 0.05 | 317.8 | 18.07 | 889.9333 | 68.8067 | 0
2019-05-20 18:30:00 | 0.006667 | 126.77 | 0.006667 | 139.3 | 0.013333 | 341.5 | 0.003333 | 317.8 | 17.6833 | 889 | 68.98 | 0
2019-05-20 18:45:00 | 0.36667 | 143.2433 | 0.42333 | 157.4 | 0.71 | 240.8333 | 0.27333 | 248.5067 | 17.58 | 889 | 74.47 | 0
2019-05-20 19:00:00 | 0.86667 | 176.078 | 0.99667 | 193.48 | 1.6033 | 236.7 | 0.96667 | 240.5333 | 17.06 | 889 | 81.29 | 0
2019-05-20 19:15:00 | 0.87667 | 190.8067 | 1.02 | 209.6667 | 1.3533 | 222.4 | 1.4467 | 214.4 | 16.66 | 889 | 82.26 | 0
2019-05-20 19:30:00 | 0.91667 | 180.5467 | 1.06 | 198.4 | 1.4 | 201.6667 | 1.74 | 202.6 | 16.4867 | 889 | 81.2333 | 0
2019-05-20 19:45:00 | 1.8533 | 170.32 | 2.1367 | 187.1667 | 2.3933 | 178.3 | 2.6533 | 185.0667 | 16.3133 | 888.9333 | 80.08 | 0
2019-05-20 20:00:00 | 2.28 | 160.92 | 2.63 | 176.8333 | 2.9533 | 203.9 | 3.0867 | 205 | 16.18 | 888.4 | 79.82 | 0
2019-05-20 20:15:00 | 2.5633 | 187.6467 | 2.95 | 206.2 | 3.3767 | 197.0667 | 3.3367 | 204.8667 | 15.9333 | 888.2667 | 81.5 | 0.546
2019-05-20 20:30:00 | 2.53 | 162.4733 | 2.91 | 178.5333 | 3.3233 | 180.0667 | 3.3767 | 192.4667 | 15.7 | 888 | 84.7667 | 1.014
2019-05-20 20:45:00 | 2.74 | 166.4833 | 3.15 | 182.9333 | 3.5067 | 175.4 | 3.58 | 172.3667 | 15.4367 | 888 | 87.2667 | 1.394
2019-05-20 21:00:00 | 2.5333 | 149.19 | 2.9167 | 163.9333 | 3.2067 | 172.2 | 3.38 | 181.4333 | 15.23 | 888 | 87.9333 | 1.4473
2019-05-20 21:15:00 | 2.8067 | 153.0033 | 3.2333 | 168.1333 | 3.68 | 176.2667 | 3.8767 | 180.4333 | 14.97 | 888 | 87.9333 | 1.5913
2019-05-20 21:30:00 | 2.82 | 145.0633 | 3.24 | 159.4 | 3.7667 | 174.9333 | 3.95 | 179.9 | 15.01 | 888 | 85.1333 | 1.3313
2019-05-20 21:45:00 | 2.4333 | 159.8333 | 2.8 | 175.6333 | 3.1967 | 180.1 | 3.6833 | 182.9 | 15.0013 | 888.7333 | 83.7667 | 2.0747
2019-05-20 22:00:00 | 2.88 | 168.048 | 3.3133 | 184.66 | 3.7633 | 179.9 | 4.05 | 176.1667 | 14.9267 | 889 | 83.1 | 3.4867
2019-05-20 22:15:00 | 3.1867 | 161.6467 | 3.6633 | 177.6333 | 3.97 | 178.9667 | 4.3467 | 177.0667 | 14.7967 | 889 | 82.8333 | 2.894
2019-05-20 22:30:00 | 2.9067 | 160.9867 | 3.3433 | 176.9 | 3.57 | 175.3667 | 4.1533 | 172.8 | 14.61 | 889 | 84.0333 | 2.4427
2019-05-20 22:45:00 | 2.8867 | 148.5133 | 3.32 | 163.2 | 3.5967 | 169 | 3.86 | 181.7333 | 14.3933 | 889 | 85.5 | 2.3187
2019-05-20 23:00:00 | 2.74 | 141.36 | 3.1467 | 155.3333 | 3.49 | 164.2667 | 3.66 | 176.8667 | 14.276 | 889 | 86.4333 | 0.66133
2019-05-20 23:15:00 | 2.1467 | 163.4033 | 2.4733 | 179.5667 | 2.94 | 168.6667 | 3.3067 | 175.1333 | 14.2833 | 889 | 86.3667 | 0.067333
2019-05-20 23:30:00 | 2.02 | 151.4033 | 2.32 | 166.3667 | 2.8467 | 161.2667 | 3.18 | 169.9333 | 14.234 | 889 | 86.1 | 0.041333
2019-05-20 23:45:00 | 2.0467 | 153.3967 | 2.3533 | 168.5667 | 2.8967 | 165.9667 | 2.91 | 173.7333 | 14.1367 | 889 | 86.2 | 0