## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-21 00:00:00 | 1.815 | 152.9143 | 2.0886 | 168.0286 | 2.5764 | 171.2 | 2.5857 | 174.1143 | 14.0907 | 889 | 86.5929 | 0
2019-05-21 00:15:00 | 2.2033 | 167.41 | 2.5367 | 183.9667 | 3.0033 | 175.0333 | 3.0167 | 175.3333 | 14.0933 | 889 | 86.8 | 0
2019-05-21 00:30:00 | 1.91 | 171.79 | 2.1967 | 188.7667 | 2.7833 | 178.7 | 2.8167 | 178.8667 | 14.08 | 889 | 86.96 | 0
2019-05-21 00:45:00 | 1.52 | 166.2267 | 1.75 | 182.6667 | 2.1567 | 179.9333 | 2.4533 | 175.6733 | 14.0727 | 889 | 87.1067 | 0
2019-05-21 01:00:00 | 1.6133 | 158.56 | 1.8633 | 174.24 | 2.19 | 171.5333 | 2.34 | 169.7 | 13.9967 | 889 | 87.6667 | 0
2019-05-21 01:15:00 | 1.98 | 163.0133 | 2.2833 | 179.1333 | 2.63 | 179.0333 | 2.74 | 176.3333 | 14.03 | 888.9333 | 88.04 | 0
2019-05-21 01:30:00 | 1.38 | 168.2333 | 1.59 | 184.8667 | 2.0833 | 173.1 | 2.34 | 173.2 | 13.99 | 888 | 88.6 | 0
2019-05-21 01:45:00 | 0.86 | 174.1433 | 0.99333 | 191.3667 | 1.4 | 179.7333 | 1.7367 | 190.8133 | 13.9233 | 888 | 88.9 | 0
2019-05-21 02:00:00 | 0.74667 | 173.91 | 0.86 | 191.1 | 1.2333 | 178.44 | 1.91 | 190.96 | 13.8433 | 888 | 89.6333 | 0
2019-05-21 02:15:00 | 0.73333 | 173.91 | 0.84333 | 191.1 | 1.4533 | 174.6667 | 1.2267 | 178.9067 | 13.7413 | 888 | 90.4 | 0
2019-05-21 02:30:00 | 1 | 154.25 | 1.1633 | 169.5 | 1.82 | 173.6667 | 1.4933 | 179 | 13.8 | 888 | 90.1333 | 0
2019-05-21 02:45:00 | 1.5 | 169.8167 | 1.7367 | 186.6 | 1.99 | 182.5733 | 1.9133 | 179 | 13.8707 | 888 | 89.9 | 0
2019-05-21 03:00:00 | 1.8067 | 180.3033 | 2.0767 | 198.1333 | 2.4433 | 188.6667 | 2.4867 | 183.4 | 13.8 | 888 | 90.7667 | 0
2019-05-21 03:15:00 | 1.62 | 162.59 | 1.8667 | 178.6667 | 2.28 | 191.7333 | 2.4767 | 195.9667 | 13.5033 | 888 | 92.9 | 0.38133
2019-05-21 03:30:00 | 2.64 | 158.2233 | 3.0333 | 173.8667 | 3.5933 | 181.5333 | 3.5967 | 188.1 | 13.29 | 888 | 94.6333 | 1.4553
2019-05-21 03:45:00 | 3.2233 | 152.5567 | 3.7067 | 167.6333 | 4.16 | 178.2333 | 4.4467 | 181.9 | 13.07 | 888 | 96.8333 | 2.0107
2019-05-21 04:00:00 | 2.9767 | 164.6167 | 3.4333 | 180.9 | 3.8 | 193.7667 | 4.3333 | 178.6333 | 12.9367 | 888 | 97.7667 | 3.046
2019-05-21 04:15:00 | 3.07 | 169.75 | 3.53 | 186.5333 | 3.8667 | 171.0667 | 4.54 | 173.9 | 12.85 | 887.9333 | 98.7 | 4.1493
2019-05-21 04:30:00 | 2.9033 | 177.57 | 3.3367 | 195.1333 | 3.64 | 177.5333 | 4.2333 | 180.1667 | 12.8633 | 887 | 99.4333 | 4.9727
2019-05-21 04:45:00 | 2.9167 | 187.3067 | 3.3567 | 205.8333 | 3.4933 | 184 | 4.0833 | 193.1 | 12.8527 | 887 | 99.9067 | 2.552
2019-05-21 05:00:00 | 2.3567 | 150.6667 | 2.71 | 165.5667 | 2.88 | 178.9333 | 3.35 | 196.6333 | 12.7633 | 887 | 100 | 0.20867
2019-05-21 05:15:00 | 0.56667 | 151.16 | 0.66 | 166.1 | 0.78667 | 192.0333 | 1.3133 | 201.0333 | 12.7 | 887 | 100 | 0
2019-05-21 05:30:00 | 0.12 | 246.0333 | 0.14 | 270.3667 | 0.21333 | 206.5667 | 0.57333 | 207.0333 | 12.672 | 887 | 100 | 0
2019-05-21 05:45:00 | 0 | 260.72 | 0 | 286.5 | 0 | 203.2 | 0 | 225.3 | 12.6153 | 887 | 100 | 0
2019-05-21 06:00:00 | 0.026667 | 271.82 | 0.033333 | 298.7 | 0 | 203.2 | 0.033333 | 279.3 | 12.6033 | 887 | 100 | 0
2019-05-21 06:15:00 | 0.12333 | 277.442 | 0.15 | 304.88 | 0.22 | 344.8333 | 0.92 | 230.2667 | 12.636 | 887 | 100 | 0
2019-05-21 06:30:00 | 0.21667 | 277.514 | 0.25667 | 304.96 | 0.41333 | 131.9533 | 0.68667 | 40.32 | 12.62 | 887 | 100 | 0
2019-05-21 06:45:00 | 0.08 | 277.52 | 0.093333 | 304.9667 | 0.14667 | 1.2333 | 0.64 | 7.05 | 12.69 | 887 | 100 | 0
2019-05-21 07:00:00 | 0 | 277.46 | 0 | 304.9 | 0 | 1.26 | 0 | 7.05 | 12.7633 | 887.4 | 100 | 0
2019-05-21 07:15:00 | 0.02 | 245.22 | 0.023333 | 269.4667 | 0.006667 | 60.4733 | 0.06 | 120.8667 | 12.8533 | 888 | 100 | 0
2019-05-21 07:30:00 | 0.026667 | 180.628 | 0.03 | 198.48 | 0.006667 | 178.84 | 0.24667 | 177.8 | 12.9533 | 888 | 100 | 0
2019-05-21 07:45:00 | 0 | 180.3933 | 0 | 198.2333 | 0 | 178.9 | 0 | 189.9 | 13.15 | 888 | 100 | 0
2019-05-21 08:00:00 | 0 | 180.46 | 0 | 198.3 | 0 | 178.9 | 0 | 189.9 | 13.3833 | 888 | 100 | 0
2019-05-21 08:15:00 | 0.20667 | 299.39 | 0.23667 | 329 | 0.15 | 129.1133 | 0.14333 | 1.65 | 13.5533 | 888.0667 | 100 | 0
2019-05-21 08:30:00 | 0.50667 | 322.99 | 0.58333 | 354.9333 | 0.27667 | 352.3333 | 0.48333 | 0.71 | 13.6 | 889 | 100 | 0
2019-05-21 08:45:00 | 0.006667 | 243.1267 | 0.013333 | 267.1667 | 0 | 249.16 | 0 | 0.24 | 14.6967 | 889 | 98.2667 | 0
2019-05-21 09:00:00 | 0.27333 | 29.86 | 0.32 | 32.8067 | 0.073333 | 19.38 | 0 | 0.24 | 15.2767 | 889 | 93.2 | 0
2019-05-21 09:15:00 | 1.3 | 3.2633 | 1.5 | 3.5833 | 1.24 | 2.4933 | 1.38 | 2.2167 | 15.0633 | 889.0667 | 92.7333 | 0
2019-05-21 09:30:00 | 1.76 | 212.53 | 2.0333 | 233.5433 | 1.9867 | 5.8333 | 1.72 | 7.4367 | 15.3633 | 890 | 92 | 0
2019-05-21 09:45:00 | 1.27 | 112.7167 | 1.4667 | 123.8533 | 1.5867 | 132.2933 | 1.2267 | 6.3867 | 15.9433 | 890 | 88.9333 | 0
2019-05-21 10:00:00 | 1.3233 | 107.0233 | 1.5333 | 117.6 | 1.74 | 135.3067 | 1.2733 | 6.64 | 16.1567 | 890 | 87.04 | 0
2019-05-21 10:15:00 | 1.76 | 18.4833 | 2.0367 | 20.3033 | 2.3 | 14.0767 | 2.0367 | 52.48 | 16.6767 | 890 | 84.8 | 0
2019-05-21 10:30:00 | 1.16 | 75.9033 | 1.3367 | 83.41 | 1.5867 | 50.17 | 1.2567 | 59.7067 | 17.35 | 890 | 81.6667 | 0
2019-05-21 10:45:00 | 1.0133 | 172.6 | 1.1633 | 189.6667 | 1.36 | 148.9667 | 1.4167 | 141.8 | 18.5733 | 890 | 78.2233 | 0
2019-05-21 11:00:00 | 1.6733 | 138.284 | 1.9233 | 151.96 | 2.1267 | 176.7 | 2.1233 | 172 | 18.58 | 890 | 80.3433 | 0
2019-05-21 11:15:00 | 2.06 | 152.2167 | 2.37 | 167.2667 | 2.5233 | 209.2 | 2.3633 | 197.9333 | 17.9533 | 890 | 84.2667 | 0
2019-05-21 11:30:00 | 2.14 | 171.2633 | 2.4633 | 188.2 | 2.77 | 214 | 2.39 | 225.0667 | 17.3667 | 890 | 85.84 | 0
2019-05-21 11:45:00 | 2.3533 | 179.42 | 2.7167 | 197.1667 | 3.0667 | 212.1333 | 3.1 | 228.4 | 17.87 | 890 | 83.9 | 0
2019-05-21 12:00:00 | 2.82 | 171.84 | 3.2433 | 188.8333 | 3.56 | 192.7333 | 3.2933 | 218.6 | 18.4433 | 890 | 82.7 | 0.28267
2019-05-21 12:15:00 | 2.9733 | 177.5053 | 3.4233 | 195.0533 | 3.7633 | 214.3333 | 3.6367 | 226.9333 | 18.9293 | 890 | 79.5667 | 2.0773
2019-05-21 12:30:00 | 2.9067 | 154.4067 | 3.35 | 169.6667 | 3.81 | 225.8667 | 3.59 | 219.5333 | 19.26 | 890 | 76.8467 | 2.12
2019-05-21 12:45:00 | 2.5867 | 179.186 | 2.9833 | 196.9067 | 3.3733 | 208.5333 | 3.58 | 241.7667 | 19.92 | 890 | 72.8 | 2.9567
2019-05-21 13:00:00 | 2.74 | 166.5967 | 3.15 | 183.0667 | 3.4933 | 218.2 | 3.7333 | 222.1 | 20.2333 | 890 | 69.12 | 3.5473
2019-05-21 13:15:00 | 3.05 | 161.8033 | 3.5133 | 177.8 | 3.8567 | 166.5 | 3.7567 | 203.2 | 20.48 | 890 | 65.5367 | 3.046
2019-05-21 13:30:00 | 3.4833 | 119.89 | 4.0067 | 131.7333 | 4.25 | 143.1667 | 4.3567 | 156.4 | 20.5133 | 890 | 65.1633 | 2.178
2019-05-21 13:45:00 | 2.7533 | 149.5767 | 3.17 | 164.3667 | 3.47 | 199.7333 | 3.71 | 189.0667 | 21.2593 | 890 | 61.41 | 2.3333
2019-05-21 14:00:00 | 3.6467 | 149.33 | 4.1967 | 164.1 | 4.43 | 155.4 | 4.2433 | 175.1333 | 21.1767 | 890 | 62.95 | 2.476
2019-05-21 14:15:00 | 3.9067 | 123.2733 | 4.4967 | 135.4667 | 4.6967 | 144.5667 | 4.59 | 167.2 | 20.9067 | 889.2667 | 64.4833 | 1.836
2019-05-21 14:30:00 | 3.3133 | 137.0467 | 3.8167 | 150.6 | 3.9833 | 164.6333 | 3.9167 | 193.4 | 21.2067 | 889 | 63.2033 | 1.2567
2019-05-21 14:45:00 | 2.5133 | 104.8333 | 2.9 | 115.2 | 3.3533 | 179.5 | 3.5567 | 169.1667 | 21.99 | 889 | 60.5967 | 0.66067
2019-05-21 15:00:00 | 2.54 | 154.1 | 2.9267 | 169.3333 | 3.2933 | 164.8333 | 3.6367 | 163.2333 | 22.182 | 889 | 58.0367 | 0.162
2019-05-21 15:15:00 | 2.42 | 118.6933 | 2.7933 | 130.4333 | 3.0367 | 165.6333 | 2.9033 | 157.6 | 22.5333 | 889 | 55.6033 | 0.063333
2019-05-21 15:30:00 | 2.6933 | 180.2733 | 3.1 | 198.1 | 3.29 | 162.9667 | 3.3033 | 181.4667 | 22.3133 | 889 | 55.9633 | 0.52333
2019-05-21 15:45:00 | 3.3967 | 141.1067 | 3.91 | 155.0667 | 4.0333 | 173.6 | 3.8667 | 181.0667 | 22.36 | 889 | 55.4667 | 1.0227
2019-05-21 16:00:00 | 3.37 | 182.12 | 3.8833 | 200.1333 | 4.26 | 191.5333 | 4.2067 | 185.4667 | 22.5133 | 889 | 54.9 | 1.9133
2019-05-21 16:15:00 | 3.5973 | 158.8607 | 4.138 | 174.5733 | 4.4267 | 153.5 | 4.3687 | 168.1133 | 22.5087 | 889 | 53.7787 | 2.394
2019-05-21 16:30:00 | 3.2833 | 138.5633 | 3.7733 | 152.2667 | 3.9667 | 168.3667 | 3.89 | 186.5333 | 22.312 | 889 | 53.9033 | 2.6613
2019-05-21 16:45:00 | 2.4 | 142.7267 | 2.7633 | 156.8333 | 3.16 | 198.2667 | 3.1733 | 211.2667 | 22.3633 | 888.9333 | 53.65 | 3.6253
2019-05-21 17:00:00 | 2.66 | 121.98 | 3.0633 | 134.0333 | 3.36 | 180.8 | 3.3867 | 192.8667 | 21.9433 | 888 | 54.5567 | 3.1207
2019-05-21 17:15:00 | 2.2733 | 149.2367 | 2.6167 | 164 | 3.0367 | 226 | 3.0333 | 227.6267 | 22.5367 | 888 | 54.2733 | 3.0727
2019-05-21 17:30:00 | 2.628 | 187.882 | 3.028 | 206.46 | 3.676 | 226.64 | 3.744 | 223.98 | 22.698 | 888 | 54.97 | 4.8353
2019-05-21 17:45:00 | 2.88 | 170.11 | 3.3233 | 186.9333 | 4.04 | 222.1667 | 4.2833 | 234.5333 | 22.48 | 888 | 54.3833 | 6.3513
2019-05-21 18:00:00 | 2.8133 | 182.37 | 3.2367 | 200.4 | 3.8933 | 214.8333 | 4.09 | 228.5333 | 22.3267 | 888 | 55.5567 | 7.0707
2019-05-21 18:15:00 | 3.0133 | 167.6833 | 3.4667 | 184.2667 | 4.26 | 221.6667 | 4.4667 | 220.4333 | 21.9833 | 888 | 56.9333 | 7.2667
2019-05-21 18:30:00 | 2.7933 | 178.7833 | 3.2133 | 196.4667 | 4.0267 | 223.8 | 4.26 | 224.5 | 21.7567 | 888 | 57.82 | 9.1167
2019-05-21 18:45:00 | 3.65 | 181.6067 | 4.1967 | 199.5667 | 4.9467 | 212.0333 | 5.3 | 219.7 | 21.2533 | 888 | 59.6167 | 9.576
2019-05-21 19:00:00 | 4.0767 | 174.0933 | 4.6967 | 191.3 | 5.6867 | 223.9667 | 5.84 | 218.3667 | 20.8133 | 888 | 61.4433 | 9.326
2019-05-21 19:15:00 | 3.1033 | 192.44 | 3.57 | 211.4667 | 4.2933 | 224.1 | 3.8833 | 223.4667 | 20.5467 | 887.9333 | 63.19 | 9.7567
2019-05-21 19:30:00 | 3.6633 | 154.6533 | 4.2167 | 169.9333 | 5.1333 | 216.9667 | 5.1967 | 215.8667 | 20.2667 | 887 | 64.9767 | 10.7393
2019-05-21 19:45:00 | 3.9667 | 173.24 | 4.57 | 190.3667 | 5.68 | 208.9333 | 6.18 | 218.3333 | 19.64 | 887 | 69.1467 | 11.74
2019-05-21 20:00:00 | 4.3667 | 174.0267 | 5.0233 | 191.2333 | 6.2133 | 221.4 | 6.8733 | 223.9333 | 19.24 | 887 | 71.48 | 11.7867
2019-05-21 20:15:00 | 4.2667 | 182.2833 | 4.9133 | 200.3 | 6.04 | 220.0667 | 6.7533 | 219.0333 | 19.0853 | 887 | 71.9667 | 11.184
2019-05-21 20:30:00 | 4.1867 | 196.8967 | 4.8133 | 216.3667 | 5.94 | 215.8667 | 6.4267 | 217.1 | 18.8067 | 887 | 72.9933 | 10.6507
2019-05-21 20:45:00 | 4.3167 | 172.2967 | 4.9767 | 189.3333 | 6.0667 | 213.7333 | 6.0467 | 218.1667 | 18.618 | 887.7333 | 73.7193 | 9.0327
2019-05-21 21:00:00 | 3.77 | 165.6233 | 4.35 | 182 | 4.92 | 212.5333 | 4.9 | 216.2333 | 18.49 | 888 | 74.43 | 7.9293
2019-05-21 21:15:00 | 3.4733 | 160.5533 | 3.9933 | 176.4333 | 4.3067 | 177.5333 | 4.6033 | 200.9 | 18.1 | 888 | 77.8733 | 7.916
2019-05-21 21:30:00 | 3.66 | 165.78 | 4.2067 | 182.1667 | 4.4933 | 192.1333 | 4.9033 | 187.1 | 17.932 | 888 | 78.916 | 7.6287
2019-05-21 21:45:00 | 3.5633 | 145.0933 | 4.0967 | 159.4333 | 4.42 | 185.4667 | 4.8267 | 186.3333 | 17.7167 | 888 | 80.4333 | 7.3493
2019-05-21 22:00:00 | 3.5967 | 159.4 | 4.1367 | 175.1667 | 4.44 | 189 | 4.8933 | 189.3333 | 17.4833 | 888 | 81.7 | 7.582
2019-05-21 22:15:00 | 3.6967 | 145.2367 | 4.2533 | 159.6 | 4.59 | 180.1667 | 5.0967 | 189.6 | 17.1533 | 888 | 83.3 | 8.4467
2019-05-21 22:30:00 | 3.8033 | 158.9433 | 4.3733 | 174.6667 | 4.7233 | 176.7667 | 5.35 | 184.1333 | 16.972 | 888 | 84.26 | 8.5407
2019-05-21 22:45:00 | 3.4433 | 156.7433 | 3.9667 | 172.2333 | 4.31 | 188.1667 | 4.8567 | 181.6 | 16.88 | 888 | 84.7333 | 8.0287
2019-05-21 23:00:00 | 2.9367 | 154.8567 | 3.38 | 170.1667 | 3.6167 | 195.7 | 4.2967 | 180 | 16.76 | 888 | 85.4667 | 7.172
2019-05-21 23:15:00 | 3.2527 | 169.344 | 3.7393 | 186.0933 | 4.1193 | 179.7533 | 4.62 | 179.7333 | 16.6533 | 888 | 86.1067 | 6.6313
2019-05-21 23:30:00 | 3.5433 | 166.6467 | 4.0833 | 183.1333 | 4.4367 | 189.5667 | 4.8 | 190.5333 | 16.512 | 888 | 86.9333 | 8.408
2019-05-21 23:45:00 | 3.3267 | 155.5867 | 3.8333 | 170.9667 | 4.12 | 181.9667 | 4.79 | 187.7 | 16.33 | 888 | 87.8667 | 7.174