## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-22 00:00:00 | 3.0964 | 159.2907 | 3.5636 | 175.0429 | 3.81 | 186.0143 | 4.5071 | 185.2357 | 16.1593 | 888 | 88.7857 | 6.8364
2019-05-22 00:15:00 | 3.2967 | 164.0833 | 3.79 | 180.3 | 4.21 | 196.1667 | 4.4893 | 186.3667 | 15.9767 | 888 | 89.6 | 7.5133
2019-05-22 00:30:00 | 3.1767 | 162.01 | 3.6567 | 178.0333 | 4.0567 | 194.3667 | 4.5067 | 187.1667 | 15.9167 | 888 | 89.84 | 6.6907
2019-05-22 00:45:00 | 3.3933 | 165.11 | 3.9 | 181.4333 | 4.2367 | 197.4 | 4.5333 | 189.8 | 15.8767 | 888 | 90.2067 | 5.9767
2019-05-22 01:00:00 | 3.34 | 168.0233 | 3.84 | 184.6333 | 4.15 | 182.5333 | 4.4067 | 185.2667 | 15.7767 | 888 | 90.6333 | 5.9867
2019-05-22 01:15:00 | 3.4267 | 158.7433 | 3.9367 | 174.4333 | 4.3167 | 189.1 | 4.4833 | 185.6667 | 15.698 | 888 | 91.1 | 6.0827
2019-05-22 01:30:00 | 3.32 | 172.3967 | 3.8167 | 189.4333 | 4.1167 | 190.9667 | 4.4033 | 189.0667 | 15.57 | 888 | 91.7 | 6.7173
2019-05-22 01:45:00 | 3.2013 | 160.3513 | 3.684 | 176.2133 | 4.02 | 188.8467 | 4.1813 | 195.14 | 15.4433 | 888 | 92.3467 | 5.208
2019-05-22 02:00:00 | 3.08 | 174.3033 | 3.5433 | 191.5333 | 3.8433 | 192.8 | 3.8967 | 196.5 | 15.3067 | 888 | 93.1667 | 5.3387
2019-05-22 02:15:00 | 2.8833 | 165.8067 | 3.3233 | 182.2 | 3.6567 | 185.4667 | 3.94 | 190.3333 | 15.2273 | 888 | 93.6667 | 4.9207
2019-05-22 02:30:00 | 3.03 | 154.34 | 3.4833 | 169.6 | 3.8233 | 186.3333 | 3.8267 | 196.8667 | 15.0833 | 888 | 94.4667 | 4.104
2019-05-22 02:45:00 | 2.7333 | 145.8833 | 3.1433 | 160.3 | 3.4067 | 196.1333 | 3.6267 | 193.5 | 15.0533 | 888 | 94.7 | 4.262
2019-05-22 03:00:00 | 2.9667 | 141.45 | 3.41 | 155.4333 | 3.5867 | 180.8667 | 3.8467 | 193.9667 | 15.0733 | 887.6 | 94.7667 | 2.9907
2019-05-22 03:15:00 | 2.2033 | 158.6433 | 2.5333 | 174.3333 | 2.86 | 198.8 | 2.9933 | 194.9667 | 15.158 | 887.6667 | 94.6333 | 2.142
2019-05-22 03:30:00 | 2.51 | 151.7233 | 2.8867 | 166.7333 | 3.42 | 193.8 | 3.4133 | 197.4333 | 15.118 | 887 | 94.9667 | 1.8807
2019-05-22 03:45:00 | 2.4067 | 156.8 | 2.7667 | 172.3 | 3.1133 | 181.1667 | 3.2267 | 182.3 | 15.1087 | 887 | 95.1733 | 0.652
2019-05-22 04:00:00 | 1.9933 | 134.1733 | 2.3 | 147.4333 | 2.42 | 163.2333 | 2.48 | 180.9 | 15.126 | 887 | 95.24 | 0.13067
2019-05-22 04:15:00 | 2.06 | 155.71 | 2.3733 | 171.1 | 2.9433 | 183.0333 | 3.0467 | 184.5333 | 15.068 | 887 | 95.4733 | 0
2019-05-22 04:30:00 | 2.6333 | 167.2367 | 3.0267 | 183.7667 | 3.4967 | 183.2333 | 3.5133 | 188.4667 | 15.048 | 887 | 95.7 | 0.404
2019-05-22 04:45:00 | 2.71 | 166.23 | 3.1167 | 182.6667 | 3.38 | 192.2 | 3.7167 | 188.0467 | 15.082 | 887 | 95.5 | 0.34933
2019-05-22 05:00:00 | 2.23 | 155.3767 | 2.5633 | 170.7333 | 2.8533 | 185.04 | 3.49 | 183.4333 | 15.0567 | 887 | 95.6333 | 0.026
2019-05-22 05:15:00 | 2.0733 | 136.0567 | 2.3967 | 149.5 | 2.5867 | 189.3667 | 3.1633 | 184.0667 | 15.0233 | 887 | 95.9667 | 0.29467
2019-05-22 05:30:00 | 2.0267 | 134.3567 | 2.3367 | 147.6333 | 2.5867 | 182.3667 | 2.9833 | 192.4667 | 14.9633 | 887 | 96.2333 | 0.93467
2019-05-22 05:45:00 | 2.42 | 153.9467 | 2.7867 | 169.1667 | 2.99 | 191.9333 | 3.3333 | 192.3333 | 14.86 | 887 | 96.6667 | 0.748
2019-05-22 06:00:00 | 2.58 | 169.06 | 2.9667 | 185.7667 | 3.2033 | 183.9333 | 3.3867 | 189.2 | 14.74 | 887 | 96.84 | 0.096
2019-05-22 06:15:00 | 2.5867 | 153.09 | 2.9767 | 168.2333 | 3.19 | 183.1 | 3.19 | 189.0333 | 14.6713 | 887 | 96.8933 | 0
2019-05-22 06:30:00 | 2.5933 | 156.1833 | 2.9833 | 171.6333 | 3.2767 | 181.3667 | 3.2167 | 189.5 | 14.698 | 887 | 96.9333 | 0
2019-05-22 06:45:00 | 2.3 | 155.7 | 2.6433 | 171.1 | 2.94 | 195.4667 | 3.07 | 184.8667 | 14.726 | 887 | 97.2067 | 0
2019-05-22 07:00:00 | 2.18 | 166.0133 | 2.5033 | 182.4333 | 2.8933 | 190.8 | 3.2033 | 184.0667 | 14.758 | 887 | 97.4333 | 0
2019-05-22 07:15:00 | 1.9933 | 161.1067 | 2.2967 | 177.0333 | 2.6333 | 188.6667 | 3.0233 | 191.7 | 14.7993 | 887 | 97.5733 | 0
2019-05-22 07:30:00 | 1.494 | 166.318 | 1.72 | 182.76 | 2.188 | 200.44 | 2.898 | 194.66 | 14.82 | 887 | 97.72 | 0
2019-05-22 07:45:00 | 1.18 | 163.38 | 1.3633 | 179.5333 | 1.92 | 196.6 | 2.6533 | 196.7 | 14.9433 | 887.0667 | 97.7267 | 0
2019-05-22 08:00:00 | 1.3733 | 144.8067 | 1.5833 | 159.1333 | 2.2533 | 195.6 | 2.5467 | 196.1 | 15.0967 | 888 | 97.5 | 0
2019-05-22 08:15:00 | 1.44 | 168.93 | 1.6633 | 185.6333 | 2.13 | 203.4333 | 2.5133 | 207.6667 | 15.24 | 888 | 96.9 | 0
2019-05-22 08:30:00 | 1.5267 | 143.0233 | 1.7567 | 157.1667 | 1.8633 | 183.8333 | 2.0333 | 203.6 | 15.284 | 888 | 96.66 | 0
2019-05-22 08:45:00 | 1.6633 | 147.64 | 1.9267 | 162.2333 | 1.88 | 188.2667 | 2.16 | 213.7667 | 15.42 | 888 | 96.3 | 0
2019-05-22 09:00:00 | 1.51 | 148.06 | 1.7467 | 162.7 | 1.7 | 195.1333 | 2.06 | 202.4333 | 15.5733 | 888.4 | 95.9 | 0
2019-05-22 09:15:00 | 1.82 | 173.7467 | 2.1 | 190.9333 | 2.04 | 186.4667 | 2.04 | 217.7667 | 15.8367 | 889 | 95.1 | 0
2019-05-22 09:30:00 | 2.08 | 165.498 | 2.392 | 181.86 | 2.36 | 187 | 2.584 | 212.44 | 16.01 | 889 | 94.32 | 0
2019-05-22 09:45:00 | 2.4033 | 151.6367 | 2.7633 | 166.6333 | 2.93 | 199.6 | 3.16 | 208.0333 | 16.2 | 889 | 93.2 | 0
2019-05-22 10:00:00 | 2.5433 | 154.3167 | 2.9233 | 169.5667 | 3.0767 | 191 | 3.24 | 210.6333 | 16.3533 | 889 | 92 | 0
2019-05-22 10:15:00 | 2.7033 | 142.5333 | 3.1167 | 156.6333 | 3.1333 | 180.5333 | 3.0767 | 196.4 | 16.4013 | 889 | 90.7 | 0.055333
2019-05-22 10:30:00 | 2.6567 | 153.1 | 3.0567 | 168.2333 | 3.1333 | 182.4667 | 3.11 | 186.8 | 16.5333 | 889 | 90.5667 | 0.072667
2019-05-22 10:45:00 | 2.2167 | 157.16 | 2.5467 | 172.7 | 2.54 | 167.4 | 2.49 | 176.6667 | 16.7833 | 889 | 90.8667 | 0
2019-05-22 11:00:00 | 2.3033 | 154.1867 | 2.6467 | 169.4333 | 2.7867 | 165.3333 | 2.41 | 188.3333 | 17.11 | 889 | 89.6 | 0
2019-05-22 11:15:00 | 2.1867 | 157.77 | 2.5233 | 173.3667 | 2.6233 | 176.6333 | 2.3367 | 175.5667 | 17.5167 | 889.7333 | 88.4 | 0
2019-05-22 11:30:00 | 2.08 | 150.68 | 2.392 | 165.58 | 2.632 | 174.5 | 2.394 | 164 | 17.928 | 890 | 86.02 | 0
2019-05-22 11:45:00 | 2.4433 | 168.7467 | 2.81 | 185.4333 | 3.1533 | 173.4667 | 3.1767 | 166.6333 | 17.7767 | 890 | 84.9 | 0
2019-05-22 12:00:00 | 2.8767 | 152.5467 | 3.31 | 167.6333 | 3.52 | 176.7333 | 3.3367 | 180.9667 | 17.4233 | 889.6 | 86.6333 | 0
2019-05-22 12:15:00 | 2.38 | 177.0933 | 2.74 | 194.6 | 2.98 | 169.3333 | 2.8133 | 179.9667 | 17.3293 | 889 | 87.1067 | 0
2019-05-22 12:30:00 | 2.178 | 155.832 | 2.502 | 171.24 | 2.88 | 166.64 | 2.818 | 168.34 | 17.434 | 889 | 87.16 | 0
2019-05-22 12:45:00 | 2.3667 | 158.7467 | 2.7333 | 174.4333 | 3.0333 | 163 | 2.8267 | 179.8333 | 17.898 | 889 | 86.1333 | 0
2019-05-22 13:00:00 | 2.7867 | 163.792 | 3.2067 | 179.98 | 3.4667 | 149.4667 | 3.4733 | 176.9 | 17.8367 | 889 | 85.6667 | 0
2019-05-22 13:15:00 | 3.0267 | 152.9767 | 3.4833 | 168.1 | 3.8267 | 173.6333 | 3.8467 | 188.8 | 18.0033 | 889 | 85.4 | 0.05
2019-05-22 13:30:00 | 2.46 | 157.1033 | 2.83 | 172.6333 | 3.1933 | 158.1 | 3.1933 | 198.4667 | 18.2633 | 889 | 85.2667 | 0.46533
2019-05-22 13:45:00 | 2.82 | 164.23 | 3.2467 | 180.4667 | 3.5267 | 167.9667 | 3.22 | 195.9 | 18.58 | 889 | 84.3333 | 1.3813
2019-05-22 14:00:00 | 2.7 | 144.03 | 3.1133 | 158.2667 | 3.52 | 174.0333 | 3.5133 | 223.5667 | 18.8933 | 888.6 | 83.8 | 1.9613
2019-05-22 14:15:00 | 2.4427 | 157.76 | 2.8127 | 173.3533 | 3.2853 | 230.86 | 3.5567 | 216.8133 | 19.296 | 888.7333 | 82.1933 | 2.9367
2019-05-22 14:30:00 | 3.01 | 191.2267 | 3.4633 | 210.1333 | 3.9667 | 211.5667 | 4.19 | 223.3667 | 19.3567 | 889 | 81.3667 | 3.3647
2019-05-22 14:45:00 | 2.46 | 150.19 | 2.83 | 165.0333 | 3.1433 | 222.4333 | 3.2333 | 245.0667 | 19.3833 | 888.9333 | 82.2 | 3.0593
2019-05-22 15:00:00 | 2.6067 | 154.0033 | 3.0033 | 169.2333 | 3.45 | 187.4333 | 3.5067 | 223.5333 | 19.63 | 888 | 80.4867 | 3.7587
2019-05-22 15:15:00 | 2.4133 | 182.28 | 2.7833 | 200.3 | 3.05 | 168.5333 | 3.19 | 183.8 | 20.0967 | 888 | 78.17 | 3.6927
2019-05-22 15:30:00 | 2.8533 | 102.9867 | 3.2833 | 113.1667 | 3.61 | 142.6 | 3.37 | 177.4667 | 20.1367 | 888 | 77.51 | 3.8447
2019-05-22 15:45:00 | 2.8133 | 116.4767 | 3.2367 | 128 | 3.51 | 133 | 3.2333 | 177.2 | 20.5167 | 888 | 76.05 | 4.0727
2019-05-22 16:00:00 | 2.76 | 132.3833 | 3.1833 | 145.4667 | 3.3967 | 149 | 3.3133 | 173.5333 | 20.95 | 888 | 74.29 | 5.3313
2019-05-22 16:15:00 | 2.6733 | 166.92 | 3.08 | 183.4333 | 3.45 | 214.2 | 3.8467 | 214.1333 | 21.04 | 888 | 73.628 | 6.6833
2019-05-22 16:30:00 | 2.7333 | 163.6467 | 3.14 | 179.8333 | 3.6033 | 201.7333 | 3.8533 | 216.6 | 21.4 | 888 | 72.2267 | 5.7233
2019-05-22 16:45:00 | 2.6733 | 196.84 | 3.08 | 216.3 | 3.74 | 220.5667 | 4.1233 | 234.3667 | 21.408 | 888 | 70.4433 | 6.2327
2019-05-22 17:00:00 | 2.3933 | 163.1067 | 2.7533 | 179.2333 | 3.4933 | 227.1667 | 3.7033 | 221.0333 | 21.48 | 888 | 71.15 | 6.864
2019-05-22 17:15:00 | 2.5733 | 210.49 | 2.96 | 231.3 | 3.6967 | 246.3333 | 3.92 | 236.1667 | 21.528 | 887.2667 | 70.9533 | 5.4313
2019-05-22 17:30:00 | 1.9533 | 180.09 | 2.2467 | 197.9 | 2.7833 | 196.2667 | 2.64 | 187.2333 | 21.7067 | 887 | 71.0133 | 4.602
2019-05-22 17:45:00 | 2.44 | 162.9267 | 2.8067 | 179.0333 | 3.19 | 192.6 | 3.2067 | 212.7 | 21.1133 | 887 | 71.98 | 4.1267
2019-05-22 18:00:00 | 2.3067 | 191.8667 | 2.66 | 210.8333 | 3.1767 | 207.6667 | 3.28 | 218.6333 | 20.74 | 887 | 73.6867 | 3.86
2019-05-22 18:15:00 | 2.1 | 173.4533 | 2.4167 | 190.5933 | 3.0033 | 213.9667 | 3.1567 | 228.3667 | 20.5133 | 887 | 75.5167 | 3.8133
2019-05-22 18:30:00 | 2.1133 | 167.5333 | 2.4367 | 184.1 | 3.23 | 216.7 | 3.4033 | 220.42 | 20.6533 | 887 | 75.382 | 5.77
2019-05-22 18:45:00 | 2.6767 | 169.38 | 3.0833 | 186.1333 | 3.88 | 215.2933 | 4.13 | 224.9333 | 20.3667 | 887 | 76.3367 | 5.3167
2019-05-22 19:00:00 | 2.6633 | 166.1133 | 3.0633 | 182.5333 | 3.66 | 201.2 | 3.57 | 218.3333 | 20.0933 | 887 | 77.3033 | 5.39
2019-05-22 19:15:00 | 2.57 | 166.44 | 2.9567 | 182.9 | 3.5633 | 217.8333 | 3.5267 | 213.6667 | 19.89 | 886.2667 | 77.8927 | 5.418
2019-05-22 19:30:00 | 2.4767 | 171.2933 | 2.85 | 188.2333 | 3.17 | 198.8333 | 3.4933 | 195.4 | 19.77 | 886 | 77.97 | 6.1133
2019-05-22 19:45:00 | 2.8867 | 156.98 | 3.32 | 172.5 | 3.9067 | 198.8 | 4.0967 | 201.2333 | 19.6633 | 886 | 78.056 | 6.564
2019-05-22 20:00:00 | 2.5 | 155.7 | 2.8733 | 171.1 | 3.34 | 200.6 | 3.55 | 197.9 | 19.6033 | 886 | 78.2 | 6.0627
2019-05-22 20:15:00 | 2.0333 | 150.49 | 2.34 | 165.3667 | 2.66 | 187.2333 | 2.94 | 187.9667 | 19.4367 | 886 | 79.04 | 4.9253
2019-05-22 20:30:00 | 1.82 | 156.4367 | 2.0933 | 171.9 | 2.4933 | 179.5 | 3.0133 | 180.5 | 19.3767 | 886 | 79.3 | 4.6967
2019-05-22 20:45:00 | 2.0267 | 173.6633 | 2.3367 | 190.8333 | 2.7 | 180.2 | 3.1733 | 197.6333 | 19.2167 | 886 | 80.09 | 5.2867
2019-05-22 21:00:00 | 2.2093 | 177.1627 | 2.5393 | 194.68 | 2.8427 | 191.94 | 3.404 | 206.0133 | 19.254 | 886 | 79.254 | 5.864
2019-05-22 21:15:00 | 2.4 | 160.2767 | 2.7667 | 176.1333 | 3.1067 | 172.72 | 3.6467 | 167.5333 | 19.2067 | 886 | 79.0933 | 5.562
2019-05-22 21:30:00 | 2.2133 | 163.0767 | 2.5467 | 179.2 | 2.8667 | 167.0667 | 3.5133 | 180.0667 | 18.96 | 886 | 80.1333 | 4.6193
2019-05-22 21:45:00 | 2.32 | 181.2133 | 2.6633 | 199.2333 | 3.0033 | 186.7667 | 3.61 | 182.8 | 18.9267 | 886 | 80.4 | 4.5553
2019-05-22 22:00:00 | 2.3067 | 179.42 | 2.65 | 197.1667 | 2.9967 | 171.3 | 3.7167 | 182.2667 | 18.9133 | 886 | 80.6 | 4.588
2019-05-22 22:15:00 | 2.54 | 173.5733 | 2.9233 | 190.7333 | 3.2633 | 168.1667 | 3.86 | 177.8667 | 18.8547 | 886 | 80.9933 | 4.4313
2019-05-22 22:30:00 | 2.3533 | 173.5067 | 2.7167 | 190.6667 | 3.0567 | 169.4333 | 3.7933 | 176.4667 | 18.8933 | 886 | 80.6333 | 2.8253
2019-05-22 22:45:00 | 2.3633 | 170.7267 | 2.7167 | 187.6067 | 3.0467 | 184.9667 | 3.6767 | 192.4333 | 18.86 | 886 | 80.7333 | 2.6493
2019-05-22 23:00:00 | 2.5767 | 172.6933 | 2.9633 | 189.7667 | 3.3667 | 191.9 | 3.8767 | 179.1 | 18.82 | 886 | 80.9333 | 2.316
2019-05-22 23:15:00 | 1.9967 | 175.7233 | 2.3 | 193.1 | 2.7667 | 177.9667 | 3.1033 | 168.7333 | 18.5833 | 886.7333 | 81.9667 | 1.842
2019-05-22 23:30:00 | 2.0433 | 179.91 | 2.3533 | 197.7 | 2.72 | 182.2333 | 3.3167 | 173.6 | 18.53 | 886.6 | 82.1 | 2.4487
2019-05-22 23:45:00 | 2.7867 | 164.4367 | 3.2133 | 180.7 | 3.6733 | 184.0667 | 4.27 | 182.1667 | 18.4233 | 886 | 82.5 | 3.52