## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-23 00:00:00 | 3.1 | 163.4943 | 3.5657 | 179.6643 | 4.255 | 178.5357 | 4.6779 | 180.8429 | 18.2929 | 886 | 83.0214 | 3.4093
2019-05-23 00:15:00 | 2.78 | 162.17 | 3.2067 | 178.2 | 3.7467 | 180.3667 | 4.34 | 178.4 | 18.2367 | 886 | 83.2333 | 3.238
2019-05-23 00:30:00 | 2.4733 | 174.2367 | 2.8533 | 191.4667 | 3.34 | 181.5 | 4.02 | 178.8 | 18.15 | 886 | 83.5667 | 3.4553
2019-05-23 00:45:00 | 2.6533 | 169.96 | 3.0533 | 186.7667 | 3.45 | 179.08 | 4.0267 | 186.5333 | 17.8833 | 886 | 84.7333 | 3.7873
2019-05-23 01:00:00 | 2.62 | 182.2733 | 3.0133 | 200.3 | 3.37 | 188.6 | 3.9133 | 188.2667 | 17.5767 | 886 | 86.1333 | 3.2333
2019-05-23 01:15:00 | 2.9387 | 169.2467 | 3.376 | 185.9867 | 3.7953 | 191.8333 | 4.3547 | 186.14 | 17.4347 | 886 | 87.2667 | 3.7933
2019-05-23 01:30:00 | 2.8533 | 176.2067 | 3.2833 | 193.6333 | 3.6 | 184.8333 | 4.29 | 186.2333 | 17.67 | 886 | 85.9667 | 4.2973
2019-05-23 01:45:00 | 2.7733 | 170.3267 | 3.19 | 187.1667 | 3.6433 | 177.4667 | 4.4167 | 172.8333 | 17.4567 | 886 | 86.5667 | 3.776
2019-05-23 02:00:00 | 2.8067 | 180.22 | 3.2233 | 198.0333 | 3.8167 | 183.8 | 4.63 | 177.2333 | 17.0633 | 886 | 88.3 | 4.0373
2019-05-23 02:15:00 | 2.9733 | 148.5273 | 3.4233 | 163.2133 | 3.9553 | 179.5333 | 4.494 | 185.1133 | 16.936 | 886 | 89.0067 | 3.7167
2019-05-23 02:30:00 | 2.82 | 164.7733 | 3.25 | 181.0667 | 3.7367 | 175.4333 | 4.48 | 180.0667 | 16.6067 | 885.6 | 90.4333 | 3.9513
2019-05-23 02:45:00 | 3.0667 | 186.7633 | 3.5267 | 205.2333 | 3.9 | 190.8667 | 4.3767 | 179.2667 | 16.4267 | 885 | 91.2 | 4.1913
2019-05-23 03:00:00 | 3.2667 | 179.79 | 3.76 | 197.5667 | 4.08 | 187 | 4.65 | 176.3333 | 16.6333 | 885 | 90.2667 | 4.2053
2019-05-23 03:15:00 | 3.2767 | 171.54 | 3.7667 | 188.5 | 4.17 | 182.5667 | 4.6867 | 186.0333 | 16.7233 | 885 | 89.9667 | 4.346
2019-05-23 03:30:00 | 3.1767 | 167.2267 | 3.6533 | 183.7667 | 4.0567 | 170.6333 | 4.54 | 182.7667 | 16.63 | 885 | 90.5 | 3.4007
2019-05-23 03:45:00 | 2.69 | 159.8667 | 3.09 | 175.6667 | 3.5933 | 189.2333 | 3.8267 | 189.7667 | 16.42 | 885 | 91.4667 | 3.2627
2019-05-23 04:00:00 | 2.2233 | 161.6867 | 2.5567 | 177.6667 | 3.02 | 186.1667 | 3.34 | 185.6333 | 16.04 | 885 | 93.4667 | 3.3033
2019-05-23 04:15:00 | 2.3833 | 181.37 | 2.74 | 199.3 | 3.1633 | 189.8333 | 3.9133 | 194.3667 | 15.7 | 885 | 95.3333 | 3.7707
2019-05-23 04:30:00 | 2.1433 | 167.47 | 2.4667 | 184.0333 | 3.0033 | 189.5667 | 3.68 | 196.8333 | 15.4533 | 885 | 96.4 | 4.932
2019-05-23 04:45:00 | 2.9367 | 187.6133 | 3.3833 | 206.1667 | 3.9167 | 191.7333 | 4.1567 | 197.5667 | 15.2367 | 885 | 97.4333 | 4.62
2019-05-23 05:00:00 | 2.7567 | 150.3667 | 3.17 | 165.2333 | 3.6033 | 193.0667 | 4.31 | 196.2333 | 15.2433 | 885 | 97.8333 | 4.2667
2019-05-23 05:15:00 | 2.81 | 161.7767 | 3.2333 | 177.7667 | 3.6933 | 177 | 4.39 | 179.4667 | 15.4033 | 885 | 97.4 | 3.3327
2019-05-23 05:30:00 | 2.6633 | 162.3833 | 3.06 | 178.4333 | 3.48 | 175.8 | 4.0433 | 179.8 | 15.6433 | 885 | 96.4667 | 2.4887
2019-05-23 05:45:00 | 2.36 | 157.8867 | 2.71 | 173.5 | 3.2433 | 174.2 | 3.6933 | 177.3 | 15.692 | 885 | 95.7067 | 1.846
2019-05-23 06:00:00 | 2.1067 | 166.1467 | 2.43 | 182.5667 | 2.77 | 175.8667 | 2.8 | 182.1 | 15.7267 | 885 | 95.6 | 1.968
2019-05-23 06:15:00 | 1.9767 | 161.7133 | 2.2733 | 177.7 | 2.7667 | 180.3333 | 3.1467 | 188.5333 | 15.7687 | 885 | 95.3 | 2.0587
2019-05-23 06:30:00 | 1.89 | 161.7133 | 2.1867 | 177.7 | 2.6067 | 189.7333 | 2.9 | 195.8667 | 15.8567 | 885 | 94.7 | 2.4087
2019-05-23 06:45:00 | 1.4133 | 170.7533 | 1.6333 | 187.6333 | 2.3933 | 203.2667 | 2.8233 | 204.2667 | 15.8607 | 885 | 94.7667 | 3.072
2019-05-23 07:00:00 | 1.42 | 195.7467 | 1.64 | 215.1 | 2.4533 | 215.5333 | 2.5767 | 220.1333 | 15.87 | 885 | 95.14 | 2.272
2019-05-23 07:15:00 | 1.26 | 190.96 | 1.4567 | 209.8333 | 2.1267 | 211.4333 | 2.4233 | 217.1667 | 16.06 | 885.0667 | 95.12 | 1.694
2019-05-23 07:30:00 | 1.0067 | 175.3067 | 1.1633 | 192.6333 | 1.8333 | 209.6333 | 2.67 | 223.46 | 16.2867 | 886 | 94.8667 | 1.5873
2019-05-23 07:45:00 | 1.11 | 148.24 | 1.2733 | 162.9 | 2.02 | 220.5333 | 2.63 | 224.6 | 16.3147 | 886 | 94.9 | 1.1847
2019-05-23 08:00:00 | 1.07 | 148.168 | 1.2267 | 162.82 | 1.78 | 224.4667 | 2.8567 | 224.2 | 16.3533 | 886 | 95.06 | 0.98733
2019-05-23 08:15:00 | 1.1467 | 147.42 | 1.3333 | 162 | 1.91 | 213.3 | 2.5333 | 223.4 | 16.61 | 886.0667 | 94.4333 | 0.774
2019-05-23 08:30:00 | 1.3533 | 132.02 | 1.56 | 145.0667 | 1.79 | 206.9667 | 2.3333 | 219.4 | 16.79 | 887 | 93.8333 | 0.71333
2019-05-23 08:45:00 | 1.6533 | 161.9533 | 1.9067 | 177.9667 | 2.04 | 197.4 | 2.08 | 210.2 | 17.1267 | 887 | 92.5 | 0.766
2019-05-23 09:00:00 | 2.0467 | 161.4667 | 2.3667 | 177.4333 | 2.5067 | 195.2 | 2.36 | 201.7333 | 17.5133 | 887 | 90.3 | 0.91
2019-05-23 09:15:00 | 2.2633 | 147.51 | 2.6 | 162.1 | 2.6267 | 194.5667 | 2.51 | 221.9 | 17.81 | 887 | 88.8667 | 1.0533
2019-05-23 09:30:00 | 2.2967 | 164.07 | 2.64 | 180.3 | 2.6 | 200.1667 | 2.7633 | 210.7 | 18.2167 | 887 | 87.6667 | 1.0673
2019-05-23 09:45:00 | 2.1333 | 161.25 | 2.4633 | 177.2 | 2.32 | 214.0667 | 2.9933 | 211.9333 | 18.2667 | 887 | 88.0933 | 0.40667
2019-05-23 10:00:00 | 1.7867 | 166.41 | 2.0567 | 182.8667 | 2.18 | 208.6667 | 2.6533 | 213.3333 | 18.68 | 887 | 87.4 | 0.576
2019-05-23 10:15:00 | 2.06 | 146.5133 | 2.3667 | 161 | 2.4367 | 203.8 | 2.7367 | 189.3667 | 19.3567 | 887.7333 | 85 | 0.44067
2019-05-23 10:30:00 | 2.4533 | 140.4467 | 2.82 | 154.3333 | 2.9167 | 180.2 | 2.7767 | 202.7667 | 19.59 | 888 | 84.24 | 0
2019-05-23 10:45:00 | 2 | 158.8033 | 2.31 | 174.5 | 2.4367 | 194.5333 | 2.4967 | 203.6 | 19.5767 | 888 | 84.2 | 0
2019-05-23 11:00:00 | 1.96 | 158.4367 | 2.25 | 174.1 | 2.5367 | 203.8667 | 2.3033 | 201.0667 | 19.8367 | 888 | 83.6 | 0
2019-05-23 11:15:00 | 2.3467 | 165.9567 | 2.71 | 182.3667 | 3.1967 | 218.0333 | 3.1333 | 220.4 | 20.6567 | 888 | 80.9 | 0
2019-05-23 11:30:00 | 2.7067 | 182.6367 | 3.1233 | 200.7 | 3.51 | 218.6333 | 3.62 | 227.2667 | 21.0367 | 888 | 80.06 | 0
2019-05-23 11:45:00 | 2.96 | 187.6733 | 3.4067 | 206.2333 | 3.55 | 179.2333 | 3.4 | 186.5333 | 21.032 | 888 | 79.8533 | 0.28667
2019-05-23 12:00:00 | 2.9333 | 131.1933 | 3.38 | 144.1667 | 3.4567 | 167.9 | 3.3667 | 198.6 | 21.0533 | 888 | 80.0133 | 0.30867
2019-05-23 12:15:00 | 2.6 | 147.3067 | 2.9967 | 161.8667 | 3.3567 | 217.1667 | 3.29 | 211.1 | 21.71 | 888 | 78.0233 | 0.356
2019-05-23 12:30:00 | 2.5067 | 94.28 | 2.8833 | 103.6 | 3.3167 | 223.5 | 3.45 | 220.22 | 21.93 | 888 | 77.0767 | 0.41867
2019-05-23 12:45:00 | 2.22 | 150.3933 | 2.56 | 165.2667 | 2.7833 | 221.1667 | 2.92 | 228.9333 | 22.29 | 888 | 74.4667 | 0.45067
2019-05-23 13:00:00 | 2.5133 | 175.1533 | 2.8933 | 192.4667 | 3.2367 | 226.4333 | 3.22 | 199.7333 | 22.4567 | 888 | 72.4533 | 1.4507
2019-05-23 13:15:00 | 3.5967 | 146.9133 | 4.1367 | 161.4333 | 4.46 | 153.1 | 4.6033 | 175.1333 | 22.7967 | 888 | 70.72 | 2.6947
2019-05-23 13:30:00 | 3.6567 | 149.6467 | 4.2033 | 164.4333 | 4.3533 | 166.0333 | 4.5033 | 167.4667 | 22.9233 | 887.6 | 69.2 | 3.716
2019-05-23 13:45:00 | 3.9933 | 176.5133 | 4.5967 | 193.9667 | 4.9393 | 158.2333 | 4.6967 | 182.4667 | 23.28 | 887 | 65.6433 | 3.5887
2019-05-23 14:00:00 | 3.9267 | 140.24 | 4.53 | 154.1 | 4.79 | 158.6333 | 4.79 | 166.1333 | 23.28 | 887 | 64.8367 | 1.4013
2019-05-23 14:15:00 | 2.7267 | 138.138 | 3.14 | 151.7867 | 3.21 | 176.2667 | 3.1733 | 190.7667 | 23.4893 | 887 | 64.3467 | 0.856
2019-05-23 14:30:00 | 2.7667 | 160.23 | 3.1933 | 176.0667 | 3.47 | 176.3333 | 3.4867 | 177.3 | 23.9267 | 887 | 62.88 | 1.3873
2019-05-23 14:45:00 | 2.8667 | 161.0733 | 3.2933 | 177 | 3.77 | 173.5 | 3.95 | 177 | 23.71 | 886.9333 | 63.7967 | 1.6613
2019-05-23 15:00:00 | 3.4067 | 139.18 | 3.9133 | 152.9333 | 4.2633 | 200.0333 | 4.1967 | 200.8 | 24.078 | 886 | 61.7433 | 1.6767
2019-05-23 15:15:00 | 3.0933 | 145.6887 | 3.5567 | 160.0867 | 3.8693 | 142.5733 | 3.96 | 170.14 | 24.2607 | 886 | 61.7827 | 1.9367
2019-05-23 15:30:00 | 2.816 | 156.802 | 3.238 | 172.3 | 3.598 | 179.46 | 3.45 | 204.54 | 24.834 | 886 | 58.52 | 1.3407
2019-05-23 15:45:00 | 2.99 | 148.2133 | 3.44 | 162.8667 | 3.8333 | 180.1333 | 3.9033 | 212.3667 | 25.3433 | 886 | 56.2233 | 2.506
2019-05-23 16:00:00 | 2.9367 | 164.2933 | 3.3867 | 180.5333 | 3.6333 | 174.3333 | 3.7233 | 176.7667 | 25.03 | 886 | 56.8233 | 3.8413
2019-05-23 16:15:00 | 2.9373 | 145.1773 | 3.386 | 159.5267 | 3.9387 | 187.4733 | 4.2187 | 205.56 | 25.1367 | 886 | 56.0313 | 3.2207
2019-05-23 16:30:00 | 3.1133 | 136.9 | 3.58 | 150.4333 | 3.9167 | 191.1667 | 4.0233 | 215.7333 | 24.9633 | 886 | 53.9267 | 5.4593
2019-05-23 16:45:00 | 3.25 | 152.3633 | 3.7433 | 167.4333 | 4.01 | 165.7667 | 4.2933 | 180.8667 | 24.77 | 886 | 53.8767 | 5.3187
2019-05-23 17:00:00 | 3.208 | 124.654 | 3.69 | 136.98 | 4.088 | 170.04 | 4.532 | 178.48 | 24.034 | 885.6 | 54.922 | 6.4887
2019-05-23 17:15:00 | 2.74 | 102.26 | 3.15 | 112.3667 | 3.5267 | 169.6333 | 3.71 | 172.5 | 24.2767 | 885 | 54.1 | 6.5293
2019-05-23 17:30:00 | 3.44 | 125.5467 | 3.9567 | 137.9667 | 4.2333 | 152.9667 | 4.21 | 181.4333 | 24.7367 | 885 | 51.2667 | 9.4733
2019-05-23 17:45:00 | 3.56 | 142.69 | 4.0933 | 156.8 | 4.6 | 166.1667 | 4.7567 | 164.2667 | 24.528 | 885 | 51.0613 | 8.0327
2019-05-23 18:00:00 | 3.9267 | 121.15 | 4.5133 | 133.1333 | 5.1333 | 150.58 | 5.05 | 171.5333 | 24.4533 | 885 | 49.9067 | 9.672
2019-05-23 18:15:00 | 2.94 | 172.5967 | 3.3833 | 189.6667 | 4 | 158.3333 | 4.4567 | 187.9333 | 24.2733 | 885 | 49.96 | 12.108
2019-05-23 18:30:00 | 3.6267 | 172.5967 | 4.1767 | 189.6667 | 4.7333 | 178.4667 | 5.21 | 192.4 | 23.94 | 885 | 50 | 12.1647
2019-05-23 18:45:00 | 3.8667 | 171.6967 | 4.46 | 188.6667 | 4.86 | 182.6333 | 5.33 | 197.0667 | 23.6167 | 884.2667 | 49.9433 | 9.2787
2019-05-23 19:00:00 | 3.02 | 152.2167 | 3.48 | 167.2667 | 3.9333 | 202.5667 | 4.39 | 201.2 | 23.4167 | 884 | 50.4033 | 9.084
2019-05-23 19:15:00 | 2.7133 | 159.1567 | 3.1333 | 174.9 | 3.7667 | 208.7 | 4.2533 | 203.4333 | 23.1333 | 884 | 51.46 | 8.0207
2019-05-23 19:30:00 | 2.42 | 174.5167 | 2.7867 | 191.7667 | 3.2933 | 187.2333 | 3.7267 | 177.1 | 22.9733 | 884 | 52.4933 | 8.932
2019-05-23 19:45:00 | 2.7967 | 164.38 | 3.22 | 180.6333 | 3.6667 | 178.5333 | 4.11 | 186.7 | 22.6033 | 884 | 55.0467 | 6.712
2019-05-23 20:00:00 | 2.93 | 157.1 | 3.3733 | 172.6333 | 3.6467 | 174.8667 | 4.2367 | 191.3667 | 22.542 | 884 | 56.3 | 3.566
2019-05-23 20:15:00 | 1.6367 | 176.3567 | 1.89 | 193.8 | 2.4133 | 195.2333 | 2.9767 | 197.2 | 22.2967 | 884 | 56.62 | 3.3907
2019-05-23 20:30:00 | 2.27 | 148.7033 | 2.6167 | 163.4 | 3.2267 | 196.2333 | 3.4567 | 200.4 | 22.2967 | 884 | 55.76 | 2.5813
2019-05-23 20:45:00 | 2.0967 | 163.5033 | 2.41 | 179.6667 | 2.9967 | 207.0333 | 3.3167 | 199.5333 | 22.08 | 884 | 57.0933 | 1.974
2019-05-23 21:00:00 | 2.3033 | 166.8367 | 2.6567 | 183.3333 | 3.1567 | 186.7 | 3.2833 | 190.9333 | 22.068 | 884 | 58.56 | 2.274
2019-05-23 21:15:00 | 2.4713 | 165.2533 | 2.8453 | 181.6 | 3.2427 | 187.8133 | 3.7073 | 200.4133 | 21.9227 | 884 | 60.3333 | 2.4793
2019-05-23 21:30:00 | 2.1733 | 162.3233 | 2.51 | 178.3667 | 2.9067 | 190.3333 | 3.1067 | 192.1333 | 21.6567 | 884 | 61.7933 | 1.986
2019-05-23 21:45:00 | 1.9867 | 174.9067 | 2.3 | 192.2 | 2.6467 | 196.9667 | 2.9733 | 201.7333 | 21.6027 | 884 | 62.84 | 1.1673
2019-05-23 22:00:00 | 1.9267 | 165.26 | 2.22 | 181.6 | 2.8 | 191.1 | 2.98 | 200.8667 | 21.32 | 884 | 63.8533 | 0.984
2019-05-23 22:15:00 | 1.9367 | 178.342 | 2.2233 | 195.98 | 2.65 | 183.88 | 3.19 | 190.0667 | 21.2047 | 884.7333 | 65.1667 | 0.98067
2019-05-23 22:30:00 | 2.202 | 165.208 | 2.532 | 181.54 | 2.992 | 179.2 | 3.31 | 184.08 | 21.19 | 885 | 65.65 | 0.70933
2019-05-23 22:45:00 | 2.3967 | 174.5167 | 2.76 | 191.7667 | 3.3833 | 183.7 | 3.4667 | 197.5 | 21.1187 | 884.9333 | 66.066 | 0.64867
2019-05-23 23:00:00 | 2.05 | 168.5033 | 2.3667 | 185.1667 | 2.9033 | 181.3667 | 3.3733 | 184.0333 | 21.0133 | 884 | 66.35 | 0.90933
2019-05-23 23:15:00 | 1.6667 | 165.1067 | 1.92 | 181.4333 | 2.6533 | 173.8 | 3.5133 | 177.1333 | 20.71 | 884 | 66.9933 | 0.30933
2019-05-23 23:30:00 | 1.0733 | 159.7067 | 1.2467 | 175.5 | 1.9867 | 167.8667 | 2.76 | 175.8 | 20.39 | 884 | 67.98 | 0
2019-05-23 23:45:00 | 1.08 | 160.28 | 1.2467 | 176.1333 | 2.0033 | 172.7667 | 2.3033 | 175.7 | 20.07 | 884 | 69.6333 | 0.044