## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-24 00:00:00 | 1.8014 | 169.7786 | 2.0843 | 186.5714 | 2.4836 | 177.8857 | 2.6557 | 183.9643 | 20.2736 | 884 | 69.3307 | 0.98643
2019-05-24 00:15:00 | 2.89 | 179.36 | 3.32 | 197.1 | 3.9333 | 184.3333 | 3.8767 | 197.4 | 20.2433 | 884 | 69.3367 | 2.558
2019-05-24 00:30:00 | 2.6967 | 158.68 | 3.1 | 174.3667 | 3.6733 | 183.6 | 3.87 | 197.8 | 20.0033 | 883.6 | 70.0367 | 2.3313
2019-05-24 00:45:00 | 2.3067 | 155.5633 | 2.6533 | 170.9333 | 3.08 | 188.4667 | 3.4467 | 197.5667 | 19.888 | 883 | 70.27 | 2.4767
2019-05-24 01:00:00 | 2.5 | 161.3233 | 2.8733 | 177.2667 | 3.4 | 178.4 | 4.0067 | 183.5 | 19.54 | 883 | 71.83 | 2.178
2019-05-24 01:15:00 | 3.0367 | 157.5533 | 3.5 | 173.1333 | 4.02 | 181.0667 | 4.61 | 183.6333 | 19.2667 | 883 | 72.7767 | 3.5787
2019-05-24 01:30:00 | 2.81 | 166.6533 | 3.2333 | 183.1333 | 3.8867 | 175.4 | 4.07 | 185.1 | 19.16 | 883 | 73.0433 | 1.686
2019-05-24 01:45:00 | 2.2533 | 176.8767 | 2.5933 | 194.3667 | 3.06 | 194.6 | 3.38 | 193.6667 | 19.27 | 883 | 72.4767 | 1.186
2019-05-24 02:00:00 | 2.5133 | 186.41 | 2.8867 | 204.8333 | 3.5733 | 195.2667 | 3.5267 | 194.8 | 19.31 | 883 | 72.1367 | 1.3633
2019-05-24 02:15:00 | 1.9 | 179.9667 | 2.1867 | 197.7667 | 2.7833 | 192.2333 | 3.35 | 193.5667 | 19.2467 | 882.9333 | 71.3967 | 0.218
2019-05-24 02:30:00 | 0.92667 | 206.18 | 1.0733 | 226.5667 | 1.79 | 190.7667 | 2.5833 | 188.5 | 19.216 | 882 | 71.506 | 0.25133
2019-05-24 02:45:00 | 0.84133 | 192.65 | 0.97467 | 211.7 | 1.6627 | 177.9867 | 2.092 | 156.8067 | 18.9893 | 882 | 72.1027 | 0.23
2019-05-24 03:00:00 | 1.0333 | 156.3167 | 1.1967 | 171.7667 | 2.0467 | 153.2333 | 1.3933 | 154.7333 | 19.18 | 882 | 70.96 | 0.23067
2019-05-24 03:15:00 | 0.25333 | 138.1433 | 0.29467 | 151.7933 | 0.48933 | 150.3733 | 0.085333 | 155.2 | 19.2127 | 882 | 70.7127 | 0.484
2019-05-24 03:30:00 | 1.18 | 138.018 | 1.3667 | 151.66 | 2.17 | 159.4667 | 1.92 | 166.8667 | 19.5433 | 882 | 69.1633 | 0.73067
2019-05-24 03:45:00 | 1.36 | 163.0433 | 1.5767 | 179.1667 | 2.28 | 169.36 | 3.35 | 164.1333 | 19.18 | 882 | 71.03 | 0.88
2019-05-24 04:00:00 | 1.3227 | 154.418 | 1.53 | 169.6867 | 2.0933 | 181.7333 | 2.8953 | 173.0667 | 18.6907 | 882 | 73.6353 | 0.56533
2019-05-24 04:15:00 | 0.89333 | 121.31 | 1.0267 | 133.3 | 1.7433 | 176.6333 | 2.72 | 166.8667 | 17.9767 | 881.9333 | 77.24 | 0.224
2019-05-24 04:30:00 | 0.62667 | 121.31 | 0.72667 | 133.3 | 1.2367 | 144.1667 | 1.4733 | 160.9333 | 17.73 | 881 | 78.1867 | 0.022857
2019-05-24 04:45:00 | 0.14 | 18.1933 | 0.16667 | 19.9933 | 0.086667 | 132.1 | 1.5133 | 159.7533 | 17.82 | 881 | 77.74 | 0
2019-05-24 05:00:00 | 0.47333 | 215.9667 | 0.55333 | 237.3267 | 0 | 132.1 | 1.52 | 159.66 | 18.06 | 881 | 76.8867 | 0
2019-05-24 05:15:00 | 0.63 | 312.556 | 0.72 | 343.4733 | 0.12667 | 24.9133 | 0.97333 | 159.6667 | 18.3067 | 881 | 75.8867 | 0
2019-05-24 05:30:00 | 0.96333 | 311.5533 | 1.1067 | 342.3667 | 0.59333 | 24.88 | 0.22 | 159.6 | 18.228 | 881 | 76.3533 | 0
2019-05-24 05:45:00 | 1.854 | 320.316 | 2.1327 | 352 | 1.9667 | 4.176 | 0.18933 | 118.8227 | 17.5713 | 881 | 78.6187 | 0
2019-05-24 06:00:00 | 2.3867 | 319.2933 | 2.75 | 350.8667 | 2.7867 | 0.15 | 1.5233 | 238.37 | 17.3733 | 881 | 79.21 | 0
2019-05-24 06:15:00 | 2.1467 | 323.5367 | 2.4767 | 355.5333 | 2.3433 | 117.9 | 1.0367 | 335.7 | 17.5833 | 881 | 77.9167 | 0
2019-05-24 06:30:00 | 2.1733 | 123.5967 | 2.51 | 135.82 | 2.55 | 117.9 | 1.21 | 339.5667 | 17.61 | 881 | 77.97 | 0
2019-05-24 06:45:00 | 2.2567 | 106.0133 | 2.5933 | 116.5 | 2.5667 | 355.8667 | 1.2967 | 117.3933 | 17.5667 | 881.6667 | 78.0727 | 0
2019-05-24 07:00:00 | 2.3433 | 314.28 | 2.6933 | 345.3667 | 2.8133 | 123.4733 | 1.2433 | 117.3933 | 17.672 | 881.4 | 77.91 | 0
2019-05-24 07:15:00 | 3.0533 | 308.58 | 3.5267 | 339.1 | 3.86 | 6.66 | 3.1567 | 6.1 | 17.4633 | 882 | 79.7467 | 0
2019-05-24 07:30:00 | 3.4333 | 118.8467 | 3.9533 | 130.6 | 4.1867 | 238.0467 | 3.6033 | 8.8067 | 17.1367 | 882 | 81.4333 | 0
2019-05-24 07:45:00 | 3.3933 | 319.194 | 3.9033 | 350.76 | 4.13 | 0.57 | 3.61 | 14.9867 | 17.53 | 882 | 79.9333 | 0
2019-05-24 08:00:00 | 3.2867 | 315.23 | 3.7833 | 346.4 | 4.0033 | 1.5433 | 3.63 | 13.6867 | 18.0033 | 882.4 | 78.76 | 0
2019-05-24 08:15:00 | 3.3667 | 99.4667 | 3.88 | 109.2933 | 4.09 | 9.29 | 3.3233 | 5.8 | 18.1667 | 883 | 78.01 | 0
2019-05-24 08:30:00 | 2.6667 | 308.9867 | 3.0667 | 339.5333 | 3.09 | 0.15667 | 2.09 | 8.3467 | 18.3067 | 883 | 77.61 | 0
2019-05-24 08:45:00 | 2.5093 | 314.3653 | 2.8853 | 345.46 | 2.7307 | 356.42 | 1.8173 | 11.696 | 18.7187 | 883 | 76.9353 | 0
2019-05-24 09:00:00 | 2.6367 | 313.0967 | 3.03 | 344.0667 | 2.8833 | 119.4867 | 2.2067 | 2.0567 | 19.0267 | 883 | 76.5333 | 0
2019-05-24 09:15:00 | 1.36 | 201.7367 | 1.57 | 221.6833 | 1.4967 | 352.3667 | 0.12 | 311.5333 | 20.1267 | 883.7333 | 72.6767 | 0
2019-05-24 09:30:00 | 1.5533 | 3.6433 | 1.7833 | 4.0033 | 1.4767 | 338.8333 | 0.026667 | 226.4 | 20.1933 | 884 | 74.3033 | 0
2019-05-24 09:45:00 | 1.28 | 2.6433 | 1.4733 | 2.8967 | 1.3833 | 312.7667 | 0.54333 | 288.2667 | 20.2533 | 884 | 75.2467 | 0
2019-05-24 10:00:00 | 0.4 | 7.0367 | 0.46667 | 7.73 | 0.47667 | 186.0333 | 0.52333 | 220.8667 | 21.3667 | 884 | 71.8867 | 0
2019-05-24 10:15:00 | 0.96667 | 146.2133 | 1.1167 | 160.6667 | 1.26 | 129.6667 | 0.78333 | 152.6667 | 22.4033 | 884.7333 | 71.4267 | 0
2019-05-24 10:30:00 | 1.1333 | 132.14 | 1.31 | 145.2 | 1.3667 | 174.5333 | 1.2967 | 176 | 22.3767 | 885 | 71.6 | 0
2019-05-24 10:45:00 | 1.76 | 164.2533 | 2.0333 | 180.5 | 2.0433 | 159.1333 | 2.13 | 170.4 | 22.8633 | 885 | 69.8467 | 0
2019-05-24 11:00:00 | 1.9733 | 154.0133 | 2.28 | 169.2333 | 2.2633 | 187.0667 | 2.3633 | 187.0667 | 22.638 | 885 | 66.38 | 0
2019-05-24 11:15:00 | 2.1 | 113.72 | 2.4167 | 124.9667 | 2.41 | 187.1667 | 2.53 | 188.9 | 23.08 | 884.3333 | 64.57 | 0
2019-05-24 11:30:00 | 2.32 | 139.08 | 2.6767 | 152.8333 | 2.8633 | 175.6333 | 2.8567 | 158.5 | 24.0733 | 885 | 63.0567 | 0
2019-05-24 11:45:00 | 2.8333 | 152.94 | 3.2633 | 168.0667 | 3.3433 | 177.3667 | 3.23 | 172.4 | 24.3767 | 885 | 60.6467 | 0
2019-05-24 12:00:00 | 2.7533 | 161.5 | 3.17 | 177.4667 | 3.2367 | 167.7667 | 3.1367 | 178.1333 | 24.0633 | 885 | 63.3 | 0
2019-05-24 12:15:00 | 2.1467 | 119.0367 | 2.47 | 130.8 | 2.7633 | 180.5 | 2.66 | 176.1667 | 24.02 | 885 | 64.3333 | 0
2019-05-24 12:30:00 | 1.8933 | 123.15 | 2.1833 | 135.3333 | 2.3967 | 150.6333 | 2.4467 | 157.3 | 24.5067 | 885 | 61.8533 | 0
2019-05-24 12:45:00 | 2.4 | 131.83 | 2.7667 | 144.8667 | 3.1267 | 150.4 | 2.9033 | 158.8667 | 25.5767 | 885 | 59.36 | 0
2019-05-24 13:00:00 | 2.52 | 120.61 | 2.9 | 132.5333 | 3.4667 | 175.8667 | 3.47 | 162.6 | 25.21 | 885 | 60.02 | 0
2019-05-24 13:15:00 | 2.4333 | 133.3767 | 2.7967 | 146.5667 | 3.16 | 155.3667 | 3.1267 | 166.7 | 25.0767 | 884.2667 | 61.0333 | 0
2019-05-24 13:30:00 | 1.4667 | 163.1033 | 1.69 | 179.2333 | 2.0667 | 220.9 | 2.1467 | 220.7667 | 24.99 | 884 | 61.4667 | 0
2019-05-24 13:45:00 | 1.6667 | 161.4033 | 1.9167 | 177.3667 | 2.4533 | 233.7 | 2.4733 | 199.7 | 25.3967 | 884 | 61.1533 | 0
2019-05-24 14:00:00 | 1.6 | 150.55 | 1.85 | 165.4333 | 2.0533 | 162.8333 | 2.1067 | 183.1 | 25.1567 | 884 | 59.4333 | 0
2019-05-24 14:15:00 | 1.0933 | 108.5133 | 1.2633 | 119.2333 | 1.6667 | 184.1333 | 1.3333 | 183.3667 | 25.32 | 884 | 61.4033 | 0
2019-05-24 14:30:00 | 0.90667 | 150.4933 | 1.05 | 165.3667 | 1.4 | 248 | 1.5467 | 236.9667 | 26.1533 | 884 | 58.13 | 0
2019-05-24 14:45:00 | 2.0333 | 144.4733 | 2.3433 | 158.7667 | 2.6833 | 172.6667 | 2.81 | 177.0333 | 25.65 | 884 | 59.6633 | 0
2019-05-24 15:00:00 | 1.6286 | 147.645 | 1.8736 | 162.2429 | 2.2136 | 161.9429 | 2.3264 | 166.4714 | 25.3943 | 884 | 60.4721 | 0
2019-05-24 15:15:00 | 1.9433 | 142.6967 | 2.2333 | 156.8 | 2.5467 | 163.1333 | 2.6133 | 174.5 | 25.2233 | 883.2667 | 60.5167 | 0.56733
2019-05-24 15:30:00 | 2.7567 | 166.17 | 3.1733 | 182.6 | 4.0067 | 203.3333 | 3.9667 | 208.4333 | 25.2233 | 883 | 62.2567 | 2.9287
2019-05-24 15:45:00 | 3.0427 | 151.792 | 3.502 | 166.8 | 4.1573 | 206.5533 | 4.206 | 216.5933 | 24.8133 | 883 | 63.2907 | 4.8313
2019-05-24 16:00:00 | 3.5933 | 122.7967 | 4.1333 | 134.9333 | 4.48 | 159 | 4.4067 | 193.8667 | 24.4133 | 883 | 63.466 | 6.604
2019-05-24 16:15:00 | 3.5533 | 156.9467 | 4.09 | 172.4667 | 4.46 | 180.1333 | 4.87 | 188.0333 | 24.47 | 883 | 63.9287 | 7.5767
2019-05-24 16:30:00 | 4.14 | 155.3733 | 4.7633 | 170.7333 | 5.06 | 178.0667 | 5.6567 | 178.3667 | 24.0567 | 883 | 64.9167 | 5.2173
2019-05-24 16:45:00 | 3.22 | 182.5067 | 3.7 | 200.5533 | 4.052 | 169.4467 | 4.4947 | 180.58 | 23.898 | 882.2667 | 66.4867 | 4.9967
2019-05-24 17:00:00 | 3.3 | 141.3233 | 3.7933 | 155.3 | 4.0267 | 156.9333 | 3.99 | 187.7667 | 23.6767 | 882 | 67.11 | 4.8333
2019-05-24 17:15:00 | 3.1133 | 146.82 | 3.58 | 161.3333 | 3.84 | 146 | 3.8467 | 183 | 23.6633 | 882 | 67.9133 | 3.672
2019-05-24 17:30:00 | 3.1 | 143.6 | 3.5667 | 157.8 | 3.9533 | 142.1333 | 4.06 | 188.0667 | 23.75 | 882 | 68.3533 | 3.076
2019-05-24 17:45:00 | 2.8133 | 163.2533 | 3.2333 | 179.4 | 3.7 | 194 | 3.9933 | 196.5333 | 23.714 | 882 | 68.58 | 3.562
2019-05-24 18:00:00 | 2.6 | 129.3467 | 3 | 142.1333 | 3.3133 | 186.6667 | 3.66 | 172.8 | 23.7033 | 882 | 67.8933 | 5.4613
2019-05-24 18:15:00 | 2.66 | 172.5333 | 3.06 | 189.6 | 3.59 | 181.7667 | 3.7633 | 191.2 | 23.3267 | 882 | 68.7167 | 5.9547
2019-05-24 18:30:00 | 2.74 | 166.1133 | 3.1533 | 182.5333 | 3.6033 | 191.9 | 3.9167 | 196.1333 | 23.1467 | 882 | 68.99 | 4.0287
2019-05-24 18:45:00 | 2.78 | 161.9533 | 3.2 | 177.9667 | 3.5333 | 181.3 | 3.5767 | 171.5333 | 22.8333 | 882 | 71.1767 | 4.1013
2019-05-24 19:00:00 | 2.98 | 165.4733 | 3.4267 | 181.8333 | 3.72 | 181.8333 | 3.9767 | 185.6 | 22.58 | 881.6 | 72.4233 | 4.046
2019-05-24 19:15:00 | 2.3247 | 164.7473 | 2.6747 | 181.04 | 3.0493 | 160.48 | 3.3107 | 178.86 | 22.246 | 881 | 74.2387 | 3.386
2019-05-24 19:30:00 | 2.73 | 154.0633 | 3.14 | 169.3 | 3.4867 | 173.5333 | 3.7733 | 185.4333 | 21.9833 | 881 | 74.796 | 3.8927
2019-05-24 19:45:00 | 2.78 | 156.6067 | 3.1967 | 172.1 | 3.63 | 192.6333 | 4.0633 | 169.6667 | 21.6667 | 881 | 75.77 | 4.5
2019-05-24 20:00:00 | 2.6067 | 170.32 | 3.0033 | 187.1667 | 3.39 | 186.7 | 4.03 | 169.9333 | 21.4467 | 881 | 76.59 | 4.42
2019-05-24 20:15:00 | 2.46 | 165.6267 | 2.8267 | 182 | 3.21 | 175.5667 | 3.6967 | 182.8333 | 21.3647 | 881 | 76.8033 | 3.346
2019-05-24 20:30:00 | 2.2 | 169.82 | 2.528 | 186.6 | 2.784 | 184.9 | 3.216 | 185.3 | 21.332 | 881 | 76.994 | 2.8493
2019-05-24 20:45:00 | 2.31 | 167.7787 | 2.6627 | 184.3667 | 3.042 | 189.1733 | 3.4393 | 201.5733 | 21.33 | 881 | 77.3853 | 2.3253
2019-05-24 21:00:00 | 2.0867 | 179.1533 | 2.41 | 196.8667 | 2.8933 | 196.0667 | 3.0933 | 200 | 21.2433 | 881 | 78.0733 | 2.838
2019-05-24 21:15:00 | 1.9467 | 176.27 | 2.25 | 193.7 | 2.5733 | 192.1333 | 2.88 | 196.7667 | 21.1927 | 881 | 78.5827 | 3.5467
2019-05-24 21:30:00 | 2.14 | 167.29 | 2.4633 | 183.8333 | 2.8133 | 190.3333 | 3.2533 | 192.1667 | 21.01 | 881 | 79.7867 | 3.296
2019-05-24 21:45:00 | 2.0533 | 139.6267 | 2.3633 | 153.4333 | 2.76 | 190.3333 | 2.9733 | 197.6667 | 20.89 | 881 | 80.6333 | 2.6433
2019-05-24 22:00:00 | 2.0333 | 172.94 | 2.35 | 190.0333 | 2.7267 | 194.1333 | 3.12 | 198.2667 | 20.8167 | 881 | 81.0333 | 1.53
2019-05-24 22:15:00 | 1.6733 | 161.05 | 1.9333 | 176.9667 | 2.4133 | 181.8667 | 2.5967 | 181.0333 | 20.698 | 881.0667 | 81.7067 | 0.86333
2019-05-24 22:30:00 | 2.1133 | 163.4767 | 2.4333 | 179.6333 | 3.0133 | 180 | 3.1367 | 188.1667 | 20.61 | 882 | 82.1333 | 0.39733
2019-05-24 22:45:00 | 1.6567 | 165.45 | 1.9133 | 181.8 | 2.85 | 178.4333 | 2.9767 | 188.5333 | 20.4233 | 881.2667 | 83.0667 | 0.69
2019-05-24 23:00:00 | 2.2433 | 158.1033 | 2.58 | 173.7333 | 3.3967 | 173.9 | 3.7367 | 175.6 | 20.2033 | 881 | 84.2 | 0.93333
2019-05-24 23:15:00 | 2.0067 | 159.38 | 2.3167 | 175.1333 | 3.0067 | 171.7 | 3.41 | 172.9 | 20.164 | 881 | 84.6667 | 0.67667
2019-05-24 23:30:00 | 1.8933 | 162.0467 | 2.1833 | 178.0667 | 2.9067 | 169.9667 | 3.3367 | 169.0333 | 20.0933 | 881 | 85.4 | 0.079333
2019-05-24 23:45:00 | 1.7933 | 163.65 | 2.0633 | 179.8333 | 2.6367 | 180.9667 | 3.1333 | 173.9333 | 19.9233 | 881 | 86.6667 | 0.72733