## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-25 00:00:00 | 1.9386 | 171.8814 | 2.2293 | 188.8786 | 2.7179 | 174.6 | 3.145 | 171.2071 | 19.89 | 881 | 87.3214 | 0.53429
2019-05-25 00:15:00 | 1.94 | 178.9967 | 2.2333 | 196.7 | 2.7233 | 186.7667 | 2.95 | 182.3 | 19.9067 | 881 | 87.8933 | 0.324
2019-05-25 00:30:00 | 1.9733 | 173.79 | 2.2733 | 190.9667 | 2.81 | 187.1 | 3.0567 | 186.5 | 19.84 | 881 | 88.4 | 0
2019-05-25 00:45:00 | 1.8267 | 173.7533 | 2.1 | 190.9333 | 2.77 | 200 | 3.26 | 197.1 | 19.7067 | 881 | 89.8 | 0.382
2019-05-25 01:00:00 | 1.8667 | 171.7467 | 2.1467 | 188.7333 | 2.6433 | 193.6 | 2.9333 | 204.0333 | 19.5467 | 881 | 90.6 | 1.3553
2019-05-25 01:15:00 | 1.872 | 165.976 | 2.156 | 182.3867 | 2.5447 | 187.4933 | 2.8987 | 200.0533 | 19.3013 | 881 | 91.54 | 1.51
2019-05-25 01:30:00 | 2.3733 | 176.7567 | 2.73 | 194.2333 | 3.34 | 186.2333 | 3.6633 | 194.8667 | 19.1 | 881 | 92.2333 | 0.7
2019-05-25 01:45:00 | 1.7867 | 156.86 | 2.0667 | 172.3667 | 2.5633 | 190.4 | 2.8033 | 186.8 | 19.0387 | 881 | 92.3067 | 0.528
2019-05-25 02:00:00 | 1.5867 | 165.84 | 1.84 | 182.2333 | 2.49 | 184.2 | 2.5767 | 191.2 | 18.8467 | 881 | 92.6667 | 0.22
2019-05-25 02:15:00 | 1 | 180.4787 | 1.1633 | 198.32 | 1.7167 | 184.1667 | 1.8567 | 183.1333 | 18.7 | 881 | 93.2933 | 0
2019-05-25 02:30:00 | 0.37333 | 180.74 | 0.43 | 198.6 | 0.71667 | 183.5 | 0.83667 | 190.4 | 18.74 | 880.6 | 93.24 | 0
2019-05-25 02:45:00 | 0.15267 | 208.2767 | 0.174 | 228.8667 | 0.29267 | 225.9 | 0.47467 | 231.5067 | 18.506 | 880 | 94.0667 | 0
2019-05-25 03:00:00 | 0.75667 | 288.89 | 0.87 | 317.4667 | 1.1933 | 310.7 | 0.38667 | 313.6 | 18.32 | 880 | 95.1 | 0
2019-05-25 03:15:00 | 1.2 | 302.6933 | 1.38 | 332.6333 | 1.4433 | 334.2333 | 0.1 | 313.6 | 18.17 | 880 | 95.8067 | 0
2019-05-25 03:30:00 | 1.5333 | 312.1667 | 1.76 | 343.0333 | 1.8633 | 346.1 | 0.36667 | 313.64 | 18.1033 | 880 | 95.9 | 0.011333
2019-05-25 03:45:00 | 1.9733 | 321.0233 | 2.27 | 352.7667 | 2.2367 | 235.9167 | 1.17 | 328.1067 | 17.9213 | 880 | 94.3067 | 0
2019-05-25 04:00:00 | 2.7933 | 119.8567 | 3.2233 | 131.7067 | 3.3367 | 11.0967 | 2.3767 | 128.8467 | 17.8 | 880 | 94.8667 | 0
2019-05-25 04:15:00 | 2.8533 | 324.87 | 3.28 | 357 | 3.3633 | 6.6667 | 3.3233 | 14.7633 | 17.6033 | 879.9333 | 94.5333 | 0
2019-05-25 04:30:00 | 3.06 | 318.3767 | 3.52 | 349.8667 | 3.6367 | 6.3133 | 3.23 | 20.9367 | 17.714 | 879 | 93.8667 | 0
2019-05-25 04:45:00 | 2.9733 | 305.92 | 3.4267 | 336.1667 | 3.6733 | 4.5067 | 3.31 | 20.79 | 17.618 | 879 | 94.3 | 0
2019-05-25 05:00:00 | 2.86 | 319.2667 | 3.2867 | 350.8333 | 3.9333 | 6.7733 | 3.4167 | 19.3767 | 17.49 | 879 | 95.1 | 0
2019-05-25 05:15:00 | 3.0867 | 53.8133 | 3.5467 | 59.1267 | 3.8467 | 3.76 | 3.7167 | 10.4533 | 17.424 | 879 | 95.7667 | 0
2019-05-25 05:30:00 | 3.06 | 258.8933 | 3.52 | 284.5 | 3.9867 | 9.0733 | 3.83 | 15.5867 | 17.376 | 879 | 96.14 | 0.19667
2019-05-25 05:45:00 | 3.4733 | 324.2033 | 4.0033 | 356.2667 | 4.3633 | 21.5233 | 4.39 | 13.3 | 17.4087 | 879 | 96.06 | 1.472
2019-05-25 06:00:00 | 3.7667 | 316.4433 | 4.33 | 347.7333 | 4.67 | 51.5967 | 4.6767 | 9.3333 | 17.19 | 879 | 96.3 | 3.1427
2019-05-25 06:15:00 | 3.7133 | 314.29 | 4.27 | 345.3667 | 4.6267 | 121.22 | 4.92 | 8.6667 | 16.9167 | 879 | 96.24 | 3.3907
2019-05-25 06:30:00 | 3.5867 | 105.3033 | 4.1233 | 115.72 | 4.6 | 119.28 | 4.92 | 12.3133 | 16.85 | 879 | 95.6 | 2.99
2019-05-25 06:45:00 | 3.58 | 216.42 | 4.1267 | 237.8233 | 4.64 | 355.5667 | 4.9467 | 10.2 | 16.8627 | 879 | 95.7333 | 3.5687
2019-05-25 07:00:00 | 3.4067 | 208.6 | 3.92 | 229.2233 | 4.74 | 122.1733 | 5.3067 | 10.0067 | 17.02 | 879 | 95.2 | 4.4413
2019-05-25 07:15:00 | 3.28 | 209.6567 | 3.7767 | 230.38 | 4.98 | 234.6133 | 5.47 | 10.4333 | 17.2167 | 879.0667 | 94.6333 | 4.3307
2019-05-25 07:30:00 | 3.28 | 0.62333 | 3.7767 | 0.68 | 5.0533 | 1.6467 | 5.6767 | 6.7267 | 17.5367 | 880 | 93.5667 | 4.2887
2019-05-25 07:45:00 | 3.2013 | 203.732 | 3.692 | 223.8767 | 4.8767 | 4.0893 | 5.6373 | 15.4007 | 18.1033 | 880 | 90.7933 | 2.7233
2019-05-25 08:00:00 | 3.26 | 202.7667 | 3.7567 | 222.8067 | 4.9167 | 7.26 | 5.4267 | 14.98 | 18.4 | 880 | 89.7333 | 1.7033
2019-05-25 08:15:00 | 2.7667 | 18.96 | 3.18 | 20.8333 | 4.5433 | 7.1467 | 5.2367 | 18.6467 | 19.1 | 880.7333 | 86.9333 | 0.46867
2019-05-25 08:30:00 | 2.9533 | 212.46 | 3.4 | 233.4667 | 4.2967 | 8.36 | 4.8167 | 19.4733 | 19.2333 | 881 | 85 | 0.20067
2019-05-25 08:45:00 | 2.8767 | 222.4567 | 3.31 | 244.46 | 4.3033 | 8.7167 | 4.4567 | 10.1067 | 19.36 | 881.7333 | 84.9 | 0
2019-05-25 09:00:00 | 2.61 | 220.1567 | 3.0033 | 241.9267 | 3.51 | 13.3833 | 3.6567 | 15.76 | 19.54 | 882 | 85.3667 | 0
2019-05-25 09:15:00 | 2.2667 | 216.5967 | 2.6067 | 238.0167 | 3.3133 | 10.5233 | 3.1767 | 7.0933 | 20.28 | 882 | 84.3333 | 0
2019-05-25 09:30:00 | 2.3267 | 3.3767 | 2.68 | 3.71 | 2.9267 | 12.43 | 2.99 | 238.58 | 20.52 | 882 | 82.9333 | 0
2019-05-25 09:45:00 | 2.3667 | 11.6467 | 2.7233 | 12.7933 | 3.0067 | 45.55 | 3.41 | 12.6167 | 20.4133 | 882 | 83.3 | 0
2019-05-25 10:00:00 | 2.432 | 188.38 | 2.794 | 207.012 | 3.024 | 6.544 | 3.61 | 14.072 | 20.672 | 882 | 82.64 | 0
2019-05-25 10:15:00 | 2 | 33.5967 | 2.31 | 36.92 | 2.39 | 2.6833 | 2.4233 | 9.1333 | 21.5807 | 882 | 78.0733 | 0
2019-05-25 10:30:00 | 1.1733 | 13.5033 | 1.3567 | 14.84 | 1.3833 | 143.7633 | 1.2833 | 67.28 | 21.91 | 882 | 74.9067 | 0
2019-05-25 10:45:00 | 1.3733 | 124.9133 | 1.5867 | 137.2667 | 1.9467 | 115.1667 | 1.99 | 78.4467 | 23.6 | 882 | 73.4333 | 0
2019-05-25 11:00:00 | 2.1133 | 150.64 | 2.4267 | 165.5333 | 2.54 | 116.5667 | 2.3233 | 128.2667 | 23.824 | 882 | 73.52 | 0
2019-05-25 11:15:00 | 2.5 | 172.2633 | 2.8733 | 189.3 | 3.07 | 158.6 | 2.8267 | 167.0667 | 23.95 | 882 | 75.6233 | 0
2019-05-25 11:30:00 | 2.98 | 167.8367 | 3.4267 | 184.4333 | 3.5633 | 163.7333 | 3.5 | 168.6667 | 23.946 | 882 | 72.55 | 0
2019-05-25 11:45:00 | 2.7033 | 140.91 | 3.1067 | 154.8333 | 3.39 | 164.2667 | 3.4567 | 151.6333 | 24.3467 | 882 | 68.3733 | 0
2019-05-25 12:00:00 | 2.5633 | 120.9433 | 2.9467 | 132.9 | 3.0767 | 168.2 | 3.1433 | 176.8333 | 24.7533 | 882 | 66.5333 | 0
2019-05-25 12:15:00 | 2.5167 | 175.9667 | 2.8967 | 193.3667 | 3.1867 | 164.6 | 3.23 | 190.1 | 25.0833 | 882 | 64.45 | 0.096667
2019-05-25 12:30:00 | 2.6833 | 177.42 | 3.09 | 194.9667 | 3.44 | 151.5333 | 3.29 | 150.3667 | 25.262 | 882 | 62.9367 | 0.35133
2019-05-25 12:45:00 | 2.2533 | 165.2 | 2.5967 | 181.5333 | 3.1333 | 233.9667 | 3.35 | 227 | 25.6667 | 882 | 61.2167 | 0.012
2019-05-25 13:00:00 | 2.4 | 153 | 2.7633 | 168.1333 | 3.1267 | 198.5 | 3.4633 | 183.6667 | 25.6067 | 882 | 61.79 | 0
2019-05-25 13:15:00 | 2.35 | 141.7233 | 2.7033 | 155.7333 | 2.9733 | 144.8 | 2.9533 | 138.9333 | 25.9967 | 881.9333 | 60.33 | 0
2019-05-25 13:30:00 | 2.1833 | 148.7033 | 2.51 | 163.4 | 2.7533 | 126.8 | 2.6933 | 128.8 | 25.75 | 881 | 60.03 | 0
2019-05-25 13:45:00 | 1.9433 | 137.1467 | 2.2433 | 150.7 | 2.5093 | 148.3333 | 2.3167 | 160.7333 | 26.5033 | 881 | 57.7133 | 0
2019-05-25 14:00:00 | 2.2767 | 132.4133 | 2.6167 | 145.5 | 2.84 | 139.5333 | 2.7367 | 217.4 | 26.4167 | 881 | 57.08 | 0
2019-05-25 14:15:00 | 1.8133 | 131.4967 | 2.0967 | 144.5 | 2.44 | 151.7333 | 2.3367 | 178.4 | 26.9767 | 881 | 55.4467 | 0
2019-05-25 14:30:00 | 1.648 | 108.714 | 1.9 | 119.46 | 2.19 | 181.4 | 1.884 | 148 | 27.25 | 881 | 53.662 | 0
2019-05-25 14:45:00 | 2.38 | 110.66 | 2.7433 | 121.6 | 2.7933 | 138.9667 | 2.54 | 132.5 | 26.9733 | 881 | 53.7 | 0
2019-05-25 15:00:00 | 1.7571 | 119.99 | 2.0307 | 131.8571 | 2.1707 | 153.8714 | 2.1929 | 164.8357 | 26.79 | 881 | 54.4086 | 0
2019-05-25 15:15:00 | 1.53 | 158.7433 | 1.7667 | 174.4333 | 2.1333 | 166.9333 | 2.0667 | 190.1 | 27.19 | 881 | 54.5467 | 0
2019-05-25 15:30:00 | 1.7433 | 142.7167 | 2.0133 | 156.8333 | 2.2333 | 150.6667 | 2.18 | 194.5 | 26.7833 | 881 | 55.0933 | 0
2019-05-25 15:45:00 | 2.5 | 143.9633 | 2.8833 | 158.2 | 3.1567 | 167.8667 | 3.2033 | 182.0333 | 27.6793 | 881 | 52.0933 | 0
2019-05-25 16:00:00 | 2.22 | 155.9233 | 2.5567 | 171.3333 | 3.0767 | 176.6667 | 3.03 | 150.8333 | 27.91 | 881 | 51.4333 | 0.12933
2019-05-25 16:15:00 | 2.1833 | 178.8833 | 2.51 | 196.5667 | 3.26 | 260.5667 | 3.3967 | 253.5333 | 28.6433 | 881 | 48.37 | 0.046667
2019-05-25 16:30:00 | 2.15 | 156.7433 | 2.47 | 172.2333 | 3.1267 | 236.3667 | 3.33 | 250.6 | 28.5967 | 881 | 47.41 | 0.64533
2019-05-25 16:45:00 | 2.112 | 178.8127 | 2.4333 | 196.4933 | 3.09 | 214.6133 | 3.2907 | 218.3 | 28.4053 | 881 | 48.6147 | 0.22533
2019-05-25 17:00:00 | 2.244 | 180.036 | 2.582 | 197.84 | 3.176 | 205.54 | 3.206 | 211.88 | 28.376 | 881 | 50.212 | 0.644
2019-05-25 17:15:00 | 2.42 | 154.57 | 2.786 | 169.86 | 3.484 | 230.8 | 3.808 | 240.84 | 28.166 | 880.2667 | 50.5107 | 1.5493
2019-05-25 17:30:00 | 2.3667 | 190.47 | 2.7233 | 209.3 | 3.3733 | 221.3333 | 3.4 | 227.2667 | 28.01 | 880 | 51.1467 | 2.0747
2019-05-25 17:45:00 | 2.26 | 164.2567 | 2.6033 | 180.5 | 3.34 | 218.6667 | 3.5367 | 225.4333 | 27.73 | 880 | 52.6167 | 3.974
2019-05-25 18:00:00 | 2.1267 | 181.31 | 2.45 | 199.2333 | 3.3267 | 233.5333 | 3.5433 | 238.5 | 27.45 | 880 | 54.0233 | 3.776
2019-05-25 18:15:00 | 1.9533 | 167.9667 | 2.2467 | 184.5667 | 2.9 | 227.5 | 3.2733 | 222.8667 | 27.2167 | 880 | 55.2953 | 3.9107
2019-05-25 18:30:00 | 2.3133 | 166.8067 | 2.66 | 183.3 | 3.3067 | 207.1667 | 3.54 | 240.6667 | 26.9167 | 880 | 55.83 | 5.7273
2019-05-25 18:45:00 | 2.33 | 170.3567 | 2.6833 | 187.2 | 3.6533 | 239.9 | 3.8433 | 227.2333 | 26.6467 | 880 | 56.8967 | 6.5213
2019-05-25 19:00:00 | 2.0967 | 175.21 | 2.41 | 192.5333 | 3.26 | 243.5667 | 3.2767 | 227.5 | 26.3333 | 880 | 57.59 | 7.4773
2019-05-25 19:15:00 | 2.48 | 191.29 | 2.8533 | 210.2 | 3.65 | 227.4333 | 4.0867 | 230.9667 | 25.7267 | 880 | 59.6133 | 10.946
2019-05-25 19:30:00 | 2.2133 | 171.81 | 2.5533 | 188.8 | 3.3433 | 224.5 | 4.0133 | 212.8333 | 25.42 | 880 | 60.9067 | 11.2407
2019-05-25 19:45:00 | 3.6 | 161.1967 | 4.14 | 177.1333 | 4.5533 | 195.7333 | 4.8133 | 205.3333 | 25.15 | 880 | 63.7467 | 10.078
2019-05-25 20:00:00 | 3.8267 | 163.5033 | 4.4 | 179.6667 | 4.8333 | 193.8667 | 5.24 | 192.4 | 24.8633 | 880 | 67.02 | 10.616
2019-05-25 20:15:00 | 3.7933 | 158.0767 | 4.3667 | 173.7 | 4.7267 | 201.0667 | 4.7667 | 196.8667 | 24.3033 | 880 | 70.0933 | 13.6167
2019-05-25 20:30:00 | 3.98 | 177.0567 | 4.58 | 194.5667 | 5.28 | 207 | 5.48 | 217.0667 | 23.91 | 880 | 72.2 | 14.932
2019-05-25 20:45:00 | 3.4967 | 142.9633 | 4.02 | 157.1 | 4.4933 | 201.5667 | 4.57 | 207.7667 | 23.4733 | 880 | 74.3667 | 15.362
2019-05-25 21:00:00 | 3.7567 | 133.81 | 4.32 | 147.0333 | 4.78 | 184.1667 | 4.8167 | 193.6333 | 23.332 | 880 | 75.46 | 12.912
2019-05-25 21:15:00 | 3.3667 | 139.5667 | 3.88 | 153.3667 | 4.18 | 184 | 4.5133 | 187.6333 | 23.11 | 880 | 76.9633 | 11.1933
2019-05-25 21:30:00 | 3.44 | 161.96 | 3.9533 | 177.9667 | 4.2933 | 187.4 | 4.5733 | 194.3667 | 23.018 | 880 | 78.0167 | 9.16
2019-05-25 21:45:00 | 2.8 | 185.6167 | 3.23 | 203.9667 | 3.6233 | 213.1 | 3.7867 | 207.4667 | 22.9427 | 880.7333 | 78.17 | 9.4867
2019-05-25 22:00:00 | 2.8267 | 167.0433 | 3.2633 | 183.5667 | 3.8233 | 220.1667 | 3.7267 | 211.1333 | 22.6467 | 881 | 79.5833 | 7.89
2019-05-25 22:15:00 | 2.9 | 162.0133 | 3.34 | 178.0333 | 3.7767 | 198.9667 | 3.8067 | 195.9667 | 22.35 | 881 | 80.9667 | 10.5207
2019-05-25 22:30:00 | 3.3133 | 190.1667 | 3.82 | 208.9667 | 4.6033 | 214.8333 | 4.4267 | 209.9667 | 22.1567 | 881 | 81.9667 | 10.1833
2019-05-25 22:45:00 | 2.82 | 158.3367 | 3.2433 | 174 | 4 | 204.9 | 3.9433 | 214.7667 | 21.91 | 881 | 83.1333 | 6.9547
2019-05-25 23:00:00 | 2.8 | 164.1033 | 3.2167 | 180.3333 | 3.8867 | 198.7 | 4.0367 | 204.3 | 21.71 | 881 | 84 | 6.694
2019-05-25 23:15:00 | 2.7967 | 168.0867 | 3.2167 | 184.7 | 3.7233 | 195.4667 | 3.71 | 223.22 | 21.5033 | 881 | 84.9667 | 5.0613
2019-05-25 23:30:00 | 2.6167 | 159.52 | 3.01 | 175.3 | 3.4967 | 200.5333 | 3.47 | 211.6333 | 21.3767 | 881 | 85.3667 | 4.608
2019-05-25 23:45:00 | 2.72 | 171.93 | 3.13 | 188.9333 | 3.6967 | 197.0333 | 3.6567 | 213.3 | 21.2673 | 881 | 86.1667 | 2.7093