## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-26 00:00:00 | 2.5771 | 147.1064 | 2.9679 | 161.65 | 3.5471 | 196.0214 | 3.4979 | 206.7429 | 21.2264 | 881 | 86.9917 | 2.0386
2019-05-26 00:15:00 | 2.46 | 163.35 | 2.8333 | 179.5 | 3.4733 | 197.8 | 3.4 | 206.4 | 21.1973 | 881 | 87.34 | 1.0487
2019-05-26 00:30:00 | 2.34 | 162.1367 | 2.6933 | 178.1667 | 3.36 | 192.8667 | 3.28 | 213.8 | 21.14 | 881 | 87.6333 | 1.3547
2019-05-26 00:45:00 | 2.1533 | 158.6133 | 2.4767 | 174.3 | 3.0833 | 186.7333 | 3.1167 | 195.6667 | 20.8733 | 881 | 89 | 0.82667
2019-05-26 01:00:00 | 1.9533 | 166.3867 | 2.2567 | 182.8333 | 2.8367 | 180.1333 | 2.95 | 187.3333 | 20.6733 | 881 | 89.56 | 0.13267
2019-05-26 01:15:00 | 2.0667 | 154.2167 | 2.38 | 169.4667 | 2.9467 | 186.2667 | 2.92 | 183.42 | 20.5573 | 881 | 89.5 | 0
2019-05-26 01:30:00 | 2 | 161.7433 | 2.3 | 177.7333 | 2.72 | 179.2 | 2.8467 | 179.7 | 20.508 | 881 | 89.54 | 0
2019-05-26 01:45:00 | 2.26 | 176.88 | 2.5967 | 194.3667 | 2.84 | 184.5 | 2.7733 | 183.9333 | 20.562 | 881 | 89.2933 | 0
2019-05-26 02:00:00 | 2.0933 | 178.0933 | 2.4033 | 195.7 | 2.7733 | 187.5667 | 2.6067 | 192.92 | 20.5567 | 881 | 89.6 | 0
2019-05-26 02:15:00 | 1.2067 | 176.1233 | 1.3967 | 193.5333 | 1.84 | 184.2333 | 1.6067 | 193.2333 | 20.5527 | 881 | 89.6333 | 0
2019-05-26 02:30:00 | 0.74667 | 172.43 | 0.85667 | 189.48 | 1.3533 | 184.7 | 1.2067 | 192.7 | 20.5567 | 880.6 | 89.1667 | 0
2019-05-26 02:45:00 | 0.34667 | 172.55 | 0.4 | 189.6 | 0.68333 | 186.6 | 0.22333 | 192.7 | 20.26 | 880 | 90.2667 | 0
2019-05-26 03:00:00 | 0.073333 | 172.582 | 0.086667 | 189.64 | 0.15 | 186.6 | 0.063333 | 192.7 | 20.1333 | 880 | 90.64 | 0
2019-05-26 03:15:00 | 0.32 | 172.63 | 0.37667 | 189.7 | 0.64333 | 186.5267 | 0.35 | 192.7 | 20.2993 | 880 | 89.9267 | 0
2019-05-26 03:30:00 | 0.4 | 172.63 | 0.47 | 189.7 | 0.79 | 186.54 | 0.57 | 192.74 | 20.6167 | 880 | 88.6333 | 0
2019-05-26 03:45:00 | 0.36333 | 172.63 | 0.43333 | 189.7 | 0.60333 | 186.6 | 0.6 | 239.16 | 20.4433 | 880 | 89.5 | 0
2019-05-26 04:00:00 | 0.57667 | 266.8433 | 0.66667 | 293.2333 | 0.71 | 285.8667 | 0.54667 | 332 | 20.27 | 880 | 90.5 | 0
2019-05-26 04:15:00 | 1.4967 | 315.86 | 1.7233 | 347.1 | 2.14 | 349.8667 | 1.84 | 221.56 | 19.6833 | 880 | 93.3 | 0
2019-05-26 04:30:00 | 1.81 | 315.14 | 2.0833 | 346.3 | 2.88 | 118.36 | 2.6133 | 0.30667 | 19.3567 | 880 | 94.3 | 0.01
2019-05-26 04:45:00 | 1.6867 | 304.6133 | 1.94 | 334.7333 | 2.8167 | 2.69 | 2.6667 | 9.7967 | 19.1867 | 880 | 94.6333 | 0.45067
2019-05-26 05:00:00 | 2.128 | 127.018 | 2.452 | 139.576 | 3.23 | 8.098 | 3.456 | 21.37 | 19.274 | 880 | 94.38 | 1.0793
2019-05-26 05:15:00 | 2.2267 | 280.74 | 2.5633 | 308.5 | 4.1967 | 126.7467 | 4.3367 | 24.13 | 19.09 | 880 | 95.1333 | 5.0953
2019-05-26 05:30:00 | 2.7733 | 265.5733 | 3.1967 | 291.8333 | 5.23 | 349.2333 | 5.3633 | 18.53 | 18.9367 | 880.4 | 96.1333 | 8.7433
2019-05-26 05:45:00 | 3.0933 | 33.74 | 3.5567 | 37.0667 | 5.4333 | 10.3 | 6.04 | 19.45 | 18.74 | 881 | 96.7333 | 12.97
2019-05-26 06:00:00 | 3.4067 | 223.7333 | 3.9167 | 245.8467 | 5.8133 | 222.84 | 5.9267 | 16.8233 | 18.656 | 881 | 97.3333 | 22.3227
2019-05-26 06:15:00 | 3.9067 | 201.1333 | 4.4933 | 221.02 | 6.6733 | 5.5733 | 7.1 | 24.1267 | 18.6767 | 881 | 97.5267 | 27.5087
2019-05-26 06:30:00 | 4.0333 | 108.4267 | 4.6467 | 119.1533 | 7.4333 | 12.8 | 7.88 | 22.9733 | 18.6167 | 881 | 97.74 | 32.5467
2019-05-26 06:45:00 | 4.2267 | 239.912 | 4.8647 | 263.64 | 7.744 | 260.62 | 8.246 | 14.5807 | 18.6573 | 881 | 98.0933 | 31.7133
2019-05-26 07:00:00 | 4.28 | 27.09 | 4.9267 | 29.7633 | 8.01 | 14.73 | 8.4833 | 23.5 | 19.0133 | 881.4 | 97.3333 | 33.8293
2019-05-26 07:15:00 | 4.4867 | 115.3333 | 5.17 | 126.73 | 8.7033 | 13.2033 | 9.25 | 19.78 | 19.65 | 882 | 94.6667 | 41.928
2019-05-26 07:30:00 | 4.782 | 211.468 | 5.498 | 232.376 | 9.32 | 17.822 | 9.492 | 18.74 | 20.068 | 882 | 93.26 | 48.862
2019-05-26 07:45:00 | 5.08 | 250.5933 | 5.8467 | 275.3667 | 9.7133 | 17.2967 | 9.5507 | 17.2467 | 20.75 | 882.0667 | 90.6 | 47.3587
2019-05-26 08:00:00 | 5.1467 | 257.8133 | 5.9267 | 283.3 | 9.64 | 19.03 | 9.5467 | 18.7667 | 21.3767 | 883 | 87.8667 | 47.616
2019-05-26 08:15:00 | 5.5467 | 273.58 | 6.39 | 300.6333 | 10.5 | 22.9533 | 11.03 | 26.0167 | 22.2567 | 883.0667 | 83.1 | 49.4007
2019-05-26 08:30:00 | 5.92 | 226.1467 | 6.8167 | 248.5 | 11.28 | 12.9933 | 11.758 | 27.2633 | 22.7967 | 884 | 78.8667 | 49.1347
2019-05-26 08:45:00 | 6.26 | 122.2133 | 7.2 | 134.2967 | 11.5633 | 16.29 | 12.1013 | 23.9133 | 23.4867 | 884 | 72.8133 | 51.18
2019-05-26 09:00:00 | 6.6467 | 206.7933 | 7.64 | 227.23 | 12.3767 | 15.53 | 13.0733 | 26.0667 | 23.82 | 884.4 | 70.1333 | 53.2213
2019-05-26 09:15:00 | 7.6833 | 310.1867 | 8.8467 | 340.8667 | 13.7033 | 21 | 13.7233 | 31.4733 | 24.0433 | 885 | 65.4433 | 52.9713
2019-05-26 09:30:00 | 7.3633 | 135.3667 | 8.4667 | 148.7467 | 13.2767 | 18.2333 | 13.09 | 33.2867 | 24.4767 | 885 | 63.4567 | 52.414
2019-05-26 09:45:00 | 7.434 | 87.6147 | 8.5487 | 96.2727 | 13.1893 | 20.71 | 13.1633 | 27.6433 | 24.942 | 885 | 60.5513 | 51.9467
2019-05-26 10:00:00 | 7.1733 | 302.4 | 8.2533 | 332.3 | 12.85 | 13.0267 | 13.2067 | 24.21 | 25.5333 | 885 | 58.68 | 52.382
2019-05-26 10:15:00 | 7.4533 | 248.67 | 8.5733 | 273.2667 | 13.0233 | 28.71 | 13.15 | 38.89 | 26.0133 | 885 | 52.0833 | 52.8633
2019-05-26 10:30:00 | 7.8933 | 265.1833 | 9.08 | 291.4 | 13.6367 | 29.0967 | 14.2633 | 37.17 | 26.14 | 885 | 45.7033 | 53.384
2019-05-26 10:45:00 | 8.7133 | 67.7033 | 10.03 | 74.4 | 15.17 | 15.8333 | 15.2667 | 30.63 | 26.3933 | 885 | 41.8233 | 55.2393
2019-05-26 11:00:00 | 8.2133 | 190.0167 | 9.45 | 208.8 | 14.2833 | 20.1933 | 15.1467 | 29.9967 | 26.7467 | 885 | 40.47 | 54.488
2019-05-26 11:15:00 | 8.0967 | 48.2633 | 9.3167 | 53.0333 | 13.9267 | 23.56 | 14.6433 | 25.85 | 27.1033 | 885 | 38.4667 | 52.8953
2019-05-26 11:30:00 | 7.9367 | 45.1367 | 9.1367 | 49.6 | 13.7667 | 22.1067 | 14.406 | 37.3367 | 27.53 | 885 | 37.1867 | 49.8713
2019-05-26 11:45:00 | 7.3733 | 251.1967 | 8.4867 | 276.0333 | 12.7067 | 27.0733 | 13.3367 | 34.2 | 27.808 | 885 | 35.96 | 49.532
2019-05-26 12:00:00 | 7.5867 | 125.23 | 8.7333 | 137.6067 | 13.2133 | 23.6933 | 13.71 | 30.7333 | 28.1267 | 885 | 34.84 | 48.4527
2019-05-26 12:15:00 | 7.5067 | 169.66 | 8.6367 | 186.4433 | 13.0247 | 18.1267 | 13.5867 | 33.5067 | 28.1513 | 885 | 34.8833 | 44.8853
2019-05-26 12:30:00 | 7.14 | 155.1067 | 8.2233 | 170.4433 | 12.4767 | 25.74 | 12.84 | 26.64 | 28.33 | 885 | 33.97 | 46.8193
2019-05-26 12:45:00 | 7.7133 | 128.8167 | 8.87 | 141.55 | 13.7033 | 20.6867 | 13.6467 | 30.7133 | 28.598 | 885 | 34.45 | 44.5647
2019-05-26 13:00:00 | 7.52 | 142.77 | 8.65 | 156.8833 | 13.25 | 24.72 | 13.272 | 30.26 | 28.8967 | 885 | 34.0433 | 45.186
2019-05-26 13:15:00 | 7.0933 | 119.4667 | 8.1567 | 131.28 | 12.4667 | 18.9733 | 12.76 | 31.44 | 28.77 | 885 | 33.1667 | 43.9873
2019-05-26 13:30:00 | 7.2133 | 205.0067 | 8.2967 | 225.28 | 12.9 | 21.7067 | 12.6733 | 28.36 | 28.99 | 885 | 33.7533 | 40.0847
2019-05-26 13:45:00 | 6.8307 | 40.93 | 7.86 | 44.9767 | 12.1067 | 17.2367 | 12.0367 | 24.61 | 29.6933 | 885 | 33.85 | 38.2187
2019-05-26 14:00:00 | 6.9 | 23.2233 | 7.94 | 25.5167 | 12.0267 | 1.79 | 11.862 | 23.3367 | 29.6933 | 885 | 33.1833 | 39.6893
2019-05-26 14:15:00 | 6.34 | 75.1233 | 7.29 | 82.5533 | 11.34 | 21.72 | 11.3833 | 28.6567 | 30.0467 | 885 | 33.2367 | 36.8067
2019-05-26 14:30:00 | 6.2467 | 236.79 | 7.19 | 260.2 | 11.104 | 22.6 | 11.1167 | 21.6233 | 30.0533 | 885 | 31.97 | 33.8127
2019-05-26 14:45:00 | 5.8767 | 168.51 | 6.76 | 185.1667 | 10.39 | 20.34 | 10.2833 | 30.69 | 29.9833 | 885 | 32.1647 | 34.6513
2019-05-26 15:00:00 | 6.2967 | 77.6233 | 7.24 | 85.3 | 11.17 | 13.1333 | 10.8967 | 29.9233 | 30.162 | 885 | 32.3833 | 33.898
2019-05-26 15:15:00 | 5.9067 | 210.6667 | 6.8 | 231.49 | 10.4667 | 16.6833 | 10.27 | 27.96 | 30.1667 | 885 | 31.7567 | 34.5273
2019-05-26 15:30:00 | 5.9933 | 75.2533 | 6.8933 | 82.69 | 10.7 | 16.6233 | 10.5567 | 32.0067 | 30.2533 | 885 | 32.15 | 30.4133
2019-05-26 15:45:00 | 5.5453 | 191.5967 | 6.3807 | 210.5467 | 9.858 | 21.362 | 9.752 | 24.4373 | 30.2067 | 885 | 32.2427 | 32.444
2019-05-26 16:00:00 | 5.6167 | 238.49 | 6.46 | 262.0667 | 10.0567 | 18.91 | 10.0033 | 28.15 | 30.0733 | 885 | 32.38 | 29.5933
2019-05-26 16:15:00 | 6.18 | 26.4433 | 7.11 | 29.05 | 10.9067 | 18.3033 | 10.8867 | 21.1633 | 29.7867 | 885 | 32.7367 | 35.51
2019-05-26 16:30:00 | 5.9133 | 20.1433 | 6.81 | 22.1233 | 10.62 | 21.8367 | 10.4533 | 19.87 | 29.8933 | 885 | 32.9233 | 37.0427
2019-05-26 16:45:00 | 6.2867 | 167.5933 | 7.23 | 184.1667 | 11.4033 | 23.5967 | 11.0333 | 26.6867 | 29.7033 | 885 | 33.7033 | 37.7347
2019-05-26 17:00:00 | 6.2667 | 176.7533 | 7.2167 | 194.2333 | 11.5567 | 10.7367 | 11.28 | 20.3867 | 29.4433 | 884.6 | 34.1767 | 38.788
2019-05-26 17:15:00 | 5.8867 | 166.7467 | 6.7767 | 183.2333 | 11.33 | 25.93 | 11.3367 | 28.3733 | 29.4093 | 884 | 34.66 | 38.0247
2019-05-26 17:30:00 | 6.32 | 35.42 | 7.27 | 38.92 | 11.89 | 18.9233 | 11.8767 | 25.18 | 29.2333 | 884 | 34.4667 | 39.9933
2019-05-26 17:45:00 | 6.13 | 97.1667 | 7.05 | 106.7667 | 11.54 | 16.2 | 11.8367 | 28.39 | 28.65 | 884 | 35.0867 | 41.8833
2019-05-26 18:00:00 | 6.5433 | 253.68 | 7.5233 | 278.7667 | 11.9867 | 19.0667 | 11.91 | 30.59 | 28.0567 | 884 | 35.6867 | 42.22
2019-05-26 18:15:00 | 6.36 | 184.2133 | 7.3267 | 202.4333 | 11.844 | 22.3167 | 12.02 | 25.4067 | 27.6433 | 884 | 35.44 | 39.8147
2019-05-26 18:30:00 | 6.52 | 175.1133 | 7.5 | 192.4333 | 11.62 | 27.1433 | 11.6533 | 28.06 | 27.2833 | 884 | 35.2333 | 40.8553
2019-05-26 18:45:00 | 5.94 | 110.51 | 6.83 | 121.4333 | 10.8233 | 17.99 | 10.41 | 23.6833 | 26.7667 | 884 | 35.89 | 38.2107
2019-05-26 19:00:00 | 5.7733 | 227.7167 | 6.6367 | 250.2333 | 9.9567 | 18.2167 | 9.81 | 16.7033 | 26.4867 | 884 | 36.0233 | 40.398
2019-05-26 19:15:00 | 5.906 | 257.1033 | 6.8 | 282.5333 | 10.2833 | 13.7567 | 10.04 | 30.46 | 26.0633 | 883.2667 | 36.0033 | 39.44
2019-05-26 19:30:00 | 5.77 | 288.1033 | 6.64 | 316.6 | 10.0833 | 28.9767 | 9.8867 | 28.9867 | 25.69 | 883 | 36.5033 | 41.604
2019-05-26 19:45:00 | 6.06 | 119.05 | 6.97 | 130.82 | 10.2533 | 6.7967 | 9.9233 | 28.4233 | 25.5387 | 883 | 35.8967 | 44.7713
2019-05-26 20:00:00 | 5.72 | 306.65 | 6.59 | 336.9667 | 10.2267 | 7.53 | 10.0233 | 24.5033 | 25.1933 | 883 | 37.0233 | 42.95
2019-05-26 20:15:00 | 5.8533 | 235.8967 | 6.73 | 259.23 | 10.45 | 11.4333 | 10.2367 | 19.4067 | 24.7833 | 883 | 37.7 | 40.54
2019-05-26 20:30:00 | 5.0667 | 145.1433 | 5.83 | 159.4967 | 9.4767 | 11.0333 | 9.5833 | 23.44 | 24.5833 | 883 | 37.8267 | 38.6213
2019-05-26 20:45:00 | 4.9067 | 250.9167 | 5.6433 | 275.7333 | 9.3433 | 14.8567 | 9.6533 | 31.2633 | 24.29 | 883 | 38.6167 | 38.6713
2019-05-26 21:00:00 | 4.6667 | 217.3767 | 5.37 | 238.8667 | 8.91 | 17.9833 | 9.88 | 32.41 | 24.0567 | 883 | 39.1367 | 41.212
2019-05-26 21:15:00 | 5.2467 | 204.1467 | 6.04 | 224.3333 | 9.87 | 17.8033 | 10.9167 | 24.92 | 23.7 | 883.0667 | 40.52 | 42.6453
2019-05-26 21:30:00 | 4.94 | 168.84 | 5.6867 | 185.5333 | 9.4167 | 19.71 | 10.4967 | 28.9533 | 23.652 | 884 | 40.14 | 43.4087
2019-05-26 21:45:00 | 5.1767 | 219.3433 | 5.9567 | 241.0267 | 9.76 | 28.2767 | 10.6233 | 34.74 | 23.558 | 884 | 40.1933 | 44.6113
2019-05-26 22:00:00 | 5.67 | 46.15 | 6.5167 | 50.7067 | 10.58 | 14.73 | 11.5367 | 26.1867 | 23.4767 | 884.4 | 40.0067 | 46.1227
2019-05-26 22:15:00 | 5.5667 | 150.7633 | 6.4133 | 165.6667 | 10.6433 | 13.2 | 11.3033 | 34.6833 | 23.446 | 885 | 39.8427 | 48.258
2019-05-26 22:30:00 | 6.3133 | 251.8833 | 7.2667 | 276.8 | 11.87 | 23.3267 | 12.4567 | 31.4233 | 23.39 | 885 | 39.6667 | 49.8853
2019-05-26 22:45:00 | 6.4667 | 175.85 | 7.4433 | 193.2333 | 11.82 | 20.33 | 12.95 | 36.53 | 23.4247 | 885 | 38.4667 | 50.816
2019-05-26 23:00:00 | 7.52 | 237.3633 | 8.6567 | 260.8333 | 13.4467 | 20.1033 | 14.41 | 33.5833 | 23.5567 | 885 | 37.02 | 50.7807
2019-05-26 23:15:00 | 7.1567 | 212.03 | 8.2367 | 233 | 12.7433 | 17.4167 | 13.7267 | 25.4 | 23.5093 | 885 | 35.1633 | 51.7733
2019-05-26 23:30:00 | 7.09 | 160.35 | 8.15 | 176.2 | 12.8833 | 22.29 | 13.2867 | 25.2867 | 23.4 | 885 | 34.6767 | 52.1053
2019-05-26 23:45:00 | 7.3267 | 301.0267 | 8.4267 | 330.8 | 13.0467 | 29.06 | 13.9767 | 25.6933 | 23.2767 | 885 | 32.7967 | 51.9147