## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-27 00:00:00 | 7.5771 | 287.4014 | 8.71 | 315.8214 | 13.5021 | 29.735 | 13.8407 | 31.4971 | 23.3429 | 885 | 31.7357 | 52.6621
2019-05-27 00:15:00 | 8.02 | 61.16 | 9.2367 | 67.2 | 14.2333 | 21.9733 | 14.8933 | 36.79 | 23.212 | 885 | 30.81 | 52.4233
2019-05-27 00:30:00 | 7.9267 | 204.5667 | 9.13 | 224.8 | 14.0333 | 29.46 | 14.7533 | 31.6167 | 23.1867 | 885 | 29.97 | 52.6493
2019-05-27 00:45:00 | 7.8633 | 29.6 | 9.0533 | 32.5167 | 14.4167 | 20.6333 | 14.73 | 29.07 | 23.01 | 885.7333 | 29.82 | 53.3633
2019-05-27 01:00:00 | 8.194 | 24.4867 | 9.424 | 26.8967 | 14.8167 | 24.8333 | 15.2233 | 32.23 | 22.8633 | 885.6 | 29.14 | 54.2747
2019-05-27 01:15:00 | 8.28 | 225.9467 | 9.52 | 248.2933 | 14.78 | 20.0933 | 15.4367 | 36.3667 | 22.7167 | 885 | 28.0833 | 53.48
2019-05-27 01:30:00 | 8.244 | 24.598 | 9.484 | 27.022 | 14.48 | 20.304 | 15.198 | 26.22 | 22.674 | 885 | 27.142 | 53.9373
2019-05-27 01:45:00 | 7.8 | 182.5767 | 8.98 | 200.6333 | 14.2233 | 21.8367 | 14.6033 | 26.3033 | 22.4133 | 885 | 27.7367 | 53.886
2019-05-27 02:00:00 | 8.12 | 232.7567 | 9.34 | 255.7667 | 14.41 | 21.3833 | 14.91 | 37.11 | 22.26 | 885 | 27.2233 | 54.04
2019-05-27 02:15:00 | 7.7227 | 247.9073 | 8.8893 | 272.42 | 13.8667 | 20.4007 | 13.9867 | 23.5773 | 22.2087 | 885 | 26.6333 | 54.7953
2019-05-27 02:30:00 | 7.8933 | 168.93 | 9.0767 | 185.6333 | 14.2167 | 14.5033 | 13.8733 | 11.1033 | 22.066 | 885 | 26.4333 | 54.372
2019-05-27 02:45:00 | 7.8533 | 143.33 | 9.0333 | 157.5067 | 14.3567 | 29.0233 | 14.2327 | 16.07 | 22.06 | 885 | 25.7467 | 55.5813
2019-05-27 03:00:00 | 8.2267 | 109.7233 | 9.46 | 120.5733 | 14.97 | 36.73 | 14.7433 | 22.97 | 21.8867 | 885 | 26.1867 | 55.19
2019-05-27 03:15:00 | 8.2867 | 222.0133 | 9.5267 | 243.9667 | 15.09 | 16.6367 | 14.9033 | 23.3733 | 21.83 | 885.7333 | 26.0873 | 55.698
2019-05-27 03:30:00 | 8.8467 | 242.8867 | 10.1733 | 266.9 | 16.0233 | 12.8433 | 15.77 | 18 | 21.73 | 886 | 26.27 | 54.772
2019-05-27 03:45:00 | 9.32 | 184.29 | 10.73 | 202.5167 | 16.5 | 8.34 | 16.068 | 20.6267 | 21.7167 | 886 | 26.07 | 56.41
2019-05-27 04:00:00 | 8.9333 | 230.6967 | 10.2833 | 253.5167 | 15.9 | 12.4867 | 15.88 | 26.86 | 21.666 | 886 | 25.8233 | 55.8153
2019-05-27 04:15:00 | 8.1867 | 49.5067 | 9.4133 | 54.3933 | 14.8933 | 15.8533 | 15.0033 | 15.5133 | 21.4767 | 886 | 25.9967 | 55.952
2019-05-27 04:30:00 | 8.1067 | 197.8533 | 9.32 | 217.4067 | 14.8533 | 13.5533 | 14.85 | 26.8533 | 21.2833 | 886 | 26.3833 | 56.1913
2019-05-27 04:45:00 | 8.6533 | 29.3933 | 9.9567 | 32.2967 | 15.3267 | 7.9633 | 15.49 | 28.15 | 21.3087 | 886 | 25.08 | 56.944
2019-05-27 05:00:00 | 8.7267 | 77.4067 | 10.0367 | 85.0567 | 15.7 | 18.07 | 15.7567 | 24.9233 | 20.8567 | 886 | 27.6867 | 58.19
2019-05-27 05:15:00 | 9.86 | 32.5867 | 11.3467 | 35.8033 | 17.5533 | 16.3667 | 17.5567 | 27.6867 | 20.4633 | 886 | 27.09 | 56.2693
2019-05-27 05:30:00 | 9.0867 | 31.72 | 10.4467 | 34.85 | 16.0267 | 22.94 | 16.39 | 34.02 | 20.5833 | 886 | 26.2033 | 56.1127
2019-05-27 05:45:00 | 9.6133 | 268.64 | 11.07 | 295.2 | 16.75 | 19.4567 | 17.7067 | 38.5867 | 20.77 | 886 | 25.0233 | 57.316
2019-05-27 06:00:00 | 9.48 | 274.2733 | 10.91 | 301.4 | 16.4033 | 21.0633 | 17.7 | 40.3 | 20.7567 | 886 | 24.9833 | 61.0113
2019-05-27 06:15:00 | 10.0333 | 91.61 | 11.54 | 100.6667 | 17.6067 | 8.7267 | 17.81 | 23.3633 | 20.6753 | 886.0667 | 25.0867 | 60.9127
2019-05-27 06:30:00 | 9.55 | 113.212 | 10.99 | 124.41 | 16.908 | 26.03 | 17.066 | 30.578 | 20.49 | 887 | 25.62 | 60.1247
2019-05-27 06:45:00 | 8.7933 | 204.6 | 10.1167 | 224.8367 | 15.35 | 23.83 | 16.1733 | 32.17 | 20.41 | 887 | 25.9367 | 59.4933
2019-05-27 07:00:00 | 9.5067 | 107.7867 | 10.9367 | 118.4367 | 16.9167 | 18.4033 | 17.2067 | 23.1433 | 20.1233 | 887 | 27.3633 | 59.3707
2019-05-27 07:15:00 | 10.14 | 120.7067 | 11.6733 | 132.6333 | 17.33 | 67 | 17.0167 | 26.0067 | 19.9953 | 887.7333 | 28.0067 | 60.336
2019-05-27 07:30:00 | 11.76 | 231.1733 | 13.5267 | 254.0333 | 20.01 | 71.94 | 19.51 | 24.56 | 19.0767 | 888 | 34.1333 | 60.9453
2019-05-27 07:45:00 | 11.1533 | 297.33 | 12.83 | 326.7333 | 18.9167 | 12.5133 | 18.24 | 13.4733 | 18.4633 | 888 | 35.9167 | 59.632
2019-05-27 08:00:00 | 10.9867 | 140.51 | 12.6367 | 154.4 | 18.8567 | 18.38 | 18.38 | 27.9733 | 18.45 | 888 | 36.85 | 60.308
2019-05-27 08:15:00 | 10.8467 | 69.95 | 12.4733 | 76.8693 | 19.008 | 23.1473 | 18.4667 | 22.8 | 18.1227 | 888 | 39.5893 | 58.608
2019-05-27 08:30:00 | 11.2133 | 173.4733 | 12.9 | 190.62 | 19.3633 | 19.6533 | 18.4833 | 20.2433 | 17.79 | 888 | 41.4033 | 60.42
2019-05-27 08:45:00 | 10.88 | 210.7033 | 12.51 | 231.5333 | 18.8233 | 12.66 | 18.2233 | 7.8433 | 17.4833 | 888.7333 | 43.15 | 60.798
2019-05-27 09:00:00 | 11.3533 | 63.3767 | 13.0567 | 69.64 | 19.6167 | 11.3667 | 19.0033 | 12.6833 | 17.438 | 889 | 43.2367 | 60.194
2019-05-27 09:15:00 | 10.5733 | 207.7067 | 12.16 | 228.25 | 18.8133 | 8.0333 | 18.39 | 20.35 | 17.3893 | 889 | 45.06 | 60.06
2019-05-27 09:30:00 | 10.6933 | 85.7133 | 12.3067 | 94.1833 | 18.6267 | 11.4867 | 18.5233 | 30.0233 | 17.52 | 889 | 45.9867 | 58.0247
2019-05-27 09:45:00 | 10.63 | 150.31 | 12.23 | 165.1667 | 18.63 | 13.6833 | 18.5033 | 133.2933 | 18.63 | 889 | 46.2933 | 57.298
2019-05-27 10:00:00 | 11.0433 | 259.9233 | 12.7033 | 285.6333 | 19.3967 | 13.5833 | 19.3033 | 132.0667 | 18.2233 | 889.4 | 47.5 | 57.858
2019-05-27 10:15:00 | 10.7667 | 53.41 | 12.3833 | 58.69 | 18.8933 | 9.4533 | 18.9333 | 29.9433 | 16.95 | 890 | 50.31 | 55.7893
2019-05-27 10:30:00 | 10.5 | 45.71 | 12.0833 | 50.2167 | 18.3333 | 6.2933 | 18.4067 | 26.65 | 16.2967 | 890 | 52.3633 | 55.7647
2019-05-27 10:45:00 | 11.37 | 91.5167 | 13.08 | 100.5667 | 20.36 | 16.2433 | 20.52 | 20.1533 | 16.0467 | 889.2667 | 53.9933 | 55.4647
2019-05-27 11:00:00 | 11.4233 | 236.6367 | 13.1467 | 260.0333 | 20.3267 | 9.2567 | 20.2333 | 13.58 | 15.9667 | 889 | 53.3 | 54.3827
2019-05-27 11:15:00 | 11.0833 | 34.0033 | 12.7533 | 37.36 | 19.6833 | 10.8533 | 19.2 | 21.5133 | 15.72 | 889 | 53.8067 | 54.766
2019-05-27 11:30:00 | 11.0833 | 216.07 | 12.7467 | 237.44 | 19.61 | 11.1333 | 18.9267 | 30.8333 | 15.66 | 889 | 53.908 | 54.7433
2019-05-27 11:45:00 | 10.88 | 243.6667 | 12.51 | 267.7667 | 19.3267 | 18.9433 | 18.8867 | 22.93 | 15.7733 | 889 | 53.93 | 54.5953
2019-05-27 12:00:00 | 11.1133 | 227.0533 | 12.7767 | 249.5 | 19.6 | 11.75 | 19.2733 | 21.39 | 15.9467 | 889 | 53.6167 | 56.2033
2019-05-27 12:15:00 | 11.4733 | 297.48 | 13.2 | 326.9 | 19.7367 | 14.8267 | 19.2767 | 15.8467 | 16.1393 | 889 | 52.7733 | 57.342
2019-05-27 12:30:00 | 11.1333 | 224.8067 | 12.8067 | 247.0333 | 19.5367 | 11.68 | 19.0967 | 13.2667 | 16.2567 | 889 | 52.8533 | 54.6507
2019-05-27 12:45:00 | 10.2487 | 16.7533 | 11.788 | 18.4133 | 18.02 | 13.09 | 17.89 | 25.4633 | 16.29 | 889 | 53.8133 | 56.2287
2019-05-27 13:00:00 | 10.2633 | 226.8067 | 11.8 | 249.2333 | 18.02 | 12.2633 | 17.83 | 28.1033 | 15.67 | 889 | 54.7467 | 57.7353
2019-05-27 13:15:00 | 10.2813 | 248.958 | 11.8307 | 273.5707 | 18.3093 | 24.0207 | 17.8967 | 38.0293 | 15.3033 | 889 | 56.408 | 57.8587
2019-05-27 13:30:00 | 10.2533 | 60.0733 | 11.8 | 66.0133 | 18.3633 | 18.9167 | 18.2533 | 37.2167 | 15.0467 | 889 | 56.768 | 57.964
2019-05-27 13:45:00 | 10.7733 | 88.3933 | 12.3933 | 97.1367 | 19.1867 | 17.0133 | 18.9267 | 18.5867 | 14.89 | 889 | 56.39 | 58.172
2019-05-27 14:00:00 | 10.6333 | 213.9733 | 12.2333 | 235.1367 | 18.8533 | 19.9733 | 18.6467 | 23.4 | 14.85 | 889 | 56.114 | 60.3047
2019-05-27 14:15:00 | 10.86 | 20.01 | 12.4967 | 21.9767 | 19.3267 | 13.01 | 18.86 | 22.52 | 14.9933 | 889 | 55.6167 | 60.452
2019-05-27 14:30:00 | 10.4667 | 217.8567 | 12.0433 | 239.3967 | 18.548 | 4.6367 | 18.4133 | 26.6 | 15.0333 | 889 | 56.09 | 60.1167
2019-05-27 14:45:00 | 9.7467 | 88.5133 | 11.2067 | 97.26 | 17.3567 | 19.4067 | 17 | 30.2967 | 15.2133 | 888.9333 | 56.0067 | 60.636
2019-05-27 15:00:00 | 10.7467 | 48.9333 | 12.36 | 53.7667 | 19.3033 | 21.7933 | 19.2533 | 24.8233 | 15.68 | 888 | 55.72 | 59.8013
2019-05-27 15:15:00 | 10.2633 | 210.3533 | 11.81 | 231.1533 | 18.5033 | 10.7067 | 18.27 | 16.2267 | 15.4233 | 888.0667 | 55.7967 | 58.9867
2019-05-27 15:30:00 | 10.1433 | 209.6867 | 11.67 | 230.42 | 18.218 | 11.8267 | 17.9033 | 24.2467 | 14.5767 | 889 | 57.6767 | 60.0553
2019-05-27 15:45:00 | 10.234 | 167.1687 | 11.772 | 183.6933 | 18.386 | 126.226 | 18.3167 | 30.0153 | 14.7647 | 888.2667 | 56.7567 | 60.358
2019-05-27 16:00:00 | 10.52 | 159.1533 | 12.106 | 174.8867 | 18.5433 | 117.8067 | 18.6033 | 28.88 | 15.278 | 888 | 55.61 | 59.9047
2019-05-27 16:15:00 | 9.9733 | 130.6733 | 11.4833 | 143.5833 | 17.8167 | 27.8733 | 17.3633 | 21.71 | 14.69 | 888 | 57.9167 | 59.8533
2019-05-27 16:30:00 | 9.9067 | 220.82 | 11.3967 | 242.65 | 17.6233 | 21.9333 | 17.0833 | 31.95 | 14.3567 | 888 | 58.906 | 61.3447
2019-05-27 16:45:00 | 9.66 | 129.74 | 11.12 | 142.5667 | 17.19 | 11.1633 | 16.9833 | 16.16 | 14.3507 | 887.2667 | 58.8333 | 60.604
2019-05-27 17:00:00 | 8.9467 | 162.62 | 10.2933 | 178.7 | 16.0433 | 17.27 | 15.7967 | 23.8867 | 14.3267 | 887.4 | 59.52 | 59.8207
2019-05-27 17:15:00 | 9.0767 | 280.4933 | 10.4367 | 308.2333 | 16.24 | 12.51 | 16.1333 | 18.9867 | 14.2767 | 887.9333 | 59.4167 | 61.3173
2019-05-27 17:30:00 | 8.8433 | 193.5 | 10.17 | 212.6333 | 15.7533 | 17.3033 | 15.7067 | 26.1933 | 14.2633 | 887 | 60.1233 | 60.9867
2019-05-27 17:45:00 | 8.9667 | 208.9867 | 10.32 | 229.6467 | 16.33 | 20.6433 | 16.0667 | 17.14 | 13.2933 | 887 | 69.8833 | 61.6627
2019-05-27 18:00:00 | 8.4133 | 17.0467 | 9.68 | 18.7267 | 15.07 | 19.7833 | 15.02 | 18.78 | 13.04 | 887 | 68.7767 | 60.8827
2019-05-27 18:15:00 | 8.35 | 109.9933 | 9.6033 | 120.8667 | 14.92 | 23.25 | 15.0867 | 33.4967 | 13.1567 | 887 | 68.3067 | 61.4133
2019-05-27 18:30:00 | 8.6367 | 216.68 | 9.9367 | 238.1 | 15.4933 | 16.9633 | 15.5667 | 27.29 | 13.03 | 887 | 68.7533 | 61.984
2019-05-27 18:45:00 | 8.7133 | 35.51 | 10.0167 | 39.0167 | 15.4967 | 17.96 | 15.7733 | 31.6667 | 13.08 | 887 | 68.2133 | 62.27
2019-05-27 19:00:00 | 8.8533 | 28.71 | 10.1833 | 31.55 | 15.9433 | 18.5333 | 15.8867 | 22.7867 | 13.064 | 887 | 67.76 | 61.848
2019-05-27 19:15:00 | 8.6533 | 95.5933 | 9.9567 | 105.04 | 15.5933 | 22.9933 | 15.5933 | 21.5 | 13.0833 | 887 | 67.3033 | 61.614
2019-05-27 19:30:00 | 8.4667 | 91.7267 | 9.7433 | 100.7933 | 15.46 | 26.8 | 15.1533 | 21.6467 | 13.0367 | 887 | 67.61 | 60.674
2019-05-27 19:45:00 | 8.21 | 293.3867 | 9.4567 | 322.4 | 14.7767 | 14.93 | 14.96 | 36.8133 | 12.82 | 887.0667 | 69.5367 | 60.454
2019-05-27 20:00:00 | 8.4367 | 256.2 | 9.71 | 281.5333 | 15.2033 | 23.3567 | 15.2667 | 30.5267 | 12.9333 | 888 | 68.01 | 60.2827
2019-05-27 20:15:00 | 8.4533 | 283.8 | 9.7367 | 311.8667 | 15.3233 | 19.18 | 15.5767 | 26.84 | 13.0167 | 888 | 67.2 | 60.9847
2019-05-27 20:30:00 | 8.768 | 280.22 | 10.094 | 307.9333 | 15.83 | 22.4667 | 16.0433 | 21.12 | 12.986 | 888 | 67.7733 | 61.2513
2019-05-27 20:45:00 | 9.06 | 106.1867 | 10.4267 | 116.6867 | 16.1313 | 21.48 | 16.4833 | 33.2133 | 12.94 | 888 | 67.8467 | 61.28
2019-05-27 21:00:00 | 9.16 | 223.1 | 10.5333 | 245.1667 | 16.39 | 22.4667 | 16.4233 | 30.8933 | 12.94 | 888 | 67.8867 | 58.796
2019-05-27 21:15:00 | 8.7033 | 220.92 | 10.0167 | 242.7667 | 15.62 | 19.1933 | 15.7933 | 39.3833 | 12.91 | 888 | 68.5767 | 58.1727
2019-05-27 21:30:00 | 8.8033 | 314.7733 | 10.1233 | 345.9 | 15.7733 | 26.4533 | 15.9267 | 31.4633 | 12.8633 | 888 | 68.89 | 57.35
2019-05-27 21:45:00 | 8.6067 | 165.5227 | 9.8967 | 181.8893 | 15.508 | 18.464 | 15.8073 | 25.1453 | 12.6133 | 888 | 71.4693 | 58.2227
2019-05-27 22:00:00 | 9.0267 | 93.88 | 10.3833 | 103.1667 | 16.2733 | 21.5267 | 16.91 | 24.32 | 11.7267 | 888 | 79.76 | 58.0307
2019-05-27 22:15:00 | 9.1133 | 24.9667 | 10.48 | 27.4333 | 15.9833 | 20.1533 | 16.81 | 30.9367 | 11.5347 | 888 | 78.11 | 57.8827
2019-05-27 22:30:00 | 9.0533 | 198.9733 | 10.42 | 218.6467 | 15.8967 | 21.2533 | 16.5367 | 27.9367 | 11.6467 | 888 | 77.4033 | 58.376
2019-05-27 22:45:00 | 8.6867 | 158.1533 | 9.9933 | 173.8 | 15.5747 | 25.29 | 16.1267 | 33.1433 | 10.4933 | 888 | 89.1333 | 58.3793
2019-05-27 23:00:00 | 8.0467 | 183.52 | 9.26 | 201.6667 | 14.8133 | 22.6833 | 15.1533 | 22.51 | 9.8667 | 888 | 94.0667 | 59.2193
2019-05-27 23:15:00 | 8.4433 | 127.6433 | 9.72 | 140.2633 | 15.56 | 20.7833 | 15.37 | 24.5767 | 9.4867 | 888 | 97.2333 | 59.5253
2019-05-27 23:30:00 | 8.5633 | 152.7567 | 9.8533 | 167.8633 | 15.6333 | 15.45 | 15.8233 | 22.39 | 9.34 | 888 | 98.3 | 59.5233
2019-05-27 23:45:00 | 8.66 | 213.6067 | 9.9733 | 234.7333 | 15.6133 | 18.1567 | 15.7033 | 22.1 | 9.1833 | 888 | 99.0333 | 59.6713