## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-28 00:00:00 | 8.3957 | 208.8943 | 9.6564 | 229.55 | 15.5057 | 15.5679 | 15.4921 | 22.6707 | 9.1664 | 888 | 99.4286 | 59.7143
2019-05-28 00:15:00 | 8.6 | 263.9567 | 9.8967 | 290.0667 | 15.8 | 22.7333 | 15.4167 | 17.6033 | 9.1673 | 888 | 99.8067 | 58.0273
2019-05-28 00:30:00 | 8.6867 | 121.5833 | 9.9967 | 133.6 | 15.6733 | 19.98 | 15.5433 | 26.31 | 9.13 | 888 | 99.94 | 57.49
2019-05-28 00:45:00 | 8.7267 | 126.6467 | 10.0467 | 139.1667 | 16.1633 | 14.75 | 15.9667 | 25.8733 | 9.08 | 887.9333 | 100 | 57.4833
2019-05-28 01:00:00 | 8.6267 | 137.3133 | 9.92 | 150.8867 | 15.8167 | 17.5367 | 16.1333 | 23.7 | 9.0133 | 887 | 100 | 57.1433
2019-05-28 01:15:00 | 8.7087 | 74.1313 | 10.016 | 81.4547 | 15.6673 | 17.2253 | 15.834 | 22.414 | 8.9493 | 887 | 100 | 56.6107
2019-05-28 01:30:00 | 8.5633 | 149.1167 | 9.8567 | 163.8667 | 15.2833 | 10.5567 | 15.5533 | 19.83 | 8.9067 | 887 | 100 | 56.9193
2019-05-28 01:45:00 | 8.74 | 212.1 | 10.05 | 233.0667 | 15.7367 | 12.6233 | 16.02 | 15.12 | 8.8867 | 887 | 100 | 57.4973
2019-05-28 02:00:00 | 8.6667 | 219.8 | 9.9767 | 241.5333 | 15.6033 | 11.1833 | 15.8933 | 18.9 | 8.86 | 887 | 100 | 57.272
2019-05-28 02:15:00 | 8.0813 | 227.098 | 9.294 | 249.5533 | 14.8567 | 12.6733 | 15.128 | 18.4813 | 8.8673 | 887 | 100 | 57.1733
2019-05-28 02:30:00 | 8.1733 | 276.97 | 9.4067 | 304.3667 | 15.16 | 10.75 | 15.3733 | 20.2633 | 8.8567 | 887 | 100 | 57.33
2019-05-28 02:45:00 | 8.52 | 79.5967 | 9.8033 | 87.4667 | 15.3567 | 20.81 | 15.71 | 23.28 | 8.8433 | 887 | 100 | 57.418
2019-05-28 03:00:00 | 8.3333 | 55.13 | 9.5833 | 60.58 | 15.1033 | 25.7233 | 15.7433 | 21.7867 | 8.834 | 887 | 100 | 57.3027
2019-05-28 03:15:00 | 8.2967 | 192.8867 | 9.54 | 211.9667 | 15.1067 | 13.92 | 15.0333 | 19.1767 | 8.848 | 887 | 100 | 57.0353
2019-05-28 03:30:00 | 7.8567 | 79.34 | 9.04 | 87.1867 | 14.2533 | 19.3067 | 14.4867 | 20.65 | 8.88 | 887 | 100 | 57.0873
2019-05-28 03:45:00 | 7.9033 | 42.7167 | 9.0867 | 46.9333 | 14.6033 | 12.9533 | 14.8467 | 23.01 | 8.8967 | 887 | 100 | 56.8513
2019-05-28 04:00:00 | 7.95 | 225.1633 | 9.1533 | 247.4333 | 14.666 | 15.8867 | 15.0333 | 26.3033 | 8.91 | 887 | 100 | 56.4227
2019-05-28 04:15:00 | 7.9233 | 164.87 | 9.11 | 181.1667 | 14.6267 | 11.6 | 15.07 | 28.3967 | 8.924 | 887 | 100 | 56.446
2019-05-28 04:30:00 | 8.23 | 166.2033 | 9.4633 | 182.6333 | 15.0067 | 12.7467 | 15.2967 | 25.97 | 8.94 | 887 | 100 | 56.2633
2019-05-28 04:45:00 | 7.98 | 144.6733 | 9.18 | 158.9867 | 14.6433 | 15.75 | 15.3133 | 22.36 | 8.93 | 887 | 100 | 56.47
2019-05-28 05:00:00 | 8.3267 | 211.7333 | 9.58 | 232.6667 | 15.2767 | 12.8767 | 15.94 | 20.7067 | 8.946 | 887 | 100 | 57.044
2019-05-28 05:15:00 | 8.6433 | 126.5033 | 9.9533 | 139.01 | 15.44 | 128.24 | 15.49 | 20.3833 | 8.91 | 887 | 100 | 56.8007
2019-05-28 05:30:00 | 8.83 | 17.1633 | 10.1667 | 18.8567 | 15.36 | 128.06 | 15.4367 | 17.1433 | 8.9167 | 887 | 100 | 57.0793
2019-05-28 05:45:00 | 8.2533 | 194.2033 | 9.4967 | 213.4 | 14.57 | 13.6533 | 14.7867 | 27.9233 | 8.9273 | 887 | 100 | 56.7507
2019-05-28 06:00:00 | 8.22 | 195.17 | 9.45 | 214.4667 | 14.67 | 19.44 | 15.28 | 24.8767 | 8.95 | 887 | 100 | 59.6833
2019-05-28 06:15:00 | 8.82 | 287.59 | 10.15 | 316.0333 | 15.56 | 16.32 | 15.7067 | 22.3033 | 8.9507 | 887 | 100 | 59.7713
2019-05-28 06:30:00 | 8.6067 | 134.69 | 9.9033 | 148.0067 | 15.3867 | 12.2667 | 15.2133 | 14.41 | 8.964 | 887 | 100 | 59.1967
2019-05-28 06:45:00 | 8.3527 | 118.2167 | 9.6093 | 129.9067 | 14.5367 | 13.7067 | 14.4967 | 18.4867 | 8.984 | 887.0667 | 100 | 59.0507
2019-05-28 07:00:00 | 7.3833 | 245.0367 | 8.5 | 269.2667 | 13.6033 | 11.8267 | 13.81 | 18.4533 | 9.0267 | 888 | 100 | 59.118
2019-05-28 07:15:00 | 7.4533 | 246.9767 | 8.5833 | 271.4 | 13.64 | 11.25 | 14.18 | 23.2267 | 9.0393 | 888 | 100 | 59.5127
2019-05-28 07:30:00 | 7.74 | 170.7833 | 8.9033 | 187.6667 | 13.912 | 15.2567 | 14.1867 | 22.74 | 9.034 | 888 | 100 | 60.0507
2019-05-28 07:45:00 | 7.784 | 168.9567 | 8.97 | 185.6667 | 13.98 | 7.4433 | 14.4 | 22.4967 | 9.0607 | 888 | 100 | 59.654
2019-05-28 08:00:00 | 7.96 | 158.0367 | 9.1633 | 173.6667 | 13.9067 | 15.03 | 14.26 | 21.69 | 9.0833 | 888 | 100 | 58.786
2019-05-28 08:15:00 | 8.0693 | 170.7467 | 9.28 | 187.6333 | 13.95 | 4.61 | 14.35 | 16.42 | 9.15 | 888 | 100 | 57.7687
2019-05-28 08:30:00 | 8.2667 | 167.1733 | 9.5133 | 183.7 | 14.19 | 3.9967 | 14.3567 | 18.4333 | 9.19 | 888 | 100 | 58.8193
2019-05-28 08:45:00 | 7.86 | 171.11 | 9.0367 | 188.0333 | 13.6733 | 11.88 | 13.8967 | 25.2033 | 9.224 | 888 | 100 | 58.5207
2019-05-28 09:00:00 | 7.6933 | 159.41 | 8.8567 | 175.1667 | 13.6533 | 9.6467 | 13.71 | 38.5967 | 9.2933 | 888 | 100 | 58.5767
2019-05-28 09:15:00 | 7.6933 | 137.0633 | 8.86 | 150.6133 | 13.4733 | 16.2833 | 13.4167 | 7.8133 | 9.39 | 888.7333 | 100 | 58.4667
2019-05-28 09:30:00 | 7.4933 | 197.57 | 8.62 | 217.1 | 12.82 | 9.15 | 12.85 | 14.8933 | 9.4433 | 889 | 100 | 57.7993
2019-05-28 09:45:00 | 7.4013 | 152.378 | 8.5047 | 167.4467 | 12.8127 | 135.052 | 12.9133 | 16.93 | 9.536 | 889 | 100 | 57.5387
2019-05-28 10:00:00 | 7.1867 | 129.4333 | 8.27 | 142.2333 | 12.42 | 15.3967 | 12.7 | 15.2833 | 9.6 | 889 | 100 | 56.926
2019-05-28 10:15:00 | 7.18 | 111.6467 | 8.26 | 122.6833 | 12.34 | 16.04 | 12.4833 | 14.5367 | 9.66 | 889.0667 | 100 | 56.3547
2019-05-28 10:30:00 | 7.2333 | 115.2867 | 8.32 | 126.6833 | 12.5333 | 14.3 | 12.65 | 15.7833 | 9.7333 | 890 | 100 | 55.1873
2019-05-28 10:45:00 | 6.8913 | 119.9387 | 7.9353 | 131.7933 | 12.2373 | 5.2633 | 12.4847 | 13.4567 | 9.792 | 890 | 100 | 54.6847
2019-05-28 11:00:00 | 6.8 | 137.1967 | 7.8267 | 150.7667 | 12.2367 | 11.53 | 12.55 | 17.46 | 9.86 | 890 | 100 | 54.5013
2019-05-28 11:15:00 | 7.5 | 88.64 | 8.6267 | 97.4 | 12.7 | 11.2967 | 12.6667 | 18.7833 | 9.9367 | 890 | 100 | 53.448
2019-05-28 11:30:00 | 7.2733 | 236.24 | 8.3667 | 259.6 | 12.3067 | 17.1767 | 12.2 | 27.21 | 9.9833 | 890 | 100 | 53.9867
2019-05-28 11:45:00 | 6.8733 | 128.5667 | 7.9033 | 141.28 | 11.9 | 21.0133 | 11.57 | 236.0333 | 10.0333 | 889.9333 | 100 | 52.528
2019-05-28 12:00:00 | 6.92 | 95.2467 | 7.9633 | 104.6667 | 12.0333 | 27.1533 | 11.15 | 13.74 | 10.068 | 889 | 100 | 52.4927
2019-05-28 12:15:00 | 6.6173 | 17.5233 | 7.61 | 19.2433 | 10.96 | 73.44 | 10.3167 | 3.9067 | 10.14 | 889.0667 | 100 | 53.138
2019-05-28 12:30:00 | 6.3733 | 195.43 | 7.33 | 214.7567 | 10.5333 | 67.9933 | 10.27 | 12.3533 | 10.2333 | 889.6 | 100 | 51.862
2019-05-28 12:45:00 | 6.24 | 296.6333 | 7.1867 | 325.9667 | 10.8567 | 14.8633 | 10.8833 | 16.0767 | 10.3333 | 889 | 100 | 49.5633
2019-05-28 13:00:00 | 5.76 | 85.62 | 6.6267 | 94.08 | 9.69 | 11.5367 | 9.8367 | 14.65 | 10.38 | 889 | 100 | 51.8127
2019-05-28 13:15:00 | 5.8233 | 211.9567 | 6.7033 | 232.92 | 8.79 | 13.2567 | 9.28 | 18.0967 | 10.448 | 889 | 100 | 50.8267
2019-05-28 13:30:00 | 5.6033 | 210.3167 | 6.45 | 231.12 | 8.9633 | 6.1433 | 9.3733 | 19.21 | 10.548 | 889 | 100 | 48.0707
2019-05-28 13:45:00 | 5.5 | 43.22 | 6.3267 | 47.4933 | 9.1667 | 15.4267 | 9.2367 | 15.58 | 10.6 | 889 | 100 | 47.018
2019-05-28 14:00:00 | 5.6067 | 1.34 | 6.4533 | 1.4667 | 9.0733 | 231.28 | 9.3633 | 16.9133 | 10.588 | 889 | 100 | 46.748
2019-05-28 14:15:00 | 6.1 | 61.2733 | 7.02 | 67.3267 | 10.22 | 124.0667 | 10.28 | 8.9467 | 10.71 | 889 | 100 | 47.43
2019-05-28 14:30:00 | 6.1933 | 184.7867 | 7.1333 | 203.06 | 10.4467 | 116.4 | 10.5133 | 10.4533 | 10.8167 | 889 | 100 | 47.5827
2019-05-28 14:45:00 | 6.0533 | 140.0533 | 6.96 | 153.9 | 10.7667 | 10.1233 | 10.8967 | 15.2967 | 10.854 | 888.2667 | 100 | 47.5113
2019-05-28 15:00:00 | 5.8133 | 133.62 | 6.6933 | 146.8333 | 10.6067 | 15.5833 | 10.7367 | 18.51 | 10.858 | 888 | 100 | 45.302
2019-05-28 15:15:00 | 4.9533 | 197.35 | 5.6933 | 216.8667 | 9.32 | 15.63 | 9.7007 | 17.7667 | 10.8847 | 888 | 100 | 44.2593
2019-05-28 15:30:00 | 5.0133 | 91.51 | 5.7733 | 100.5533 | 9.0867 | 18.65 | 9.2567 | 21.0067 | 10.898 | 888 | 100 | 45.6933
2019-05-28 15:45:00 | 5.7267 | 302.1 | 6.5933 | 331.9667 | 9.3767 | 14.9233 | 9.7567 | 12.4867 | 10.9087 | 888 | 100 | 44.7253
2019-05-28 16:00:00 | 5.4733 | 122.2467 | 6.3 | 134.3333 | 8.83 | 9.8833 | 9.01 | 13.0867 | 10.93 | 888 | 100 | 44.418
2019-05-28 16:15:00 | 5.9133 | 14.28 | 6.8133 | 15.6867 | 9.8967 | 240.71 | 10.1867 | 16.3133 | 10.8907 | 888 | 100 | 43.4573
2019-05-28 16:30:00 | 6.22 | 112.6 | 7.16 | 123.7333 | 10.9567 | 8.8833 | 10.9267 | 15.44 | 10.904 | 888 | 100 | 42.3773
2019-05-28 16:45:00 | 5.6 | 57.0433 | 6.4467 | 62.68 | 9.6567 | 12.5667 | 9.8833 | 18.92 | 10.84 | 888 | 100 | 44.124
2019-05-28 17:00:00 | 5.4867 | 273.4033 | 6.3133 | 300.4333 | 9.9033 | 14.64 | 10.0433 | 19.5333 | 10.8867 | 888 | 100 | 45.5013
2019-05-28 17:15:00 | 5.9467 | 106.8067 | 6.8433 | 117.3633 | 10.2267 | 9.6467 | 10.1967 | 17.8733 | 10.7987 | 888 | 100 | 44.96
2019-05-28 17:30:00 | 5.4467 | 202.36 | 6.27 | 222.3633 | 9.6467 | 12.14 | 9.6233 | 12.9467 | 10.772 | 888 | 100 | 43.7387
2019-05-28 17:45:00 | 5.2667 | 9.2167 | 6.07 | 10.12 | 8.6167 | 353.8 | 8.7433 | 12.9433 | 10.7353 | 888 | 100 | 42.1607
2019-05-28 18:00:00 | 4.9867 | 14.85 | 5.75 | 16.3133 | 8.0167 | 126.7667 | 8.2567 | 15.0633 | 10.69 | 888 | 100 | 39.912
2019-05-28 18:15:00 | 4.7733 | 220.93 | 5.4933 | 242.7667 | 8.1767 | 125.7333 | 8.2967 | 13.79 | 10.674 | 887.2667 | 100 | 38.9827
2019-05-28 18:30:00 | 4.9267 | 308.7633 | 5.6733 | 339.3 | 8.0433 | 356.6333 | 8.05 | 13.19 | 10.6567 | 887 | 100 | 41.3113
2019-05-28 18:45:00 | 4.9333 | 23.8767 | 5.67 | 26.23 | 8.6467 | 115.0667 | 8.9267 | 17.7567 | 10.6347 | 887 | 100 | 42.89
2019-05-28 19:00:00 | 5.0667 | 15.23 | 5.83 | 16.7367 | 8.8133 | 351.8 | 8.9867 | 7.25 | 10.5733 | 887 | 100 | 43.5973
2019-05-28 19:15:00 | 4.9367 | 113.6067 | 5.6833 | 124.84 | 8.56 | 1.31 | 8.9093 | 13.9667 | 10.546 | 887.7333 | 100 | 40.6787
2019-05-28 19:30:00 | 4.7633 | 140.1667 | 5.4833 | 154.0267 | 8.1067 | 4.1633 | 8.3333 | 16.1733 | 10.5233 | 888 | 100 | 39.2967
2019-05-28 19:45:00 | 4.8667 | 217.6033 | 5.6 | 239.13 | 8.1233 | 9.7433 | 8.4 | 18.5433 | 10.4947 | 888 | 100 | 37.47
2019-05-28 20:00:00 | 4.3333 | 16.8233 | 4.9933 | 18.49 | 7.1833 | 237.9833 | 7.2467 | 13.1567 | 10.4533 | 888 | 100 | 36.2353
2019-05-28 20:15:00 | 3.82 | 260.69 | 4.4033 | 286.4667 | 6.87 | 355.7333 | 7.23 | 12.6167 | 10.4313 | 888 | 100 | 32.772
2019-05-28 20:30:00 | 3.672 | 299.208 | 4.222 | 328.8 | 6.334 | 146.98 | 6.602 | 10.756 | 10.406 | 888 | 100 | 31.2147
2019-05-28 20:45:00 | 3.5467 | 83.8133 | 4.0833 | 92.0933 | 6.33 | 5.1567 | 6.5467 | 16.1933 | 10.408 | 888 | 100 | 30.5893
2019-05-28 21:00:00 | 3.5733 | 297.1467 | 4.11 | 326.5333 | 6.594 | 236.41 | 6.64 | 30.44 | 10.412 | 888 | 100 | 31.5973
2019-05-28 21:15:00 | 3.6833 | 111.2467 | 4.2367 | 122.24 | 6.8467 | 122 | 6.82 | 12.59 | 10.4073 | 888 | 100 | 31.2633
2019-05-28 21:30:00 | 3.8167 | 292.0267 | 4.39 | 320.9 | 6.8067 | 331.3333 | 6.82 | 15.9767 | 10.41 | 888.4 | 100 | 29.5047
2019-05-28 21:45:00 | 3.4167 | 281.01 | 3.94 | 308.8 | 6.1933 | 122.2867 | 6.3733 | 11.7833 | 10.4407 | 889 | 100 | 30.2133
2019-05-28 22:00:00 | 3.6433 | 117.3033 | 4.1933 | 128.9 | 6.4933 | 343.3667 | 6.3267 | 12.8233 | 10.45 | 889 | 100 | 29.6693
2019-05-28 22:15:00 | 3.58 | 4.4367 | 4.1133 | 4.87 | 6.1067 | 241.7033 | 6.1733 | 15.6233 | 10.4507 | 889 | 100 | 28.1493
2019-05-28 22:30:00 | 3.5 | 216.7367 | 4.02 | 238.17 | 6.2667 | 28.21 | 6.5133 | 20.4033 | 10.464 | 889 | 100 | 26.1507
2019-05-28 22:45:00 | 3.5933 | 101.1267 | 4.13 | 111.1267 | 6.1133 | 138.9467 | 6.44 | 6.94 | 10.44 | 889 | 100 | 25.0593
2019-05-28 23:00:00 | 3.4067 | 95.5067 | 3.9167 | 104.9467 | 6.3 | 121.1067 | 6.6733 | 4.12 | 10.432 | 889 | 100 | 28.77
2019-05-28 23:15:00 | 3.6 | 235.5633 | 4.1367 | 258.8567 | 6.59 | 353.4667 | 6.6667 | 6.1033 | 10.412 | 889 | 100 | 27.194
2019-05-28 23:30:00 | 3.5067 | 211.35 | 4.03 | 232.2567 | 6.15 | 115.6333 | 6.2133 | 8.7433 | 10.396 | 889 | 100 | 26.846
2019-05-28 23:45:00 | 3.5333 | 274.18 | 4.0667 | 301.3 | 6.38 | 121.0067 | 6.56 | 125.2533 | 10.3727 | 888.2667 | 100 | 25.362