## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-29 00:00:00 | 3.46 | 278.1371 | 3.98 | 305.6429 | 6.3329 | 129.1036 | 6.3971 | 132.55 | 10.3307 | 888 | 100 | 20.535
2019-05-29 00:15:00 | 3.4333 | 121.8 | 3.9533 | 133.84 | 6.3093 | 240.4367 | 6.38 | 13.2233 | 10.3127 | 888 | 100 | 19.9553
2019-05-29 00:30:00 | 3.22 | 310.8267 | 3.7 | 341.5667 | 5.7267 | 3.41 | 5.8667 | 6.4367 | 10.306 | 888 | 100 | 18.4067
2019-05-29 00:45:00 | 3.1867 | 231.4533 | 3.6667 | 254.3433 | 5.7933 | 5.33 | 6.15 | 11.1433 | 10.3013 | 888 | 100 | 14.998
2019-05-29 01:00:00 | 2.96 | 224.78 | 3.4133 | 247.01 | 5.5933 | 238.89 | 5.7167 | 15.21 | 10.2867 | 888 | 100 | 13.3453
2019-05-29 01:15:00 | 2.9833 | 172.8833 | 3.4367 | 189.9833 | 5.49 | 248.1067 | 5.4533 | 6.42 | 10.21 | 888 | 100 | 13.3047
2019-05-29 01:30:00 | 3.1167 | 10.43 | 3.59 | 11.4567 | 5.3767 | 249.1733 | 5.28 | 5.9 | 10.194 | 888 | 100 | 11.3753
2019-05-29 01:45:00 | 3.0667 | 7.04 | 3.5233 | 7.7267 | 5.4133 | 237.9833 | 5.3833 | 7.65 | 10.1987 | 887.2667 | 100 | 8.2293
2019-05-29 02:00:00 | 2.8667 | 4.3867 | 3.2967 | 4.8133 | 4.8533 | 231.25 | 4.6833 | 11.9433 | 10.184 | 887 | 100 | 11.144
2019-05-29 02:15:00 | 3.0133 | 16.11 | 3.4667 | 17.6967 | 5.08 | 1.0733 | 5.36 | 6.7933 | 10.2033 | 887 | 100 | 13.88
2019-05-29 02:30:00 | 2.96 | 224.4367 | 3.4067 | 246.6367 | 5.0333 | 7.0667 | 5.2133 | 8.64 | 10.19 | 887 | 100 | 10.9633
2019-05-29 02:45:00 | 2.8333 | 194.8267 | 3.2567 | 214.0867 | 4.93 | 118.0133 | 5.0967 | 14.06 | 10.1927 | 887 | 100 | 12.4933
2019-05-29 03:00:00 | 3.3333 | 13.7267 | 3.8367 | 15.0733 | 5.4633 | 334.4667 | 5.2967 | 14.3 | 10.21 | 887 | 100 | 10.4087
2019-05-29 03:15:00 | 3.0333 | 54.1467 | 3.4867 | 59.5 | 5.5533 | 48.27 | 5.4967 | 5.3833 | 10.2247 | 887 | 100 | 10.0927
2019-05-29 03:30:00 | 3.22 | 20.1133 | 3.7 | 22.1067 | 5.32 | 20.2033 | 5.2433 | 7.7167 | 10.1967 | 886.6 | 100 | 11.0987
2019-05-29 03:45:00 | 2.96 | 82.2067 | 3.4033 | 90.3333 | 5.2433 | 122.5333 | 5.24 | 13.8667 | 10.14 | 886 | 100 | 11.0507
2019-05-29 04:00:00 | 3.0667 | 289.1733 | 3.5233 | 317.7667 | 5.5967 | 355.8333 | 5.3067 | 8.34 | 10.164 | 886 | 100 | 10.924
2019-05-29 04:15:00 | 2.9333 | 33.2533 | 3.3767 | 36.53 | 5.01 | 148.4533 | 5.01 | 14.51 | 10.1713 | 886 | 100 | 11.3493
2019-05-29 04:30:00 | 2.98 | 29.2467 | 3.43 | 32.1367 | 5.4767 | 146.0867 | 5.5767 | 7.87 | 10.19 | 886 | 100 | 12.2947
2019-05-29 04:45:00 | 3.3067 | 275.386 | 3.8067 | 302.6067 | 5.3367 | 347.7333 | 5.3967 | 13.6133 | 10.1753 | 886 | 100 | 12.2993
2019-05-29 05:00:00 | 3.1333 | 308.3433 | 3.6067 | 338.8333 | 5.57 | 345.8 | 5.51 | 27.9267 | 10.162 | 886 | 100 | 12.2533
2019-05-29 05:15:00 | 3.1867 | 177.7267 | 3.6633 | 195.3 | 5.6967 | 0.23 | 5.79 | 8.75 | 10.1507 | 886 | 100 | 11.572
2019-05-29 05:30:00 | 3.0533 | 180.3933 | 3.51 | 198.2333 | 5.63 | 2.29 | 5.7567 | 6.7433 | 10.16 | 886 | 100 | 11.3207
2019-05-29 05:45:00 | 2.8 | 14.2333 | 3.22 | 15.6433 | 4.75 | 11.9433 | 5.3 | 19.4833 | 10.1947 | 886 | 100 | 12.248
2019-05-29 06:00:00 | 3.0067 | 13.3067 | 3.4667 | 14.6167 | 5.49 | 7.99 | 5.8333 | 18.6033 | 10.236 | 886 | 100 | 10.542
2019-05-29 06:15:00 | 2.52 | 218.48 | 2.9 | 240.0867 | 4.6733 | 116.9667 | 4.8033 | 8.5667 | 10.2447 | 886 | 100 | 7.554
2019-05-29 06:30:00 | 2.612 | 21.52 | 3.01 | 23.65 | 4.58 | 143.9 | 4.492 | 4.466 | 10.22 | 886 | 100 | 7.534
2019-05-29 06:45:00 | 2.56 | 210.39 | 2.9467 | 231.1933 | 4.02 | 2.71 | 4.1967 | 3.89 | 10.16 | 886 | 100 | 5.128
2019-05-29 07:00:00 | 2.4053 | 162.978 | 2.7693 | 179.0973 | 4.092 | 190.4167 | 4.0647 | 17.466 | 10.16 | 886 | 100 | 5.1053
2019-05-29 07:15:00 | 2.62 | 110.11 | 3.0133 | 120.9933 | 4.6433 | 301.5 | 4.32 | 3.0767 | 10.1767 | 886 | 100 | 4.8947
2019-05-29 07:30:00 | 2.5733 | 91.2767 | 2.96 | 100.3 | 4.71 | 64.6333 | 4.4333 | 10.6967 | 10.2433 | 886 | 100 | 5.1613
2019-05-29 07:45:00 | 2.6367 | 316.29 | 3.03 | 347.5667 | 4.82 | 0.15 | 4.65 | 10.0533 | 10.3 | 886 | 100 | 5.364
2019-05-29 08:00:00 | 2.65 | 270.8567 | 3.0433 | 297.6333 | 4.5667 | 235.3833 | 4.3367 | 3.4733 | 10.28 | 886 | 100 | 5.468
2019-05-29 08:15:00 | 2.9933 | 30.6433 | 3.4533 | 33.6733 | 4.9467 | 121.76 | 4.8133 | 9.9567 | 10.3233 | 886 | 100 | 8.9867
2019-05-29 08:30:00 | 3.18 | 10.8567 | 3.66 | 11.9333 | 5.3067 | 122.8267 | 5.2733 | 15.71 | 10.3167 | 886 | 100 | 8.372
2019-05-29 08:45:00 | 2.9633 | 221.9467 | 3.4067 | 243.8967 | 5.3133 | 6.2933 | 5.3367 | 14.9833 | 10.39 | 886 | 100 | 8.9893
2019-05-29 09:00:00 | 2.9433 | 31.4333 | 3.3933 | 34.5367 | 5.4333 | 8.5133 | 5.4033 | 13.2967 | 10.458 | 886 | 100 | 10.508
2019-05-29 09:15:00 | 2.6733 | 242.16 | 3.0733 | 266.1 | 5.0467 | 119.02 | 5.2733 | 7.4667 | 10.5267 | 886 | 100 | 9.296
2019-05-29 09:30:00 | 2.6133 | 97.2133 | 3.0133 | 106.82 | 4.6733 | 355.2 | 4.72 | 29.5733 | 10.5467 | 886 | 100 | 8.0873
2019-05-29 09:45:00 | 2.8833 | 114.0667 | 3.3167 | 125.34 | 5.2033 | 6.09 | 5.3467 | 10.41 | 10.5367 | 886 | 100 | 7.6033
2019-05-29 10:00:00 | 2.9353 | 40.4693 | 3.3767 | 44.46 | 5.1567 | 194.478 | 5.2533 | 5.634 | 10.562 | 886 | 100 | 6.8153
2019-05-29 10:15:00 | 3.1667 | 309.0033 | 3.64 | 339.5667 | 5.2 | 9.4567 | 5.07 | 15.4867 | 10.61 | 886 | 100 | 5.8473
2019-05-29 10:30:00 | 3.3133 | 109.21 | 3.8133 | 120.0067 | 5.2733 | 238.8633 | 4.9633 | 15 | 10.59 | 886 | 100 | 4.954
2019-05-29 10:45:00 | 3.2 | 215.1 | 3.6767 | 236.3667 | 4.93 | 6.1133 | 4.8833 | 13.4167 | 10.6233 | 886 | 100 | 4.222
2019-05-29 11:00:00 | 3.0133 | 2.2667 | 3.4633 | 2.4867 | 4.97 | 3.4533 | 4.9767 | 9.4967 | 10.81 | 886 | 100 | 3.1713
2019-05-29 11:15:00 | 2.83 | 281.07 | 3.2567 | 308.8667 | 4.5433 | 9.9333 | 4.4467 | 6.1767 | 10.8933 | 886 | 100 | 2.5813
2019-05-29 11:30:00 | 2.95 | 103.0633 | 3.39 | 113.26 | 4.69 | 5.1867 | 4.4467 | 8.77 | 11.0133 | 886 | 100 | 2.102
2019-05-29 11:45:00 | 2.9267 | 94.8033 | 3.3667 | 104.1733 | 4.4367 | 117.46 | 4.4867 | 6.1733 | 11.2133 | 886 | 100 | 1.4473
2019-05-29 12:00:00 | 3.1333 | 292.29 | 3.6067 | 321.2 | 4.4367 | 353.5 | 4.52 | 4.2933 | 11.26 | 886 | 100 | 1.6273
2019-05-29 12:15:00 | 2.7333 | 229.7067 | 3.1533 | 252.4133 | 4.3733 | 235.5467 | 4.1467 | 26.2067 | 11.5067 | 886 | 100 | 2.056
2019-05-29 12:30:00 | 2.8533 | 35.74 | 3.2933 | 39.2667 | 4.66 | 10.0733 | 4.5667 | 11.4267 | 11.7533 | 886 | 100 | 2.4013
2019-05-29 12:45:00 | 2.9867 | 12.6833 | 3.4333 | 13.9267 | 4.92 | 9.11 | 4.7833 | 15.6533 | 11.9307 | 886 | 100 | 4.138
2019-05-29 13:00:00 | 3.1933 | 37.27 | 3.6733 | 40.9533 | 5.4467 | 11.6967 | 5.1833 | 8.4267 | 11.96 | 886 | 100 | 5.0067
2019-05-29 13:15:00 | 3.0467 | 315.4133 | 3.5067 | 346.6 | 5.28 | 9.27 | 5.3167 | 7.5467 | 12.22 | 886 | 100 | 5.502
2019-05-29 13:30:00 | 2.98 | 108.7133 | 3.4267 | 119.46 | 5.14 | 3.2233 | 5.13 | 14.26 | 12.62 | 886 | 100 | 5.324
2019-05-29 13:45:00 | 2.56 | 203.25 | 2.9433 | 223.35 | 4.3733 | 8.9767 | 4.7667 | 13.0367 | 12.6 | 886 | 100 | 4.2487
2019-05-29 14:00:00 | 2.56 | 215.45 | 2.9433 | 236.75 | 4.3133 | 3.89 | 4.4667 | 8.0767 | 12.54 | 886 | 100 | 3.332
2019-05-29 14:15:00 | 2.2667 | 31.1133 | 2.6093 | 34.186 | 3.8447 | 7.3713 | 3.6907 | 14.8073 | 12.5493 | 886 | 100 | 1.5807
2019-05-29 14:30:00 | 2.0467 | 2.9633 | 2.3533 | 3.2467 | 3.6133 | 29.9633 | 3.3 | 9.98 | 12.67 | 886 | 100 | 1.6007
2019-05-29 14:45:00 | 2.1133 | 217.4233 | 2.4267 | 238.9133 | 3.68 | 23.6533 | 3.6233 | 15.12 | 12.9467 | 885.2667 | 99.9933 | 0.91267
2019-05-29 15:00:00 | 2.0667 | 23.2433 | 2.3867 | 25.5333 | 3.5267 | 21.6 | 3.1367 | 31.2267 | 13.22 | 885 | 99.5 | 0.81467
2019-05-29 15:15:00 | 2.21 | 122.5767 | 2.54 | 134.6867 | 4.0167 | 11.5933 | 3.8133 | 12.72 | 13.3507 | 885 | 98.7333 | 1.1293
2019-05-29 15:30:00 | 2.1833 | 315.41 | 2.52 | 346.6 | 4.0967 | 20.5533 | 3.9733 | 17.9067 | 13.4933 | 885 | 98.5333 | 1.728
2019-05-29 15:45:00 | 2.0933 | 253.14 | 2.4067 | 278.1667 | 3.9967 | 6.2233 | 4.0433 | 8.5033 | 13.6213 | 885 | 98.0667 | 2.2833
2019-05-29 16:00:00 | 2.2 | 271.1 | 2.5333 | 297.9 | 3.89 | 34.75 | 3.9367 | 12.4767 | 13.62 | 885 | 98.0667 | 2.8013
2019-05-29 16:15:00 | 2.2667 | 212.1 | 2.6067 | 233.0667 | 4.2167 | 7.8367 | 4.22 | 8.71 | 13.6067 | 885 | 97.8 | 3.5087
2019-05-29 16:30:00 | 2.1667 | 4.2733 | 2.5 | 4.6933 | 3.9767 | 12.8767 | 3.96 | 10.7633 | 13.46 | 885 | 97.84 | 4.6
2019-05-29 16:45:00 | 2.2533 | 220.4533 | 2.59 | 242.2467 | 4.2467 | 9.5267 | 4.3 | 13.87 | 13.45 | 885 | 98.2 | 6.4207
2019-05-29 17:00:00 | 2.54 | 224.1467 | 2.9233 | 246.3133 | 4.7467 | 6.4 | 4.6333 | 8.6167 | 13.39 | 885 | 98.24 | 8.3073
2019-05-29 17:15:00 | 2.6367 | 216.8867 | 3.0367 | 238.3333 | 5.0633 | 0.41 | 4.9967 | 0.24 | 13.3787 | 885 | 98.5 | 11.1573
2019-05-29 17:30:00 | 2.75 | 147.7733 | 3.17 | 162.3733 | 5.0567 | 233.3167 | 5.0433 | 5.5067 | 13.3267 | 885 | 98.5 | 10.4607
2019-05-29 17:45:00 | 2.8133 | 87.8967 | 3.2367 | 96.5867 | 4.9467 | 12.3733 | 5.2967 | 15.72 | 13.2367 | 885 | 98.5733 | 11.184
2019-05-29 18:00:00 | 2.72 | 165.1967 | 3.1367 | 181.5333 | 5.1067 | 23.4267 | 5.4633 | 23.32 | 13.19 | 885 | 98.8 | 10.6793
2019-05-29 18:15:00 | 2.6 | 238.0867 | 2.9933 | 261.6333 | 5.0833 | 14.81 | 5.4 | 20.2533 | 13.1713 | 885 | 99.1667 | 12.8267
2019-05-29 18:30:00 | 2.7333 | 69.3067 | 3.1467 | 76.1533 | 5.33 | 16.8167 | 5.72 | 21.328 | 13.1833 | 885 | 99.5 | 14.0727
2019-05-29 18:45:00 | 2.8133 | 18.1133 | 3.2333 | 19.9 | 4.9767 | 239.6233 | 5.19 | 5.24 | 13.03 | 885 | 99.2933 | 14.3247
2019-05-29 19:00:00 | 2.7333 | 21.4867 | 3.14 | 23.6067 | 4.93 | 3.3967 | 5.07 | 13.2 | 12.95 | 885 | 99.24 | 14.1013
2019-05-29 19:15:00 | 2.7333 | 292.5767 | 3.1467 | 321.5 | 4.93 | 116.18 | 5.4433 | 15.0267 | 12.84 | 885 | 99.5067 | 15.702
2019-05-29 19:30:00 | 2.9333 | 297.37 | 3.3867 | 326.7667 | 5.2167 | 352.5 | 5.4233 | 13.1667 | 12.796 | 885 | 99.4667 | 16.6027
2019-05-29 19:45:00 | 3.0267 | 121.0933 | 3.4867 | 133.0733 | 5.4233 | 0.15 | 5.5467 | 239.6567 | 12.7813 | 885 | 99.1067 | 17.5313
2019-05-29 20:00:00 | 3.1333 | 303.5533 | 3.6 | 333.5667 | 5.6833 | 237.9167 | 5.8467 | 15.9767 | 12.756 | 885 | 99.16 | 15.898
2019-05-29 20:15:00 | 3.08 | 292.27 | 3.5533 | 321.1667 | 5.3833 | 27.21 | 5.72 | 2.1733 | 12.756 | 885 | 99.0333 | 15.6673
2019-05-29 20:30:00 | 3.56 | 250.53 | 4.1 | 275.3 | 6.19 | 259.7767 | 6.38 | 3.1267 | 12.7867 | 885 | 98.7 | 17.5927
2019-05-29 20:45:00 | 3.3233 | 108.9833 | 3.82 | 119.7533 | 6.2467 | 350.6333 | 6.3267 | 8.36 | 12.7393 | 885 | 98.7667 | 18.8567
2019-05-29 21:00:00 | 3.1167 | 323.4167 | 3.58 | 355.4 | 5.5733 | 352.3667 | 5.6867 | 6.5667 | 12.6967 | 885 | 99.1 | 19.7573
2019-05-29 21:15:00 | 3.0133 | 292.5633 | 3.47 | 321.5 | 5.4333 | 8.4767 | 5.6833 | 8.2233 | 12.64 | 885 | 99.7 | 17.1993
2019-05-29 21:30:00 | 2.58 | 143.2833 | 2.97 | 157.4533 | 4.74 | 6.01 | 5.05 | 11.4767 | 12.5933 | 885 | 99.94 | 19.008
2019-05-29 21:45:00 | 3.2733 | 107.2867 | 3.7733 | 117.8933 | 5.4467 | 232.3 | 5.6167 | 51.7333 | 12.5313 | 885 | 100 | 23.62
2019-05-29 22:00:00 | 3.5467 | 303.4867 | 4.08 | 333.5 | 6.2733 | 9.5933 | 6.51 | 24.8333 | 12.542 | 885.4 | 100 | 29.6933
2019-05-29 22:15:00 | 3.86 | 29.6433 | 4.4433 | 32.57 | 7.0967 | 14.94 | 7.25 | 10.38 | 12.5 | 886 | 100 | 29.2573
2019-05-29 22:30:00 | 3.94 | 215.2567 | 4.53 | 236.5433 | 7.1767 | 23.4 | 7.25 | 13.1533 | 12.508 | 886 | 100 | 27.292
2019-05-29 22:45:00 | 3.55 | 215.8233 | 4.08 | 237.1667 | 6.33 | 17.37 | 6.5733 | 17.2667 | 12.5213 | 886 | 100 | 28.062
2019-05-29 23:00:00 | 3.6767 | 70.0567 | 4.2267 | 76.98 | 6.4167 | 11.8167 | 6.6333 | 9.5667 | 12.548 | 886 | 100 | 33.7207
2019-05-29 23:15:00 | 3.94 | 6.8033 | 4.53 | 7.47 | 7.0233 | 147.3067 | 7.0767 | 12.2633 | 12.6 | 886 | 100 | 33.9607
2019-05-29 23:30:00 | 4.0733 | 182.5033 | 4.6833 | 200.55 | 6.75 | 122.4 | 6.9167 | 16.0833 | 12.624 | 886 | 100 | 32.4007
2019-05-29 23:45:00 | 4.5133 | 322.3533 | 5.1867 | 354.2333 | 7.0233 | 331.1667 | 7.01 | 19.0633 | 12.6173 | 886 | 100 | 31.2247