## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-30 00:00:00 | 3.9407 | 123.1143 | 4.5286 | 135.2836 | 6.915 | 132.3 | 7.32 | 13.1779 | 12.5543 | 886 | 100 | 25.6221
2019-05-30 00:15:00 | 3.4167 | 112.98 | 3.9267 | 124.1467 | 6.63 | 6.95 | 7.22 | 13.9467 | 12.5093 | 886 | 100 | 25.1293
2019-05-30 00:30:00 | 3.2567 | 278.86 | 3.7533 | 306.4333 | 6.4633 | 12.93 | 6.86 | 18.4333 | 12.44 | 886 | 100 | 22.2127
2019-05-30 00:45:00 | 3.1667 | 210.1833 | 3.6433 | 230.9667 | 6.1333 | 14.2133 | 6.14 | 19.1033 | 12.38 | 886 | 100 | 19.544
2019-05-30 01:00:00 | 3.1133 | 121.79 | 3.5767 | 133.8333 | 6.08 | 9.8867 | 6.2467 | 20.8433 | 12.3533 | 885.6 | 100 | 10.8233
2019-05-30 01:15:00 | 2.59 | 123.3167 | 2.9767 | 135.5133 | 4.5533 | 127.66 | 4.93 | 17.6133 | 12.3533 | 885 | 100 | 4.1827
2019-05-30 01:30:00 | 2.1833 | 305.8567 | 2.51 | 336.1 | 3.0333 | 352.2 | 3.3767 | 9.8533 | 12.4 | 885 | 100 | 1.4027
2019-05-30 01:45:00 | 1.4633 | 317.8033 | 1.6867 | 349.2333 | 2.3867 | 11.2133 | 2.9767 | 10.9367 | 12.4147 | 885 | 100 | 0.14067
2019-05-30 02:00:00 | 0.71 | 305.7967 | 0.82667 | 336.0333 | 1.3 | 26.92 | 2.3033 | 22.95 | 12.36 | 885 | 100 | 0.154
2019-05-30 02:15:00 | 1.6833 | 310.7467 | 1.9467 | 341.4667 | 2.5767 | 16.58 | 3.04 | 23.8533 | 12.348 | 885 | 100 | 0.050667
2019-05-30 02:30:00 | 2.2233 | 318.2 | 2.56 | 349.6667 | 2.9833 | 30.5 | 3.2667 | 25.78 | 12.4133 | 885 | 100 | 0
2019-05-30 02:45:00 | 1.9 | 102.6233 | 2.1833 | 112.7667 | 2.26 | 22.7833 | 2.5267 | 14.4533 | 12.4553 | 885 | 100 | 0
2019-05-30 03:00:00 | 1.6667 | 304.13 | 1.9233 | 334.2 | 1.9867 | 235.69 | 2.0133 | 24.8933 | 12.474 | 885 | 100 | 0
2019-05-30 03:15:00 | 2.22 | 312.8667 | 2.5567 | 343.8 | 2.9933 | 237.8667 | 2.9667 | 0.29 | 12.474 | 885 | 99.8533 | 0
2019-05-30 03:30:00 | 2.82 | 315.8333 | 3.2433 | 347.0667 | 3.7067 | 0.1 | 3.76 | 36.7833 | 12.4233 | 885 | 99.9333 | 0.88533
2019-05-30 03:45:00 | 3.06 | 214.5267 | 3.52 | 235.7433 | 3.3467 | 353.7333 | 3.5667 | 349.7667 | 12.396 | 885 | 100 | 0.68
2019-05-30 04:00:00 | 2.9667 | 3.2 | 3.4133 | 3.5167 | 3.2333 | 119.1267 | 3.2133 | 348.1 | 12.3733 | 885 | 100 | 1.47
2019-05-30 04:15:00 | 2.84 | 320.7733 | 3.2733 | 352.5 | 3.5067 | 4.0967 | 3.4233 | 122.28 | 12.31 | 885 | 100 | 3.1307
2019-05-30 04:30:00 | 2.3267 | 113.2933 | 2.68 | 124.5 | 3.8133 | 4.6367 | 4.05 | 130.72 | 12.29 | 885 | 100 | 2.3333
2019-05-30 04:45:00 | 2.0933 | 317.7467 | 2.41 | 349.1667 | 3.6967 | 13.45 | 4.11 | 25.1267 | 12.2653 | 885 | 100 | 1.4527
2019-05-30 05:00:00 | 2.4933 | 311.0733 | 2.87 | 341.8333 | 3.67 | 17.73 | 4.13 | 23.1667 | 12.22 | 885 | 100 | 2.79
2019-05-30 05:15:00 | 2.5367 | 294.9033 | 2.92 | 324.0667 | 4.09 | 19.53 | 4.57 | 35.4433 | 12.2127 | 885 | 100 | 4.8933
2019-05-30 05:30:00 | 2.95 | 320.93 | 3.4 | 352.6667 | 5.0367 | 17.79 | 5.3433 | 19.6433 | 12.226 | 885 | 100 | 9.4713
2019-05-30 05:45:00 | 3.11 | 6.92 | 3.5767 | 7.5967 | 5.7167 | 10.2467 | 5.82 | 22.8633 | 12.2267 | 885 | 100 | 12.2713
2019-05-30 06:00:00 | 3.0567 | 27.7867 | 3.5167 | 30.53 | 5.7567 | 223.6467 | 5.9467 | 245.6033 | 12.22 | 885 | 100 | 9.3633
2019-05-30 06:15:00 | 3.3067 | 212.7233 | 3.81 | 233.7533 | 5.48 | 239.57 | 5.5633 | 23.0267 | 12.2373 | 885 | 100 | 7.4073
2019-05-30 06:30:00 | 3.1333 | 5.59 | 3.6033 | 6.1333 | 5.2867 | 5.7033 | 5.6367 | 5.8667 | 12.2867 | 885 | 100 | 7.4913
2019-05-30 06:45:00 | 2.62 | 100.4867 | 3.02 | 110.42 | 5.0967 | 5.6233 | 5.7067 | 11.35 | 12.3467 | 885 | 100 | 10.3653
2019-05-30 07:00:00 | 3.1267 | 306.0333 | 3.6 | 336.3 | 6.07 | 4.8633 | 6.4333 | 11.8367 | 12.4 | 885 | 100 | 9.5853
2019-05-30 07:15:00 | 2.94 | 44.4967 | 3.3833 | 48.8867 | 5.1133 | 4.6833 | 5.28 | 9.6967 | 12.434 | 885 | 100 | 3.1607
2019-05-30 07:30:00 | 2.3067 | 216.89 | 2.6633 | 238.3333 | 4.2067 | 4.39 | 4.4867 | 16.49 | 12.5367 | 885.4 | 100 | 3.74
2019-05-30 07:45:00 | 1.96 | 220.9867 | 2.2633 | 242.8333 | 3.8233 | 23.4967 | 4.3333 | 18.9633 | 12.74 | 886 | 100 | 6.0627
2019-05-30 08:00:00 | 2.4267 | 218.1267 | 2.79 | 239.7 | 4.45 | 242.4033 | 4.58 | 24.75 | 12.8933 | 886 | 100 | 6.058
2019-05-30 08:15:00 | 2.6033 | 55.35 | 2.99 | 60.8167 | 4.97 | 8.0367 | 5.12 | 133.2667 | 13.1667 | 886 | 100 | 2.9887
2019-05-30 08:30:00 | 2.13 | 18.6767 | 2.45 | 20.5167 | 3.7033 | 12.6033 | 4.2733 | 119.7867 | 13.44 | 886.4 | 100 | 5.0147
2019-05-30 08:45:00 | 2.2933 | 94.9433 | 2.6433 | 104.32 | 4.3267 | 124.02 | 4.8467 | 12.51 | 14.1233 | 887 | 100 | 5.738
2019-05-30 09:00:00 | 2.54 | 94.5567 | 2.9233 | 103.9 | 4.3533 | 355.3333 | 5.0267 | 8.39 | 14.7433 | 887 | 98.8 | 3.1473
2019-05-30 09:15:00 | 2.4867 | 49.7833 | 2.8633 | 54.71 | 3.7533 | 354.6333 | 4.4433 | 239.3333 | 15.5 | 887.0667 | 94.5333 | 0.95867
2019-05-30 09:30:00 | 2.14 | 211.17 | 2.4633 | 232.0567 | 3.4733 | 131.8933 | 4.1833 | 2.9867 | 15.9333 | 888 | 92.8 | 1.822
2019-05-30 09:45:00 | 2.2733 | 49.1967 | 2.62 | 54.06 | 3.86 | 10.5967 | 4.26 | 10.26 | 16.3633 | 888 | 91.5667 | 1.2027
2019-05-30 10:00:00 | 2.36 | 155.6233 | 2.7267 | 171.0067 | 3.9133 | 2.5567 | 3.9267 | 29.3467 | 16.4233 | 888 | 90.4333 | 2.806
2019-05-30 10:15:00 | 2.63 | 18.88 | 3.03 | 20.7433 | 4.0667 | 244.5767 | 4.02 | 13.4133 | 16 | 888 | 91.2667 | 2.7973
2019-05-30 10:30:00 | 2.3833 | 207.5 | 2.7433 | 228.01 | 3.8467 | 14.1633 | 3.82 | 4.36 | 16.1867 | 888 | 91 | 1.622
2019-05-30 10:45:00 | 1.9167 | 107.2 | 2.2033 | 117.8 | 2.56 | 227.2333 | 2.8533 | 235.4367 | 16.1433 | 888 | 90.6933 | 0.376
2019-05-30 11:00:00 | 1.9233 | 122.9867 | 2.21 | 135.1533 | 2.6067 | 4.3067 | 2.7067 | 8.65 | 16.5433 | 888 | 88.9333 | 0.62
2019-05-30 11:15:00 | 2.1933 | 218.8533 | 2.52 | 240.5 | 3.4967 | 8.45 | 3.4633 | 14.2 | 17.0633 | 888 | 87.6333 | 0.57133
2019-05-30 11:30:00 | 2.2067 | 217.8333 | 2.54 | 239.3667 | 3.6633 | 0.64333 | 3.4233 | 20.9733 | 17.4167 | 888 | 86.3667 | 2.4213
2019-05-30 11:45:00 | 2.2 | 216.5967 | 2.54 | 238.0167 | 3.7167 | 233.2033 | 4.04 | 22.3233 | 17.7967 | 888 | 85.0667 | 1.6493
2019-05-30 12:00:00 | 2.2667 | 4.23 | 2.6067 | 4.65 | 3.6033 | 2.2967 | 3.6667 | 232.1767 | 18.1567 | 888 | 84.2 | 1.1213
2019-05-30 12:15:00 | 2.0733 | 314.8667 | 2.3867 | 346.0067 | 3.2467 | 356.0333 | 3.06 | 24.2833 | 18.8767 | 888 | 81.4 | 1.1033
2019-05-30 12:30:00 | 1.9 | 108.12 | 2.1933 | 118.8 | 3.0667 | 160.2 | 3.0733 | 14.2233 | 19.3167 | 888 | 80.2667 | 0.79067
2019-05-30 12:45:00 | 1.4767 | 115.02 | 1.7033 | 126.3933 | 2.1667 | 349.0667 | 1.95 | 350.2667 | 19.4793 | 888 | 79.5213 | 0.544
2019-05-30 13:00:00 | 1.01 | 301.6933 | 1.17 | 331.5333 | 1.3467 | 346.6667 | 1.31 | 332.4 | 19.9033 | 888 | 77.12 | 0.342
2019-05-30 13:15:00 | 0.62667 | 303.2433 | 0.72667 | 333.2333 | 1.0633 | 99.2867 | 1.1267 | 329.9 | 20.5467 | 888 | 76.24 | 0.073333
2019-05-30 13:30:00 | 0.23333 | 179.1233 | 0.27333 | 196.8333 | 0.30333 | 180.0333 | 0.32667 | 106.46 | 20.8067 | 888 | 78.0533 | 0
2019-05-30 13:45:00 | 0.78667 | 320.26 | 0.91 | 351.9333 | 1.12 | 110.86 | 0.94667 | 349.9 | 21.022 | 888 | 75.03 | 0
2019-05-30 14:00:00 | 1.5267 | 121.6067 | 1.7633 | 133.6333 | 1.8533 | 340.1667 | 1.8533 | 113.5933 | 21.0833 | 888 | 73.098 | 0
2019-05-30 14:15:00 | 1.7587 | 10.1847 | 2.0293 | 11.18 | 2.4807 | 1.8753 | 2.4513 | 257.3667 | 21.906 | 888 | 72.0853 | 0
2019-05-30 14:30:00 | 2.07 | 25.3567 | 2.3767 | 27.8567 | 3.1833 | 9.49 | 3.1567 | 12.1933 | 22.81 | 888 | 67.78 | 0.32533
2019-05-30 14:45:00 | 2.1567 | 108.88 | 2.48 | 119.64 | 3.42 | 116.7933 | 3.2667 | 10.9133 | 22.7833 | 888 | 67.6567 | 0.27467
2019-05-30 15:00:00 | 2.0433 | 129.0333 | 2.3533 | 141.7933 | 3.48 | 112.7467 | 3.4733 | 15.72 | 23.0233 | 888 | 67.61 | 0.25
2019-05-30 15:15:00 | 1.5367 | 124.4133 | 1.7733 | 136.7133 | 2.3967 | 14.68 | 2.5967 | 22.2967 | 23.05 | 888 | 65.7167 | 0.216
2019-05-30 15:30:00 | 1.8433 | 107.5267 | 2.1267 | 118.16 | 2.8367 | 7.36 | 3.1033 | 16.1633 | 23.0633 | 888 | 64.3367 | 0
2019-05-30 15:45:00 | 1.6933 | 40.37 | 1.9533 | 44.3567 | 3.19 | 3.4133 | 3.2333 | 23.23 | 24.2633 | 888 | 63 | 0.102
2019-05-30 16:00:00 | 1.9533 | 1.9033 | 2.2533 | 2.09 | 3.6967 | 2.72 | 3.4133 | 19.7633 | 25.1633 | 888 | 59.38 | 0.25133
2019-05-30 16:15:00 | 1.8 | 143.3867 | 2.0667 | 157.5667 | 3.4867 | 5.6167 | 3.2433 | 6.6433 | 25.68 | 888 | 59.0833 | 0.35733
2019-05-30 16:30:00 | 2.06 | 191.0133 | 2.3733 | 209.9 | 3.8733 | 238.1767 | 3.63 | 2.3033 | 25.8733 | 888 | 57.0967 | 1.034
2019-05-30 16:45:00 | 1.9867 | 260.1433 | 2.2933 | 285.8667 | 3.6933 | 10.9167 | 3.7167 | 6.9567 | 26.4233 | 888 | 54.2667 | 1.858
2019-05-30 17:00:00 | 2.44 | 171.21 | 2.8133 | 188.1333 | 4.5133 | 12.73 | 4.4167 | 22.2433 | 26.6567 | 888 | 51.2467 | 2.4973
2019-05-30 17:15:00 | 2.2533 | 62.8967 | 2.5933 | 69.1133 | 4.2533 | 4.32 | 4.2967 | 21.6433 | 25.95 | 888 | 52.6067 | 1.736
2019-05-30 17:30:00 | 2.0267 | 154.4033 | 2.3333 | 169.6667 | 3.9667 | 14.8133 | 3.81 | 21.3833 | 25.2167 | 888 | 55.7133 | 1.58
2019-05-30 17:45:00 | 1.4133 | 130.5733 | 1.6267 | 143.49 | 2.76 | 138.3933 | 2.3033 | 6.2 | 24.4133 | 888 | 56.9333 | 0.90533
2019-05-30 18:00:00 | 1.36 | 60.2067 | 1.5733 | 66.1633 | 2.72 | 119.3467 | 2.95 | 9.9933 | 24.0867 | 888 | 61.62 | 0.944
2019-05-30 18:15:00 | 0.72 | 61.4167 | 0.83667 | 67.4767 | 1.45 | 235.7733 | 2.0133 | 235.06 | 24.0867 | 887.2667 | 60.44 | 0.94667
2019-05-30 18:30:00 | 0.093333 | 61.37 | 0.11 | 67.43 | 0.19 | 1.9733 | 0.48 | 5.3133 | 23.9933 | 887 | 58.64 | 0.16533
2019-05-30 18:45:00 | 0 | 61.37 | 0 | 67.43 | 0 | 1.6 | 0.056667 | 7.71 | 23.6833 | 887 | 57.1267 | 0
2019-05-30 19:00:00 | 0 | 61.37 | 0 | 67.43 | 0 | 1.6 | 0.003333 | 7.7567 | 23.906 | 887 | 55.1667 | 0
2019-05-30 19:15:00 | 0.036667 | 61.3713 | 0.043333 | 67.432 | 0.073333 | 1.6 | 0 | 7.73 | 22.83 | 887 | 61.9733 | 0
2019-05-30 19:30:00 | 0.37 | 61.426 | 0.43 | 67.496 | 0.72667 | 114.6667 | 0 | 7.73 | 21.9833 | 887 | 68.4267 | 0
2019-05-30 19:45:00 | 0.79333 | 154.24 | 0.91333 | 169.5 | 1.4967 | 168.2867 | 1.2667 | 165.1867 | 21.53 | 886.9333 | 71.1933 | 0
2019-05-30 20:00:00 | 0.20667 | 154.24 | 0.24667 | 169.5 | 0.41 | 163.9667 | 0.36 | 164.96 | 21.2033 | 886 | 71.9133 | 0
2019-05-30 20:15:00 | 0.13667 | 154.24 | 0.15667 | 169.5 | 0.26667 | 161.9 | 0.036667 | 164.9 | 20.8673 | 886 | 73.1867 | 0
2019-05-30 20:30:00 | 0.57667 | 154.24 | 0.67 | 169.5 | 1.1333 | 161.9 | 0.63667 | 164.94 | 20.9033 | 886 | 74.4467 | 0
2019-05-30 20:45:00 | 0.34 | 156.94 | 0.39333 | 172.4667 | 0.63 | 166.2667 | 0.59667 | 164.9333 | 20.7067 | 886 | 75.1013 | 0
2019-05-30 21:00:00 | 0.56 | 162.34 | 0.64667 | 178.4 | 1.05 | 172.7333 | 1.4033 | 165.5333 | 20.596 | 886 | 75.0667 | 0
2019-05-30 21:15:00 | 1 | 168.75 | 1.1567 | 185.4333 | 1.4433 | 196.5333 | 1.65 | 196.6333 | 20.6933 | 886 | 73.6867 | 0
2019-05-30 21:30:00 | 1.5333 | 193.5033 | 1.7633 | 212.6333 | 2.63 | 223.5333 | 2.31 | 217.4333 | 20.5 | 886 | 73.0333 | 0
2019-05-30 21:45:00 | 1.7867 | 194.89 | 2.0567 | 214.1667 | 3.1633 | 237.3 | 2.7467 | 237.92 | 20.622 | 886 | 72.688 | 0
2019-05-30 22:00:00 | 0.44 | 195.3233 | 0.50333 | 214.6333 | 0.80333 | 203.3 | 0.84 | 224.8 | 20.4367 | 886.4 | 73.8133 | 0
2019-05-30 22:15:00 | 0.76 | 131.22 | 0.88333 | 144.2 | 1.4533 | 181.2 | 1.23 | 207.0333 | 20.26 | 887 | 76.0233 | 0
2019-05-30 22:30:00 | 0.84667 | 131.292 | 0.98333 | 144.28 | 1.5867 | 170.8667 | 1.55 | 201.22 | 20.0467 | 887 | 77.6833 | 0
2019-05-30 22:45:00 | 0.94333 | 156.6067 | 1.0867 | 172.1 | 1.7333 | 187.6333 | 1.5467 | 192.3467 | 19.4333 | 887 | 80.2333 | 0
2019-05-30 23:00:00 | 1.21 | 170.664 | 1.3933 | 187.54 | 2.04 | 178.9 | 1.94 | 174 | 19.22 | 887 | 80.3 | 0
2019-05-30 23:15:00 | 2.01 | 170.9367 | 2.32 | 187.8333 | 2.94 | 180.6333 | 2.9067 | 178.7667 | 19.2733 | 887 | 78.81 | 0
2019-05-30 23:30:00 | 2.31 | 179.7833 | 2.66 | 197.5667 | 3.3533 | 187.4333 | 3.4133 | 190.6333 | 18.9267 | 887 | 79.4367 | 0
2019-05-30 23:45:00 | 2.6933 | 183.5447 | 3.0933 | 201.6933 | 3.5633 | 180.5333 | 3.6993 | 183.7 | 18.76 | 887 | 79.74 | 0.26733