## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-31 00:00:00 | 2.5129 | 178.79 | 2.8871 | 196.4571 | 3.4457 | 182.7857 | 3.3814 | 189.8643 | 18.8171 | 887 | 78.66 | 0.095
2019-05-31 00:15:00 | 1.6967 | 170.0267 | 1.96 | 186.8333 | 2.6333 | 184.8 | 2.8207 | 193.0667 | 18.6533 | 887 | 80.2133 | 0
2019-05-31 00:30:00 | 1.2833 | 176.5733 | 1.4733 | 194.0333 | 2.1533 | 200.4667 | 2.45 | 191.4 | 18.6667 | 887 | 82.0667 | 0
2019-05-31 00:45:00 | 1.64 | 174.3667 | 1.8833 | 191.6 | 2.3033 | 183.2667 | 2.6333 | 176.2667 | 18.8533 | 887 | 80.6533 | 0
2019-05-31 01:00:00 | 1.7867 | 164.0533 | 2.0567 | 180.2667 | 2.53 | 186.6667 | 2.8267 | 177.2667 | 18.9 | 887 | 79.736 | 0
2019-05-31 01:15:00 | 1.17 | 168.6333 | 1.3533 | 185.3 | 1.98 | 180.7 | 2.8133 | 169.0333 | 18.7033 | 887 | 81.3667 | 0
2019-05-31 01:30:00 | 0.69 | 176.82 | 0.79333 | 194.3 | 1.2467 | 174.3 | 2.7133 | 165.8333 | 18.5033 | 887 | 83.2333 | 0
2019-05-31 01:45:00 | 0.58667 | 184.1107 | 0.68 | 202.32 | 1.16 | 181 | 1.86 | 175.5667 | 18.08 | 886.2667 | 85 | 0
2019-05-31 02:00:00 | 0.70667 | 180.7933 | 0.82667 | 198.6667 | 1.3933 | 189.8667 | 1.4533 | 187.14 | 17.8933 | 886 | 86.4667 | 0
2019-05-31 02:15:00 | 1.6067 | 175.6633 | 1.8567 | 193.0333 | 2.3933 | 196.0667 | 2.4767 | 197.5333 | 17.99 | 886 | 86.7933 | 0.118
2019-05-31 02:30:00 | 2.1667 | 166.6833 | 2.4967 | 183.1667 | 3.1533 | 202.0667 | 3.2833 | 196.6667 | 17.8233 | 886 | 87.0333 | 0.80267
2019-05-31 02:45:00 | 2.32 | 154.6733 | 2.6767 | 169.9667 | 3.2567 | 183.4667 | 3.6533 | 186.9333 | 17.5067 | 886 | 86.9667 | 0.72733
2019-05-31 03:00:00 | 2.4933 | 166.1467 | 2.8767 | 182.5667 | 3.4433 | 186.6 | 3.4733 | 194.2667 | 17.3 | 886 | 87.7 | 0.404
2019-05-31 03:15:00 | 2.58 | 170.1067 | 2.9667 | 186.9333 | 3.42 | 206.7333 | 4.0933 | 174 | 17.14 | 886 | 88.0333 | 2.0493
2019-05-31 03:30:00 | 3.0267 | 183.6333 | 3.48 | 201.8 | 3.8467 | 172.3333 | 4.62 | 187.3333 | 16.9533 | 886 | 88.9667 | 3.8233
2019-05-31 03:45:00 | 3.2667 | 140.17 | 3.76 | 154.0333 | 4.09 | 172.7 | 5.1367 | 176.4 | 16.8747 | 886 | 91.3 | 2.9667
2019-05-31 04:00:00 | 2.76 | 163.7767 | 3.18 | 179.9667 | 3.6367 | 176.0333 | 4.3167 | 169.6 | 16.7467 | 886 | 92.7 | 1.6753
2019-05-31 04:15:00 | 2.1787 | 150.7347 | 2.5027 | 165.64 | 2.8667 | 186.1 | 3.0073 | 173.7067 | 16.5393 | 886 | 94.64 | 0.24467
2019-05-31 04:30:00 | 2.1267 | 156.29 | 2.4467 | 171.7333 | 2.8067 | 167.7 | 2.9233 | 165.3667 | 16.522 | 886 | 95.4333 | 0.584
2019-05-31 04:45:00 | 2.644 | 156.0733 | 3.0507 | 171.5 | 3.5053 | 171.8933 | 3.5447 | 177.8333 | 16.6233 | 886 | 95.4333 | 0.456
2019-05-31 05:00:00 | 2.14 | 145.4833 | 2.4633 | 159.8667 | 2.9033 | 168.18 | 3.2433 | 172.0333 | 16.6333 | 886 | 95.6333 | 0.18533
2019-05-31 05:15:00 | 2.01 | 144.1433 | 2.31 | 158.4 | 2.8067 | 176.4 | 3.16 | 175.0333 | 16.5687 | 886 | 96.1667 | 0.136
2019-05-31 05:30:00 | 2.45 | 143.6033 | 2.8167 | 157.8 | 3.3933 | 177.0667 | 3.9467 | 179.6333 | 16.538 | 886 | 96.5 | 0
2019-05-31 05:45:00 | 1.69 | 153.6433 | 1.9567 | 168.8333 | 2.6733 | 169.2 | 3.1133 | 178.7333 | 16.598 | 886 | 96.54 | 0
2019-05-31 06:00:00 | 1.1567 | 172.45 | 1.3367 | 189.5 | 1.9067 | 182.0667 | 2.32 | 181.28 | 16.742 | 886 | 96.0333 | 0
2019-05-31 06:15:00 | 0.64667 | 182.74 | 0.75 | 200.8 | 1.26 | 195.3333 | 1.7667 | 183.9 | 16.7087 | 886 | 95.9067 | 0
2019-05-31 06:30:00 | 0.32667 | 244.1933 | 0.37667 | 268.3333 | 0.22 | 205.6 | 0.64667 | 189.2333 | 16.678 | 886 | 96.1333 | 0
2019-05-31 06:45:00 | 0.57667 | 284.2633 | 0.67 | 312.3667 | 0.006667 | 170.9267 | 0 | 189.1 | 16.5793 | 886 | 96.3733 | 0
2019-05-31 07:00:00 | 0.85 | 292.0767 | 0.98333 | 320.9667 | 0.66667 | 39.9333 | 0 | 189.1 | 16.65 | 886 | 96.4 | 0
2019-05-31 07:15:00 | 1.38 | 321.5 | 1.5967 | 353.3 | 1.61 | 6.1233 | 0.7 | 13.36 | 16.6313 | 886 | 95.8667 | 0
2019-05-31 07:30:00 | 1.22 | 313.92 | 1.4167 | 344.9667 | 1.21 | 0.81 | 0.013333 | 13.42 | 16.55 | 886.4 | 94.1333 | 0
2019-05-31 07:45:00 | 1.4133 | 318.9233 | 1.6267 | 350.4667 | 1.5567 | 0.50333 | 0.55333 | 13.4233 | 16.4487 | 887 | 92.6 | 0
2019-05-31 08:00:00 | 2.16 | 323.35 | 2.4867 | 355.3333 | 2.7567 | 40.0033 | 2.26 | 239.8633 | 16.434 | 887 | 93.1333 | 0
2019-05-31 08:15:00 | 2.7733 | 119.16 | 3.1933 | 130.9333 | 3.9933 | 6.79 | 3.76 | 6.9567 | 16.4213 | 887 | 94.1933 | 0
2019-05-31 08:30:00 | 2.74 | 99.68 | 3.1533 | 109.5333 | 3.3067 | 16.4767 | 3.04 | 13.8767 | 16.3067 | 887 | 94.3667 | 0
2019-05-31 08:45:00 | 2.22 | 213.4767 | 2.5567 | 234.5933 | 2.83 | 120.58 | 3.0633 | 16.28 | 16.77 | 887 | 94.5 | 0
2019-05-31 09:00:00 | 1.4533 | 217.7833 | 1.6833 | 239.3267 | 1.9967 | 123.9133 | 2.8167 | 25.1267 | 17.1033 | 887.4 | 93.4333 | 0
2019-05-31 09:15:00 | 0.36 | 195.3133 | 0.41 | 214.6333 | 0.48 | 8.9867 | 0.79667 | 24.8067 | 17.2333 | 888 | 93.0333 | 0
2019-05-31 09:30:00 | 1.4533 | 309.6133 | 1.67 | 340.2333 | 1.8267 | 10.5733 | 2.0167 | 25.26 | 17.172 | 888 | 91.7667 | 0
2019-05-31 09:45:00 | 1.97 | 112.2733 | 2.27 | 123.3667 | 2.9967 | 2.1767 | 2.8667 | 6.1167 | 17.2367 | 888 | 91.9333 | 0
2019-05-31 10:00:00 | 2.244 | 133.888 | 2.58 | 147.126 | 3.432 | 3.46 | 3.326 | 9.594 | 17.396 | 888 | 91.56 | 0
2019-05-31 10:15:00 | 1.52 | 18.9933 | 1.7633 | 20.8667 | 2.5567 | 2.45 | 2.6433 | 4.08 | 17.8767 | 888 | 91.5 | 0
2019-05-31 10:30:00 | 0.84667 | 202.88 | 0.98333 | 222.9467 | 1.4433 | 0.69667 | 1.6767 | 0.34 | 18.042 | 888 | 89.9667 | 0
2019-05-31 10:45:00 | 0.46667 | 250.98 | 0.54333 | 275.8 | 0.63667 | 48.7133 | 0.83 | 81.16 | 17.978 | 888 | 89.6333 | 0
2019-05-31 11:00:00 | 0.25333 | 114.3 | 0.29667 | 125.6 | 0.35667 | 180.5667 | 0.01 | 182 | 17.7367 | 888 | 92.3667 | 0
2019-05-31 11:15:00 | 0.49333 | 129.8387 | 0.57 | 142.68 | 0.51667 | 195.9333 | 0.31667 | 171.8333 | 17.7207 | 888 | 93.4 | 0
2019-05-31 11:30:00 | 0.91333 | 153.3067 | 1.0567 | 168.4667 | 0.91667 | 202.9333 | 0.74333 | 211.4333 | 17.6833 | 888 | 92.6667 | 0
2019-05-31 11:45:00 | 0.48667 | 201.2667 | 0.57 | 221.1667 | 0.76667 | 210.6667 | 1.6633 | 176.7333 | 18.0067 | 888 | 91.74 | 0
2019-05-31 12:00:00 | 0.68 | 308.4067 | 0.79 | 338.9 | 0.67333 | 81.62 | 1.4233 | 108.9333 | 18.7133 | 888 | 89.3667 | 0
2019-05-31 12:15:00 | 1.6267 | 303 | 1.87 | 332.9667 | 1.5 | 17.22 | 1.18 | 96.5 | 18.6187 | 888 | 90.6067 | 0
2019-05-31 12:30:00 | 1.9133 | 314.96 | 2.2033 | 346.1 | 2.0933 | 238.7 | 0.84667 | 76.04 | 18.596 | 887.6 | 91.1 | 0
2019-05-31 12:45:00 | 1.9633 | 5.9867 | 2.2567 | 6.58 | 2.2533 | 236.9867 | 1.16 | 23.4933 | 19.0067 | 887.0667 | 89.1667 | 0
2019-05-31 13:00:00 | 2.27 | 213.86 | 2.61 | 235 | 3.32 | 1.2333 | 3.1533 | 57.22 | 19.5067 | 887.6 | 88.1 | 0
2019-05-31 13:15:00 | 2.6267 | 7.74 | 3.0267 | 8.5067 | 3.9767 | 118.1667 | 3.7567 | 115.9267 | 19.98 | 887 | 85.6667 | 0
2019-05-31 13:30:00 | 2.68 | 214.5467 | 3.08 | 235.76 | 3.73 | 127.0733 | 3.6633 | 123.22 | 20.2267 | 887 | 84.1333 | 1.024
2019-05-31 13:45:00 | 3.7533 | 51.2867 | 4.3133 | 56.3533 | 5.3133 | 25.2367 | 5.1133 | 13.1733 | 20.37 | 887.6667 | 82.9333 | 4.1507
2019-05-31 14:00:00 | 3.2533 | 23.8133 | 3.74 | 26.1667 | 5.3467 | 21.9033 | 5.1867 | 6.74 | 21.0367 | 887 | 82.3333 | 4.3553
2019-05-31 14:15:00 | 3.284 | 289.912 | 3.7747 | 318.5733 | 5.9053 | 5.7067 | 5.9913 | 8.3653 | 21.83 | 887.7333 | 78.8913 | 7.7233
2019-05-31 14:30:00 | 3.42 | 240.61 | 3.94 | 264.4 | 6.7067 | 8.6167 | 6.62 | 20.0467 | 21.38 | 887.6 | 78.7267 | 9.0547
2019-05-31 14:45:00 | 2.93 | 106.1333 | 3.3767 | 116.62 | 5.7867 | 15.1333 | 5.78 | 24.6367 | 21.18 | 887 | 80.3667 | 5.462
2019-05-31 15:00:00 | 2.9264 | 260.6179 | 3.3657 | 286.3857 | 5.4971 | 17.7729 | 5.4771 | 13.4607 | 21.6679 | 887 | 78.7321 | 2.7887
2019-05-31 15:15:00 | 2.9933 | 74.1667 | 3.4467 | 81.5 | 5.76 | 20.5867 | 5.45 | 23.0767 | 21.42 | 887 | 76.4233 | 7.1833
2019-05-31 15:30:00 | 3.2867 | 162.22 | 3.7933 | 178.2667 | 6.36 | 13.4133 | 6.2567 | 23.37 | 20.9267 | 887 | 77.8167 | 13.9633
2019-05-31 15:45:00 | 3.66 | 128.0133 | 4.22 | 140.6667 | 6.5233 | 17.4767 | 6.49 | 8.3333 | 20.2233 | 886.9333 | 78.5033 | 17.3487
2019-05-31 16:00:00 | 3.4333 | 308.5 | 3.9533 | 339 | 5.8567 | 11.9833 | 5.93 | 10.3733 | 19.77 | 886 | 78.4767 | 17.6747
2019-05-31 16:15:00 | 3.6067 | 15.14 | 4.1533 | 16.6333 | 6.0467 | 43.35 | 5.7967 | 6.22 | 19.5267 | 886 | 80.24 | 19.3133
2019-05-31 16:30:00 | 3.5067 | 186.7467 | 4.0467 | 205.2067 | 6.44 | 234.9167 | 6.1967 | 14.2867 | 19.468 | 885.6 | 82.0333 | 17.6647
2019-05-31 16:45:00 | 3.0067 | 292.3667 | 3.46 | 321.2667 | 5.7733 | 10.53 | 5.8267 | 14.7733 | 19.5647 | 885 | 83.6667 | 10.342
2019-05-31 17:00:00 | 2.7133 | 104.32 | 3.12 | 114.6267 | 5.2 | 240.29 | 5.2 | 12.7667 | 19.8433 | 885 | 83 | 7.5587
2019-05-31 17:15:00 | 3.0533 | 144.7233 | 3.5133 | 159.0267 | 5.64 | 256.6867 | 5.6033 | 6.6333 | 19.7733 | 885 | 80.7067 | 7.282
2019-05-31 17:30:00 | 2.76 | 22.69 | 3.1733 | 24.9333 | 5.1733 | 21.7333 | 5.13 | 241.58 | 19.704 | 885 | 80.6667 | 6.2873
2019-05-31 17:45:00 | 2.38 | 12.6833 | 2.7467 | 13.93 | 4.58 | 1.9433 | 4.4567 | 10.8633 | 19.8267 | 885 | 81.5667 | 4.8713
2019-05-31 18:00:00 | 2.2467 | 204.7367 | 2.5867 | 224.9833 | 4.1867 | 0.05 | 4.09 | 27.8767 | 20.2067 | 885 | 81.0333 | 3.094
2019-05-31 18:15:00 | 2.6 | 15.68 | 2.99 | 17.23 | 4.4567 | 1.65 | 4.27 | 237.5333 | 20.5367 | 885 | 79.48 | 0.99667
2019-05-31 18:30:00 | 2.248 | 182.448 | 2.586 | 200.492 | 4.252 | 2.02 | 4.028 | 10.396 | 20.882 | 885 | 79.626 | 1.59
2019-05-31 18:45:00 | 2.47 | 282.4333 | 2.8433 | 310.3667 | 4.8667 | 241.6433 | 4.5967 | 119.3867 | 21.1267 | 885.7333 | 77.8733 | 3.0647
2019-05-31 19:00:00 | 2.4033 | 305.18 | 2.7633 | 335.3667 | 4.7533 | 47.2833 | 4.57 | 122.5 | 20.6667 | 886 | 79.2533 | 3.7453
2019-05-31 19:15:00 | 2.5267 | 273.9367 | 2.91 | 301.0333 | 4.8833 | 241.2233 | 4.8433 | 5.5733 | 20.1033 | 886 | 80.7 | 4.572
2019-05-31 19:30:00 | 2.64 | 119.61 | 3.0367 | 131.44 | 5.0433 | 7.57 | 5.0567 | 10.4133 | 19.69 | 886 | 81.3667 | 6.4407
2019-05-31 19:45:00 | 3 | 205.9867 | 3.46 | 226.3567 | 5.44 | 10.1867 | 5.3567 | 124.7533 | 19.14 | 886 | 81.7 | 7.7287
2019-05-31 20:00:00 | 2.9067 | 2 | 3.34 | 2.1833 | 5.46 | 9.04 | 5.4433 | 130.28 | 18.8733 | 886 | 81.9 | 9.4333
2019-05-31 20:15:00 | 2.9433 | 15.6133 | 3.3833 | 17.1533 | 5.5833 | 21.7567 | 5.4033 | 13.1833 | 18.4567 | 886 | 84.2667 | 11.6267
2019-05-31 20:30:00 | 3.0967 | 205.0867 | 3.5633 | 225.3667 | 5.9233 | 18.5367 | 5.8033 | 17.35 | 18.1967 | 886 | 85.3333 | 14.4967
2019-05-31 20:45:00 | 3.3667 | 266.7533 | 3.8767 | 293.1333 | 5.8933 | 7.5833 | 5.8833 | 7.06 | 18.0767 | 886 | 86.6 | 13.4273
2019-05-31 21:00:00 | 3.1067 | 60.0867 | 3.57 | 66.0267 | 5.4667 | 12.8633 | 5.8433 | 5.4733 | 17.9833 | 886 | 87.4667 | 13.2467
2019-05-31 21:15:00 | 3.386 | 306.322 | 3.892 | 336.62 | 5.67 | 3.136 | 5.856 | 14.772 | 17.856 | 886 | 88.16 | 11.8687
2019-05-31 21:30:00 | 2.9233 | 105.6567 | 3.36 | 116.0933 | 5.2033 | 9.1267 | 5.3933 | 16.5067 | 17.912 | 886 | 88.4 | 11.87
2019-05-31 21:45:00 | 3.1633 | 107.1733 | 3.6367 | 117.7667 | 5.88 | 7.5867 | 5.7133 | 15.74 | 18.0633 | 886 | 87.9 | 18.8307
2019-05-31 22:00:00 | 3.41 | 125.0933 | 3.9233 | 137.4533 | 6.5133 | 15.0067 | 6.3 | 17.36 | 17.8233 | 886.4 | 90.2333 | 23.3013
2019-05-31 22:15:00 | 3.58 | 145.82 | 4.1167 | 160.2333 | 6.9967 | 19.94 | 7.0667 | 14.8767 | 17.6293 | 887 | 91.3333 | 26.7133
2019-05-31 22:30:00 | 3.6467 | 85.2067 | 4.1967 | 93.6333 | 6.7567 | 243.2733 | 7.1467 | 13.8767 | 17.624 | 887 | 90.6667 | 28.2667
2019-05-31 22:45:00 | 4.3267 | 269.33 | 4.9867 | 295.9667 | 7.2467 | 4.8033 | 7.51 | 231.0233 | 17.7867 | 887 | 88.4667 | 34.604
2019-05-31 23:00:00 | 4.378 | 91.17 | 5.038 | 100.176 | 8.326 | 14.564 | 8.824 | 18.246 | 17.546 | 887 | 89.44 | 38.8947
2019-05-31 23:15:00 | 3.9 | 295.3867 | 4.4933 | 324.6 | 7.1633 | 10.3133 | 7.8567 | 24.4967 | 17.0567 | 887 | 92.1333 | 32.9093
2019-05-31 23:30:00 | 3.8533 | 110.6467 | 4.4333 | 121.58 | 6.9567 | 10.86 | 7.2967 | 16.2033 | 16.87 | 887 | 92.8 | 28.2933
2019-05-31 23:45:00 | 3.7967 | 6.0133 | 4.3667 | 6.6033 | 6.4233 | 255.5667 | 6.3567 | 14.0633 | 17.08 | 887 | 90.6 | 16.2947