## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-01 00:00:00 | 2.9679 | 199.9843 | 3.4129 | 219.7607 | 5 | 26.9443 | 5.1629 | 20.4293 | 17.1979 | 886.6429 | 89.1643 | 9.0236
2019-06-01 00:15:00 | 2.748 | 288.916 | 3.1567 | 317.4933 | 4.996 | 257.3267 | 5.002 | 8.7247 | 17.1773 | 886 | 88.28 | 11.6553
2019-06-01 00:30:00 | 3.34 | 130.04 | 3.8467 | 142.9 | 6.38 | 3.1133 | 6.4733 | 10.0267 | 17.0167 | 886 | 88.6333 | 15.0787
2019-06-01 00:45:00 | 3.8733 | 290.8673 | 4.4533 | 319.62 | 6.94 | 14.92 | 6.9667 | 8.01 | 16.9667 | 886 | 89.1067 | 24.822
2019-06-01 01:00:00 | 4.1533 | 130.9767 | 4.7733 | 143.9267 | 6.94 | 239.6133 | 7.3133 | 237.5367 | 17.02 | 886 | 88.8667 | 25.4347
2019-06-01 01:15:00 | 3.566 | 262.14 | 4.096 | 288.062 | 6.326 | 15.844 | 6.626 | 5.936 | 16.86 | 886 | 89.56 | 21.0607
2019-06-01 01:30:00 | 3.7167 | 196.1133 | 4.28 | 215.5033 | 6.45 | 8.5867 | 6.59 | 15.8533 | 16.46 | 886 | 91.5333 | 23.1173
2019-06-01 01:45:00 | 3.7933 | 289.1133 | 4.36 | 317.7 | 6.43 | 10.3333 | 6.8233 | 16.6067 | 16.35 | 886 | 91.4667 | 25.2913
2019-06-01 02:00:00 | 3.6333 | 133.1667 | 4.18 | 146.34 | 6.5233 | 240.62 | 6.87 | 18.26 | 16.3433 | 886 | 91 | 24.102
2019-06-01 02:15:00 | 3.5067 | 142.02 | 4.0433 | 156.0667 | 6.7633 | 14.9533 | 7.1133 | 10.9 | 16.1867 | 885.9333 | 91.34 | 24.3513
2019-06-01 02:30:00 | 3.6267 | 62.9067 | 4.17 | 69.1267 | 6.5633 | 13.4667 | 7.0733 | 23.0133 | 16.04 | 885 | 91.74 | 23.1427
2019-06-01 02:45:00 | 3.6333 | 210.28 | 4.18 | 231.0633 | 6.3633 | 117.84 | 6.6633 | 11.02 | 16.3067 | 885 | 90.1333 | 23.3113
2019-06-01 03:00:00 | 3.9133 | 219.32 | 4.5 | 240.9967 | 6.5967 | 352.62 | 6.6633 | 4.44 | 16.3067 | 885 | 90.1333 | 22.6913
2019-06-01 03:15:00 | 4.17 | 287.5567 | 4.7933 | 316 | 6.77 | 11.1767 | 6.8967 | 14.2133 | 16.2467 | 885 | 90.3 | 21.5973
2019-06-01 03:30:00 | 4.4167 | 303.33 | 5.08 | 333.3333 | 7.09 | 16.5233 | 7.01 | 10.2733 | 16.3133 | 885 | 89.3 | 22.0867
2019-06-01 03:45:00 | 4.3 | 188.3933 | 4.9467 | 207.0233 | 7.1867 | 122.4933 | 7.48 | 8.1467 | 16.3067 | 885 | 88.4667 | 21.5987
2019-06-01 04:00:00 | 3.9467 | 157.64 | 4.54 | 173.2233 | 7.4333 | 125.2 | 7.828 | 4.1933 | 16.0867 | 885 | 89.4 | 20.6773
2019-06-01 04:15:00 | 3.9167 | 318.0733 | 4.5067 | 349.5333 | 7.44 | 8.9767 | 7.5133 | 4.1033 | 15.57 | 884.9333 | 92.7333 | 19.4273
2019-06-01 04:30:00 | 4.0833 | 289.7533 | 4.7 | 318.4 | 7.24 | 13.0567 | 7.624 | 6.5767 | 15.2833 | 884 | 94.4 | 19.2127
2019-06-01 04:45:00 | 4.48 | 106.2533 | 5.15 | 116.7533 | 7.19 | 23.8267 | 7.2933 | 20.8 | 15.3467 | 884 | 93.7667 | 19.3753
2019-06-01 05:00:00 | 4.44 | 299.48 | 5.1167 | 329.1 | 7.1833 | 17.02 | 7.1867 | 244.1667 | 15.3533 | 884 | 93.4333 | 18.3007
2019-06-01 05:15:00 | 3.9133 | 12.4933 | 4.5067 | 13.72 | 6.1167 | 12.4667 | 6.6667 | 29.0567 | 15.4033 | 884 | 92.5333 | 18.8533
2019-06-01 05:30:00 | 3.94 | 3.2133 | 4.54 | 3.5333 | 6.9833 | 8.6133 | 7.1533 | 18.07 | 15.21 | 884 | 93.4667 | 19.03
2019-06-01 05:45:00 | 3.73 | 312.7367 | 4.29 | 343.6667 | 6.77 | 7.7433 | 7.1833 | 10.6567 | 15.1533 | 884 | 93.5 | 18.22
2019-06-01 06:00:00 | 3.7233 | 116.7567 | 4.2833 | 128.3067 | 6.13 | 7.73 | 6.93 | 16.5233 | 15.1467 | 884 | 93.3 | 18.5127
2019-06-01 06:15:00 | 3.6133 | 314.99 | 4.1567 | 346.1333 | 6.5533 | 122.0267 | 7.1767 | 18.0167 | 14.94 | 884 | 94.3333 | 16.4193
2019-06-01 06:30:00 | 3.3867 | 99.6433 | 3.8967 | 109.5 | 6.18 | 122.0133 | 6.45 | 17.61 | 14.7067 | 884 | 95.6 | 15.012
2019-06-01 06:45:00 | 3.46 | 126.52 | 3.9833 | 139.02 | 6.1567 | 5.91 | 6.4167 | 9.9 | 14.8867 | 884 | 95.2 | 15.77
2019-06-01 07:00:00 | 3.74 | 309.34 | 4.3033 | 339.9333 | 6.8233 | 9.01 | 6.9167 | 14.76 | 15.1067 | 884 | 94.1333 | 16.5313
2019-06-01 07:15:00 | 3.94 | 139.42 | 4.54 | 153.2 | 6.5733 | 13.1667 | 6.99 | 16.8467 | 15.3433 | 884 | 92.8333 | 14.05
2019-06-01 07:30:00 | 3.78 | 112.16 | 4.3533 | 123.24 | 6.0867 | 17.18 | 6.6433 | 19.5733 | 15.5833 | 884 | 91.7667 | 15.6693
2019-06-01 07:45:00 | 4.1267 | 308.49 | 4.75 | 339 | 7.2133 | 4.73 | 7.3567 | 8.66 | 15.77 | 884.7333 | 91.2333 | 17.44
2019-06-01 08:00:00 | 4.0867 | 170.4833 | 4.7033 | 187.3333 | 7.6333 | 5.8033 | 7.89 | 13.28 | 15.9833 | 885 | 91.2333 | 17.7207
2019-06-01 08:15:00 | 3.6867 | 214.1633 | 4.2433 | 235.3333 | 6.7467 | 11.0633 | 7.0267 | 19.0433 | 16.3333 | 885 | 89.5 | 16.252
2019-06-01 08:30:00 | 3.6733 | 13.0567 | 4.2367 | 14.34 | 6.2133 | 7.03 | 6.5533 | 17.2967 | 16.2333 | 885.4 | 88.4333 | 15.1527
2019-06-01 08:45:00 | 3.7067 | 19.92 | 4.27 | 21.88 | 6.5467 | 10.5833 | 6.8933 | 13.55 | 16.5233 | 886 | 88.5333 | 15.0487
2019-06-01 09:00:00 | 3.8667 | 213.8867 | 4.4567 | 235.04 | 6.5733 | 9.11 | 6.5533 | 9.1167 | 16.9967 | 886 | 86.2667 | 13.3933
2019-06-01 09:15:00 | 4.0867 | 124.7433 | 4.7033 | 137.08 | 6.5933 | 123.42 | 6.3533 | 11.2667 | 16.99 | 886 | 85.2067 | 10.7673
2019-06-01 09:30:00 | 3.94 | 110.5567 | 4.5367 | 121.48 | 6.4 | 125.2533 | 6.1133 | 239.1867 | 17.5967 | 886 | 83.6333 | 8.062
2019-06-01 09:45:00 | 3.2933 | 214.7167 | 3.7867 | 235.95 | 5.3433 | 2.14 | 5.12 | 5.9867 | 17.9867 | 886 | 83.1 | 5.6367
2019-06-01 10:00:00 | 3.0467 | 13.8033 | 3.5067 | 15.1633 | 4.6767 | 9.1333 | 4.58 | 3.8133 | 18.9467 | 886 | 79.8267 | 3.9933
2019-06-01 10:15:00 | 3.3533 | 220.7767 | 3.86 | 242.6033 | 4.7267 | 11.14 | 4.67 | 0.53333 | 19.3967 | 886 | 79.4187 | 4.354
2019-06-01 10:30:00 | 3 | 215.9833 | 3.4533 | 237.3367 | 4.7933 | 13.68 | 4.8367 | 26.1333 | 20.0433 | 886 | 77.5733 | 4.754
2019-06-01 10:45:00 | 3.28 | 218.5467 | 3.77 | 240.1567 | 5.0267 | 9.72 | 5.2433 | 20.1167 | 19.93 | 886 | 75.468 | 4.1113
2019-06-01 11:00:00 | 3.28 | 65.0067 | 3.7833 | 71.4233 | 5.4333 | 13.0733 | 5.6233 | 19.5367 | 20.5233 | 886 | 72.5133 | 2.114
2019-06-01 11:15:00 | 2.96 | 102.8233 | 3.41 | 112.9933 | 4.5333 | 119.7933 | 4.6 | 20.75 | 20.8087 | 886.0667 | 68.36 | 0.96067
2019-06-01 11:30:00 | 2.3667 | 312.8567 | 2.73 | 343.8 | 3.8333 | 127.9067 | 3.8067 | 21.2033 | 21.47 | 886.6 | 66.6467 | 0
2019-06-01 11:45:00 | 2.5633 | 37.6467 | 2.9467 | 41.3667 | 3.85 | 11.0667 | 3.5333 | 23.91 | 22.1467 | 886.7333 | 62.69 | 0
2019-06-01 12:00:00 | 2.2833 | 41.44 | 2.6267 | 45.5333 | 3.51 | 18.42 | 3.1467 | 63.09 | 22.7867 | 887 | 61.1167 | 0
2019-06-01 12:15:00 | 1.4233 | 119.94 | 1.64 | 131.8 | 1.89 | 6.01 | 1.69 | 353.5333 | 23.09 | 887 | 59.1533 | 0
2019-06-01 12:30:00 | 1.5433 | 102.2267 | 1.78 | 112.3333 | 1.87 | 11.95 | 1.5633 | 348.6 | 22.9633 | 887 | 59.74 | 0
2019-06-01 12:45:00 | 0.92 | 196.61 | 1.0567 | 216.05 | 1.32 | 23.1633 | 1.2233 | 138.26 | 23.6733 | 887 | 56.5133 | 0
2019-06-01 13:00:00 | 1.0133 | 127.9967 | 1.1633 | 140.65 | 1.5267 | 115.91 | 1.6567 | 198.6 | 24.54 | 887 | 57.8933 | 0
2019-06-01 13:15:00 | 1.9667 | 111.3533 | 2.2633 | 122.3667 | 2.3267 | 180.1 | 2.1833 | 161.7 | 24.8133 | 887 | 57.5533 | 0
2019-06-01 13:30:00 | 2.4333 | 134.78 | 2.7967 | 148.1 | 2.8267 | 158.3667 | 2.7367 | 173.5667 | 24.5867 | 887 | 59.2267 | 0
2019-06-01 13:45:00 | 3.11 | 152.7667 | 3.5767 | 167.8667 | 3.6233 | 156.7333 | 3.53 | 155.0333 | 24.5667 | 886.9333 | 58.9867 | 0.062667
2019-06-01 14:00:00 | 3.01 | 126.74 | 3.4633 | 139.2667 | 3.6167 | 170.2 | 3.4433 | 187.1 | 24.62 | 886 | 60.12 | 0.22467
2019-06-01 14:15:00 | 2.9333 | 131.2267 | 3.3733 | 144.2 | 3.5433 | 146.8 | 3.6733 | 156.6 | 25.0833 | 886 | 57.8033 | 0.32533
2019-06-01 14:30:00 | 2.68 | 165.6933 | 3.0867 | 182.0667 | 3.49 | 147 | 3.6067 | 127.6 | 25.4033 | 886 | 56.7367 | 0.59933
2019-06-01 14:45:00 | 2.8267 | 160.2833 | 3.2633 | 176.1333 | 3.5367 | 158.4 | 3.4067 | 173.7333 | 25.67 | 886 | 53.8033 | 0.584
2019-06-01 15:00:00 | 2.6414 | 163.2271 | 3.045 | 179.3643 | 3.295 | 173.6143 | 3.3821 | 181.3357 | 25.7929 | 886 | 52.5207 | 1.4453
2019-06-01 15:15:00 | 2.8733 | 161.0833 | 3.3133 | 177 | 3.6367 | 151.2667 | 3.48 | 183.0333 | 25.8533 | 886 | 51.4833 | 1.3047
2019-06-01 15:30:00 | 2.4733 | 161.8633 | 2.8467 | 177.8667 | 3.05 | 151.9333 | 3.16 | 196.1667 | 26.16 | 886 | 49.5967 | 1.504
2019-06-01 15:45:00 | 2.18 | 201.73 | 2.5033 | 221.6667 | 3.1267 | 226.3333 | 3.4133 | 236.9333 | 26.6733 | 886 | 47.66 | 1.8887
2019-06-01 16:00:00 | 2.8333 | 163.63 | 3.2567 | 179.8 | 3.72 | 199.1333 | 3.6867 | 208.5333 | 26.7267 | 885.6 | 45.6933 | 3.3347
2019-06-01 16:15:00 | 3.1333 | 139.2933 | 3.6 | 153.0667 | 4 | 172.4333 | 4.0667 | 187.9333 | 27.0133 | 885 | 45.6967 | 3.3033
2019-06-01 16:30:00 | 2.7333 | 178.12 | 3.14 | 195.7333 | 3.7533 | 196.1667 | 3.8467 | 224.5333 | 26.892 | 885 | 45.65 | 3.2633
2019-06-01 16:45:00 | 2.4027 | 136.37 | 2.7667 | 149.8533 | 3.432 | 184.1133 | 3.532 | 196.44 | 27.0713 | 885 | 45.7733 | 3.4587
2019-06-01 17:00:00 | 2.6933 | 185.71 | 3.1 | 204.0667 | 3.5233 | 196.0667 | 3.6133 | 197.9667 | 27.3767 | 885 | 45.688 | 4.5767
2019-06-01 17:15:00 | 3.1733 | 156.37 | 3.6567 | 171.8333 | 3.96 | 190.1333 | 4.4033 | 182.4667 | 26.5687 | 885 | 47.4093 | 3.7787
2019-06-01 17:30:00 | 2.3467 | 157.83 | 2.7033 | 173.4333 | 3.2467 | 227.1333 | 3.5433 | 221.7333 | 26.4967 | 885 | 47.94 | 3.6207
2019-06-01 17:45:00 | 2.44 | 163.1333 | 2.8067 | 179.2667 | 3.28 | 204.6333 | 3.6233 | 200.8667 | 26.47 | 885 | 48.3833 | 5.6707
2019-06-01 18:00:00 | 2.26 | 160.0467 | 2.6 | 175.8667 | 3.0467 | 186.9 | 3.3633 | 208.8 | 26.63 | 885 | 47.6367 | 13.2093
2019-06-01 18:15:00 | 3.52 | 186.62 | 4.0467 | 205.0667 | 4.7467 | 224.2333 | 4.9267 | 213.4667 | 26.33 | 885 | 47.27 | 22.878
2019-06-01 18:30:00 | 4.76 | 174.8467 | 5.4733 | 192.1333 | 6.3133 | 219.9 | 6.7667 | 222.4667 | 25.7167 | 885 | 48.7167 | 21.358
2019-06-01 18:45:00 | 3.9933 | 163.1467 | 4.5933 | 179.2667 | 5.32 | 216 | 5.62 | 232.7333 | 25.36 | 885 | 47.4367 | 17.5047
2019-06-01 19:00:00 | 3.7933 | 163.7533 | 4.3667 | 179.9333 | 4.98 | 222.44 | 5.0867 | 221.4667 | 25.16 | 885 | 46.21 | 14.4993
2019-06-01 19:15:00 | 2.96 | 189.4933 | 3.4133 | 208.2333 | 4.2267 | 229.4667 | 4.68 | 214.5333 | 24.6233 | 884.9333 | 48.0033 | 13.1413
2019-06-01 19:30:00 | 2.96 | 180.46 | 3.4067 | 198.3 | 4.08 | 213.0667 | 4.7533 | 210.3333 | 24.1367 | 884 | 49.1967 | 12.8753
2019-06-01 19:45:00 | 2.1133 | 177.6367 | 2.4433 | 195.2 | 3.16 | 219.6 | 3.6233 | 206.5 | 23.8733 | 884 | 49.7307 | 13.3887
2019-06-01 20:00:00 | 2.2867 | 168.59 | 2.6433 | 185.2667 | 3.3933 | 221.0667 | 3.91 | 219.7667 | 23.5933 | 884 | 50.6933 | 14.456
2019-06-01 20:15:00 | 2.56 | 180.5733 | 2.9433 | 198.4333 | 3.7133 | 209.2 | 4.5233 | 216.4 | 23.46 | 884 | 50.178 | 14.462
2019-06-01 20:30:00 | 2.6467 | 173.78 | 3.0433 | 190.9667 | 3.6867 | 212.1333 | 4.3767 | 217.2667 | 23.3733 | 884 | 51.15 | 18.996
2019-06-01 20:45:00 | 3.1867 | 169.69 | 3.6667 | 186.4667 | 4.4267 | 207.9667 | 5.0167 | 227.1333 | 23.1233 | 884 | 53.1667 | 18.754
2019-06-01 21:00:00 | 3.5733 | 165.6167 | 4.1133 | 182 | 4.98 | 201.5 | 5.49 | 221.8 | 23.01 | 884 | 54.2933 | 18.0833
2019-06-01 21:15:00 | 3.54 | 164.74 | 4.07 | 181.0333 | 5.0333 | 208.6933 | 5.7033 | 222.9333 | 22.8973 | 884 | 56.1467 | 15.9907
2019-06-01 21:30:00 | 3.9333 | 157.16 | 4.5233 | 172.7 | 5.2133 | 212.1333 | 5.6433 | 215.9333 | 22.7667 | 884 | 57.1467 | 19.248
2019-06-01 21:45:00 | 4.3133 | 143.7767 | 4.96 | 158 | 5.33 | 181.0667 | 5.7867 | 184.1333 | 22.4233 | 883.9333 | 59.9667 | 21.532
2019-06-01 22:00:00 | 3.5733 | 147.7833 | 4.12 | 162.4 | 4.5433 | 169.5333 | 5.5467 | 165 | 22.1433 | 883.4 | 62.4667 | 6.8533
2019-06-01 22:15:00 | 2.8933 | 177.4867 | 3.3267 | 195.0333 | 3.5833 | 163.4333 | 4.45 | 176.9 | 22.3933 | 884 | 60.97 | 4.234
2019-06-01 22:30:00 | 2.8 | 175.4733 | 3.22 | 192.8333 | 3.55 | 187.4333 | 4.21 | 184.4333 | 22.48 | 884 | 60.13 | 3.7793
2019-06-01 22:45:00 | 2.63 | 155.8333 | 3.03 | 171.2333 | 3.2933 | 172.5 | 3.6967 | 179.8667 | 22.502 | 884 | 59.474 | 3.7373
2019-06-01 23:00:00 | 3.1233 | 154.1933 | 3.6033 | 169.4333 | 3.9933 | 182.7 | 4.59 | 194.0667 | 22.3233 | 884 | 61.1633 | 5.0033
2019-06-01 23:15:00 | 2.9433 | 168.3533 | 3.3867 | 185 | 3.6867 | 182.8333 | 4.4533 | 206.6 | 22.09 | 884 | 64.78 | 6.0127
2019-06-01 23:30:00 | 3.1367 | 150.5267 | 3.6067 | 165.4 | 3.9467 | 184.7 | 4.8 | 174.5333 | 21.7767 | 884 | 66.4867 | 8.528
2019-06-01 23:45:00 | 3.3433 | 162.95 | 3.8433 | 179.0667 | 4.16 | 176.7333 | 4.95 | 172 | 21.5033 | 884 | 67.8067 | 7.7553